File List for SeaBird Data

Cruise Number: _2008-02____

[osdcommon\cruise_data\2008-02\ARCHIVE]

[osdcommon\cruise_data\2008-02\ARCHIVE\Bottle] *.CHE

[osdcommon\cruise_data\2008-02\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2008-02\ARCHIVE\DOC] all documents from RAW and PROCESSING

[osdcommon\cruise_data\2008-02\ARCHIVE\DOC\HYDRO] COMPARE files and edited versions of    spreadsheets from analysts

[osdcommon\cruise_data\2008-02\ARCHIVE\DOC\TSG] all TSG documents

[osdcommon\cruise_data\2008-02\ARCHIVE\TSG] *.TOB

[osdcommon\cruise_data\2008-02\PROCESSING]

[osdcommon\cruise_data\2008-02\PROCESSING\ARCTIC] CTDA files with ISUS

[osdcommon\cruise_data\2008-02\PROCESSING\CONVERT]	*.CNV – after conversion

[osdcommon\cruise_data\2008-02\PROCESSING\DERIVE]*.CNV – after convert/wildedit/celltm/derive

[osdcommon\cruise_data\2008-02\PROCESSING\DOC]

2008-02-recal1.ccf – calibration control file for recalibration of DO

2008-02-ctd.con – configuration files used in processing

2008-02-ctd*.con – configuration files for testing DO parameters

2008-02-tsg.con – configuration file for thermosalinograph processing

2008-02_file.doc - this document

2008-02_proc.doc - processing notes

2008-02-che-final.rpt – CTD file header check including channel summary

2008-02-ctd-final.rpt – CHE file header check including channel summary

2008-02-altimeter.csv – report on header entries for altimetry before corrections

Tau_study.xls – study of Tau setting for DO conversion

*hdr.txt – header files with comments for CTD and CHE files

[osdcommon\cruise_data\2008-02\PROCESSING\DOC\hydro]

bottle-nrs.txt – correspondence of firing order and bottle position for irregular casts

2008-02-sal.csv – simplified salinity s/s

2008-02-DOX.csv – dissolved oxygen data simplified from analyst’s s/s

2008-02-nuts.csv – nutrients simplified from analyst’s s/s

2008-02-chl-fluor-comp.csv & .xls – comparison of extracted CHL and CTD Fluorescence

2008-02-dox-comp1.csv & .xls – initial comparison of titrated DO & CTD DO run early

2008-02-dox-comp2.csv & .xls – comparison of titrated DO and CTD DO after 1st recal

2008-02-dox-comp3.csv & .xls – comparison of titrated DO and downcast CTD DO

2008-02-sal-comp1.csv & xls –salinity COMPARE file using pressure as reference channel

2008-02-sal-comp1sam.csv & xls – salinity COMPARE using sample # as reference channel

2008-02-sal-diff.xls – study of differences between two salinity channels taken from bottle comparison

2008-02-salinity-duplicates.xls –study of salinity duplicate samples

2008-02-seq#_pos#.xls – table relating order of bottle firing to Niskin Bottle # for casts with irregular firing order

addsamp.csv – table for adding sample numbers to rosette files

[osdcommon\cruise_data\2008-02\PROCESSING\DOC\tsg]

2008-02-ctd-tsg-comp.xls – comparison of TSG data with CTD data from 4db

[osdcommon\cruise_data\2008-02\PROCESSING\FIONA] CTDF files with std. deviations

[osdcommon\cruise_data\2008-02\PROCESSING\HYDRO]

*.add – bottle from analyst after editing, formats fixed

*.bot  - *.ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl – extracted chlorophyll data converted from simplified version of spreadsheet

*.ed1 – CTDEDIT output file for cast #15

*.log – log file for the editing of cast #15

*.mrg – after addition of oxygen and salinity bottle data to BOT files

*.nut – nutrient files converted from simplified version of analyst’s spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from simplified version of analyst’s spreadsheet

*.sam – bottle files with sample numbers added

[osdcommon\cruise_data\2008-02\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del – after DELETE for original files with all steps but missing PAR

*.del2 – after DELETE for files containing PAR but not all steps applied to T, C, DO, FL

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT.

*.new – merge of edited files with DEL2 files containing PAR.

Del.log - log from routine DELETE

[osdcommon\cruise_data\2008-02\PROCESSING\TSG] before conversion to IOS SHELL

*.cnv – test conversions (no positions)

[osdcommon\cruise_data\2008-02\PROCESSING\TSG\IOS] after conversion to IOS SHELL

*.atc – after adding positions and times to headers and time/date channel

*.edt – after editing of salinity spikes

*.ios – after conversion to IOS HEADERS

*.tob – final TSG files

*.xls – studies of temperature differences for two casts ________________________________________________________________________

[osdcommon\cruise_data\2008-02\RAW]

[osdcommon\cruise_data\2008-02\RAW\Chemistry] data from analysts

[osdcommon\cruise_data\2008-02\RAW\CTD] raw CTD data

[osdcommon\cruise_data\2008-02\RAW\Documents] cruise reports

[osdcommon\cruise_data\2008-02\RAW\TSG] TSG raw files