## Sheet1
Comparison of results using different values for E in conversion - comparing differences between bottles and CTD downcast DO
Then looking at how differences compare for levels with similar DO values, but one above and one below DO minimum
cast | pressure | bottle | 38 | 385 | 39 | diff38 | diff385 | diff39 | %diff38 | %diff385 | %diff39 | %diff above-%diff below
42 | 300 | 2.304 | 2.3208 | 2.322 | 2.3233 | 0.0168 | 0.018 | 0.0193 | 0.72917 | 0.78125 | 0.83767
42 | 3000 | 2.013 | 2.0094 | 2.0197 | 2.03 | -0.0036 | 0.0067 | 0.017 | -0.17884 | 0.33284 | 0.84451 | -0.908 | 0.44841 | -0.0068371
42 | 401 | 1.387 | 1.47 | 1.471 | 1.4721 | 0.083 | 0.084 | 0.0851 | 5.9841 | 6.0562 | 6.1355
42 | 1999 | 1.245 | 1.23 | 1.2343 | 1.2389 | -0.015 | -0.0107 | -0.0061 | -1.2048 | -0.85944 | -0.48996 | -7.189 | 6.9157 | 6.6255
42 | 800 | 0.423 | 0.4179 | 0.4185 | 0.4191 | -0.0051 | -0.0045 | -0.0039 | -1.2057 | -1.0638 | -0.92199
42 | 1000 | 0.528 | 0.4238 | 0.4246 | 0.4253 | -0.1042 | -0.1034 | -0.1027 | -19.7348 | -19.5833 | -19.4508 | -18.5292 | 18.5195 | 18.5288
9 | 201 | 2.525 | 2.3607 | 2.3614 | 2.3624 | -0.1643 | -0.1636 | -0.1626 | -6.5069 | -6.4792 | -6.4396
9 | 3001 | 2.416 | 2.4183 | 2.4297 | 2.4451 | 0.0023 | 0.0137 | 0.0291 | 0.095199 | 0.56705 | 1.2045 | 6.6021 | -7.0463 | -7.6441
9 | 251 | 1.796 | 1.7653 | 1.7663 | 1.767 | -0.0307 | -0.0297 | -0.029 | -1.7094 | -1.6537 | -1.6147
9 | 2501 | 1.919 | 1.9021 | 1.9107 | 1.9196 | -0.0169 | -0.0083 | 0.0006 | -0.88067 | -0.43252 | 0.031266 | 0.82869 | -1.2212 | -1.646
9 | 301 | 1.303 | 1.3361 | 1.3368 | 1.3375 | 0.0331 | 0.0338 | 0.0345 | 2.5403 | 2.594 | 2.6477
9 | 2002 | 1.26 | 1.263 | 1.267 | 1.272 | 0.003 | 0.007 | 0.012 | 0.2381 | 0.55556 | 0.95238 | -2.3022 | 2.0385 | 1.6954
9 | 403 | 0.809 | 0.8166 | 0.817 | 0.8176 | 0.0076 | 0.008 | 0.0086 | 0.93943 | 0.98888 | 1.063
9 | 1503 | 0.579 | 0.5739 | 0.5724 | 0.5754 | -0.0051 | -0.0066 | -0.0036 | -0.88083 | -1.1399 | -0.62176 | -1.8203 | 2.1288 | 1.6848
Estimating a correction for alignment error since errors are of opposite signs above and below DO min and larger above than below.
42 | 300 | 2.304 | 2.2708 | 2.272 | 2.2733 | -0.0332 | -0.032 | -0.0307 | -1.441 | -1.3889 | -1.3325
42 | 3000 | 2.013 | 2.0194 | 2.0297 | 2.04 | 0.0064 | 0.0167 | 0.027 | 0.31793 | 0.82961 | 1.3413 | 1.7589 | -2.2185 | -2.6737
42 | 401 | 1.387 | 1.42 | 1.421 | 1.4221 | 0.033 | 0.034 | 0.0351 | 2.3792 | 2.4513 | 2.5306
42 | 1999 | 1.245 | 1.24 | 1.2443 | 1.2489 | -0.005 | -0.0007 | 0.0039 | -0.40161 | -0.056225 | 0.31325 | -2.7808 | 2.5076 | 2.2174
42 | 800 | 0.423 | 0.3679 | 0.3685 | 0.3691 | -0.0551 | -0.0545 | -0.0539 | -13.026 | -12.8842 | -12.7423
42 | 1000 | 0.528 | 0.4338 | 0.4346 | 0.4353 | -0.0942 | -0.0934 | -0.0927 | -17.8409 | -17.6894 | -17.5568 | -4.8149 | 4.8052 | 4.8145
9 | 201 | 2.525 | 2.3107 | 2.3114 | 2.3124 | -0.2143 | -0.2136 | -0.2126 | -8.4871 | -8.4594 | -8.4198
9 | 3001 | 2.416 | 2.4283 | 2.4397 | 2.4551 | 0.0123 | 0.0237 | 0.0391 | 0.50911 | 0.98096 | 1.6184 | 8.9962 | -9.4404 | -10.0382
9 | 251 | 1.796 | 1.7153 | 1.7163 | 1.717 | -0.0807 | -0.0797 | -0.079 | -4.4933 | -4.4376 | -4.3987
9 | 2501 | 1.919 | 1.9121 | 1.9207 | 1.9296 | -0.0069 | 0.0017 | 0.0106 | -0.35956 | 0.088588 | 0.55237 | 4.1338 | -4.5262 | -4.951
9 | 301 | 1.303 | 1.2861 | 1.2868 | 1.2875 | -0.0169 | -0.0162 | -0.0155 | -1.297 | -1.2433 | -1.1896
9 | 2002 | 1.26 | 1.273 | 1.277 | 1.282 | 0.013 | 0.017 | 0.022 | 1.0317 | 1.3492 | 1.746 | 2.3288 | -2.5925 | -2.9356
9 | 403 | 0.809 | 0.7666 | 0.767 | 0.7676 | -0.0424 | -0.042 | -0.0414 | -5.241 | -5.1916 | -5.1174
9 | 1503 | 0.579 | 0.5839 | 0.5824 | 0.5854 | 0.0049 | 0.0034 | 0.0064 | 0.84629 | 0.58722 | 1.1054 | 6.0873 | -5.7788 | -6.2228
Highlighting for each level the closest fit above and below DO min