File List for SeaBird Data

Cruise Number: _2008-05____

[osdcommon\cruise_data\2008-05\ARCHIVE]

[osdcommon\cruise_data\2008-05\ARCHIVE\Bottle] *.CHE

[osdcommon\cruise_data\2008-05\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2008-05\ARCHIVE\DOC] all documents from RAW and PROCESSING

[osdcommon\cruise_data\2008-05\ARCHIVE\DOC\HYDRO] COMPARE files and edited versions of    spreadsheets from analysts

---------------------------------------------------------------------------------------------------------------------------

[osdcommon\cruise_data\2008-05\PROCESSING]

[osdcommon\cruise_data\2008-05\PROCESSING\Angelica] files for use of A. Peña

[osdcommon\cruise_data\2008-05\PROCESSING\CONVERT]

*.CNV – after conversion

[osdcommon\cruise_data\2008-05\PROCESSING\DERIVE]

*.CNV – after conversion, wildedit, celltm, derive

[osdcommon\cruise_data\2008-05\PROCESSING\DOC]

2008-05-recal1.ccf – calibration control file for recalibration of DO

2008-05-recal2.ccf – calibration control file for 2nd recalibration of DO

2008-05-ctd1.con –configuration file used for casts 1-59

2008-05-ctd2.con –configuration file used for casts 60-112

2008-05-ctd3.con –configuration file used for casts 114-126

2008-05-altimeter.csv – report on header entries for altimetry before corrections

2008-05-loop-bottles.csv – combined spreadsheet of loop bottle analyses (SAL, NUTS, CHL)

2008-05-sal-duplicates.xls – study of duplicate salinity samples

2008-05 salinity raw.xls – salinity data from analyst

QF2008-05CHL.xls – extracted chlorophyll spreadsheet from analyst

QF 2008-05nuts.xls – nutrient spreadsheet from analyst

2008-05_file.doc - this document

2008-05_proc.doc - processing notes

2008-05-che-final.rpt – CTD file header check including channel summary

2008-05-ctd-final.rpt – CHE file header check including channel summary

*hdr.txt – header files with comments for CTD and CHE files

[osdcommon\cruise_data\2008-05\PROCESSING\DOC\hydro]

2008-05-sal.csv – simplified version of salinity analysis spreadsheet

2008-05-nuts.csv – simplified version of nutrient analysis spreadsheet

2008-05-chl.csv – simplified version of extracted chlorophyll analysis spreadsheet

2008-05-chl-fluor-comp.csv & .xls – comparison of extracted chlorophyll and CTD fluorescence

2008-05-dox-comp1.csv & .xls – initial comparison of titrated DO and CTD DO

2008-05-dox-comp2.csv & .xls – comparison of titrated DO and CTD DO after 1st recal

2008-05-dox-comp3.csv & .xls – comparison of titrated DO and downcast CTD DO

2008-05-dox-comp4.csv & .xls – comparison of titrated DO and CTD DO after final recal

2008-05-sal-comp1.csv & xls –comparison of bottle salinity and CTD salinity

2008-05-sal-comp2.csv & xls –comparison of bottle salinity and CTD salinity after recal

addsamp.csv – spreadsheet relating bottle numbers to sample numbers

[osdcommon\cruise_data\2008-05\PROCESSING\HYDRO]

*.add – bottle from analyst, converted, edited, with flags

*.bot  - *.ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl – bottle extracted chlorophyll data converted from spreadsheet

*.mrg – after addition of oxygen and salinity bottle data to BOT files

*.nut – bottle nutrient data converted from spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from simplified version of analyst’s spreadsheet

*.sam – bottle files with sample numbers added

[osdcommon\cruise_data\2008-05\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del – after DELETE

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT.

Delete.log - log from routine DELETE

---------------------------------------------------------------------------------------------------------------------------

[osdcommon\cruise_data\2008-05\RAW]

[osdcommon\cruise_data\2008-05\RAW\Chemistry] data from analysts

[osdcommon\cruise_data\2008-05\RAW\CTD] raw CTD data files