## File List
Number of Files= |  | 9
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2008-07-0025.mrgt | 2008-07-0025.sam | 12 | 12 | 2008-07-0025.mrgt & 2008-07-0025.sam
2 | 2008-07-0027.mrgt | 2008-07-0027.sam | 14 | 17 | 2008-07-0027.mrgt & 2008-07-0027.sam
3 | 2008-07-0030.mrgt | 2008-07-0030.sam | 19 | 21 | 2008-07-0030.mrgt & 2008-07-0030.sam
4 | 2008-07-0033.mrgt | 2008-07-0033.sam | 23 | 24 | 2008-07-0033.mrgt & 2008-07-0033.sam
5 | 2008-07-0049.mrgt | 2008-07-0049.sam | 26 | 27 | 2008-07-0049.mrgt & 2008-07-0049.sam
6 | 2008-07-0050.mrgt | 2008-07-0050.sam | 29 | 31 | 2008-07-0050.mrgt & 2008-07-0050.sam
7 | 2008-07-0052.mrgt | 2008-07-0052.sam | 33 | 33 | 2008-07-0052.mrgt & 2008-07-0052.sam
8 | 2008-07-0057.mrgt | 2008-07-0057.sam | 35 | 35 | 2008-07-0057.mrgt & 2008-07-0057.sam
9 | 2008-07-0058.mrgt | 2008-07-0058.sam | 37 | 37 | 2008-07-0058.mrgt & 2008-07-0058.sam

## (Sal0 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0022405 |  | X | CALC Y
m= | -1.8649e-06 | 1.2445e-05 |  | Std Dev of Resid |  | 0.0024788 |  | 174.718 | -0.00045029
b= | -0.00012445 | 0.0032885 |  | Resid Sum of Squares |  | 6.1445e-05 |  | 389.961 | -0.0008517
# of Values Extracted = |  |  | 18
# of Values Used in Fit = |  |  | 12
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 179.783 | 31.0192 | 0.00023921 | 0.016531 | -0.00045974 | -0.016991 |  | 282.189 | -0.00084114
2 | YES | 282.189 | 31.3101 | 0.00022979 | -0.00084114 | -0.00065072 | 0.00019042 |  | 249.809 | -0.00073433
2 | YES | 249.809 | 31.31 | 0.00024251 | -0.00073433 | -0.00059033 | 0.000144 |  | 199.913 | -0.0015392
2 | YES | 199.913 | 31.306 | 0.000201 | -0.0015392 | -0.00049728 | 0.001042 |  | 174.718 | -0.0035782
2 | YES | 174.718 | 31.296 | 0.00037715 | -0.0035782 | -0.00045029 | 0.0031279 |  | 259.849 | -0.00032616
3 | YES | 259.849 | 31.4957 | 0.00025989 | -0.00032616 | -0.00060905 | -0.0002829 |  | 250.087 | 0.00054359
3 | YES | 250.087 | 31.4951 | 0.00024359 | 0.00054359 | -0.00059085 | -0.0011344 |  | 200.246 | 0.0032349
3 | YES | 200.246 | 31.4675 | 0.00075708 | 0.0032349 | -0.0004979 | -0.0037328 |  | 389.961 | 0.00073624
4 | YES | 389.961 | 32.2127 | 0.00027787 | 0.00073624 | -0.0008517 | -0.0015879 |  | 299.899 | -0.0019836
4 | YES | 299.899 | 32.1637 | 0.00023443 | -0.0019836 | -0.00068374 | 0.0012999 |  | 323.035 | -0.0022755
5 | YES | 323.035 | 31.6874 | 0.00024584 | -0.0022755 | -0.00072689 | 0.0015486 |  | 250.117 | -0.0040531
5 | NO | 249.98 | 31.6211 | 0.00040304 | -0.0070572 | -0.00059065 | 0.0064665 |  | 215.021 | 0.0035515 | -0.00060543
6 | NO | 312.949 | 31.7467 | 0.01579 | -0.032932 | -0.00070808 | 0.032224
6 | NO | 300.034 | 31.6896 | 0.0036468 | -0.020899 | -0.000684 | 0.020215
6 | YES | 250.117 | 31.6592 | 0.0023721 | -0.0040531 | -0.0005909 | 0.0034622
7 | NO | 149.229 | 32.042 | 0.00080082 | 0.005146 | -0.00040275 | -0.0055488
8 | NO | 173.021 | 31.1666 | 0.00028384 | 0.0086746 | -0.00044712 | -0.0091217
9 | YES | 215.021 | 32.2037 | 0.00024153 | 0.0035515 | -0.00052545 | -0.0040769
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
NO
NO
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.00082065 |  | X | CALC Y
m= | -1.1671e-06 | 1.2878e-05 |  | Std Dev of Resid |  | 0.0025651 |  | 174.718 | -0.0045963
b= | -0.0043923 | 0.0034029 |  | Resid Sum of Squares |  | 6.5796e-05 |  | 389.961 | -0.0048475
# of Values Extracted = |  |  | 18
# of Values Used in Fit = |  |  | 12
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 179.783 | 31.0151 | 0.00045436 | 0.012434 | -0.0046022 | -0.017036 |  | 282.189 | -0.0052013
2 | YES | 282.189 | 31.3057 | 0.00024104 | -0.0052013 | -0.0047217 | 0.00047965 |  | 249.809 | -0.0051022
2 | YES | 249.809 | 31.3056 | 0.00020677 | -0.0051022 | -0.0046839 | 0.00041826 |  | 199.913 | -0.0060215
2 | YES | 199.913 | 31.3015 | 0.00022783 | -0.0060215 | -0.0046257 | 0.0013958 |  | 174.718 | -0.0079002
2 | YES | 174.718 | 31.2917 | 0.00026603 | -0.0079002 | -0.0045963 | 0.003304 |  | 259.849 | -0.004303
3 | YES | 259.849 | 31.4917 | 0.00053194 | -0.004303 | -0.0046956 | -0.00039264 |  | 250.087 | -0.0035934 | -0.0053536
3 | YES | 250.087 | 31.491 | 0.00030742 | -0.0035934 | -0.0046842 | -0.0010908 |  | 200.246 | -0.00011253
3 | YES | 200.246 | 31.4642 | 0.00045696 | -0.00011253 | -0.0046261 | -0.0045135 |  | 389.961 | -0.0031929
4 | YES | 389.961 | 32.2088 | 0.0002293 | -0.0031929 | -0.0048475 | -0.0016546 |  | 299.899 | -0.0061836
4 | YES | 299.899 | 32.1595 | 0.00023419 | -0.0061836 | -0.0047424 | 0.0014413 |  | 323.035 | -0.006237
5 | YES | 323.035 | 31.6835 | 0.00023138 | -0.006237 | -0.0047694 | 0.0014677 |  | 250.117 | -0.0076828
5 | NO | 249.98 | 31.6167 | 0.00050725 | -0.011494 | -0.0046841 | 0.0068096 |  | 215.021 | -0.00078964 | -0.0046933
6 | NO | 312.949 | 31.7305 | 0.013214 | -0.049137 | -0.0047576 | 0.04438
6 | NO | 300.034 | 31.6865 | 0.0077718 | -0.02397 | -0.0047425 | 0.019227
6 | YES | 250.117 | 31.6556 | 0.0031947 | -0.0076828 | -0.0046843 | 0.0029985
7 | NO | 149.229 | 32.0382 | 0.00080591 | 0.0012665 | -0.0045665 | -0.005833
8 | NO | 173.021 | 31.1629 | 0.00032483 | 0.0050201 | -0.0045943 | -0.0096144
9 | YES | 215.021 | 32.1993 | 0.00025071 | -0.00078964 | -0.0046433 | -0.0038537
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
NO
NO
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_Bot) (2)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.080781 |  | X | CALC Y
m= | 0.0003211 | 0.00034252 |  | Std Dev of Resid |  | 0.0023792 |  | 2 | -0.0011673
b= | -0.0018095 | 0.0014566 |  | Resid Sum of Squares |  | 5.6608e-05 |  | 9 | 0.0010803
# of Values Extracted = |  |  | 18
# of Values Used in Fit = |  |  | 12
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 179.783 | 31.0192 | 0.00023921 | 0.016531 | -0.0014884 | -0.018019 |  | 2 | -0.00084114
2 | YES | 282.189 | 31.3101 | 0.00022979 | -0.00084114 | -0.0011673 | -0.0003262 |  | 2 | -0.00073433
2 | YES | 249.809 | 31.31 | 0.00024251 | -0.00073433 | -0.0011673 | -0.00043302 |  | 2 | -0.0015392
2 | YES | 199.913 | 31.306 | 0.000201 | -0.0015392 | -0.0011673 | 0.00037189 |  | 2 | -0.0035782
2 | YES | 174.718 | 31.296 | 0.00037715 | -0.0035782 | -0.0011673 | 0.0024108 |  | 3 | -0.00032616
3 | YES | 259.849 | 31.4957 | 0.00025989 | -0.00032616 | -0.00084625 | -0.00052009 |  | 3 | 0.00054359
3 | YES | 250.087 | 31.4951 | 0.00024359 | 0.00054359 | -0.00084625 | -0.0013898 |  | 3 | 0.0032349
3 | YES | 200.246 | 31.4675 | 0.00075708 | 0.0032349 | -0.00084625 | -0.0040811 |  | 4 | 0.00073624
4 | YES | 389.961 | 32.2127 | 0.00027787 | 0.00073624 | -0.00052515 | -0.0012614 |  | 4 | -0.0019836
4 | YES | 299.899 | 32.1637 | 0.00023443 | -0.0019836 | -0.00052515 | 0.0014585 |  | 5 | -0.0022755
5 | YES | 323.035 | 31.6874 | 0.00024584 | -0.0022755 | -0.00020406 | 0.0020714 |  | 6 | -0.0040531
5 | NO | 249.98 | 31.6211 | 0.00040304 | -0.0070572 | -0.00020406 | 0.0068531 |  | 9 | 0.0035515
6 | NO | 312.949 | 31.7467 | 0.01579 | -0.032932 | 0.00011704 | 0.033049
6 | NO | 300.034 | 31.6896 | 0.0036468 | -0.020899 | 0.00011704 | 0.021016
6 | YES | 250.117 | 31.6592 | 0.0023721 | -0.0040531 | 0.00011704 | 0.0041702
7 | NO | 149.229 | 32.042 | 0.00080082 | 0.005146 | 0.00043814 | -0.0047079
8 | NO | 173.021 | 31.1666 | 0.00028384 | 0.0086746 | 0.00075923 | -0.0079154
9 | YES | 215.021 | 32.2037 | 0.00024153 | 0.0035515 | 0.0010803 | -0.0024711
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
NO
NO
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot) (2)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Sal1
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.094472 |  | X | CALC Y
m= | 0.0020773 | 0.0020337 |  | Std Dev of Resid |  | 0.0024419 |  | 31.2917 | -0.0053958
b= | -0.070397 | 0.06433 |  | Resid Sum of Squares |  | 5.9629e-05 |  | 32.2088 | -0.0034907
# of Values Extracted = |  |  | 18
# of Values Used in Fit = |  |  | 12
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Sal1
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 179.783 | 31.0151 | 0.00045436 | 0.012434 | -0.0059703 | -0.018404 |  | 31.3057 | -0.0052013
2 | YES | 282.189 | 31.3057 | 0.00024104 | -0.0052013 | -0.0053667 | -0.00016534 |  | 31.3056 | -0.0051022
2 | YES | 249.809 | 31.3056 | 0.00020677 | -0.0051022 | -0.0053669 | -0.00026473 |  | 31.3015 | -0.0060215
2 | YES | 199.913 | 31.3015 | 0.00022783 | -0.0060215 | -0.0053754 | 0.0006461 |  | 31.2917 | -0.0079002
2 | YES | 174.718 | 31.2917 | 0.00026603 | -0.0079002 | -0.0053958 | 0.0025045 |  | 31.4917 | -0.004303
3 | YES | 259.849 | 31.4917 | 0.00053194 | -0.004303 | -0.0049803 | -0.00067733 |  | 31.491 | -0.0035934
3 | YES | 250.087 | 31.491 | 0.00030742 | -0.0035934 | -0.0049818 | -0.0013883 |  | 31.4642 | -0.00011253
3 | YES | 200.246 | 31.4642 | 0.00045696 | -0.00011253 | -0.0050374 | -0.0049249 |  | 32.2088 | -0.0031929
4 | YES | 389.961 | 32.2088 | 0.0002293 | -0.0031929 | -0.0034907 | -0.0002978 |  | 32.1595 | -0.0061836
4 | YES | 299.899 | 32.1595 | 0.00023419 | -0.0061836 | -0.0035931 | 0.0025905 |  | 31.6835 | -0.006237
5 | YES | 323.035 | 31.6835 | 0.00023138 | -0.006237 | -0.0045819 | 0.0016551 |  | 31.6556 | -0.0076828
5 | NO | 249.98 | 31.6167 | 0.00050725 | -0.011494 | -0.0047206 | 0.0067731 |  | 32.1993 | -0.00078964
6 | NO | 312.949 | 31.7305 | 0.013214 | -0.049137 | -0.0044843 | 0.044653
6 | NO | 300.034 | 31.6865 | 0.0077718 | -0.02397 | -0.0045757 | 0.019394
6 | YES | 250.117 | 31.6556 | 0.0031947 | -0.0076828 | -0.0046398 | 0.003043
7 | NO | 149.229 | 32.0382 | 0.00080591 | 0.0012665 | -0.0038451 | -0.0051116
8 | NO | 173.021 | 31.1629 | 0.00032483 | 0.0050201 | -0.0056633 | -0.010683
9 | YES | 215.021 | 32.1993 | 0.00025071 | -0.00078964 | -0.0035104 | -0.0027208
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
NO
NO
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot) (3)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.089133 |  | X | CALC Y
m= | 0.00034878 | 0.00035258 |  | Std Dev of Resid |  | 0.0024491 |  | 2 | -0.0053037
b= | -0.0060013 | 0.0014993 |  | Resid Sum of Squares |  | 5.9981e-05 |  | 9 | -0.0028623
# of Values Extracted = |  |  | 18
# of Values Used in Fit = |  |  | 12
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 179.783 | 31.0151 | 0.00045436 | 0.012434 | -0.0056525 | -0.018086 |  | 2 | -0.0052013
2 | YES | 282.189 | 31.3057 | 0.00024104 | -0.0052013 | -0.0053037 | -0.00010237 |  | 2 | -0.0051022
2 | YES | 249.809 | 31.3056 | 0.00020677 | -0.0051022 | -0.0053037 | -0.00020155 |  | 2 | -0.0060215
2 | YES | 199.913 | 31.3015 | 0.00022783 | -0.0060215 | -0.0053037 | 0.00071779 |  | 2 | -0.0079002
2 | YES | 174.718 | 31.2917 | 0.00026603 | -0.0079002 | -0.0053037 | 0.0025965 |  | 3 | -0.004303
3 | YES | 259.849 | 31.4917 | 0.00053194 | -0.004303 | -0.0049549 | -0.00065195 |  | 3 | -0.0035934
3 | YES | 250.087 | 31.491 | 0.00030742 | -0.0035934 | -0.0049549 | -0.0013615 |  | 3 | -0.00011253
3 | YES | 200.246 | 31.4642 | 0.00045696 | -0.00011253 | -0.0049549 | -0.0048424 |  | 4 | -0.0031929
4 | YES | 389.961 | 32.2088 | 0.0002293 | -0.0031929 | -0.0046062 | -0.0014133 |  | 4 | -0.0061836
4 | YES | 299.899 | 32.1595 | 0.00023419 | -0.0061836 | -0.0046062 | 0.0015775 |  | 5 | -0.006237
5 | YES | 323.035 | 31.6835 | 0.00023138 | -0.006237 | -0.0042574 | 0.0019797 |  | 6 | -0.0076828
5 | NO | 249.98 | 31.6167 | 0.00050725 | -0.011494 | -0.0042574 | 0.0072363 |  | 9 | -0.00078964
6 | NO | 312.949 | 31.7305 | 0.013214 | -0.049137 | -0.0039086 | 0.045229
6 | NO | 300.034 | 31.6865 | 0.0077718 | -0.02397 | -0.0039086 | 0.020061
6 | YES | 250.117 | 31.6556 | 0.0031947 | -0.0076828 | -0.0039086 | 0.0037742
7 | NO | 149.229 | 32.0382 | 0.00080591 | 0.0012665 | -0.0035598 | -0.0048263
8 | NO | 173.021 | 31.1629 | 0.00032483 | 0.0050201 | -0.003211 | -0.0082312
9 | YES | 215.021 | 32.1993 | 0.00025071 | -0.00078964 | -0.0028623 | -0.0020726
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
NO
NO
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.3 | Run at 2008/05/21 13:10:51
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 2 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2008-07-0025.mrgt | 2008-07-0025.sam | 121 | 179.783 | 179.783 | 0.034309 | -0.00047302 | 31.0027 | 31.0192 | 0.00023921 | 0.016531 | 31.0027 | 31.0151 | 0.00045436 | 0.012434
2008-07-0027.mrgt | 2008-07-0027.sam | 121 | 282.189 | 282.189 | 0.03023 | -0.00036621 | 31.3109 | 31.3101 | 0.00022979 | -0.00084114 | 31.3109 | 31.3057 | 0.00024104 | -0.0052013
2008-07-0027.mrgt | 2008-07-0027.sam | 121 | 249.809 | 249.809 | 0.024575 | -0.00022888 | 31.3107 | 31.31 | 0.00024251 | -0.00073433 | 31.3107 | 31.3056 | 0.00020677 | -0.0051022
2008-07-0027.mrgt | 2008-07-0027.sam | 121 | 199.913 | 199.913 | 0.030462 | -0.00024414 | 31.3075 | 31.306 | 0.000201 | -0.0015392 | 31.3075 | 31.3015 | 0.00022783 | -0.0060215
2008-07-0027.mrgt | 2008-07-0027.sam | 121 | 174.718 | 174.718 | 0.022181 | -0.00015259 | 31.2996 | 31.296 | 0.00037715 | -0.0035782 | 31.2996 | 31.2917 | 0.00026603 | -0.0079002
2008-07-0030.mrgt | 2008-07-0030.sam | 121 | 259.849 | 259.849 | 0.024506 | -0.00018311 | 31.496 | 31.4957 | 0.00025989 | -0.00032616 | 31.496 | 31.4917 | 0.00053194 | -0.004303
2008-07-0030.mrgt | 2008-07-0030.sam | 121 | 250.087 | 250.087 | 0.034301 | -0.00047302 | 31.4946 | 31.4951 | 0.00024359 | 0.00054359 | 31.4946 | 31.491 | 0.00030742 | -0.0035934
2008-07-0030.mrgt | 2008-07-0030.sam | 121 | 200.246 | 200.246 | 0.030608 | -0.00048828 | 31.4643 | 31.4675 | 0.00075708 | 0.0032349 | 31.4643 | 31.4642 | 0.00045696 | -0.00011253
2008-07-0033.mrgt | 2008-07-0033.sam | 121 | 389.961 | 389.961 | 0.031731 | 0.00024414 | 32.212 | 32.2127 | 0.00027787 | 0.00073624 | 32.212 | 32.2088 | 0.0002293 | -0.0031929
2008-07-0033.mrgt | 2008-07-0033.sam | 121 | 299.899 | 299.899 | 0.028658 | 0.00039673 | 32.1657 | 32.1637 | 0.00023443 | -0.0019836 | 32.1657 | 32.1595 | 0.00023419 | -0.0061836
2008-07-0049.mrgt | 2008-07-0049.sam | 121 | 323.035 | 323.035 | 0.12121 | 0.00015259 | 31.6897 | 31.6874 | 0.00024584 | -0.0022755 | 31.6897 | 31.6835 | 0.00023138 | -0.006237
2008-07-0049.mrgt | 2008-07-0049.sam | 121 | 249.98 | 249.98 | 0.053118 | 0.00032043 | 31.6282 | 31.6211 | 0.00040304 | -0.0070572 | 31.6282 | 31.6167 | 0.00050725 | -0.011494
2008-07-0050.mrgt | 2008-07-0050.sam | 121 | 312.949 | 312.949 | 0.17511 | 0.00027466 | 31.7796 | 31.7467 | 0.01579 | -0.032932 | 31.7796 | 31.7305 | 0.013214 | -0.049137
2008-07-0050.mrgt | 2008-07-0050.sam | 121 | 300.034 | 300.034 | 0.066095 | -0.00018311 | 31.7105 | 31.6896 | 0.0036468 | -0.020899 | 31.7105 | 31.6865 | 0.0077718 | -0.02397
2008-07-0050.mrgt | 2008-07-0050.sam | 121 | 250.117 | 250.117 | 0.16424 | 0.00045776 | 31.6633 | 31.6592 | 0.0023721 | -0.0040531 | 31.6633 | 31.6556 | 0.0031947 | -0.0076828
2008-07-0052.mrgt | 2008-07-0052.sam | 121 | 149.229 | 149.229 | 0.11276 | -0.00039673 | 32.0369 | 32.042 | 0.00080082 | 0.005146 | 32.0369 | 32.0382 | 0.00080591 | 0.0012665
2008-07-0057.mrgt | 2008-07-0057.sam | 121 | 173.021 | 173.021 | 0.033453 | -4.5776e-05 | 31.1579 | 31.1666 | 0.00028384 | 0.0086746 | 31.1579 | 31.1629 | 0.00032483 | 0.0050201
2008-07-0058.mrgt | 2008-07-0058.sam | 121 | 215.021 | 215.021 | 0.067391 | -3.0518e-05 | 32.2001 | 32.2037 | 0.00024153 | 0.0035515 | 32.2001 | 32.1993 | 0.00025071 | -0.00078964
Create Fit Sheet