## QF flagged
High Seas Salmon Cruise 2008-14
Samples were collected in duplicate and stored frozen. Samples collected after Stn 334 were not stored properly and many of the bags in which
they were stored contained a lot of ice thus compromising the results.
Nutrients were analyzed on the Astoria system and the average of duplicates (flagged as "f") is reported in the QF flagged worksheet.
Samples flagged "c" indicate poor replication of duplicates - please see the original data to choose between the two values if you don't agree with averaging.
Precision was determined by analyzing replicate samples drawn from the same Niskin bottle.
Pooled standard deviation of pairs of samples (Sp) was calculated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
Poor replicates are not included in this calculation.
For replicate samples drawn from the same Niskin bottle:
Sp for nitrate for the range 0.0 to 23.8 uM was 0.27, k = 105
Sp for silicate for the range 0.6 to 47.2 uM was 0.61, k = 100
Sp for phosphate for the range 0.14 to 2.06 uM was 0.054, k = 106
[9 empty] | NO3 |  | Si |  | PO4 |  | Nutrients
CRUISE # | STATION_NAME | CON # | UTC_DATE | UTC_TIME | LAT_d | LONG_d | BOTTOM_DEPTH | CAST _DEPTH | uM | Flag:NO3 | uM | Flag:SIL | uM | Flag:PO4 | Comments
200814 | GS01 | 1 | 2008-06-18 | 20:17 | 49.2055 | 123.6998 | 335 | 150 | 3.45 | f | 18.5 | f | 0.66 | f
200814 | GS02 | 4 | 2008-06-18 | 21:45 | 49.2087 | 123.4805 | 308 | 150 | 0.35 | f | 21.2 | f | 0.24 | f
200814 | GS03 | 5 | 2008-06-18 | 22:28 | 49.2158 | 123.341 | 188 | 150 | 0.2 | f | 25.75 | f | 0.145 | f
200814 | GS04 | 8 | 2008-06-18 | 23:38 | 49.1222 | 123.3523 | 149 | 135 | 8.7 | f | 26.5 | f | 1.065 | f
200814 | GS05 | 9 | 2008-06-19 | 0:14 | 49.117 | 123.4652 | 319 | 150 | 4.7 | f | 22.25 | f | 0.765 | f
200814 | GS06 | 12 | 2008-06-19 | 1:38 | 49.012 | 123.3967 | 273 | 150 | 11.1 | f | 28.65 | f | 1.255 | f
200814 | GS07 | 13 | 2008-06-19 | 2:20 | 49.0118 | 123.2765 | 151 | 140 | 9.75 | f | 25.8 | f | 1.195 | f
200814 | JF01 | 16 | 2008-06-19 | 14:04 | 48.2873 | 123.6465 | 171 | 150 | 23.05 | c,f | 40.35 | c,f | 2.005 | c,f | recorded as 15
200814 | JF02 | 19 | 2008-06-19 | 15:46 | 48.341 | 123.8657 | 124 | 115 | 21.9 | f | 38.95 | f | 1.915 | f
200814 | JF03 | 21 | 2008-06-19 | 17:38 | 48.429 | 124.1823 | 68 | 55 | 21.85 | f | 38.9 | f | 1.895 | f
200814 | JF04 | 25 | 2008-06-19 | 18:49 | 48.4627 | 124.327 | 89 | 80 | 22.8 | f | 39.15 | f | 1.97 | f
200814 | JF05 | 27 | 2008-06-19 | 20:11 | 48.5337 | 124.4937 | 40 | 35 | 21.55 | c,f | 37.7 | c,f | 1.845 | c,f
200814 | JF06 | 31 | 2008-06-19 | 21:50 | 48.5645 | 124.6973 | 73 | 65 | 17.35 | f | 31.85 | f | 1.565 | f
200814 | VI01 | 33 | 2008-06-19 | 23:15 | 48.6 | 124.875 | 56 | 50 | 18.95 | f | 34.65 | f | 1.675 | f
200814 | VI02 | 37 | 2008-06-20 | 0:57 | 48.6702 | 125.0513 | 44 | 40 | 18.85 | f | 34 | f | 1.635 | f
200814 | IVI01 | 39 | 2008-06-20 | 13:59 | 48.911 | 125.2078 | 93 | 85 | 16.05 | f | 26.35 | f | 1.77 | f
200814 | VI03 | 43 | 2008-06-20 | 15:43 | 48.8 | 125.355 | 85 | 75 | 6.4 | f | 13.3 | f | 0.805 | f
200814 | VI04 | 45 | 2008-06-20 | 17:28 | 48.6833 | 125.5833 | 155 | 145 | 6.45 | f | 14.1 | f | 0.805 | f
200814 | VI05 | 49 | 2008-06-20 | 19:12 | 48.5933 | 125.7117 | 62 | 55 | 16.7 | f | 31.5 | f | 1.47 | f
200814 | VI06 | 51 | 2008-06-20 | 20:39 | 48.485 | 125.8483 | 111 | 105 | 14.4 | f | 30.5 | f | 1.335 | f
200814 | VI07 | 55 | 2008-06-20 | 22:23 | 48.3817 | 125.9867 | 213 | 150 | 1.9 | f | 6.45 | f | 0.505 | f
200814 | VI08 | 57 | 2008-06-20 | 23:31 | 48.2625 | 126.1017 | 1100 | 150 | 2.55 | f | 7.6 | f | 0.56 | f
200814 | VI09 | 61 | 2008-06-21 | 1:36 | 48.1757 | 126.2242 | 2000 | 150 | 2.65 | f | 5.8 | f | 0.6 | f
200814 | VI10 | 63 | 2008-06-21 | 13:58 | 49.0983 | 126.0042 | 39 | 35 | 5.6 | f | 13.5 | f | 0.905 | f
200814 | VI11 | 67 | 2008-06-21 | 15:09 | 49.0533 | 126.0983 | 53 | 45 | 2.55 | f | 9.3 | f | 0.715 | f
200814 | VI12 | 69 | 2008-06-21 | 16:14 | 48.995 | 126.2033 | 86 | 80 | 1.95 | f | 6.35 | f | 0.64 | f
200814 | VI13 | 73 | 2008-06-21 | 18:07 | 48.925 | 126.31 | 133 | 125 | 4.6 | f | 13.05 | f | 0.805 | f
200814 | VI14 | 75 | 2008-06-21 | 19:23 | 48.86 | 126.4033 | 170 | 150 | 0.1 | f | 0.65 | f | 0.3 | f
200814 | VI15 | 79 | 2008-06-21 | 20:52 | 48.8 | 126.5 | 246 | 150 | 2.6 | f | 6.7 | f | 0.605 | f
200814 | VI16 | 81 | 2008-06-21 | 23:13 | 48.9827 | 126.4638 | 154 | 145 | 0.3 | f | 2.45 | f | 0.305 | f
200814 | VI17 | 85 | 2008-06-22 | 0:58 | 49.1017 | 126.3767 | 103 | 90 | 2.55 | f | 8.25 | f | 0.705 | f
200814 | EP01 | 87 | 2008-06-22 | 14:01 | 49.34 | 126.5482 | 40 | 30 | 15.45 | f | 29.6 | f | 1.695 | f
200814 | EP02 | 91 | 2008-06-22 | 15:26 | 49.3167 | 126.605 | 82 | 75 | 4.95 | f | 13.85 | f | 0.965 | f
200814 | EP03 | 93 | 2008-06-22 | 17:45 | 49.2817 | 126.6767 | 109 | 100 | 4.4 | f | 11.8 | f | 0.78 | f
200814 | EP04 | 97 | 2008-06-22 | 19:18 | 49.2433 | 126.7517 | 120 | 110 | 2.5 | f | 7.65 | f | 0.545 | f
200814 | EP05 | 99 | 2008-06-22 | 20:14 | 49.2067 | 126.83 | 141 | 135 | 2 | f | 6 | f | 0.515 | f
200814 | EP06 | 103 | 2008-06-22 | 21:38 | 49.1783 | 126.905 | 180 | 150 | 0.55 | f | 7.1 | f | 0.435 | f
200814 | EP07 | 105 | 2008-06-22 | 22:41 | 49.1367 | 126.9833 | 445 | 150 | 0.8 | f | 5.8 | f | 0.42 | f
200814 | EP08 | 109 | 2008-06-23 | 0:35 | 49.043 | 127.1545 | 1500 | 150 | 3.35 | f | 5.9 | f | 0.6 | f
200814 | VI18 | 111 | 2008-06-23 | 15:01 | 49.6418 | 126.9488 | 42 | 35 | 5.7 | f | 14.6 | f | 0.975 | f
200814 | VI19 | 115 | 2008-06-23 | 16:19 | 49.5933 | 127.0417 | 106 | 100 | 5.1 | f | 13.2 | f | 0.945 | f
200814 | VI20 | 117 | 2008-06-23 | 17:46 | 49.5367 | 127.14 | 136 | 130 | 0.45 | f | 2 | f | 0.38 | f
200814 | VI21 | 121 | 2008-06-23 | 19:15 | 49.485 | 127.2417 | 279 | 150 | 0.05 | f | 2 | f | 0.285 | f
200814 | VI22 | 124 | 2008-06-23 | 23:23 | 49.81 | 127.525 | 83 | 75 | 0.35 | f | 3.95 | f | 0.42 | f
200814 | VI23 | 128 | 2008-06-24 | 0:52 | 49.88 | 127.4367 | 67 | 60 | 10.55 | f | 20.5 | f | 1.33 | f
200814 | IVI02 | 129 | 2008-06-24 | 14:05 | 50.5117 | 127.6933 | 131 | 125 | 12.3 | f | 21.45 | f | 1.23 | f
200814 | IVI03 | 133 | 2008-06-24 | 15:57 | 50.4717 | 127.935 | 193 | 150 | 2.55 | f | 7.2 | f | 0.56 | f
200814 | IVI04 | 135 | 2008-06-24 | 17:05 | 50.4183 | 128 | 156 | 145 | 0.35 | f | 2.45 | f | 0.355 | f
200814 | VI24 | 139 | 2008-06-24 | 18:33 | 50.3583 | 128.1 | 83 | 75 | 3.5 | f | 4.85 | f | 0.665 | f
200814 | VI25 | 141 | 2008-06-24 | 19:38 | 50.3 | 128.2033 | 200 | 150 | 3.85 | f | 5.85 | f | 0.725 | f
200814 | VI26 | 145 | 2008-06-24 | 21:12 | 50.2433 | 128.3083 | 900 | 150 | 3.15 | f | 4.7 | f | 0.665 | f
200814 | VI27 | 147 | 2008-06-25 | 0:08 | 50.4978 | 128.5803 | 600 | 150 | 6.15 | f | 9.1 | f | 0.85 | f
200814 | VI28 | 151 | 2008-06-25 | 1:46 | 50.5985 | 128.446 | 121 | 110 | 3.9 | f | 4.8 | f | 0.66 | f
200814 | T08 | 153 | 2008-06-25 | 13:58 | 50.705 | 129.485 | 2000 | 150 | 5.55 | f | 7.95 | f | 0.82 | f
200814 | T07 | 157 | 2008-06-25 | 16:25 | 50.8198 | 129.2317 | 107 | 100 | 8.7 | f | 13.25 | f | 1.02 | f
200814 | T06 | 159 | 2008-06-25 | 18:11 | 50.9292 | 129.0038 | 57 | 50 | 2.6 | f | 5 | f | 0.665 | f
200814 | T05 | 163 | 2008-06-25 | 19:36 | 51.0017 | 128.8667 | 58 | 50 | 0.55 | f | 3.6 | f | 0.385 | f
200814 | T04 | 165 | 2008-06-25 | 20:45 | 51.0747 | 128.727 | 60 | 50 | 0.85 | f | 4.5 | f | 0.45 | f
200814 | T03 | 169 | 2008-06-25 | 22:04 | 51.1383 | 128.595 | 159 | 135 | 0.3 | f | 3.7 | f | 0.345 | f
200814 | T02 | 171 | 2008-06-25 | 23:18 | 51.2075 | 128.4645 | 192 | 150 | 1.1 | f | 5 | f | 0.49 | f
200814 | T01 | 175 | 2008-06-26 | 0:53 | 51.275 | 128.3333 | 75 | 65 | 2.15 | f | 6.7 | f | 0.58 | f
200814 | H02 | 177 | 2008-06-26 | 12:59 | 52.2667 | 129.4367 | 176 | 150 | 0.15 | f | 2.4 | f | 0.29 | f
200814 | H03 | 181 | 2008-06-26 | 14:54 | 52.3163 | 129.6962 | 218 | 150 | 5.1 | f | 7.85 | f | 0.735 | f
200814 | H04 | 183 | 2008-06-26 | 16:31 | 52.373 | 129.9603 | 209 | 150 | 2.85 | f | 4.55 | f | 0.575 | f
200814 | H05 | 187 | 2008-06-26 | 18:27 | 52.4262 | 130.217 | 324 | 150 | 5.35 | f | 6.55 | f | 0.75 | f
200814 | H06 | 189 | 2008-06-26 | 20:16 | 52.4808 | 130.4817 | 170 | 150 | 5.1 | f | 7.15 | f | 0.715 | f
200814 | H07 | 193 | 2008-06-26 | 22:12 | 52.537 | 130.7422 | 116 | 105 | 1.8 | f | 4.75 | f | 0.49 | f
200814 | H08 | 195 | 2008-06-26 | 23:44 | 52.5925 | 131.007 | 109 | 100 | 3 | f | 5.55 | f | 0.6 | f
200814 | HS01 | 198 | 2008-06-27 | 14:36 | 52.8153 | 130.905 | 45 | 40 | 5.45 | f | 10 | f | 0.725 | f
200814 | HS02 | 202 | 2008-06-27 | 16:49 | 53.0405 | 130.883 | 55 | 60 | [6 empty] | no sample collected
200814 | HS03 | 204 | 2008-06-27 | 18:32 | 53.2192 | 130.954 | 90 | 80 | 5.55 | f | 11.35 | f | 0.785 | f
200814 | HS04 | 208 | 2008-06-27 | 20:12 | 53.3495 | 131.0737 | 45 | 40 | [6 empty] | no sample collected
200814 | HS05 | 210 | 2008-06-27 | 21:39 | 53.4883 | 131 | 52 | 40 | 3.6 | c,f | 7.6 | c,f | 0.64 | c,f
200814 | DT01 | 213 | 2008-06-28 | 14:10 | 54.4002 | 131.023 | 45 | 40 | 3.45 | f | 9.9 | f | 0.78 | f
200814 | DT02 | 217 | 2008-06-28 | 15:43 | 54.4267 | 131.2 | 150 | 145 | [6 empty] | no sample collected
200814 | DT03 | 219 | 2008-06-28 | 17:03 | 54.4417 | 131.39 | 277 | 150 | 9.25 | f | 16.25 | f | 1.025 | f
200814 | DT04 | 223 | 2008-06-28 | 18:36 | 54.455 | 131.5833 | 287 | 150 | [6 empty] | no sample collected
200814 | DT05 | 225 | 2008-06-28 | 19:46 | 54.4667 | 131.7633 | 332 | 150 | 4.45 | f | 7 | f | 0.68 | f
200814 | DT06 | 229 | 2008-06-28 | 21:22 | 54.477 | 131.951 | 302 | 150 | [6 empty] | no sample collected
200814 | DT07 | 231 | 2008-06-28 | 22:38 | 54.4867 | 132.135 | 265 | 150 | 4.7 | f | 7.85 | f | 0.64 | f
200814 | D01 | 235 | 2008-06-29 | 0:29 | 54.5493 | 132.3488 | 315 | 150 | 4.9 | f | 7.65 | f | 0.65 | f
200814 | DE04 | 237 | 2008-06-29 | 14:10 | 54.1287 | 132.4642 | 46 | 40 | 9.65 | f | 17.4 | f | 1.085 | f
200814 | DE05 | 241 | 2008-06-29 | 16:10 | 54.1798 | 132.7585 | 61 | 50 | [6 empty] | no sample collected
200814 | DE06 | 243 | 2008-06-29 | 17:17 | 54.2417 | 132.9233 | 150 | 145 | 7.4 | f | 16.4 | f | 0.86 | f
200814 | D04 | 247 | 2008-06-29 | 19:28 | 54.4195 | 133.0237 | 148 | 120 | 9.7 | f | 17.75 | f | 1.015 | f
200814 | D05 | 249 | 2008-06-29 | 20:48 | 54.3694 | 133.2527 | 446 | 150 | [5 empty] | f | no sample collected
200814 | D06 | 253 | 2008-06-29 | 22:16 | 54.3193 | 133.4048 | 345 | 150 | 7.15 | f | 15.8 | f | 0.86 | f
200814 | D07 | 255 | 2008-06-29 | 23:46 | 54.2504 | 133.6315 | 279 | 150 | [5 empty] | f | no sample collected
200814 | QCI01 | 258 | 2008-06-30 | 14:09 | 53.9117 | 133.3617 | 59 | 55 | 4.35 | f | 12.55 | f | 0.7 | f
200814 | QCI02 | 262 | 2008-06-30 | 15:36 | 53.8413 | 133.3775 | 195 | 150 | 6.45 | f | 15.45 | f | 0.815 | f
200814 | QCI03 | 264 | 2008-06-30 | 16:55 | 53.8068 | 133.2163 | 69 | 55 | [6 empty] | no sample collected
200814 | QCI04 | 268 | 2008-06-30 | 18:19 | 53.7215 | 133.2408 | 212 | 150 | [6 empty] | no sample collected
200814 | QCI05 | 270 | 2008-06-30 | 19:30 | 53.6922 | 133.0967 | 138 | 130 | 4.3 | f | 13.8 | f | 0.695 | f
200814 | QCI06 | 274 | 2008-06-30 | 20:56 | 53.6 | 133.123 |  |  | 2.45 | f | 9.85 | f | 0.56 | f
200814 | QCI07 | 276 | 2008-06-30 | 21:56 | 53.5357 | 133.059 | 180 | 150 | [6 empty] | no sample collected
200814 | QCI08 | 280 | 2008-06-30 | 23:16 | 53.4628 | 132.9965 | 268 | 150 | [6 empty] | no sample collected
200814 | QCI09 | 282 | 2008-07-01 | 0:29 | 53.4198 | 132.8608 | 136 | 125 | 5.6 | f | 13.65 | f | 0.735 | f
200814 | QCI10 | 285 | 2008-07-01 | 14:05 | 53.3718 | 132.7527 | 139 | 130 | 5.5 | f | 14.25 | f | 0.795 | f
200814 | QCI11 | 289 | 2008-07-01 | 15:41 | 53.2612 | 132.7677 | 105 | 95 | [6 empty] | no sample collected
200814 | QCI12 | 291 | 2008-07-01 | 17:00 | 53.1485 | 132.6592 | 163 | 150 | 5.9 | f | 14.6 | f | 0.765 | f
200814 | QCI13 | 295 | 2008-07-01 | 18:46 | 53.053 | 132.552 | 165 | 150 | [6 empty] | no sample collected
200814 | QCI14 | 297 | 2008-07-01 | 20:11 | 52.9427 | 132.4427 |  |  | 6.2 | f | 13.7 | f | 0.805 | f
200814 | QCI15 | 301 | 2008-07-01 | 21:42 | 52.8833 | 132.3133 | 77 | 70 | [6 empty] | no sample collected
200814 | QCI16 | 303 | 2008-07-01 | 23:00 | 52.7867 | 132.2067 | 150 | 145 | 7.35 | f | 14.6 | f | 0.855 | f
200814 | QCI17 | 306 | 2008-07-02 | 14:00 | 52.7083 | 132.1168 | 151 | 145 | 6.3 | f | 14.8 | f | 0.785 | f
200814 | QCI18 | 310 | 2008-07-02 | 16:03 | 52.5682 | 131.9117 | [8 empty] | no sample collected
200814 | QCI19 | 312 | 2008-07-02 | 17:39 | 52.4336 | 131.7168 | 204 | 150 | 6.15 | f | 14.8 | f | 0.8 | f
200814 | QCI20 | 316 | 2008-07-02 | 19:28 | 52.3035 | 131.566 | 180 | 150 | [6 empty] | no sample collected
200814 | QCI21 | 318 | 2008-07-02 | 21:17 | 52.1758 | 131.4032 | 167 | 150 | 8.8 | f | 13.75 | f | 0.92 | f
200814 | QCI22 | 322 | 2008-07-02 | 22:59 | 52.0812 | 131.2887 | 180 | 150 | [6 empty] | no sample collected
200814 | QCI23 | 324 | 2008-07-03 | 0:13 | 51.978 | 131.1582 | 316 | 150 | 5.75 | f | 9.15 | f | 0.665 | f
200814 | HS06 | 328 | 2008-07-03 | 14:00 | 51.955 | 130.9567 | 107 | 100 | 8.15 | f | 13.75 | f | 0.93 | f
200814 | QCSD01 | 332 | 2008-07-03 | 15:53 | 51.8858 | 130.7257 | 300 | 150 | [6 empty] | no sample collected
200814 | GS08 | 334 | 2008-07-04 | 21:24 | 49.95 | 125.098 | 229 | 150 | 5.25 | f | 31.7 | c,f | 0.695
200814 | GS09 | 337 | 2008-07-04 | 22:18 | 49.8942 | 125.0535 | 142 | 135 | 10.6 | c,f | 38.15 | c,f | 1.185 | c,f
200814 | GS10 | 338 | 2008-07-04 | 22:56 | 49.8993 | 124.9408 | 141 | 135 | 5.9 | f | 36.25 | f | 0.735 | f
200814 | GS11 | 341 | 2008-07-04 | 23:56 | 49.8345 | 124.9342 | 200 | 150 | 14.9 | c,f | 38.4 | c,f | 1.5 | c,f
200814 | GS12 | 342 | 2008-07-05 | 0:40 | 49.8273 | 124.8223 | 268 | 150 | 1.35 | f | 31.65 | f | 0.39 | f
200814 | GS13 | 345 | 2008-07-05 | 1:40 | 49.8145 | 124.7155 | 160 | 150 | 0.55 | f | 34.65 | f | 0.305 | f
200814 | GS14 | 346 | 2008-07-05 | 2:27 | 49.832 | 124.5823 | 260 | 150 | 1 | f | 36.55 | f | 0.305 | f
200814 | GS15 | 348 | 2008-07-05 | 14:37 | 49.7447 | 124.7697 | 325 | 150 | 10 | f | 40.75 | f | 1.455 | f
200814 | GS16 | 351 | 2008-07-05 | 15:44 | 49.7072 | 124.66 | 338 | 150 | 2.55 | f | 35.1 | f | 0.42 | f
200814 | GS17 | 352 | 2008-07-05 | 16:24 | 49.633 | 124.6797 | 121 | 115 | 7.45 | c,f | 34.5 | c,f | 0.945 | c,f
200814 | GS18 | 355 | 2008-07-05 | 17:18 | 49.6127 | 124.5633 | 145 | 135 | 6.75 | f | 38.85 | f | 0.835 | f
200814 | GS19 | 356 | 2008-07-05 | 17:57 | 49.5455 | 124.578 | 171 | 150 | 11 | f | 40.3 | f | 1.16 | f
200814 | GS20 | 359 | 2008-07-05 | 18:58 | 49.5175 | 124.458 | 190 | 150 | 3.85 | f | 34.65 | c,f | 0.455
200814 | GS21 | 360 | 2008-07-05 | 19:42 | 49.4417 | 124.4795 | 325 | 150 | 17.2 | f | 47.05 | f | 1.58 | f
200814 | GS22 | 363 | 2008-07-05 | 21:17 | 49.3708 | 124.2527 | 317 | 150 | 9.35 | c,f | 33.75 | c,f | 0.98
200814 | GS23 | 364 | 2008-07-05 | 22:03 | 49.3917 | 124.1332 | 273 | 150 | 3.85 | f | 31.2 | c,f | 0.505
200814 | GS24 | 367 | 2008-07-05 | 23:00 | 49.433 | 124.0352 | 395 | 150 | 3 | f | 35.05 | c,f | 0.5
200814 | GS25 | 368 | 2008-07-05 | 23:44 | 49.3743 | 123.9672 | 402 | 150 | 2.55 | f | 30.95 | c,f | 0.455
200814 | GS26 | 371 | 2008-07-06 | 0:42 | 49.3148 | 123.911 | 411 | 150 | 6.5 | c,f | 27.4 | c,f | 0.76 | c,f

## duplicates
Cruise 2008-14
Precision of duplicate samples
|  |  |  | Average |  |  | diff squared |  |  | Removed from Sp calculations
SN | NO3 | SIL | PO4 | NO3 | SIL | PO4 | NO3 | SIL | PO4
uM
1 | 3.5 | 18.4 | 0.65 | 3.45 | 18.5 | 0.66 | 0.01 | 0.04 | 0.0004
1 | 3.4 | 18.6 | 0.67
4 | 0.4 | 20.6 | 0.22 | 0.35 | 21.2 | 0.24 | 0.01 | 1.44 | 0.0016
4 | 0.3 | 21.8 | 0.26
5 | 0.2 | 26.3 | 0.15 | 0.2 | 25.75 | 0.145 | 0 | 1.21 | 0.0001
5 | 0.2 | 25.2 | 0.14
8 | 8.8 | 26.8 | 1.05 | 8.7 | 26.5 | 1.065 | 0.04 | 0.36 | 0.0009
8 | 8.6 | 26.2 | 1.08
9 | 4.7 | 22.3 | 0.78 | 4.7 | 22.25 | 0.765 | 0 | 0.01 | 0.0009
9 | 4.7 | 22.2 | 0.75
12 | 11.1 | 28.8 | 1.23 | 11.1 | 28.65 | 1.255 | 0 | 0.09 | 0.0025
12 | 11.1 | 28.5 | 1.28
13 | 9.8 | 25.8 | 1.23 | 9.75 | 25.8 | 1.195 | 0.01 | 0 | 0.0049
13 | 9.7 | 25.8 | 1.16
16 | 22.3 | 39.2 | 1.95 | 23.05 | 40.35 | 2.005 |  |  |  | 2.25 | 5.29 | 0.0121
16 | 23.8 | 41.5 | 2.06
19 | 22.3 | 39.6 | 1.94 | 21.9 | 38.95 | 1.915 | 0.64 | 1.69 | 0.0025
19 | 21.5 | 38.3 | 1.89
21 | 21.6 | 38.4 | 1.89 | 21.85 | 38.9 | 1.895 | 0.25 | 1 | 0.0001
21 | 22.1 | 39.4 | 1.9
25 | 22.4 | 38.2 | 1.94 | 22.8 | 39.15 | 1.97 | 0.64 | 3.61 | 0.0036
25 | 23.2 | 40.1 | 2
27 | 22.6 | 39.4 | 1.93 | 21.55 | 37.7 | 1.845 |  |  |  | 4.41 | 11.56 | 0.0289
27 | 20.5 | 36 | 1.76
31 | 18.2 | 33.2 | 1.6 | 17.35 | 31.85 | 1.565 | 2.89 | 7.29 | 0.0049
31 | 16.5 | 30.5 | 1.53
33 | 18.6 | 33.9 | 1.64 | 18.95 | 34.65 | 1.675 | 0.49 | 2.25 | 0.0049
33 | 19.3 | 35.4 | 1.71
37 | 18.7 | 33.6 | 1.63 | 18.85 | 34 | 1.635 | 0.09 | 0.64 | 0.0001
37 | 19 | 34.4 | 1.64
39 | 16.1 | 26.6 | 1.77 | 16.05 | 26.35 | 1.77 | 0.01 | 0.25 | 0
39 | 16 | 26.1 | 1.77
43 | 6.4 | 13.3 | 0.81 | 6.4 | 13.3 | 0.805 | 0 | 0 | 0.0001
43 | 6.4 | 13.3 | 0.8
45 | 6.1 | 13.3 | 0.77 | 6.45 | 14.1 | 0.805 | 0.49 | 2.56 | 0.0049
45 | 6.8 | 14.9 | 0.84
49 | 16.8 | 31.8 | 1.48 | 16.7 | 31.5 | 1.47 | 0.04 | 0.36 | 0.0004
49 | 16.6 | 31.2 | 1.46
51 | 14.5 | 30.9 | 1.35 | 14.4 | 30.5 | 1.335 | 0.04 | 0.64 | 0.0009
51 | 14.3 | 30.1 | 1.32
55 | 1.9 | 6.3 | 0.51 | 1.9 | 6.45 | 0.505 | 0 | 0.09 | 0.0001
55 | 1.9 | 6.6 | 0.5
57 | 2.5 | 7.4 | 0.56 | 2.55 | 7.6 | 0.56 | 0.01 | 0.16 | 0
57 | 2.6 | 7.8 | 0.56
61 | 3 | 6 | 0.67 | 2.65 | 5.8 | 0.6 | 0.49 | 0.16 | 0.0196
61 | 2.3 | 5.6 | 0.53
63 | 5.5 | 13.6 | 0.91 | 5.6 | 13.5 | 0.905 | 0.04 | 0.04 | 0.0001
63 | 5.7 | 13.4 | 0.9
67 | 2.6 | 9.1 | 0.71 | 2.55 | 9.3 | 0.715 | 0.01 | 0.16 | 0.0001
67 | 2.5 | 9.5 | 0.72
69 | 2 | 6.3 | 0.63 | 1.95 | 6.35 | 0.64 | 0.01 | 0.01 | 0.0004
69 | 1.9 | 6.4 | 0.65
73 | 4.3 | 12.4 | 0.78 | 4.6 | 13.05 | 0.805 | 0.36 | 1.69 | 0.0025
73 | 4.9 | 13.7 | 0.83
75 | 0.1 | 0.7 | 0.31 | 0.1 | 0.65 | 0.3 | 0 | 0.01 | 0.0004
75 | 0.1 | 0.6 | 0.29
79 | 2.6 | 6.8 | 0.61 | 2.6 | 6.7 | 0.605 | 0 | 0.04 | 0.0001
79 | 2.6 | 6.6 | 0.6
81 | 0.3 | 2.4 | 0.3 | 0.3 | 2.45 | 0.305 | 0 | 0.01 | 0.0001
81 | 0.3 | 2.5 | 0.31
85 | 2.5 | 8.1 | 0.7 | 2.55 | 8.25 | 0.705 | 0.01 | 0.09 | 0.0001
85 | 2.6 | 8.4 | 0.71
87 | 15.4 | 29.6 | 1.69 | 15.45 | 29.6 | 1.695 | 0.01 | 0 | 0.0001
87 | 15.5 | 29.6 | 1.7
91 | 5 | 14.2 | 0.96 | 4.95 | 13.85 | 0.965 | 0.01 | 0.49 | 0.0001
91 | 4.9 | 13.5 | 0.97
93 | 4.4 | 11.7 | 0.78 | 4.4 | 11.8 | 0.78 | 0 | 0.04 | 0
93 | 4.4 | 11.9 | 0.78
97 | 2.5 | 7.5 | 0.54 | 2.5 | 7.65 | 0.545 | 0 | 0.09 | 0.0001
97 | 2.5 | 7.8 | 0.55
99 | 1.9 | 5.7 | 0.5 | 2 | 6 | 0.515 | 0.04 | 0.36 | 0.0009
99 | 2.1 | 6.3 | 0.53
103 | 0.5 | 7 | 0.42 | 0.55 | 7.1 | 0.435 | 0.01 | 0.04 | 0.0009
103 | 0.6 | 7.2 | 0.45
105 | 0.8 | 5.9 | 0.43 | 0.8 | 5.8 | 0.42 | 0 | 0.04 | 0.0004
105 | 0.8 | 5.7 | 0.41
109 | 3.3 | 5.8 | 0.59 | 3.35 | 5.9 | 0.6 | 0.01 | 0.04 | 0.0004
109 | 3.4 | 6 | 0.61
111 | 5.7 | 14.6 | 0.96 | 5.7 | 14.6 | 0.975 | 0 | 0 | 0.0009
111 | 5.7 | 14.6 | 0.99
115 | 5.2 | 13.5 | 0.95 | 5.1 | 13.2 | 0.945 | 0.04 | 0.36 | 0.0001
115 | 5 | 12.9 | 0.94
117 | 0.5 | 1.8 | 0.37 | 0.45 | 2 | 0.38 | 0.01 | 0.16 | 0.0004
117 | 0.4 | 2.2 | 0.39
121 | 0.1 | 1.8 | 0.29 | 0.05 | 2 | 0.285 | 0.01 | 0.16 | 0.0001
121 | 0 | 2.2 | 0.28
124 | 0.3 | 3.8 | 0.39 | 0.35 | 3.95 | 0.42 | 0.01 | 0.09 | 0.0036
124 | 0.4 | 4.1 | 0.45
128 | 10.5 | 20.5 | 1.31 | 10.55 | 20.5 | 1.33 | 0.01 | 0 | 0.0016
128 | 10.6 | 20.5 | 1.35
129 | 12.3 | 21.5 | 1.24 | 12.3 | 21.45 | 1.23 | 0 | 0.01 | 0.0004
129 | 12.3 | 21.4 | 1.22
133 | 2.6 | 7.1 | 0.56 | 2.55 | 7.2 | 0.56 | 0.01 | 0.04 | 0
133 | 2.5 | 7.3 | 0.56
135 | 0.4 | 2.5 | 0.35 | 0.35 | 2.45 | 0.355 | 0.01 | 0.01 | 0.0001
135 | 0.3 | 2.4 | 0.36
139 | 3.5 | 4.8 | 0.67 | 3.5 | 4.85 | 0.665 | 0 | 0.01 | 0.0001
139 | 3.5 | 4.9 | 0.66
141 | 3.9 | 5.9 | 0.76 | 3.85 | 5.85 | 0.725 | 0.01 | 0.01 | 0.0049
141 | 3.8 | 5.8 | 0.69
145 | 3.2 | 5 | 0.69 | 3.15 | 4.7 | 0.665 | 0.01 | 0.36 | 0.0025
145 | 3.1 | 4.4 | 0.64
147 | 6.2 | 9.3 | 0.87 | 6.15 | 9.1 | 0.85 | 0.01 | 0.16 | 0.0016
147 | 6.1 | 8.9 | 0.83
151 | 3.9 | 4.8 | 0.67 | 3.9 | 4.8 | 0.66 | 0 | 0 | 0.0004
151 | 3.9 | 4.8 | 0.65
153 | 5.7 | 7.9 | 0.83 | 5.55 | 7.95 | 0.82 | 0.09 | 0.01 | 0.0004
153 | 5.4 | 8 | 0.81
157 | 8.7 | 13.5 | 1.04 | 8.7 | 13.25 | 1.02 | 0 | 0.25 | 0.0016
157 | 8.7 | 13 | 1
159 | 2.9 | 5.2 | 0.7 | 2.6 | 5 | 0.665 | 0.36 | 0.16 | 0.0049
159 | 2.3 | 4.8 | 0.63
163 | 0.6 | 3.6 | 0.4 | 0.55 | 3.6 | 0.385 | 0.01 | 0 | 0.0009
163 | 0.5 | 3.6 | 0.37
165 | 0.4 | 4.1 | 0.39 | 0.85 | 4.5 | 0.45 | 0.81 | 0.64 | 0.0144
165 | 1.3 | 4.9 | 0.51
169 | 0.3 | 3.7 | 0.35 | 0.3 | 3.7 | 0.345 | 0 | 0 | 0.0001
169 | 0.3 | 3.7 | 0.34
171 | 0.6 | 4.2 | 0.42 | 1.1 | 5 | 0.49 | 1 | 2.56 | 0.0196
171 | 1.6 | 5.8 | 0.56
175 | 1.7 | 6.5 | 0.48 | 2.15 | 6.7 | 0.58 | 0.81 | 0.16 | 0.04
175 | 2.6 | 6.9 | 0.68
177 | 0.1 | 2.5 | 0.3 | 0.15 | 2.4 | 0.29 | 0.01 | 0.04 | 0.0004
177 | 0.2 | 2.3 | 0.28
181 | 5.1 | 7.9 | 0.75 | 5.1 | 7.85 | 0.735 | 0 | 0.01 | 0.0009
181 | 5.1 | 7.8 | 0.72
183 | 2.9 | 4.6 | 0.57 | 2.85 | 4.55 | 0.575 | 0.01 | 0.01 | 0.0001
183 | 2.8 | 4.5 | 0.58
187 | 5.3 | 6.6 | 0.76 | 5.35 | 6.55 | 0.75 | 0.01 | 0.01 | 0.0004
187 | 5.4 | 6.5 | 0.74
189 | 5.1 | 7.1 | 0.71 | 5.1 | 7.15 | 0.715 | 0 | 0.01 | 0.0001
189 | 5.1 | 7.2 | 0.72
193 | 1.8 | 4.7 | 0.49 | 1.8 | 4.75 | 0.49 | 0 | 0.01 | 0
193 | 1.8 | 4.8 | 0.49
195 | 3.1 | 5.7 | 0.61 | 3 | 5.55 | 0.6 | 0.04 | 0.09 | 0.0004
195 | 2.9 | 5.4 | 0.59
198 | 5.4 | 10 | 0.72 | 5.45 | 10 | 0.725 | 0.01 | 0 | 0.0001
198 | 5.5 | 10 | 0.73
204 | 5.8 | 11.9 | 0.81 | 5.55 | 11.35 | 0.785 | 0.25 | 1.21 | 0.0025
204 | 5.3 | 10.8 | 0.76
210 | 4.2 | 9.1 | 0.73 | 3.6 | 7.6 | 0.64 |  |  |  | 1.44 | 9 | 0.0324
210 | 3 | 6.1 | 0.55
213 | 3.5 | 10 | 0.78 | 3.45 | 9.9 | 0.78 | 0.01 | 0.04 | 0
213 | 3.4 | 9.8 | 0.78
219 | 9.9 | 17.4 | 1.07 | 9.25 | 16.25 | 1.025 | 1.69 | 5.29 | 0.0081
219 | 8.6 | 15.1 | 0.98
225 | 4.5 | 7.2 | 0.69 | 4.45 | 7 | 0.68 | 0.01 | 0.16 | 0.0004
225 | 4.4 | 6.8 | 0.67
231 | 4.8 | 7.8 | 0.62 | 4.7 | 7.85 | 0.64 | 0.04 | 0.01 | 0.0016
231 | 4.6 | 7.9 | 0.66
235 | 4.8 | 7.5 | 0.65 | 4.9 | 7.65 | 0.65 | 0.04 | 0.09 | 0
235 | 5 | 7.8 | 0.65
237 | 9.7 | 17.6 | 1.08 | 9.65 | 17.4 | 1.085 | 0.01 | 0.16 | 0.0001
237 | 9.6 | 17.2 | 1.09
243 | 7.4 | 16.2 | 0.82 | 7.4 | 16.4 | 0.86 | 0 | 0.16 | 0.0064
243 | 7.4 | 16.6 | 0.9
247 | 9.7 | 17.9 | 1.03 | 9.7 | 17.75 | 1.015 | 0 | 0.09 | 0.0009
247 | 9.7 | 17.6 | 1
253 | 7.1 | 15.7 | 0.86 | 7.15 | 15.8 | 0.86 | 0.01 | 0.04 | 0
253 | 7.2 | 15.9 | 0.86
258 | 4.3 | 12.4 | 0.69 | 4.35 | 12.55 | 0.7 | 0.01 | 0.09 | 0.0004
258 | 4.4 | 12.7 | 0.71
262 | 6.4 | 15.3 | 0.81 | 6.45 | 15.45 | 0.815 | 0.01 | 0.09 | 0.0001
262 | 6.5 | 15.6 | 0.82
270 | 4.3 | 13.7 | 0.69 | 4.3 | 13.8 | 0.695 | 0 | 0.04 | 0.0001
270 | 4.3 | 13.9 | 0.7
274 | 2.5 | 9.8 | 0.55 | 2.45 | 9.85 | 0.56 | 0.01 | 0.01 | 0.0004
274 | 2.4 | 9.9 | 0.57
282 | 5.5 | 13.5 | 0.72 | 5.6 | 13.65 | 0.735 | 0.04 | 0.09 | 0.0009
282 | 5.7 | 13.8 | 0.75
285 | 5.4 | 14.1 | 0.78 | 5.5 | 14.25 | 0.795 | 0.04 | 0.09 | 0.0009
285 | 5.6 | 14.4 | 0.81
291 | 5.9 | 14.8 | 0.79 | 5.9 | 14.6 | 0.765 | 0 | 0.16 | 0.0025
291 | 5.9 | 14.4 | 0.74
297 | 6.2 | 13.5 | 0.81 | 6.2 | 13.7 | 0.805 | 0 | 0.16 | 0.0001
297 | 6.2 | 13.9 | 0.8
303 | 7.4 | 14.8 | 0.86 | 7.35 | 14.6 | 0.855 | 0.01 | 0.16 | 0.0001
303 | 7.3 | 14.4 | 0.85
306 | 6.1 | 14.4 | 0.78 | 6.3 | 14.8 | 0.785 | 0.16 | 0.64 | 0.0001
306 | 6.5 | 15.2 | 0.79
312 | 6.1 | 14.5 | 0.78 | 6.15 | 14.8 | 0.8 | 0.01 | 0.36 | 0.0016
312 | 6.2 | 15.1 | 0.82
318 | 8.7 | 13.6 | 0.92 | 8.8 | 13.75 | 0.92 | 0.04 | 0.09 | 0
318 | 8.9 | 13.9 | 0.92
324 | 5.9 | 9.3 | 0.65 | 5.75 | 9.15 | 0.665 | 0.09 | 0.09 | 0.0009
324 | 5.6 | 9 | 0.68
328 | 8.5 | 14.4 | 0.96 | 8.15 | 13.75 | 0.93 | 0.49 | 1.69 | 0.0036
328 | 7.8 | 13.1 | 0.9
334 | 5.7 | 35.9 | 0.74 | 5.25 | 31.7 | 0.695 | 0.81 |  | 0.0081 |  | 70.56
334 | 4.8 | 27.5 | 0.65
337 | 9.4 | 33.6 | 1.07 | 10.6 | 38.15 | 1.185 |  |  |  | 5.76 | 82.81 | 0.0529
337 | 11.8 | 42.7 | 1.3
338 | 5.8 | 36.1 | 0.78 | 5.9 | 36.25 | 0.735 | 0.04 | 0.09 | 0.0081
338 | 6 | 36.4 | 0.69
341 | 11.6 | 30 | 1.27 | 14.9 | 38.4 | 1.5 |  |  |  | 43.56 | 282.24 | 0.2116
341 | 18.2 | 46.8 | 1.73
342 | 1.5 | 30.1 | 0.38 | 1.35 | 31.65 | 0.39 | 0.09 | 9.61 | 0.0004
342 | 1.2 | 33.2 | 0.4
345 | 0.5 | 34 | 0.3 | 0.55 | 34.65 | 0.305 | 0.01 | 1.69 | 0.0001
345 | 0.6 | 35.3 | 0.31
346 | 1.1 | 35.8 | 0.36 | 1 | 36.55 | 0.305 | 0.04 | 2.25 | 0.0121
346 | 0.9 | 37.3 | 0.25
348 | 10.1 | 41.3 | 1.75 | 10 | 40.75 | 1.455 | 0.04 | 1.21 | 0.3481
348 | 9.9 | 40.2 | 1.16
351 | 2.6 | 35.7 | 0.48 | 2.55 | 35.1 | 0.42 | 0.01 | 1.44 | 0.0144
351 | 2.5 | 34.5 | 0.36
352 | 8.5 | 40 | 1.07 | 7.45 | 34.5 | 0.945 |  |  |  | 4.41 | 121 | 0.0625
352 | 6.4 | 29 | 0.82
355 | 6.7 | 39 | 0.83 | 6.75 | 38.85 | 0.835 | 0.01 | 0.09 | 0.0001
355 | 6.8 | 38.7 | 0.84
356 | 11.5 | 42.2 | 1.18 | 11 | 40.3 | 1.16 | 1 | 14.44 | 0.0016
356 | 10.5 | 38.4 | 1.14
359 | 3.6 | 31.6 | 0.47 | 3.85 | 34.65 | 0.455 | 0.25 |  | 0.0009 |  | 37.21
359 | 4.1 | 37.7 | 0.44
360 | 17.2 | 47.2 | 1.52 | 17.2 | 47.05 | 1.58 | 0 | 0.09 | 0.0144
360 | 17.2 | 46.9 | 1.64
363 | 10.7 | 39 | 1.03 | 9.35 | 33.75 | 0.98 |  |  | 0.01 | 7.29 | 110.25
363 | 8 | 28.5 | 0.93
364 | 3.6 | 28.1 | 0.48 | 3.85 | 31.2 | 0.505 | 0.25 |  | 0.0025 |  | 38.44
364 | 4.1 | 34.3 | 0.53
367 | 2.9 | 33.3 | 0.48 | 3 | 35.05 | 0.5 | 0.04 |  | 0.0016 |  | 12.25
367 | 3.1 | 36.8 | 0.52
368 | 2.5 | 28.4 | 0.42 | 2.55 | 30.95 | 0.455 | 0.01 |  | 0.0049 |  | 26.01
368 | 2.6 | 33.5 | 0.49
371 | 5.6 | 23.5 | 0.69 | 6.5 | 27.4 | 0.76 |  |  |  | 3.24 | 60.84 | 0.0196
371 | 7.4 | 31.3 | 0.83
[6 empty] | Sum | 15.52 | 74.25 | 0.6201
[6 empty] | Count | 105 | 100 | 106
[6 empty] | Sp | 0.27185 | 0.6093 | 0.054083
[6 empty] | Min | 0 | 0.6 | 0.14
[6 empty] | Max | 23.8 | 47.2 | 2.06

## Dec 1, 2008-14 raw
FASPac II
Run date: 01/12/2008
Configuration: Nitrate Silicate Phosphate Low
Run Name: Dec 1, 2008-14
[5 empty] | Nitrate |  | Silicate |  | Phosphate | PO4 * 10
| Position | Identifier | Type | Cor Ht | uM | Cor Ht | uM | Cor Ht | uM
1 | SR:1 | SYNC | SYNC | 0.349 | 47.7 | 1.128 | 181.8 | 0.0394 | 4.1 | 41
2 | SR:2 | CO | Carry over | 0.013 | 2 | 0.002 | 0.3 | 0.0001 | 0.02 | 0.2
|  | Carry over= |  |  | 3.8% |  | .2% |  | .2% | 0.02
3 | SR:3 | W | Wash | 0 | 0.2 | 0 | 0 | 0 | 0.01 | 0.1
4 | SR:4 | C1 | Calibrant | -0.002 | 0 | 0 | 0 | 0 | 0.01 | 0.1
5 | SR:5 | C2 | Calibrant | 0.088 | 11.9 | 0.286 | 45.1 | 0.0094 | 0.99 | 9.9
6 | SR:6 | C3 | Calibrant | 0.178 | 24.1 | 0.566 | 89.9 | 0.0191 | 2 | 20
7 | SR:7 | C4 | Calibrant | 0.264 | 36 | 0.844 | 135 | 0.0289 | 3.01 | 30.1
8 | SR:9 | w | Unknown | 0.002 | 0.4 | 0 | 0 | 0 | 0.01 | 0.1
9 | SR:10 | W | Wash | 0 | 0.2 | 0 | 0 | 0 | 0.01 | 0.1
10 | SR:11 | Cal 5 m | Unknown | 0.054 | 7.4 | 0.071 | 11.1 | 0.0095 | 0.99 | 9.9
11 | 3:2 | Unk M std | Unknown | 0.181 | 24.5 | 0.568 | 90 | 0.0191 | 1.99 | 19.9
12 | SR:17 | w | Unknown | 0.001 | 0.3 | 0 | 0 | 0 | 0.01 | 0.1
13 | SR:18 | W | Wash | 0 | 0.2 | 0 | 0 | 0 | 0.01 | 0.1
14 | 1:1 | 2008-14 001 | Unknown | 0.025 | 3.5 | 0.118 | 18.4 | 0.0061 | 0.65 | 6.5
15 | 1:2 | 1 | Unknown | 0.024 | 3.4 | 0.119 | 18.6 | 0.0064 | 0.67 | 6.7
16 | 1:3 | 4 | Unknown | 0.001 | 0.4 | 0.132 | 20.6 | 0.002 | 0.22 | 2.2
17 | 1:4 | 4 | Unknown | 0 | 0.3 | 0.14 | 21.8 | 0.0024 | 0.26 | 2.6
18 | 1:5 | 5 | Unknown | 0 | 0.2 | 0.169 | 26.3 | 0.0014 | 0.15 | 1.5
19 | 1:6 | 5 | Unknown | 0 | 0.2 | 0.161 | 25.2 | 0.0013 | 0.14 | 1.4
20 | 1:7 | 8 | Unknown | 0.065 | 8.8 | 0.172 | 26.8 | 0.0101 | 1.05 | 10.5
21 | 1:8 | 8 | Unknown | 0.064 | 8.6 | 0.168 | 26.2 | 0.0103 | 1.08 | 10.8
22 | 1:9 | 9 | Unknown | 0.034 | 4.7 | 0.143 | 22.3 | 0.0074 | 0.78 | 7.8
23 | 1:10 | 9 | Unknown | 0.034 | 4.7 | 0.143 | 22.2 | 0.0071 | 0.75 | 7.5
24 | 1:11 | 12 | Unknown | 0.082 | 11.1 | 0.185 | 28.8 | 0.0117 | 1.23 | 12.3
25 | 1:12 | 12 | Unknown | 0.083 | 11.1 | 0.183 | 28.5 | 0.0122 | 1.28 | 12.8
26 | 1:13 | 13 | Unknown | 0.073 | 9.8 | 0.166 | 25.8 | 0.0117 | 1.23 | 12.3
27 | 1:14 | 13 | Unknown | 0.073 | 9.7 | 0.167 | 25.8 | 0.0111 | 1.16 | 11.6
28 | 1:15 | 16 | Unknown | 0.167 | 22.3 | 0.252 | 39.2 | 0.0187 | 1.95 | 19.5
29 | 1:16 | 16 | Unknown | 0.178 | 23.8 | 0.267 | 41.5 | 0.0197 | 2.06 | 20.6
30 | 1:17 | 19 | Unknown | 0.167 | 22.3 | 0.255 | 39.6 | 0.0186 | 1.94 | 19.4
31 | 1:18 | 19 | Unknown | 0.162 | 21.5 | 0.247 | 38.3 | 0.0181 | 1.89 | 18.9
32 | 1:19 | 21 | Unknown | 0.162 | 21.6 | 0.248 | 38.4 | 0.0181 | 1.89 | 18.9
33 | 1:20 | 21 | Unknown | 0.166 | 22.1 | 0.254 | 39.4 | 0.0182 | 1.9 | 19
34 | 1:21 | 25 | Unknown | 0.169 | 22.4 | 0.247 | 38.2 | 0.0186 | 1.94 | 19.4
35 | 1:22 | 25 | Unknown | 0.175 | 23.2 | 0.259 | 40.1 | 0.0192 | 2 | 20
36 | 1:23 | 27 | Unknown | 0.17 | 22.6 | 0.255 | 39.4 | 0.0185 | 1.93 | 19.3
37 | 1:24 | 27 | Unknown | 0.155 | 20.5 | 0.233 | 36 | 0.0168 | 1.76 | 17.6
38 | 1:25 | w | Unknown | 0.003 | 0.5 | 0 | 0.1 | 0 | 0.02 | 0.2
39 | 1:26 | W | Wash | 0 | 0.1 | 0 | 0 | 0 | 0.01 | 0.1
40 | 1:27 | 31 | Unknown | 0.137 | 18.2 | 0.215 | 33.2 | 0.0153 | 1.6 | 16
41 | 1:28 | 31 | Unknown | 0.125 | 16.5 | 0.198 | 30.5 | 0.0146 | 1.53 | 15.3
42 | 1:29 | 33 | Unknown | 0.141 | 18.6 | 0.22 | 33.9 | 0.0156 | 1.64 | 16.4
43 | 1:30 | 33 | Unknown | 0.147 | 19.3 | 0.23 | 35.4 | 0.0164 | 1.71 | 17.1
44 | 1:31 | 37 | Unknown | 0.142 | 18.7 | 0.219 | 33.6 | 0.0155 | 1.63 | 16.3
45 | 1:32 | 37 | Unknown | 0.144 | 19 | 0.224 | 34.4 | 0.0156 | 1.64 | 16.4
46 | 1:33 | 39 | Unknown | 0.122 | 16.1 | 0.173 | 26.6 | 0.0169 | 1.77 | 17.7
47 | 1:34 | 39 | Unknown | 0.122 | 16 | 0.171 | 26.1 | 0.0169 | 1.77 | 17.7
48 | 1:35 | 43 | Unknown | 0.048 | 6.4 | 0.087 | 13.3 | 0.0077 | 0.81 | 8.1
49 | 1:36 | 43 | Unknown | 0.049 | 6.4 | 0.087 | 13.3 | 0.0076 | 0.8 | 8
50 | 1:37 | 45 | Unknown | 0.046 | 6.1 | 0.087 | 13.3 | 0.0073 | 0.77 | 7.7
51 | 1:38 | 45 | Unknown | 0.052 | 6.8 | 0.098 | 14.9 | 0.008 | 0.84 | 8.4
52 | 1:39 | 49 | Unknown | 0.128 | 16.8 | 0.208 | 31.8 | 0.0141 | 1.48 | 14.8
53 | 1:40 | 49 | Unknown | 0.127 | 16.6 | 0.204 | 31.2 | 0.0139 | 1.46 | 14.6
54 | 1:41 | 51 | Unknown | 0.111 | 14.5 | 0.202 | 30.9 | 0.0129 | 1.35 | 13.5
55 | 1:42 | 51 | Unknown | 0.109 | 14.3 | 0.197 | 30.1 | 0.0126 | 1.32 | 13.2
56 | 1:43 | 55 | Unknown | 0.014 | 1.9 | 0.041 | 6.3 | 0.0048 | 0.51 | 5.1
57 | 1:44 | 55 | Unknown | 0.014 | 1.9 | 0.043 | 6.6 | 0.0047 | 0.5 | 5
58 | 1:45 | 57 | Unknown | 0.019 | 2.5 | 0.049 | 7.4 | 0.0053 | 0.56 | 5.6
59 | 1:46 | 57 | Unknown | 0.02 | 2.6 | 0.051 | 7.8 | 0.0053 | 0.56 | 5.6
60 | 1:47 | 61 | Unknown | 0.023 | 3 | 0.039 | 6 | 0.0063 | 0.67 | 6.7
61 | 1:48 | 61 | Unknown | 0.017 | 2.3 | 0.037 | 5.6 | 0.0049 | 0.53 | 5.3
62 | 1:49 | w | Unknown | 0.001 | 0.1 | 0 | 0 | 0 | 0.02 | 0.2
63 | 1:50 | W | Wash | 0 | 0.1 | 0 | 0 | 0 | 0.01 | 0.1
64 | SR:4 | C1 | Calibrant | -0.001 | 0 | 0 | 0 | 0 | 0.01 | 0.1
65 | SR:5 | C2 | Calibrant | 0.093 | 12 | 0.296 | 45.1 | 0.0093 | 0.99 | 9.9
66 | SR:6 | C3 | Calibrant | 0.184 | 24 | 0.586 | 89.9 | 0.019 | 1.99 | 19.9
67 | SR:7 | C4 | Calibrant | 0.274 | 36 | 0.871 | 135 | 0.0288 | 3.01 | 30.1
68 | SR:9 | w | Unknown | 0.002 | 0.3 | 0 | 0 | 0 | 0.02 | 0.2
69 | SR:10 | W | Wash | 0 | 0.1 | 0 | 0 | 0 | 0.01 | 0.1
70 | SR:11 | Cal 5 m | Unknown | 0.056 | 7.3 | 0.073 | 11 | 0.0094 | 1 | 10
71 | 3:2 | Unk M std | Unknown | 0.185 | 24.2 | 0.589 | 90.5 | 0.0192 | 2.01 | 20.1
72 | SR:17 | w | Unknown | 0 | 0.1 | 0 | 0 | 0 | 0.02 | 0.2
73 | SR:18 | W | Wash | 0 | 0.1 | 0 | 0 | 0 | 0.01 | 0.1
74 | 1:51 | 63 | Unknown | 0.042 | 5.5 | 0.09 | 13.6 | 0.0086 | 0.91 | 9.1
75 | 1:52 | 63 | Unknown | 0.044 | 5.7 | 0.089 | 13.4 | 0.0085 | 0.9 | 9
76 | 1:53 | 67 | Unknown | 0.02 | 2.6 | 0.06 | 9.1 | 0.0066 | 0.71 | 7.1
77 | 1:54 | 67 | Unknown | 0.019 | 2.5 | 0.063 | 9.5 | 0.0068 | 0.72 | 7.2
78 | 1:55 | 69 | Unknown | 0.015 | 2 | 0.042 | 6.3 | 0.0059 | 0.63 | 6.3
79 | 1:56 | 69 | Unknown | 0.015 | 1.9 | 0.042 | 6.4 | 0.0061 | 0.65 | 6.5
80 | 1:57 | 73 | Unknown | 0.033 | 4.3 | 0.082 | 12.4 | 0.0074 | 0.78 | 7.8
81 | 1:58 | 73 | Unknown | 0.038 | 4.9 | 0.091 | 13.7 | 0.0078 | 0.83 | 8.3
82 | 1:59 | 75 | Unknown | 0.001 | 0.1 | 0.005 | 0.7 | 0.0028 | 0.31 | 3.1
83 | 1:60 | 75 | Unknown | 0 | 0.1 | 0.004 | 0.6 | 0.0026 | 0.29 | 2.9
84 | 2:1 | 79 | Unknown | 0.02 | 2.6 | 0.045 | 6.8 | 0.0057 | 0.61 | 6.1
85 | 2:2 | 79 | Unknown | 0.02 | 2.6 | 0.044 | 6.6 | 0.0056 | 0.6 | 6
86 | 2:3 | 81 | Unknown | 0.002 | 0.3 | 0.016 | 2.4 | 0.0027 | 0.3 | 3
87 | 2:4 | 81 | Unknown | 0.002 | 0.3 | 0.016 | 2.5 | 0.0029 | 0.31 | 3.1
88 | 2:5 | 85 | Unknown | 0.019 | 2.5 | 0.054 | 8.1 | 0.0066 | 0.7 | 7
89 | 2:6 | 85 | Unknown | 0.02 | 2.6 | 0.055 | 8.4 | 0.0066 | 0.71 | 7.1
90 | 2:7 | w | Unknown | 0 | 0.1 | 0 | 0 | 0.0001 | 0.02 | 0.2
91 | 2:8 | W | Wash | 0 | 0.1 | 0 | 0 | 0 | 0.02 | 0.2
92 | 2:9 | 87 | Unknown | 0.119 | 15.4 | 0.195 | 29.6 | 0.016 | 1.69 | 16.9
93 | 2:10 | 87 | Unknown | 0.12 | 15.5 | 0.195 | 29.6 | 0.0161 | 1.7 | 17
94 | 2:11 | 91 | Unknown | 0.038 | 5 | 0.094 | 14.2 | 0.0091 | 0.96 | 9.6
95 | 2:12 | 91 | Unknown | 0.038 | 4.9 | 0.089 | 13.5 | 0.0091 | 0.97 | 9.7
96 | 2:13 | 93 | Unknown | 0.034 | 4.4 | 0.077 | 11.7 | 0.0073 | 0.78 | 7.8
97 | 2:14 | 93 | Unknown | 0.034 | 4.4 | 0.078 | 11.9 | 0.0073 | 0.78 | 7.8
98 | 2:15 | 97 | Unknown | 0.019 | 2.5 | 0.05 | 7.5 | 0.005 | 0.54 | 5.4
99 | 2:16 | 97 | Unknown | 0.019 | 2.5 | 0.052 | 7.8 | 0.0051 | 0.55 | 5.5
100 | 2:17 | 99 | Unknown | 0.015 | 1.9 | 0.038 | 5.7 | 0.0046 | 0.5 | 5
101 | 2:18 | 99 | Unknown | 0.016 | 2.1 | 0.042 | 6.3 | 0.0049 | 0.53 | 5.3
102 | 2:19 | 103 | Unknown | 0.004 | 0.5 | 0.046 | 7 | 0.0039 | 0.42 | 4.2
103 | 2:20 | 103 | Unknown | 0.005 | 0.6 | 0.048 | 7.2 | 0.0041 | 0.45 | 4.5
104 | 2:21 | 105 | Unknown | 0.006 | 0.8 | 0.039 | 5.9 | 0.0039 | 0.43 | 4.3
105 | 2:22 | 105 | Unknown | 0.006 | 0.8 | 0.038 | 5.7 | 0.0037 | 0.41 | 4.1
106 | 2:23 | 109 | Unknown | 0.025 | 3.3 | 0.038 | 5.8 | 0.0054 | 0.59 | 5.9
107 | 2:24 | 109 | Unknown | 0.027 | 3.4 | 0.04 | 6 | 0.0057 | 0.61 | 6.1
108 | 2:25 | w | Unknown | 0 | 0.1 | 0 | 0 | 0 | 0.02 | 0.2
109 | 2:26 | W | Wash | 0 | 0 | 0 | 0 | 0 | 0.02 | 0.2
110 | 2:27 | 111 | Unknown | 0.044 | 5.7 | 0.097 | 14.6 | 0.009 | 0.96 | 9.6
111 | 2:28 | 111 | Unknown | 0.045 | 5.7 | 0.097 | 14.6 | 0.0093 | 0.99 | 9.9
112 | 2:29 | 115 | Unknown | 0.041 | 5.2 | 0.089 | 13.5 | 0.0089 | 0.95 | 9.5
113 | 2:30 | 115 | Unknown | 0.039 | 5 | 0.085 | 12.9 | 0.0088 | 0.94 | 9.4
114 | 2:31 | 117 | Unknown | 0.003 | 0.5 | 0.012 | 1.8 | 0.0033 | 0.37 | 3.7
115 | 2:32 | 117 | Unknown | 0.003 | 0.4 | 0.014 | 2.2 | 0.0036 | 0.39 | 3.9
116 | 2:33 | 121 | Unknown | 0.001 | 0.1 | 0.012 | 1.8 | 0.0026 | 0.29 | 2.9
117 | 2:34 | 121 | Unknown | 0 | 0 | 0.014 | 2.2 | 0.0025 | 0.28 | 2.8
118 | 2:35 | 124 | Unknown | 0.002 | 0.3 | 0.025 | 3.8 | 0.0036 | 0.39 | 3.9
119 | 2:36 | 124 | Unknown | 0.003 | 0.4 | 0.027 | 4.1 | 0.0041 | 0.45 | 4.5
120 | 2:37 | 128 | Unknown | 0.081 | 10.5 | 0.135 | 20.5 | 0.0123 | 1.31 | 13.1
121 | 2:38 | 128 | Unknown | 0.082 | 10.6 | 0.135 | 20.5 | 0.0127 | 1.35 | 13.5
122 | 2:39 | w | Unknown | 0.002 | 0.2 | 0 | 0 | 0.0001 | 0.03 | 0.3
123 | 2:40 | W | Wash | 0 | 0 | 0 | 0 | 0 | 0.02 | 0.2
124 | SR:4 | C1 | Calibrant | 0 | 0 | 0 | 0 | 0 | 0.02 | 0.2
125 | SR:5 | C2 | Calibrant | 0.093 | 12 | 0.296 | 45 | 0.0091 | 0.98 | 9.8
126 | SR:6 | C3 | Calibrant | 0.184 | 24 | 0.585 | 90 | 0.0189 | 2 | 20
127 | SR:7 | C4 | Calibrant | 0.273 | 36 | 0.868 | 135 | 0.0285 | 3.01 | 30.1
128 | SR:9 | w | Unknown | 0.001 | 0.2 | 0 | 0 | 0.0001 | 0.03 | 0.3
129 | SR:10 | W | Wash | 0 | 0 | 0 | 0 | 0 | 0.02 | 0.2
130 | SR:11 | Cal 5 m | Unknown | 0.056 | 7.2 | 0.073 | 10.9 | 0.0093 | 1 | 10
131 | 3:2 | Unk M std | Unknown | 0.184 | 24 | 0.59 | 90.7 | 0.0189 | 2.01 | 20.1
132 | SR:17 | w | Unknown | 0.001 | 0.1 | 0 | 0 | 0.0001 | 0.03 | 0.3
133 | SR:18 | W | Wash | 0 | 0 | 0 | 0 | 0 | 0.02 | 0.2
134 | 2:41 | 129 | Unknown | 0.095 | 12.3 | 0.142 | 21.5 | 0.0116 | 1.24 | 12.4
135 | 2:42 | 129 | Unknown | 0.095 | 12.3 | 0.141 | 21.4 | 0.0115 | 1.22 | 12.2
136 | 2:43 | 133 | Unknown | 0.02 | 2.6 | 0.047 | 7.1 | 0.0051 | 0.56 | 5.6
137 | 2:44 | 133 | Unknown | 0.019 | 2.5 | 0.049 | 7.3 | 0.0051 | 0.56 | 5.6
138 | 2:45 | 135 | Unknown | 0.003 | 0.4 | 0.017 | 2.5 | 0.0032 | 0.35 | 3.5
139 | 2:46 | 135 | Unknown | 0.002 | 0.3 | 0.016 | 2.4 | 0.0033 | 0.36 | 3.6
140 | 2:47 | 139 | Unknown | 0.027 | 3.5 | 0.032 | 4.8 | 0.0061 | 0.67 | 6.7
141 | 2:48 | 139 | Unknown | 0.027 | 3.5 | 0.032 | 4.9 | 0.0061 | 0.66 | 6.6
142 | 2:49 | 141 | Unknown | 0.03 | 3.9 | 0.039 | 5.9 | 0.007 | 0.76 | 7.6
143 | 2:50 | 141 | Unknown | 0.029 | 3.8 | 0.038 | 5.8 | 0.0064 | 0.69 | 6.9
144 | 2:51 | 145 | Unknown | 0.025 | 3.2 | 0.033 | 5 | 0.0063 | 0.69 | 6.9
145 | 2:52 | 145 | Unknown | 0.023 | 3.1 | 0.029 | 4.4 | 0.0059 | 0.64 | 6.4
146 | 2:53 | 147 | Unknown | 0.048 | 6.2 | 0.062 | 9.3 | 0.0081 | 0.87 | 8.7
147 | 2:54 | 147 | Unknown | 0.047 | 6.1 | 0.059 | 8.9 | 0.0077 | 0.83 | 8.3
148 | 2:55 | 151 | Unknown | 0.03 | 3.9 | 0.032 | 4.8 | 0.0062 | 0.67 | 6.7
149 | 2:56 | 151 | Unknown | 0.03 | 3.9 | 0.032 | 4.8 | 0.006 | 0.65 | 6.5
150 | 2:57 | 153 | Unknown | 0.044 | 5.7 | 0.052 | 7.9 | 0.0077 | 0.83 | 8.3
151 | 2:58 | 153 | Unknown | 0.042 | 5.4 | 0.053 | 8 | 0.0075 | 0.81 | 8.1
152 | 2:59 | 157 | Unknown | 0.067 | 8.7 | 0.09 | 13.5 | 0.0097 | 1.04 | 10.4
153 | 2:60 | 157 | Unknown | 0.067 | 8.7 | 0.086 | 13 | 0.0093 | 1 | 10
154 | 1:1 | 159 | Unknown | 0.022 | 2.9 | 0.035 | 5.2 | 0.0064 | 0.7 | 7
155 | 1:2 | 159 | Unknown | 0.017 | 2.3 | 0.032 | 4.8 | 0.0057 | 0.63 | 6.3
156 | 1:3 | 163 | Unknown | 0.004 | 0.6 | 0.024 | 3.6 | 0.0036 | 0.4 | 4
157 | 1:4 | 163 | Unknown | 0.004 | 0.5 | 0.024 | 3.6 | 0.0033 | 0.37 | 3.7
158 | 1:5 | 165 | Unknown | 0.003 | 0.4 | 0.027 | 4.1 | 0.0035 | 0.39 | 3.9
159 | 1:6 | 165 | Unknown | 0.009 | 1.3 | 0.033 | 4.9 | 0.0046 | 0.51 | 5.1
160 | 1:7 | 169 | Unknown | 0.002 | 0.3 | 0.025 | 3.7 | 0.0032 | 0.35 | 3.5
161 | 1:8 | 169 | Unknown | 0.002 | 0.3 | 0.025 | 3.7 | 0.003 | 0.34 | 3.4
162 | 1:9 | 171 | Unknown | 0.004 | 0.6 | 0.028 | 4.2 | 0.0038 | 0.42 | 4.2
163 | 1:10 | 171 | Unknown | 0.012 | 1.6 | 0.039 | 5.8 | 0.0051 | 0.56 | 5.6
164 | 1:11 | 175 | Unknown | 0.012 | 1.7 | 0.043 | 6.5 | 0.0044 | 0.48 | 4.8
165 | 1:12 | 175 | Unknown | 0.02 | 2.6 | 0.046 | 6.9 | 0.0062 | 0.68 | 6.8
166 | 1:13 | w | Unknown | 0 | 0.1 | 0 | 0 | 0.0001 | 0.03 | 0.3
167 | 1:14 | W | Wash | 0 | 0.1 | 0 | 0 | 0 | 0.02 | 0.2
168 | 1:15 | 177 | Unknown | 0 | 0.1 | 0.017 | 2.5 | 0.0026 | 0.3 | 3
169 | 1:16 | 177 | Unknown | 0.001 | 0.2 | 0.016 | 2.3 | 0.0025 | 0.28 | 2.8
170 | 1:17 | 181 | Unknown | 0.038 | 5.1 | 0.053 | 7.9 | 0.0068 | 0.75 | 7.5
171 | 1:18 | 181 | Unknown | 0.038 | 5.1 | 0.052 | 7.8 | 0.0066 | 0.72 | 7.2
172 | 1:19 | 183 | Unknown | 0.021 | 2.9 | 0.031 | 4.6 | 0.0052 | 0.57 | 5.7
173 | 1:20 | 183 | Unknown | 0.021 | 2.8 | 0.03 | 4.5 | 0.0053 | 0.58 | 5.8
174 | 1:21 | 187 | Unknown | 0.04 | 5.3 | 0.044 | 6.6 | 0.0069 | 0.76 | 7.6
175 | 1:22 | 187 | Unknown | 0.041 | 5.4 | 0.043 | 6.5 | 0.0068 | 0.74 | 7.4
176 | 1:23 | 189 | Unknown | 0.038 | 5.1 | 0.047 | 7.1 | 0.0065 | 0.71 | 7.1
177 | 1:24 | 189 | Unknown | 0.038 | 5.1 | 0.048 | 7.2 | 0.0066 | 0.72 | 7.2
178 | 1:25 | w | Unknown | 0.002 | 0.3 | 0 | 0 | 0.0001 | 0.04 | 0.4
179 | 1:26 | W | Wash | 0 | 0.1 | 0 | -0.1 | 0 | 0.02 | 0.2
180 | SR:4 | C1 | Calibrant | -0.001 | 0 | 0 | -0.1 | 0 | 0.02 | 0.2
181 | SR:5 | C2 | Calibrant | 0.091 | 12 | 0.298 | 45.3 | 0.009 | 0.98 | 9.8
182 | SR:6 | C3 | Calibrant | 0.181 | 24 | 0.587 | 89.7 | 0.0185 | 1.99 | 19.9
183 | SR:7 | C4 | Calibrant | 0.269 | 36 | 0.877 | 135.1 | 0.0282 | 3.01 | 30.1
184 | SR:9 | w | Unknown | 0.002 | 0.4 | 0 | 0 | 0.0001 | 0.04 | 0.4
185 | SR:10 | W | Wash | 0 | 0.1 | 0 | -0.1 | 0 | 0.02 | 0.2
186 | SR:11 | Cal 5 m | Unknown | 0.055 | 7.2 | 0.073 | 10.9 | 0.0091 | 0.99 | 9.9
187 | 3:2 | Unk M std | Unknown | 0.18 | 23.8 | 0.589 | 90.1 | 0.0186 | 2 | 20
188 | SR:17 | w | Unknown | 0 | 0.2 | 0 | -0.1 | 0.0001 | 0.03 | 0.3
189 | SR:18 | W | Wash | 0 | 0.1 | 0 | -0.1 | 0 | 0.02 | 0.2
190 | SR:19 | PAUSE | Pause | 0 | 0.1 | 0 | -0.1 | 0 | 0.02 | 0.2
191 | SR:1 | SYNC | SYNC | ??? | ??? | ??? | ??? | ??? | ???

## Dec 2, 2008-14 raw
FASPac II
Run date: 02/12/2008
Configuration: Nitrate Silicate Phosphate Low
Run Name: Dec 2, 2008-14
[5 empty] | Nitrate |  | Silicate |  | Phosphate
| Position | Identifier | Type | Cor Ht | uM | Cor Ht | uM | Cor Ht | uM
1 | SR:1 | SYNC | SYNC | 0.342 | 49.2 | 1.137 | 184.1 | 0.0393 | 4.11
2 | SR:2 | CO | Carry over | 0.014 | 2.1 | 0.003 | 0.4 | 0.0002 | 0.02
3 | SR:3 | W | Wash | 0 | 0.1 | 0 | 0 | 0 | 0.01
4 | SR:4 | C1 | Calibrant | -0.001 | 0 | 0 | -0.1 | 0 | 0.01
5 | SR:5 | C2 | Calibrant | 0.087 | 12 | 0.288 | 45.2 | 0.0094 | 0.99
6 | SR:6 | C3 | Calibrant | 0.172 | 24 | 0.567 | 89.8 | 0.0191 | 2
7 | SR:7 | C4 | Calibrant | 0.254 | 36 | 0.843 | 135.1 | 0.0287 | 3
8 | SR:9 | w | Unknown | 0.001 | 0.2 | 0 | 0 | 0 | 0.01
9 | SR:10 | W | Wash | 0 | 0.1 | 0 | 0 | 0 | 0.01
10 | SR:11 | Cal 5 m | Unknown | 0.052 | 7.3 | 0.071 | 11 | 0.0095 | 1
11 | 3:2 | Unk M std | Unknown | 0.172 | 24 | 0.566 | 89.6 | 0.0196 | 2.06
12 | SR:17 | w | Unknown | 0 | 0.1 | 0 | 0 | 0 | 0
13 | SR:18 | W | Wash | 0 | 0.1 | 0 | 0 | 0 | 0.01
14 | 1:1 | 2008-14 193 | Unknown | 0.012 | 1.8 | 0.03 | 4.7 | 0.0046 | 0.49
15 | 1:2 | 193 | Unknown | 0.013 | 1.8 | 0.031 | 4.8 | 0.0047 | 0.49
16 | 1:3 | 195 | Unknown | 0.022 | 3.1 | 0.037 | 5.7 | 0.0057 | 0.61
17 | 1:4 | 195 | Unknown | 0.02 | 2.9 | 0.035 | 5.4 | 0.0055 | 0.59
18 | 1:5 | 198 | Unknown | 0.039 | 5.4 | 0.064 | 10 | 0.0068 | 0.72
19 | 1:6 | 198 | Unknown | 0.04 | 5.5 | 0.064 | 10 | 0.0069 | 0.73
20 | 1:7 | 204 | Unknown | 0.042 | 5.8 | 0.076 | 11.9 | 0.0076 | 0.81
21 | 1:8 | 204 | Unknown | 0.039 | 5.3 | 0.069 | 10.8 | 0.0072 | 0.76
22 | 1:9 | 210 | Unknown | 0.03 | 4.2 | 0.058 | 9.1 | 0.0069 | 0.73
23 | 1:10 | 210 | Unknown | 0.022 | 3 | 0.039 | 6.1 | 0.0052 | 0.55
24 | 1:11 | 213 | Unknown | 0.025 | 3.5 | 0.064 | 10 | 0.0073 | 0.78
25 | 1:12 | 213 | Unknown | 0.024 | 3.4 | 0.063 | 9.8 | 0.0073 | 0.78
26 | 1:13 | 219 | Unknown | 0.072 | 9.9 | 0.112 | 17.4 | 0.0102 | 1.07
27 | 1:14 | 219 | Unknown | 0.063 | 8.6 | 0.097 | 15.1 | 0.0093 | 0.98
28 | 1:15 | 225 | Unknown | 0.033 | 4.5 | 0.046 | 7.2 | 0.0065 | 0.69
29 | 1:16 | 225 | Unknown | 0.032 | 4.4 | 0.044 | 6.8 | 0.0063 | 0.67
30 | 1:17 | 231 | Unknown | 0.035 | 4.8 | 0.05 | 7.8 | 0.0059 | 0.62
31 | 1:18 | 231 | Unknown | 0.033 | 4.6 | 0.051 | 7.9 | 0.0063 | 0.66
32 | 1:19 | 235 | Unknown | 0.035 | 4.8 | 0.049 | 7.5 | 0.0061 | 0.65
33 | 1:20 | 235 | Unknown | 0.036 | 5 | 0.05 | 7.8 | 0.0061 | 0.65
34 | 1:21 | 237 | Unknown | 0.071 | 9.7 | 0.113 | 17.6 | 0.0102 | 1.08
35 | 1:22 | 237 | Unknown | 0.071 | 9.6 | 0.11 | 17.2 | 0.0104 | 1.09
36 | 1:23 | 243 | Unknown | 0.054 | 7.4 | 0.104 | 16.2 | 0.0078 | 0.82
37 | 1:24 | 243 | Unknown | 0.054 | 7.4 | 0.107 | 16.6 | 0.0085 | 0.9
38 | 1:25 | w | Unknown | 0.001 | 0.2 | 0 | 0 | 0 | 0.01
39 | 1:26 | W | Wash | 0 | 0.1 | 0 | 0 | 0 | 0.01
40 | 1:27 | 247 | Unknown | 0.071 | 9.7 | 0.115 | 17.9 | 0.0097 | 1.03
41 | 1:28 | 247 | Unknown | 0.071 | 9.7 | 0.113 | 17.6 | 0.0095 | 1
42 | 1:29 | 253 | Unknown | 0.052 | 7.1 | 0.101 | 15.7 | 0.0082 | 0.86
43 | 1:30 | 253 | Unknown | 0.053 | 7.2 | 0.102 | 15.9 | 0.0081 | 0.86
44 | 1:31 | 258 | Unknown | 0.031 | 4.3 | 0.08 | 12.4 | 0.0065 | 0.69
45 | 1:32 | 258 | Unknown | 0.032 | 4.4 | 0.082 | 12.7 | 0.0067 | 0.71
46 | 1:33 | 262 | Unknown | 0.047 | 6.4 | 0.098 | 15.3 | 0.0077 | 0.81
47 | 1:34 | 262 | Unknown | 0.048 | 6.5 | 0.1 | 15.6 | 0.0078 | 0.82
48 | 1:35 | 270 | Unknown | 0.031 | 4.3 | 0.088 | 13.7 | 0.0065 | 0.69
49 | 1:36 | 270 | Unknown | 0.032 | 4.3 | 0.089 | 13.9 | 0.0066 | 0.7
50 | 1:37 | 274 | Unknown | 0.018 | 2.5 | 0.063 | 9.8 | 0.0052 | 0.55
51 | 1:38 | 274 | Unknown | 0.017 | 2.4 | 0.064 | 9.9 | 0.0053 | 0.57
52 | 1:39 | 282 | Unknown | 0.04 | 5.5 | 0.087 | 13.5 | 0.0068 | 0.72
53 | 1:40 | 282 | Unknown | 0.042 | 5.7 | 0.089 | 13.8 | 0.0071 | 0.75
54 | 1:41 | w | Unknown | 0.001 | 0.1 | 0 | 0 | 0 | 0.01
55 | 1:42 | W | Wash | 0 | 0.1 | 0 | 0 | 0 | 0.01
56 | SR:4 | C1 | Calibrant | 0 | 0 | 0 | 0 | 0 | 0.01
57 | SR:5 | C2 | Calibrant | 0.088 | 12 | 0.29 | 45.1 | 0.0092 | 0.98
58 | SR:6 | C3 | Calibrant | 0.176 | 24 | 0.575 | 89.9 | 0.0192 | 2.01
59 | SR:7 | C4 | Calibrant | 0.263 | 36 | 0.859 | 135 | 0.0286 | 3
60 | SR:9 | w | Unknown | 0.002 | 0.3 | 0 | 0 | 0 | 0.01
61 | SR:10 | W | Wash | 0 | 0.1 | 0 | 0 | 0 | 0.01
62 | SR:11 | Cal 5 m | Unknown | 0.054 | 7.3 | 0.072 | 11.1 | 0.0093 | 0.99
63 | 3:2 | Unk M std | Unknown | 0.176 | 24 | 0.574 | 89.7 | 0.0191 | 2.01
64 | SR:17 | w | Unknown | 0 | 0.1 | 0 | 0 | 0 | 0.01
65 | SR:18 | W | Wash | 0 | 0.1 | 0 | 0 | 0 | 0.01
66 | 1:43 | 285 | Unknown | 0.04 | 5.4 | 0.091 | 14.1 | 0.0074 | 0.78
67 | 1:44 | 285 | Unknown | 0.041 | 5.6 | 0.093 | 14.4 | 0.0076 | 0.81
68 | 1:45 | 291 | Unknown | 0.044 | 5.9 | 0.096 | 14.8 | 0.0075 | 0.79
69 | 1:46 | 291 | Unknown | 0.043 | 5.9 | 0.093 | 14.4 | 0.007 | 0.74
70 | 1:47 | 297 | Unknown | 0.045 | 6.2 | 0.087 | 13.5 | 0.0076 | 0.81
71 | 1:48 | 297 | Unknown | 0.046 | 6.2 | 0.09 | 13.9 | 0.0076 | 0.8
72 | 1:49 | 303 | Unknown | 0.055 | 7.4 | 0.096 | 14.8 | 0.0081 | 0.86
73 | 1:50 | 303 | Unknown | 0.054 | 7.3 | 0.094 | 14.4 | 0.008 | 0.85
74 | 1:51 | 306 | Unknown | 0.045 | 6.1 | 0.093 | 14.4 | 0.0073 | 0.78
75 | 1:52 | 306 | Unknown | 0.048 | 6.5 | 0.098 | 15.2 | 0.0075 | 0.79
76 | 1:53 | 312 | Unknown | 0.045 | 6.1 | 0.094 | 14.5 | 0.0073 | 0.78
77 | 1:54 | 312 | Unknown | 0.046 | 6.2 | 0.098 | 15.1 | 0.0077 | 0.82
78 | 1:55 | 318 | Unknown | 0.064 | 8.7 | 0.089 | 13.6 | 0.0087 | 0.92
79 | 1:56 | 318 | Unknown | 0.065 | 8.9 | 0.09 | 13.9 | 0.0087 | 0.92
80 | 1:57 | 324 | Unknown | 0.044 | 5.9 | 0.061 | 9.3 | 0.0061 | 0.65
81 | 1:58 | 324 | Unknown | 0.041 | 5.6 | 0.059 | 9 | 0.0064 | 0.68
82 | 1:59 | w | Unknown | 0 | 0.1 | 0 | 0 | 0 | 0.02
83 | 1:60 | W | Wash | 0 | 0 | 0 | 0 | 0 | 0.01
84 | SR:19 | PAUSE | Pause | 0 | 0.1 | 0 | 0 | 0 | 0.01
85 | SR:1 | SYNC | SYNC | 0.367 | 51.1 | 1.174 | 184 | 0.0386 | 4.07
86 | 0 | AutoWash | AutoWash | 0 | 0 | 0 | 0 | 0 | 0.01
87 | 0 | AutoWash | AutoWash | 0 | 0 | 0 | 0 | 0 | 0.01
88 | 2:1 | 328 | Unknown | 0.063 | 8.5 | 0.094 | 14.4 | 0.009 | 0.96
89 | 2:2 | 328 | Unknown | 0.057 | 7.8 | 0.086 | 13.1 | 0.0085 | 0.9
90 | 2:3 | 334 | Unknown | 0.042 | 5.7 | 0.234 | 35.9 | 0.0069 | 0.74
91 | 2:4 | 334 | Unknown | 0.035 | 4.8 | 0.18 | 27.5 | 0.0061 | 0.65
92 | 2:5 | 337 | Unknown | 0.069 | 9.4 | 0.219 | 33.6 | 0.0101 | 1.07
93 | 2:6 | 337 | Unknown | 0.087 | 11.8 | 0.279 | 42.7 | 0.0122 | 1.3
94 | 2:7 | 338 | Unknown | 0.043 | 5.8 | 0.236 | 36.1 | 0.0073 | 0.78
95 | 2:8 | 338 | Unknown | 0.044 | 6 | 0.238 | 36.4 | 0.0064 | 0.69
96 | 2:9 | 341 | Unknown | 0.086 | 11.6 | 0.196 | 30 | 0.0119 | 1.27
97 | 2:10 | 341 | Unknown | 0.133 | 18.2 | 0.306 | 46.8 | 0.0163 | 1.73
98 | 2:11 | 342 | Unknown | 0.011 | 1.5 | 0.197 | 30.1 | 0.0035 | 0.38
99 | 2:12 | 342 | Unknown | 0.009 | 1.2 | 0.218 | 33.2 | 0.0036 | 0.4
100 | 2:13 | 345 | Unknown | 0.004 | 0.5 | 0.223 | 34 | 0.0027 | 0.3
101 | 2:14 | 345 | Unknown | 0.004 | 0.6 | 0.231 | 35.3 | 0.0028 | 0.31
102 | 2:15 | 346 | Unknown | 0.008 | 1.1 | 0.234 | 35.8 | 0.0033 | 0.36
103 | 2:16 | 346 | Unknown | 0.007 | 0.9 | 0.245 | 37.3 | 0.0023 | 0.25
104 | 2:17 | w | Unknown | 0 | 0 | 0 | 0 | 0 | 0.02
105 | 2:18 | W | Wash | 0 | 0 | 0 | 0 | 0 | 0.01
106 | SR:4 | C1 | Calibrant | 0 | 0 | 0 | 0 | 0 | 0.01
107 | SR:5 | C2 | Calibrant | 0.088 | 12 | 0.296 | 45.1 | 0.0092 | 0.98
108 | SR:6 | C3 | Calibrant | 0.175 | 24 | 0.586 | 89.9 | 0.0188 | 2
109 | SR:7 | C4 | Calibrant | 0.261 | 36 | 0.873 | 135 | 0.0284 | 3.01
110 | SR:9 | w | Unknown | 0.001 | 0.2 | 0 | 0 | 0 | 0.02
111 | SR:10 | W | Wash | 0 | 0 | 0 | 0 | 0 | 0.02
112 | SR:11 | Cal 5 m | Unknown | 0.054 | 7.3 | 0.073 | 11 | 0.0092 | 0.99
113 | 3:2 | Unk M std | Unknown | 0.173 | 23.8 | 0.583 | 89.6 | 0.0186 | 1.98
114 | SR:17 | w | Unknown | 0.001 | 0.2 | 0 | 0 | 0 | 0.01
115 | SR:18 | W | Wash | 0 | 0 | 0 | 0 | 0 | 0.02
116 | 2:19 | 348 | Unknown | 0.074 | 10.1 | 0.271 | 41.3 | 0.0164 | 1.75
117 | 2:20 | 348 | Unknown | 0.072 | 9.9 | 0.264 | 40.2 | 0.0109 | 1.16
118 | 2:21 | 351 | Unknown | 0.019 | 2.6 | 0.234 | 35.7 | 0.0044 | 0.48
119 | 2:22 | 351 | Unknown | 0.018 | 2.5 | 0.227 | 34.5 | 0.0032 | 0.36
120 | 2:23 | 352 | Unknown | 0.062 | 8.5 | 0.263 | 40 | 0.01 | 1.07
121 | 2:24 | 352 | Unknown | 0.046 | 6.4 | 0.19 | 29 | 0.0076 | 0.82
122 | 2:25 | 355 | Unknown | 0.049 | 6.7 | 0.256 | 39 | 0.0077 | 0.83
123 | 2:26 | 355 | Unknown | 0.049 | 6.8 | 0.254 | 38.7 | 0.0078 | 0.84
124 | 2:27 | 356 | Unknown | 0.083 | 11.5 | 0.277 | 42.2 | 0.011 | 1.18
125 | 2:28 | 356 | Unknown | 0.076 | 10.5 | 0.252 | 38.4 | 0.0107 | 1.14
126 | 2:29 | 359 | Unknown | 0.026 | 3.6 | 0.208 | 31.6 | 0.0043 | 0.47
127 | 2:30 | 359 | Unknown | 0.029 | 4.1 | 0.247 | 37.7 | 0.004 | 0.44
128 | 2:31 | 360 | Unknown | 0.123 | 17.2 | 0.309 | 47.2 | 0.0143 | 1.52
129 | 2:32 | 360 | Unknown | 0.124 | 17.2 | 0.308 | 46.9 | 0.0154 | 1.64
130 | 2:33 | 363 | Unknown | 0.077 | 10.7 | 0.256 | 39 | 0.0097 | 1.03
131 | 2:34 | 363 | Unknown | 0.057 | 8 | 0.187 | 28.5 | 0.0087 | 0.93
132 | 2:35 | 364 | Unknown | 0.025 | 3.6 | 0.185 | 28.1 | 0.0044 | 0.48
133 | 2:36 | 364 | Unknown | 0.03 | 4.1 | 0.226 | 34.3 | 0.0049 | 0.53
134 | 2:37 | 367 | Unknown | 0.02 | 2.9 | 0.219 | 33.3 | 0.0044 | 0.48
135 | 2:38 | 367 | Unknown | 0.022 | 3.1 | 0.242 | 36.8 | 0.0048 | 0.52
136 | 2:39 | 368 | Unknown | 0.018 | 2.5 | 0.187 | 28.4 | 0.0039 | 0.42
137 | 2:40 | 368 | Unknown | 0.019 | 2.6 | 0.221 | 33.5 | 0.0046 | 0.49
138 | 2:41 | 371 | Unknown | 0.04 | 5.6 | 0.155 | 23.5 | 0.0064 | 0.69
139 | 2:42 | 371 | Unknown | 0.053 | 7.4 | 0.206 | 31.3 | 0.0077 | 0.83
140 | 2:43 | w | Unknown | 0 | 0.1 | 0 | 0 | 0.0001 | 0.02
141 | 2:44 | W | Wash | 0 | 0.1 | 0 | 0 | 0 | 0.02
142 | SR:4 | C1 | Calibrant | -0.001 | 0 | 0 | -0.1 | 0 | 0.01
143 | SR:5 | C2 | Calibrant | 0.085 | 12 | 0.296 | 45.2 | 0.0091 | 0.98
144 | SR:6 | C3 | Calibrant | 0.169 | 24 | 0.582 | 89.8 | 0.0188 | 2
145 | SR:7 | C4 | Calibrant | 0.25 | 36 | 0.866 | 135.1 | 0.0284 | 3.01
146 | SR:9 | w | Unknown | 0.003 | 0.4 | 0 | 0 | 0 | 0.02
147 | SR:10 | W | Wash | 0 | 0.1 | 0 | 0 | 0 | 0.02
148 | SR:11 | Cal 5 m | Unknown | 0.051 | 7.2 | 0.072 | 10.9 | 0.0092 | 0.99
149 | 3:2 | Unk M std | Unknown | 0.167 | 23.7 | 0.581 | 89.6 | 0.0188 | 1.99
150 | SR:17 | w | Unknown | 0 | 0.1 | 0 | -0.1 | 0 | 0.02
151 | SR:18 | W | Wash | 0 | 0.1 | 0 | 0 | 0 | 0.02
152 | SR:19 | PAUSE | Pause | -0.001 | 0 | 0 | -0.1 | 0 | 0.01
153 | SR:1 | SYNC | SYNC | ??? | ??? | ??? | ??? | ??? | ???