## Raw-data
Cruise: | 2008-14 HS |  | Analysis Date January 2009
Notes: | Modified Oct 15/08 to include dilution factor in Phaeopigments
Fluorometer calibration equation used: |  |  |  |  | June 27, 2007: chl (ug/L)= (1.693/(1.693-1)*(Fo-Fa)*(1.0499)*(vol ext/vol filtered)
June 27, 2007 phaeo (ug/L)= (1.693/(1.693-1)*((1.693*Fa)-Fo)*1.0499)*(vol ext/vol filtered)
Station | Cast # | Depth | Niskin | Sample | Size Fraction | Volume Acetone | Volume filtered | Fo | Fa | Dilution | Chorophyll a (ug/L) | Phaeopigments (ug/L) | Flag | Comments
VI26 |  | 10 |  | 145 | Total | 10 | 331 | 172 | 116 | 1 | 4.3394 | 1.8898
VI26 |  | 10 |  | 145 | Total | 10 | 331 | 168 | 114 | 1 | 4.1844 | 1.9374
VI27 |  | 10 |  | 147 | Total | 10 | 331 | 136 | 92.9 | 1 | 3.3398 | 1.649
VI27 |  | 10 |  | 147 | Total | 10 | 331 | 137 | 92.5 | 1 | 3.4483 | 1.519
VI28 |  | 10 |  | 151 | Total | 10 | 331 | 175 | 115 | 1 | 4.6494 | 1.5262
VI28 |  | 10 |  | 151 | Total | 10 | 331 | 177 | 117 | 1 | 4.6494 | 1.6336
TO8 |  | 10 |  | 153 | Total | 10 | 331 | 68.8 | 50.5 | 1 | 1.4181 | 1.2938
TO8 |  | 10 |  | 153 | Total | 10 | 331 | 66.8 | 48.2 | 1 | 1.4413 | 1.147
TO7 |  | 10 |  | 157 | Total | 10 | 331 | 48.5 | 32.1 | 5 | 6.3542 | 2.2648
TO7 |  | 10 |  | 157 | Total | 10 | 331 | 54.5 | 37 | 5 | 6.7803 | 3.1542
T06 |  | 10 |  | 159 | Total | 10 | 331 | 61.5 | 39.8 | 5 | 8.4076 | 2.2787
T06 |  | 10 |  | 159 | Total | 10 | 331 | 60.2 | 38.5 | 5 | 8.4076 | 1.9297
T05 |  | 10 |  | 163 | Total | 10 | 331 | 51.6 | 34 | 5 | 6.8191 | 2.31
T05 |  | 10 |  | 163 | Total | 10 | 331 | 54.7 | 36.2 | 5 | 7.1678 | 2.552
T04 |  | 10 |  | 165 | Total | 10 | 331 | 135 | 88.1 | 1 | 3.6343 | 1.0967
T04 |  | 10 |  | 165 | Total | 10 | 331 | 135 | 88.5 | 1 | 3.6033 | 1.1492
T03 |  | 10 |  | 169 | Total | 10 | 331 | 98.8 | 65.1 | 1 | 2.6114 | 0.88449
T03 |  | 10 |  | 169 | Total | 10 | 331 | 92.2 | 60.7 | 1 | 2.4409 | 0.81869
T02 |  | 10 |  | 171 | Total | 10 | 331 | 192 | 122 | 1 | 5.4243 | 1.1272
TO2 |  | 10 |  | 171 | Total | 10 | 331 | 196 | 125 | 1 | 5.5018 | 1.2108
T01 |  | 10 |  | 175 | Total | 10 | 331 | 55.4 | 35.4 | 5 | 7.749 | 1.756
T01 |  | 10 |  | 175 | Total | 10 | 331 | 50.4 | 32.9 | 5 | 6.7803 | 2.0534
H02 |  | 10 |  | 177 | Total | 10 | 331 | 121 | 79.1 | 1 | 3.2468 | 1.0009
H02 |  | 10 |  | 177 | Total | 10 | 331 | 123 | 81.8 | 1 | 3.1926 | 1.2001
H03 |  | 10 |  | 181 | Total | 10 | 331 | 57.1 | 39.6 | 1 | 1.3561 | 0.77046
H03 |  | 10 |  | 181 | Total | 10 | 331 | 58.3 | 40.5 | 1 | 1.3793 | 0.79555
H04 |  | 10 |  | 183 | Total | 10 | 331 | 0.74 | 0.45 | 1 | -99 | 0.0016931 |  | no sample reading
H04 |  | 10 |  | 183 | Total | 10 | 331 | 52.5 | 36 | 1 | 1.2786 | 0.65463
H05 |  | 10 |  | 187 | Total | 10 | 331 | 53.5 | 36.9 | 1 | 1.2863 | 0.69521
H05 |  | 10 |  | 187 | Total | 10 | 331 | 50.8 | 34.4 | 1 | 1.2708 | 0.57646
H06 |  | 10 |  | 189 | Total | 10 | 331 | 62.7 | 42.8 | 1 | 1.542 | 0.75633
H06 |  | 10 |  | 189 | Total | 10 | 331 | 63.9 | 43.6 | 1 | 1.573 | 0.76829
H07 |  | 10 |  | 193 | Total | 10 | 331 | 72.7 | 50.1 | 1 | 1.7513 | 0.93912
H07 |  | 10 |  | 193 | Total | 10 | 331 | 75.4 | 50.6 | 1 | 1.9217 | 0.79549
H08 |  | 10 |  | 195 | Total | 10 | 331 | 67.7 | 45.7 | 1 | 1.7048 | 0.74933
H08 |  | 10 |  | 195 | Total | 10 | 331 | 66 | 45 | 1 | 1.6273 | 0.78923
HS01 |  | 10 |  | 198 | Total | 10 | 331 | 59.9 | 42 | 1 | 1.3871 | 0.86835
HS01 |  | 10 |  | 198 | Total | 10 | 331 | 55.1 | 37.9 | 1 | 1.3328 | 0.70242
HS03 |  | 10 |  | 204 | Total | 10 | 331 | 72.5 | 50 | 1 | 1.7435 | 0.9415
HS03 |  | 10 |  | 204 | Total | 10 | 331 | 75.8 | 53.1 | 1 | 1.759 | 1.0925
HS05 |  | 10 |  | 210 | Total | 10 | 331 | 126 | 85.5 | 1 | 3.1383 | 1.453
HS05 |  | 10 |  | 210 | Total | 10 | 331 | 129 | 84.5 | 1 | 3.4483 | 1.0894
DT01 |  | 10 |  | 213 | Total | 10 | 331 | 134 | 87 | 1 | 3.642 | 1.0299
DT01 |  | 10 |  | 213 | Total | 10 | 331 | 128 | 82.8 | 1 | 3.5025 | 0.94385
DT03 |  | 10 |  | 219 | Total | 10 | 331 | 123 | 81.8 | 1 | 3.1926 | 1.2001
DT03 |  | 10 |  | 219 | Total | 10 | 331 | 120 | 80.1 | 1 | 3.0918 | 1.2096
DT05 |  | 10 |  | 225 | Total | 10 | 331 | 38.3 | 25.3 | 5 | 5.0368 | 1.7563
DT05 |  | 10 |  | 225 | Total | 10 | 331 | 45.4 | 30 | 5 | 5.9667 | 2.0883
DT07 |  | 10 |  | 231 | Total | 10 | 331 | 196 | 128 | 1 | 5.2693 | 1.6043
DT07 |  | 10 |  | 231 | Total | 10 | 331 | 39.8 | 26 | 5 | 5.3468 | 1.6343
D01 |  | 10 |  | 235 | Total | 10 | 331 | 115 | 79.6 | 1 | 2.7431 | 1.5314 |  | cloudy
D01 |  | 10 |  | 235 | Total | 10 | 331 | 114 | 77.1 | 1 | 2.8594 | 1.2809
DE04 |  | 10 |  | 237 | Total | 10 | 331 | 53.6 | 38.2 | 1 | 1.1933 | 0.85801
DE04 |  | 10 |  | 237 | Total | 10 | 331 | 59.4 | 41.2 | 1 | 1.4103 | 0.80214
DE06 |  | 10 |  | 243 | Total | 10 | 331 | 50.5 | 35.6 | 1 | 1.1546 | 0.75714
DE06 |  | 10 |  | 243 | Total | 10 | 331 | 56.1 | 39.3 | 1 | 1.3018 | 0.8086 |  | cloudy
D04 |  | 10 |  | 247 | Total | 10 | 331 | 80.4 | 52 | 1 | 2.2007 | 0.59171
D04 |  | 10 |  | 247 | Total | 10 | 331 | 85.5 | 55.9 | 1 | 2.2937 | 0.70815
D06 |  | 10 |  | 253 | Total | 10 | 331 | 35.4 | 23.7 | 1 | 0.90663 | 0.36607
D06 |  | 10 |  | 253 | Total | 10 | 331 | 39.3 | 25.6 | 1 | 1.0616 | 0.31312 |  | cloudy
QCI01 |  | 10 |  | 258 | Total | 10 | 331 | 92.1 | 59.3 | 1 | 2.5417 | 0.64277
QCI01 |  | 10 |  | 258 | Total | 10 | 331 | 91.2 | 59.3 | 1 | 2.4719 | 0.71251
QCI02 |  | 10 |  | 262 | Total | 10 | 331 | 39.2 | 26.1 | 1 | 1.0151 | 0.38646
QCI02 |  | 10 |  | 262 | Total | 10 | 331 | 38.7 | 25.5 | 1 | 1.0229 | 0.34649
QCI05 |  | 10 |  | 270 | Total | 10 | 331 | 93.3 | 59.6 | 1 | 2.6114 | 0.58914
QCI05 |  | 10 |  | 270 | Total | 10 | 331 | 93.8 | 60.8 | 1 | 2.5572 | 0.70782
QCI06 |  | 10 |  | 274 | Total | 10 | 331 | 78.9 | 50.5 | 1 | 2.2007 | 0.51116
QCI06 |  | 10 |  | 274 | Total | 10 | 331 | 77.2 | 51 | 1 | 2.0302 | 0.70849
QCI09 |  | 10 |  | 282 | Total | 10 | 331 | 53.8 | 36.4 | 1 | 1.3483 | 0.60637
QCI09 |  | 10 |  | 282 | Total | 10 | 331 | 49 | 33.3 | 1 | 1.2166 | 0.57163
QCI10 |  | 10 |  | 285 | Total | 10 | 331 | 57.8 | 41.9 | 1 | 1.2321 | 1.018
QCI10 |  | 10 |  | 285 | Total | 10 | 331 | 64.6 | 48.3 | 1 | 1.2631 | 1.3306 |  | cloudy
QCI12 |  | 10 |  | 291 | Total | 10 | 331 | 66.4 | 55.4 | 1 | 0.85239 | 2.1226
QCI12 |  | 10 |  | 291 | Total | 10 | 331 | 79.4 | 54.2 | 1 | 1.9527 | 0.95782 |  | cloudy
QCI14 |  | 10 |  | 297 | Total | 10 | 331 | 55.7 | 36.4 | 1 | 1.4956 | 0.45914
QCI14 |  | 10 |  | 297 | Total | 10 | 331 | 55 | 36.3 | 1 | 1.4491 | 0.50027
QCI16 |  | 10 |  | 303 | Total | 10 | 331 | 53.4 | 36.5 | 1 | 1.3096 | 0.65049
QCI16 |  | 10 |  | 303 | Total | 10 | 331 | 53.9 | 38.6 | 1 | 1.1856 | 0.88724 |  | cloudy
QCI17 |  | 10 |  | 306 | Total | 10 | 331 | 67.9 | 45.4 | 1 | 1.7435 | 0.69448
QCI17 |  | 10 |  | 306 | Total | 10 | 331 | 68 | 46 | 1 | 1.7048 | 0.76544
QCI19 |  | 10 |  | 312 | Total | 10 | 331 | 72.1 | 47.9 | 5 | 9.3762 | 3.485
QCI19 |  | 10 |  | 312 | Total | 10 | 331 | 71.2 | 47.7 | 5 | 9.105 | 3.7025
QCI21 |  | 10 |  | 318 | Total | 10 | 331 | 57.2 | 39.8 | 1 | 1.3483 | 0.78895
QCI21 |  | 10 |  | 318 | Total | 10 | 331 | 54.4 | 37.7 | 1 | 1.2941 | 0.73043
QCI23 |  | 10 |  | 324 | Total | 10 | 331 | 51.2 | 35.8 | 1 | 1.1933 | 0.72913
QCI23 |  | 10 |  | 324 | Total | 10 | 331 | 51.1 | 35.4 | 1 | 1.2166 | 0.6844
HS06 |  | 10 |  | 328 | Total | 10 | 331 | 53.9 | 36.6 | 1 | 1.3406 | 0.62486
HS06 |  | 10 |  | 328 | Total | 10 | 331 | 57 | 39 | 1 | 1.3948 | 0.6995
GS08 |  | 10 |  | 334 | Total | 10 | 331 | 194 | 123 | 1 | 5.5018 | 1.1034
GS08 |  | 10 |  | 334 | Total | 10 | 331 | 186 | 117 | 1 | 5.3468 | 0.93615
GS09 |  | 10 |  | 337 | Total | 10 | 331 | 189 | 117 | 1 | 5.5793 | 0.70368
GS09 |  | 10 |  | 337 | Total | 10 | 331 | 149 | 94.3 | 1 | 4.2387 | 0.82526
GS10 |  | 10 |  | 338 | Total | 10 | 331 | 165 | 106 | 1 | 4.5719 | 1.1203
GS10 |  | 10 |  | 338 | Total | 10 | 331 | 193 | 124 | 1 | 5.3468 | 1.3121
GS11 |  | 10 |  | 341 | Total | 10 | 331 | 36.7 | 26.4 | 1 | 0.79814 | 0.61955
GS11 |  | 10 |  | 341 | Total | 10 | 331 | 38 | 26.7 | 1 | 0.87563 | 0.55817
GS12 |  | 10 |  | 342 | Total | 10 | 331 | 59.4 | 36.9 | 1 | 1.7435 | 0.23802
GS12 |  | 10 |  | 342 | Total | 10 | 331 | 64.7 | 41.3 | 1 | 1.8133 | 0.40457
GS13 |  | 10 |  | 345 | Total | 10 | 331 | 42.5 | 26.6 | 5 | 6.1604 | 0.98172
GS13 |  | 10 |  | 345 | Total | 10 | 331 | 46.1 | 28.6 | 5 | 6.7803 | 0.8988
GS14 |  | 10 |  | 346 | Total | 10 | 331 | 195 | 125 | 1 | 5.4243 | 1.2883
GS14 |  | 10 |  | 346 | Total | 10 | 331 | 198 | 126 | 1 | 5.5793 | 1.187
GS15 |  | 10 |  | 348 | Total | 10 | 331 | 57.3 | 37.6 | 5 | 7.6327 | 2.4629
GS15 |  | 10 |  | 348 | Total | 10 | 331 | 58.1 | 37.9 | 5 | 7.8265 | 2.3498
GS17 |  | 10 |  | 352 | Total | 10 | 331 | 74 | 45.8 | 5 | 10.926 | 1.3713
GS17 |  | 10 |  | 352 | Total | 10 | 331 | 80.4 | 50.3 | 5 | 11.6622 | 1.8434
GS18 |  | 10 |  | 355 | Total | 10 | 331 | 194 | 128 | 1 | 5.1143 | 1.7593
GS18 |  | 10 |  | 355 | Total | 10 | 331 | 195 | 128 | 1 | 5.1918 | 1.6818
GS19 |  | 10 |  | 356 | Total | 10 | 331 | 182 | 118 | 1 | 4.9593 | 1.3773
GS19 |  | 10 |  | 356 | Total | 10 | 331 | 174 | 112 | 1 | 4.8044 | 1.2101
GS20 |  | 10 |  | 359 | Total | 10 | 331 | 121 | 81.2 | 1 | 3.0841 | 1.2764
GS20 |  | 10 |  | 359 | Total | 10 | 331 | 119 | 79.8 | 1 | 3.0376 | 1.2477
GS21 |  | 10 |  | 360 | Total | 10 | 331 | 95.8 | 64.5 | 1 | 2.4254 | 1.0382
GS21 |  | 10 |  | 360 | Total | 10 | 331 | 87.6 | 58 | 1 | 2.2937 | 0.82093
GS16 |  | 10 |  | 361 | Total | 10 | 331 | 184 | 118 | 1 | 5.1143 | 1.2223
GS16 |  | 10 |  | 361 | Total | 10 | 331 | 188 | 125 | 1 | 4.8818 | 1.8307
GS22 |  | 10 |  | 363 | Total | 10 | 331 | 112 | 76 | 1 | 2.7896 | 1.2916
GS22 |  | 10 |  | 363 | Total | 10 | 331 | 111 | 74.8 | 1 | 2.8051 | 1.2117
GS23 |  | 10 |  | 364 | Total | 10 | 331 | 18.2 | 12.1 | 5 | 2.3634 | 0.88544
GS23 |  | 10 |  | 364 | Total | 10 | 331 | 17 | 11.6 | 5 | 2.0922 | 1.0224
GS24 |  | 10 |  | 367 | Total | 10 | 331 | 186.5 | 121 | 1 | 5.0756 | 1.4222
GS24 |  | 10 |  | 367 | Total | 10 | 331 | 190 | 126 | 1 | 4.9593 | 1.8069
GS25 |  | 10 |  | 368 | Total | 10 | 331 | 166 | 110 | 1 | 4.3394 | 1.5676
GS25 |  | 10 |  | 368 | Total | 10 | 331 | 154 | 102 | 1 | 4.0295 | 1.448
GS26 |  | 10 |  | 371 | Total | 10 | 331 | 75 | 52.2 | 1 | 1.7668 | 1.0364
GS26 |  | 10 |  | 371 | Total | 10 | 331 | 75.5 | 52.4 | 1 | 1.79 | 1.0239

## Total-chl
Cruise | 2008-14-HS
Average of two samples is reported. Variability is assessed as the % (std dev/mean*100).
Station | Date | Latitude | Longitude | Cast # | Sample | Depth | Nisk. Bot. | Chl ug/L | Phaeo ug/L | Avg Chl | CV% | std dev chl | Avg Phaeo | CV% | Data Flag
VI26 |  |  |  |  | 145 | 10 |  | 4.3394 | 1.8898 | 4.2619 | 2.5713 | 0.10959 | 1.9136 | 1.7581
VI26 |  |  |  |  | 145 | 10 |  | 4.1844 | 1.9374
VI27 |  |  |  |  | 147 | 10 |  | 3.3398 | 1.649 | 3.394 | 2.2602 | 0.076711 | 1.584 | 5.8018
VI27 |  |  |  |  | 147 | 10 |  | 3.4483 | 1.519
VI28 |  |  |  |  | 151 | 10 |  | 4.6494 | 1.5262 | 4.6494 | 0 | 0 | 1.5799 | 4.807
VI28 |  |  |  |  | 151 | 10 |  | 4.6494 | 1.6336
TO8 |  |  |  |  | 153 | 10 |  | 1.4181 | 1.2938 | 1.4297 | 1.1498 | 0.016438 | 1.2204 | 8.503
TO8 |  |  |  |  | 153 | 10 |  | 1.4413 | 1.147
TO7 |  |  |  |  | 157 | 10 |  | 6.3542 | 2.2648 | 6.5672 | 4.5889 | 0.30136 | 2.7095 | 23.2128
TO7 |  |  |  |  | 157 | 10 |  | 6.7803 | 3.1542
T06 |  |  |  |  | 159 | 10 |  | 8.4076 | 2.2787 | 8.4076 | 0 | 0 | 2.1042 | 11.7297
T06 |  |  |  |  | 159 | 10 |  | 8.4076 | 1.9297
T05 |  |  |  |  | 163 | 10 |  | 6.8191 | 2.31 | 6.9934 | 3.5257 | 0.24657 | 2.431 | 7.0392
T05 |  |  |  |  | 163 | 10 |  | 7.1678 | 2.552
T04 |  |  |  |  | 165 | 10 |  | 3.6343 | 1.0967 | 3.6188 | 0.60566 | 0.021917 | 1.123 | 3.3043
T04 |  |  |  |  | 165 | 10 |  | 3.6033 | 1.1492
T03 |  |  |  |  | 169 | 10 |  | 2.6114 | 0.88449 | 2.5262 | 4.7719 | 0.12055 | 0.85159 | 5.464
T03 |  |  |  |  | 169 | 10 |  | 2.4409 | 0.81869
T02 |  |  |  |  | 171 | 10 |  | 5.4243 | 1.1272 | 5.463 | 1.003 | 0.054793 | 1.169 | 5.0576
TO2 |  |  |  |  | 171 | 10 |  | 5.5018 | 1.2108
T01 |  |  |  |  | 175 | 10 |  | 7.749 | 1.756 | 7.2647 | 9.4281 | 0.68492 | 1.9047 | 11.0397
T01 |  |  |  |  | 175 | 10 |  | 6.7803 | 2.0534
H02 |  |  |  |  | 177 | 10 |  | 3.2468 | 1.0009 | 3.2197 | 1.1913 | 0.038355 | 1.1005 | 12.8014
H02 |  |  |  |  | 177 | 10 |  | 3.1926 | 1.2001
H03 |  |  |  |  | 181 | 10 |  | 1.3561 | 0.77046 | 1.3677 | 1.2019 | 0.016438 | 0.78301 | 2.2652
H03 |  |  |  |  | 181 | 10 |  | 1.3793 | 0.79555
H04 |  |  |  |  | 183 | 10 |  | 0.022472 | 0.0016931 | [5 empty] | no sample reading
H04 |  |  |  |  | 183 | 10 |  | 1.2786 | 0.65463
H05 |  |  |  |  | 187 | 10 |  | 1.2863 | 0.69521 | 1.2786 | 0.8571 | 0.010959 | 0.63584 | 13.2064
H05 |  |  |  |  | 187 | 10 |  | 1.2708 | 0.57646
H06 |  |  |  |  | 189 | 10 |  | 1.542 | 0.75633 | 1.5575 | 1.4072 | 0.021917 | 0.76231 | 1.1098
H06 |  |  |  |  | 189 | 10 |  | 1.573 | 0.76829
H07 |  |  |  |  | 193 | 10 |  | 1.7513 | 0.93912 | 1.8365 | 6.5639 | 0.12055 | 0.86731 | 11.7098
H07 |  |  |  |  | 193 | 10 |  | 1.9217 | 0.79549
H08 |  |  |  |  | 195 | 10 |  | 1.7048 | 0.74933 | 1.666 | 3.2889 | 0.054793 | 0.76928 | 3.6675
H08 |  |  |  |  | 195 | 10 |  | 1.6273 | 0.78923
HS01 |  |  |  |  | 198 | 10 |  | 1.3871 | 0.86835 | 1.3599 | 2.8204 | 0.038355 | 0.78538 | 14.9391
HS01 |  |  |  |  | 198 | 10 |  | 1.3328 | 0.70242
HS03 |  |  |  |  | 204 | 10 |  | 1.7435 | 0.9415 | 1.7513 | 0.62576 | 0.010959 | 1.017 | 10.4971
HS03 |  |  |  |  | 204 | 10 |  | 1.759 | 1.0925
HS05 |  |  |  |  | 210 | 10 |  | 3.1383 | 1.453 | 3.2933 | 6.6551 | 0.21917 | 1.2712 | 20.2283
HS05 |  |  |  |  | 210 | 10 |  | 3.4483 | 1.0894
DT01 |  |  |  |  | 213 | 10 |  | 3.642 | 1.0299 | 3.5723 | 2.7609 | 0.098628 | 0.98688 | 6.1662
DT01 |  |  |  |  | 213 | 10 |  | 3.5025 | 0.94385
DT03 |  |  |  |  | 219 | 10 |  | 3.1926 | 1.2001 | 3.1422 | 2.2669 | 0.071231 | 1.2048 | 0.55438
DT03 |  |  |  |  | 219 | 10 |  | 3.0918 | 1.2096
DT05 |  |  |  |  | 225 | 10 |  | 5.0368 | 1.7563 | 5.5018 | 11.9511 | 0.65752 | 1.9223 | 12.2154
DT05 |  |  |  |  | 225 | 10 |  | 5.9667 | 2.0883
DT07 |  |  |  |  | 231 | 10 |  | 5.2693 | 1.6043 | 5.308 | 1.0323 | 0.054793 | 1.6193 | 1.3061
DT07 |  |  |  |  | 231 | 10 |  | 5.3468 | 1.6343
D01 |  |  |  |  | 235 | 10 |  | 2.7431 | 1.5314 | 2.8013 | 2.9341 | 0.08219 | 1.4062 | 12.5959
D01 |  |  |  |  | 235 | 10 |  | 2.8594 | 1.2809
DE04 |  |  |  |  | 237 | 10 |  | 1.1933 | 0.85801 | 1.3018 | 11.7851 | 0.15342 | 0.83008 | 4.7593
DE04 |  |  |  |  | 237 | 10 |  | 1.4103 | 0.80214
DE06 |  |  |  |  | 243 | 10 |  | 1.1546 | 0.75714 | 1.2282 | 8.4764 | 0.10411 | 0.78287 | 4.6481
DE06 |  |  |  |  | 243 | 10 |  | 1.3018 | 0.8086
D04 |  |  |  |  | 247 | 10 |  | 2.2007 | 0.59171 | 2.2472 | 2.926 | 0.065752 | 0.64993 | 12.6687
D04 |  |  |  |  | 247 | 10 |  | 2.2937 | 0.70815
D06 |  |  |  |  | 253 | 10 |  | 0.90663 | 0.36607 | 0.98412 | 11.1355 | 0.10959 | 0.33959 | 11.025
D06 |  |  |  |  | 253 | 10 |  | 1.0616 | 0.31312
QCI01 |  |  |  |  | 258 | 10 |  | 2.5417 | 0.64277 | 2.5068 | 1.9672 | 0.049314 | 0.67764 | 7.2773
QCI01 |  |  |  |  | 258 | 10 |  | 2.4719 | 0.71251
QCI02 |  |  |  |  | 262 | 10 |  | 1.0151 | 0.38646 | 1.019 | 0.53772 | 0.0054793 | 0.36648 | 7.7119
QCI02 |  |  |  |  | 262 | 10 |  | 1.0229 | 0.34649
QCI05 |  |  |  |  | 270 | 10 |  | 2.6114 | 0.58914 | 2.5843 | 1.4842 | 0.038355 | 0.64848 | 12.9413
QCI05 |  |  |  |  | 270 | 10 |  | 2.5572 | 0.70782
QCI06 |  |  |  |  | 274 | 10 |  | 2.2007 | 0.51116 | 2.1155 | 5.6983 | 0.12055 | 0.60982 | 22.8806
QCI06 |  |  |  |  | 274 | 10 |  | 2.0302 | 0.70849
QCI09 |  |  |  |  | 282 | 10 |  | 1.3483 | 0.60637 | 1.2825 | 7.2633 | 0.093149 | 0.589 | 4.1704
QCI09 |  |  |  |  | 282 | 10 |  | 1.2166 | 0.57163
QCI10 |  |  |  |  | 285 | 10 |  | 1.2321 | 1.018 | 1.2476 | 1.7568 | 0.021917 | 1.1743 | 18.8284
QCI10 |  |  |  |  | 285 | 10 |  | 1.2631 | 1.3306
QCI12 |  |  |  |  | 291 | 10 |  | 0.85239 | 2.1226 | 1.4026 | 55.4747 | 0.77807 | 1.5402 | 53.4752
QCI12 |  |  |  |  | 291 | 10 |  | 1.9527 | 0.95782
QCI14 |  |  |  |  | 297 | 10 |  | 1.4956 | 0.45914 | 1.4723 | 2.233 | 0.032876 | 0.4797 | 6.0618
QCI14 |  |  |  |  | 297 | 10 |  | 1.4491 | 0.50027
QCI16 |  |  |  |  | 303 | 10 |  | 1.3096 | 0.65049 | 1.2476 | 7.0271 | 0.08767 | 0.76886 | 21.7737
QCI16 |  |  |  |  | 303 | 10 |  | 1.1856 | 0.88724
QCI17 |  |  |  |  | 306 | 10 |  | 1.7435 | 0.69448 | 1.7241 | 1.589 | 0.027397 | 0.72996 | 6.8743
QCI17 |  |  |  |  | 306 | 10 |  | 1.7048 | 0.76544
QCI19 |  |  |  |  | 312 | 10 |  | 9.3762 | 3.485 | 9.2406 | 2.0754 | 0.19178 | 3.5937 | 4.2798
QCI19 |  |  |  |  | 312 | 10 |  | 9.105 | 3.7025
QCI21 |  |  |  |  | 318 | 10 |  | 1.3483 | 0.78895 | 1.3212 | 2.9031 | 0.038355 | 0.75969 | 5.4477
QCI21 |  |  |  |  | 318 | 10 |  | 1.2941 | 0.73043
QCI23 |  |  |  |  | 324 | 10 |  | 1.1933 | 0.72913 | 1.205 | 1.3642 | 0.016438 | 0.70677 | 4.4748
QCI23 |  |  |  |  | 324 | 10 |  | 1.2166 | 0.6844
HS06 |  |  |  |  | 328 | 10 |  | 1.3406 | 0.62486 | 1.3677 | 2.8044 | 0.038355 | 0.66218 | 7.9702
HS06 |  |  |  |  | 328 | 10 |  | 1.3948 | 0.6995
GS08 |  |  |  |  | 334 | 10 |  | 5.5018 | 1.1034 | 5.4243 | 2.0203 | 0.10959 | 1.0198 | 11.5953
GS08 |  |  |  |  | 334 | 10 |  | 5.3468 | 0.93615
GS09 |  |  |  |  | 337 | 10 |  | 5.5793 | 0.70368 | 4.909 | 19.3101 | 0.94793 | 0.76447 | 11.2451
GS09 |  |  |  |  | 337 | 10 |  | 4.2387 | 0.82526
GS10 |  |  |  |  | 338 | 10 |  | 4.5719 | 1.1203 | 4.9593 | 11.0485 | 0.54793 | 1.2162 | 11.1461
GS10 |  |  |  |  | 338 | 10 |  | 5.3468 | 1.3121
GS11 |  |  |  |  | 341 | 10 |  | 0.79814 | 0.61955 | 0.83689 | 6.5473 | 0.054793 | 0.58886 | 7.3706
GS11 |  |  |  |  | 341 | 10 |  | 0.87563 | 0.55817
GS12 |  |  |  |  | 342 | 10 |  | 1.7435 | 0.23802 | 1.7784 | 2.773 | 0.049314 | 0.3213 | 36.6523
GS12 |  |  |  |  | 342 | 10 |  | 1.8133 | 0.40457
GS13 |  |  |  |  | 345 | 10 |  | 6.1604 | 0.98172 | 6.4704 | 6.7747 | 0.43835 | 0.94026 | 6.2354
GS13 |  |  |  |  | 345 | 10 |  | 6.7803 | 0.8988
GS14 |  |  |  |  | 346 | 10 |  | 5.4243 | 1.2883 | 5.5018 | 1.9919 | 0.10959 | 1.2376 | 5.7865
GS14 |  |  |  |  | 346 | 10 |  | 5.5793 | 1.187
GS15 |  |  |  |  | 348 | 10 |  | 7.6327 | 2.4629 | 7.7296 | 1.7722 | 0.13698 | 2.4063 | 3.3256
GS15 |  |  |  |  | 348 | 10 |  | 7.8265 | 2.3498
GS17 |  |  |  |  | 352 | 10 |  | 10.926 | 1.3713 | 11.2941 | 4.6089 | 0.52054 | 1.6074 | 20.7684
GS17 |  |  |  |  | 352 | 10 |  | 11.6622 | 1.8434
GS18 |  |  |  |  | 355 | 10 |  | 5.1143 | 1.7593 | 5.1531 | 1.0633 | 0.054793 | 1.7206 | 3.1846
GS18 |  |  |  |  | 355 | 10 |  | 5.1918 | 1.6818
GS19 |  |  |  |  | 356 | 10 |  | 4.9593 | 1.3773 | 4.8818 | 2.2448 | 0.10959 | 1.2937 | 9.1401
GS19 |  |  |  |  | 356 | 10 |  | 4.8044 | 1.2101
GS20 |  |  |  |  | 359 | 10 |  | 3.0841 | 1.2764 | 3.0608 | 1.0741 | 0.032876 | 1.262 | 1.6073
GS20 |  |  |  |  | 359 | 10 |  | 3.0376 | 1.2477
GS21 |  |  |  |  | 360 | 10 |  | 2.4254 | 1.0382 | 2.3596 | 3.9477 | 0.093149 | 0.92959 | 16.5308
GS21 |  |  |  |  | 360 | 10 |  | 2.2937 | 0.82093
GS16 |  |  |  |  | 361 | 10 |  | 5.1143 | 1.2223 | 4.9981 | 3.2889 | 0.16438 | 1.5265 | 28.1809
GS16 |  |  |  |  | 361 | 10 |  | 4.8818 | 1.8307
GS22 |  |  |  |  | 363 | 10 |  | 2.7896 | 1.2916 | 2.7974 | 0.39175 | 0.010959 | 1.2516 | 4.5161
GS22 |  |  |  |  | 363 | 10 |  | 2.8051 | 1.2117
GS23 |  |  |  |  | 364 | 10 |  | 2.3634 | 0.88544 | 2.2278 | 8.6083 | 0.19178 | 0.95392 | 10.1526
GS23 |  |  |  |  | 364 | 10 |  | 2.0922 | 1.0224
GS24 |  |  |  |  | 367 | 10 |  | 5.0756 | 1.4222 | 5.0175 | 1.6381 | 0.08219 | 1.6145 | 16.85
GS24 |  |  |  |  | 367 | 10 |  | 4.9593 | 1.8069
GS25 |  |  |  |  | 368 | 10 |  | 4.3394 | 1.5676 | 4.1844 | 5.2378 | 0.21917 | 1.5078 | 5.6109
GS25 |  |  |  |  | 368 | 10 |  | 4.0295 | 1.448
GS26 |  |  |  |  | 371 | 10 |  | 1.7668 | 1.0364 | 1.7784 | 0.92432 | 0.016438 | 1.0301 | 0.85849
GS26 |  |  |  |  | 371 | 10 |  | 1.79 | 1.0239