## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |

PROCESSING NOTES

Cruises: 2008-18

Agency: Ocean Sciences Division, Sidney, B.C.

Project: Aquaculture

Area: Broughton Archipelago

Chief Scientist: Galbraith M.

Platform: Princeton

Date: 10 March 2008 – 14 March 2008

Processed by: Germaine Gatien

Date of Processing: 15 May 2008 – 23 May 2008

Number of original CTD casts: 56

Number of casts processed: 56

INSTRUMENT SUMMARY

A Sea Bird Model SBE 19+ SEACAT CTD (S/N#5299) was used. Salinity samples were gathered using a Niskin bottle that was mounted about 1m above the CTD.

SUMMARY OF QUALITY AND CONCERNS

All file names were non-standard.

Sheets from the CTD Daily Log were available. The times in the log book are believed to be in Pacific Daylight Time, while the computer clock was on Pacific Standard Time. To match the headers in the archived files add 7 hours to the log times.

The CTD was allowed to soak at a depth of about 1db for a period that was generally about ~1.5minutes, but occasionally less than 1 minute. Study of another SBE19 CTD during 2007-11 suggests that longer soaks (2-3 minutes) lead to better salinity data. This new instrument seemed to equilibrate within 1.5 minutes so that a shorter soak may be sufficient, but it is probably wise to be cautious and wait at least 2 minutes.

Salinity for this cruise has been edited but large errors likely remain. SeaCat salinity is prone to error due to mismatch of conductivity and temperature response times, especially when the descent rate is non-uniform. These errors are likely to be much larger than calibration errors. SeaCat salinity errors are expected to be as high as 0.05units in areas of high gradients.

PROCESSING SUMMARY

1. Seasave - This step was completed at sea; the raw data files are *.hex.

2. Preliminary Steps

CTD Daily Log sheets were obtained.

The original file names were non-standard so were adjusted.

The dates in the log book are in Pacific Daylight Time, but a note mentions that the CTD clock was on Pacific Standard Time.

This is a new CTD. Configuration file 5299.con is based on the factory calibrations.

- Conversion of Raw Data

- The raw data were converted using conversion file 5299.con. After conversion the file names were changed to standard format based on log sheet entries.

- A few casts were checked. The upcast and downcast data are offset somewhat. Descent rates look good, steady and generally >0.5m/s. It looks like the pumps came on at ~1db.

- FILTER

Tests were run to ensure that the recommended settings worked well for this data.

The conductivity was low-pass filtered with a time constant of 0.5 seconds to force it to have the same response as the temperature. A few casts were checked and the conductivity is slightly smoother.

The pressure was filtered with a time constant of 1 seconds to increase the pressure resolution. The pressure looks slightly smoother after this step but it was quite smooth to start with.

- CELLTM

The manufacturer’s recommendation is that CELLTM be run for this instrument. They suggest values like (α = 0.04, 1/β = 1). Tests were run using a variety of settings and any changes worsened the correspondence of up and downcasts on a T-S surface. The temperature ranges were very small for this data, so it is likely that there is no error to correct. This step will be skipped.

- DERIVE

Program DERIVE was run to calculate salinity.

7.  Conversion to IOS Headers

The IOSSHELL routine for Sea Bird ASCII files was used to convert the Sea-Bird data to IOS Headers. The station names, bottom depths and positions are missing from the headers. That information is available from the log sheets, some correction sheets prepared by Moira Galbraith and in the SeaBird headers. The EDIT HEADERS routine was used to add the lines for that information and a text editor was used to add details. Where bottom depth was not available from the log that line was removed. Where the log recorded bottom depth in feet, it was converted and entered in metres.

8. Checking Headers

Track plots were produced; they look ok, and were added to the end of this report.

A header check was run and turned up no problems.

A cross-reference list was produced and led to the discovery of a few more errors in positions and station names; those were corrected.

The surface check was run. The average surface pressure is +0.1db; there was 1 negative value at the surface (-0.1db) but the corresponding conductivity is ~0. The conductivity values are reasonable for very near the surface. The pressure offset applied looks appropriate and no further correction is needed.

9. Test Plots and Fix Time

Profiles were plotted for all casts and up and down traces compared.

ADD TIME CHANNEL was used to add 8 hours to the start times so they are in UTC.

The soak period was generally somewhat shorter than during 2008-13, and when it was less than 2 minutes, the conductivity often looks as though it has not finished equilibrating, though some of that is probably due to real variations.

10. SHIFT

This is a new instrument but was used for 2 other cruises in Feb/March of 2008. During 2008-13 there was little noise in the salinity, so it was difficult to judge what setting was best. An advancement of temperature by +1.5 records seemed enough, but a little more did not degrade the data. When a similar instrument was used during 2007-36, -37, 38 and 39 advancing temperature by +2.25 records did the best job of reducing noise in the salinity.

Tests done on a few casts of this cruise suggest that salinity is best with a shift of between +2 and +2.5 records for the temperature.

Temperature was shifted by +2.25 records followed by a recalculation of salinity for all casts.

11. DELETE

To reduce the amount of editing needed CLIP was run to remove the first 200 records; the data removed were expected to come from the soak period, so that no useful data would be removed. However, for cast #93 the soak was very short, so the clipped file was not used because it removed data down to 9db.

The following DELETE parameters were used:

Surface Record Removal: Last Press Min    Maximum Surface Pressure (relative): 10.00

Surface Swell Pressure Tolerance: 1.0	     Pressure not filtered

Swells deleted. Warning message if pressure difference of 2.00

Minimum Drop Rate 0.2m/s over 5 records between 10db and 10db above maximum pressure

There were no warnings in the Delete log.

12. CTDEDIT

CTDEDIT was used to remove bad surface records for all casts plus some bottom records for some casts and to smooth salinity for most casts.

The following casts required no editing: 6-7, 17, 19-22, 30, 40-43, 51-53, 92.

All other casts were edited lightly; notes were entered in the headers describing what editing was done.

13. BIN AVERAGE

The following Bin Average values were used:

Bin channel = pressure

Averaging interval = 1.000            Minimum bin value = .000

Average value will be used.	   Interpolated values are NOT used for empty bins

Page plots were examined. The following casts have unstable features: 1, 50, 51 & 53. Because the range of values is very small, these features are not considered significant, so no further editing will be done.

14. Intercomparisons

Previous Use of CTD – The instrument was used during 2008-13 and 2008-38. During 2008-13 there were two useful bottles which indicated that the CTD was low by 0.007 or 0.01. During 2008-38 there was only one calibration sample and it indicated that the CTD was low by 0.014.

Repeat Casts – There were no repeat casts.

Historic ranges – No local climatology is available.

15. CALIBRATION

There were 5 salinity samples gathered about 1m above the bottom, but the CTD data was too noisy to be useful in a comparison for 1 of them. When compared to edited CTD data before bin-averaging the differences showed the CTD to be low by 0.009, 0.005, 0.006 and 0.01. The average suggests that the CTD is reading low by about 0.0075. (See 2008-18-sal-comp.xls.)

The results of 2008-13, -18 and -38 all suggest that the CTD is low by from 0.005 to 0.014. There are some concerns that the Autosal is giving salinity values that are too high, particularly for salinity <34. The errors from an initial test of Autosal linearity indicated errors on the order of 0.005 to 0.009 for the range of salinity sampled in Broughton. (See Linearity test-autosal.xls.)

No recalibration will be applied to these 3 cruises.

16. REMOVE and HEADEDIT

The following channels were removed from all casts: Scan_Number, Conductivity, Descent_Rate and Flag.

The HEADEDIT routine was used to add the following comment to the headers:

SeaCat salinity is prone to error due to a mismatch of conductivity and

temperature response times, especially when the descent rate is non-uniform.

Such errors are likely to be larger than calibration errors. SeaCat salinity

errors are expected to be as high as 0.05 units in areas of high gradients.

The standards check routine was run and no further problems found.

17. Producing final files

a.) The final files were renamed *.ctd.

b.) A cross-reference listing was produced.

c.) The sensor histories were updated.

Particulars

50, 51 and 53. T-S plots noisy, but the T range is very small and upcast data are similar. Edited lightly or not at all.

93. Very short soak period.

Institute of Ocean Sciences

CRUISE SUMMARY

Cruise ID#:	2008-18

Dates: 	Start:	10 March 2008	    End:	14 March 2008

Location: Broughton Archipelago                 Vessel:    Princeton

Party Chief: Galbraith M.

| CTD# | Make | Model | Serial # | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | SeacatPlus | 5299 | No | Yes |

CTD Calibration Information

Make/Model/Serial#: SEABIRD/SEACATPLUS v1.6b / 5299

Cruise ID#:	2008-18

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 5299 | 20Dec07 | Factory |  |  |
| Conductivity | 5299 | 20Dec07 | Factory |  |  |
| Pressure Sensor | 5299 | 18Dec07 | Factory |  |  |