## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |

## PROCESSING NOTES

Cruise: 2008-20

Agency: PBS, Salmon and Freshwater Ecosystems, Sidney, B.C.

Location: Broughton Archipelago	Project: Sea Lice Monitoring

Party Chief: Hargreaves B.		Platform: Franciscan NO 1

Date: 28 March 2008 –2 April 2008

Processed by: Germaine Gatien

Date of Processing: 25 July 2008 –31 July 2008

Number of original CTD casts: 85	Number of CTD casts processed: 85

# INSTRUMENT SUMMARY

A SeaBird Model SBE-25 CTD (#334) was used.

# SUMMARY OF QUALITY AND CONCERNS

The pressure sensor for all other casts is considered ±1db.

The times in the log are in PDT; the times in the headers of the archived files are in UTC.

For cast #19 upcast data was selected because the downcast data doesn’t start until 26db.

There was no salinity calibration sampling and no history for the sensors since they were last recalibrated, so no comment can be made on the salinity accuracy.

The CTD precision is considered ±0.001psu when stopped. In motion the salinity is considered ±0.005psu. (In areas of rapid temperature change the SBE25 does not perform this well, but for this data set the gradients were generally fairly low.)

# PROCESSING SUMMARY

1. Seasave - This step was completed at sea; the raw data files have extension HEX.

2. Preliminary Steps

The Daily Log was obtained. There was no note of any problems encountered.

All file names were non-standard.

The cruise summary sheet was completed.

## 3. Conversion of Raw Data

All file names were changed to standard format. The consecutive number was included in the name.

The conversion file 0334.con was found; it had an old calibration for the temperature sensor. A new configuration file was prepared with the April 2007 calibration for temperature. This file was saved as 2008-20-ctd.con which was then used to convert all files.

Data was plotted from a few casts. Cast #19 is missing most of the downcast. No other problems were noted. The soak period appears to have been at least 1.5 minutes near the surface.

4. WILDEDIT

This step is usually skipped and since there is no evidence of spikes it was not run.

5. WFILTER

WFILTER was run using cosine filter, size 5 on the temperature, conductivity and salinity channels. Plots were made before and after this step. Reversals disappear from the pressure after this step but the trace is not overly smooth. When salinity was derived on filtered files it was much smoother than the unfiltered version.

6. CELLTM

SeaBird recommend the use of (α, 1/β) = (0.04, 8) for CELLTM for the SBE 25. A variety of settings were tested, but the casts are all shallow and variable, so tests are not easy to interpret. While (0.04, 9) looked best for some casts there are areas where (0.04, 7) looked better. During 2007-02 a setting of (0.04, 9) was found effective so was applied to this data as well.

7. DERIVE

Program DERIVE was run to calculate salinity.

8.  Conversion to IOS Headers

The IOSSHELL routine was used to convert the CNV files to IOS Headers.

9. Checking Headers

The times in the headers agrees with the log book times. The latter are said to be UTC times, but given that work goes on between 07:00 and 17:00 it would seem likely they are really in local time, PDT.

HEADEDIT was used to add lines for latitude, longitude, station name and water depth.

A text editor was then used to enter the relevant details in all the files.

A cross-reference listing was produced and details checked against the log records. Errors were found and corrected in some positions.

HEADER CHECK was run, and a problem was found in a few casts. The positions look wrong in the log for casts #10, 11 and 12. The header matched the log entries, but checking other cruises with the same station names confirms that the longitude should be 125˚ rather than 126˚. When those longitudes were changed, both the speed check and the track plot results were good.

The surface check showed almost all casts started between -0.2 and -0.9 with the exception of cast #19 for which most of the downcast data is missing. The conductivity at the surface was near zero, so the negative pressures are reasonable. Looking at a few data files carefully it appears that the conductivity changes from in-water to out-of-water at about -0.8db to -1.1db for the upcasts. For the downcasts it is harder to judge since pumps would not have been running at the beginning, but something like -0.5 to -0.7db. These are shallow casts so we don’t expect much hysteresis. It looks wise to recalibrate by adding 0.7db to the pressure as was done for cruises 2006-01 and 2006-02 when this sensor was used. During 2007-02 no offset was applied.

##### 10. Test plots

Plots were made and no problems were found.

11. Salinity bottles

Salinity

The only salinity samples taken were surface bucket samples not suitable for calibration checks. They had not been analyzed at the time of processing.

12. SHIFT

Conductivity

Tests were run using values from -0.6 to +0.6. During 2007-13 and -14 when this sensor was used a setting of -0.6s looked best. For this cruise a setting of -0.25s looked best overall.

13. DELETE

DELETE was run on all casts using the following parameters:

Surface Record Removal: Last Press Min.	Surface Swell Pressure Tolerance: 1.0

Swells deleted. Warning message if pressure difference of 2.00

Drop rates < 0.3m/s (calculated over 5 points) was deleted from 10db to 10db above the maximum pressure.

COMMENTS ON WARNINGS: The only warning pertained to upcast data, so is not of concern. The scan numbers increase as expected, but pressure shifts suddenly between consecutive scan #s, as though the CTD failed to record data for awhile.

- DETAILED EDITING

After some initial editing it was realized many files required no editing, and that many that did need editing had very shallow data at depths at which the CTD pump was probably not operating. So, CLIP was run to remove data from 0 to 0.7db. Then the files were metre-averaged and T-S plots were prepared; casts with unstable features or other suspicious features were examined in CTDEDIT to see if the oddities were likely due to instrumental problems so that editing was justified. For most it was not.

The following files were edited lightly: 19, 44, 53, 75, 79, 80, 83 and 84.

Notes of editing details were made in the headers.

- Inter-comparisons

Sensor History – The conductivity sensor had been recalibrated since it was last used. The pressure sensor was used for two cruises in 2006 when an offset of +0.7db was applied, and for one cast in 2007 when a 0db offset was found appropriate.

Comparison of repeat casts –There are no repeat casts, and while some casts are close there is a lot of small-scale variability. Nonetheless, near the bottom, temperatures and salinity for casts #31 and #32 are within 0.002C˚ and 0.001 salinity units, and for casts #28 and #29 temperatures are within 0.004C˚ and the salinity values are indistinguishable. So there is no evidence of instrumental problems.

Historic Ranges – Historic ranges were not available.

- Recalibration, Bin Average and REMOVE and Fix Time

All files were recalibrated by adding 0.7db to the pressure.

The files were bin averaged using 1db bins.

REMOVE was run to remove Scan_Number, Conductivity:Primary, Descent Rate and Flag channels.

ADD TIME CHANNEL was used to add 7 hours to the times to put them into UTC.

- HEADER EDIT and final checks

Header Edit was used to fix formats and channel names and to add the following note to the headers:

The pressure sensor is considered ±1db

The CTD salinity precision is considered ±0.001psu when stopped. In motion

the salinity is considered ±0.005psu except in areas of rapid temperature

change where the salinity has been edited heavily and should be considered

±0.1psu.

There were no salinity calibration samples and there is no history for these

sensors since their most recent recalibration, so no comment can be made

on the accuracy.

The final files were named CTD.

A cross-reference listing was produced.

A header check was run on the CTD files and no errors found.

Particulars

19. Data starts at about 26db of downcast; upcast used for archive.

## Institute of Ocean Sciences

## CRUISE SUMMARY

Cruise ID#: 2008-20

Dates: Start: 28 March 2008 End: 2 April 2008

Location: Broughton Archipelago

Vessel: Franciscan No 1

Party Chief: Hargreaves B.

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 25 | 0334 | No | Yes |

CTD CALIBRATION INFORMATION

Make/Model/Serial#:	SEABIRD/SBE25/0334	Cruise ID#:		2008-20

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 2106 | 25 Apr 07 | Factory |  |  |
| Conductivity | 1729 | 21 Aug 07 | Factory |  |  |
| Pressure | 0464 | 23Mar06 | Factory |  |  |