## Final Data 2008-26
Iron III Data for Cruise 2008-26 | [26 empty] | For Graphing:
Cruise |  |  |  |  | 2008-26
Ship |  |  |  |  | CCGS John P. Tully
Dates |  |  |  |  | May 27 - June 15, 2008
Chief Scientist |  |  |  |  | Marie Robert
Iron Analyst |  | IOS: |  |  | Nes Sutherland & Keith Johnson
For Methods and Explanation of Abbreviations please see Metadata Sheet
Nutrient Data for Bottles follow Fe Data ->->->
Flags & Abbreviations
1 | Sample for this measurement was drawn from water bottle but not analyzed - in storage, available for future analysis
3 | Questionable measurement (no problem observed in sampling or analysis, but value is not trusted, nonetheless; includes outlyers)
4 | Bad measurement (known problem with sampling or analysis, but not serious enough to completely discard the value)
5 | Not reported (lost sample; unredeemably bad measurement)
6 | Mean of replicate measurements from one niskin/goflo.. (replicates in "Sum F" sheet, and summary of replicate data in the "Metadata" sheet)
Note that >90% of analyses have duplicate runs from within one bottle, average stats for these are in "Metadata" sheet, however, only separate bottles are flagged as "6"
9 | Sample not drawn for this measurement from this bottle
[9 empty] | GF= GoFlo; XN= eXternal Niskin |  | Sample_Number | Depth | Iron:Filtered:Buffered | Flag FB | Iron:Unfiltered:Buffered | Flag UFB | Iron:Filtered:StrongAcid | Flag FA | Iron:Unfiltered:Strong Acid | Flag UFA
Date | Time | Cast or | Latitude |  | Longitude |  | Station | Event | Sampler | Sampler | Smp | Depth | FB | FB | UFB | UFB | FA | FA | UFA | UFA | Analysis Comments | Sal | NO3 | Si | PO4 | Depth
UTC | UTC | Profile | [5 empty] | # | Type | ID# | # | m | nmol/L | Flag | nmol/L | Flag | nmol/L | Flag | nmol/L | Flag | Collection Comments | (PSU) | uM | uM | uM | m
//Event numbers as recorded in Cruise Log Book
2008-06-01 | 39600.9757 | 8001 | 48 39.08 | N | 126 40.06 | W | P4 | 8 | Zodiac | Hand | 1 | 0.05 | FB: 0.12935; UFB: 0.43944; FA: 1; UFA: 1 | [5 empty] | 0.05
2008-06-02 | 39601.3472 | 8001 | 48 39.27 | N | 126 40.3 | W | P4 | 14 | Pump | Asti | 11 | 10 | FB: 0.18116; UFB: 0.44454; FA: 1; UFA: 1 | [5 empty] | 10
2008-06-02 | 39601.3472 | 8001 | 48 39.27 | N | 126 40.3 | W | P4 | 14 | Pump | Asti | 10 | 20 | FB: 0.18447; UFB: 0.42639; FA: 1; UFA: 1 | [5 empty] | 20
2008-06-02 | 39601.3472 | 8001 | 48 39.27 | N | 126 40.3 | W | P4 | 14 | Pump | Asti | 9 | 30 | FB: 0.20959; UFB: 0.43306; FA: 1; UFA: 1 | [5 empty] | 30
2008-06-02 | 39601.3472 | 8001 | 48 39.27 | N | 126 40.3 | W | P4 | 14 | Pump | Asti | 8 | 40 | FB: 0.27882; UFB: 0.43728; FA: 1; UFA: 1 | [5 empty] | 40
2008-06-02 | 39601.2083 | 8001 | 48 39.05 | N | 126 39.99 | W | P4 | 13 | GF10 | 5 | 2 | 75 | FB: 5; UFB: 5; FA: 1; UFA: 1 | 5s: Goflo#5 seriously contaminated | 32.6346 | 13.1 | 16.5 | 1.25 | 75
2008-06-02 | 39601.2083 | 8001 | 48 39.05 | N | 126 39.99 | W | P4 | 13 | GF10 | 6 | 3 | 100 | FB: 0.054552; UFB: 0.10332; FA: 1; UFA: 1 |  | 33.4075 | 23.9 | 30.3 | 1.9 | 100
2008-06-02 | 39601.25 | 8001 | 48 39.05 | N | 126 39.99 | W | P4 | 13 | GF10 | 5 | 4 | 150 | FB: 5; UFB: 5; FA: 1; UFA: 1 |  | 33.8619 | 29.8 | 41.4 | 2.25 | 150
2008-06-02 | 39601.25 | 8001 | 48 39.05 | N | 126 39.99 | W | P4 | 13 | GF10 | 6 | 5 | 200 | FB: 0.60313; UFB: 1.4659; FA: 1; UFA: 1 |  | 33.9284 | 32.5 | 50 | 2.41 | 200
2008-06-02 | 39601.2917 | 8001 | 48 39.05 | N | 126 39.99 | W | P4 | 13 | GF10 | 5 | 6 | 300 | FB: 5; UFB: 5; FA: 1; UFA: 1 |  | 34.0095 | 35.9 | 59.3 | 2.69 | 300
2008-06-02 | 39601.2917 | 8001 | 48 39.05 | N | 126 39.99 | W | P4 | 13 | GF10 | 6 | 7 | 400 | FB: 0.85609; UFB: 1.9893; FA: 1; UFA: 1 |  | 34.0633 | 38.7 | 70.9 | 2.91 | 400
2008-06-03 | 39602.8819 | 8002 | 48 58.19 | N | 130 40.18 | W | P12 | 29 | Zodiac | Hand | 16 | 0.05 | 0.044739 | 6 | 0.098443 | 6 |  | 1 |  | 1 | [5 empty] | 0.05
2008-06-03 | 39602.6979 | 8002 | 48 58.18 | N | 130 39.98 | W | P12 | 25 | Pump | Asti | 15 | 10 | FB: 0.039376; UFB: 0.090174; FA: 1; UFA: 1 | [5 empty] | 10
2008-06-03 | 39602.6875 | 8002 | 48 58.18 | N | 130 39.98 | W | P12 | 25 | Pump | Asti | 14 | 20 | 0.039147 | 6 | 0.088397 | 6 |  | 1 |  | 1 | [5 empty] | 20
2008-06-03 | 39602.6771 | 8002 | 48 58.18 | N | 130 39.98 | W | P12 | 25 | Pump | Asti | 13 | 30 | FB: 0.036916; UFB: 0.075188; FA: 1; UFA: 1 | [5 empty] | 30
2008-06-03 | 39602.6667 | 8002 | 48 58.18 | N | 130 39.98 | W | P12 | 25 | Pump | Asti | 12 | 40 | FB: 0.038039; UFB: 0.058203; FA: 1; UFA: 1 | [5 empty] | 40
2008-06-03 | 39602.8958 | 8002 | 48 58.17 | N | 130 40.13 | W | P12 | 30 | XN12 | 12 | 17 | 75 | FB: 0.03447; UFB: 0.1; FA: 1; UFA: 1 |  | 32.5366 | 9.6 | 10.7 | 1.03 | 75
2008-06-03 | 39602.9167 | 8002 | 48 58.17 | N | 130 40.13 | W | P12 | 30 | XN12 | 07 | 18 | 100 | FB: 0.11236; UFB: 0.18943; FA: 1; UFA: 1 |  | 32.5644 | 11.7 | 13.1 | 1.14 | 100
2008-06-03 | 39602.9375 | 8002 | 48 58.17 | N | 130 40.13 | W | P12 | 30 | XN12 | 10 | 19 | 150 | FB: 0.11663; UFB: 0.2419; FA: 1; UFA: 1 |  | 33.6294 | 22.5 | 29.7 | 1.62 | 150
2008-06-03 | 39602.9583 | 8002 | 48 58.17 | N | 130 40.13 | W | P12 | 30 | XN12 | 12 | 20 | 200 | FB: 0.18416; UFB: 0.3262; FA: 1; UFA: 1 |  | 33.8408 | 27.8 | 42.6 | 1.94 | 200
2008-06-03 | 39602.9583 | 8002 | 48 58.17 | N | 130 40.13 | W | P12 | 30 | XN12 | 07 | 21 | 300 | FB: 0.35008; UFB: 0.51343; FA: 1; UFA: 1 |  | 33.8957 | 35.4 | 60.3 | 2.46 | 300
2008-06-03 | 39602.9583 | 8002 | 48 58.17 | N | 130 40.13 | W | P12 | 30 | XN12 | 10 | 22 | 400 | 0.52751 | 6 | 0.67899 | 6 |  | 1 |  | 1 |  | 33.9742 | 40.4 | 77.4 | 2.84 | 400
2008-06-04 | 39603.8542 | 8003 | 49 16.95 | N | 134 40.07 | W | P16 | 35 | Zodiac | Hand | 23 | 0.05 | FB: 0.060249; UFB: 0.099609; FA: 1; UFA: 1 |  |  | 11.2 | 12.4 | 1.1 | 0.05
2008-06-05 | 39604.1319 | 8003 | 49 16.93 | N | 134 39.95 | W | P16 | 40 | Pump | Asti | 27 | 10 | FB: 0.035996; UFB: 0.06916; FA: 1; UFA: 1 | [5 empty] | 10
2008-06-05 | 39604.1181 | 8003 | 49 16.93 | N | 134 39.95 | W | P16 | 40 | Pump | Asti | 26 | 20 | FB: 0.028942; UFB: 0.070816; FA: 1; UFA: 1 | [5 empty] | 20
2008-06-05 | 39604.1111 | 8003 | 49 16.93 | N | 134 39.95 | W | P16 | 40 | Pump | Asti | 25 | 30 | FB: 0.023479; UFB: 0.076605; FA: 1; UFA: 1 | [5 empty] | 30
2008-06-05 | 39604.0972 | 8003 | 49 16.93 | N | 134 39.95 | W | P16 | 40 | Pump | Asti | 24 | 40 | 0.031943 | 6 | 0.071552 | 6 |  | 1 |  | 1 | [5 empty] | 40
2008-06-05 | 39604.1562 | 8003 | 49 17.04 | N | 134 38.97 | W | P16 | 41 | XN12 | 10 | 28 | 75 | FB: 0.031464; UFB: 0.11933; FA: 1; UFA: 1 |  | 32.5735 | 13.2 | 15.5 | 1.21 | 75
2008-06-05 | 39604.1771 | 8003 | 49 17.04 | N | 134 38.97 | W | P16 | 41 | XN12 | 07 | 29 | 100 | FB: 0.085141; UFB: 0.28672; FA: 1; UFA: 1 |  | 32.9368 | 19.5 | 25.1 | 1.52 | 100
2008-06-05 | 39604.1979 | 8003 | 49 17.04 | N | 134 38.97 | W | P16 | 41 | XN12 | 10 | 30 | 150 | FB: 0.28146; UFB: 0.45174; FA: 1; UFA: 1 |  | 33.758 | 29.9 | 45.4 | 2.05 | 150
2008-06-05 | 39604.1979 | 8003 | 49 17.04 | N | 134 38.97 | W | P16 | 41 | XN12 | 12 | 31 | 200 | FB: 0.33386; UFB: 0.46248; FA: 1; UFA: 1 |  | 33.8397 | 33.5 | 56.3 | 2.28 | 200
2008-06-05 | 39604.2188 | 8003 | 49 17.04 | N | 134 38.97 | W | P16 | 41 | XN12 | 10 | 32 | 300 | FB: 0.32078; UFB: 0.4488; FA: 1; UFA: 1 |  | 33.8926 | 38.6 | 72.1 | 2.6 | 300
2008-06-05 | 39604.2188 | 8003 | 49 17.04 | N | 134 38.97 | W | P16 | 41 | XN12 | 07 | 33 | 400 | 0.4411 | 6 | 0.50553 | 6 |  | 1 |  | 1 |  | 34.0078 | 42.8 | 90.3 | 2.9 | 400
2008-06-06 | 39605.9375 | 8004 | 49 33.99 | N | 138 39.87 | W | P20 | 46 | Zodiac | Hand | 34 | 0.05 | 0.050046 | 6 | 0.094482 | 6 |  | 1 |  | 1 | [5 empty] | 0.05
2008-06-07 | 39606.2396 | 8004 | 49 33.95 | N | 138 40.02 | W | P20 | 51 | Pump | Asti | 38 | 10 | FB: 0.034729; UFB: 0.06557; FA: 1; UFA: 1 | [5 empty] | 10
2008-06-07 | 39606.2292 | 8004 | 49 33.95 | N | 138 40.02 | W | P20 | 51 | Pump | Asti | 37 | 20 | 0.034245 | 6 | 0.066995 | 6 |  | 1 |  | 1 | [5 empty] | 20
2008-06-07 | 39606.2188 | 8004 | 49 33.95 | N | 138 40.02 | W | P20 | 51 | Pump | Asti | 36 | 30 | FB: 0.033537; UFB: 0.065596; FA: 1; UFA: 1 | [5 empty] | 30
2008-06-07 | 39606.2083 | 8004 | 49 33.95 | N | 138 40.02 | W | P20 | 51 | Pump | Asti | 35 | 40 | FB: 0.038928; UFB: 0.070232; FA: 1; UFA: 1 | [5 empty] | 40
2008-06-07 | 39606.2917 | 8004 | 49 33.95 | N | 138 40.02 | W | P20 | ?51 | XN12 | 12 | 39 | 75 | FB: 0.029389; UFB: 0.083556; FA: 1; UFA: 1 |  | 32.601 | 13.3 | 19.1 | 1.26 | 75
2008-06-07 | 39606.3125 | 8004 | 49 33.95 | N | 138 40.02 | W | P20 | ?51 | XN12 | 07 | 40 | 100 | FB: 0.032053; UFB: 0.099018; FA: 1; UFA: 1 |  | 32.6094 | 14.4 | 20.5 | 1.31 | 100
2008-06-07 | 39606.3125 | 8004 | 49 33.95 | N | 138 40.02 | W | P20 | ?51 | XN12 | 10 | 41 | 150 | FB: 0.05564; UFB: 0.16216; FA: 1; UFA: 1 |  | 33.0712 | 19.4 | 27.8 | 1.51 | 150
2008-06-07 | 39606.3333 | 8004 | 49 33.95 | N | 138 40.02 | W | P20 | ?51 | XN12 | 10 | 42 | 200 | FB: 0.13755; UFB: 0.2477; FA: 1; UFA: 1 |  | 33.77 | 28.7 | 47.5 | 2 | 200
2008-06-07 | 39606.3333 | 8004 | 49 33.95 | N | 138 40.02 | W | P20 | ?51 | XN12 | 07 | 43 | 300 | FB: 0.31039; UFB: 0.32978; FA: 1; UFA: 1 |  | 33.8538 | 36.7 | 69 | 2.52 | 300
2008-06-07 | 39606.3333 | 8004 | 49 33.95 | N | 138 40.02 | W | P20 | ?51 | XN12 | 12 | 44 | 400 | 0.33152 | 6 | 0.36003 | 6 |  | 1 |  | 1 |  | 33.9703 | 40.1 | 83.6 | 2.73 | 400
2008-06-08 | 39607.7396 | 8005 | 49 59.98 | N | 144 59.97 | W | P26 | 60 | Zodiac | Hand | 45 | 0.05 | 0.042904 | 6 | 0.11138 | 6 |  | 1 |  | 1 | [5 empty] | 0.05
2008-06-09 | 39607.5868 | 8005 | 50 00. | N | 145 00. | W | P26 | 68 | Pump | Asti | 50 | 5 | 0.032826 | 6 | 0.095354 | 6 |  | 1 |  | 1 | [5 empty] | 5
2008-06-09 | 39609.4792 | 8005 | 50 00. | N | 145 00. | W | P26 | 66 | Pump | Asti | 49 | 10 | 0.027592 | 6 | 0.10311 | 6 |  | 1 |  | 1 | [5 empty] | 10
2008-06-09 | 39607.5729 | 8005 | 50 00. | N | 145 00. | W | P26 | 66 | Pump | Asti | 48 | 20 | 0.030954 | 6 | 0.12836 | 6 |  | 1 |  | 1 | [5 empty] | 20
2008-06-09 | 39607.5625 | 8005 | 50 00. | N | 145 00. | W | P26 | 66 | Pump | Asti | 47 | 30 | 0.026361 | 6 | 0.10541 | 6 |  | 1 |  | 1 | [5 empty] | 30
2008-06-09 | 39607.5521 | 8005 | 50 00. | N | 145 00. | W | P26 | 67 | Pump | Asti | 46 | 40 | 0.15768 | 6 | 0.13785 | 6 |  | 1 |  | 1 | [5 empty] | 40
2008-06-10 | 39609.2292 | 8005 | 50 00.09 | N | 144 59.98 | W | P26 | 72 | XN12 | 10 | 51 | 75 | 0.038554 | 6 | 0.079613 | 6 |  | 1 |  | 1 |  | 32.6611 | 17.1 | 24.9 | 1.44 | 75
2008-06-10 | 39609.25 | 8005 | 50 00.09 | N | 144 59.98 | W | P26 | 72 | XN12 | 07 | 52 | 100 | 0.043228 | 6 | 0.10018 | 6 |  | 1 |  | 1 |  | 32.7478 | 17.5 | 28.3 | 1.54 | 100
2008-06-10 | 39609.25 | 8005 | 50 00.09 | N | 144 59.98 | W | P26 | 72 | XN12 | 12 | 53 | 150 | 0.18531 | 6 | 0.19172 | 6 |  | 1 |  | 1 |  | 33.7079 | 33.8 | 62 | 2.44 | 150
2008-06-10 | 39609.2708 | 8005 | 50 00.09 | N | 144 59.98 | W | P26 | 72 | XN12 | 07 | 54 | 200 | 0.21345 | 6 | 0.29835 | 6 |  | 1 |  | 1 |  | 33.8048 | 37 | 71.9 | 2.65 | 200
2008-06-10 | 39609.2708 | 8005 | 50 00.09 | N | 144 59.98 | W | P26 | 72 | XN12 | 10 | 55 | 300 | 0.35907 | 6 | 0.41886 | 6 |  | 1 |  | 1 |  | 33.9336 | 41.5 | 89.7 | 2.95 | 300
2008-06-10 | 39609.3125 | 8005 | 50 00.09 | N | 144 59.98 | W | P26 | 72 | XN12 | 10 | 56 | 400 | 0.35613 | 6 | 0.45771 | 6 |  | 1 |  | 1 |  | 34.0385 | 42.8 | 101.3 | 3.06 | 400
2008-06-10 | 39609.3125 | 8005 | 50 00.09 | N | 144 59.98 | W | P26 | 72 | XN12 | 07 | 57 | 600 | 0.43502 | 6 | 0.52141 | 6 |  | 1 |  | 1 |  | 34.19 | 43.7 | 119.1 | 3.13 | 600
2008-06-10 | 39609.3125 | 8005 | 50 00.09 | N | 144 59.98 | W | P26 | 72 | XN12 | 12 | 58 | 800 | 0.45526 | 6 | 0.58664 | 6 |  | 1 |  | 1 |  | 34.2931 | 43.8 | 132.5 | 3.14 | 800

## Metadata
Metadata for Fe III - 2008-26 Line P Cruise
Cruise |  |  | 2008-26
Ship |  |  | CCGS John P. Tully
Dates |  |  | May 27 - June 15, 2008
Chief Scientist |  |  | Marie Robert
Iron Analysts |  |  | Nes Sutherland & Keith Johnson
The objective of the iron team was to sample and analyse Iron(III) at regularly visited/monitored stations along Line P, and to provide support for the UBC students' incubations studies
The incubation data has not been included in this file, as it is the property of UBC
There was spare time on the cruise to analyse numerous of the 2007-01 acidified samples. These are presented in the "Sum Fe" sheet and included in Metadata. Their final version is to be found in the 2007-01 file
Sample Collection:
Seawater samples for Iron (III) analyses were collected by hand (bottles only opened and closed while totally submerged, ~0.1m depth) from a zodiac positioned away from the ship; by Teflon compressed air activated Asti pump with Teflon tubing (5-40m);
and by 10L GoFlos (numbered) or 12L X-Niskins (XN numbered) on a Kevlar line spooled over a Delrin block (50-800m).
LDPE bottles had been previously acid cleaned to Geotraces standards. Filtration was through 0.22u Duropore 47mm flat membrane filters on Teflon apparatus in laminar hood,
or by cartidge type filters (Opti 0.22u Duropore) direct from the pump or Goflos
Sample Treatment- Current and IOS Historical:
Iron analysis can be performed in several different ways, therefore it is necessary to operationally define the treatments used, if one wishes to compare results with other researchers.
At IOS we have traditionally followed the suggestions of Obata and Nishioka for treatment and nomenclature.
IOS protocol originally called for treatment of filtered and unfiltered samples with a mildly acidic buffered leach, measured onboard, as well as a strongly acidic leach measured after a storage period of 6 months or longer.
Starting in 2009, IOS has also added the Geotraces method of acid leach for a minimum of 12 hours before analysis.
The following provides a description of these treatments, their abbreviations and nomenclature:
Buffered Sample Analysis - FB or UFB - traditional analysis performed for IOS Line P cruises - a mild leach where sample is buffered to pH3.2 with Ammonium formate,
then analysed within ~2 hours; thought to be immediate bioavailable iron
| Iron:Filtered:Buffered |  | FB | 0.22u filtered, buffered, also called dissolved Fe
| Iron:Unfiltered:Buffered |  | UFB | unfiltered, buffered, also considered to be labile or bioavailable
|  |  | UFB-FB | this difference is known as labile particulate fraction
Strongly Acidified Sample Analysis - FA or UFA - samples acidified to pH~1.6 with 1:1 HCl for 6 months or more, then brought back up to pH3.2, the methodological requirement for analysis of Iron(III) in seawater using the IOS FIA instrument
IOS has traditionally used this strong acidification in the past, utilizing 2mL of 1:1 SeaStar HCl per 250mL sample for acidification, as suggested by Nishioka
(personal communication) for a complete digestion of iron, excepting what would be geologically bound compounds
It is thought that by microwaving the FA or UFA 24 hours after collection, the leaching of particles might be sped up to result in iron conc similar to the long term storage (Nishioka pers com), but this has not been verified by the IOS lab
| Iron:Filtered:StrongAcid |  | FA | 0.22u filtered, acidified to 1.6, into storage for minimum of 6 months - referred to as Total Dissolved fraction
This fraction tends to be similar to FB
| Iron:Unfiltered:StrongAcid |  | UFA | unfiltered, acidified to 1.6, then into storage for minimum of 6 months - also known as Total Dissolvable
|  |  | UFA-FA | the difference provides leachable particulate, a measure of nonlabile particulate iron
|  |  | FA-FB | the difference reflects the nonlabile dissolved fraction
|  |  | UFA-UFB | the difference reflects the nonlabile fraction
The following discussion of Geotraces treatment method is for information only, it has not been used in this cruise:
Geotraces Acidified Sample - FG or UFG - samples acidified to <pH2 with 1:1 HCl for at least 12 hours, then brought back up to pH3.2, which is the methodological requirement for analysis of Iron(III) in seawater using the IOS FIA instrument
The Geo (Geotraces) method is a stronger leach of iron than the Buffered Sample Analysis, especially on particulates in sea water.
It is becoming the norm for iron analyses, and therefore IOS has started to incorporate this treatment in its sampling protocol for Line P cruises
IOS protocol for Geotraces samples has been modified somewhat from when first run in 2009:
In 2009: 24 hour treatment, but with strong acid conc: 2.0mL 1:1 HCl per 250mL smp (->pH~1.6) as opposed to the then Geo suggested 0.5mL (->pH~1.9) Abbreviated to FGA and UFGA to reflect the stronger acid conc
In 2010: IOS followed the suggested addition of 0.5mL SS 1:1 HCl per 250mL sample (->pH~1.9) for 24 hour minimum digestion; called FG2010 and UFG2010
In 2011: it was noted that the Geotraces protocol now calls for addition of 1.0 mL of SeaStar 1:1 HCl per 250mL of sample, achieving a pH ~1.8, (min 12 hour digest), and will simply be abbreviated as FG or UFG
| Iron:Filtered:Geotrace |  | FG | 0.22u filtered, acidified to <2 for >12 hours, then pH3.2 for analysis - see below for 2011 modification. FG is also referred to as D(Fe), or Dissolved Fe
| Iron:Unfiltered:Geotrace |  | UFG | unfiltered, acidified to <2 for >12hours, then pH3.2 for analysis - see below for 2011 modification. UFG is also referred to as TD(Fe), or Total Dissolvable Fe
Rough comparison of Treatments:
It is possible that over a 24 hour digest, the Geo results might be similar between the different acid concentrations, but this has not been tested in our lab.
We have noted that the long term FA and UFA leaches result in greater iron concentration than the short digest of FG and UFG.
In 2009, FB~FGA, sometimes FB>FGA, but inconclusive, as known problems with contamination and calibration issues, however both FB&FGA < FA; UFB < UFGA < UFA
In 2010, FB and FG2000 were quite similar, no real trend observed; UFG2000 also tended to be similar or somewhat greater than UFB. However, for Stn P4 we used FGA, a stronger acid, and FGA was consistently > FB
In 2011, when comparing FB and FG, FG ~ > than FB, and UFG is also greater than UFB particularly in deeper waters; perhaps this trend shows the effect of increasing the amount of acid in the Geo method this year
In this cruise, samples were treated in up to four ways - FB, UFB, FA and UFA to determine Fe III levels. The FA and UFA samples are in storage and have not yet been analysed (2012)
Sample Analysis:
Samples were analysed onboard using a chemiluminescent reaction with preconcentration according to the method of Obata et al (1993), incorporating
modifications made in Obata et al (1997). Details can be found in Johnson et al (2005)
The acidified samples from 2007-01 were treated, within hours of actual analysis, by addition of ammonium formate buffer pH3.2
(1.25mL per 250mL smp), H2O2 (25uL of 1% per 250mL smp), and concentrated ammonium hydroxide to reach pH3.2 +/- 0.1.
Duplicate runs are taken from one sampler bottle.
References: | Johnson, W.K., Miller, L.A., Sutherland, N.E., Wong, C.S., 2005. Iron transport by mesoscale Haida eddies in the Gulf of Alaska. Deep-Sea Research II 52, 933-953
Obata, H., Karatani, H., and E. Nakayama, 1993. Automated determination of iron in seawater by chlating resin concentration and chemiluminescence detection, Anal. Chem., 65, 1524 – 1528
Obata, H., Karatani, H., Matsui, M. and Nakayama, E., 1997. Fundamental studies for chemical speciation of iron in seawater with an improved analytical method. Mar. Chem., 56: 97-106.
Standards and Blanks:
The primary standard was a VWR Fe 1000ppm, Lot#A7105052. From this a secondary 10ppm was prepared, then further diluted to stock solutions of 100 and 10ppb.
Working standards were prepared fresh from these stock solutions to bracket the expected range of samples, using low iron seawater collected
in previous cruises, and run within 15 minutes of preparation.
Blanks for the standards were from the same low iron seawater. This typically has a small (<0.05nM) amount of Fe. For the samples the instrument zero was
determined by loading only 5s of the blank. This way the amount of iron present is negligable, yet the same procedure and chemical quantities used as for the samples applies.
QAQC & Reference Standards, Blanks & Comments
Replication Statistics, or Sample Pooled Data Stats:
Pooled variance (sp) is used to report error associated with analyses, whether it be from duplicate analyses within a sample bottle, or between duplicate samples taken from one depth.
Where three or more analyses were run from within one bottle, the abs(diff)^2 for the two most divergent values was used in determining sp.
The Average Fe reported with the sp is the average of only the data used in calculating sp, and provided for determining relative standard deviation (%RSD).
|  | Replicate Analysis within a Sample Bottle | [6 empty] | Replicate Analysis Between Duplicate Bottles
|  | FB&FA |  | UFB&UFA |  | ALL smp analysed in 2008-26 |  |  | FB&FA |  | UFB&UFA |  | ALL smp analysed in 2008-26
|  | w/in a smp |  | w/in a smp |  | w/in a smp |  |  | btw rep btl |  | btw rep btl |  | btw rep btl
All Samples Analysed this cruise:
| Pooled Variance (sp): | 0.019142 |  | 0.029324 |  | 0.024891 |  |  | 0.15614 |  | 0.21957 |  | 0.18136
| Avg Fe: | 0.31342 |  | 0.56948 |  | 0.44478 |  |  | 0.40568 |  | 0.40263 |  | 0.40459
| %RSD: | 6.1075 |  | 5.1492 |  |  |  |  | 38.4872 |  | 54.5333
| n: | 75 |  | 79 |  | 154 |  |  | 45 |  | 25 |  | 70
|  | 0.054964 |  | 0.13586 |  | 0.19083 |  |  | 2.1941 |  | 2.4106 |  | 4.6046
The long term storage samples, with high acid tend to be more variable, particularly for unfiltered samples due to unequal particle loading; if these acidified samples are separated out, the sp of 2008-26 samples improve:
|  | FB | FA | UFB | UFA |  |  |  | FB | FA | UFB | UFA
|  | w/in a smp | w/in a smp | w/in a smp | w/in a smp |  |  |  | btw rep btl | btw rep btl | btw rep btl | btw rep btl
| Pooled Variance (sp): | 0.013146 | 0.026294 | 0.015773 | 0.047534 |  |  |  | 0.038331 | 0.21516 | 0.023674 | 0.70461
| Avg Fe: | 0.151 | 0.58248 | 0.34654 | 1.1852 |  |  |  | 0.17748 | 0.62396 | 0.32355 | 1.3121
| %RSD: | 8.7059 | 4.5142 | 4.5517 | 4.0105 |  |  |  | 21.597 | 34.482 | 7.3169 | 53.6991
| n: | 47 | 28 | 55 | 21 |  |  |  | 22 | 23 | 22 | 2
Daily Reference Standards (DRS)
DRSs are run frequently to check on instrument performance and drift. In this cruise several DRS were used, reported below.
DRS - Low Series #3 - Mix of P12 0-400m Filtered Buffered Samples
| Avg: |  |  | 0.18111
| Stdev: |  |  | 0.019126
| %RSD: |  |  | 10.5605
| n: |  |  | 18
Date&Time | PreconcTime | File
2008-06-04 13:52 | 120s | 060308B |  | 0.2046
2008-06-04 14:08 | 120s | 060308B |  | 0.19486
2008-06-04 14:23 | 120s | 060308B |  | 0.20159
2008-06-04 23:51 | 120s | 060408 |  | 0.19481
2008-06-05 00:06 | 120s | 060408 |  | 0.19203
2008-06-05 05:45 | 120s | 060408 |  | 0.17977
2008-06-05 11:43 | 120s | 060408 |  | 0.19968
2008-06-05 11:58 | 120s | 060408 |  | 0.1862
2008-06-05 17:53 | 120s | 060408 |  | 0.17059
2008-06-05 18:12 | 120s | 060408 |  | 0.16759
2008-06-07 00:48 | 120s | 060608 |  | 0.17915
2008-06-07 01:04 | 120s | 060608 |  | 0.17346
2008-06-07 08:00 | 120s | 060608 |  | 0.14153
2008-06-07 08:15 | 120s | 060608 |  | 0.14599
2008-06-09 11:06 | 120s | 060908 |  | 0.17336
2008-06-10 22:04 | 120s | 061008 |  | 0.15859
2008-06-11 00:40 | 120s | 061008 |  | 0.19193
2008-06-11 02:58 | 120s | 061008 |  | 0.20431 | last dregs in bottle
DRS - Low Series #4A - Mix of Filtered Buffered Samples
| Avg: |  |  | 0.14739
| Stdev: |  |  | 0.00624
| %RSD: |  |  | 4.2336
| n: |  |  | 5
Date&Time | PreconcTime | File
2008-06-10 22:19 | 120s | 061008 |  | 0.14318
2008-06-10 22:34 | 120s | 061008 |  | 0.14006
2008-06-11 03:13 | 120s | 061008 |  | 0.14673
2008-06-13 07:38 | 120s | 061208 |  | 0.15566
2008-06-13 07:53 | 120s | 061208 |  | 0.15132
DRS - High Fe - From Mix of Deep Eddy Filtered Buffered Seawater Samples, collected 2000-2001
| Avg: |  |  | 1.3558
| Stdev: |  |  | 0.028141
| %RSD: |  |  | 2.0757
| n: |  |  | 8
Date&Time | PreconcTime | File
2008-06-03 09:33 | 60s | 060308A |  | 1.3637
2008-06-03 09:47 | 60s | 060308A |  | 1.3589
2008-06-03 13:57 | 60s | 060308A |  | 1.3671
2008-06-03 14:11 | 60s | 060308A |  | 1.3225 | poor peak
2008-06-14 06:02 | 45s | 061308 |  | 1.3269
2008-06-14 06:16 | 45s | 061308 |  | 1.345
2008-06-14 07:26 | 45s | 061308 |  | 1.3493
2008-06-14 16:46 | 45s | 061308 |  | 1.4127
Intercalibration Standards
The following intercalibration sample was made available from the Geotraces committee have been run intermittently as another check on the
iron standards and system.
D2 - Intercalibration Samples
| Expected: | 0.923 +/- 0.029 nM
| ObservedAvg&Stdev: | 0.8802 | 0.006452
| n: | 3
#565
2008-06-13 23:53 | 45s | 061308 |  | 0.87422
2008-06-14 00:07 | 45s | 061308 |  | 0.88704
2008-06-14 16:32 | 45s | 061308 |  | 0.87933
Summary of Buffered Sea Water Blanks Used in Calibration and Determining Zero, and Detection Limits
Blanks:
Calibrations are run using standard additions of Fe to a volume of filtered low iron seawater collected from OSPapa, 045N 145W, or that general vicinity
This seawater source, without the additions, is sometimes referred to as BSW - Buffered SeaWater - and forms the 0 point or blank for the regressions
Because there is invariably some iron in this water, it is necessary to correct samples to a zero iron or instrument blank, by using a preconcentration time of only 0 or 5s, rather
than the 90-240s time for samples. This very short preconc time allows all reagents and a small quantity of seawater to still affect the column,
but keeps iron addition negligible. On our system, even with a 0s load, there is still a small amount of low iron seawater between the valves, that flushes through the column.
This zero blank for sample correction is actually the concentration of the low iron seawater, and thus varies with the seawater batches used in calibration.
Following is a list of blanks used in calibration, but corrected with the zero blank to determine actual iron of the BSW used this cruise
Please see discussion of Determining Detection Limit in a section below this one
Data Statistics for Standard 0. Note that Std 0 has been calculated as a sample to determine the iron content of the low iron seawater used as a basis of standard additions
The average blank for the standard seawater was 0.03nM Fe
Date&Time | Run | PreConc(s) | Raw |  | [Fe] of BSW
|  |  | Avg: |  | 0.033511
|  |  | Stdev: |  | 0.0084783
|  |  | n: |  | 43
|  |  | D.L.: |  | 0.025435
2008-06-02 07:35 | 060208 | 120 | 577532 |  | 0.046357 |  | ZERO 1
2008-06-02 07:50 |  | 120 | 616652 |  | 0.049973
2008-06-02 08:21 |  | 120 | 625784 |  | 0.050814
2008-06-02 22:06 |  | 120 | 519624 |  | 0.039889
2008-06-03 03:15 | 060308A | 60 | 307412 |  | 0.039259 |  | ZERO 1
2008-06-03 03:30 |  | 60 | 283152 |  | 0.034921
2008-06-03 15:54 | 060308B | 120 | 527432 |  | 0.043607 |  | ZERO 1
2008-06-03 16:11 |  | 120 | 575516 |  | 0.048076
2008-06-04 05:06 |  | 120 | 408252 |  | 0.032251
2008-06-04 05:37 |  | 120 | 410308 |  | 0.032451
2008-06-04 21:46 | 060408 | 120 | 709484 |  | 0.043676 |  | ZERO 2
2008-06-04 22:03 |  | 120 | 710084 |  | 0.043723
2008-06-05 17:26 |  | 120 | 731824 |  | 0.038289 |  | new SW - 2008-26 P16 30m F
2008-06-05 17:41 |  | 120 | 721272 |  | 0.037562
2008-06-06 21:42 | 060608 | 120 | 544332 |  | 0.03874 |  | ZERO 2 | flow rate turned down a bit
2008-06-06 22:44 |  | 120 | 560772 |  | 0.040393
2008-06-06 23:01 |  | 120 | 528180 |  | 0.037105
2008-06-07 08:52 |  | 120 | 471132 |  | 0.031228
2008-06-07 09:07 |  | 120 | 393720 |  | 0.022983
2008-06-07 19:16 |  | 120 | 327476 |  | 0.016493
2008-06-07 19:31 |  | 120 | 369200 |  | 0.021382
2008-06-09 08:26 | 060908 | 120 | 312104 |  | 0.029142
2008-06-09 08:41 |  | 120 | 293372 |  | 0.026804
2008-06-09 09:29 |  | 120 | 316192 |  | 0.029649
2008-06-10 00:12 |  | 120 | 284912 |  | 0.02574
2008-06-10 00:28 |  | 120 | 257600 |  | 0.022267
2008-06-10 13:01 | 061008 | 120 | 297300 |  | 0.027592 | ZERO 1 | New Std Stock Seawater
2008-06-10 13:16 |  | 120 | 330428 |  | 0.031672
2008-06-10 23:05 |  | 120 | 284616 |  | 0.026004 |  | old AF buffer
2008-06-10 23:20 |  | 120 | 303316 |  | 0.02834 |  | "
2008-06-10 23:36 |  | 120 | 229804 |  | 0.018973 |  | new AF buffer
2008-06-10 23:51 |  | 120 | 256208 |  | 0.022396 |  | "
2008-06-11 02:12 |  | 120 | 273388 |  | 0.024587 |  | "
2008-06-11 13:48 |  | 120 | 355340 |  | 0.034681
2008-06-11 14:03 |  | 120 | 339676 |  | 0.032795
2008-06-12 09:44 | 061208 | 120 | 429276 |  | 0.031033 | ZERO 1
2008-06-12 10:30 |  | 120 | 386440 |  | 0.027184
2008-06-13 03:55 |  | 120 | 463788 |  | 0.034113
2008-06-13 04:10 |  | 120 | 429184 |  | 0.031025
2008-06-13 04:26 |  | 120 | 439948 |  | 0.031987 | Acidification Blank: Blank Seawater with all extra chemicals used to acidify, neutralize and buffer Totals
2008-06-13 07:07 |  | 120 | 424036 |  | 0.041976 |  | New Luminol Batch:
2008-06-13 07:23 |  | 120 | 341060 |  | 0.031905
2008-06-13 19:37 | 061308 | 45 | 233544 |  | 0.041929 | ZERO 1 | New Stock Sea Water:
Determining Detection Limit (D.L.):
The detection limit can be determined as 3 x Stdev of the Average Blank FeIII concentration, depending on whether the stock batches used are the same, and have low iron content(<0.1nM).
For the blanks of this cruise, given above, the DL was ~0.03 nM.
However, as there were several very low seawater samples, the DL can also be determined using 3* SP for all samples <0.2nM:
Using the data for this cruise, DL is ~0.01nM for Filtered samples and 0.04nM for Unfiltered samples; overall, DL ~ 0.03nMol
|  | <0.2nM FB&FG |  | <0.2nM UFB&UFG |  | ALL Samples
| Avg: | 0.078166 |  | 0.0957 |  | 0.086933
| n: | 37 |  | 37 |  | 74
| sp: | 0.0043845 |  | 0.01173 |  | 0.0088547
| DL: | 0.013153 |  | 0.035189 |  | 0.026564
| sum (diff)^2: | 0.0014225 |  | 0.010181 |  | 0.011604

## WorkSum Fe
Summary of Iron Samples Analysed on 2008-26
[7 empty] | Replicates Within a Sample Bottle |  |  |  | Replicate SmpBottles |  | QC | [7 empty] | Replicate SmpBottles |  | QC
Collection
Cruise | Stn | Depth | Sampler | Order | Notes | ID | FB a | FB b | Avg nM | (diff)^2 | Avg | (diff)^2 | Code | Notes |  |  | UFB a | UFB b | Avg | (diff)^2 | Avg | (diff)^2 | Code | Notes |  | Depth | IOS Quality Control Flags for Water Samples
[8 empty] | Avg all: |  | 0.31342 |  | 0.40568 |  | 11.6478 | [5 empty] | 0.56948 |  | 0.40263
[8 empty] | Avg Buff only: |  | 0.151 |  | 0.17748 |  | 57 | [5 empty] | 0.34654 |  | 0.32355
[8 empty] | Avg very low: |  | 0.078166 |  | 0.071603 |  | 12.1695 | [5 empty] | 0.0957 |  | 0.1052
[8 empty] | Avg long tem storage: |  | 0.58248 |  | 0.62396 | [7 empty] | 1.1852 |  | 1.3121
[8 empty] | sp all: |  | 0.019142 |  | 0.15614 |  | 19 | [5 empty] | 0.029324 |  | 0.21957 |  |  |  |  | These flags are based on the WOCE quality flags (http://whpo.ucsd.edu/manuals/pdf/90_1/chap4.pdf, Table 4.9). We have replaced the numeric flags used by WOCE with alphabetical flags in order to avoid confusion of the quality flags with data values. Our purpose in not normally using many of these flags is to flag only suspect data, making it easier for the user to notice those bad data. Channel headings for the data flags should be in the format of <Flag:Parameter>, e.g. Flag:Phosphate.
[8 empty] | sp Very Low (<0.2 nM): |  | 0.0043845 |  | 0.043423 | [7 empty] | 0.01173 |  | 0.015287
[8 empty] | sp Buff only: |  | 0.013146 |  | 0.038331 | [7 empty] | 0.015773 |  | 0.023674
[8 empty] | sp long term (>1 nM) |  | 0.026294 |  | 0.21516 | [7 empty] | 0.047534 |  | 0.70461 |  |  |  |  | Flag | Definition
[8 empty] | n All: |  | 75 |  | 45 | [7 empty] | 79 |  | 25 |  |  |  |  | a | Sample for this measurement was drawn from water bottle but not analyzed (not normally used)
[8 empty] | n Very Low: |  | 37 |  | 16 | [7 empty] | 37 |  | 14
[8 empty] | n Buff only: |  | 47 |  | 22 | [7 empty] | 55 |  | 22 |  |  |  |  | b | Acceptable measurement (not normally used)
[8 empty] | n long term: |  | 28 |  | 23 | [7 empty] | 21 |  | 2 |  |  |  |  | c | Questionable measurement (no problem observed in sampling or analysis, but value is not trusted, nonetheless; includes outlyers)
[8 empty] | sum(abs diff) All: |  | 0.054964 |  | 2.1941 | [7 empty] | 0.13586 |  | 2.4106 |  |  |  |  | d | Bad measurement (known problem with sampling or analysis, but not serious enough to completely discard the value)
[8 empty] | sum(abs diff) Very Low (<0.2 nM): |  | 0.0014225 |  | 0.060337 | [7 empty] | 0.010181 |  | 0.0065437
[8 empty] | sum(abs diff^2) Buff only): |  | 0.016246 |  | 0.064647 | [7 empty] | 0.027368 |  | 0.024659 |  |  |  |  | e | Not reported (lost sample; unredeemably bad measurement)
[8 empty] | sum(abs diff)^2 long term: |  | 0.038718 |  | 2.1294 | [7 empty] | 0.0949 |  | 1.9859 |  |  |  |  | f | Mean of replicate measurements (summary of replicates and table of replicate data should be included in the metadata file)
[27 empty] | g | Manual chromatographic peak measurement
[8 empty] | Detection Limit, using 3*(sp Very Low) |  | 0.013153 | [9 empty] | 0.035189
[27 empty] | h | Irregular digital chromatographic peak integration
Adrian's Exp | Initial Sol'n | [25 empty] | i | Sample not drawn for this measurement from this bottle (not normally used)
| Control | [15 empty] | 0.05084 | 0.040668 | 0.045754 | 0.00010348 | 0.93537
| Exp #1 | mixed 1:1 with low Fe SW | [14 empty] | 1.8265 | 1.8234 | 1.825 | 9.5909e-06 | 2.1412 | 0.4
| Exp #2 | undiluted | [14 empty] | 2.496 | 2.4189 | 2.4574 | 0.0059536 |  |  |  | Stds at high end, >1.6, less reliable, could be 0.3 nM higher
2008-26 | P 04 | 0 |  |  |  |  | 0.12935 |  | 0.12935 |  | 0.12935 | [5 empty] | 0.42221 | 0.45666 | 0.43944 | 0.0011872 | 0.44199
|  | 10 | P | 7 |  |  | 0.17346 | 0.18885 | 0.18116 | 0.00023687 | 0.18116 | [5 empty] | 0.4424 | 0.44668 | 0.44454 | 1.8282e-05 | 0.43546
|  | 20 | P | 6 |  |  | 0.18388 | 0.18506 | 0.18447 | 1.3909e-06 | 0.18447 | [5 empty] | 0.42627 | 0.42651 | 0.42639 | 5.71e-08 | 0.42972
|  | 30 | P | 5 |  |  | 0.2024 | 0.21678 | 0.20959 | 0.00020675 | 0.20959 | [5 empty] | 0.43306 |  | 0.43306
|  | 40 | P | 4 |  |  | 0.27622 | 0.28141 | 0.27882 | 2.6933e-05 | 0.27882 | [5 empty] | 0.42137 | 0.45319 | 0.43728 | 0.0010123 | 0.43728
|  | 75 | GF#5 | 1 |  |  | >1.5 | [6 empty] | **GF #5 |  |  | >1.5
|  | 100 | GF#6 | 1 |  |  | 0.057453 | 0.051651 | 0.054552 | 3.366e-05 | 0.054552 | [5 empty] | 0.11342 | 0.093217 | 0.10332 | 0.00040815 | 0.10332
|  | 150 | GF#5 | 2 |  |  | 1.0924 | 1.1285 | [5 empty] | check cal init - 1.33 **GF #5 |  |  | 1.7643 | 1.7747
|  | 200 | GF#6 | 2 |  |  | 0.65643 | 0.54983 | 0.60313 | 0.011364 | 0.60313 |  |  | check cal init - 0.75 |  |  | 1.466 | 1.4657 | 1.4659 | 9.6985e-08 | 1.4659
|  | 300 | GF#5 | 3 |  |  | 1.7546 | 1.7701 |  |  |  |  | e | **GF #5 |  |  | >2.5 | [5 empty] | d | Sample offscale, not enough sample left to repeat at higher scale
|  | 400 | GF#6 | 3 |  |  | 0.85609 |  | 0.85609 |  | 0.85609 | [5 empty] | 1.9456 | 2.033 | 1.9893 | 0.0076328 | 1.9893
2008-26 | P 12 | 0 | Z | 5 |  |  | 0.050326 | 0.045708 | 0.048017 | 2.1331e-05 | 0.044739 | 4.2981e-05 |  |  |  |  | 0.095099 | 0.099979 | 0.097539 | 2.3821e-05 | 0.098443 | 3.2656e-06
| new opti | 0 |  |  |  |  | 0.041461 |  | 0.041461 | [7 empty] | 0.099346 |  | 0.099346
|  | 10 | P | 4 |  |  | 0.041805 | 0.036948 | 0.039376 | 2.3596e-05 | 0.039376 | [5 empty] | 0.087844 | 0.090256 | 0.08905 | 5.8184e-06 | 0.090174
|  | 20 | P | 3 |  |  | 0.043109 | 0.041759 | 0.042434 | 1.8238e-06 | 0.039147 | 4.3219e-05 |  |  |  |  | 0.09405 | 0.088547 | 0.091298 | 3.0275e-05 | 0.088397 | 3.3675e-05
|  | 20 | P | 3 |  |  | 0.03586 |  | 0.03586 | [7 empty] | 0.087995 | 0.082996 | 0.085495
|  | 30 | P | 2 |  |  | 0.038108 | 0.035725 | 0.036916 | 5.6829e-06 | 0.036916 | [5 empty] | 0.086696 | 0.077585 | 0.08214 | 8.302e-05 | 0.075188
|  | 40 | P | 1 |  |  | 0.039867 | 0.036211 | 0.038039 | 1.3366e-05 | 0.038039 | [5 empty] | 0.067221 | 0.069252 | 0.068236 | 4.1257e-06 | 0.058203
|  | 75 | XN#12 | 6 |  |  | 0.033386 | 0.035554 | 0.03447 | 4.6979e-06 | 0.03447 | [5 empty] | 0.048169 |  | 0.048169 |  | 0.1
|  | 100 | XN#new07 | 7 |  |  | 0.1087 | 0.11602 | 0.11236 | 5.3606e-05 | 0.11236 | [5 empty] | 0.14799 | 0.15569 | 0.15184 | 5.9396e-05 | 0.18943
|  | 150 | XN#10 | 8 |  |  | 0.1196 | 0.11366 | 0.11663 | 3.5177e-05 | 0.11663 | [5 empty] | 0.22807 | 0.22598 | 0.22702 | 4.373e-06 | 0.2419
|  | 200 | XN#12 | 9 |  |  | 0.17922 | 0.1891 | 0.18416 | 9.7769e-05 | 0.18416 | [5 empty] | 0.25347 | 0.2601 | 0.25678 | 4.4053e-05 | 0.3262
|  | 300 | XN#new07 | 9 |  |  | 0.34637 | 0.35379 | 0.35008 | 5.5054e-05 | 0.35008 | [5 empty] | 0.39063 | 0.40061 | 0.39562 | 9.9569e-05 | 0.51343
|  | 400 | XN#10 | 9 |  |  | 0.50125 | 0.53204 | 0.51665 | 0.00094851 | 0.52751 | 0.0004725 |  |  |  |  | 0.62065 | 0.64183 | 0.63124 | 0.00044866 | 0.67899 | 0.0091209
|  | 400 |  |  |  |  | 0.50316 | 0.5736 | 0.53838 | [7 empty] | 0.72674 |  | 0.72674
2008-26 | P 16 | 0 | Z | 1 |  |  | 0.060249 |  | 0.060249 |  | 0.060249 | [5 empty] | 0.13115 | 0.1233 | 0.12722 | 6.148e-05 | 0.099609
|  | 10 | P | 5 |  |  | 0.035996 |  | 0.035996 |  | 0.035996 | [5 empty] | 0.068954 | 0.075035 | 0.071994 | 3.6979e-05 | 0.06916
|  | 20 | P | 4 |  |  | 0.030686 | 0.027197 | 0.028942 | 1.2173e-05 | 0.028942 | [5 empty] | 0.064925 | 0.067725 | 0.066325 | 7.8423e-06 | 0.070816
|  | 30 | P | 3 |  |  | 0.022067 | 0.024892 | 0.023479 | 7.9846e-06 | 0.023479 | [5 empty] | 0.074121 | 0.076493 | 0.075307 | 5.6301e-06 | 0.076605
|  | 40 | P | 2 |  |  | 0.030096 | 0.033284 | 0.03169 | 1.0166e-05 | 0.031943 | 2.5733e-07 |  |  |  |  | 0.079051 | 0.076756 | 0.077903 | 5.2687e-06 | 0.071552 | 0.00016135
|  | 40 | P | 2 |  |  | 0.032197 |  | 0.032197 | [7 empty] | 0.065201 |  | 0.065201
|  | 75 | XN#10 | 6 |  |  | 0.031492 | 0.031435 | 0.031464 | 3.2068e-09 | 0.031464 | [5 empty] | 0.072924 | 0.066514 | 0.069719 | 4.1078e-05 | 0.11933
|  | 100 | XN#new07 | 7 |  |  | 0.084885 | 0.085397 | 0.085141 | 2.6151e-07 | 0.085141 | [5 empty] | 0.1679 | 0.16997 | 0.16893 | 4.2802e-06 | 0.28672
|  | 150 | XN#10 | 8 |  |  | 0.28906 | 0.27386 | 0.28146 | 0.00023099 | 0.28146 | [5 empty] | 0.4035 | 0.40554 | 0.40452 | 4.163e-06 | 0.45174
|  | 200 | XN#12 | 8 |  |  | 0.33412 | 0.33359 | 0.33386 | 2.7761e-07 | 0.33386 | [5 empty] | 0.50152 | 0.49643 | 0.49897 | 2.5903e-05 | 0.46248
|  | 300 | XN#10 | 9 |  |  | 0.32078 |  | 0.32078 |  | 0.32078 | [5 empty] | 0.42201 | 0.42997 | 0.42599 | 6.3275e-05 | 0.4488
|  | 400 | XN#new07 | 9 |  |  | 0.41061 |  | 0.41061 |  | 0.4411 | 0.0037203 |  | 8 hrs: | 0.44932 | 0.4478 | 0.44981 | 0.4934 | 0.4716 | 0.0018999 | 0.50553 | 0.004605 |  | 6.5 hrs: | #REF!
|  | 400 |  |  |  |  | 0.4716 |  | 0.4716 |  |  |  |  | 6 hrs: | 0.45151 |  | 0.53765 | 0.54127 | 0.53946 |  |  |  |  | 9 hrs: | #REF!
2008-26 | P 20 | 0 | Z |  |  |  | 0.064625 | 0.061681 | 0.063153 | 8.6686e-06 | 0.050046 | 0.00068713 |  |  |  |  | 0.070568 | 0.08659 | 0.078579 | 0.00025668 | 0.094482 | 0.0010117
|  | 0 |  |  |  |  | 0.03694 |  | 0.03694 | [7 empty] | 0.11039 |  | 0.11039
|  | 10 | P | 4 |  |  | 0.036766 | 0.032693 | 0.034729 | 1.6587e-05 | 0.034729 | [5 empty] | 0.067917 |  | 0.067917 |  | 0.06557
|  | 20 | P | 3 |  |  | 0.038829 | 0.032071 | 0.03545 | 4.5676e-05 | 0.034245 | 5.809e-06 |  |  |  |  | 0.061433 | 0.065012 | 0.063222 | 1.2815e-05 | 0.066995 | 5.6933e-05
|  | 20 | P | 3 |  |  | 0.03304 |  | 0.03304 | [7 empty] | 0.070768 |  | 0.070768
|  | 30 | P | 2 |  |  | 0.032378 | 0.034696 | 0.033537 | 5.3737e-06 | 0.033537 | [5 empty] | 0.078078 | 0.079591 | 0.078834 | 2.2898e-06 | 0.065596
|  | 40 | P | 1 |  |  | 0.038928 |  | 0.038928 |  | 0.038928 | [5 empty] | 0.05564 | 0.049074 | 0.052357 | 4.3114e-05 | 0.070232
|  | 75 | XN#12 | 5 |  |  | 0.030521 | 0.028257 | 0.029389 | 5.1284e-06 | 0.029389 | [5 empty] | 0.091627 | 0.084585 | 0.088106 | 4.9596e-05 | 0.083556
|  | 100 | XN#new07 | 6 |  |  | 0.030715 | 0.033391 | 0.032053 | 7.1625e-06 | 0.032053 | [5 empty] | 0.076687 | 0.081323 | 0.079005 | 2.1495e-05 | 0.099018
|  | 150 | XN#10 | 6 |  |  | 0.056121 | 0.055159 | 0.05564 | 9.2429e-07 | 0.05564 | [5 empty] | 0.12503 | 0.11303 | 0.11903 | 0.00014381 | 0.16216
|  | 200 | XN#10 | 7 |  |  | 0.13341 | 0.14169 | 0.13755 | 6.847e-05 | 0.13755 | [5 empty] | 0.20918 | 0.20138 | 0.20528 | 6.0794e-05 | 0.2477
|  | 300 | XN#new07 | 7 |  |  | 0.29279 | 0.328 | 0.31039 | 0.0012395 | 0.31039 | [5 empty] | 0.28116 | 0.29907 | 0.29012 | 0.00032067 | 0.32978
|  | 400 | XN#12 | 7 |  |  | 0.33768 |  | 0.33768 |  | 0.33152 | 0.00041053 |  |  |  |  | 0.3704 | 0.36849 | 0.36944 | 3.6607e-06 | 0.36003 | 0.00010823 |  | n=3
|  | 400 |  |  |  |  | 0.33944 |  | 0.33944 | [7 empty] | 0.34886 |  | 0.34886
|  | 400 |  |  |  |  | 0.31742 |  | 0.31742 | [7 empty] | 0.36179 |  | 0.36179
2008-26 | P 26 | 0 | Z | 1 |  |  | 0.041088 | 0.040135 | 0.040612 | 9.0952e-07 | 0.042904 | 2.102e-05 |  |  |  |  | 0.1104 | 0.097112 | 0.10376 | 0.00017669 | 0.11138 | 0.0002322
|  | 0 |  |  |  |  | 0.045196 |  | 0.045196 | [7 empty] | 0.119 |  | 0.119
|  | 5 | P | 6 |  |  | 0.03614 | 0.03324 | 0.03469 | 8.406e-06 | 0.032826 | 1.3895e-05 |  | not KJ sampling |  |  | 0.093544 | 0.092182 | 0.092863 | 1.8548e-06 | 0.095354 | 2.4809e-05
|  | 5 | P |  |  |  | 0.030962 |  | 0.030962 | [7 empty] | 0.095368 | 0.10032 | 0.097844 | 2.4523e-05
|  | 10 | P | 2 |  |  | 0.027192 | 0.026564 | 0.026878 | 3.9404e-07 | 0.027592 | 2.0372e-06 |  | KJ |  |  | 0.097471 | 0.099981 | 0.098726 | 6.301e-06 | 0.10311 | 7.6827e-05
|  | 10 | P |  |  |  | 0.028305 |  | 0.028305 | [7 empty] | 0.10749 |  | 0.10749
|  | 20 | P | 5 |  |  | 0.029186 | 0.027974 | 0.02858 | 1.4683e-06 | 0.030954 | 2.2539e-05 |  | not KJ sampling |  |  | 0.1466 | 0.14354 | 0.14507 | 9.3359e-06 | 0.12836 | 0.001116
|  | 20 | P |  |  |  | 0.033328 |  | 0.033328 | [7 empty] | 0.11166 |  | 0.11166
|  | 30 | P | 4 |  |  | 0.026267 | 0.025993 | 0.02613 | 7.5032e-08 | 0.026361 | 2.1464e-07 |  | not KJ sampling |  |  | 0.11421 | 0.10553 | 0.10987 | 7.5257e-05 | 0.10541 | 7.9437e-05
|  | 30 | P |  |  |  | 0.026593 |  | 0.026593 | [7 empty] | 0.10096 |  | 0.10096
|  | 40 | P | 3 |  |  | 0.28192 | 0.27134 | 0.27663 | 0.00011206 | 0.15768 | 0.056593 |  | not KJ sampling |  |  | 0.12 | 0.1139 | 0.11695 | 3.7211e-05 | 0.13785 | 0.0017476
|  | 40 | P |  |  |  | 0.036504 | 0.040968 | 0.038736 | [7 empty] | 0.15875 |  | 0.15875
|  | 75 | XN#10 | 7 |  |  | 0.037642 | 0.036712 | 0.037177 | 8.6389e-07 | 0.038554 | 7.587e-06 |  |  |  |  | 0.093999 | 0.081492 | 0.087746 | 0.00015642 | 0.079613 | 0.00026456
|  | 75 |  |  |  |  | 0.039931 |  | 0.039931 | [7 empty] | 0.071481 |  | 0.071481
|  | 100 | XN#new07 | 8 |  |  | 0.040489 | 0.043027 | 0.041758 | 6.4411e-06 | 0.043228 | 8.6432e-06 |  |  |  |  | 0.090678 |  | 0.090678 | 0.0082225 | 0.10018 | 0.00036116
|  | 100 |  |  |  |  | 0.044698 |  | 0.044698 | [7 empty] | 0.10968 |  | 0.10968
|  | 150 | XN#12 | 8 |  |  | 0.17663 | 0.17871 | 0.17767 | 4.3258e-06 | 0.18531 | 0.00023292 |  |  |  |  | 0.17329 | 0.17308 | 0.17318 | 4.5166e-08 | 0.19172 | 0.0013742
|  | 150 |  |  |  |  | 0.19294 |  | 0.19294 | [7 empty] | 0.21025 |  | 0.21025
|  | 200 | XN#new07 | 9 |  |  | 0.21852 | 0.22316 | 0.22084 | 2.1526e-05 | 0.21345 | 0.00021843 |  |  |  |  | 0.30522 | 0.30461 | 0.30491 | 3.7101e-07 | 0.29835 | 0.00017212
|  | 200 |  |  |  |  | 0.20606 |  | 0.20606 | [7 empty] | 0.29179 |  | 0.29179
|  | 300 | XN#10 | 9 |  |  | 0.36918 | 0.37721 | 0.3732 | 6.4419e-05 | 0.35907 | 0.00079831 |  |  |  |  | 0.40276 | 0.42881 | 0.41579 | 0.00067826 | 0.41886 | 3.77e-05
|  | 300 |  |  |  |  | 0.33927 | 0.35061 | 0.34494 | [7 empty] | 0.42193 |  | 0.42193
|  | 400 | XN#10 | 10 |  |  | 0.36253 | 0.36189 | 0.36221 | 4.0817e-07 | 0.35613 | 0.00014761 |  |  |  |  | 0.44686 | 0.42916 | 0.43801 | 0.00031348 | 0.45771 | 0.0015521
|  | 400 |  |  |  |  | 0.35006 |  | 0.35006 | [7 empty] | 0.47741 |  | 0.47741
|  | 600 | XN#new07 | 10 |  |  | 0.43737 | 0.43082 | 0.43409 | 4.2961e-05 | 0.43502 | 3.4076e-06 |  |  |  |  | 0.51248 | 0.49344 | 0.50296 | 0.0003626 | 0.52141 | 0.0013607
|  | 600 |  |  |  |  | 0.43594 |  | 0.43594 | [7 empty] | 0.55597 | 0.52373 | 0.53985 | 0.0010391
|  | 800 | XN#12 | 10 |  |  | 0.42072 | 0.45524 | 0.43798 | 0.0011916 | 0.45526 | 0.0011944 |  |  |  |  | 0.61871 | 0.52053 | 0.56962 | 0.0096392 | 0.58664 | 0.001159
|  | 800 |  |  |  |  | 0.47254 |  | 0.47254 | [7 empty] | 0.60597 | 0.60134 | 0.60366 | 2.1447e-05
2007-01 | P24 | 10 | XN New07 | 1 | rough seas | 46 | 1.2614 | 1.3376 | 1.2995 | 0.0058166 | 1.0558 | 0.2375 |  |  |  |  | 2.5472 |  | 2.5472 |  | 1.8433 | 1.9814
FG & UFG |  | 10 |  |  |  | 46 | 0.78698 | 0.83737 | 0.81218 | [7 empty] | 1.1759 | 1.1032 | 1.1395 | 0.00529
|  | 25 | XN#10 | 2 | rough seas | 47 | 0.99751 |  | 0.99751 |  | 0.7339 | 0.27797 |  |  |  |  | 0.74969 | 0.74523 | 0.74746 | 1.9869e-05 | 0.78094 | 0.0044846
|  | 25 |  |  |  | 47 | 0.4717 | 0.46887 | 0.47028 | 8.0183e-06 | [6 empty] | 0.81443 |  | 0.81443
| P25 | 10 | XN New07 | 1 |  | 48 | 0.67726 | 0.68114 | 0.6792 | 1.5093e-05 | 0.6792 | [5 empty] | 0.82949 | 0.89712 | 0.86331 | 0.0045743 | 0.86331
|  | 25 | XN#12 | 2 |  | 49 | 0.33386 | 0.33245 | 0.33316 | 1.9778e-06 | 0.33316 | [5 empty] | 0.5892 | 0.60025 | 0.59472 | 0.00012223 | 0.59472
| Papa Eddy | 10 | P | 7 |  |  | 0.20537 | 0.18962 | 0.19749 | 0.00024803 | 0.1896 | 0.00024946 |  |  |  |  | 0.65235 | 0.67092 | 0.66163 | 0.00034473 | 0.66163
|  | 10 |  |  |  |  | 0.18872 | 0.17468 | 0.1817 | 0.00019691
|  | 25 | P | 6 |  |  | 0.19781 | 0.1923 | 0.19505 | 3.0413e-05 | 0.17053 | 0.002406 |  |  |  |  | 0.56716 | 0.57302 | 0.57009 | 3.4286e-05 | 0.57009
|  | 25 |  |  |  |  | 0.146 |  | 0.146
|  | 40 | P | 5 |  |  | 0.41689 | 0.41481 | 0.41585 | 4.3167e-06 | 0.29042 | 0.062926 |  |  |  |  | 0.7417 | 0.72603 | 0.73386 | 0.00024576 | 0.73386
|  | 40 |  |  |  |  | 0.165 |  | 0.165
|  | 75 | XN#12 | 1 |  |  | 0.36717 | 0.36827 | 0.36772 | 1.2127e-06 | 0.36603 | 1.1445e-05 |  |  |  |  | 0.6573 | 0.67842 | 0.66786 | 0.00044577 | 0.66786
|  | 75 |  |  |  |  | 0.36434 |  | 0.36434
|  | 100 | XN New07 | 1 |  |  | 0.41347 | 0.38372 | 0.3986 | 0.0008853 | 0.37181 | 0.0028705 |  |  |  |  | 0.44219 | 0.47405 | 0.45812 | 0.001015 | 0.45812
|  | 100 |  |  |  |  | 0.34502 |  | 0.34502
|  | 150 | XN#10 | 2 |  |  | 0.48097 | 0.52419 | 0.50258 | 0.0018681 | 0.4462 | 0.012717 |  |  |  |  | 0.71795 | 0.69019 | 0.70407 | 0.00077026 | 0.70407
|  | 150 |  |  |  |  | 0.38981 |  | 0.38981
|  | 200 | GF#12 | 2 |  |  | 0.53322 | 0.50567 | 0.51944 | 0.00075888 | 0.55177 | 0.0041788 |  |  |  |  | 0.71234 |  | 0.71234 |  | 0.71234
|  | 200 |  |  |  |  | 0.58409 |  | 0.58409
|  | 300 | XN#12 | 3 | possibly 329m |  | 0.6811 | 0.61718 | 0.64914 | 0.004086 | 0.62373 | 0.0025813 |  |  |  |  | 0.71696 | 0.76672 | 0.74184 | 0.0024759 | 0.74184
|  | 300 |  |  |  |  | 0.59833 |  | 0.59833
|  | 400 | XN New07 | 3 | " likely off - 428m? |  | 0.51993 | 0.49352 | 0.50672 | 0.00069777 | 0.51815 | 0.00052254 |  |  |  |  | 0.8631 | 0.84088 | 0.85199 | 0.00049372 | 0.85199
|  | 400 |  |  |  |  | 0.52958 |  | 0.52958
|  | 600 | ? | 4 | possibly 573m |  | 0.69963 | 0.72072 | 0.71017 | 0.00044446 | 0.68662 | 0.00222 |  |  |  |  | 0.88396 | 0.84029 | 0.86213 | 0.0019066 | 0.86213
|  | 600 |  |  |  |  | 0.66306 |  | 0.66306
windy - 50 knots
| Eddy 2 | 10 | XN#12 | 5 | too rolly for pump |  | 0.30271 | 0.30072 | 0.30171 | 3.9344e-06 | 0.39101 | 0.031892 |  |  |  |  | 0.78946 | 0.78395 | 0.7867 | 3.0365e-05 | 0.7867
|  | 10 |  |  |  |  | 0.47498 | 0.48562 | 0.4803 | 0.00011317
|  | 25 | XN New07 | 6 | " |  | 0.30337 | 0.27967 | 0.29152 | 0.00056156 | 0.26874 | 0.0020765 |  |  |  |  | 0.68359 | 0.64948 | 0.66654 | 0.0011639 | 0.66654
|  | 25 |  |  |  |  | 0.24595 |  | 0.24595
|  | 40 | XN#10 | 7 | " |  | 0.37342 | 0.38609 | 0.37975 | 0.00016049 | 0.34356 | 0.0052405 |  |  |  |  | 0.75989 | 0.7782 | 0.76904 | 0.00033522 | 0.76904
|  | 40 |  |  |  |  | 0.30736 |  | 0.30736
|  | 75 | XN New07 | 1 |  |  | 0.39043 | 0.39305 | 0.39174 | 6.8732e-06 | 0.44525 | 0.011452 |  |  |  |  | 0.77476 |  | 0.77476 |  | 0.77476
|  | 75 |  |  |  |  | 0.49876 |  | 0.49876
|  | 100 | XN#12 | 1 |  |  | 0.23965 | 0.23871 | 0.23918 | 8.8687e-07 | 0.55091 | 0.3887 |  |  |  |  | 0.76719 |  | 0.76719 |  | 0.76719
|  | 100 |  |  |  |  | 0.86264 |  | 0.86264
|  | 150 | GF#12 | 2 |  |  | 0.69008 | 0.69008 | 0.69008 | 0 | 0.64196 | 0.0092636 |  |  |  |  | 2.8189 | 2.9835 | 2.9012 | 0.027098 | 2.9012 |  | c | Cal curve changing in higher range, used interpolation
|  | 150 |  |  |  |  | 0.59383 |  | 0.59383
|  | 200 | XN#10 | 2 |  |  | 0.54381 | 0.53718 | 0.54049 | 4.3934e-05 | 0.89634 | 0.5065 |  |  |  |  | 2.7615 | 2.7615 | 2.7615 | 0 | 2.7615 |  | c | Cal curve changing in higher range, used interpolation
|  | 200 |  |  |  |  | 1.2487 | 1.2556 | 1.2522 | 4.8053e-05
|  | 300 | XN#12 | 3 | 15-20 wire angle |  | 0.91644 | 1.0258 | 0.9711 | 0.011952 | 0.91227 | 0.013846 |  |  |  |  | 2.9548 | 3.159 | 3.0569 | 0.041713 | 3.0569 |  | c | Cal curve changing in higher range, used interpolation
|  | 300 |  |  |  |  | 0.85344 |  | 0.85344
|  | 400 | XN New07 | 3 | " |  | 1.0212 | 1.0075 | 1.0143 | 0.00018861 | 1.1274 | 0.051161 | [10 empty] | e | originally not acidified!!!, suspect Fe stuck on walls
|  | 400 |  |  |  |  | 1.2405 |  | 1.2405
|  | 600 | GF#12 | 4 | ~35 wire angle, gusting 35 knots |  | 1.2566 | 1.3574 | 1.307 | 0.010161 | 1.6479 | 0.46494 |  |  |  |  | 2.3734 | 2.4523 | 2.4128 | 0.006217 | 2.4128 |  | c | Cal curve changing in higher range, used interpolation
|  | 600 |  |  |  |  | 1.9888 |  | 1.9888
|  | 800 | XN#10 | 4 | " |  | 1.0337 | 1.0133 | 1.0235 | 0.00041511 | 1.1212 | 0.0382 |  |  |  |  | 1.9264 | 1.951 | 1.9387 | 0.00060366 | 1.9387 |  | c | Cal curve changing in higher range, used interpolation
|  | 800 |  |  |  |  | #REF! |  | #REF!
2007-01 Misc Collection Notes from KJ log
| P 04 | 10 | P | 3 |  |  | opti filter from sep 06!!
|  | 25 | P | 2
|  | 40 | P | 1
|  | 75 | XN New07 | 4
|  | 100 | GF#12 | 4 |  |  | GF#12 had been repaired
| P 05 | 10 | XN New07 | 1
|  | 25 | GF#12 | 2
| P 06 | 10 | XN New07 | 1
|  | 25 | GF#12 | 2
| P 10 | 10 | XN New07 | 1 | 13
|  | 25 | XN#10 | 2 | 14
| P 11 | 10 | XN New07 | 1 | 15
|  | 25 | XN#12 | 2 | 16
| P12 | 5 | P | 4
| New Opti | 10 | P | 3
|  | 25 | P | 2
|  | 40 | P | 1
|  | 75 | XN New07 | 5
|  | 100 | XN#12 | 6
|  | 150 | GF#12 | 6
|  | 200 | XN#10 | 6
| P 15 | 10 | XN New07 | 1 | 25
|  | 25 | XN#12 | 2 | 26
| P 16 | 0 | Z | 1 |  |  | filtered 17 hours later
|  | 10 | P | 4
|  | 25 | P | 3
|  | 40 | P | 2
|  | 75 | XN New07 | 5
|  | 100 | XN#12 | 5
|  | 150 | XN#10 | 6 | 32
|  | 200 | GF#12 | 6 | 33
| P 19 | 10 | XN New07 | 1
|  | 25 | XN#10 | 2
| P 20 | 5 | P | 4 |  |  | high winds
|  | 10 | P | 3
|  | 25 | P | 2
|  | 40 | P | 1
|  | 75 | XN New07 | 5
|  | 100 | XN#12 | 5
|  | 150 | GF#10
|  | 200 | XN#10
| P 22 | 10 | XN New07 | 1 | 44
|  | 25 | XN#12 | 2 | 45
rough seas
| P 24 | 10 | XN New07 | 1 | 46
|  | 25 | XN#10 | 2 | 47
| P 25 | 10 | XN New07 | 1 | 48
|  | 25 | XN#12 | 2 | 49
| P 26 | 5 | P | 8 |  |  | 5m ~13 hrs after 10-40m
|  | 10 | P | 7
|  | 25 | P | 6
|  | 40 | P | 5
|  | 75 | XN New07 | 1 | 54 |  | no sal
|  | 100 | XN#12 | 1
|  | 150 | GF#12 | 2
|  | 200 | XN New07 | 3 | 57
|  | 300 | XN#10 | 3 | 58
|  | 400 | XN#12 | 4 |  |  | counter problems, check depth
|  | 600 | XN New07 | 4 |  |  | "
|  | 800 or 770 | XN#10 | 4 |  |  | ", possibly 862m
| P Eddy | 10 | P | 7
|  | 25 | P | 6
|  | 40 | P | 5
|  | 75 | XN#12 | 1
|  | 100 | XN New07 | 1
|  | 150 | XN#10 | 2
|  | 200 | GF#12 | 2
|  | 300 | XN#12 | 3 |  |  | possibly 329m
|  | 400 | XN New07 | 3 |  |  | " likely off - 428m?
|  | 600 | ? | 4 |  |  | possibly 573m
|  | 800 |  | 4 |  |  | no messenger, no smp
windy - 50 knots
| Eddy 2 | 10 | XN#12 | 5 |  |  | too rolly for pump
|  | 25 | XN New07 | 6 |  |  | "
|  | 40 | XN#10 | 7 |  |  | "
|  | 75 | XN New07 | 1
|  | 100 | XN#12 | 1
|  | 150 | GF#12 | 2
|  | 200 | XN#10 | 2
|  | 300 | XN#12 | 3 |  |  | 15-20 wire angle
|  | 400 | XN New07 | 3
|  | 600 | GF#12 | 4 |  |  | ~35 wire angle, gusting 35 knots
|  | 800 | XN#10 | 4