File List for SeaBird Data          Cruise Number: _2008-26____

[osapcommon\cruise_data\2008-26\ARCHIVE]

[osapcommon\cruise_data\2008-26\ARCHIVE\Bottle] *.CHE

[osapcommon\cruise_data\2008-26\ARCHIVE\CTD] *.CTD

[osapcommon\cruise_data\2008-26\ARCHIVE\DOC] all documents from RAW and PROCESSING

[osapcommon\cruise_data\2008-26\ARCHIVE\DOC\HYDRO] COMPARE files and edited versions of    spreadsheets from analysts

[osapcommon\cruise_data\2008-26\ARCHIVE\DOC\TSG] all TSG documents

[osapcommon\cruise_data\2008-26\ARCHIVE\LOOP] loop file

[osapcommon\cruise_data\2008-26\ARCHIVE\TSG] *.TOB

[osapcommon\cruise_data\2008-26\PROCESSING]

[osapcommon\cruise_data\2008-26\PROCESSING\Angelica] files for use of A. Peña

[osapcommon\cruise_data\2008-26\PROCESSING\CONVERT]	*.CNV – after conversion

[osapcommon\cruise_data\2008-26\PROCESSING\DERIVE]*.CNV – after convert/wildedit/celltm/derive

[osapcommon\cruise_data\2008-26\PROCESSING\DOC]

2008-26-recal1.ccf – calibration control file for recalibration of DO

2008-26-recal2.ccf – calibration control file for 2nd recalibration of DO

2008-26-ctd*.con – configuration files used in processing

2008-26-DO-duplicates.xls – study of duplicates/precision of DO samples

2008-26-SAL-duplicates.xls – study of duplicates/precision of Salinity samples

2008-26-bottle salinity-port-auto-dups.xls – comparison of 2 salinometers

2008-26_file.doc - this document

2008-26_proc.doc - processing notes

2008-26-che-final.rpt – CTD file header check including channel summary

2008-26-ctd-final.rpt – CHE file header check including channel summary

2008-26-altimeter.csv – report on header entries for altimetry before corrections

*hdr.txt – header files with comments for CTD and CHE files

[osapcommon\cruise_data\2008-26\PROCESSING\DOC\hydro]

2008-26-bottle-salinity-combo.csv – s/s with Autosal where available/Portasal elsewhere

2008-26chl.csv – extracted chlorophyll data simplified from analyst’s s/s

2008-26-DMS.csv – edited version of DMS spreadsheet

2008-26nuts.csv – nutrients simplified from analyst’s s/s

2008-26-chl-fluor-comp.csv & .xls – comparison of extracted CHL and CTD Fluorescence

2008-26-dox-comp1.csv & .xls – initial comparison of titrated DO and CTD DO

2008-26-dox-comp2.csv & .xls – comparison of titrated DO and CTD DO after 1st recal

2008-26-dox-comp3.csv & .xls – comparison of titrated DO and downcast CTD DO

2008-26-dox-comp4.csv & .xls – comparison of titrated DO and CTD DO after final recal

2008-26-sal-comp1.csv & xls –salinity COMPARE file combining Autosal data and Portasal data 	2008-26-sal-comp1-samp.csv & xls – comparison with sample # as reference channel

2008-26-sal-comp2.csv & xls – salinity COMPARE after recalibrating Autosal data

2008-26-Niskin-Autosal.csv & xls – salinity COMPARE based on Niskin Bottle #

2008-26-auto-port-comp-sal.xls – comparison of Autosal and Portasal analyses

addsamp.csv – spreadsheet relating bottle numbers to sample numbers

[osapcommon\cruise_data\2008-26\PROCESSING\DOC\hydro\Autosal]

2008-26-bottle-salinity-Autosal.csv – simplified data from analyst with just Autosal data

2008-26-sal-comp1-Autosal.csv & xls – COMPARE file for Autosal salinity data

2008-26-sal-comp2-Autosal.csv & xls –COMPARE file using Autosal data vs recalibrated CTD

[osapcommon\cruise_data\2008-26\PROCESSING\DOC\hydro\Portasal]

2008-26-bottle salinity-Portasal.csv – simplified data from analyst with just Portasal data

2008-26-sal-Port-comp1.csv & xls – salinity COMPARE file using only Portasal data

2008-26-sal-Port-comp1-samp.xls – as above but with sample # as ref channel

[osapcommon\cruise_data\2008-26\PROCESSING\DOC\tsg]

2008-26-tsg-recal*.ccf – recalibration files for TSG

2008-26-TSG.con – corrected configuration file for conversion of HEX files.

2008-26-ctd-TSG-comp.xls – comparison of TSG with CTD salinity at 4m

2008-26-loop-TSG-comp.xls – comparison of TSG SAL/FL and loop SAL/CHL

[osapcommon\cruise_data\2008-26\PROCESSING\HYDRO]

*.add – bottle from analyst, converted, edited, with flags

*.bot  - *.ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl – extracted chlorophyll data converted from simplified version of spreadsheet

*.dms – DMS files converted from simplified version of analyst’s spreadsheet

*.ed1 – editing output for 2 files

*.log – log files for the editing of 2 files

*.mrg – after addition of oxygen and salinity bottle data to BOT files

*.nut – nutrient files converted from simplified version of analyst’s spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from simplified version of analyst’s spreadsheet

*.sam – bottle files with sample numbers added

[osapcommon\cruise_data\2008-26\PROCESSING\HYDRO\Autosal] files for comparison of AUTO sal only

[osapcommon\cruise_data\2008-26\PROCESSING\HYDRO\Portasal] files for comparison of PORT sal only

[osapcommon\cruise_data\2008-26\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del – after DELETE

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT.

Delete.log - log from routine DELETE

[osapcommon\cruise_data\2008-26\PROCESSING\LOOP] loop/surface files

[osapcommon\cruise_data\2008-26\PROCESSING\TSG] before conversion to IOS SHELL

*.cnv – TSG files after SeaBird conversion (no positions)

*.csv – spreadsheet versions of TSG files with positions

[osapcommon\cruise_data\2008-26\PROCESSING\TSG\IOS] after conversion to IOS SHELL

*.atc – after adding positions and times to headers and time/date channel

*.ed1– after editing using CTDEDIT

*.ios – after conversion to IOS HEADERS

*.log – log files from editing

*.tob – final TSG files______________________________________________________________________________

[osapcommon\cruise_data\2008-26\RAW]

[osapcommon\cruise_data\2008-26\RAW\Chemistry] data from analysts

[osapcommon\cruise_data\2008-26\RAW\CTD] raw CTD data

[osapcommon\cruise_data\2008-26\RAW\Documents]

[osapcommon\cruise_data\2008-26\RAW\Navigation] data from analyst

[osapcommon\cruise_data\2008-26\RAW\SCS]

[osapcommon\cruise_data\2008-26\RAW\TSG] TSG raw files