## File List
Number of Files= |  | 39
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 |  |  | 11 | 10 | &
2 | 2008-26-0002.mrgcln2 | 2008-26-0002.sam | 12 | 12 | 2008-26-0002.mrgcln2 & 2008-26-0002.sam
3 | 2008-26-0003.mrgcln2 | 2008-26-0003.sam | 14 | 20 | 2008-26-0003.mrgcln2 & 2008-26-0003.sam
4 | 2008-26-0006.mrgcln2 | 2008-26-0006.sam | 22 | 22 | 2008-26-0006.mrgcln2 & 2008-26-0006.sam
5 | 2008-26-0007.mrgcln2 | 2008-26-0007.sam | 24 | 33 | 2008-26-0007.mrgcln2 & 2008-26-0007.sam
6 | 2008-26-0015.mrgcln2 | 2008-26-0015.sam | 35 | 35 | 2008-26-0015.mrgcln2 & 2008-26-0015.sam
7 | 2008-26-0016.mrgcln2 | 2008-26-0016.sam | 37 | 37 | 2008-26-0016.mrgcln2 & 2008-26-0016.sam
8 | 2008-26-0017.mrgcln2 | 2008-26-0017.sam | 39 | 39 | 2008-26-0017.mrgcln2 & 2008-26-0017.sam
9 | 2008-26-0018.mrgcln2 | 2008-26-0018.sam | 41 | 46 | 2008-26-0018.mrgcln2 & 2008-26-0018.sam
10 | 2008-26-0020.mrgcln2 | 2008-26-0020.sam | 48 | 48 | 2008-26-0020.mrgcln2 & 2008-26-0020.sam
11 | 2008-26-0021.mrgcln2 | 2008-26-0021.sam | 50 | 50 | 2008-26-0021.mrgcln2 & 2008-26-0021.sam
12 | 2008-26-0022.mrgcln2 | 2008-26-0022.sam | 52 | 52 | 2008-26-0022.mrgcln2 & 2008-26-0022.sam
13 | 2008-26-0028.mrgcln2 | 2008-26-0028.sam | 54 | 64 | 2008-26-0028.mrgcln2 & 2008-26-0028.sam
14 | 2008-26-0031.mrgcln2 | 2008-26-0031.sam | 66 | 66 | 2008-26-0031.mrgcln2 & 2008-26-0031.sam
15 | 2008-26-0032.mrgcln2 | 2008-26-0032.sam | 68 | 69 | 2008-26-0032.mrgcln2 & 2008-26-0032.sam
16 | 2008-26-0033.mrgcln2 | 2008-26-0033.sam | 71 | 71 | 2008-26-0033.mrgcln2 & 2008-26-0033.sam
17 | 2008-26-0037.mrgcln2 | 2008-26-0037.sam | 73 | 83 | 2008-26-0037.mrgcln2 & 2008-26-0037.sam
18 | 2008-26-0042.mrgcln2 | 2008-26-0042.sam | 85 | 85 | 2008-26-0042.mrgcln2 & 2008-26-0042.sam
19 | 2008-26-0043.mrgcln2 | 2008-26-0043.sam | 87 | 88 | 2008-26-0043.mrgcln2 & 2008-26-0043.sam
20 | 2008-26-0044.mrgcln2 | 2008-26-0044.sam | 90 | 90 | 2008-26-0044.mrgcln2 & 2008-26-0044.sam
21 | 2008-26-0045.mrgcln2 | 2008-26-0045.sam | 92 | 102 | 2008-26-0045.mrgcln2 & 2008-26-0045.sam
22 | 2008-26-0053.mrgcln2 | 2008-26-0053.sam | 104 | 104 | 2008-26-0053.mrgcln2 & 2008-26-0053.sam
23 | 2008-26-0054.mrgcln2 | 2008-26-0054.sam | 106 | 107 | 2008-26-0054.mrgcln2 & 2008-26-0054.sam
24 | 2008-26-0055.mrgcln2 | 2008-26-0055.sam | 109 | 109 | 2008-26-0055.mrgcln2 & 2008-26-0055.sam
25 | 2008-26-0056.mrgcln2 | 2008-26-0056.sam | 111 | 112 | 2008-26-0056.mrgcln2 & 2008-26-0056.sam
26 | 2008-26-0057.mrgcln2 | 2008-26-0057.sam | 114 | 114 | 2008-26-0057.mrgcln2 & 2008-26-0057.sam
27 | 2008-26-0058.mrgcln2 | 2008-26-0058.sam | 116 | 116 | 2008-26-0058.mrgcln2 & 2008-26-0058.sam
28 | 2008-26-0062.mrgcln2 | 2008-26-0062.sam | 118 | 128 | 2008-26-0062.mrgcln2 & 2008-26-0062.sam
29 | 2008-26-0084.mrgcln2 | 2008-26-0084.sam | 130 | 130 | 2008-26-0084.mrgcln2 & 2008-26-0084.sam
30 | 2008-26-0085.mrgcln2 | 2008-26-0085.sam | 132 | 132 | 2008-26-0085.mrgcln2 & 2008-26-0085.sam
31 | 2008-26-0086.mrgcln2 | 2008-26-0086.sam | 134 | 139 | 2008-26-0086.mrgcln2 & 2008-26-0086.sam
32 | 2008-26-0087.mrgcln2 | 2008-26-0087.sam | 141 | 146 | 2008-26-0087.mrgcln2 & 2008-26-0087.sam
33 | 2008-26-0088.mrgcln2 | 2008-26-0088.sam | 148 | 153 | 2008-26-0088.mrgcln2 & 2008-26-0088.sam
34 | 2008-26-0089.mrgcln2 | 2008-26-0089.sam | 155 | 161 | 2008-26-0089.mrgcln2 & 2008-26-0089.sam
35 | 2008-26-0092.mrgcln2 | 2008-26-0092.sam | 163 | 166 | 2008-26-0092.mrgcln2 & 2008-26-0092.sam
36 | 2008-26-0093.mrgcln2 | 2008-26-0093.sam | 168 | 171 | 2008-26-0093.mrgcln2 & 2008-26-0093.sam
37 | 2008-26-0096.mrgcln2 | 2008-26-0096.sam | 173 | 179 | 2008-26-0096.mrgcln2 & 2008-26-0096.sam
38 | 2008-26-0097.mrgcln2 | 2008-26-0097.sam | 181 | 181 | 2008-26-0097.mrgcln2 & 2008-26-0097.sam
39 | 2008-26-0100.mrgcln2 | 2008-26-0100.sam | 183 | 183 | 2008-26-0100.mrgcln2 & 2008-26-0100.sam

## (FL_CTD - CHL)
Calculation of Linear Least Squares Fit For
(FL_CTD - CHL)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (FL_CTD - CHL), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.053796 |  | X | CALC Y
m= | 0.011859 | 0.0043127 |  | Std Dev of Resid |  | 1.5355 |  | 1.9776 | -0.6447
b= | -0.66816 | 0.1864 |  | Resid Sum of Squares |  | 313.5819 |  | 100.551 | 0.5243
# of Values Extracted = |  |  | 135
# of Values Used in Fit = |  |  | 135
File | Use | Pressure | FL_CTD | FL_CTD | Diff (FL_CTD - CHL) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
2 | YES | 5.0768 | 4.7158 | 0.27448 | -4.0442 | -0.60795 | 3.4362 |  | 5.0768 | -4.0442
3 | YES | 99.28 | 0.096835 | 0.0052889 | 0.016835 | 0.50923 | 0.49239 |  | 99.28 | 0.016835
3 | YES | 75.2118 | 0.098834 | 0.0052666 | 0.038834 | 0.2238 | 0.18496 |  | 75.2118 | 0.038834
3 | YES | 75.2367 | 0.098815 | 0.0052706 | 0.058815 | 0.22409 | 0.16528 |  | 75.2367 | 0.058815
3 | YES | 50.2689 | 0.16004 | 0.0072553 | 0.020041 | -0.072007 | -0.092048 |  | 50.2689 | 0.020041
3 | YES | 25.1548 | 1.9872 | 0.030763 | 0.6972 | -0.36984 | -1.067 |  | 25.1548 | 0.6972
3 | YES | 9.9042 | 2.7491 | 0.20006 | -0.87088 | -0.5507 | 0.32018 |  | 9.9042 | -0.87088
3 | YES | 4.7896 | 3.5041 | 0.089942 | -0.9559 | -0.61135 | 0.34455 |  | 4.7896 | -0.9559
4 | YES | 5.0412 | 2.089 | 0.036919 | -0.030975 | -0.60837 | -0.5774 |  | 5.0412 | -0.030975
5 | YES | 99.7846 | 0.11146 | 0.0061995 | 0.061463 | 0.51521 | 0.45375 |  | 99.7846 | 0.061463
5 | YES | 75.59 | 0.21094 | 0.011084 | 0.090942 | 0.22828 | 0.13734 |  | 75.59 | 0.090942
5 | YES | 49.6804 | 0.41717 | 0.0089799 | 0.18716 | -0.078986 | -0.26615 |  | 49.6804 | 0.18716
5 | YES | 39.7207 | 0.60136 | 0.015001 | 0.26136 | -0.1971 | -0.45846 |  | 39.7207 | 0.26136
5 | YES | 25.1727 | 2.1895 | 0.11836 | 0.42952 | -0.36963 | -0.79915 |  | 25.1727 | 0.42952
5 | YES | 20.0638 | 1.659 | 0.067097 | 0.068983 | -0.43021 | -0.4992 |  | 20.0638 | 0.068983
5 | YES | 15.0032 | 3.0517 | 0.13652 | 0.78167 | -0.49023 | -1.2719 |  | 15.0032 | 0.78167
5 | YES | 10.4112 | 3.1608 | 0.1044 | 0.89076 | -0.54469 | -1.4354 |  | 10.4112 | 0.89076
5 | YES | 5.172 | 1.4878 | 0.034273 | -0.052208 | -0.60682 | -0.55461 |  | 5.172 | -0.052208
5 | YES | 2.7912 | 1.3224 | 0.023085 | -0.30762 | -0.63505 | -0.32743 |  | 2.7912 | -0.30762
6 | YES | 7.9495 | 0.7811 | 0.010159 | 0.1611 | -0.57388 | -0.73498 |  | 7.9495 | 0.1611
7 | YES | 4.8738 | 0.65594 | 0.012025 | 0.26594 | -0.61036 | -0.8763 |  | 4.8738 | 0.26594
8 | YES | 5.0465 | 0.66134 | 0.019874 | 0.20134 | -0.60831 | -0.80965 |  | 5.0465 | 0.20134
9 | YES | 99.8804 | 0.12025 | 0.0065611 | 0.080247 | 0.51635 | 0.4361 |  | 99.8804 | 0.080247
9 | YES | 74.1722 | 0.34354 | 0.0087364 | 0.15354 | 0.21147 | 0.057923 |  | 74.1722 | 0.15354
9 | YES | 50.3582 | 1.1603 | 0.021699 | 0.77033 | -0.070948 | -0.84128 |  | 50.3582 | 0.77033
9 | YES | 24.8566 | 2.1485 | 0.018585 | 1.4785 | -0.37338 | -1.8518 |  | 24.8566 | 1.4785
9 | YES | 9.6388 | 1.1916 | 0.02275 | 0.77163 | -0.55385 | -1.3255 |  | 9.6388 | 0.77163
9 | YES | 6.7834 | 0.88218 | 0.0081211 | 0.47218 | -0.58771 | -1.0599 |  | 6.7834 | 0.47218
10 | YES | 3.6085 | 1.2271 | 0.014247 | 0.83712 | -0.62536 | -1.4625 |  | 3.6085 | 0.83712
11 | YES | 6.0963 | 0.76184 | 0.020284 | 0.47184 | -0.59586 | -1.0677 |  | 6.0963 | 0.47184
12 | YES | 5.7767 | 0.74517 | 0.020141 | 0.49517 | -0.59965 | -1.0948 |  | 5.7767 | 0.49517
13 | YES | 99.8941 | 0.29921 | 0.01583 | 0.12921 | 0.51651 | 0.3873 |  | 99.8941 | 0.12921
13 | YES | 74.4139 | 0.69394 | 0.02149 | 0.42394 | 0.21433 | -0.2096 |  | 74.4139 | 0.42394
13 | YES | 51.3627 | 1.7133 | 0.0193 | 1.2233 | -0.059035 | -1.2823 |  | 51.3627 | 1.2233
13 | YES | 39.8756 | 1.4357 | 0.016448 | 0.97574 | -0.19526 | -1.171 |  | 39.8756 | 0.97574
13 | YES | 30.5007 | 1.1145 | 0.013931 | 0.6745 | -0.30644 | -0.98094 |  | 30.5007 | 0.6745
13 | YES | 23.789 | 0.90982 | 0.05467 | 0.50982 | -0.38604 | -0.89585 |  | 23.789 | 0.50982
13 | YES | 20.0651 | 0.82367 | 0.0094805 | 0.45367 | -0.4302 | -0.88387 |  | 20.0651 | 0.45367
13 | YES | 15.6158 | 0.60002 | 0.0076648 | 0.19002 | -0.48296 | -0.67298 |  | 15.6158 | 0.19002
13 | YES | 10.373 | 0.40557 | 0.011181 | 0.015574 | -0.54514 | -0.56071 |  | 10.373 | 0.015574
13 | YES | 5.0915 | 0.29534 | 0.0058351 | -0.14466 | -0.60777 | -0.46312 |  | 5.0915 | -0.14466
13 | YES | 2.6092 | 0.26515 | 0.004834 | -0.15485 | -0.63721 | -0.48236 |  | 2.6092 | -0.15485
14 | YES | 5.7621 | 0.47019 | 0.014952 | 0.30018 | -0.59982 | -0.90001 |  | 5.7621 | 0.30018
15 | YES | 11.5851 | 0.49492 | 0.045052 | 0.30492 | -0.53077 | -0.83569 |  | 11.5851 | 0.30492
15 | YES | 4.2086 | 0.50038 | 0.056377 | 0.30038 | -0.61824 | -0.91862 |  | 4.2086 | 0.30038
16 | YES | 5.1231 | 0.44212 | 0.047878 | 0.22212 | -0.6074 | -0.82952 |  | 5.1231 | 0.22212
17 | YES | 99.9749 | 0.18214 | 0.0083598 | 0.092139 | 0.51747 | 0.42533 |  | 99.9749 | 0.092139
17 | YES | 75.1439 | 0.44557 | 0.078799 | 0.37557 | 0.22299 | -0.15258 |  | 75.1439 | 0.37557
17 | YES | 50.2811 | 1.233 | 0.31123 | 0.79298 | -0.071862 | -0.86484 |  | 50.2811 | 0.79298
17 | YES | 39.9456 | 1.2513 | 0.23486 | 0.83131 | -0.19443 | -1.0257 |  | 39.9456 | 0.83131
17 | YES | 29.8495 | 0.96293 | 0.040625 | 0.56293 | -0.31416 | -0.87709 |  | 29.8495 | 0.56293
17 | YES | 24.5973 | 0.99593 | 0.27497 | 0.58593 | -0.37645 | -0.96238 |  | 24.5973 | 0.58593
17 | YES | 20.4603 | 0.67967 | 0.036793 | 0.38967 | -0.42551 | -0.81518 |  | 20.4603 | 0.38967
17 | YES | 16.001 | 0.41475 | 0.018073 | 0.20475 | -0.4784 | -0.68315 |  | 16.001 | 0.20475
17 | YES | 10.2783 | 0.34683 | 0.047437 | 0.10683 | -0.54626 | -0.65309 |  | 10.2783 | 0.10683
17 | YES | 4.8572 | 0.37252 | 0.047125 | 0.052516 | -0.61055 | -0.66307 |  | 4.8572 | 0.052516
17 | YES | 1.9776 | 0.36193 | 0.021194 | 0.011934 | -0.6447 | -0.65664 |  | 1.9776 | 0.011934
18 | YES | 4.1535 | 0.74661 | 0.16282 | 0.36661 | -0.6189 | -0.98551 |  | 4.1535 | 0.36661
19 | YES | 10.2126 | 0.80717 | 0.049053 | 0.35718 | -0.54704 | -0.90422 |  | 10.2126 | 0.35718
19 | YES | 4.8712 | 0.78883 | 0.040518 | 0.34883 | -0.61039 | -0.95921 |  | 4.8712 | 0.34883
20 | YES | 5.8148 | 0.33849 | 0.018461 | -0.10151 | -0.5992 | -0.49768 |  | 5.8148 | -0.10151
21 | YES | 100.437 | 0.19134 | 0.0048987 | 0.091342 | 0.52295 | 0.4316 |  | 100.437 | 0.091342
21 | YES | 73.9046 | 0.69522 | 0.02438 | 0.30522 | 0.20829 | -0.096924 |  | 73.9046 | 0.30522
21 | YES | 48.8261 | 1.0235 | 0.057638 | 0.51349 | -0.089117 | -0.6026 |  | 48.8261 | 0.51349
21 | YES | 40.0054 | 0.93439 | 0.016563 | 0.50438 | -0.19372 | -0.69811 |  | 40.0054 | 0.50438
21 | YES | 30.1867 | 0.84891 | 0.040199 | 0.39891 | -0.31017 | -0.70907 |  | 30.1867 | 0.39891
21 | YES | 24.6133 | 0.73405 | 0.033914 | 0.27405 | -0.37626 | -0.65031 |  | 24.6133 | 0.27405
21 | YES | 19.4131 | 0.68032 | 0.054703 | 0.21032 | -0.43793 | -0.64825 |  | 19.4131 | 0.21032
21 | YES | 15.5976 | 0.49128 | 0.020813 | 0.001275 | -0.48318 | -0.48446 |  | 15.5976 | 0.001275
21 | YES | 10.0353 | 0.28507 | 0.013817 | -0.20493 | -0.54914 | -0.34421 |  | 10.0353 | -0.20493
21 | YES | 6.6671 | 0.29508 | 0.015319 | -0.17492 | -0.58909 | -0.41417 |  | 6.6671 | -0.17492
21 | YES | 2.924 | 0.27965 | 0.012842 | -0.21035 | -0.63348 | -0.42313 |  | 2.924 | -0.21035
22 | YES | 4.4105 | 1.1018 | 0.045298 | 0.48178 | -0.61585 | -1.0976 |  | 4.4105 | 0.48178
23 | YES | 10.6394 | 0.36079 | 0.037602 | 0.020792 | -0.54198 | -0.56277 |  | 10.6394 | 0.020792
23 | YES | 5.4484 | 0.25547 | 0.014381 | -0.10453 | -0.60354 | -0.49901 |  | 5.4484 | -0.10453
24 | YES | 5.2799 | 0.31583 | 0.023137 | -0.084172 | -0.60554 | -0.52137 |  | 5.2799 | -0.084172
25 | YES | 9.3433 | 0.46427 | 0.051674 | -0.055734 | -0.55735 | -0.50162 |  | 9.3433 | -0.055734
25 | YES | 4.888 | 0.42467 | 0.035374 | -0.045331 | -0.61019 | -0.56486 |  | 4.888 | -0.045331
26 | YES | 4.9831 | 0.53437 | 0.041663 | 0.19437 | -0.60906 | -0.80343 |  | 4.9831 | 0.19437
27 | YES | 5.5976 | 0.5596 | 0.048976 | 0.1296 | -0.60177 | -0.73137 |  | 5.5976 | 0.1296
28 | YES | 99.5918 | 0.20792 | 0.039276 | 0.087917 | 0.51292 | 0.42501 |  | 99.5918 | 0.087917
28 | YES | 75.416 | 0.37435 | 0.026611 | 0.16435 | 0.22622 | 0.06187 |  | 75.416 | 0.16435
28 | YES | 50.1229 | 0.94069 | 0.05445 | 0.43069 | -0.073738 | -0.50443 |  | 50.1229 | 0.43069
28 | YES | 39.8541 | 1.6371 | 0.097302 | 0.87707 | -0.19552 | -1.0726 |  | 39.8541 | 0.87707
28 | YES | 29.4824 | 1.4513 | 0.064451 | 0.7413 | -0.31852 | -1.0598 |  | 29.4824 | 0.7413
28 | YES | 24.6117 | 1.064 | 0.051096 | 0.39405 | -0.37628 | -0.77033 |  | 24.6117 | 0.39405
28 | YES | 19.797 | 0.68468 | 0.027157 | -0.015322 | -0.43338 | -0.41806 |  | 19.797 | -0.015322
28 | YES | 14.6986 | 0.45362 | 0.049744 | -0.19638 | -0.49384 | -0.29746 |  | 14.6986 | -0.19638
28 | YES | 10.2682 | 0.35089 | 0.019491 | -0.28911 | -0.54638 | -0.25728 |  | 10.2682 | -0.28911
28 | YES | 4.6377 | 0.26454 | 0.013515 | -0.33546 | -0.61316 | -0.2777 |  | 4.6377 | -0.33546
28 | YES | 2.5521 | 0.23407 | 0.011398 | -0.43593 | -0.63789 | -0.20196 |  | 2.5521 | -0.43593
29 | YES | 5.7864 | 6.2556 | 0.24007 | -4.4444 | -0.59953 | 3.8449 |  | 5.7864 | -4.4444
30 | YES | 5.346 | 5.3808 | 0.21355 | -4.0392 | -0.60476 | 3.4344 |  | 5.346 | -4.0392
31 | YES | 99.764 | 0.20577 | 0.015746 | -0.14423 | 0.51497 | 0.6592 |  | 99.764 | -0.14423
31 | YES | 75.5699 | 0.16722 | 0.0073362 | -0.032785 | 0.22804 | 0.26083 |  | 75.5699 | -0.032785
31 | YES | 49.7649 | 0.35967 | 0.024626 | -0.30033 | -0.077984 | 0.22235 |  | 49.7649 | -0.30033
31 | YES | 24.4776 | 0.62612 | 0.036701 | -0.67388 | -0.37787 | 0.29601 |  | 24.4776 | -0.67388
31 | YES | 10.344 | 6.0153 | 0.24416 | -6.4647 | -0.54548 | 5.9192 |  | 10.344 | -6.4647
31 | YES | 4.7849 | 8.3608 | 0.25073 | -9.2892 | -0.61141 | 8.6778 |  | 4.7849 | -9.2892
32 | YES | 100.001 | 0.1635 | 0.0048753 | -0.076496 | 0.51778 | 0.59427 |  | 100.001 | -0.076496
32 | YES | 75.0949 | 0.16816 | 0.0074666 | -0.20184 | 0.22241 | 0.42425 |  | 75.0949 | -0.20184
32 | YES | 50.2187 | 0.43407 | 0.01743 | -0.59593 | -0.072602 | 0.52332 |  | 50.2187 | -0.59593
32 | YES | 25.0918 | 0.52627 | 0.029018 | -0.57373 | -0.37059 | 0.20314 |  | 25.0918 | -0.57373
32 | YES | 9.97 | 3.1723 | 0.32715 | -2.6877 | -0.54992 | 2.1378 |  | 9.97 | -2.6877
32 | YES | 4.6334 | 7.7688 | 0.32409 | -3.8812 | -0.61321 | 3.268 |  | 4.6334 | -3.8812
33 | YES | 100.343 | 0.14454 | 0.0057112 | -0.025463 | 0.52183 | 0.54729 |  | 100.343 | -0.025463
33 | YES | 75.5648 | 0.13552 | 0.0058482 | -0.074479 | 0.22798 | 0.30246 |  | 75.5648 | -0.074479
33 | YES | 50.3218 | 0.38962 | 0.025303 | -0.31038 | -0.071379 | 0.239 |  | 50.3218 | -0.31038
33 | YES | 24.6139 | 0.4137 | 0.014724 | -0.2763 | -0.37625 | -0.099956 |  | 24.6139 | -0.2763
33 | YES | 10.128 | 2.2819 | 0.090691 | -1.8581 | -0.54805 | 1.3101 |  | 10.128 | -1.8581
33 | YES | 5.0585 | 4.239 | 0.14196 | -4.881 | -0.60817 | 4.2729 |  | 5.0585 | -4.881
34 | YES | 100.551 | 0.086388 | 0.0036796 | 0.046388 | 0.5243 | 0.47791 |  | 100.551 | 0.046388
34 | YES | 74.5441 | 0.095496 | 0.004021 | 0.025496 | 0.21588 | 0.19038 |  | 74.5441 | 0.025496
34 | YES | 49.7717 | 0.12048 | 0.0073667 | -0.019521 | -0.077903 | -0.058382 |  | 49.7717 | -0.019521
34 | YES | 30.0129 | 0.15407 | 0.0073418 | -0.045926 | -0.31223 | -0.2663 |  | 30.0129 | -0.045926
34 | YES | 20.0371 | 0.20952 | 0.0088752 | -0.11048 | -0.43053 | -0.32005 |  | 20.0371 | -0.11048
34 | YES | 9.9897 | 0.46544 | 0.03411 | -0.85456 | -0.54969 | 0.30488 |  | 9.9897 | -0.85456
34 | YES | 5.2773 | 6.8966 | 0.35062 | -5.7034 | -0.60557 | 5.0979 |  | 5.2773 | -5.7034
35 | YES | 30.0644 | 0.12129 | 0.0058044 | -0.10871 | -0.31162 | -0.2029 |  | 30.0644 | -0.10871
35 | YES | 20.012 | 0.17117 | 0.0057913 | -0.038835 | -0.43083 | -0.39199 |  | 20.012 | -0.038835
35 | YES | 10.014 | 0.86929 | 0.049412 | -0.55071 | -0.5494 | 0.0013137 |  | 10.014 | -0.55071
35 | YES | 5.2307 | 11.2097 | 0.30619 | 0.95972 | -0.60612 | -1.5658 |  | 5.2307 | 0.95972
36 | YES | 30.2737 | 0.10664 | 0.0060677 | 0.016636 | -0.30913 | -0.32577 |  | 30.2737 | 0.016636
36 | YES | 20.1433 | 0.17041 | 0.0055673 | 0.00041322 | -0.42927 | -0.42969 |  | 20.1433 | 0.00041322
36 | YES | 10.2576 | 0.73492 | 0.022791 | -0.49508 | -0.54651 | -0.051425 |  | 10.2576 | -0.49508
36 | YES | 4.9316 | 5.1719 | 0.19343 | -5.6781 | -0.60967 | 5.0684 |  | 4.9316 | -5.6781
37 | YES | 100.005 | 0.092454 | 0.0030714 | -0.0075455 | 0.51782 | 0.52537 |  | 100.005 | -0.0075455
37 | YES | 75.1566 | 0.093174 | 0.0031981 | 0.043174 | 0.22314 | 0.17997 |  | 75.1566 | 0.043174
37 | YES | 50.0462 | 0.088298 | 0.0038289 | 0.048298 | -0.074648 | -0.12295 |  | 50.0462 | 0.048298
37 | YES | 30.0523 | 0.098248 | 0.0045612 | 0.028248 | -0.31176 | -0.34001 |  | 30.0523 | 0.028248
37 | YES | 20.5341 | 0.15738 | 0.0064217 | -0.01262 | -0.42464 | -0.41202 |  | 20.5341 | -0.01262
37 | YES | 10.3503 | 0.58886 | 0.017936 | -0.05114 | -0.54541 | -0.49427 |  | 10.3503 | -0.05114
37 | YES | 5.3754 | 4.8634 | 0.15848 | -5.0066 | -0.60441 | 4.4022 |  | 5.3754 | -5.0066
38 | YES | 5.1969 | 2.2295 | 0.20302 | -1.1005 | -0.60652 | 0.49398 |  | 5.1969 | -1.1005
39 | YES | 5.0096 | 1.6957 | 0.014677 | 0.47574 | -0.60875 | -1.0845 |  | 5.0096 | 0.47574
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. FL_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (FL_CTD - CHL) (2)
Calculation of Linear Least Squares Fit For
(FL_CTD - CHL)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (FL_CTD - CHL), Prop=FL_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.72711 |  | X | CALC Y
m= | 0.64419 | 0.038886 |  | Std Dev of Resid |  | 0.16801 |  | 0.086388 | -0.11306
b= | -0.16871 | 0.026741 |  | Resid Sum of Squares |  | 2.9073 |  | 1.9872 | 1.1114
# of Values Extracted = |  |  | 135
# of Values Used in Fit = |  |  | 105
File | Use | Pressure | FL_CTD | FL_CTD | Diff (FL_CTD - CHL) |  |  |  | Fit vs. | FL_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
2 | NO | 5.0768 | 4.7158 | 0.27448 | -4.0442 | 2.8692 | 6.9133 |  | 0.096835 | 0.016835
3 | YES | 99.28 | 0.096835 | 0.0052889 | 0.016835 | -0.10633 | -0.12316 |  | 0.098834 | 0.038834
3 | YES | 75.2118 | 0.098834 | 0.0052666 | 0.038834 | -0.10504 | -0.14387 |  | 0.098815 | 0.058815
3 | YES | 75.2367 | 0.098815 | 0.0052706 | 0.058815 | -0.10505 | -0.16387 |  | 0.16004 | 0.020041
3 | YES | 50.2689 | 0.16004 | 0.0072553 | 0.020041 | -0.06561 | -0.085652 |  | 1.9872 | 0.6972
3 | YES | 25.1548 | 1.9872 | 0.030763 | 0.6972 | 1.1114 | 0.41422 |  | 0.11146 | 0.061463
3 | NO | 9.9042 | 2.7491 | 0.20006 | -0.87088 | 1.6022 | 2.4731 |  | 0.21094 | 0.090942
3 | NO | 4.7896 | 3.5041 | 0.089942 | -0.9559 | 2.0886 | 3.0445 |  | 0.41717 | 0.18716
4 | NO | 5.0412 | 2.089 | 0.036919 | -0.030975 | 1.177 | 1.208 |  | 0.60136 | 0.26136
5 | YES | 99.7846 | 0.11146 | 0.0061995 | 0.061463 | -0.096904 | -0.15837 |  | 0.7811 | 0.1611
5 | YES | 75.59 | 0.21094 | 0.011084 | 0.090942 | -0.03282 | -0.12376 |  | 0.65594 | 0.26594
5 | YES | 49.6804 | 0.41717 | 0.0089799 | 0.18716 | 0.10003 | -0.087139 |  | 0.66134 | 0.20134
5 | YES | 39.7207 | 0.60136 | 0.015001 | 0.26136 | 0.21868 | -0.04268 |  | 0.12025 | 0.080247
5 | NO | 25.1727 | 2.1895 | 0.11836 | 0.42952 | 1.2418 | 0.81223 |  | 0.34354 | 0.15354
5 | NO | 20.0638 | 1.659 | 0.067097 | 0.068983 | 0.89999 | 0.831 |  | 1.1603 | 0.77033
5 | NO | 15.0032 | 3.0517 | 0.13652 | 0.78167 | 1.7971 | 1.0155 |  | 1.1916 | 0.77163
5 | NO | 10.4112 | 3.1608 | 0.1044 | 0.89076 | 1.8674 | 0.97665 |  | 0.88218 | 0.47218
5 | NO | 5.172 | 1.4878 | 0.034273 | -0.052208 | 0.78971 | 0.84192 |  | 1.2271 | 0.83712
5 | NO | 2.7912 | 1.3224 | 0.023085 | -0.30762 | 0.68315 | 0.99077 |  | 0.76184 | 0.47184
6 | YES | 7.9495 | 0.7811 | 0.010159 | 0.1611 | 0.33447 | 0.17337 |  | 0.74517 | 0.49517
7 | YES | 4.8738 | 0.65594 | 0.012025 | 0.26594 | 0.25384 | -0.0121 |  | 0.29921 | 0.12921
8 | YES | 5.0465 | 0.66134 | 0.019874 | 0.20134 | 0.25732 | 0.05598 |  | 0.69394 | 0.42394
9 | YES | 99.8804 | 0.12025 | 0.0065611 | 0.080247 | -0.091244 | -0.17149 |  | 1.7133 | 1.2233
9 | YES | 74.1722 | 0.34354 | 0.0087364 | 0.15354 | 0.0526 | -0.10094 |  | 1.4357 | 0.97574
9 | YES | 50.3582 | 1.1603 | 0.021699 | 0.77033 | 0.57876 | -0.19157 |  | 1.1145 | 0.6745
9 | NO | 24.8566 | 2.1485 | 0.018585 | 1.4785 | 1.2153 | -0.26316 |  | 0.90982 | 0.50982
9 | YES | 9.6388 | 1.1916 | 0.02275 | 0.77163 | 0.59892 | -0.17271 |  | 0.82367 | 0.45367
9 | YES | 6.7834 | 0.88218 | 0.0081211 | 0.47218 | 0.39958 | -0.072599 |  | 0.60002 | 0.19002
10 | YES | 3.6085 | 1.2271 | 0.014247 | 0.83712 | 0.62179 | -0.21533 |  | 0.40557 | 0.015574
11 | YES | 6.0963 | 0.76184 | 0.020284 | 0.47184 | 0.32206 | -0.14978 |  | 0.29534 | -0.14466
12 | YES | 5.7767 | 0.74517 | 0.020141 | 0.49517 | 0.31132 | -0.18385 |  | 0.26515 | -0.15485
13 | YES | 99.8941 | 0.29921 | 0.01583 | 0.12921 | 0.024038 | -0.10517 |  | 0.47019 | 0.30018
13 | YES | 74.4139 | 0.69394 | 0.02149 | 0.42394 | 0.27832 | -0.14562 |  | 0.49492 | 0.30492
13 | YES | 51.3627 | 1.7133 | 0.0193 | 1.2233 | 0.93496 | -0.28831 |  | 0.50038 | 0.30038
13 | YES | 39.8756 | 1.4357 | 0.016448 | 0.97574 | 0.75618 | -0.21956 |  | 0.44212 | 0.22212
13 | YES | 30.5007 | 1.1145 | 0.013931 | 0.6745 | 0.54924 | -0.12526 |  | 0.18214 | 0.092139
13 | YES | 23.789 | 0.90982 | 0.05467 | 0.50982 | 0.41738 | -0.092431 |  | 0.44557 | 0.37557
13 | YES | 20.0651 | 0.82367 | 0.0094805 | 0.45367 | 0.36189 | -0.09178 |  | 1.233 | 0.79298
13 | YES | 15.6158 | 0.60002 | 0.0076648 | 0.19002 | 0.21782 | 0.027799 |  | 1.2513 | 0.83131
13 | YES | 10.373 | 0.40557 | 0.011181 | 0.015574 | 0.092559 | 0.076984 |  | 0.96293 | 0.56293
13 | YES | 5.0915 | 0.29534 | 0.0058351 | -0.14466 | 0.021549 | 0.16621 |  | 0.99593 | 0.58593
13 | YES | 2.6092 | 0.26515 | 0.004834 | -0.15485 | 0.0021002 | 0.15695 |  | 0.67967 | 0.38967
14 | YES | 5.7621 | 0.47019 | 0.014952 | 0.30018 | 0.13418 | -0.166 |  | 0.41475 | 0.20475
15 | YES | 11.5851 | 0.49492 | 0.045052 | 0.30492 | 0.15011 | -0.15481 |  | 0.34683 | 0.10683
15 | YES | 4.2086 | 0.50038 | 0.056377 | 0.30038 | 0.15363 | -0.14675 |  | 0.37252 | 0.052516
16 | YES | 5.1231 | 0.44212 | 0.047878 | 0.22212 | 0.1161 | -0.10602 |  | 0.36193 | 0.011934
17 | YES | 99.9749 | 0.18214 | 0.0083598 | 0.092139 | -0.051374 | -0.14351 |  | 0.74661 | 0.36661
17 | YES | 75.1439 | 0.44557 | 0.078799 | 0.37557 | 0.11832 | -0.25725 |  | 0.80717 | 0.35718
17 | YES | 50.2811 | 1.233 | 0.31123 | 0.79298 | 0.62556 | -0.16742 |  | 0.78883 | 0.34883
17 | YES | 39.9456 | 1.2513 | 0.23486 | 0.83131 | 0.63737 | -0.19394 |  | 0.33849 | -0.10151
17 | YES | 29.8495 | 0.96293 | 0.040625 | 0.56293 | 0.4516 | -0.11133 |  | 0.19134 | 0.091342
17 | YES | 24.5973 | 0.99593 | 0.27497 | 0.58593 | 0.47286 | -0.11307 |  | 0.69522 | 0.30522
17 | YES | 20.4603 | 0.67967 | 0.036793 | 0.38967 | 0.26913 | -0.12054 |  | 1.0235 | 0.51349
17 | YES | 16.001 | 0.41475 | 0.018073 | 0.20475 | 0.09847 | -0.10628 |  | 0.93439 | 0.50438
17 | YES | 10.2783 | 0.34683 | 0.047437 | 0.10683 | 0.054714 | -0.052112 |  | 0.84891 | 0.39891
17 | YES | 4.8572 | 0.37252 | 0.047125 | 0.052516 | 0.071263 | 0.018747 |  | 0.73405 | 0.27405
17 | YES | 1.9776 | 0.36193 | 0.021194 | 0.011934 | 0.064446 | 0.052513 |  | 0.68032 | 0.21032
18 | YES | 4.1535 | 0.74661 | 0.16282 | 0.36661 | 0.31225 | -0.054361 |  | 0.49128 | 0.001275
19 | YES | 10.2126 | 0.80717 | 0.049053 | 0.35718 | 0.35126 | -0.0059104 |  | 0.28507 | -0.20493
19 | YES | 4.8712 | 0.78883 | 0.040518 | 0.34883 | 0.33944 | -0.0093816 |  | 0.29508 | -0.17492
20 | YES | 5.8148 | 0.33849 | 0.018461 | -0.10151 | 0.049342 | 0.15086 |  | 0.27965 | -0.21035
21 | YES | 100.437 | 0.19134 | 0.0048987 | 0.091342 | -0.045447 | -0.13679 |  | 1.1018 | 0.48178
21 | YES | 73.9046 | 0.69522 | 0.02438 | 0.30522 | 0.27914 | -0.026074 |  | 0.36079 | 0.020792
21 | YES | 48.8261 | 1.0235 | 0.057638 | 0.51349 | 0.49061 | -0.022874 |  | 0.25547 | -0.10453
21 | YES | 40.0054 | 0.93439 | 0.016563 | 0.50438 | 0.43321 | -0.071173 |  | 0.31583 | -0.084172
21 | YES | 30.1867 | 0.84891 | 0.040199 | 0.39891 | 0.37815 | -0.020759 |  | 0.46427 | -0.055734
21 | YES | 24.6133 | 0.73405 | 0.033914 | 0.27405 | 0.30416 | 0.030109 |  | 0.42467 | -0.045331
21 | YES | 19.4131 | 0.68032 | 0.054703 | 0.21032 | 0.26955 | 0.059227 |  | 0.53437 | 0.19437
21 | YES | 15.5976 | 0.49128 | 0.020813 | 0.001275 | 0.14777 | 0.14649 |  | 0.5596 | 0.1296
21 | YES | 10.0353 | 0.28507 | 0.013817 | -0.20493 | 0.014932 | 0.21986 |  | 0.20792 | 0.087917
21 | YES | 6.6671 | 0.29508 | 0.015319 | -0.17492 | 0.021382 | 0.1963 |  | 0.37435 | 0.16435
21 | YES | 2.924 | 0.27965 | 0.012842 | -0.21035 | 0.011442 | 0.22179 |  | 0.94069 | 0.43069
22 | YES | 4.4105 | 1.1018 | 0.045298 | 0.48178 | 0.54105 | 0.059268 |  | 1.6371 | 0.87707
23 | YES | 10.6394 | 0.36079 | 0.037602 | 0.020792 | 0.063711 | 0.042919 |  | 1.4513 | 0.7413
23 | YES | 5.4484 | 0.25547 | 0.014381 | -0.10453 | -0.0041355 | 0.10039 |  | 1.064 | 0.39405
24 | YES | 5.2799 | 0.31583 | 0.023137 | -0.084172 | 0.034746 | 0.11892 |  | 0.68468 | -0.015322
25 | YES | 9.3433 | 0.46427 | 0.051674 | -0.055734 | 0.13037 | 0.1861 |  | 0.45362 | -0.19638
25 | YES | 4.888 | 0.42467 | 0.035374 | -0.045331 | 0.10486 | 0.15019 |  | 0.35089 | -0.28911
26 | YES | 4.9831 | 0.53437 | 0.041663 | 0.19437 | 0.17553 | -0.018842 |  | 0.26454 | -0.33546
27 | YES | 5.5976 | 0.5596 | 0.048976 | 0.1296 | 0.19178 | 0.062179 |  | 0.23407 | -0.43593
28 | YES | 99.5918 | 0.20792 | 0.039276 | 0.087917 | -0.034769 | -0.12269 |  | 0.20577 | -0.14423
28 | YES | 75.416 | 0.37435 | 0.026611 | 0.16435 | 0.072443 | -0.091904 |  | 0.16722 | -0.032785
28 | YES | 50.1229 | 0.94069 | 0.05445 | 0.43069 | 0.43728 | 0.0065817 |  | 0.35967 | -0.30033
28 | YES | 39.8541 | 1.6371 | 0.097302 | 0.87707 | 0.88587 | 0.0088056 |  | 0.1635 | -0.076496
28 | YES | 29.4824 | 1.4513 | 0.064451 | 0.7413 | 0.7662 | 0.024903 |  | 0.16816 | -0.20184
28 | YES | 24.6117 | 1.064 | 0.051096 | 0.39405 | 0.51674 | 0.12269 |  | 0.14454 | -0.025463
28 | YES | 19.797 | 0.68468 | 0.027157 | -0.015322 | 0.27235 | 0.28768 |  | 0.13552 | -0.074479
28 | YES | 14.6986 | 0.45362 | 0.049744 | -0.19638 | 0.12351 | 0.31989 |  | 0.38962 | -0.31038
28 | YES | 10.2682 | 0.35089 | 0.019491 | -0.28911 | 0.057334 | 0.34644 |  | 0.4137 | -0.2763
28 | YES | 4.6377 | 0.26454 | 0.013515 | -0.33546 | 0.0017098 | 0.33716 |  | 0.086388 | 0.046388
28 | YES | 2.5521 | 0.23407 | 0.011398 | -0.43593 | -0.017919 | 0.41801 |  | 0.095496 | 0.025496
29 | NO | 5.7864 | 6.2556 | 0.24007 | -4.4444 | 3.8611 | 8.3055 |  | 0.12048 | -0.019521
30 | NO | 5.346 | 5.3808 | 0.21355 | -4.0392 | 3.2975 | 7.3367 |  | 0.15407 | -0.045926
31 | YES | 99.764 | 0.20577 | 0.015746 | -0.14423 | -0.036153 | 0.10808 |  | 0.20952 | -0.11048
31 | YES | 75.5699 | 0.16722 | 0.0073362 | -0.032785 | -0.060989 | -0.028204 |  | 0.12129 | -0.10871
31 | YES | 49.7649 | 0.35967 | 0.024626 | -0.30033 | 0.062987 | 0.36332 |  | 0.17117 | -0.038835
31 | NO | 24.4776 | 0.62612 | 0.036701 | -0.67388 | 0.23463 | 0.90851 |  | 0.10664 | 0.016636
31 | NO | 10.344 | 6.0153 | 0.24416 | -6.4647 | 3.7063 | 10.171 |  | 0.17041 | 0.00041322
31 | NO | 4.7849 | 8.3608 | 0.25073 | -9.2892 | 5.2172 | 14.5064 |  | 0.092454 | -0.0075455
32 | YES | 100.001 | 0.1635 | 0.0048753 | -0.076496 | -0.063379 | 0.013116 |  | 0.093174 | 0.043174
32 | YES | 75.0949 | 0.16816 | 0.0074666 | -0.20184 | -0.060382 | 0.14146 |  | 0.088298 | 0.048298
32 | NO | 50.2187 | 0.43407 | 0.01743 | -0.59593 | 0.11092 | 0.70684 |  | 0.098248 | 0.028248
32 | NO | 25.0918 | 0.52627 | 0.029018 | -0.57373 | 0.17031 | 0.74404 |  | 0.15738 | -0.01262
32 | NO | 9.97 | 3.1723 | 0.32715 | -2.6877 | 1.8748 | 4.5626 |  | 0.58886 | -0.05114
32 | NO | 4.6334 | 7.7688 | 0.32409 | -3.8812 | 4.8359 | 8.717 |  | 1.6957 | 0.47574
33 | YES | 100.343 | 0.14454 | 0.0057112 | -0.025463 | -0.075598 | -0.050135
33 | YES | 75.5648 | 0.13552 | 0.0058482 | -0.074479 | -0.081406 | -0.0069264
33 | YES | 50.3218 | 0.38962 | 0.025303 | -0.31038 | 0.082281 | 0.39266
33 | YES | 24.6139 | 0.4137 | 0.014724 | -0.2763 | 0.097795 | 0.37409
33 | NO | 10.128 | 2.2819 | 0.090691 | -1.8581 | 1.3012 | 3.1594
33 | NO | 5.0585 | 4.239 | 0.14196 | -4.881 | 2.562 | 7.443
34 | YES | 100.551 | 0.086388 | 0.0036796 | 0.046388 | -0.11306 | -0.15944
34 | YES | 74.5441 | 0.095496 | 0.004021 | 0.025496 | -0.10719 | -0.13269
34 | YES | 49.7717 | 0.12048 | 0.0073667 | -0.019521 | -0.091096 | -0.071575
34 | YES | 30.0129 | 0.15407 | 0.0073418 | -0.045926 | -0.069454 | -0.023528
34 | YES | 20.0371 | 0.20952 | 0.0088752 | -0.11048 | -0.033736 | 0.076743
34 | NO | 9.9897 | 0.46544 | 0.03411 | -0.85456 | 0.13112 | 0.98568
34 | NO | 5.2773 | 6.8966 | 0.35062 | -5.7034 | 4.274 | 9.9774
35 | YES | 30.0644 | 0.12129 | 0.0058044 | -0.10871 | -0.090574 | 0.018137
35 | YES | 20.012 | 0.17117 | 0.0057913 | -0.038835 | -0.058444 | -0.01961
35 | NO | 10.014 | 0.86929 | 0.049412 | -0.55071 | 0.39128 | 0.94199
35 | NO | 5.2307 | 11.2097 | 0.30619 | 0.95972 | 7.0524 | 6.0927
36 | YES | 30.2737 | 0.10664 | 0.0060677 | 0.016636 | -0.10001 | -0.11665
36 | YES | 20.1433 | 0.17041 | 0.0055673 | 0.00041322 | -0.058929 | -0.059342
36 | NO | 10.2576 | 0.73492 | 0.022791 | -0.49508 | 0.30472 | 0.7998
36 | NO | 4.9316 | 5.1719 | 0.19343 | -5.6781 | 3.163 | 8.8411
37 | YES | 100.005 | 0.092454 | 0.0030714 | -0.0075455 | -0.10915 | -0.1016
37 | YES | 75.1566 | 0.093174 | 0.0031981 | 0.043174 | -0.10869 | -0.15186
37 | YES | 50.0462 | 0.088298 | 0.0038289 | 0.048298 | -0.11183 | -0.16012
37 | YES | 30.0523 | 0.098248 | 0.0045612 | 0.028248 | -0.10542 | -0.13366
37 | YES | 20.5341 | 0.15738 | 0.0064217 | -0.01262 | -0.067324 | -0.054705
37 | YES | 10.3503 | 0.58886 | 0.017936 | -0.05114 | 0.21063 | 0.26177
37 | NO | 5.3754 | 4.8634 | 0.15848 | -5.0066 | 2.9642 | 7.9708
38 | NO | 5.1969 | 2.2295 | 0.20302 | -1.1005 | 1.2675 | 2.368
39 | YES | 5.0096 | 1.6957 | 0.014677 | 0.47574 | 0.92367 | 0.44793
NO
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
NO
NO
NO
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
NO
NO
YES
YES
NO
NO
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
YES
FIT vs. Pressure
FIT vs. FL_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (FL_CTD - CHL) (3)
Calculation of Linear Least Squares Fit For
(FL_CTD - CHL)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (FL_CTD - CHL), Prop=FL_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.47092 |  | X | CALC Y
m= | -0.59942 | 0.055093 |  | Std Dev of Resid |  | 1.1482 |  | 0.086388 | 0.36361
b= | 0.41539 | 0.11904 |  | Resid Sum of Squares |  | 175.3421 |  | 11.2097 | -6.3039
# of Values Extracted = |  |  | 135
# of Values Used in Fit = |  |  | 135
File | Use | Pressure | FL_CTD | FL_CTD | Diff (FL_CTD - CHL) |  |  |  | Fit vs. | FL_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y | FL | CHL | FL | File Pr# | Press | FL/CHL | CHL/FL % | File Pr# | Press
2 | YES | 5.0768 | 4.7158 | 0.27448 | -4.0442 | -2.4114 | 1.6328 |  | 4.7158 | -4.0442 | 0.098815 | 0.04 | 0.098815 | 3 | 75.2367 | 2.4704 | 40.4798 | 3 | 75.2367
3 | YES | 99.28 | 0.096835 | 0.0052889 | 0.016835 | 0.35735 | 0.34051 |  | 0.096835 | 0.016835 | 0.086388 | 0.04 | 0.086388 | 34 | 100.551 | 2.1597 | 46.3025 | 34 | 100.551
3 | YES | 75.2118 | 0.098834 | 0.0052666 | 0.038834 | 0.35615 | 0.31732 |  | 0.098834 | 0.038834 | 0.088298 | 0.04 | 0.088298 | 37 | 50.0462 | 2.2074 | 45.3014 | 37 | 50.0462
3 | YES | 75.2367 | 0.098815 | 0.0052706 | 0.058815 | 0.35616 | 0.29735 |  | 0.098815 | 0.058815 | 0.12025 | 0.040001 | 0.12025 | 9 | 99.8804 | 3.0062 | 33.265 | 9 | 99.8804
3 | YES | 50.2689 | 0.16004 | 0.0072553 | 0.020041 | 0.31946 | 0.29942 |  | 0.16004 | 0.020041 | 0.093174 | 0.05 | 0.093174 | 37 | 75.1566 | 1.8635 | 53.6633 | 37 | 75.1566
3 | YES | 25.1548 | 1.9872 | 0.030763 | 0.6972 | -0.77578 | -1.473 |  | 1.9872 | 0.6972 | 0.11146 | 0.05 | 0.11146 | 5 | 99.7846 | 2.2293 | 44.8581 | 5 | 99.7846
3 | YES | 9.9042 | 2.7491 | 0.20006 | -0.87088 | -1.2325 | -0.36161 |  | 2.7491 | -0.87088 | 0.098834 | 0.06 | 0.098834 | 3 | 75.2118 | 1.6472 | 60.7079 | 3 | 75.2118
3 | YES | 4.7896 | 3.5041 | 0.089942 | -0.9559 | -1.685 | -0.72914 |  | 3.5041 | -0.9559 | 0.44557 | 0.07 | 0.44557 | 17 | 75.1439 | 6.3653 | 15.7103 | 17 | 75.1439
4 | YES | 5.0412 | 2.089 | 0.036919 | -0.030975 | -0.83681 | -0.80584 |  | 2.089 | -0.030975 | 0.095496 | 0.07 | 0.095496 | 34 | 74.5441 | 1.3642 | 73.3016 | 34 | 74.5441
5 | YES | 99.7846 | 0.11146 | 0.0061995 | 0.061463 | 0.34858 | 0.28712 |  | 0.11146 | 0.061463 | 0.098248 | 0.07 | 0.098248 | 37 | 30.0523 | 1.4035 | 71.2483 | 37 | 30.0523
5 | YES | 75.59 | 0.21094 | 0.011084 | 0.090942 | 0.28895 | 0.19801 |  | 0.21094 | 0.090942 | 0.096835 | 0.08 | 0.096835 | 3 | 99.28 | 1.2104 | 82.615 | 3 | 99.28
5 | YES | 49.6804 | 0.41717 | 0.0089799 | 0.18716 | 0.16533 | -0.021831 |  | 0.41717 | 0.18716 | 0.10664 | 0.09 | 0.10664 | 35 | 30.2737 | 1.1848 | 84.3989 | 35 | 30.2737
5 | YES | 39.7207 | 0.60136 | 0.015001 | 0.26136 | 0.054922 | -0.20644 |  | 0.60136 | 0.26136 | 0.18214 | 0.09 | 0.18214 | 17 | 99.9749 | 2.0238 | 49.4128 | 17 | 99.9749
5 | YES | 25.1727 | 2.1895 | 0.11836 | 0.42952 | -0.89705 | -1.3266 |  | 2.1895 | 0.42952 | 0.092454 | 0.1 | 0.092454 | 37 | 100.005 | 0.92455 | 108.1613 | 37 | 100.005
5 | YES | 20.0638 | 1.659 | 0.067097 | 0.068983 | -0.57904 | -0.64802 |  | 1.659 | 0.068983 | 0.19134 | 0.1 | 0.19134 | 21 | 100.437 | 1.9134 | 52.2625 | 21 | 100.437
5 | YES | 15.0032 | 3.0517 | 0.13652 | 0.78167 | -1.4138 | -2.1955 |  | 3.0517 | 0.78167 | 0.20792 | 0.12 | 0.20792 | 28 | 99.5918 | 1.7326 | 57.7151 | 28 | 99.5918
5 | YES | 10.4112 | 3.1608 | 0.1044 | 0.89076 | -1.4792 | -2.37 |  | 3.1608 | 0.89076 | 0.21094 | 0.12 | 0.21094 | 5 | 75.59 | 1.7579 | 56.8876 | 5 | 75.59
5 | YES | 5.172 | 1.4878 | 0.034273 | -0.052208 | -0.47642 | -0.42421 |  | 1.4878 | -0.052208 | 0.16004 | 0.14 | 0.16004 | 3 | 50.2689 | 1.1432 | 87.4774 | 3 | 50.2689
5 | YES | 2.7912 | 1.3224 | 0.023085 | -0.30762 | -0.37727 | -0.069651 |  | 1.3224 | -0.30762 | 0.12048 | 0.14 | 0.12048 | 34 | 49.7717 | 0.86057 | 116.2026 | 34 | 49.7717
6 | YES | 7.9495 | 0.7811 | 0.010159 | 0.1611 | -0.052816 | -0.21391 |  | 0.7811 | 0.1611 | 0.17041 | 0.17 | 0.17041 | 36 | 20.1433 | 1.0024 | 99.7575 | 36 | 20.1433
7 | YES | 4.8738 | 0.65594 | 0.012025 | 0.26594 | 0.022206 | -0.24374 |  | 0.65594 | 0.26594 | 0.15738 | 0.17 | 0.15738 | 37 | 20.5341 | 0.92577 | 108.0187 | 37 | 20.5341
8 | YES | 5.0465 | 0.66134 | 0.019874 | 0.20134 | 0.018971 | -0.18237 |  | 0.66134 | 0.20134 | 0.14454 | 0.17 | 0.14454 | 33 | 100.343 | 0.85022 | 117.6168 | 33 | 100.343
9 | YES | 99.8804 | 0.12025 | 0.0065611 | 0.080247 | 0.34331 | 0.26307 |  | 0.12025 | 0.080247 | 0.29921 | 0.17 | 0.29921 | 13 | 99.8941 | 1.76 | 56.817 | 13 | 99.8941
9 | YES | 74.1722 | 0.34354 | 0.0087364 | 0.15354 | 0.20946 | 0.05592 |  | 0.34354 | 0.15354 | 0.47019 | 0.17 | 0.47019 | 14 | 5.7621 | 2.7658 | 36.156 | 14 | 5.7621
9 | YES | 50.3582 | 1.1603 | 0.021699 | 0.77033 | -0.28014 | -1.0505 |  | 1.1603 | 0.77033 | 0.34354 | 0.19 | 0.34354 | 9 | 74.1722 | 1.8081 | 55.3059 | 9 | 74.1722
9 | YES | 24.8566 | 2.1485 | 0.018585 | 1.4785 | -0.87244 | -2.3509 |  | 2.1485 | 1.4785 | 0.49492 | 0.19 | 0.49492 | 15 | 11.5851 | 2.6048 | 38.39 | 15 | 11.5851
9 | YES | 9.6388 | 1.1916 | 0.02275 | 0.77163 | -0.29889 | -1.0705 |  | 1.1916 | 0.77163 | 0.15407 | 0.2 | 0.15407 | 34 | 30.0129 | 0.77037 | 129.8075 | 34 | 30.0129
9 | YES | 6.7834 | 0.88218 | 0.0081211 | 0.47218 | -0.11341 | -0.58559 |  | 0.88218 | 0.47218 | 0.50038 | 0.2 | 0.50038 | 15 | 4.2086 | 2.5019 | 39.9696 | 15 | 4.2086
10 | YES | 3.6085 | 1.2271 | 0.014247 | 0.83712 | -0.32017 | -1.1573 |  | 1.2271 | 0.83712 | 0.16722 | 0.2 | 0.16722 | 31 | 75.5699 | 0.83607 | 119.6066 | 31 | 75.5699
11 | YES | 6.0963 | 0.76184 | 0.020284 | 0.47184 | -0.041273 | -0.51312 |  | 0.76184 | 0.47184 | 0.17117 | 0.21 | 0.17117 | 35 | 20.012 | 0.81507 | 122.6885 | 35 | 20.012
12 | YES | 5.7767 | 0.74517 | 0.020141 | 0.49517 | -0.031281 | -0.52646 |  | 0.74517 | 0.49517 | 0.41475 | 0.21 | 0.41475 | 17 | 16.001 | 1.975 | 50.6329 | 17 | 16.001
13 | YES | 99.8941 | 0.29921 | 0.01583 | 0.12921 | 0.23604 | 0.10684 |  | 0.29921 | 0.12921 | 0.37435 | 0.21 | 0.37435 | 28 | 75.416 | 1.7826 | 56.0977 | 28 | 75.416
13 | YES | 74.4139 | 0.69394 | 0.02149 | 0.42394 | -0.00056879 | -0.42451 |  | 0.69394 | 0.42394 | 0.13552 | 0.21 | 0.13552 | 33 | 75.5648 | 0.64534 | 154.9578 | 33 | 75.5648
13 | YES | 51.3627 | 1.7133 | 0.0193 | 1.2233 | -0.61158 | -1.8348 |  | 1.7133 | 1.2233 | 0.44212 | 0.22 | 0.44212 | 16 | 5.1231 | 2.0096 | 49.7607 | 16 | 5.1231
13 | YES | 39.8756 | 1.4357 | 0.016448 | 0.97574 | -0.44522 | -1.421 |  | 1.4357 | 0.97574 | 0.41717 | 0.23 | 0.41717 | 5 | 49.6804 | 1.8138 | 55.1341 | 5 | 49.6804
13 | YES | 30.5007 | 1.1145 | 0.013931 | 0.6745 | -0.25266 | -0.92716 |  | 1.1145 | 0.6745 | 0.12129 | 0.23 | 0.12129 | 35 | 30.0644 | 0.52734 | 189.6297 | 35 | 30.0644
13 | YES | 23.789 | 0.90982 | 0.05467 | 0.50982 | -0.12997 | -0.63979 |  | 0.90982 | 0.50982 | 0.1635 | 0.24 | 0.1635 | 32 | 100.001 | 0.68127 | 146.7853 | 32 | 100.001
13 | YES | 20.0651 | 0.82367 | 0.0094805 | 0.45367 | -0.078334 | -0.532 |  | 0.82367 | 0.45367 | 0.34683 | 0.24 | 0.34683 | 17 | 10.2783 | 1.4451 | 69.199 | 17 | 10.2783
13 | YES | 15.6158 | 0.60002 | 0.0076648 | 0.19002 | 0.055729 | -0.13429 |  | 0.60002 | 0.19002 | 0.74517 | 0.25 | 0.74517 | 12 | 5.7767 | 2.9807 | 33.5492 | 12 | 5.7767
13 | YES | 10.373 | 0.40557 | 0.011181 | 0.015574 | 0.17228 | 0.15671 |  | 0.40557 | 0.015574 | 0.69394 | 0.27 | 0.69394 | 13 | 74.4139 | 2.5701 | 38.9084 | 13 | 74.4139
13 | YES | 5.0915 | 0.29534 | 0.0058351 | -0.14466 | 0.23836 | 0.38302 |  | 0.29534 | -0.14466 | 0.76184 | 0.29 | 0.76184 | 11 | 6.0963 | 2.627 | 38.0656 | 11 | 6.0963
13 | YES | 2.6092 | 0.26515 | 0.004834 | -0.15485 | 0.25645 | 0.4113 |  | 0.26515 | -0.15485 | 0.67967 | 0.29 | 0.67967 | 17 | 20.4603 | 2.3437 | 42.6678 | 17 | 20.4603
14 | YES | 5.7621 | 0.47019 | 0.014952 | 0.30018 | 0.13355 | -0.16663 |  | 0.47019 | 0.30018 | 0.37252 | 0.32 | 0.37252 | 17 | 4.8572 | 1.1641 | 85.9023 | 17 | 4.8572
15 | YES | 11.5851 | 0.49492 | 0.045052 | 0.30492 | 0.11873 | -0.1862 |  | 0.49492 | 0.30492 | 0.20952 | 0.32 | 0.20952 | 34 | 20.0371 | 0.65475 | 152.7293 | 34 | 20.0371
15 | YES | 4.2086 | 0.50038 | 0.056377 | 0.30038 | 0.11545 | -0.18493 |  | 0.50038 | 0.30038 | 0.36079 | 0.34 | 0.36079 | 23 | 10.6394 | 1.0612 | 94.2371 | 23 | 10.6394
16 | YES | 5.1231 | 0.44212 | 0.047878 | 0.22212 | 0.15038 | -0.071738 |  | 0.44212 | 0.22212 | 0.60136 | 0.34 | 0.60136 | 5 | 39.7207 | 1.7687 | 56.5381 | 5 | 39.7207
17 | YES | 99.9749 | 0.18214 | 0.0083598 | 0.092139 | 0.30621 | 0.21407 |  | 0.18214 | 0.092139 | 0.53437 | 0.34 | 0.53437 | 26 | 4.9831 | 1.5717 | 63.6266 | 26 | 4.9831
17 | YES | 75.1439 | 0.44557 | 0.078799 | 0.37557 | 0.14831 | -0.22726 |  | 0.44557 | 0.37557 | 0.20577 | 0.35 | 0.20577 | 31 | 99.764 | 0.58791 | 170.0936 | 31 | 99.764
17 | YES | 50.2811 | 1.233 | 0.31123 | 0.79298 | -0.32368 | -1.1167 |  | 1.233 | 0.79298 | 0.36193 | 0.35 | 0.36193 | 17 | 1.9776 | 1.0341 | 96.7027 | 17 | 1.9776
17 | YES | 39.9456 | 1.2513 | 0.23486 | 0.83131 | -0.33467 | -1.166 |  | 1.2513 | 0.83131 | 0.25547 | 0.36 | 0.25547 | 23 | 5.4484 | 0.70964 | 140.9162 | 23 | 5.4484
17 | YES | 29.8495 | 0.96293 | 0.040625 | 0.56293 | -0.16181 | -0.72473 |  | 0.96293 | 0.56293 | 0.82367 | 0.37 | 0.82367 | 13 | 20.0651 | 2.2261 | 44.9209 | 13 | 20.0651
17 | YES | 24.5973 | 0.99593 | 0.27497 | 0.58593 | -0.18159 | -0.76752 |  | 0.99593 | 0.58593 | 0.16816 | 0.37 | 0.16816 | 32 | 75.0949 | 0.45448 | 220.0325 | 32 | 75.0949
17 | YES | 20.4603 | 0.67967 | 0.036793 | 0.38967 | 0.0079832 | -0.38169 |  | 0.67967 | 0.38967 | 0.74661 | 0.38 | 0.74661 | 18 | 4.1535 | 1.9648 | 50.8966 | 18 | 4.1535
17 | YES | 16.001 | 0.41475 | 0.018073 | 0.20475 | 0.16678 | -0.037968 |  | 0.41475 | 0.20475 | 1.1603 | 0.39 | 1.1603 | 9 | 50.3582 | 2.9752 | 33.6109 | 9 | 50.3582
17 | YES | 10.2783 | 0.34683 | 0.047437 | 0.10683 | 0.2075 | 0.10067 |  | 0.34683 | 0.10683 | 0.40557 | 0.39 | 0.40557 | 13 | 10.373 | 1.0399 | 96.1599 | 13 | 10.373
17 | YES | 4.8572 | 0.37252 | 0.047125 | 0.052516 | 0.1921 | 0.13958 |  | 0.37252 | 0.052516 | 0.65594 | 0.39 | 0.65594 | 7 | 4.8738 | 1.6819 | 59.4565 | 7 | 4.8738
17 | YES | 1.9776 | 0.36193 | 0.021194 | 0.011934 | 0.19844 | 0.18651 |  | 0.36193 | 0.011934 | 0.69522 | 0.39 | 0.69522 | 21 | 73.9046 | 1.7826 | 56.0976 | 21 | 73.9046
18 | YES | 4.1535 | 0.74661 | 0.16282 | 0.36661 | -0.032143 | -0.39876 |  | 0.74661 | 0.36661 | 1.2271 | 0.39 | 1.2271 | 10 | 3.6085 | 3.1465 | 31.7818 | 10 | 3.6085
19 | YES | 10.2126 | 0.80717 | 0.049053 | 0.35718 | -0.068446 | -0.42562 |  | 0.80717 | 0.35718 | 0.90982 | 0.4 | 0.90982 | 13 | 23.789 | 2.2745 | 43.965 | 13 | 23.789
19 | YES | 4.8712 | 0.78883 | 0.040518 | 0.34883 | -0.057447 | -0.40627 |  | 0.78883 | 0.34883 | 0.96293 | 0.4 | 0.96293 | 17 | 29.8495 | 2.4073 | 41.5401 | 17 | 29.8495
20 | YES | 5.8148 | 0.33849 | 0.018461 | -0.10151 | 0.2125 | 0.31401 |  | 0.33849 | -0.10151 | 0.31583 | 0.4 | 0.31583 | 24 | 5.2799 | 0.78957 | 126.6513 | 24 | 5.2799
21 | YES | 100.437 | 0.19134 | 0.0048987 | 0.091342 | 0.3007 | 0.20936 |  | 0.19134 | 0.091342 | 0.88218 | 0.41 | 0.88218 | 9 | 6.7834 | 2.1517 | 46.4757 | 9 | 6.7834
21 | YES | 73.9046 | 0.69522 | 0.02438 | 0.30522 | -0.001336 | -0.30655 |  | 0.69522 | 0.30522 | 0.60002 | 0.41 | 0.60002 | 13 | 15.6158 | 1.4635 | 68.3314 | 13 | 15.6158
21 | YES | 48.8261 | 1.0235 | 0.057638 | 0.51349 | -0.19811 | -0.7116 |  | 1.0235 | 0.51349 | 0.99593 | 0.41 | 0.99593 | 17 | 24.5973 | 2.4291 | 41.1676 | 17 | 24.5973
21 | YES | 40.0054 | 0.93439 | 0.016563 | 0.50438 | -0.1447 | -0.64908 |  | 0.93439 | 0.50438 | 1.1916 | 0.42 | 1.1916 | 9 | 9.6388 | 2.8372 | 35.2457 | 9 | 9.6388
21 | YES | 30.1867 | 0.84891 | 0.040199 | 0.39891 | -0.093461 | -0.49237 |  | 0.84891 | 0.39891 | 0.26515 | 0.42 | 0.26515 | 13 | 2.6092 | 0.63131 | 158.4003 | 13 | 2.6092
21 | YES | 24.6133 | 0.73405 | 0.033914 | 0.27405 | -0.024612 | -0.29866 |  | 0.73405 | 0.27405 | 1.2513 | 0.42 | 1.2513 | 17 | 39.9456 | 2.9793 | 33.5651 | 17 | 39.9456
21 | YES | 19.4131 | 0.68032 | 0.054703 | 0.21032 | 0.0075947 | -0.20272 |  | 0.68032 | 0.21032 | 0.93439 | 0.43 | 0.93439 | 21 | 40.0054 | 2.173 | 46.0196 | 21 | 40.0054
21 | YES | 15.5976 | 0.49128 | 0.020813 | 0.001275 | 0.12091 | 0.11964 |  | 0.49128 | 0.001275 | 0.5596 | 0.43 | 0.5596 | 27 | 5.5976 | 1.3014 | 76.8402 | 27 | 5.5976
21 | YES | 10.0353 | 0.28507 | 0.013817 | -0.20493 | 0.24452 | 0.44945 |  | 0.28507 | -0.20493 | 1.233 | 0.44 | 1.233 | 17 | 50.2811 | 2.8022 | 35.6857 | 17 | 50.2811
21 | YES | 6.6671 | 0.29508 | 0.015319 | -0.17492 | 0.23851 | 0.41343 |  | 0.29508 | -0.17492 | 1.1145 | 0.44 | 1.1145 | 13 | 30.5007 | 2.533 | 39.4796 | 13 | 30.5007
21 | YES | 2.924 | 0.27965 | 0.012842 | -0.21035 | 0.24776 | 0.45811 |  | 0.27965 | -0.21035 | 0.29534 | 0.44 | 0.29534 | 13 | 5.0915 | 0.67123 | 148.9798 | 13 | 5.0915
22 | YES | 4.4105 | 1.1018 | 0.045298 | 0.48178 | -0.24504 | -0.72682 |  | 1.1018 | 0.48178 | 0.78883 | 0.44 | 0.78883 | 19 | 4.8712 | 1.7928 | 55.7791 | 19 | 4.8712
23 | YES | 10.6394 | 0.36079 | 0.037602 | 0.020792 | 0.19913 | 0.17833 |  | 0.36079 | 0.020792 | 0.33849 | 0.44 | 0.33849 | 20 | 5.8148 | 0.76929 | 129.9906 | 20 | 5.8148
23 | YES | 5.4484 | 0.25547 | 0.014381 | -0.10453 | 0.26226 | 0.36679 |  | 0.25547 | -0.10453 | 0.80717 | 0.45 | 0.80717 | 19 | 10.2126 | 1.7937 | 55.75 | 19 | 10.2126
24 | YES | 5.2799 | 0.31583 | 0.023137 | -0.084172 | 0.22608 | 0.31025 |  | 0.31583 | -0.084172 | 0.84891 | 0.45 | 0.84891 | 21 | 30.1867 | 1.8865 | 53.0094 | 21 | 30.1867
25 | YES | 9.3433 | 0.46427 | 0.051674 | -0.055734 | 0.1371 | 0.19283 |  | 0.46427 | -0.055734 | 0.66134 | 0.46 | 0.66134 | 8 | 5.0465 | 1.4377 | 69.5559 | 8 | 5.0465
25 | YES | 4.888 | 0.42467 | 0.035374 | -0.045331 | 0.16084 | 0.20617 |  | 0.42467 | -0.045331 | 0.73405 | 0.46 | 0.73405 | 21 | 24.6133 | 1.5958 | 62.6662 | 21 | 24.6133
26 | YES | 4.9831 | 0.53437 | 0.041663 | 0.19437 | 0.09508 | -0.099288 |  | 0.53437 | 0.19437 | 1.4357 | 0.46 | 1.4357 | 13 | 39.8756 | 3.1211 | 32.0395 | 13 | 39.8756
27 | YES | 5.5976 | 0.5596 | 0.048976 | 0.1296 | 0.079954 | -0.049649 |  | 0.5596 | 0.1296 | 0.68032 | 0.47 | 0.68032 | 21 | 19.4131 | 1.4475 | 69.0853 | 21 | 19.4131
28 | YES | 99.5918 | 0.20792 | 0.039276 | 0.087917 | 0.29076 | 0.20284 |  | 0.20792 | 0.087917 | 0.29508 | 0.47 | 0.29508 | 21 | 6.6671 | 0.62784 | 159.2772 | 21 | 6.6671
28 | YES | 75.416 | 0.37435 | 0.026611 | 0.16435 | 0.191 | 0.026653 |  | 0.37435 | 0.16435 | 0.42467 | 0.47 | 0.42467 | 25 | 4.888 | 0.90355 | 110.6743 | 25 | 4.888
28 | YES | 50.1229 | 0.94069 | 0.05445 | 0.43069 | -0.14848 | -0.57917 |  | 0.94069 | 0.43069 | 1.7133 | 0.49 | 1.7133 | 13 | 51.3627 | 3.4965 | 28.6003 | 13 | 51.3627
28 | YES | 39.8541 | 1.6371 | 0.097302 | 0.87707 | -0.5659 | -1.443 |  | 1.6371 | 0.87707 | 0.28507 | 0.49 | 0.28507 | 21 | 10.0353 | 0.58178 | 171.8876 | 21 | 10.0353
28 | YES | 29.4824 | 1.4513 | 0.064451 | 0.7413 | -0.45455 | -1.1958 |  | 1.4513 | 0.7413 | 0.27965 | 0.49 | 0.27965 | 21 | 2.924 | 0.57072 | 175.2171 | 21 | 2.924
28 | YES | 24.6117 | 1.064 | 0.051096 | 0.39405 | -0.22242 | -0.61648 |  | 1.064 | 0.39405 | 0.49128 | 0.49 | 0.49128 | 21 | 15.5976 | 1.0026 | 99.7405 | 21 | 15.5976
28 | YES | 19.797 | 0.68468 | 0.027157 | -0.015322 | 0.0049813 | 0.020304 |  | 0.68468 | -0.015322 | 0.94069 | 0.51 | 0.94069 | 28 | 50.1229 | 1.8445 | 54.2153 | 28 | 50.1229
28 | YES | 14.6986 | 0.45362 | 0.049744 | -0.19638 | 0.14348 | 0.33987 |  | 0.45362 | -0.19638 | 1.0235 | 0.51 | 1.0235 | 21 | 48.8261 | 2.0068 | 49.8299 | 21 | 48.8261
28 | YES | 10.2682 | 0.35089 | 0.019491 | -0.28911 | 0.20506 | 0.49417 |  | 0.35089 | -0.28911 | 0.46427 | 0.52 | 0.46427 | 25 | 9.3433 | 0.89282 | 112.0047 | 25 | 9.3433
28 | YES | 4.6377 | 0.26454 | 0.013515 | -0.33546 | 0.25682 | 0.59227 |  | 0.26454 | -0.33546 | 0.26454 | 0.6 | 0.26454 | 28 | 4.6377 | 0.44091 | 226.8045 | 28 | 4.6377
28 | YES | 2.5521 | 0.23407 | 0.011398 | -0.43593 | 0.27508 | 0.71101 |  | 0.23407 | -0.43593 | 0.7811 | 0.62 | 0.7811 | 6 | 7.9495 | 1.2598 | 79.3753 | 6 | 7.9495
29 | YES | 5.7864 | 6.2556 | 0.24007 | -4.4444 | -3.3343 | 1.1101 |  | 6.2556 | -4.4444 | 1.1018 | 0.62 | 1.1018 | 22 | 4.4105 | 1.7771 | 56.2728 | 22 | 4.4105
30 | YES | 5.346 | 5.3808 | 0.21355 | -4.0392 | -2.81 | 1.2292 |  | 5.3808 | -4.0392 | 0.58886 | 0.64 | 0.58886 | 37 | 10.3503 | 0.92009 | 108.6847 | 37 | 10.3503
31 | YES | 99.764 | 0.20577 | 0.015746 | -0.14423 | 0.29205 | 0.43628 |  | 0.20577 | -0.14423 | 0.35089 | 0.64 | 0.35089 | 28 | 10.2682 | 0.54827 | 182.3918 | 28 | 10.2682
31 | YES | 75.5699 | 0.16722 | 0.0073362 | -0.032785 | 0.31516 | 0.34795 |  | 0.16722 | -0.032785 | 0.45362 | 0.65 | 0.45362 | 28 | 14.6986 | 0.69787 | 143.2927 | 28 | 14.6986
31 | YES | 49.7649 | 0.35967 | 0.024626 | -0.30033 | 0.1998 | 0.50013 |  | 0.35967 | -0.30033 | 0.35967 | 0.66 | 0.35967 | 31 | 49.7649 | 0.54495 | 183.5021 | 31 | 49.7649
31 | YES | 24.4776 | 0.62612 | 0.036701 | -0.67388 | 0.04008 | 0.71396 |  | 0.62612 | -0.67388 | 1.064 | 0.67 | 1.064 | 28 | 24.6117 | 1.5881 | 62.9667 | 28 | 24.6117
31 | YES | 10.344 | 6.0153 | 0.24416 | -6.4647 | -3.1903 | 3.2743 |  | 6.0153 | -6.4647 | 2.1485 | 0.67 | 2.1485 | 9 | 24.8566 | 3.2067 | 31.1851 | 9 | 24.8566
31 | YES | 4.7849 | 8.3608 | 0.25073 | -9.2892 | -4.5963 | 4.6929 |  | 8.3608 | -9.2892 | 0.23407 | 0.67 | 0.23407 | 28 | 2.5521 | 0.34936 | 286.2343 | 28 | 2.5521
32 | YES | 100.001 | 0.1635 | 0.0048753 | -0.076496 | 0.31738 | 0.39388 |  | 0.1635 | -0.076496 | 0.4137 | 0.69 | 0.4137 | 33 | 24.6139 | 0.59957 | 166.7867 | 33 | 24.6139
32 | YES | 75.0949 | 0.16816 | 0.0074666 | -0.20184 | 0.3146 | 0.51644 |  | 0.16816 | -0.20184 | 0.38962 | 0.7 | 0.38962 | 33 | 50.3218 | 0.5566 | 179.6622 | 33 | 50.3218
32 | YES | 50.2187 | 0.43407 | 0.01743 | -0.59593 | 0.1552 | 0.75112 |  | 0.43407 | -0.59593 | 0.68468 | 0.7 | 0.68468 | 28 | 19.797 | 0.97811 | 102.2379 | 28 | 19.797
32 | YES | 25.0918 | 0.52627 | 0.029018 | -0.57373 | 0.099933 | 0.67366 |  | 0.52627 | -0.57373 | 1.4513 | 0.71 | 1.4513 | 28 | 29.4824 | 2.0441 | 48.9218 | 28 | 29.4824
32 | YES | 9.97 | 3.1723 | 0.32715 | -2.6877 | -1.4861 | 1.2016 |  | 3.1723 | -2.6877 | 1.6371 | 0.76 | 1.6371 | 28 | 39.8541 | 2.154 | 46.4246 | 28 | 39.8541
32 | YES | 4.6334 | 7.7688 | 0.32409 | -3.8812 | -4.2414 | -0.36021 |  | 7.7688 | -3.8812 | 0.43407 | 1.03 | 0.43407 | 32 | 50.2187 | 0.42143 | 237.2867 | 32 | 50.2187
33 | YES | 100.343 | 0.14454 | 0.0057112 | -0.025463 | 0.32875 | 0.35422 |  | 0.14454 | -0.025463 | 0.52627 | 1.1 | 0.52627 | 32 | 25.0918 | 0.47843 | 209.017 | 32 | 25.0918
33 | YES | 75.5648 | 0.13552 | 0.0058482 | -0.074479 | 0.33416 | 0.40864 |  | 0.13552 | -0.074479 | 1.6957 | 1.22 | 1.6957 | 39 | 5.0096 | 1.3899 | 71.9452 | 39 | 5.0096
33 | YES | 50.3218 | 0.38962 | 0.025303 | -0.31038 | 0.18185 | 0.49223 |  | 0.38962 | -0.31038 | 0.73492 | 1.23 | 0.73492 | 36 | 10.2576 | 0.59749 | 167.3658 | 36 | 10.2576
33 | YES | 24.6139 | 0.4137 | 0.014724 | -0.2763 | 0.16741 | 0.44371 |  | 0.4137 | -0.2763 | 1.9872 | 1.29 | 1.9872 | 3 | 25.1548 | 1.5405 | 64.9156 | 3 | 25.1548
33 | YES | 10.128 | 2.2819 | 0.090691 | -1.8581 | -0.9524 | 0.90574 |  | 2.2819 | -1.8581 | 0.62612 | 1.3 | 0.62612 | 31 | 24.4776 | 0.48163 | 207.6266 | 31 | 24.4776
33 | YES | 5.0585 | 4.239 | 0.14196 | -4.881 | -2.1255 | 2.7555 |  | 4.239 | -4.881 | 0.46544 | 1.32 | 0.46544 | 34 | 9.9897 | 0.3526 | 283.6038 | 34 | 9.9897
34 | YES | 100.551 | 0.086388 | 0.0036796 | 0.046388 | 0.36361 | 0.31722 |  | 0.086388 | 0.046388 | 0.86929 | 1.42 | 0.86929 | 35 | 10.014 | 0.61218 | 163.3519 | 35 | 10.014
34 | YES | 74.5441 | 0.095496 | 0.004021 | 0.025496 | 0.35815 | 0.33265 |  | 0.095496 | 0.025496 | 1.4878 | 1.54 | 1.4878 | 5 | 5.172 | 0.9661 | 103.5091 | 5 | 5.172
34 | YES | 49.7717 | 0.12048 | 0.0073667 | -0.019521 | 0.34317 | 0.3627 |  | 0.12048 | -0.019521 | 1.659 | 1.59 | 1.659 | 5 | 20.0638 | 1.0434 | 95.8418 | 5 | 20.0638
34 | YES | 30.0129 | 0.15407 | 0.0073418 | -0.045926 | 0.32304 | 0.36896 |  | 0.15407 | -0.045926 | 1.3224 | 1.63 | 1.3224 | 5 | 2.7912 | 0.81128 | 123.2626 | 5 | 2.7912
34 | YES | 20.0371 | 0.20952 | 0.0088752 | -0.11048 | 0.2898 | 0.40028 |  | 0.20952 | -0.11048 | 2.1895 | 1.76 | 2.1895 | 5 | 25.1727 | 1.244 | 80.3829 | 5 | 25.1727
34 | YES | 9.9897 | 0.46544 | 0.03411 | -0.85456 | 0.1364 | 0.99096 |  | 0.46544 | -0.85456 | 2.089 | 2.12 | 2.089 | 4 | 5.0412 | 0.98539 | 101.4828 | 4 | 5.0412
34 | YES | 5.2773 | 6.8966 | 0.35062 | -5.7034 | -3.7186 | 1.9849 |  | 6.8966 | -5.7034 | 3.1608 | 2.27 | 3.1608 | 5 | 10.4112 | 1.3924 | 71.8182 | 5 | 10.4112
35 | YES | 30.0644 | 0.12129 | 0.0058044 | -0.10871 | 0.34269 | 0.4514 |  | 0.12129 | -0.10871 | 3.0517 | 2.27 | 3.0517 | 5 | 15.0032 | 1.3443 | 74.3855 | 5 | 15.0032
35 | YES | 20.012 | 0.17117 | 0.0057913 | -0.038835 | 0.31279 | 0.35163 |  | 0.17117 | -0.038835 | 2.2295 | 3.33 | 2.2295 | 38 | 5.1969 | 0.66952 | 149.3608 | 38 | 5.1969
35 | YES | 10.014 | 0.86929 | 0.049412 | -0.55071 | -0.10568 | 0.44503 |  | 0.86929 | -0.55071 | 2.7491 | 3.62 | 2.7491 | 3 | 9.9042 | 0.75943 | 131.6784 | 3 | 9.9042
35 | YES | 5.2307 | 11.2097 | 0.30619 | 0.95972 | -6.3039 | -7.2637 |  | 11.2097 | 0.95972 | 2.2819 | 4.14 | 2.2819 | 33 | 10.128 | 0.55117 | 181.4309 | 33 | 10.128
36 | YES | 30.2737 | 0.10664 | 0.0060677 | 0.016636 | 0.35147 | 0.33484 |  | 0.10664 | 0.016636 | 3.5041 | 4.46 | 3.5041 | 3 | 4.7896 | 0.78567 | 127.2795 | 3 | 4.7896
36 | YES | 20.1433 | 0.17041 | 0.0055673 | 0.00041322 | 0.31324 | 0.31283 |  | 0.17041 | 0.00041322 | 3.1723 | 5.86 | 3.1723 | 32 | 9.97 | 0.54134 | 184.7252 | 32 | 9.97
36 | YES | 10.2576 | 0.73492 | 0.022791 | -0.49508 | -0.025133 | 0.46995 |  | 0.73492 | -0.49508 | 4.7158 | 8.76 | 4.7158 | 2 | 5.0768 | 0.53834 | 185.7573 | 2 | 5.0768
36 | YES | 4.9316 | 5.1719 | 0.19343 | -5.6781 | -2.6848 | 2.9933 |  | 5.1719 | -5.6781 | 4.239 | 9.12 | 4.239 | 33 | 5.0585 | 0.4648 | 215.1466 | 33 | 5.0585
37 | YES | 100.005 | 0.092454 | 0.0030714 | -0.0075455 | 0.35997 | 0.36752 |  | 0.092454 | -0.0075455 | 5.3808 | 9.42 | 5.3808 | 30 | 5.346 | 0.57121 | 175.0663 | 30 | 5.346
37 | YES | 75.1566 | 0.093174 | 0.0031981 | 0.043174 | 0.35954 | 0.31637 |  | 0.093174 | 0.043174 | 4.8634 | 9.87 | 4.8634 | 37 | 5.3754 | 0.49275 | 202.9436 | 37 | 5.3754
37 | YES | 50.0462 | 0.088298 | 0.0038289 | 0.048298 | 0.36246 | 0.31417 |  | 0.088298 | 0.048298 | 6.2556 | 10.7 | 6.2556 | 29 | 5.7864 | 0.58463 | 171.047 | 29 | 5.7864
37 | YES | 30.0523 | 0.098248 | 0.0045612 | 0.028248 | 0.3565 | 0.32825 |  | 0.098248 | 0.028248 | 5.1719 | 10.85 | 5.1719 | 36 | 4.9316 | 0.47667 | 209.7867 | 36 | 4.9316
37 | YES | 20.5341 | 0.15738 | 0.0064217 | -0.01262 | 0.32106 | 0.33368 |  | 0.15738 | -0.01262 | 7.7688 | 11.65 | 7.7688 | 32 | 4.6334 | 0.66685 | 149.9586 | 32 | 4.6334
37 | YES | 10.3503 | 0.58886 | 0.017936 | -0.05114 | 0.062417 | 0.11356 |  | 0.58886 | -0.05114 | 6.0153 | 12.48 | 6.0153 | 31 | 10.344 | 0.482 | 207.4699 | 31 | 10.344
37 | YES | 5.3754 | 4.8634 | 0.15848 | -5.0066 | -2.4998 | 2.5067 |  | 4.8634 | -5.0066 | 6.8966 | 12.6 | 6.8966 | 34 | 5.2773 | 0.54735 | 182.6995 | 34 | 5.2773
38 | YES | 5.1969 | 2.2295 | 0.20302 | -1.1005 | -0.92102 | 0.17948 |  | 2.2295 | -1.1005 | 8.3608 | 17.65 | 8.3608 | 31 | 4.7849 | 0.4737 | 211.1037 | 31 | 4.7849
39 | YES | 5.0096 | 1.6957 | 0.014677 | 0.47574 | -0.60107 | -1.0768 |  | 1.6957 | 0.47574 | 11.2097 | 10.25 | 11.2097 | 36 | 5.2307 | 1.0936 | 91.4385 | 36 | 5.2307
1.4339
0.6974
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. FL_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2008/09/12 11:48:35
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | CHL | FL_CTD |  | FL_CTD - CHL
Average Size: | 0.5
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | CHL | FL_CTD | FL_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2008-26-0002.mrgcln2 | 2008-26-0002.sam | 121 | 5.077 | 5.0768 | 0.06158 | -0.00018168 | 8.76 | 4.7158 | 0.27448 | -4.0442
2008-26-0003.mrgcln2 | 2008-26-0003.sam | 121 | 99.28 | 99.28 | 0.043488 | 2.2888e-05 | 0.08 | 0.096835 | 0.0052889 | 0.016835
2008-26-0003.mrgcln2 | 2008-26-0003.sam | 235 | 75.042 | 75.2118 | 0.205 | 0.16975 | 0.06 | 0.098834 | 0.0052666 | 0.038834
2008-26-0003.mrgcln2 | 2008-26-0003.sam | 232 | 75.401 | 75.2367 | 0.2017 | -0.16425 | 0.04 | 0.098815 | 0.0052706 | 0.058815
2008-26-0003.mrgcln2 | 2008-26-0003.sam | 121 | 50.269 | 50.2689 | 0.075814 | -0.00013351 | 0.14 | 0.16004 | 0.0072553 | 0.020041
2008-26-0003.mrgcln2 | 2008-26-0003.sam | 121 | 25.155 | 25.1548 | 0.10654 | -0.00015831 | 1.29 | 1.9872 | 0.030763 | 0.6972
2008-26-0003.mrgcln2 | 2008-26-0003.sam | 593 | 9.986 | 9.9042 | 0.13902 | -0.081793 | 3.62 | 2.7491 | 0.20006 | -0.87088
2008-26-0003.mrgcln2 | 2008-26-0003.sam | 121 | 4.79 | 4.7896 | 0.10179 | -0.00038004 | 4.46 | 3.5041 | 0.089942 | -0.9559
2008-26-0006.mrgcln2 | 2008-26-0006.sam | 121 | 5.041 | 5.0412 | 0.0925 | 0.00016546 | 2.12 | 2.089 | 0.036919 | -0.030975
2008-26-0007.mrgcln2 | 2008-26-0007.sam | 121 | 99.785 | 99.7846 | 0.15882 | -0.0004425 | 0.05 | 0.11146 | 0.0061995 | 0.061463
2008-26-0007.mrgcln2 | 2008-26-0007.sam | 121 | 75.59 | 75.59 | 0.18827 | -3.0518e-05 | 0.12 | 0.21094 | 0.011084 | 0.090942
2008-26-0007.mrgcln2 | 2008-26-0007.sam | 121 | 49.68 | 49.6804 | 0.15779 | 0.0003624 | 0.23 | 0.41717 | 0.0089799 | 0.18716
2008-26-0007.mrgcln2 | 2008-26-0007.sam | 121 | 39.721 | 39.7207 | 0.14807 | -0.00026321 | 0.34 | 0.60136 | 0.015001 | 0.26136
2008-26-0007.mrgcln2 | 2008-26-0007.sam | 242 | 25.134 | 25.1727 | 0.16124 | 0.038677 | 1.76 | 2.1895 | 0.11836 | 0.42952
2008-26-0007.mrgcln2 | 2008-26-0007.sam | 121 | 20.064 | 20.0638 | 0.045099 | -0.0001564 | 1.59 | 1.659 | 0.067097 | 0.068983
2008-26-0007.mrgcln2 | 2008-26-0007.sam | 121 | 15.003 | 15.0032 | 0.077893 | 0.00017357 | 2.27 | 3.0517 | 0.13652 | 0.78167
2008-26-0007.mrgcln2 | 2008-26-0007.sam | 242 | 10.433 | 10.4112 | 0.10453 | -0.021813 | 2.27 | 3.1608 | 0.1044 | 0.89076
2008-26-0007.mrgcln2 | 2008-26-0007.sam | 269 | 5.212 | 5.172 | 0.078984 | -0.039963 | 1.54 | 1.4878 | 0.034273 | -0.052208
2008-26-0007.mrgcln2 | 2008-26-0007.sam | 121 | 2.791 | 2.7912 | 0.13301 | 0.00019836 | 1.63 | 1.3224 | 0.023085 | -0.30762
2008-26-0015.mrgcln2 | 2008-26-0015.sam | 121 | 7.95 | 7.9495 | 0.072853 | -0.00047922 | 0.62 | 0.7811 | 0.010159 | 0.1611
2008-26-0016.mrgcln2 | 2008-26-0016.sam | 121 | 4.874 | 4.8738 | 0.054894 | -0.00019026 | 0.39 | 0.65594 | 0.012025 | 0.26594
2008-26-0017.mrgcln2 | 2008-26-0017.sam | 121 | 5.047 | 5.0465 | 0.164 | -0.00047922 | 0.46 | 0.66134 | 0.019874 | 0.20134
2008-26-0018.mrgcln2 | 2008-26-0018.sam | 101 | 100.004 | 99.8804 | 0.27015 | -0.12358 | 0.04 | 0.12025 | 0.0065611 | 0.080247
2008-26-0018.mrgcln2 | 2008-26-0018.sam | 57 | 74.25 | 74.1722 | 0.29582 | -0.077805 | 0.19 | 0.34354 | 0.0087364 | 0.15354
2008-26-0018.mrgcln2 | 2008-26-0018.sam | 36 | 50.33 | 50.3582 | 0.34007 | 0.028248 | 0.39 | 1.1603 | 0.021699 | 0.77033
2008-26-0018.mrgcln2 | 2008-26-0018.sam | 41 | 24.751 | 24.8566 | 0.28378 | 0.10558 | 0.67 | 2.1485 | 0.018585 | 1.4785
2008-26-0018.mrgcln2 | 2008-26-0018.sam | 280 | 9.511 | 9.6388 | 0.182 | 0.12776 | 0.42 | 1.1916 | 0.02275 | 0.77163
2008-26-0018.mrgcln2 | 2008-26-0018.sam | 72 | 6.76 | 6.7834 | 0.29812 | 0.023375 | 0.41 | 0.88218 | 0.0081211 | 0.47218
2008-26-0020.mrgcln2 | 2008-26-0020.sam | 42 | 3.709 | 3.6085 | 0.32362 | -0.1005 | 0.39 | 1.2271 | 0.014247 | 0.83712
2008-26-0021.mrgcln2 | 2008-26-0021.sam | 121 | 6.096 | 6.0963 | 0.17848 | 0.00033855 | 0.29 | 0.76184 | 0.020284 | 0.47184
2008-26-0022.mrgcln2 | 2008-26-0022.sam | 121 | 5.777 | 5.7767 | 0.088693 | -0.00032234 | 0.25 | 0.74517 | 0.020141 | 0.49517
2008-26-0028.mrgcln2 | 2008-26-0028.sam | 68 | 99.734 | 99.8941 | 0.26564 | 0.16006 | 0.17 | 0.29921 | 0.01583 | 0.12921
2008-26-0028.mrgcln2 | 2008-26-0028.sam | 48 | 74.507 | 74.4139 | 0.26265 | -0.093086 | 0.27 | 0.69394 | 0.02149 | 0.42394
2008-26-0028.mrgcln2 | 2008-26-0028.sam | 60 | 51.353 | 51.3627 | 0.29928 | 0.009716 | 0.49 | 1.7133 | 0.0193 | 1.2233
2008-26-0028.mrgcln2 | 2008-26-0028.sam | 121 | 39.876 | 39.8756 | 0.14188 | -0.00043869 | 0.46 | 1.4357 | 0.016448 | 0.97574
2008-26-0028.mrgcln2 | 2008-26-0028.sam | 114 | 30.467 | 30.5007 | 0.2382 | 0.033676 | 0.44 | 1.1145 | 0.013931 | 0.6745
2008-26-0028.mrgcln2 | 2008-26-0028.sam | 184 | 23.789 | 23.789 | 0.14738 | 1.1444e-05 | 0.4 | 0.90982 | 0.05467 | 0.50982
2008-26-0028.mrgcln2 | 2008-26-0028.sam | 100 | 20.203 | 20.0651 | 0.28039 | -0.13786 | 0.37 | 0.82367 | 0.0094805 | 0.45367
2008-26-0028.mrgcln2 | 2008-26-0028.sam | 121 | 15.616 | 15.6158 | 0.29314 | -0.00016594 | 0.41 | 0.60002 | 0.0076648 | 0.19002
2008-26-0028.mrgcln2 | 2008-26-0028.sam | 242 | 10.446 | 10.373 | 0.20171 | -0.072988 | 0.39 | 0.40557 | 0.011181 | 0.015574
2008-26-0028.mrgcln2 | 2008-26-0028.sam | 260 | 5.057 | 5.0915 | 0.25772 | 0.034458 | 0.44 | 0.29534 | 0.0058351 | -0.14466
2008-26-0028.mrgcln2 | 2008-26-0028.sam | 106 | 2.534 | 2.6092 | 0.22955 | 0.075255 | 0.42 | 0.26515 | 0.004834 | -0.15485
2008-26-0031.mrgcln2 | 2008-26-0031.sam | 119 | 5.754 | 5.7621 | 0.20009 | 0.0081177 | 0.17 | 0.47019 | 0.014952 | 0.30018
2008-26-0032.mrgcln2 | 2008-26-0032.sam | 265 | 11.657 | 11.5851 | 0.26709 | -0.071878 | 0.19 | 0.49492 | 0.045052 | 0.30492
2008-26-0032.mrgcln2 | 2008-26-0032.sam | 121 | 4.209 | 4.2086 | 0.21157 | -0.00034714 | 0.2 | 0.50038 | 0.056377 | 0.30038
2008-26-0033.mrgcln2 | 2008-26-0033.sam | 121 | 5.123 | 5.1231 | 0.26699 | 9.0599e-05 | 0.22 | 0.44212 | 0.047878 | 0.22212
2008-26-0037.mrgcln2 | 2008-26-0037.sam | 86 | 100.047 | 99.9749 | 0.30615 | -0.072075 | 0.09 | 0.18214 | 0.0083598 | 0.092139
2008-26-0037.mrgcln2 | 2008-26-0037.sam | 111 | 75.189 | 75.1439 | 0.32186 | -0.04509 | 0.07 | 0.44557 | 0.078799 | 0.37557
2008-26-0037.mrgcln2 | 2008-26-0037.sam | 111 | 50.227 | 50.2811 | 0.22091 | 0.054108 | 0.44 | 1.233 | 0.31123 | 0.79298
2008-26-0037.mrgcln2 | 2008-26-0037.sam | 121 | 39.946 | 39.9456 | 0.33013 | -0.00043869 | 0.42 | 1.2513 | 0.23486 | 0.83131
2008-26-0037.mrgcln2 | 2008-26-0037.sam | 120 | 29.854 | 29.8495 | 0.24766 | -0.0044575 | 0.4 | 0.96293 | 0.040625 | 0.56293
2008-26-0037.mrgcln2 | 2008-26-0037.sam | 235 | 24.539 | 24.5973 | 0.18214 | 0.058332 | 0.41 | 0.99593 | 0.27497 | 0.58593
2008-26-0037.mrgcln2 | 2008-26-0037.sam | 100 | 20.489 | 20.4603 | 0.35244 | -0.0287 | 0.29 | 0.67967 | 0.036793 | 0.38967
2008-26-0037.mrgcln2 | 2008-26-0037.sam | 32 | 16.006 | 16.001 | 0.30256 | -0.0050011 | 0.21 | 0.41475 | 0.018073 | 0.20475
2008-26-0037.mrgcln2 | 2008-26-0037.sam | 242 | 10.306 | 10.2783 | 0.18804 | -0.027678 | 0.24 | 0.34683 | 0.047437 | 0.10683
2008-26-0037.mrgcln2 | 2008-26-0037.sam | 337 | 4.919 | 4.8572 | 0.1629 | -0.061795 | 0.32 | 0.37252 | 0.047125 | 0.052516
2008-26-0037.mrgcln2 | 2008-26-0037.sam | 121 | 1.978 | 1.9776 | 0.20146 | -0.00042152 | 0.35 | 0.36193 | 0.021194 | 0.011934
2008-26-0042.mrgcln2 | 2008-26-0042.sam | 121 | 4.154 | 4.1535 | 0.1739 | -0.00046253 | 0.38 | 0.74661 | 0.16282 | 0.36661
2008-26-0043.mrgcln2 | 2008-26-0043.sam | 229 | 10.297 | 10.2126 | 0.32476 | -0.084411 | 0.45 | 0.80717 | 0.049053 | 0.35718
2008-26-0043.mrgcln2 | 2008-26-0043.sam | 121 | 4.871 | 4.8712 | 0.13784 | 0.00020695 | 0.44 | 0.78883 | 0.040518 | 0.34883
2008-26-0044.mrgcln2 | 2008-26-0044.sam | 111 | 5.877 | 5.8148 | 0.17715 | -0.062252 | 0.44 | 0.33849 | 0.018461 | -0.10151
2008-26-0045.mrgcln2 | 2008-26-0045.sam | 79 | 100.207 | 100.437 | 0.3002 | 0.23048 | 0.1 | 0.19134 | 0.0048987 | 0.091342
2008-26-0045.mrgcln2 | 2008-26-0045.sam | 106 | 73.991 | 73.9046 | 0.30839 | -0.086403 | 0.39 | 0.69522 | 0.02438 | 0.30522
2008-26-0045.mrgcln2 | 2008-26-0045.sam | 35 | 48.87 | 48.8261 | 0.26236 | -0.043858 | 0.51 | 1.0235 | 0.057638 | 0.51349
2008-26-0045.mrgcln2 | 2008-26-0045.sam | 96 | 40.2 | 40.0054 | 0.23637 | -0.19465 | 0.43 | 0.93439 | 0.016563 | 0.50438
2008-26-0045.mrgcln2 | 2008-26-0045.sam | 64 | 30.267 | 30.1867 | 0.27199 | -0.080343 | 0.45 | 0.84891 | 0.040199 | 0.39891
2008-26-0045.mrgcln2 | 2008-26-0045.sam | 207 | 24.563 | 24.6133 | 0.29133 | 0.05031 | 0.46 | 0.73405 | 0.033914 | 0.27405
2008-26-0045.mrgcln2 | 2008-26-0045.sam | 44 | 19.468 | 19.4131 | 0.28116 | -0.054932 | 0.47 | 0.68032 | 0.054703 | 0.21032
2008-26-0045.mrgcln2 | 2008-26-0045.sam | 120 | 15.602 | 15.5976 | 0.26244 | -0.0043507 | 0.49 | 0.49128 | 0.020813 | 0.001275
2008-26-0045.mrgcln2 | 2008-26-0045.sam | 187 | 10.041 | 10.0353 | 0.19594 | -0.0057383 | 0.49 | 0.28507 | 0.013817 | -0.20493
2008-26-0045.mrgcln2 | 2008-26-0045.sam | 302 | 6.746 | 6.6671 | 0.29552 | -0.07894 | 0.47 | 0.29508 | 0.015319 | -0.17492
2008-26-0045.mrgcln2 | 2008-26-0045.sam | 121 | 2.924 | 2.924 | 0.19554 | -3.314e-05 | 0.49 | 0.27965 | 0.012842 | -0.21035
2008-26-0053.mrgcln2 | 2008-26-0053.sam | 121 | 4.411 | 4.4105 | 0.29159 | -0.00049543 | 0.62 | 1.1018 | 0.045298 | 0.48178
2008-26-0054.mrgcln2 | 2008-26-0054.sam | 308 | 10.726 | 10.6394 | 0.26665 | -0.086581 | 0.34 | 0.36079 | 0.037602 | 0.020792
2008-26-0054.mrgcln2 | 2008-26-0054.sam | 87 | 5.603 | 5.4484 | 0.27561 | -0.15456 | 0.36 | 0.25547 | 0.014381 | -0.10453
2008-26-0055.mrgcln2 | 2008-26-0055.sam | 116 | 5.302 | 5.2799 | 0.26572 | -0.022103 | 0.4 | 0.31583 | 0.023137 | -0.084172
2008-26-0056.mrgcln2 | 2008-26-0056.sam | 327 | 9.255 | 9.3433 | 0.22904 | 0.088348 | 0.52 | 0.46427 | 0.051674 | -0.055734
2008-26-0056.mrgcln2 | 2008-26-0056.sam | 118 | 4.873 | 4.888 | 0.23743 | 0.014975 | 0.47 | 0.42467 | 0.035374 | -0.045331
2008-26-0057.mrgcln2 | 2008-26-0057.sam | 106 | 4.899 | 4.9831 | 0.2876 | 0.084066 | 0.34 | 0.53437 | 0.041663 | 0.19437
2008-26-0058.mrgcln2 | 2008-26-0058.sam | 121 | 5.598 | 5.5976 | 0.22018 | -0.00036383 | 0.43 | 0.5596 | 0.048976 | 0.1296
2008-26-0062.mrgcln2 | 2008-26-0062.sam | 242 | 99.553 | 99.5918 | 0.16518 | 0.038826 | 0.12 | 0.20792 | 0.039276 | 0.087917
2008-26-0062.mrgcln2 | 2008-26-0062.sam | 242 | 75.43 | 75.416 | 0.19849 | -0.013954 | 0.21 | 0.37435 | 0.026611 | 0.16435
2008-26-0062.mrgcln2 | 2008-26-0062.sam | 134 | 50.21 | 50.1229 | 0.16233 | -0.087124 | 0.51 | 0.94069 | 0.05445 | 0.43069
2008-26-0062.mrgcln2 | 2008-26-0062.sam | 121 | 39.854 | 39.8541 | 0.17889 | 0.00012207 | 0.76 | 1.6371 | 0.097302 | 0.87707
2008-26-0062.mrgcln2 | 2008-26-0062.sam | 121 | 29.482 | 29.4824 | 0.15173 | 0.00043678 | 0.71 | 1.4513 | 0.064451 | 0.7413
2008-26-0062.mrgcln2 | 2008-26-0062.sam | 227 | 24.611 | 24.6117 | 0.15563 | 0.00068283 | 0.67 | 1.064 | 0.051096 | 0.39405
2008-26-0062.mrgcln2 | 2008-26-0062.sam | 121 | 19.797 | 19.797 | 0.15182 | -4.1962e-05 | 0.7 | 0.68468 | 0.027157 | -0.015322
2008-26-0062.mrgcln2 | 2008-26-0062.sam | 120 | 14.703 | 14.6986 | 0.24094 | -0.0043755 | 0.65 | 0.45362 | 0.049744 | -0.19638
2008-26-0062.mrgcln2 | 2008-26-0062.sam | 224 | 10.336 | 10.2682 | 0.16523 | -0.067791 | 0.64 | 0.35089 | 0.019491 | -0.28911
2008-26-0062.mrgcln2 | 2008-26-0062.sam | 319 | 4.661 | 4.6377 | 0.21885 | -0.023251 | 0.6 | 0.26454 | 0.013515 | -0.33546
2008-26-0062.mrgcln2 | 2008-26-0062.sam | 121 | 2.552 | 2.5521 | 0.11472 | 0.00013208 | 0.67 | 0.23407 | 0.011398 | -0.43593
2008-26-0084.mrgcln2 | 2008-26-0084.sam | 216 | 5.717 | 5.7864 | 0.2343 | 0.069365 | 10.7 | 6.2556 | 0.24007 | -4.4444
2008-26-0085.mrgcln2 | 2008-26-0085.sam | 121 | 5.346 | 5.346 | 0.16491 | 4.1008e-05 | 9.42 | 5.3808 | 0.21355 | -4.0392
2008-26-0086.mrgcln2 | 2008-26-0086.sam | 121 | 99.764 | 99.764 | 0.060741 | 3.0518e-05 | 0.35 | 0.20577 | 0.015746 | -0.14423
2008-26-0086.mrgcln2 | 2008-26-0086.sam | 121 | 75.57 | 75.5699 | 0.18631 | -0.00013733 | 0.2 | 0.16722 | 0.0073362 | -0.032785
2008-26-0086.mrgcln2 | 2008-26-0086.sam | 121 | 49.765 | 49.7649 | 0.071643 | -4.9591e-05 | 0.66 | 0.35967 | 0.024626 | -0.30033
2008-26-0086.mrgcln2 | 2008-26-0086.sam | 121 | 24.478 | 24.4776 | 0.25652 | -0.00043869 | 1.3 | 0.62612 | 0.036701 | -0.67388
2008-26-0086.mrgcln2 | 2008-26-0086.sam | 121 | 10.344 | 10.344 | 0.21263 | -4.9591e-05 | 12.48 | 6.0153 | 0.24416 | -6.4647
2008-26-0086.mrgcln2 | 2008-26-0086.sam | 121 | 4.785 | 4.7849 | 0.17159 | -5.7697e-05 | 17.65 | 8.3608 | 0.25073 | -9.2892
2008-26-0087.mrgcln2 | 2008-26-0087.sam | 121 | 100.001 | 100.001 | 0.049411 | -0.0002594 | 0.24 | 0.1635 | 0.0048753 | -0.076496
2008-26-0087.mrgcln2 | 2008-26-0087.sam | 121 | 75.095 | 75.0949 | 0.073795 | -0.0001297 | 0.37 | 0.16816 | 0.0074666 | -0.20184
2008-26-0087.mrgcln2 | 2008-26-0087.sam | 121 | 50.219 | 50.2187 | 0.14806 | -0.00027466 | 1.03 | 0.43407 | 0.01743 | -0.59593
2008-26-0087.mrgcln2 | 2008-26-0087.sam | 121 | 25.092 | 25.0918 | 0.049427 | -0.00023079 | 1.1 | 0.52627 | 0.029018 | -0.57373
2008-26-0087.mrgcln2 | 2008-26-0087.sam | 121 | 9.97 | 9.97 | 0.088743 | -8.5831e-06 | 5.86 | 3.1723 | 0.32715 | -2.6877
2008-26-0087.mrgcln2 | 2008-26-0087.sam | 121 | 4.633 | 4.6334 | 0.20776 | 0.00034714 | 11.65 | 7.7688 | 0.32409 | -3.8812
2008-26-0088.mrgcln2 | 2008-26-0088.sam | 121 | 100.343 | 100.343 | 0.09004 | -0.00023651 | 0.17 | 0.14454 | 0.0057112 | -0.025463
2008-26-0088.mrgcln2 | 2008-26-0088.sam | 121 | 75.565 | 75.5648 | 0.04417 | -0.00019836 | 0.21 | 0.13552 | 0.0058482 | -0.074479
2008-26-0088.mrgcln2 | 2008-26-0088.sam | 121 | 50.322 | 50.3218 | 0.17284 | -0.00017929 | 0.7 | 0.38962 | 0.025303 | -0.31038
2008-26-0088.mrgcln2 | 2008-26-0088.sam | 121 | 24.614 | 24.6139 | 0.14165 | -0.00014877 | 0.69 | 0.4137 | 0.014724 | -0.2763
2008-26-0088.mrgcln2 | 2008-26-0088.sam | 121 | 10.128 | 10.128 | 0.066969 | 0 | 4.14 | 2.2819 | 0.090691 | -1.8581
2008-26-0088.mrgcln2 | 2008-26-0088.sam | 121 | 5.059 | 5.0585 | 0.15663 | -0.00047922 | 9.12 | 4.239 | 0.14196 | -4.881
2008-26-0089.mrgcln2 | 2008-26-0089.sam | 121 | 100.551 | 100.551 | 0.12936 | -0.00041962 | 0.04 | 0.086388 | 0.0036796 | 0.046388
2008-26-0089.mrgcln2 | 2008-26-0089.sam | 121 | 74.544 | 74.5441 | 0.090387 | 5.3406e-05 | 0.07 | 0.095496 | 0.004021 | 0.025496
2008-26-0089.mrgcln2 | 2008-26-0089.sam | 121 | 49.772 | 49.7717 | 0.030468 | -0.00027084 | 0.14 | 0.12048 | 0.0073667 | -0.019521
2008-26-0089.mrgcln2 | 2008-26-0089.sam | 121 | 30.013 | 30.0129 | 0.24876 | -6.6757e-05 | 0.2 | 0.15407 | 0.0073418 | -0.045926
2008-26-0089.mrgcln2 | 2008-26-0089.sam | 121 | 20.037 | 20.0371 | 0.13443 | 5.722e-05 | 0.32 | 0.20952 | 0.0088752 | -0.11048
2008-26-0089.mrgcln2 | 2008-26-0089.sam | 121 | 9.99 | 9.9897 | 0.12043 | -0.00029755 | 1.32 | 0.46544 | 0.03411 | -0.85456
2008-26-0089.mrgcln2 | 2008-26-0089.sam | 121 | 5.277 | 5.2773 | 0.22646 | 0.00033903 | 12.6 | 6.8966 | 0.35062 | -5.7034
2008-26-0092.mrgcln2 | 2008-26-0092.sam | 121 | 30.064 | 30.0644 | 0.029609 | 0.00039864 | 0.23 | 0.12129 | 0.0058044 | -0.10871
2008-26-0092.mrgcln2 | 2008-26-0092.sam | 121 | 20.012 | 20.012 | 0.02939 | 1.7166e-05 | 0.21 | 0.17117 | 0.0057913 | -0.038835
2008-26-0092.mrgcln2 | 2008-26-0092.sam | 121 | 10.014 | 10.014 | 0.033211 | 2.4796e-05 | 1.42 | 0.86929 | 0.049412 | -0.55071
2008-26-0092.mrgcln2 | 2008-26-0092.sam | 121 | 5.231 | 5.2307 | 0.041587 | -0.00026464 | 10.25 | 11.2097 | 0.30619 | 0.95972
2008-26-0093.mrgcln2 | 2008-26-0093.sam | 121 | 30.274 | 30.2737 | 0.031522 | -0.00033951 | 0.09 | 0.10664 | 0.0060677 | 0.016636
2008-26-0093.mrgcln2 | 2008-26-0093.sam | 121 | 20.143 | 20.1433 | 0.0347 | 0.00034714 | 0.17 | 0.17041 | 0.0055673 | 0.00041322
2008-26-0093.mrgcln2 | 2008-26-0093.sam | 121 | 10.258 | 10.2576 | 0.032776 | -0.00035572 | 1.23 | 0.73492 | 0.022791 | -0.49508
2008-26-0093.mrgcln2 | 2008-26-0093.sam | 121 | 4.932 | 4.9316 | 0.02773 | -0.00035572 | 10.85 | 5.1719 | 0.19343 | -5.6781
2008-26-0096.mrgcln2 | 2008-26-0096.sam | 121 | 100.005 | 100.005 | 0.031207 | 0.00029755 | 0.1 | 0.092454 | 0.0030714 | -0.0075455
2008-26-0096.mrgcln2 | 2008-26-0096.sam | 121 | 75.157 | 75.1566 | 0.028558 | -0.0003891 | 0.05 | 0.093174 | 0.0031981 | 0.043174
2008-26-0096.mrgcln2 | 2008-26-0096.sam | 121 | 50.046 | 50.0462 | 0.02972 | 0.00017166 | 0.04 | 0.088298 | 0.0038289 | 0.048298
2008-26-0096.mrgcln2 | 2008-26-0096.sam | 121 | 30.052 | 30.0523 | 0.025911 | 0.00033951 | 0.07 | 0.098248 | 0.0045612 | 0.028248
2008-26-0096.mrgcln2 | 2008-26-0096.sam | 121 | 20.534 | 20.5341 | 0.033365 | 0.00014114 | 0.17 | 0.15738 | 0.0064217 | -0.01262
2008-26-0096.mrgcln2 | 2008-26-0096.sam | 121 | 10.35 | 10.3503 | 0.029504 | 0.00025559 | 0.64 | 0.58886 | 0.017936 | -0.05114
2008-26-0096.mrgcln2 | 2008-26-0096.sam | 121 | 5.375 | 5.3754 | 0.036711 | 0.00036383 | 9.87 | 4.8634 | 0.15848 | -5.0066
2008-26-0097.mrgcln2 | 2008-26-0097.sam | 121 | 5.197 | 5.1969 | 0.031112 | -9.1076e-05 | 3.33 | 2.2295 | 0.20302 | -1.1005
2008-26-0100.mrgcln2 | 2008-26-0100.sam | 121 | 5.01 | 5.0096 | 0.026498 | -0.00038862 | 1.22 | 1.6957 | 0.014677 | 0.47574
Create Fit Sheet