## Sheet1
Part 1 | Duplicates: Portasal
event_Number | Station_Name | Sample_Number | Salinity:Bottle | Flag:Salinity:Bottle |  | Flag:Salinity:Bottle | Difference | diff*diff | Station | Comments | Number of points |  | 3rd reading
6 | P2 | 13 | 33.7623 | d | 33.7545 |  | 0.0078 | 6.084e-05
6 | P2 | 14 | 33.7486 |  | 33.7468 |  | 0.0018 | 3.24e-06 | P2 |  | 3 |  | 33.7438
6 | P2 | 15 | 33.3754 |  | 33.3714 | d | 0.004 | 1.6e-05
6 | P2 | 16 | 33.3719 |  | 33.3666 | d | 0.0053 | 2.809e-05
6 | P2 | 17 | 33.0852 | d | 33.0826 |  | 0.0026 | 6.76e-06 | P2 |  | 3 |  | 33.0868
6 | P2 | 18 | 32.7705 |  | 32.7675 | d | 0.003 | 9e-06
6 | P2 | 23 | 32.351 |  | 32.3496 |  | 0.0014 | 1.96e-06
6 | P2 | 24 | 32.2664 |  | 32.2668 | d | -0.0004 | 1.6e-07
11 | P4 | 33 | 34.0079 |  | 34.0084 |  | -0.0005 | 2.5e-07 | P4 |  | 3
24 | P8 | 127 | 34.1478 | d | 34.1493 |  | -0.0015 | 2.25e-06 | P8 |  | 3
38 | P12 | 197 | 34.4356 |  | 34.4352 |  | 0.0004 | 1.6e-07 | P12 |  | 2
53 | P16 | 310 | 34.6486 |  | 34.6519 |  | -0.0033 | 1.089e-05 | P16 |  | 2
72 | P26 | 431 | 34.6185 |  | 34.6193 |  | -0.0008 | 6.4e-07 | P26 |  | 2
83 | MOORING | 508 | 32.4818 |  | 32.4788 |  | 0.003 | 9e-06 | MOORING |  | 3
[7 empty] | Diff | Sp
|  |  |  | all data |  |  | 0.0016286 | 0.0023087
|  |  |  | excluding "d" flags |  |  | 0.00028571 | 0.0013664 | (7 bottles)
|  |  |  | excluding all flags plus 1 outlier |  |  | 0.00046 | 0.0011951 | (6 bottles)
|  |  |  | Standard deviation of 7 |  |  | 0.0020643
|  |  |  | standard deviation of 6 |  |  | 0.0018425
For 2008-26 the results for the Portasal duplicate study was:
|  | Sp= | 0.0012198 | using all 7 pairs
|  | Sp= | 0.00051559 | if skip one pair
|  |  | avg difference all |  | -0.0005
|  |  | std dev of differences - all |  | 0.0017833
|  |  | avg diff excluding 1 pair |  | 0.00011667
|  |  | stdev excluding 1 |  | 0.00078846
Part 2 | Duplicates: Autosal
| Event_Number | Bottle Label | Station_Name | Sample_Number | Samp1 | Samp2 | Average | Difference | Diff * Diff | abs diff
| 11 | p4-39 | P4 | 39 | 33.3819 | 33.382 | 33.382 | -0.0001 | 1e-08 | 0.0001
| 24 | p8-124 | P8 | 124 | 34.4687 | 34.4691 | 34.4689 | -0.0004 | 1.6e-07 | 0.0004
| 24 | p8-142 | P8 | 142 | 32.3488 | 32.3501 | 32.3494 | -0.0013 | 1.69e-06 | 0.0013
| 38 | p12-197 | P12 | 197 | 34.4422 | 34.4413 | 34.4417 | 0.0009 | 8.1e-07 | 0.0009
| 53 | p16-310 | P16 | 310 | 34.6548 | 34.655 | 34.6549 | -0.0002 | 4e-08 | 0.0002
| 63 | p20-363 | P20 | 363 | 34.6765 | 34.6673 | 34.6719 | 0.0092 | 8.464e-05 | 0.0092
| 63 | p20-366 | P20 | 366 | 34.6314 | 34.6263 | 34.6288 | 0.0051 | 2.601e-05 | 0.0051
| 72 | p26-431 | P26 | 431 | 34.6253 | 34.6204 | 34.6228 | 0.0049 | 2.401e-05 | 0.0049
| 91 | p25-554 | P25 | 554 | 34.5862 | 34.5841 | 34.5851 | 0.0021 | 4.41e-06 | 0.0021
| 91 | p25-556 | P25 | 556 | 34.5869 | 34.5878 | 34.5874 | -0.0009 | 8.1e-07 | 0.0009
|  |  | Sp= | 0.0026701
| exclude 3 outliers |  |  | 0.00075261
| exclude 1 outlier |  |  | 0.0017943
For 2008-26 the results for the autosal duplicate study was:
|  |  | Sp= | 0.0012
Part 3 | Duplicates from Autosal and Portasal (2 on each salinometer)
Sample # | Port1 | Port2 | Port-avg | Auto1 | Auto2 | auto-avg | port_avg-auto_avg | port1-auto1 | port1-auto2 | port2-auto1 | port2-auto2 | CTD pri | CTD sec | CTDpri-port avg | CTDpri-auto_avg | CTD sec-auto_avg | CTDpri-auto1 | CTDpri-auto2 | CTDsec-port_avg
197 | 34.4356 | 34.4352 | 34.4354 | 34.4422 | 34.4413 | 34.4417 | -0.00635 | -0.0066 | -0.0057 | -0.007 | -0.0061 | 34.4377 | 34.4355 | 0.0023 | -0.00405 | -0.00625 | -0.0045 | -0.0036 | 0.0001
310 | 34.6486 | 34.6519 | 34.6502 | 34.6548 | 34.655 | 34.6549 | -0.00465 | -0.0062 | -0.0064 | -0.0029 | -0.0031 | 34.6518 | 34.6502 | 0.00155 | -0.0031 | -0.0047 | -0.003 | -0.0032 | -5e-05
431 | 34.6185 | 34.6193 | 34.6189 | 34.6253 | 34.6204 | 34.6253 | -0.0064 | -0.0068 | -0.0019 | -0.006 | -0.0011 | 34.6216 | 34.6199 | 0.0027 | -0.0037 | -0.0054 | -0.0037 | 0.0012 | 0.001
used only 1 sample instead of average
large diff between 2 samples
Summary
Sample # | Portasal Average - Autosal Average | CTD primary -Autosal Average | CTD secondary - Autosal Average | CTD primary - Portasal Average | CTD secondary - Portasal Average
197 | -0.00635 | -0.00405 | -0.00625 | 0.0023 | 0.0001
310 | -0.00465 | -0.0031 | -0.0047 | 0.00155 | -5e-05
431 | -0.0064 | -0.0037 | -0.0054 | 0.0027 | 0.001
avg | -0.0058 | -0.0036167 | -0.00545 | 0.0021833 | 0.00035
stdev | 0.00099624 | 0.00048045 | 0.00077621 | 0.00058381 | 0.00056789
Part 4 | One sample from each salinometer
Event_Number | Station_Name | Sample_Number | Port | Flag:Salinity:Bottle | Auto |  | Port-Auto
11 | P4 | 27 | 34.4518 | c | 34.4584 |  | -0.0066
11 | P4 | 28 | 34.451 | c | 34.4558 |  | -0.0048
11 | P4 | 29 | 34.374 | c | 34.3826 |  | -0.0086
11 | P4 | 30 | 34.2837 | c | 34.2912 |  | -0.0075
11 | P4 | 31 | 34.1816 | c | 34.1886 |  | -0.007
11 | P4 | 32 | 34.0676 | c | 34.0771 |  | -0.0095
11 | P4 | 33 | 34.0082 | fc | 34.0197 |  | -0.0115
11 | P4 | 35 | 33.9486 | c | 33.9575 |  | -0.0089
11 | P4 | 36 | 33.898 | c | 33.9101 |  | -0.0121
11 | P4 | 37 | 33.8002 | c | 33.8108 |  | -0.0106
11 | P4 | 39 | 33.3705 | c | 33.382 | f | -0.0115
11 | P4 | 40 | 32.768 | c | 32.7805 |  | -0.0125
11 | P4 | 41 | 32.4768 | c | 32.4881 |  | -0.0113
11 | P4 | 42 | 32.3017 | c | 32.3134 |  | -0.0117
11 | P4 | 43 | 32.1739 | c | 32.1852 |  | -0.0113
11 | P4 | 44 | 32.1738 | c | 32.1846 |  | -0.0108
24 | P8 | 122 | 34.5804 | c | 34.5902 |  | -0.0098
24 | P8 | 123 | 34.5049 | c | 34.5113 |  | -0.0064
24 | P8 | 124 | 34.459 | c | 34.4689 | f | -0.0099
24 | P8 | 126 | 34.3115 | c | 34.3186 |  | -0.0071
24 | P8 | 127 | 34.1493 | c | 34.1573 |  | -0.008
24 | P8 | 129 | 33.8911 | c | 33.9006 |  | -0.0095
24 | P8 | 132 | 33.8046 | c | 33.8117 |  | -0.0071
24 | P8 | 133 | 33.6749 | c | 33.6821 |  | -0.0072
24 | P8 | 134 | 33.3346 | c | 33.3441 |  | -0.0095
24 | P8 | 135 | 32.7288 | c | 32.7374 |  | -0.0086
24 | P8 | 137 | 32.4899 | c | 32.4933 |  | -0.0034
24 | P8 | 139 | 32.344 | c | 32.348 |  | -0.004
38 | P12 | 191 | 34.6416 | c | 34.6497 |  | -0.0081
38 | P12 | 192 | 34.6414 | c | 34.6487 |  | -0.0073
38 | P12 | 193 | 34.6416 | c | 34.6483 |  | -0.0067
38 | P12 | 194 | 34.6226 | c | 34.6291 |  | -0.0065
38 | P12 | 195 | 34.5842 | c | 34.5911 |  | -0.0069
38 | P12 | 196 | 34.4986 | c | 34.5062 |  | -0.0076
38 | P12 | 197 | 34.4354 | fc | 34.4417 | f | -0.0063
38 | P12 | 198 | 34.3578 | c | 34.3673 |  | -0.0095
38 | P12 | 199 | 34.2682 | c | 34.2751 |  | -0.0069
38 | P12 | 200 | 34.1468 | c | 34.1545 |  | -0.0077
38 | P12 | 201 | 33.9554 | c | 33.9635 |  | -0.0081
38 | P12 | 202 | 33.8713 | c | 33.8798 |  | -0.0085
38 | P12 | 203 | 33.8418 | c | 33.851 |  | -0.0092
38 | P12 | 204 | 33.8103 | c | 33.8193 |  | -0.009
38 | P12 | 205 | 33.7411 | c | 33.75 |  | -0.0089
38 | P12 | 206 | 33.2785 | c | 33.2869 |  | -0.0084
38 | P12 | 207 | 32.877 | c | 32.8858 |  | -0.0088
38 | P12 | 208 | 32.6206 | c | 32.6293 |  | -0.0087
38 | P12 | 209 | 32.5612 | c | 32.5626 |  | -0.0014
38 | P12 | 210 | 32.535 | c | 32.5448 |  | -0.0098
38 | P12 | 211 | 32.4635 | c | 32.4732 |  | -0.0097
38 | P12 | 212 | 32.3996 | c | 32.4084 |  | -0.0088
38 | P12 | 213 | 32.3934 | c | 32.4024 |  | -0.009
53 | P16 | 308 | 34.6646 | c | 34.6717 |  | -0.0071
53 | P16 | 309 | 34.6609 | c | 34.6678 |  | -0.0069
53 | P16 | 311 | 34.6492 | c | 34.656 |  | -0.0068
53 | P16 | 312 | 34.6274 | c | 34.6332 |  | -0.0058
53 | P16 | 313 | 34.5881 | c | 34.5874 |  | 0.0007
53 | P16 | 314 | 34.4982 | c | 34.5025 |  | -0.0043
53 | P16 | 315 | 34.4424 | c | 34.4453 |  | -0.0029
53 | P16 | 316 | 34.3618 | c | 34.3694 |  | -0.0076
53 | P16 | 317 | 34.2779 | c | 34.283 |  | -0.0051
53 | P16 | 318 | 34.1605 | c | 34.1675 |  | -0.007
53 | P16 | 319 | 34.024 | c | 34.0303 |  | -0.0063
53 | P16 | 320 | 33.9284 | c | 33.9344 |  | -0.006
53 | P16 | 321 | 33.8783 | c | 33.8875 |  | -0.0092
53 | P16 | 323 | 33.8148 | c | 33.8213 |  | -0.0065
53 | P16 | 324 | 33.7474 | c | 33.754 |  | -0.0066
53 | P16 | 325 | 33.4664 | c | 33.473 |  | -0.0066
53 | P16 | 326 | 32.7902 | c | 32.7971 |  | -0.0069
53 | P16 | 327 | 32.6007 | c | 32.6068 |  | -0.0061
53 | P16 | 328 | 32.5636 | c | 32.5698 |  | -0.0062
53 | P16 | 329 | 32.4883 | c | 32.495 |  | -0.0067
63 | P20 | 363 | 34.6642 | c | 34.6719 | fc | -0.0077
63 | P20 | 364 | 34.6488 | c | 34.6532 |  | -0.0044
63 | P20 | 365 | 34.6511 | c | 34.6519 |  | -0.0008
63 | P20 | 366 | 34.6237 | c | 34.6288 | fc | -0.0052
63 | P20 | 369 | 34.4393 | c | 34.441 |  | -0.0017
63 | P20 | 371 | 34.2721 | c | 34.2764 |  | -0.0043
63 | P20 | 376 | 33.7663 | c | 33.77 |  | -0.0037
63 | P20 | 377 | 33.7331 | c | 33.7416 |  | -0.0085
63 | P20 | 380 | 32.6186 | c | 32.629 |  | -0.0104
63 | P20 | 382 | 32.5733 | c | 32.5842 |  | -0.0109
63 | P20 | 383 | 32.4239 | c | 32.433 |  | -0.0091
63 | P20 | 384 | 32.4112 | c | 32.4197 |  | -0.0085
72 | P26 | 427 | 34.6825 | c | 34.6828 |  | -0.0003
72 | P26 | 428 | 34.6734 | c | 34.6762 |  | -0.0028
72 | P26 | 429 | 34.6683 | c | 34.6717 |  | -0.0034
72 | P26 | 430 | 34.6486 | c | 34.6515 |  | -0.0029
72 | P26 | 431 | 34.6189 | fc | 34.6228 | fc | -0.004
72 | P26 | 432 | 34.5802 | c | 34.5849 |  | -0.0047
72 | P26 | 434 | 34.4537 | c | 34.4576 |  | -0.0039
72 | P26 | 435 | 34.3842 | c | 34.3885 |  | -0.0043
72 | P26 | 437 | 34.1932 | c | 34.1963 |  | -0.0031
72 | P26 | 438 | 34.0305 | c | 34.0365 |  | -0.006
72 | P26 | 439 | 33.9042 | c | 33.9098 |  | -0.0056
72 | P26 | 440 | 33.8279 | c | 33.8335 |  | -0.0056
72 | P26 | 441 | 33.7597 | c | 33.7645 |  | -0.0048
72 | P26 | 442 | 33.7076 | c | 33.7108 |  | -0.0032
72 | P26 | 443 | 33.4049 | c | 33.4108 |  | -0.0059
72 | P26 | 444 | 32.8519 | c | 32.8566 |  | -0.0047
72 | P26 | 445 | 32.7225 | c | 32.726 |  | -0.0035
72 | P26 | 446 | 32.6539 | c | 32.6586 |  | -0.0047
72 | P26 | 447 | 32.6252 | c | 32.6308 |  | -0.0056
72 | P26 | 448 | 32.4936 | c | 32.4983 |  | -0.0047
72 | P26 | 449 | 32.4904 | c | 32.4964 |  | -0.006
72 | P26 | 450 | 32.4912 | c | 32.4964 |  | -0.0052
11 | P4 | 26 | 34.4718 | d | 34.481 |  | -0.0092
24 | P8 | 125 | 34.3865 | d | 34.3971 |  | -0.0106
24 | P8 | 128 | 33.9572 | d | 33.9734 |  | -0.0162
24 | P8 | 130 | 33.861 | d | 33.8703 |  | -0.0093
24 | P8 | 131 | 33.8422 | d | 33.8508 |  | -0.0086
24 | P8 | 138 | 32.4227 | d | 32.4265 |  | -0.0038
53 | P16 | 310 | 34.6486 | d | 34.6549 | f | -0.0063
53 | P16 | 322 | 33.8424 | d | 33.8463 |  | -0.0039
53 | P16 | 330 | 32.4085 | d | 32.4137 |  | -0.0052
63 | P20 | 368 | 34.4883 | d | 34.4886 |  | -0.0003
63 | P20 | 370 | 34.3648 | d | 34.3681 |  | -0.0033
63 | P20 | 372 | 34.1358 | d | 34.1403 |  | -0.0045
63 | P20 | 375 | 33.8063 | d | 33.8091 |  | -0.0028
63 | P20 | 378 | 33.5041 | d | 33.5148 |  | -0.0107
63 | P20 | 379 | 32.7807 | d | 32.7877 |  | -0.007
63 | P20 | 381 | 32.6136 | d | 32.6218 |  | -0.0082
63 | P20 | 385 | 32.4111 | d | 32.4196 |  | -0.0085
72 | P26 | 433 | 34.5078 | d | 34.5117 |  | -0.0039
53 | P16 | 331 | 32.4101 | c | 34.6333 |  | -2.2232
72 | P26 | 436 | 34.1929 | d | 34.3051 |  | -0.1122
|  |  | average excluding "d" and 1outlier |  |  |  | -0.0068429 | -0.0068429
|  |  | standard dev of above avg |  |  |  | 0.002715
|  |  | average all |  |  |  | -0.02541