File List for SeaBird Data          Cruise Number: _2008-27____

[osdcommon\cruise_data\2008-27\ARCHIVE]

[osdcommon\cruise_data\2008-27\ARCHIVE\Bottle] *.CHE

[osdcommon\cruise_data\2008-27\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2008-27\ARCHIVE\DOC] all documents from RAW and PROCESSING

[osdcommon\cruise_data\2008-27\ARCHIVE\DOC\HYDRO] COMPARE files and edited versions of    spreadsheets from analysts

[osdcommon\cruise_data\2008-27\ARCHIVE\DOC\TSG] all TSG documents

[osdcommon\cruise_data\2008-27\ARCHIVE\LOOP] loop file

[osdcommon\cruise_data\2008-27\ARCHIVE\TSG] *.TOB

[osdcommon\cruise_data\2008-27\PROCESSING]

[osdcommon\cruise_data\2008-27\PROCESSING\Angelica] files for use of A. Peña

[osdcommon\cruise_data\2008-27\PROCESSING\CONVERT]	*.CNV – after conversion

[osdcommon\cruise_data\2008-27\PROCESSING\DERIVE]*.CNV – after convert/wildedit/celltm/derive

[osdcommon\cruise_data\2008-27\PROCESSING\DOC]

2008-27-recal1.ccf – calibration control file for recalibration of DO and Secondary Sal

2008-27-recal2.ccf – calibration control file for 2nd recalibration of DO

2008-27-ctd.con – configuration files used in processing

2008-27-DO-duplicates.xls – study of duplicates/precision of DO samples

2008-27-salinity-duplicates.xls – study of duplicates/precision of Salinity samples

2008-27_file.doc - this document

2008-27_proc.doc - processing notes

2008-27-che-final.rpt – CTD file header check including channel summary

2008-27-ctd-final.rpt – CHE file header check including channel summary

2008-27-altimeter.csv – report on header entries for altimetry before corrections

*hdr.txt – header files with comments for CTD and CHE files

[osdcommon\cruise_data\2008-27\PROCESSING\DOC\hydro]

2008-27-bottle-salinity.csv – s/s with Autosal where available/Portasal elsewhere

2008-27-chl.csv – extracted chlorophyll data simplified from analyst’s s/s

2008-27-DMS.csv – edited version of DMS spreadsheet

2008-27-nuts.csv – nutrients simplified from analyst’s s/s

2008-27-chl-fluor-comp.csv & .xls – comparison of extracted CHL and CTD Fluorescence

2008-27-dox-comp1.csv & .xls – initial comparison of titrated DO & CTD DO run early

2008-27-dox-comp1-new.csv & .xls – as above but run after full bottles ready

2008-27-dox-comp2.csv & .xls – comparison of titrated DO and CTD DO after 1st recal

2008-27-dox-comp3.csv & .xls – comparison of titrated DO and downcast CTD DO

2008-27-dox-comp4.csv & .xls – comparison of titrated DO and CTD DO after final recal

2008-27-sal-comp1.csv & xls –salinity COMPARE file combining Autosal data and Portasal data

2008-27-sal-comp2.csv & xls – salinity COMPARE after recalibrating Autosal data

2008-27-sal-duplicates.xls – duplicates analyzed for each salinometer and comparison of the 2

Study of multiple bottle stops.xls – study of salinity at stops where multiple bottles were fired

addsamp.csv – spreadsheet relating bottle numbers to sample numbers

[osdcommon\cruise_data\2008-27\PROCESSING\DOC\hydro\Autosal]

2008-27-salinity-Auto.csv – simplified data from analyst with just Autosal data

2008-27-sal-comp1-Auto.csv & xls – COMPARE file for Autosal salinity data

[osdcommon\cruise_data\2008-27\PROCESSING\DOC\hydro\Portasal]

2008-27-salinity-Port.csv – simplified data from analyst with just Portasal data

2008-27-sal-comp1-Port.csv & xls – salinity COMPARE file using only Portasal data

[osdcommon\cruise_data\2008-27\PROCESSING\DOC\tsg]

2008-27-CHL-loop.csv

2008-27-CHL-loop-comp.csv

2008-27-sal-loop.csv

2008-27-tsg-recal*.ccf – recalibration files for TSG

2008-27-0002.con – sample configuration file for conversion of HEX files.

2008-27-ctd-TSG-comp.xls – comparison of TSG with CTD salinity at 4m

2008-27-TSG-loop-comp.xls – comparison of TSG SAL/FL and loop SAL/CHL

[osdcommon\cruise_data\2008-27\PROCESSING\HYDRO]

*.add1 – bottle from analyst after editing, formats fixed

*.bot  - *.ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl – extracted chlorophyll data converted from simplified version of spreadsheet

*.dms – DMS files converted from simplified version of analyst’s spreadsheet

*.ed1 – editing output for 4 files

*.log – log files for the editing of 4 files

*.mrg – after addition of oxygen and salinity bottle data to BOT files

*.nut – nutrient files converted from simplified version of analyst’s spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from simplified version of analyst’s spreadsheet

*.sam – bottle files with sample numbers added

[osdcommon\cruise_data\2008-27\PROCESSING\HYDRO\Autosal] files for comparison of AUTO sal only

[osdcommon\cruise_data\2008-27\PROCESSING\HYDRO\Portasal] files for comparison of PORT sal only

[osdcommon\cruise_data\2008-27\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del – after DELETE

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT.

Delete.log - log from routine DELETE

[osdcommon\cruise_data\2008-27\PROCESSING\Loop] files used for preparing loop file

[osdcommon\cruise_data\2008-27\PROCESSING\Test] files for testing new DO algorithm

[osdcommon\cruise_data\2008-27\PROCESSING\TSG] before conversion to IOS SHELL

*.cnv – test conversions (no positions)

*.csv – simplified versions of XLS files with positions

*.xls – files as prepared by chief scientist with positions

[osdcommon\cruise_data\2008-27\PROCESSING\TSG\IOS] after conversion to IOS SHELL

*.atc – after adding positions and times to headers and time/date channel

*.ed1– after editing using CTDEDIT

*.ios – after conversion to IOS HEADERS

*.log – log files from editing

*.tob – final TSG files______________________________________________________________________________

[osdcommon\cruise_data\2008-27\RAW]

[osdcommon\cruise_data\2008-27\RAW\Chemistry] data from analysts

[osdcommon\cruise_data\2008-27\RAW\CTD] raw CTD data

[osdcommon\cruise_data\2008-27\RAW\TSG] TSG raw files