## stns
2008-27 Aug LineP
All casts including 5 m bottles
Chlorophyll data analyzed at sea by Marie Robert using Turner Designs 10AU fluorometer calibrated with pure chlorophyll a.
Precision was determined by analyzing replicate samples drawn from the same Niskin
Pooled standard deviation of pairs of samples (Sp) was calucalated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
For replicate samples drawn from the same Niskin bottle:
Sp for chlorophyll for the range 0.07 to 3.08 ug/L was 0.033, k = 14
Cruise | Cast | Stn | Niskin | S.N. | Depth | Chlorophyll | Flag:CHL | Comments
|  |  | No. |  | db | ug/L
2008-27 | 3 | P1 | 1 | 12 | 5 | 7.2431
2008-27 | 5 | P2 | 12 | 24 | 5 | 4.054
2008-27 | 5 | P2 | 11 | 23 | 10 | 2.48 | f
2008-27 | 5 | P2 | 6 | 18 | 25 | 0.95361
2008-27 | 5 | P2 | 5 | 17 | 50 | 0.2623
2008-27 | 5 | P2 | 4 | 16 | 75 | 0.07377
2008-27 | 5 | P2 | 3 | 15 | 75 | 0.057826
2008-27 | 5 | P2 | 2 | 14 | 100 | 0.059975
2008-27 | 9 | P3 | 1 | 25 | 5 | 3.2027
2008-27 | 13 | P4 | 23 | 67 | 0 | 0.36007
2008-27 | 13 | P4 | 19 | 63 | 5 | 0.34 | f
2008-27 | 13 | P4 | 18 | 62 | 10 | 0.4471
2008-27 | 13 | P4 | 17 | 61 | 15 | 1.6394
2008-27 | 13 | P4 | 16 | 60 | 20 | 1.3254
2008-27 | 13 | P4 | 15 | 59 | 25 | 1.2006
2008-27 | 13 | P4 | 14 | 58 | 30 | 0.7317
2008-27 | 13 | P4 | 9 | 53 | 40 | 0.15833
2008-27 | 13 | P4 | 8 | 52 | 50 | 0.077368
2008-27 | 13 | P4 | 6 | 50 | 75 | 0.077134
2008-27 | 13 | P4 | 5 | 49 | 100 | 0.037784
2008-27 | 18 | P5 | 1 | 111 | 5 | 0.34486
2008-27 | 20 | P6 | 9 | 120 | 5 | 0.53378
2008-27 | 22 | P7 | 1 | 121 | 5 | 0.4918
2008-27 | 24 | P8 | 23 | 144 | 5 | 0.59614
2008-27 | 24 | P8 | 18 | 139 | 10 | 0.63595
2008-27 | 24 | P8 | 17 | 138 | 25 | 0.80967
2008-27 | 24 | P8 | 16 | 137 | 50 | 0.31667
2008-27 | 24 | P8 | 15 | 136 | 75 |  | i
2008-27 | 24 | P8 | 14 | 135 | 100 | 0.037072
2008-27 | 28 | P9 | 1 | 145 | 5 | 0.50379
2008-27 | 30 | P10 | 1 | 146 | 5 | 0.61175
2008-27 | 32 | P11 | 1 | 147 | 5 | 0.93594
2008-27 | 39 | P12 | 23 | 236 | 0 | 0.93594
2008-27 | 39 | P12 | 22 | 235 | 5 | 1.0282
2008-27 | 39 | P12 | 18 | 231 | 10 | 1.2715
2008-27 | 39 | P12 | 17 | 230 | 15 | 1.4274
2008-27 | 39 | P12 | 16 | 229 | 20 | 1.3434
2008-27 | 39 | P12 | 14 | 227 | 25 | 1.3729
2008-27 | 39 | P12 | 13 | 226 | 30 | 1.3175
2008-27 | 39 | P12 | 9 | 222 | 40 | 0.81918
2008-27 | 39 | P12 | 8 | 221 | 50 | 0.54 | f
2008-27 | 39 | P12 | 6 | 219 | 75 | 0.18532
2008-27 | 39 | P12 | 5 | 218 | 100 | 0.072729
2008-27 | 42 | P13 | 1 | 237 | 5 | 0.70344
2008-27 | 44 | P14 | 5 | 242 | 5 | 0.91209
2008-27 | 44 | P14 | 4 | 241 | 10 | 0.9776
2008-27 | 46 | P15 | 1 | 243 | 5 | 1.1095
2008-27 | 50 | P16 | 22 | 265 | 0 | 0.77368
2008-27 | 50 | P16 | 21 | 264 | 5 | 0.89421
2008-27 | 50 | P16 | 18 | 261 | 10 | 0.89421
2008-27 | 50 | P16 | 17 | 260 | 15 | 1.159
2008-27 | 50 | P16 | 16 | 259 | 20 | 1.1301
2008-27 | 50 | P16 | 14 | 257 | 25 | 1.1995
2008-27 | 50 | P16 | 13 | 256 | 30 | 0.90563
2008-27 | 50 | P16 | 9 | 252 | 40 | 0.49 | f
2008-27 | 50 | P16 | 8 | 251 | 50 | 0.29807
2008-27 | 50 | P16 | 6 | 249 | 75 | 0.19612
2008-27 | 50 | P16 | 5 | 248 | 100 | 0.052778
2008-27 | 55 | P17 | 1 | 332 | 5 | 0.58422
2008-27 | 58 | P18 | 5 | 337 | 5 | 0.75114
2008-27 | 58 | P18 | 4 | 336 | 10 | 0.62974
2008-27 | 60 | P19 | 1 | 338 | 5 | 0.56037
2008-27 | 62 | P20 | 23 | 361 | 0 |  | e | Problems with fluorometer
2008-27 | 62 | P20 | 22 | 360 | 5 |  | e | Problems with fluorometer
2008-27 | 62 | P20 | 18 | 356 | 10 |  | e | Problems with fluorometer
2008-27 | 62 | P20 | 17 | 355 | 15 |  | e | Problems with fluorometer
2008-27 | 62 | P20 | 16 | 354 | 20 |  | e | Problems with fluorometer
2008-27 | 62 | P20 | 14 | 352 | 25 |  | e | Problems with fluorometer
2008-27 | 62 | P20 | 13 | 351 | 30 |  | e | Problems with fluorometer
2008-27 | 62 | P20 | 9 | 347 | 40 |  | e | Problems with fluorometer
2008-27 | 62 | P20 | 8 | 346 | 50 |  | e | Problems with fluorometer
2008-27 | 62 | P20 | 6 | 344 | 75 |  | e | Problems with fluorometer
2008-27 | 62 | P20 | 5 | 343 | 100 |  | e | Problems with fluorometer
2008-27 | 69 | P21 | 1 | 426 | 5 |  | e | Problems with fluorometer
2008-27 | 83 | MOR | 9 | 508 | 0 |  | e | Problems with fluorometer
2008-27 | 83 | MOR | 8 | 507 | 5 |  | e | Problems with fluorometer
2008-27 | 83 | MOR | 5 | 504 | 10 |  | e | Problems with fluorometer
2008-27 | 83 | MOR | 4 | 503 | 20 |  | e | Problems with fluorometer
2008-27 | 83 | MOR | 3 | 502 | 30 |  | e | Problems with fluorometer
2008-27 | 86 | P26 | 22 | 546 | 0 |  | e | Problems with fluorometer
2008-27 | 86 | P26 | 21 | 545 | 5 |  | e | Problems with fluorometer
2008-27 | 86 | P26 | 18 | 542 | 10 |  | e | Problems with fluorometer
2008-27 | 86 | P26 | 17 | 541 | 15 |  | e | Problems with fluorometer
2008-27 | 86 | P26 | 16 | 540 | 20 |  | e | Problems with fluorometer
2008-27 | 86 | P26 | 14 | 538 | 25 |  | e | Problems with fluorometer
2008-27 | 86 | P26 | 13 | 537 | 30 |  | e | Problems with fluorometer
2008-27 | 86 | P26 | 9 | 533 | 40 |  | e | Problems with fluorometer
2008-27 | 86 | P26 | 8 | 532 | 50 |  | e | Problems with fluorometer
2008-27 | 86 | P26 | 6 | 530 | 75 |  | e | Problems with fluorometer
2008-27 | 86 | P26 | 5 | 529 | 100 |  | e | Problems with fluorometer
2008-27 | 87 | P26 | 5 | 551 | 0 |  | e | Problems with fluorometer
2008-27 | 87 | P26 | 4 | 550 | 6 |  | e | Problems with fluorometer
2008-27 | 87 | P26 | 3 | 549 | 10 |  | e | Problems with fluorometer
2008-27 | 87 | P26 | 2 | 548 | 18 |  | e | Problems with fluorometer
2008-27 | 87 | P26 | 1 | 547 | 37 |  | e | Problems with fluorometer
2008-27 | 89 | P35 | 1 | 552 | 5 |  | e | Problems with fluorometer
2008-27 | 91 | P25 | 24 | 576 | 5 |  | e | Problems with fluorometer
2008-27 | 93 | P24 | 5 | 581 | 5 |  | e | Problems with fluorometer
2008-27 | 93 | P24 | 4 | 580 | 10 |  | e | Problems with fluorometer
2008-27 | 95 | P23 | 1 | 582 | 5 |  | e | Problems with fluorometer
2008-27 | 97 | P22 | 5 | 587 | 5 |  | e | Problems with fluorometer
2008-27 | 97 | P22 | 4 | 586 | 10 |  | e | Problems with fluorometer
2008-27 | 113 | SS0 | 6 | 593 | 5 | 1.1207
2008-27 | 113 | SS0 | 2 | 589 | 30 | 0.61999
2008-27 | 115 | SS1 | 21 | 614 | 5 | 0.83209
2008-27 | 115 | SS1 | 20 | 613 | 10 | 0.90563
2008-27 | 115 | SS1 | 18 | 611 | 20 | 0.96575
2008-27 | 115 | SS1 | 17 | 610 | 30 | 0.73 | f
2008-27 | 115 | SS1 | 16 | 609 | 40 | 0.41258
2008-27 | 115 | SS1 | 14 | 607 | 50 | 0.17414
2008-27 | 115 | SS1 | 12 | 605 | 75 | 0.061402
2008-27 | 115 | SS1 | 11 | 604 | 100 | 0.021055
2008-27 | 116 | SS2 | 1 | 633 | 5 | 2.2057
2008-27 | 119 | SS3 | 18 | 632 | 5 | 2.1951
2008-27 | 119 | SS3 | 17 | 631 | 10 | 2.045
2008-27 | 119 | SS3 | 16 | 630 | 20 | 2.1521
2008-27 | 119 | SS3 | 14 | 628 | 30 | 0.79643
2008-27 | 119 | SS3 | 13 | 627 | 40 | 0.44382
2008-27 | 119 | SS3 | 11 | 625 | 50 | 0.27 | f
2008-27 | 119 | SS3 | 10 | 624 | 75 | 0.052178
2008-27 | 119 | SS3 | 8 | 622 | 100 | 0.02399
2008-27 | 123 | SS4 | 1 | 634 | 5 | 2.0507
2008-27 | 127 | SS7 | 12 | 646 | 5 | 10.52
2008-27 | 127 | SS7 | 11 | 645 | 10 | 9.7469
2008-27 | 127 | SS7 | 10 | 644 | 20 | 3.2327
2008-27 | 127 | SS7 | 8 | 642 | 30 | 0.77 | f
2008-27 | 127 | SS7 | 6 | 640 | 40 | 0.45581
2008-27 | 127 | SS7 | 5 | 639 | 50 | 0.38384
2008-27 | 127 | SS7 | 4 | 638 | 75 | 0.16036
2008-27 | 127 | SS7 | 2 | 636 | 100 | 0.025789
2008-27 | 128 | Ri1 | 20 | 666 | 5 | 0.6835
2008-27 | 128 | Ri1 | 19 | 665 | 10 | 0.45307
2008-27 | 128 | Ri1 | 17 | 663 | 20 | 0.34 | f
2008-27 | 128 | Ri1 | 16 | 662 | 30 | 0.23846
2008-27 | 128 | Ri1 | 14 | 660 | 40 | 0.14264
2008-27 | 128 | Ri1 | 13 | 659 | 50 | 0.12633
2008-27 | 128 | Ri1 | 11 | 657 | 75 | 0.089421
2008-27 | 128 | Ri1 | 10 | 656 | 100 | 0.061962
2008-27 | 131 | Ri2 | 1 | 667 | 5 | 1.0796
2008-27 | 132 | Ri3 | 1 | 668 | 5 | 1.528
2008-27 | 135 | Ri4 | 18 | 686 | 5 | 0.74369
2008-27 | 135 | Ri4 | 17 | 685 | 10 | 0.56977
2008-27 | 135 | Ri4 | 16 | 684 | 20 | 0.43518
2008-27 | 135 | Ri4 | 14 | 682 | 30 | 0.2623
2008-27 | 135 | Ri4 | 12 | 680 | 40 | 0.19 | f
2008-27 | 135 | Ri4 | 11 | 679 | 50 | 0.1848
2008-27 | 135 | Ri4 | 10 | 678 | 75 | 0.08
2008-27 | 135 | Ri4 | 8 | 676 | 100 | 0.074888
2008-27 | 136 | Ri5 | 1 | 687 | 5 | 0.57652
2008-27 | 139 | Ri6 | 1 | 688 | 5 | 0.52178
2008-27 | 141 | M2 | 12 | 700 | 5 | 2.5086
2008-27 | 141 | M2 | 11 | 699 | 10 | 2.531
2008-27 | 141 | M2 | 10 | 698 | 20 | 1.2936
2008-27 | 141 | M2 | 9 | 697 | 30 | 1.9611
2008-27 | 141 | M2 | 8 | 696 | 40 | 1.5929
2008-27 | 141 | M2 | 7 | 695 | 50 | 0.21461
2008-27 | 141 | M2 | 6 | 694 | 75 | 0.14903
2008-27 | 141 | M2 | 5 | 693 | 100 | 0.07 | f
2008-27 | 142 | M3 | 14 | 714 | 5 | 4.4577
2008-27 | 142 | M3 | 13 | 713 | 10 | 3.05 | f
2008-27 | 142 | M3 | 12 | 712 | 20 | 3.2124
2008-27 | 142 | M3 | 11 | 711 | 30 | 1.7117
2008-27 | 142 | M3 | 10 | 710 | 40 | 1.0223
2008-27 | 142 | M3 | 9 | 709 | 50 | 0.27422
2008-27 | 142 | M3 | 8 | 708 | 75 | 0.13195
2008-27 | 142 | M3 | 7 | 707 | 100 | 0.061775
2008-27 | 143 | M4 | 16 | 730 | 5 | 3.237
2008-27 | 143 | M4 | 15 | 729 | 10 | 3.4426
2008-27 | 143 | M4 | 14 | 728 | 20 | 2.8368
2008-27 | 143 | M4 | 13 | 727 | 30 | 1.37 | f
2008-27 | 143 | M4 | 12 | 726 | 40 | 0.98959
2008-27 | 143 | M4 | 11 | 725 | 50 | 0.38633
2008-27 | 143 | M4 | 10 | 724 | 75 | 0.155
2008-27 | 143 | M4 | 9 | 723 | 100 | 0.067364
2008-27 | 144 | M5 | 1 | 731 | 5 | 3.392
2008-27 | 145 | M6 | 5 | 736 | 5 | 3.0288
2008-27 | 145 | M6 | 2 | 733 | 30 | 2.6946
2008-27 | 147 | SS5 | 12 | 749 | 5 | 2.12 | f
2008-27 | 147 | SS5 | 11 | 748 | 10 | 0.039584
2008-27 | 147 | SS5 | 10 | 747 | 20 | 1.534
2008-27 | 147 | SS5 | 9 | 746 | 30 | 1.3135
2008-27 | 147 | SS5 | 8 | 745 | 40 | 0.46181
2008-27 | 147 | SS5 | 7 | 744 | 50 | 0.21291
2008-27 | 147 | SS5 | 6 | 743 | 75 | 2.0802
2008-27 | 147 | SS5 | 5 | 742 | 100 | 0.022057
2008-27 | 149 | CS02 | 19 | 769 | 5 | 1.0975
2008-27 | 149 | CS02 | 18 | 768 | 10 | 1.0467
2008-27 | 149 | CS02 | 17 | 767 | 25 | 0.9 | f
2008-27 | 149 | CS02 | 16 | 766 | 50 | 0.15821
2008-27 | 149 | CS02 | 15 | 765 | 75 | 0.035661
2008-27 | 149 | CS02 | 14 | 764 | 100 | 0.021991
2008-27 | 152 | P4 | 2 | 771 | 5 | 0.70771
2008-27 | 152 | P4 | 1 | 770 | 15 | 0.77968

## 5 m bottles
2008-27 Aug LineP
5 m bottles only
Cruise | Cast | Stn | Niskin | S.N. | Depth | Chlorophyll | Flag:CHL | Comments
|  |  | No. |  | db | ug/L
2008-27 | 3 | P1 |  | 12 | 5 | 7.2431
2008-27 | 5 | P2 | 12 | 24 | 5 | 4.054
2008-27 | 9 | P3 |  | 25 | 5 | 3.2027
2008-27 | 13 | P4 | 19 | 63 | 5 | 0.3427
2008-27 | 18 | P5 |  | 111 | 5 | 0.34486
2008-27 | 20 | P6 |  | 120 | 5 | 0.53378
2008-27 | 22 | P7 |  | 121 | 5 | 0.4918
2008-27 | 24 | P8 | 23 | 144 | 5 | 0.59614
2008-27 | 28 | P9 |  | 145 | 5 | 0.50379
2008-27 | 30 | P10 |  | 146 | 5 | 0.61175
2008-27 | 32 | P11 |  | 147 | 5 | 0.93594
2008-27 | 39 | P12 | 22 | 235 | 5 | 1.0282
2008-27 | 42 | P13 |  | 237 | 5 | 0.70344
2008-27 | 44 | P14 | 5 | 242 | 5 | 0.91209
2008-27 | 46 | P15 |  | 243 | 5 | 1.1095
2008-27 | 50 | P16 | 21 | 264 | 5 | 0.89421
2008-27 | 58 | P17 |  | 332 | 5 | 0.58422
2008-27 | 43 | P18 | 5 | 337 | 5 | 0.75114
2008-27 | 60 | P19 | 1 | 338 | 5 | 0.56037
2008-27 | 62 | P20 | 22 | 360 | 5 |  | e | Problems with fluorometer
2008-27 | 69 | P21 | 1 | 426 | 5 |  | e | Problems with fluorometer
2008-27 | 83 | MOR | 8 | 507 | 5 |  | e | Problems with fluorometer
2008-27 | 86 | P26 | 21 | 545 | 5 |  | e | Problems with fluorometer
2008-27 |  | P35 |  | 552 | 5 |  | e | Problems with fluorometer
2008-27 | 91 | P25 |  | 576 | 5 |  | e | Problems with fluorometer
2008-27 | 93 | P24 | 5 | 581 | 5 |  | e | Problems with fluorometer
2008-27 | 95 | P23 |  | 582 | 5 |  | e | Problems with fluorometer
2008-27 | 97 | P22 | 5 | 587 | 5 |  | e | Problems with fluorometer
2008-27 | 113 | SS0 | 6 | 593 | 5 | 1.1207
2008-27 | 115 | SS1 | 21 | 614 | 5 | 0.83209
2008-27 | 116 | SS2 |  | 633 | 5 | 2.2057 |  | sample number out of order?
2008-27 | 119 | SS3 | 18 | 632 | 5 | 2.1951 |  | sample number out of order?
2008-27 | 123 | SS4 |  | 634 | 5 | 2.0507
2008-27 | 127 | SS7 | 12 | 646 | 5 | 10.52
2008-27 | 128 | Ri1 | 20 | 666 | 5 | 0.6835
2008-27 | 131 | Ri2 |  | 667 | 5 | 1.0796
2008-27 | 132 | Ri3 |  | 668 | 5 | 1.528
2008-27 | 134 | Ri4 | 18 | 686 | 5 | 0.74369
2008-27 |  | Ri5 |  | 687 | 5 | 0.57652
2008-27 |  | Ri6 |  | 688 | 5 | 0.52178
2008-27 | 141 | M2 | 12 | 700 | 5 | 2.5086
2008-27 | 142 | M3 | 14 | 714 | 5 | 4.4577
2008-27 | 143 | M4 | 16 | 730 | 5 | 3.237
2008-27 | 144 | M5 |  | 731 | 5 | 3.392
2008-27 | 145 | M6 | 5 | 736 | 5 | 3.0288
2008-27 | 147 | SS5 | 12 | 749 | 5 | 2.1196
2008-27 | 149 | CS02 | 19 | 769 | 5 | 1.0975
2008-27 | 152 | P4 |  | 771 | 5 | 0.70771

## Loops
2008-27 Aug LineP
Loop samples only
Cruise | Cast | Stn | Niskin | S.N. | Chlorophyll | Flag:CHL | Comments
ug/L
2008-27 |  | JF1 |  | JF1 | 1.5619
2008-27 |  | JF2 |  | JF2 | 1.8957
2008-27 |  | JF3 |  | JF3 | 0.61402
2008-27 |  | JF4 |  | JF4 | 1.848
2008-27 |  | P18 |  | Loop | 0.59196
2008-27 |  | P19 |  | Loop | 0.48287
2008-27 |  | P21 |  | Loop |  | e | Problems with fluorometer
2008-27 |  | P23 |  | Loop |  | e | Problems with fluorometer
2008-27 |  | Loop 1 |  |  | 0.91209
2008-27 |  | Loop 2 |  |  | 1.3175
2008-27 |  | Loop 3 |  |  | 1.4334
2008-27 |  | Loop 4 |  |  | 1.266
2008-27 |  | Loop 5 |  |  | 1.0282
2008-27 |  | Loop 6 |  |  | 0.86181
2008-27 |  | Loop 7 |  |  | 0.84992
2008-27 |  | Loop 8 |  |  | 1.2541
2008-27 |  | Loop 9 |  |  | 1.5594
2008-27 |  | Loop 10 |  |  | 1.0736
2008-27 |  | Loop 11 |  |  | 5.9015
2008-27 |  | Loop 12 |  |  | 5.2178
2008-27 |  | Loop 13 |  |  | 3.9764

## Precision
Averaging Duplicates
File: Cocc2008-01\nutrients\February 6 Nutrient Summary 2008-01
Date : February 6, 2008
Station | Cast | Sample # | Depth | N | Chl a | Chl a diff sq
P2 | 6 | 23 a | 10 | 11 | 2.4428
P2 | 6 | 23 b | 10 | 11 | 2.5157 | 0.0053192
2.4792
P4 | 13 | 63 a | 5 | 19 | 0.34246
P4 | 13 | 63 b | 5 | 19 | 0.34294 | 2.3125e-07
0.3427
P12 | 39 | 221 a | 50 | 8 | 0.55177
P12 | 39 | 221 b | 50 | 8 | 0.53491 | 0.00028419
0.54334
P16 | 50 | 252 a | 40 | 9 | 0.49925
P16 | 50 | 252 b | 40 | 9 | 0.48142 | 0.00031793
0.49034
[8 empty] | P20 | 62 | 344 a | 75 | 6 | 0.058422 | Problems with Fluorometer
[8 empty] | P20 | 62 | 344 b | 75 | 6 | 0.085765
0.072093
[8 empty] | P26 | 86 | 541 a | 15 | 17 | 0.0080967
[8 empty] | P26 | 86 | 541 b | 15 | 17 | 0.0014994
0.004798
SS1 | 115 | 610 a | 30 | 17 | 0.73921
SS1 | 115 | 610 b | 30 | 17 | 0.71322 | 0.00067568
0.72622
SS3 | 119 | 625 a | 50 | 11 | 0.2623
SS3 | 119 | 625 b | 50 | 11 | 0.28615 | 0.00056861
0.27422
SS7 | 127 | 642 a | 30 | 8 | 0.77368
SS7 | 127 | 642 b | 30 | 8 | 0.76768 | 3.597e-05
0.77068
Ri 1 | 128 | 663 a | 20 | 17 | 0.32788
Ri 1 | 128 | 663 b | 20 | 17 | 0.3398 | 0.00014215
0.33384
Ri 4 | 135 | 680 a | 40 | 12 | 0.19852
Ri 4 | 135 | 680 b | 40 | 12 | 0.17884 | 0.00038723
0.18868
M2 | 141 | 693 a | 100 | 5 | 0.07197
M2 | 141 | 693 b | 100 | 5 | 0.067772 | 1.7625e-05
0.069871
M3 | 142 | 713 a | 10 | 13 | 3.0761
M3 | 142 | 713 b | 10 | 13 | 3.0168 | 0.0035194
3.0464
M4 | 143 | 727 a | 30 | 13 | 1.367
M4 | 143 | 727 b | 30 | 13 | 1.3592 | 6.0923e-05
1.3631
SS5 | 147 | 749 a | 5 | 12 | 2.1878
SS5 | 147 | 749 b | 5 | 12 | 2.0514 | 0.018621
2.1196
CS02 | 149 | 767 a | 25 | 17 | 0.89363
CS02 | 149 | 767 b | 25 | 17 | 0.90613 | 0.00015627
0.89988
[7 empty] | SUM OF (X-Y)SQ | 0.030107
[7 empty] | COUNT | 14
[7 empty] | SUM/2*COUNT | 0.0010752
[7 empty] | SQRT(SUM/2*COUNT) | 0.032791
[7 empty] | min | 0.067772
[7 empty] | max | 3.0761

## raw data
Cruise 2008-27 chlorophyll analysis
Analyzed using Water Properties Turner 10 AU calibrated with pure chlorophyll a April 23, 2008
Samples analyzed on cruise 2008-27 by Marie Robert
April 23, 2008: chl (ug/L)= 0.9537*(1.93/(1.93-1)*(Fo-Fa)*(vol ext/vol filtered)
April 23, 2008: phaeo (ug/L)= 0.9537*(1.93/(1.93-1)*((1.93*Fa)-Fo)*1(vol ext/vol filtered)
Date | Sample | Station | Sampling | Niskin | Cast | Nominal | Volume | Vol.acet. | Before | After | Chl.a | Phaeo | RATIO | Scale | Comments
(analyzed) | Number |  | Date | Number | no. | Depth | Filtered | (ml) | acid | acid | ug/l |  | Rb/Ra
(local) |  |  | UTC |  |  |  | (ml) |  |  |  |  | ug/L
2008-08-23 | Loop | JF1 | 2008-08-14 |  |  |  | 332 | 10 | 58.1 | 31.9 | 1.5619 | 0.20668 | 1.8213 | H
2008-08-23 | Loop | JF2 | 2008-08-14 |  |  |  | 332 | 10 | 76.2 | 44.4 | 1.8957 | 0.56586 | 1.7162 | H
2008-08-23 | Loop | JF3 | 2008-08-14 |  |  |  | 332 | 10 | 25.2 | 14.9 | 0.61402 | 0.21205 | 1.6913 | M
2008-08-23 | Loop | JF4 | 2008-08-14 |  |  |  | 332 | 10 | 75.6 | 44.6 | 1.848 | 0.62464 | 1.6951 | H
2008-08-23 | 12 | P1 | 2008-08-14 | 1 | 6 | 5 | 332 | 15 | 190 | 109 | 7.2431 | 1.8215 | 1.7431 | H
2008-08-23 | 14 | P2 | 2008-08-14 | 2 | 6 | 100 | 330 | 10 | 11.9 | 10.9 | 0.059975 | 0.54799 | 1.0917 | M
2008-08-23 | 15 | P2 | 2008-08-14 | 3 | 6 | 75 | 332 | 10 | 9.02 | 8.05 | 0.057826 | 0.38847 | 1.1205 | M
2008-08-23 | 16 | P2 | 2008-08-14 | 4 | 6 | 75 | 330 | 10 | 9.61 | 8.38 | 0.07377 | 0.39364 | 1.1468 | M
2008-08-23 | 17 | P2 | 2008-08-14 | 5 | 6 | 50 | 332 | 10 | 16.8 | 12.4 | 0.2623 | 0.42517 | 1.3548 | M
2008-08-23 | 18 | P2 | 2008-08-14 | 6 | 6 | 25 | 330 | 10 | 47.5 | 31.6 | 0.95361 | 0.80895 | 1.5032 | H/M
2008-08-23 | 23 a | P2 | 2008-08-14 | 11 | 6 | 10 | 333 | 10 | 106 | 64.9 | 2.4428 | 1.1445 | 1.6333 | H | Dropped tube, did it splash?
2008-08-23 | 23 b | P2 | 2008-08-14 | 11 | 6 | 10 | 332 | 10 | 112 | 69.8 | 2.5157 | 1.3541 | 1.6046 | H
2008-08-23 | 24 | P2 | 2008-08-14 | 12 | 6 | 5 | 331 | 10 | 164 | 96.2 | 4.054 | 1.2955 | 1.7048 | H
2008-08-23 | 25 | P3 | 2008-08-14 | 1 | 9 | 5 | 330 | 10 | 135 | 81.6 | 3.2027 | 1.3487 | 1.6544 | H
2008-08-23 | 49 | P4 | 2008-08-14 | 5 | 13 | 100 | 330 | 10 | 2.77 | 2.14 | 0.037784 | 0.081578 | 1.2944 | L
2008-08-23 | 50 | P4 | 2008-08-14 | 6 | 13 | 75 | 331 | 10 | 4.75 | 3.46 | 0.077134 | 0.11527 | 1.3728 | M
2008-08-23 | 52 | P4 | 2008-08-14 | 8 | 13 | 50 | 330 | 10 | 4.76 | 3.47 | 0.077368 | 0.11618 | 1.3718 | M
2008-08-23 | 53 | P4 | 2008-08-14 | 9 | 13 | 40 | 330 | 10 | 7.39 | 4.75 | 0.15833 | 0.10661 | 1.5558 | M
2008-08-23 | 58 | P4 | 2008-08-14 | 14 | 13 | 30 | 330 | 10 | 31.1 | 18.9 | 0.7317 | 0.32249 | 1.6455 | M
2008-08-23 | 59 | P4 | 2008-08-14 | 15 | 13 | 25 | 333 | 10 | 49.5 | 29.3 | 1.2006 | 0.41896 | 1.6894 | H
2008-08-23 | 60 | P4 | 2008-08-14 | 16 | 13 | 20 | 333 | 10 | 58.1 | 35.8 | 1.3254 | 0.65343 | 1.6229 | H
2008-08-23 | 61 | P4 | 2008-08-14 | 17 | 13 | 15 | 332 | 10 | 67.1 | 39.6 | 1.6394 | 0.55608 | 1.6944 | H
2008-08-23 | 62 | P4 | 2008-08-14 | 18 | 13 | 10 | 332 | 10 | 17.9 | 10.4 | 0.4471 | 0.12948 | 1.7212 | M
2008-08-23 | 63 a | P4 | 2008-08-14 | 19 | 13 | 5 | 330 | 10 | 13.6 | 7.89 | 0.34246 | 0.097622 | 1.7237 | M
2008-08-23 | 63 b | P4 | 2008-08-14 | 19 | 13 | 5 | 333 | 10 | 13.7 | 7.93 | 0.34294 | 0.095387 | 1.7276 | M
2008-08-23 | 67 | P4 | 2008-08-14 | 23 | 13 | 0 | 332 | 10 | 14.4 | 8.36 | 0.36007 | 0.10342 | 1.7225 | M
2008-08-23 | 111 | P5 | 2008-08-15 | 1 | 18 | 5 | 330 | 10 | 14.3 | 8.55 | 0.34486 | 0.13204 | 1.6725 | M
2008-08-23 | 120 | P6 | 2008-08-15 | 9 | 20 | 5 | 330 | 10 | 21.5 | 12.6 | 0.53378 | 0.16901 | 1.7063 | M
2008-08-23 | 121 | P7 | 2008-08-15 | 1 | 22 | 5 | 330 | 10 | 19.2 | 11 | 0.4918 | 0.12175 | 1.7455 | M
2008-08-23 | 135 | P8 | 2008-08-15 | 14 | 24 | 100 | 331 | 10 | 2.07 | 1.45 | 0.037072 | 0.04356 | 1.4276 | L
2008-08-23 | 137 | P8 | 2008-08-15 | 16 | 24 | 50 | 330 | 10 | 14.6 | 9.32 | 0.31667 | 0.20317 | 1.5665 | M
2008-08-23 | 138 | P8 | 2008-08-15 | 17 | 24 | 25 | 330 | 10 | 33.3 | 19.8 | 0.80967 | 0.29472 | 1.6818 | M
2008-08-23 | 139 | P8 | 2008-08-15 | 18 | 24 | 10 | 333 | 10 | 24 | 13.3 | 0.63595 | 0.099197 | 1.8045 | M
2008-08-23 | 144 | P8 | 2008-08-15 | 23 | 24 | 5 | 332 | 10 | 22.8 | 12.8 | 0.59614 | 0.11351 | 1.7812 | M
2008-08-23 | 145 | P9 | 2008-08-15 | 1 | 28 | 5 | 330 | 10 | 19.4 | 11 | 0.50379 | 0.10975 | 1.7636 | M
2008-08-23 | 146 | P10 | 2008-08-16 | 1 | 30 | 5 | 330 | 10 | 24.7 | 14.5 | 0.61175 | 0.19702 | 1.7034 | M
2008-08-23 | 147 | P11 | 2008-08-16 | 1 | 32 | 5 | 332 | 10 | 37.1 | 21.4 | 0.93594 | 0.2505 | 1.7336 | M
2008-08-23 | 218 | P12 | 2008-08-16 | 5 | 39 | 100 | 332 | 10 | 4.37 | 3.15 | 0.072729 | 0.10191 | 1.3873 | M/L
2008-08-23 | 219 | P12 | 2008-08-16 | 6 | 39 | 75 | 330 | 10 | 8.82 | 5.73 | 0.18532 | 0.13428 | 1.5393 | M
2008-08-23 | 221 a | P12 | 2008-08-16 | 8 | 39 | 50 | 330 | 10 | 23.2 | 14 | 0.55177 | 0.22911 | 1.6571 | M
2008-08-23 | 221 b | P12 | 2008-08-16 | 8 | 39 | 50 | 333 | 10 | 23.1 | 14.1 | 0.53491 | 0.24446 | 1.6383 | M
2008-08-23 | 222 | P12 | 2008-08-16 | 9 | 39 | 40 | 331 | 10 | 36.2 | 22.5 | 0.81918 | 0.43201 | 1.6089 | M
2008-08-23 | 226 | P12 | 2008-08-16 | 13 | 39 | 30 | 332 | 10 | 56.8 | 34.7 | 1.3175 | 0.60633 | 1.6369 | H
2008-08-23 | 227 | P12 | 2008-08-16 | 14 | 39 | 25 | 333 | 10 | 58 | 34.9 | 1.3729 | 0.55613 | 1.6619 | H
2008-08-23 | 229 | P12 | 2008-08-16 | 16 | 39 | 20 | 330 | 10 | 55.6 | 33.2 | 1.3434 | 0.50835 | 1.6747 | H
2008-08-23 | 230 | P12 | 2008-08-16 | 17 | 39 | 15 | 330 | 10 | 58.7 | 34.9 | 1.4274 | 0.51921 | 1.6819 | H
2008-08-23 | 231 | P12 | 2008-08-16 | 18 | 39 | 10 | 330 | 10 | 50.4 | 29.2 | 1.2715 | 0.35721 | 1.726 | H/M
2008-08-23 | 235 | P12 | 2008-08-16 | 22 | 39 | 5 | 333 | 10 | 39.7 | 22.4 | 1.0282 | 0.20992 | 1.7723 | H/M
2008-08-23 | 236 | P12 | 2008-08-16 | 23 | 39 | 0 | 332 | 10 | 36.5 | 20.8 | 0.93594 | 0.21723 | 1.7548 | M
2008-08-23 | 237 | P13 | 2008-08-17 | 1 | 42 | 5 | 332 | 10 | 27.9 | 16.1 | 0.70344 | 0.18916 | 1.7329 | M
2008-08-23 | 241 | P14 | 2008-08-17 | 4 | 44 | 10 | 330 | 10 | 39.5 | 23.2 | 0.9776 | 0.31643 | 1.7026 | H/M
2008-08-23 | 242 | P14 | 2008-08-17 | 5 | 44 | 5 | 332 | 10 | 36.1 | 20.8 | 0.91209 | 0.24108 | 1.7356 | M
2008-08-23 | 243 | P15 | 2008-08-17 | 1 | 46 | 5 | 330 | 10 | 42.7 | 24.2 | 1.1095 | 0.24026 | 1.7645 | H
2008-08-23 | 248 | P16 | 2008-08-17 | 5 | 50 | 100 | 330 | 10 | 3.18 | 2.3 | 0.052778 | 0.075509 | 1.3826 | L
2008-08-23 | 249 | P16 | 2008-08-17 | 6 | 50 | 75 | 330 | 10 | 11.6 | 8.33 | 0.19612 | 0.2685 | 1.3926 | M
2008-08-23 | 251 | P16 | 2008-08-17 | 8 | 50 | 50 | 332 | 10 | 15.2 | 10.2 | 0.29807 | 0.26743 | 1.4902 | M
2008-08-23 | 252 a | P16 | 2008-08-17 | 9 | 50 | 40 | 333 | 10 | 24.8 | 16.4 | 0.49925 | 0.40725 | 1.5122 | M
2008-08-23 | 252 b | P16 | 2008-08-17 | 9 | 50 | 40 | 333 | 10 | 22.9 | 14.8 | 0.48142 | 0.33664 | 1.5473 | M
2008-08-23 | 256 | P16 | 2008-08-17 | 13 | 50 | 30 | 330 | 10 | 40.9 | 25.8 | 0.90563 | 0.53342 | 1.5853 | H
2008-08-23 | 257 | P16 | 2008-08-17 | 14 | 50 | 25 | 330 | 10 | 50.8 | 30.8 | 1.1995 | 0.51843 | 1.6494 | H
2008-08-24 | 259 | P16 | 2008-08-17 | 16 | 50 | 20 | 331 | 10 | 41.1 | 22.2 | 1.1301 | 0.1044 | 1.8514 | H/M
2008-08-24 | 260 | P16 | 2008-08-17 | 17 | 50 | 15 | 333 | 10 | 41 | 21.5 | 1.159 | 0.02942 | 1.907 | H/M
2008-08-24 | 261 | P16 | 2008-08-17 | 18 | 50 | 10 | 332 | 10 | 35.6 | 20.6 | 0.89421 | 0.24787 | 1.7282 | M
2008-08-24 | 264 | P16 | 2008-08-17 | 21 | 50 | 5 | 332 | 10 | 36.3 | 21.3 | 0.89421 | 0.28668 | 1.7042 | M
2008-08-24 | 265 | P16 | 2008-08-17 | 22 | 50 | 0 | 330 | 10 | 29.9 | 17 | 0.77368 | 0.17453 | 1.7588 | M
2008-08-24 | 332 | P17 | 2008-08-18 | 1 | 55 | 5 | 332 | 10 | 26.1 | 16.3 | 0.58422 | 0.31947 | 1.6012 | M
2008-08-24 | 336 | P18 | 2008-08-18 | 4 | 58 | 10 | 330 | 10 | 27.9 | 17.4 | 0.62974 | 0.34078 | 1.6034 | M
2008-08-24 | 337 | P18 | 2008-08-18 | 5 | 58 | 5 | 332 | 10 | 28.7 | 16.1 | 0.75114 | 0.14146 | 1.7826 | M
2008-08-24 | Loop | P18 | 2008-08-18 |  |  |  | 331 | 10 | 22 | 12.1 | 0.59196 | 0.080901 | 1.8182 | M
2008-08-24 | 338 | P19 | 2008-08-18 | 1 | 60 | 5 | 332 | 10 | 21 | 11.6 | 0.56037 | 0.082744 | 1.8103 | M
2008-08-24 | Loop | P19 | 2008-08-18 |  |  |  | 332 | 10 | 19.8 | 11.7 | 0.48287 | 0.16579 | 1.6923 | M
2008-08-24 | 343 | P20 | 2008-08-19 | 5 | 62 | 100 | 332 | 10 | 3.08 | 2.5 | 0.034576 | 0.10403 | 1.232 | L | Problems with fluorometer started here
2008-08-24 | 344 a | P20 | 2008-08-19 | 6 | 62 | 75 | 332 | 10 | 4.51 | 3.53 | 0.058422 | 0.13729 | 1.2776 | M | The pin was not engaged in the cuvette holder
2008-08-24 | 344 b | P20 | 2008-08-19 | 6 | 62 | 75 | 330 | 10 | 4.9 | 3.47 | 0.085765 | 0.10778 | 1.4121 | M | All readings from sample 343 to 587 inclusive are suspect
2008-08-24 | 346 | P20 | 2008-08-19 | 8 | 62 | 50 | 333 | 10 | 6.9 | 4.27 | 0.15631 | 0.079708 | 1.6159 | M | All data will be deleted from the QF file
2008-08-24 | 347 | P20 | 2008-08-19 | 9 | 62 | 40 | 332 | 10 | 7.89 | 4.85 | 0.18123 | 0.087662 | 1.6268 | M
2008-08-24 | 351 | P20 | 2008-08-19 | 13 | 62 | 30 | 330 | 10 | 8.71 | 5.84 | 0.17213 | 0.15361 | 1.4914 | M
2008-08-24 | 352 | P20 | 2008-08-19 | 14 | 62 | 25 | 333 | 10 | 13.5 | 7.98 | 0.32808 | 0.11301 | 1.6917 | M
2008-08-24 | 354 | P20 | 2008-08-19 | 16 | 62 | 20 | 330 | 10 | 12.1 | 6.91 | 0.31127 | 0.074147 | 1.7511 | M
2008-08-24 | 355 | P20 | 2008-08-19 | 17 | 62 | 15 | 331 | 10 | 11.6 | 6.55 | 0.30196 | 0.062276 | 1.771 | M
2008-08-24 | 356 | P20 | 2008-08-19 | 18 | 62 | 10 | 330 | 10 | 11.8 | 6.96 | 0.29028 | 0.097928 | 1.6954 | M
2008-08-24 | 360 | P20 | 2008-08-19 | 22 | 62 | 5 | 333 | 10 | 11.7 | 5.89 | 0.34532 | -0.01975 | 1.9864 | M
2008-08-24 | 361 | P20 | 2008-08-19 | 23 | 62 | 0 | 330 | 10 | 13.1 | 7.93 | 0.31007 | 0.13224 | 1.652 | M
2008-08-24 | 426 | P21 | 2008-08-19 | 1 | 69 | 5 | 333 | 10 | 8.32 | 4.94 | 0.20089 | 0.072166 | 1.6842 | M
2008-08-24 | Loop | P21 | 2008-08-19 |  |  |  | 333 | 10 | 7.21 | 4.35 | 0.16998 | 0.07046 | 1.6575 | M
2008-08-24 | 502 | Mooring | 2008-08-21 | 3 | 83 | 30 | 333 | 10 | 11.4 | 6.33 | 0.30134 | 0.048552 | 1.8009 | M
2008-08-24 | 503 | Mooring | 2008-08-21 | 4 | 83 | 20 | 333 | 10 | 12.1 | 6.04 | 0.36018 | -0.026318 | 2.0033 | M
2008-08-24 | 504 | Mooring | 2008-08-21 | 5 | 83 | 10 | 330 | 10 | 7.96 | 3.18 | 0.28668 | -0.10931 | 2.5031 | M/L
2008-08-24 | 507 | Mooring | 2008-08-21 | 8 | 83 | 5 | 330 | 10 | 5.42 | 2.19 | 0.19372 | -0.071568 | 2.4749 | M/L
2008-08-24 | 508 | Mooring | 2008-08-21 | 9 | 83 | 0 | 332 | 10 | 2.04 | 1.74 | 0.017884 | 0.078583 | 1.1724 | L
2008-08-24 | 529 | P26 | 2008-08-21 | 5 | 86 | 100 | 330 | 10 | 0.051 | 0.018 | 0.0019792 | -0.0009752 | 2.8333 | L
2008-08-24 | 530 | P26 | 2008-08-21 | 6 | 86 | 75 | 332 | 10 | 0.012 | 0.002 | 0.00059614 | -0.00048526 | 6 | L
2008-08-24 | 532 | P26 | 2008-08-21 | 8 | 86 | 50 | 333 | 10 | 0.006 | 0 | 0.00035661 | -0.00035661 | #DIV/0! | L
2008-08-24 | 533 | P26 | 2008-08-21 | 9 | 86 | 40 | 333 | 10 | 0 | 0 | 0 | 0 | #DIV/0! | L
2008-08-24 | 537 | P26 | 2008-08-21 | 13 | 86 | 30 | 330 | 10 | 0.039 | 0.022 | 0.0010196 | 0.00020751 | 1.7727 | L
2008-08-24 | 538 | P26 | 2008-08-21 | 14 | 86 | 25 | 331 | 10 | 0.196 | 0.025 | 0.010225 | -0.0088346 | 7.84 | L
2008-08-24 | 540 | P26 | 2008-08-21 | 16 | 86 | 20 | 333 | 10 | 0.31 | 0.09 | 0.013076 | -0.008101 | 3.4444 | L
2008-08-24 | 541 a | P26 | 2008-08-21 | 17 | 86 | 15 | 330 | 10 | 0.212 | 0.077 | 0.0080967 | -0.0038018 | 2.7532 | L
2008-08-24 | 541 b | P26 | 2008-08-21 | 17 | 86 | 15 | 330 | 10 | 0.439 | 0.414 | 0.0014994 | 0.021592 | 1.0604 | L | Added more acid and got .740?
2008-08-24 | 542 | P26 | 2008-08-21 | 18 | 86 | 10 | 330 | 10 | 2.25 | 1.25 | 0.059975 | 0.009746 | 1.8 | L
2008-08-24 | 545 | P26 | 2008-08-21 | 21 | 86 | 5 | 332 | 10 | 2.91 | 1.53 | 0.082267 | 0.0025574 | 1.902 | L
2008-08-24 | 546 | P26 | 2008-08-21 | 22 | 86 | 0 | 332 | 10 | 6 | 2.88 | 0.186 | -0.026326 | 2.0833 | M/L
2008-08-24 | 547 | P26 | 2008-08-22 | 1 | 87 | 37 | 331 | 10 | 0.942 | 0.544 | 0.023798 | 0.006453 | 1.7316 | L
2008-08-24 | 548 | P26 | 2008-08-22 | 2 | 87 | 18 | 333 | 10 | 4.45 | 2.97 | 0.087964 | 0.076202 | 1.4983 | M/L
2008-08-24 | 549 | P26 | 2008-08-22 | 3 | 87 | 10 | 330 | 10 | 3.78 | 2.19 | 0.095361 | 0.026791 | 1.726 | L
2008-08-24 | 550 | P26 | 2008-08-22 | 4 | 87 | 6 | 332 | 10 | 2.52 | 1.27 | 0.074517 | -0.0041074 | 1.9843 | L
2008-08-24 | 551 | P26 | 2008-08-22 | 5 | 87 | 0 | 332 | 10 | 4.66 | 2.73 | 0.11505 | 0.036299 | 1.707 | M/L
2008-08-24 | 552 | P35 | 2008-08-22 | 1 | 89 | 5 | 330 | 10 | 3.23 | 1.84 | 0.083366 | 0.019264 | 1.7554 | L
2008-08-24 | 576 | P25 | 2008-08-22 | 24 | 91 | 5 | 330 | 10 | 4.67 | 3.31 | 0.081566 | 0.10306 | 1.4109 | M
2008-08-24 | 580 | P24 | 2008-08-22 | 4 | 93 | 10 | 333 | 10 | 7.88 | 3.85 | 0.23952 | -0.026716 | 2.0468 | M
2008-08-24 | 581 | P24 | 2008-08-22 | 5 | 93 | 5 | 330 | 10 | 5.02 | 4.17 | 0.050979 | 0.18161 | 1.2038 | M
2008-08-24 | 582 | P23 | 2008-08-23 | 1 | 95 | 5 | 331 | 10 | 4.11 | 2.06 | 0.12258 | -0.0080244 | 1.9951 | M/L | Generic volume
2008-08-24 | Loop | P23 | 2008-08-23 |  |  |  | 331 | 10 | 5.67 | 3.82 | 0.11062 | 0.10181 | 1.4843 | M | Generic volume
2008-08-24 | 586 | P22 | 2008-08-23 | 4 | 97 | 10 | 330 | 10 | 3.53 | 2.72 | 0.04858 | 0.10313 | 1.2978 | L
2008-08-24 | 587 | P22 | 2008-08-23 | 5 | 97 | 5 | 330 | 10 | 4.53 | 2.36 | 0.13015 | 0.0014874 | 1.9195 | M/L | Problems with fluorometer continued to here
2008-08-26 | oct '06 A | [5 empty] | 332 | 10 | 30.9 | 18.6 | 0.73325 | 0.29795 | 1.6613 | M
2008-08-26 | oct '06 B | [5 empty] | 332 | 10 | 29.8 | 17.5 | 0.73325 | 0.23697 | 1.7029 | M
2008-08-26 | jan '08 | [5 empty] | 332 | 10 | 30 | 17.5 | 0.74517 | 0.22504 | 1.7143 | M
2008-09-02 | Loop | Loop 1 | 2008-08-24 |  |  |  | 332 | 10 | 36.4 | 21.1 | 0.91209 | 0.25771 | 1.7251 | M
2008-09-02 | Loop | Loop 2 | 2008-08-24 |  |  |  | 332 | 10 | 51.1 | 29 | 1.3175 | 0.29032 | 1.7621 | H/M
2008-09-02 | Loop | Loop 3 | 2008-08-24 |  |  |  | 330 | 10 | 56.7 | 32.8 | 1.4334 | 0.39608 | 1.7287 | H
2008-09-02 | Loop | Loop 4 | 2008-08-24 |  |  |  | 333 | 10 | 49.8 | 28.5 | 1.266 | 0.30936 | 1.7474 | H/M
2008-09-02 | Loop | Loop 5 | 2008-08-25 |  |  |  | 333 | 10 | 42.4 | 25.1 | 1.0282 | 0.35917 | 1.6892 | H/M
2008-09-02 | Loop | Loop 6 | 2008-08-25 |  |  |  | 333 | 10 | 35.3 | 20.8 | 0.86181 | 0.2879 | 1.6971 | M
2008-09-02 | Loop | Loop 7 | 2008-08-25 |  |  |  | 333 | 10 | 37.3 | 23 | 0.84992 | 0.42139 | 1.6217 | M
2008-09-02 | Loop | Loop 8 | 2008-08-25 |  |  |  | 333 | 10 | 49.7 | 28.6 | 1.2541 | 0.32677 | 1.7378 | H
2008-09-02 | 589 | SS0 | 2008-08-25 | 2 | 113 | 30 | 332 | 10 | 26.2 | 15.8 | 0.61999 | 0.25598 | 1.6582 | M
2008-09-02 | 593 | SS0 | 2008-08-25 | 6 | 113 | 5 | 332 | 10 | 44.4 | 25.6 | 1.1207 | 0.29855 | 1.7344 | H
2008-09-02 | 604 | SS1 | 2008-08-26 | 11 | 115 | 100 | 329 | 10 | 2.46 | 2.11 | 0.021055 | 0.096992 | 1.1659 | L
2008-09-02 | 605 | SS1 | 2008-08-26 | 12 | 115 | 75 | 332 | 10 | 4.01 | 2.98 | 0.061402 | 0.10381 | 1.3456 | M/L
2008-09-02 | 607 | SS1 | 2008-08-26 | 14 | 115 | 50 | 333 | 10 | 8.99 | 6.06 | 0.17414 | 0.16082 | 1.4835 | M
2008-09-02 | 609 | SS1 | 2008-08-26 | 16 | 115 | 40 | 331 | 10 | 17.8 | 10.9 | 0.41258 | 0.19355 | 1.633 | M
2008-09-02 | 610 a | SS1 | 2008-08-26 | 17 | 115 | 30 | 332 | 10 | 31.7 | 19.3 | 0.73921 | 0.3308 | 1.6425 | M
2008-09-02 | 610 b | SS1 | 2008-08-26 | 17 | 115 | 30 | 333 | 10 | 30.9 | 18.9 | 0.71322 | 0.33147 | 1.6349 | M | 2 Filters
2008-09-02 | 611 | SS1 | 2008-08-26 | 18 | 115 | 20 | 332 | 10 | 40.9 | 24.7 | 0.96575 | 0.40365 | 1.6559 | H/M
2008-09-02 | 613 | SS1 | 2008-08-26 | 20 | 115 | 10 | 330 | 10 | 37.3 | 22.2 | 0.90563 | 0.33262 | 1.6802 | M
2008-09-02 | 614 | SS1 | 2008-08-26 | 21 | 115 | 5 | 333 | 10 | 34.7 | 20.7 | 0.83209 | 0.31209 | 1.6763 | M
2008-09-02 | 633 | SS2 | 2008-08-26 | 1 | 116 | 5 | 332 | 10 | 88.6 | 51.6 | 2.2057 | 0.65504 | 1.7171 | H
2008-09-02 | 622 | SS3 | 2008-08-26 | 8 | 119 | 100 | 330 | 10 | 5.13 | 4.73 | 0.02399 | 0.23984 | 1.0846 | M
2008-09-02 | 624 | SS3 | 2008-08-26 | 10 | 119 | 75 | 330 | 10 | 6.47 | 5.6 | 0.052178 | 0.26017 | 1.1554 | M
2008-09-02 | 625 a | SS3 | 2008-08-26 | 11 | 119 | 50 | 332 | 10 | 15.4 | 11 | 0.2623 | 0.34755 | 1.4 | M
2008-09-02 | 625 b | SS3 | 2008-08-26 | 11 | 119 | 50 | 332 | 10 | 15 | 10.2 | 0.28615 | 0.27935 | 1.4706 | M
2008-09-02 | 627 | SS3 | 2008-08-26 | 13 | 119 | 40 | 330 | 10 | 20.9 | 13.5 | 0.44382 | 0.30917 | 1.5481 | M
2008-09-02 | 628 | SS3 | 2008-08-26 | 14 | 119 | 30 | 333 | 10 | 35.7 | 22.3 | 0.79643 | 0.43619 | 1.6009 | M
2008-09-02 | 630 | SS3 | 2008-08-26 | 16 | 119 | 20 | 332 | 10 | 92.6 | 56.5 | 2.1521 | 0.98035 | 1.6389 | H
2008-09-02 | 631 | SS3 | 2008-08-26 | 17 | 119 | 10 | 331 | 10 | 81.3 | 47.1 | 2.045 | 0.5742 | 1.7261 | H
2008-09-02 | 632 | SS3 | 2008-08-26 | 18 | 119 | 5 | 330 | 10 | 85.9 | 49.3 | 2.1951 | 0.55471 | 1.7424 | H
2008-09-02 | 634 | SS4 | 2008-08-26 | 1 | 123 | 5 | 332 | 10 | 80.4 | 46 | 2.0507 | 0.49957 | 1.7478 | H
2008-09-02 | 636 | SS7 | 2008-08-27 | 2 | 127 | 100 | 330 | 10 | 4.94 | 4.51 | 0.025789 | 0.22576 | 1.0953 | M
2008-09-02 | 638 | SS7 | 2008-08-27 | 4 | 127 | 75 | 332 | 10 | 11.9 | 9.21 | 0.16036 | 0.35025 | 1.2921 | M
2008-09-02 | 639 | SS7 | 2008-08-27 | 5 | 127 | 50 | 330 | 10 | 20.6 | 14.2 | 0.38384 | 0.40819 | 1.4507 | M
2008-09-02 | 640 | SS7 | 2008-08-27 | 6 | 127 | 40 | 330 | 10 | 26.9 | 19.3 | 0.45581 | 0.62068 | 1.3938 | M
2008-09-02 | 642 a | SS7 | 2008-08-27 | 8 | 127 | 30 | 330 | 10 | 40.7 | 27.8 | 0.77368 | 0.77692 | 1.464 | H/M
2008-09-02 | 642 b | SS7 | 2008-08-27 | 8 | 127 | 30 | 330 | 10 | 40.8 | 28 | 0.76768 | 0.79407 | 1.4571 | H
2008-09-02 | 644 | SS7 | 2008-08-27 | 10 | 127 | 20 | 330 | 10 | 133 | 79.1 | 3.2327 | 1.1793 | 1.6814 | H
2008-09-02 | 645 | SS7 | 2008-08-27 | 11 | 127 | 10 | 332 | 15 | 250 | 141 | 9.7469 | 1.9789 | 1.773 | H
2008-09-02 | 646 | SS7 | 2008-08-27 | 12 | 127 | 5 | 333 | 15 | 268 | 150 | 10.52 | 1.9168 | 1.7867 | H
2008-09-02 | 656 | Ri 1 | 2008-08-27 | 10 | 128 | 100 | 329 | 10 | 10.6 | 9.57 | 0.061962 | 0.47345 | 1.1076 | M
2008-09-02 | 657 | Ri 1 | 2008-08-27 | 11 | 128 | 75 | 332 | 10 | 14.8 | 13.3 | 0.089421 | 0.64794 | 1.1128 | M
2008-09-02 | 659 | Ri 1 | 2008-08-27 | 13 | 128 | 50 | 329 | 10 | 16.1 | 14 | 0.12633 | 0.65692 | 1.15 | M
2008-09-02 | 660 | Ri 1 | 2008-08-27 | 14 | 128 | 40 | 333 | 10 | 16.4 | 14 | 0.14264 | 0.6312 | 1.1714 | M
2008-09-02 | 662 | Ri 1 | 2008-08-27 | 16 | 128 | 30 | 332 | 10 | 24 | 20 | 0.23846 | 0.87036 | 1.2 | M
2008-09-02 | 663 a | Ri 1 | 2008-08-27 | 17 | 128 | 20 | 332 | 10 | 29.6 | 24.1 | 0.32788 | 1.0083 | 1.2282 | M
2008-09-02 | 663 b | Ri 1 | 2008-08-27 | 17 | 128 | 20 | 332 | 10 | 29.1 | 23.4 | 0.3398 | 0.95752 | 1.2436 | M
2008-09-02 | 665 | Ri 1 | 2008-08-27 | 19 | 128 | 10 | 332 | 10 | 26.5 | 18.9 | 0.45307 | 0.59477 | 1.4021 | M
2008-09-02 | 666 | Ri 1 | 2008-08-27 | 20 | 128 | 5 | 333 | 10 | 35.3 | 23.8 | 0.6835 | 0.63203 | 1.4832 | M
2008-09-02 | 667 | Ri 2 | 2008-08-27 | 1 | 131 | 5 | 330 | 10 | 45.1 | 27.1 | 1.0796 | 0.432 | 1.6642 | H/M
2008-09-02 | 668 | Ri 3 | 2008-08-27 | 1 | 132 | 5 | 329 | 10 | 62.4 | 37 | 1.528 | 0.54202 | 1.6865 | H
2008-09-02 | 676 | Ri 4 | 2008-08-27 | 8 | 135 | 100 | 333 | 10 | 8.13 | 6.87 | 0.074888 | 0.30485 | 1.1834 | M
2008-09-02 | 678 | Ri 4 | 2008-08-27 | 10 | 135 | 75 | 330 | 10 | 8.27 | 6.91 | 0.081566 | 0.30385 | 1.1968 | M
2008-09-02 | 679 | Ri 4 | 2008-08-27 | 11 | 135 | 50 | 332 | 10 | 14.1 | 11 | 0.1848 | 0.42505 | 1.2818 | M
2008-09-02 | 680 a | Ri 4 | 2008-08-27 | 12 | 135 | 40 | 329 | 10 | 14.5 | 11.2 | 0.19852 | 0.42808 | 1.2946 | M
2008-09-02 | 680 b | Ri 4 | 2008-08-27 | 12 | 135 | 40 | 332 | 10 | 14 | 11 | 0.17884 | 0.43101 | 1.2727 | M
2008-09-02 | 682 | Ri 4 | 2008-08-27 | 14 | 135 | 30 | 332 | 10 | 17.3 | 12.9 | 0.2623 | 0.45289 | 1.3411 | M
2008-09-02 | 684 | Ri 4 | 2008-08-27 | 16 | 135 | 20 | 332 | 10 | 26.9 | 19.6 | 0.43518 | 0.65146 | 1.3724 | M
2008-09-02 | 685 | Ri 4 | 2008-08-27 | 17 | 135 | 10 | 330 | 10 | 29.7 | 20.2 | 0.56977 | 0.55693 | 1.4703 | M
2008-09-02 | 686 | Ri 4 | 2008-08-27 | 18 | 135 | 5 | 330 | 10 | 37.4 | 25 | 0.74369 | 0.65073 | 1.496 | M
2008-09-02 | 687 | Ri 5 | 2008-08-27 | 1 | 136 | 5 | 333 | 10 | 28 | 18.3 | 0.57652 | 0.435 | 1.5301 | M
2008-09-02 | 688 | Ri 6 | 2008-08-27 | 1 | 139 | 5 | 330 | 10 | 29.1 | 20.4 | 0.52178 | 0.61607 | 1.4265 | M
2008-09-02 | 693 a | M2 | 2008-08-27 | 5 | 141 | 100 | 330 | 10 | 9.59 | 8.39 | 0.07197 | 0.396 | 1.143 | M
2008-09-02 | 693 b | M2 | 2008-08-27 | 5 | 141 | 100 | 330 | 10 | 9.62 | 8.49 | 0.067772 | 0.40577 | 1.1331 | M
2008-09-02 | 694 | M2 | 2008-08-27 | 6 | 141 | 75 | 332 | 10 | 15.6 | 13.1 | 0.14903 | 0.57724 | 1.1908 | M
2008-09-02 | 695 | M2 | 2008-08-27 | 7 | 141 | 50 | 332 | 10 | 16.9 | 13.3 | 0.21461 | 0.52275 | 1.2707 | M
2008-09-03 | 696 | M2 | 2008-08-27 | 8 | 141 | 40 | 333 | 10 | 70.5 | 43.7 | 1.5929 | 0.82264 | 1.6133 | H
2008-09-03 | 697 | M2 | 2008-08-27 | 9 | 141 | 30 | 329 | 10 | 81.6 | 49 | 1.9611 | 0.78024 | 1.6653 | H
2008-09-03 | 698 | M2 | 2008-08-27 | 10 | 141 | 20 | 332 | 10 | 57.1 | 35.4 | 1.2936 | 0.66899 | 1.613 | H
2008-09-03 | 699 | M2 | 2008-08-27 | 11 | 141 | 10 | 330 | 10 | 101 | 58.8 | 2.531 | 0.74873 | 1.7177 | H
2008-09-03 | 700 | M2 | 2008-08-27 | 12 | 141 | 5 | 329 | 10 | 103 | 61.3 | 2.5086 | 0.92095 | 1.6803 | H
2008-09-03 | 707 | M3 | 2008-08-27 | 7 | 142 | 100 | 330 | 10 | 8.4 | 7.37 | 0.061775 | 0.3493 | 1.1398 | M
2008-09-03 | 708 | M3 | 2008-08-27 | 8 | 142 | 75 | 330 | 10 | 14.2 | 12 | 0.13195 | 0.53738 | 1.1833 | M
2008-09-03 | 709 | M3 | 2008-08-27 | 9 | 142 | 50 | 332 | 10 | 19.8 | 15.2 | 0.27422 | 0.56848 | 1.3026 | M
2008-09-03 | 710 | M3 | 2008-08-27 | 10 | 142 | 40 | 333 | 10 | 47.8 | 30.6 | 1.0223 | 0.66912 | 1.5621 | H/M
2008-09-03 | 711 | M3 | 2008-08-27 | 11 | 142 | 30 | 333 | 10 | 72.4 | 43.6 | 1.7117 | 0.69824 | 1.6606 | H
2008-09-03 | 712 | M3 | 2008-08-27 | 12 | 142 | 20 | 329 | 10 | 128 | 74.6 | 3.2124 | 0.9612 | 1.7158 | H
2008-09-03 | 713 a | M3 | 2008-08-27 | 13 | 142 | 10 | 332 | 10 | 124 | 72.4 | 3.0761 | 0.93785 | 1.7127 | H
2008-09-03 | 713 b | M3 | 2008-08-27 | 13 | 142 | 10 | 330 | 10 | 122 | 71.7 | 3.0168 | 0.98245 | 1.7015 | H
2008-09-03 | 714 | M3 | 2008-08-27 | 14 | 142 | 5 | 329 | 10 | 173 | 98.9 | 4.4577 | 1.0754 | 1.7492 | H
2008-09-03 | 723 | M4 | 2008-08-28 | 9 | 143 | 100 | 332 | 10 | 8.96 | 7.83 | 0.067364 | 0.36674 | 1.1443 | M
2008-09-03 | 724 | M4 | 2008-08-28 | 10 | 143 | 75 | 332 | 10 | 13.4 | 10.8 | 0.155 | 0.44377 | 1.2407 | M
2008-09-03 | 725 | M4 | 2008-08-28 | 11 | 143 | 50 | 333 | 10 | 21.7 | 15.2 | 0.38633 | 0.45385 | 1.4276 | M
2008-09-03 | 726 | M4 | 2008-08-28 | 12 | 143 | 40 | 330 | 10 | 44.5 | 28 | 0.98959 | 0.57216 | 1.5893 | H/M
2008-09-03 | 727 a | M4 | 2008-08-28 | 13 | 143 | 30 | 333 | 10 | 58.5 | 35.5 | 1.367 | 0.59524 | 1.6479 | H
2008-09-03 | 727 b | M4 | 2008-08-28 | 13 | 143 | 30 | 332 | 10 | 57.9 | 35.1 | 1.3592 | 0.58678 | 1.6496 | H
2008-09-03 | 728 | M4 | 2008-08-28 | 14 | 143 | 20 | 330 | 10 | 115 | 67.7 | 2.8368 | 0.93927 | 1.6987 | H
2008-09-03 | 729 | M4 | 2008-08-28 | 15 | 143 | 10 | 330 | 10 | 136 | 78.6 | 3.4426 | 0.94149 | 1.7303 | H
2008-09-03 | 730 | M4 | 2008-08-28 | 16 | 143 | 5 | 332 | 10 | 128 | 73.7 | 3.237 | 0.84896 | 1.7368 | H
2008-09-03 | 731 | M5 | 2008-08-28 | 1 | 144 | 5 | 332 | 10 | 136 | 79.1 | 3.392 | 0.99335 | 1.7193 | H | Generic volume
2008-09-03 | 733 | M6 | 2008-08-28 | 2 | 145 | 30 | 332 | 10 | 112 | 66.8 | 2.6946 | 1.0089 | 1.6766 | H
2008-09-03 | 736 | M6 | 2008-08-28 | 5 | 145 | 5 | 330 | 10 | 120 | 69.5 | 3.0288 | 0.84775 | 1.7266 | H
2008-09-03 | 742 | SS5 | 2008-08-28 | 5 | 147 | 100 | 332 | 10 | 3.53 | 3.16 | 0.022057 | 0.15314 | 1.1171 | M?/L
2008-09-03 | 743 | SS5 | 2008-08-28 | 6 | 147 | 75 | 333 | 10 | 80.9 | 45.9 | 2.0802 | 0.45688 | 1.7625 | H | Too high?
2008-09-03 | 744 | SS5 | 2008-08-28 | 7 | 147 | 50 | 330 | 10 | 11.8 | 8.25 | 0.21291 | 0.24725 | 1.4303 | M
2008-09-03 | 745 | SS5 | 2008-08-28 | 8 | 147 | 40 | 330 | 10 | 20.6 | 12.9 | 0.46181 | 0.25771 | 1.5969 | M
2008-09-03 | 746 | SS5 | 2008-08-28 | 9 | 147 | 30 | 333 | 10 | 55 | 32.9 | 1.3135 | 0.50502 | 1.6717 | H
2008-09-03 | 747 | SS5 | 2008-08-28 | 10 | 147 | 20 | 329 | 10 | 59.9 | 34.4 | 1.534 | 0.39054 | 1.7413 | H
2008-09-03 | 748 | SS5 | 2008-08-28 | 11 | 147 | 10 | 330 | 10 | 5.19 | 4.53 | 0.039584 | 0.21309 | 1.1457 | M
2008-09-03 | 749 a | SS5 | 2008-08-28 | 12 | 147 | 5 | 332 | 10 | 84.2 | 47.5 | 2.1878 | 0.44561 | 1.7726 | H
2008-09-03 | 749 b | SS5 | 2008-08-28 | 12 | 147 | 5 | 329 | 10 | 79.9 | 45.8 | 2.0514 | 0.51098 | 1.7445 | H
2008-09-03 | 764 | CS02 | 2008-08-28 | 14 | 149 | 100 | 333 | 10 | 3.01 | 2.64 | 0.021991 | 0.12393 | 1.1402 | L
2008-09-03 | 765 | CS02 | 2008-08-28 | 15 | 149 | 75 | 333 | 10 | 2.35 | 1.75 | 0.035661 | 0.061069 | 1.3429 | L
2008-09-03 | 766 | CS02 | 2008-08-28 | 16 | 149 | 50 | 329 | 10 | 7.8 | 5.17 | 0.15821 | 0.13103 | 1.5087 | M
2008-09-03 | 767 a | CS02 | 2008-08-28 | 17 | 149 | 25 | 330 | 10 | 38.3 | 23.4 | 0.89363 | 0.41155 | 1.6368 | M?
2008-09-03 | 767 b | CS02 | 2008-08-28 | 17 | 149 | 25 | 332 | 10 | 39.5 | 24.3 | 0.90613 | 0.44108 | 1.6255 | H/M
2008-09-03 | 768 | CS02 | 2008-08-28 | 18 | 149 | 10 | 329 | 10 | 41.6 | 24.2 | 1.0467 | 0.30716 | 1.719 | H/M
2008-09-03 | 769 | CS02 | 2008-08-28 | 19 | 149 | 5 | 330 | 10 | 44.3 | 26 | 1.0975 | 0.35265 | 1.7038 | H
2008-09-03 | Loop | Loop 9 | 2008-08-29 |  |  |  | 330 | 10 | 63.7 | 37.7 | 1.5594 | 0.54344 | 1.6897 | H
2008-09-03 | Loop | Loop 10 | 2008-08-29 |  |  |  | 330 | 10 | 48.7 | 30.8 | 1.0736 | 0.64437 | 1.5812 | H
2008-09-03 | 770 | P4 | 2008-08-29 | 1 | 152 | 15 | 330 | 10 | 33.7 | 20.7 | 0.77968 | 0.37491 | 1.628 | M
2008-09-03 | 771 | P4 | 2008-08-29 | 2 | 152 | 5 | 330 | 10 | 30.8 | 19 | 0.70771 | 0.35205 | 1.6211 | M
2008-09-03 | Loop | Loop 11 | 2008-08-29 |  |  |  | 329 | 15 | 152 | 86.6 | 5.9015 | 1.366 | 1.7552 | H
2008-09-03 | Loop | Loop 12 | 2008-08-30 |  |  |  | 330 | 10 | 211 | 124 | 5.2178 | 1.6985 | 1.7016 | H
2008-09-03 | Loop | Loop 13 | 2008-08-30 |  |  |  | 330 | 15 | 106 | 61.8 | 3.9764 | 1.1942 | 1.7152 | H

## Loops comp
Date | Sample | Station | Sampling | Niskin | Cast | Nominal | Volume | Vol.acet. | Before | After | Chl.a | Phaeo | RATIO | Scale | Comments
(analyzed) | Number |  | Date | Number | no. | Depth | Filtered | (ml) | acid | acid | ug/l |  | Rb/Ra
(local) |  |  | UTC |  |  |  | (ml) |  |  |  |  | ug/L
2008-08-24 | 337 | P18 | 2008-08-18 | 5 | 58 | 5 | 332 | 10 | 28.7 | 16.1 | 0.75114 | 0.14146 | 1.7826 | M
2008-08-24 | Loop | P18 | 2008-08-18 |  |  |  | 331 | 10 | 22 | 12.1 | 0.59196 | 0.080901 | 1.8182 | M
2008-08-24 | 338 | P19 | 2008-08-18 | 1 | 60 | 5 | 332 | 10 | 21 | 11.6 | 0.56037 | 0.082744 | 1.8103 | M
2008-08-24 | Loop | P19 | 2008-08-18 |  |  |  | 332 | 10 | 19.8 | 11.7 | 0.48287 | 0.16579 | 1.6923 | M
2008-08-24 | 426 | P21 | 2008-08-19 | 1 | 69 | 5 | 333 | 10 | 8.32 | 4.94 | 0.20089 | 0.072166 | 1.6842 | M | Problems with fluorometer - don't use data
2008-08-24 | Loop | P21 | 2008-08-19 |  |  |  | 333 | 10 | 7.21 | 4.35 | 0.16998 | 0.07046 | 1.6575 | M | Problems with fluorometer - don't use data
2008-08-24 | 582 | P23 | 2008-08-23 | 1 | 95 | 5 | 331 | 10 | 4.11 | 2.06 | 0.12258 | -0.0080244 | 1.9951 | M/L | Problems with fluorometer - don't use data
2008-08-24 | Loop | P23 | 2008-08-23 |  |  |  | 331 | 10 | 5.67 | 3.82 | 0.11062 | 0.10181 | 1.4843 | M | Problems with fluorometer - don't use data