## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |

## PROCESSING NOTES

Cruise: 2008-28

Agency: OSD, PGC, Royal Roads

Location: BC Inlets

Project: Paleoclimate and Paleoceanography

Party Chief: Dallimore A.

Platform: Vector

Date: March 31, 2008 – April 8, 2008

Processed by: Germaine Gatien

Date of Processing: 8 August 2008 – 13 August 2008

Number of original CTD casts: 16		Number of CTD casts processed: 16

Number of bottle casts: 	 16			Number of bottle casts processed: 16

# INSTRUMENT SUMMARY

A SeaBird Model SBE 911+ CTDs (#0443) was used during this cruise. It was mounted in a rosette and attached were a Wetlabs CSTAR transmissometer (#1005DR), an SBE 43 DO sensor (#1176), on the primary pump), a Seapoint Fluorometer (#2228) with a 10X cable (on the secondary pump) and an altimeter (#43281). The deck unit was a model 911+ (#0424) and the logging computer was an HP Compaq-II.

# SUMMARY OF QUALITY AND CONCERNS

Transmissivity and fluorescence data are nominal.

Salinity data have not been recalibrated pending more information. There have been problems with the results of recent Autosal analyses. The calibration should be reconsidered when the sensors are next checked at the factory.

The dissolved oxygen analysis files were mostly lost when a computer hard drive failed. The data for casts 6-16 and 26 came from rosette log sheets.

The dissolved oxygen data in the CTD files should be considered

- ±1ml/l from 0 - 30db

- ±0.3ml/l from 30 –150db

- ±0.2ml/l below 150db

The CTD was lowered to about 10db then returned to the surface, immediately followed by a complete cast. This results in quite noisy data in the top 10db. If a soak at 10db is considered necessary, it would be best to wait at least 30s at the surface before starting the full cast. The alternative of selecting data from the first lowering and patching that to the 2nd lowering at 10db is not attractive because there was very little wait time between the pumps turning on and the CTD going down the 1st time, and in rapidly-varying water patching between the two lowerings at 10db might result in a strange profile.

# PROCESSING SUMMARY

##### Seasave

This step was completed at sea; the raw data files have extension HEX.

##### Preliminary Steps

The Log Book was obtained together with rosette log sheets. There was no list of equipment other than the deck unit. This cruise immediately followed 2008-09 and the configuration file shows that the same CTD equipment was used, so it is assumed the same logging computer was used. H2S is reported for many samples.

Salinity data were available in spreadsheet format.

Some dissolved oxygen data were available in individual files without flags and comments. One OXY file had no data in it, and many files were missing.

The cruise summary sheet was completed.

The histories of the conductivity, DO and pressure sensors were obtained.

The calibration constants were checked for all instruments and no errors were found.

All CTD con files were the same; one was saved as 2008-28-ctd.con.

##### Conversion of Raw Data

Data were converted using configuration file 2008-28-ctd.con.

A few casts were examined and all expected channels are present and look reasonable when plotted.

As usual the upcast temperature and conductivity traces are noisier and further apart than in the downcasts.

The fluorescence has odd spikes that should be investigated later; for the deepest cast the dark value is ~0.12ug/l. During the last cruise small spikes were noted.

The transmissivity also has small spikes at depth, but not large ones.

The dissolved oxygen shows the usual offset, but the response time does not look too bad.

The descent rate is usually very steady.

The altimetry looks reasonable near the bottom.

Rosette files were converted using a start time of -2s and duration of 5s. The rosette files were then converted to IOS SHELL files. Those files were plotted and no editing was found necessary.

CLEAN was run to add event numbers and the output files were named *.BOT.

##### WILDEDIT

Program WILDEDIT was used to remove spikes from the pressure, conductivity and temperature channels only.

Parameters used were: 	Pass 1    Std Dev = 2 	Pass 2    Std Dev = 5 	Points per block = 50

##### CELLTM

During 2008-07 tests were run using a variety of settings for this step. The differences were slight because the temperature gradients were low and the best choice varied from one area to another, but overall the choice of (α = 0.0245, β = 9.5) looked best. For this cruise the upcast data is so noisy that the tests do not work well, so the results of 2008-07 were applied to all casts for both channels and the results did show improvement to the data in areas of high temperature gradient.

CELLTM was run using (α = 0.0245, β = 9.5).

##### DERIVE

Program DERIVE was run twice:

on all casts to calculate primary and secondary salinity.

on a few casts to calculate the differences between primary and secondary channels for temperature, conductivity and salinity. These were placed in a test directory and will not be archived.

##### Test Plots and Channel Check

A sample of casts was plotted to check for agreement between the pairs of T and C sensors. The differences are very noisy, especially in the shallow temperature, so these are very rough averages.

| Cast # | Press | T1-T0 | C1-C0 | S1-S0 | Descent Rate |
| --- | --- | --- | --- | --- | --- |
| 11 | 270 | ~0 | -0.00035 | -0.0037 | Steady, Moderate |
| 25 | 270 | -0.0001 | -0.0003 | -0.003 | Steady, High |

The differences are similar to those observed during 2007-09.

##### Conversion to IOS Headers

The IOSSHELL routine was used to convert SEA-Bird 911+ CNV files to IOS Headers.

CLEAN was run to add event numbers and to replace pad values in the Pressure channel using linear interpolation based on scan number.

##### Checking Headers

A header check was run and no problems found.

A cross-reference listing was produced and the entries were checked against the log book. No errors were found.

The cruise track was plotted and no problems found; the plots may be found at the end of this report.

The average surface pressure is 1.6db, which is slightly low for the Vector, but the casts were in protected waters where this is more likely than in rougher open waters.

The altimeter readings from the headers of CLN files were exported to a spreadsheet and all casts were checked. The algorithm worked well.

##### BOTTLE FILE PREPARATION

The BOT files were averaged to enable an addsamp file to be created. This file was edited to add sample numbers taken from the rosette sheets.

The ADDSAMP file was converted to CST files to be used as a framework for the bottle files. It was also used to add sample numbers to the BOT files (output: SAM). The BOT files were then bin-averaged (SAMAVG.)

SALINITY

The salinity data were delivered in spreadsheet format 2008-28 salinities.xls with flags and comments. Headers were changed to standard formats and the spreadsheet was simplified and saved as 2008-28-sal.csv. This was converted into individual SAL files. There were no duplicate salinity samples.

DISSOLVED OXGYEN

Most of the dissolved oxygen files were lost due to a hard drive failure. The titration results were recorded on the rosette sheets. The data from the OXY files that are available (casts 22-25) were exported to a spreadsheet. The data from the log sheets were then added to that spreadsheet. The only information available is the sample number, flask #, titration result and pressure. It is likely that the blank and standard values are the same as those for casts #22-25, but that is not certain so -99 was entered for those values as well as for the thiosulphate reading.

Flags were entered as follows:

- sample #11 flagged “c” because the rosette log entry was not clear; could be 4.292 or 4.202

- sample #639 flagged “d” because the analyst noted on the rosette sheet “goofed up/titrated rinse water”. Value doesn’t look too far out of line, so kept it in the file for now.

- samples 147-152 were flagged “c” since there is a note that the samples were misplaced in a cooler for several days before they were titrated.

Comments were entered for the first sample from each of the files with missing OXY files. This file was saved as 2008-28-oxy.csv. It was then converted to ADD files. For those ADD files with no associated OXY file, the header comment for the first sample was changed to show that it applies to all samples.

There were no duplicates.

The SAL and ADD files were merged with the CST files in two steps (Output: MRG1, MRG3); MRG3 files were then put through CLEAN to reduce the headers to File and Comment sections only (Output: MRGCLN1.) That file was then merged with SAMAVG files (Output:MRG) and put through CLEAN again to remove SeaBird headers and comments.

Plots were made of CTD Salinity versus CTD DO and Bottle DO. A few bottle samples look like outliers in these plots, but the CTD values confirm that they are not. There are a few samples for which the CTD and bottle samples do not match well, but this will be better analyzed in COMPARE. For those samples the bottle DO values do not stand out as outliers when plotted against CTD salinity.

##### Compare

Salinity

COMPARE was run using pressure as the reference channel. When 5 outliers are removed flat fits are found showing that the primary salinity was high by an average of 0.0013 and the secondary was low by 0.0023. This is consistent with the salinity differences found between channels in section 7. There are only 9 bottles and never more than one per cast. These differences are more positive (by about 0.002 salinity units each) than those found during 2008-07. The differences between primary and secondary salinity are similar for the two cruises. The results of the earlier cruise were considered unreliable because of some doubts about the Autosal analysis. The 2008-07 data were analyzed on April 4, 2008 while this cruise was still in progress, so they do not come from the same session. So it is possible that whatever caused the odd results for the earlier cruise did not affect this one, and it is also possible that different salinometers were used. Alternately, analysis problems could be affecting both data sets plus there could be significant drift in the sensors.

The fit of differences against salinity are relative flat for the two channels. This is quite unlike other recent cruises like this with many samples of low salinity (<33). The range of salinity was too small and the differences noisy for the 2008-07 bottle comparison to determine if there was any salinity-dependence. But during 2007-58 there was a significant variation with salinity.

There is some time dependence but this is as likely to be due to geographic variations as from drift in the sensors.

The major outliers were examined and flags assigned as follows:

Cast #16 – sample #93 – already flagged “c” since the bottle had no liner, changed to “d” since it differs from CTD by >0.05.

Cast #22 – sample #99 – extreme outlier – flagged “d”

Cast #23 – sample #105 – extreme outlier – flagged “d”

Dissolved Oxygen

COMPARE was run using pressure as the reference channel. Outliers were first identified from the fit of differences versus pressure. When the same points were removed from the fit of differences against Bottle DOX, the fit was:

CTD-BOT = 1.0489 DOX-CTD - 0.0584

One more outlier was identified from that plot. The lowest value found in the CTD DO data is 0.07ml/l, so the differences should be +0.07 for DO=0. We don’t know that the low values are exactly 0, but they are likely <0.01ml/l since values that low are recorded, so assuming the CTD is at 0.07 when the bottle DO is at 0 seems reasonable assumption. So the trend line was forced to go through 0.07. The result was then:

CTD-BOT = 1.0484 DOX-CTD - 0.070

None of the outliers were severe enough to require flagging. (See 2008-28-dox-comp1.xls.)

The fit for 2008-07 from Broughton Archipelago 1 week earlier was:

CTD-BOT = 1.0254 DOX-CTD + 0.0081

That cruise had a much smaller range of DO values (2 to 7ml/l) while this one ranged from 0 to 11. And for 2007-43 with a slightly larger range of DO value the fit was:

CTD-BOT = 1.0351 DOX-CTD + 0.0098

Choosing only the bottles from Belize Channel with a similar range to the Broughton data the fit for this cruise was:

CTD-BOT = 1.0399 DOX-CTD -0.0375

To explain why these fits are so different a few files were examined in detail. It looks as though the CTD could not equilibrate during many of the stops for bottles, presumably because of the very large DO range and in places, fairly sharp gradients between well-mixed layers. This will mean that the comparison of bottles to CTD during stops will be affected by calibration drift plus time response.

##### Other Comparisons

Previous experience with these sensors –

1. Salinity: Both conductivity sensors were used during 2008-07 and 2008-19 which bracketed this cruise. The primary was found to be low by 0.0007 and the secondary by 0047 during 2008-07; the salinity data for the later cruise are not yet available.

2. Dissolved Oxygen – This sensor was used for 2007-46 and 2007-43 in May and June 2007 and 2008-07 in March 2008. It was also used for two more recent cruises that have not yet been processed. The comparison for 2007-46 was very confused. 2007-43 and 2008-07 are discussed above.

3. Pressure – This sensor has been drifting significantly in recent years. When used in March 2008 an offset of +6.5db was found appropriate.

Historic ranges –Local climatology is not available.

Repeat Casts – There were no repeat casts.

##### 13. Shift

Fluorescence

To find what shift is needed for the fluorescence, upcast and downcast profiles were examined to determine the vertical offset of the temperature and fluorescence traces. The differences between these two offsets are treated as a measure of how much the fluorescence needs to be shifted. The “excess” offset for the fluorescence was divided by the averaged descent/ascent rate and divided by 2(since the shift will be applied to both up and downcast) to find the shift (in seconds) to remove that offset. The usual shift of +24 records (1s) was found to be appropriate and was applied. (Output: SHFFL)

Dissolved Oxygen

Tests were run to determine the best SHIFT value to apply to the Dissolved Oxygen channel. This is judged by how the vertical offset between downcast and upcast traces compares with that of the temperature. Because there is an offset in values between upcast and downcast due to the time response, alignment will not produce traces that overlie each other exactly, but the pressure at which features occur can be compared. For this cruise the tests were difficult because there were bottle stops for all casts, complicating the comparison between downcast and upcast. Three casts were checked using values from +90 to +130 records. Either +100 or +110 look best. Since +110 was used for 2008-07 that was selected.

SHIFT was run using +110 records for all casts.

Conductivity

Tests were run on 3 casts using shifts between -1s and +1s and T-S plots were prepared to compare the results. A setting of -0.5s looked best for the primary and -0.4 for the secondary sensors. All casts were put through two runs of SHIFT using those settings. (Output *.SHFC0 and SHFC1).

##### 14. DELETE

The CTD was lowered to 10db then returned to the surface. A test run of DELETE showed that the data from the initial lowering to 10db was patched to the 10d to the bottom from the full cast. So a text editor was used to remove the data from that initial lowering before running DELETE in the SHFC1 files.

The following DELETE parameters were used:

Surface Record Removal: Last Press Min

Maximum Surface Pressure (relative): 10.00

Surface Pressure Tolerance: 1.0                  Pressure filtered over 15 points

Swells deleted. Warning message if pressure difference of 2.00

Drop rates <   0.30m/s (calculated over 11 points) will be deleted.

Drop rate applies in the range:  10db to 10db less than the maximum pressure

Sample interval = 0.042 seconds. (taken from header)

COMMENTS ON WARNINGS: There were no warnings.

##### DETAILED EDITING

The secondary data looks much smoother in T-S plots and was chosen for 2008-07. There are a few more spikes in the secondary salinity, but the differences are not great. The secondary channels were selected for editing.

Graphical editing was done using program CTDEDIT. On-screen plots of descent rate and pump status were used to guide the editing. Most of the editing was in the top 10db or the bottom 1db. The CTD had been lowered to 10db then returned to the surface and lowered again after a short stop. It is unknown why this was done; sometimes low surface conductivity leads to the pumps not starting, but that was not the case for these casts since the pumps were on for the first lowering. There is a lot of noise in the top 10db and some of it is probably due to the stirring from the instrument package during the initial lowering.

All casts required some editing. Note was made of the editing details in the headers of the relevant files. Where more than 1db of data was removed from the bottom of a cast, the altimetry header reading was adjusted appropriately with a note made that this was done.

##### Initial Recalibration

The CTD secondary salinity was found to be low by 0.0023 if the analysis results can be trusted. If the problems noted during other recent cruises apply to this data, then the salinity is probably a little high. Salinity will not be recalibrated at this stage. This should be revisited after the next factory calibration and after other cruises using the same equipment have been processed.

File 2008-28-ctd.ccf was prepared to apply the following equation to the CTD Dissolved Oxygen channel in the SAM and MRG files.:

1.0484 DOX-CTD - 0.070

COMPARE was then rerun with the DO data to check that the results were as expected and they were.

(See 2008-28-dox-comp2.xls.)

The same DO calibration was applied to the edited CTD files.

##### Special Fluorometer Processing

A median filter, fixed size=11, was applied to the fluorescence channel in the COR1 files to reduce spikiness. One cast was examined before and after this step and showed that the filter was effective.

##### BIN AVERAGE of CTD files

The following Bin Average values were applied to the FIL files (output AVG):

Bin channel = pressure	Averaging interval = 1.000	Minimum bin value =   .000

Average value will be used.	Interpolated values are NOT used for empty bins.

After averaging, page plots were examined on screen and no further editing was deemed necessary.

##### Final Calibration of DO

The first recalibration of dissolved oxygen corrects for calibration drift. Shift corrects for transit time errors. A further correction will be applied to at least partly correct for response time, though some correction for this is probably included in the first recalibration since the CTD had not fully equilibrated during stops. For the final correction we compare downcast data to bottle data from the same pressure.

Files were bin-averaged to 0.25m bins for the casts with DO bottle samples. Those files were then thinned to the usual levels for bottles and compared to the bottle values in the MRG files. COMPARE was used to study the differences between the downcast CTD DO data and the upcast bottles. (See 2008-28-dox-comp3.xls.) When outliers are excluded, the differences showed some pressure dependence. The fit against DO was close to being flat if the bottles with DO>8 were excluded. There was so much noise among those high DO bottles that which to exclude from the fit makes a big difference to the trendline. Using only DO<8 and excluding points not used in the first run of COMPARE, the average indicates that the CTD DO is high by 0.08ml/l. A recalibration of the thinned files was run applying that offset, but when COMPARE was rerun the results looked poor in the fit of differences against pressure. So a second attempt was made to recalibrate using the fit of differences against pressure. When the same outliers are excluded as were identified in the first run of COMPARE plus a few more that have very high standard deviation in the CTD data, the following fit was found:

DOX_CTD (Corrected) = DOX_CTD +0.0009*Pressure – 0.1738

That correction was applied to the thinned files using 2008-28-recal2.ccf and COMPARE was rerun. The fit against both pressure and against DOX_CTD look quite flat with average differences ~-0.0008. For DO>7 the noise level is very high so error estimates of ±1 look appropriate close to the surface. (See 2008-28-comp4.xls.)

Recalibration using file 2008-28-recal2.ccf was applied to the downcast files only. (Output: COR2)

##### FINAL CTD files steps (REMOVE and HEADEDIT)

The following channels were removed from all casts: Scan_Number, Temperature:Primary, Salinity:T0:C0, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, Altimeter, Status:Pump, Descent_Rate and Flag.

A second SBE DO channel was added; REORDER was run to put the two SBE DO channels together.

HEADER EDIT was used to fix formats and channel names and to add the following comments:

Transmissivity and fluorescence are nominal and unedited except that

some records were removed in editing temperature and salinity.

The dissolved oxygen data in the CTD files should be considered

- ±1ml/l from 0 - 30db

- ±0.3ml/l from 30 –150db

- ±0.2ml/l below 150db

The Standards Check routine was run and no problems were found. The final files were named CTD.

A header check turned up no problems.

Profile plots were made and no problems found. It was noted that there are some fairly deep fluorescence spikes, but most are accompanied by transmissivity decreases, so these might be real.

The track plot looks ok.  The cross-reference list turned up no problems.

As a final check of dissolved oxygen data % saturation was calculated and plotted. The values ranged from 70% to 145% with the lowest values at the west end of Nugent Sound and the highest at the east end of Allison Sound. The huge range may be partly due to the lowering of the CTD before the full cast with minimal wait between. This will have made it impossible for the DO sensor to adjust to the surface conditions. If a partial lowering is considered necessary, it would be better to wait a while at the surface before doing the full cast. Nonetheless, examination of the upcast files and the bottle DO support that there was great variability in oxygen concentration and saturation.

##### Final Bottle Files

The MRGCOR1 files were put through SORT to order on increasing pressure.

REMOVE was run to remove Scan_Number, Temperature:Primary, Salinity:T0:C0, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, Status:Pump, Descent_Rate, Altimeter and Flag.

The files were put through CHANGE UNITS and REORDER to add a second dissolved oxygen channel in umol/kg and to place it after the other DO channel.

HEADER EDIT was run to fix formats and units and to add a comment about quality flags and analysis methods.

Standards check was run on all files and HEADEDIT adjusted until all format problems were resolved. (Output: CHE)

##### Producing final files

A cross-reference listing was produced for CTD and CHE files.

The sensor history was updated.

# Institute of Ocean Sciences

# CRUISE SUMMARY

CTD

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 911+ | 0443 | Yes | Yes |

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 4054 | 16Jan08 | Factory “ |  |  |
| Conductivity | 2399 | 15jan08 | “ |  |  |
| Secondary Temp. | 4700 | 16Jan08 | “ |  |  |
| Secondary Cond. | 3184 | 15Jan08 | “ |  |  |
| Transmissometer | 1005DR | 5Mar08 | IOS | 5MAR08 | IOS |
| SBE 43 DO sensor | 1176 | 14Feb2007 | Factory |  |  |
| Fluorometer | 2228 |  | IOS |  |  |
| Pressure Sensor | 63507 | 25/10/2004 | Factory |  |  |
| Altimeter | 1252 | ? | ? |  |  |