## File List
Number of Files= |  | 16
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2008-28-0006.mrgcor1 | 2008-28-0006.samcor1 | 11 | 18 | 2008-28-0006.mrgcor1 & 2008-28-0006.samcor1
2 | 2008-28-0007.mrgcor1 | 2008-28-0007.samcor1 | 20 | 25 | 2008-28-0007.mrgcor1 & 2008-28-0007.samcor1
3 | 2008-28-0008.mrgcor1 | 2008-28-0008.samcor1 | 27 | 32 | 2008-28-0008.mrgcor1 & 2008-28-0008.samcor1
4 | 2008-28-0009.mrgcor1 | 2008-28-0009.samcor1 | 34 | 39 | 2008-28-0009.mrgcor1 & 2008-28-0009.samcor1
5 | 2008-28-0010.mrgcor1 | 2008-28-0010.samcor1 | 41 | 51 | 2008-28-0010.mrgcor1 & 2008-28-0010.samcor1
6 | 2008-28-0011.mrgcor1 | 2008-28-0011.samcor1 | 53 | 65 | 2008-28-0011.mrgcor1 & 2008-28-0011.samcor1
7 | 2008-28-0012.mrgcor1 | 2008-28-0012.samcor1 | 67 | 78 | 2008-28-0012.mrgcor1 & 2008-28-0012.samcor1
8 | 2008-28-0013.mrgcor1 | 2008-28-0013.samcor1 | 80 | 89 | 2008-28-0013.mrgcor1 & 2008-28-0013.samcor1
9 | 2008-28-0014.mrgcor1 | 2008-28-0014.samcor1 | 91 | 97 | 2008-28-0014.mrgcor1 & 2008-28-0014.samcor1
10 | 2008-28-0015.mrgcor1 | 2008-28-0015.samcor1 | 99 | 107 | 2008-28-0015.mrgcor1 & 2008-28-0015.samcor1
11 | 2008-28-0016.mrgcor1 | 2008-28-0016.samcor1 | 109 | 114 | 2008-28-0016.mrgcor1 & 2008-28-0016.samcor1
12 | 2008-28-0022.mrgcor1 | 2008-28-0022.samcor1 | 116 | 121 | 2008-28-0022.mrgcor1 & 2008-28-0022.samcor1
13 | 2008-28-0023.mrgcor1 | 2008-28-0023.samcor1 | 123 | 132 | 2008-28-0023.mrgcor1 & 2008-28-0023.samcor1
14 | 2008-28-0024.mrgcor1 | 2008-28-0024.samcor1 | 134 | 146 | 2008-28-0024.mrgcor1 & 2008-28-0024.samcor1
15 | 2008-28-0025.mrgcor1 | 2008-28-0025.samcor1 | 148 | 161 | 2008-28-0025.mrgcor1 & 2008-28-0025.samcor1
16 | 2008-28-0026.mrgcor1 | 2008-28-0026.samcor1 | 163 | 173 | 2008-28-0026.mrgcor1 & 2008-28-0026.samcor1

## (DOX_CTD - DOX_BOT)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0011598 |  | X | CALC Y
m= | 0.0024569 | 0.0062521 |  | Std Dev of Resid |  | 0.17641 |  | 0.0096612 | -0.013087
b= | -0.013111 | 0.028418 |  | Resid Sum of Squares |  | 4.1389 |  | 10.7675 | 0.013344
# of Values Extracted = |  |  | 148
# of Values Used in Fit = |  |  | 135
File | Use | Press* | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 122.858 | 0.080876 | 0.00059959 | 0.056876 | -0.012912 | -0.069788 |  | 0.080876 | 0.056876
1 | YES | 99.9423 | 0.12094 | 0.0013982 | -0.010058 | -0.012814 | -0.0027557 |  | 0.12094 | -0.010058
1 | YES | 74.6979 | 0.24449 | 0.0019413 | -0.048512 | -0.01251 | 0.036002 |  | 0.24449 | -0.048512
1 | YES | 49.8158 | 1.0884 | 0.0029291 | 0.00042141 | -0.010437 | -0.010858 |  | 1.0884 | 0.00042141
1 | YES | 29.9705 | 1.3993 | 0.016385 | 0.12834 | -0.0096727 | -0.13801 |  | 1.3993 | 0.12834
1 | YES | 19.8371 | 1.9835 | 0.0015548 | 0.18754 | -0.0082373 | -0.19577 |  | 1.9835 | 0.18754
1 | NO | 9.9661 | 4.8903 | 0.10899 | 1.8773 | -0.0010956 | -1.8784 |  | 8.0066 | -0.45936
1 | YES | 2.8021 | 8.0066 | 0.14335 | -0.45936 | 0.006561 | 0.46592 |  | 1.8799 | 0.034851
2 | YES | 100.589 | 1.8799 | 0.0098579 | 0.034851 | -0.0084921 | -0.043343 |  | 2.8984 | 0.1624
2 | YES | 75.0443 | 2.8984 | 0.0012811 | 0.1624 | -0.0059896 | -0.16839 |  | 4.3741 | 0.17212
2 | YES | 49.7459 | 4.3741 | 0.025721 | 0.17212 | -0.0023639 | -0.17449 |  | 3.4175 | 0.063512
2 | YES | 29.8808 | 3.4175 | 0.0035733 | 0.063512 | -0.0047142 | -0.068226 |  | 3.8288 | 0.073843
2 | YES | 19.8994 | 3.8288 | 0.012302 | 0.073843 | -0.0037036 | -0.077546 |  | 4.7891 | 0.44007
2 | YES | 9.6987 | 4.7891 | 0.017929 | 0.44007 | -0.0013444 | -0.44141 |  | 5.9642 | -0.028777
3 | YES | 63.021 | 5.9642 | 0.012047 | -0.028777 | 0.0015429 | 0.030319 |  | 5.9447 | -0.0053387
3 | YES | 49.9921 | 5.9447 | 0.0043581 | -0.0053387 | 0.0014948 | 0.0068335 |  | 6.3132 | -0.015769
3 | YES | 29.7584 | 6.3132 | 0.019688 | -0.015769 | 0.0024004 | 0.018169 |  | 6.6098 | 0.0058098
3 | YES | 19.7485 | 6.6098 | 0.0049721 | 0.0058098 | 0.0031291 | -0.0026807 |  | 6.8744 | 0.24636
3 | YES | 9.8645 | 6.8744 | 0.016662 | 0.24636 | 0.003779 | -0.24258 |  | 7.8866 | 0.18163
3 | YES | 2.7951 | 7.8866 | 0.016223 | 0.18163 | 0.0062661 | -0.17536 |  | 6.4526 | -0.086389
4 | YES | 82.3017 | 6.4526 | 0.004371 | -0.086389 | 0.0027428 | 0.089131 |  | 6.509 | -0.019975
4 | YES | 49.3712 | 6.509 | 0.0044563 | -0.019975 | 0.0028814 | 0.022857 |  | 6.6148 | -0.015223
4 | YES | 29.9507 | 6.6148 | 0.0027613 | -0.015223 | 0.0031413 | 0.018365 |  | 6.6632 | -0.0057688
4 | YES | 19.7527 | 6.6632 | 0.0054524 | -0.0057688 | 0.0032603 | 0.0090291 |  | 6.601 | -0.075967
4 | YES | 9.8166 | 6.601 | 0.0054816 | -0.075967 | 0.0031075 | 0.079074 |  | 6.562 | -0.015984
4 | YES | 3.0407 | 6.562 | 0.002446 | -0.015984 | 0.0030116 | 0.018995 |  | 6.1392 | -0.044785
5 | YES | 220.564 | 6.1392 | 0.0020943 | -0.044785 | 0.0019728 | 0.046758 |  | 6.0576 | -0.021356
5 | NO | 200.016 | 6.118 | 0.0061189 | -0.24004 | 0.0019206 | 0.24196 |  | 5.9737 | 0.036711
5 | YES | 174.771 | 6.0576 | 0.0039049 | -0.021356 | 0.0017724 | 0.023128 |  | 6.1057 | -0.0032649
5 | YES | 149.715 | 5.9737 | 0.0025314 | 0.036711 | 0.0015662 | -0.035144 |  | 6.2058 | -0.049248
5 | YES | 124.667 | 6.1057 | 0.0030842 | -0.0032649 | 0.0018906 | 0.0051555 |  | 6.4913 | 0.0053225
5 | YES | 99.9061 | 6.2058 | 0.003282 | -0.049248 | 0.0021363 | 0.051385 |  | 6.6235 | -0.015471
5 | YES | 49.9559 | 6.4913 | 0.0038106 | 0.0053225 | 0.0028379 | -0.0024845 |  | 6.6724 | 0.015397
5 | YES | 29.8707 | 6.6235 | 0.0059709 | -0.015471 | 0.0031628 | 0.018634 |  | 5.8478 | -0.29516
5 | YES | 19.8697 | 6.6724 | 0.0023575 | 0.015397 | 0.0032828 | -0.012114 |  | 6.363 | -0.38596
5 | YES | 9.9697 | 5.8478 | 0.018103 | -0.29516 | 0.001257 | 0.29641 |  | 2.2325 | -0.16454
5 | YES | 2.9699 | 6.363 | 0.030373 | -0.38596 | 0.0025228 | 0.38848 |  | 2.2819 | -0.034091
6 | YES | 278.561 | 2.2325 | 0.0022399 | -0.16454 | -0.0076257 | 0.15691 |  | 2.5141 | -0.024868
6 | YES | 250.139 | 2.2819 | 0.0014663 | -0.034091 | -0.0075042 | 0.026587 |  | 2.9135 | 0.0075538
6 | YES | 199.985 | 2.5141 | 0.0019661 | -0.024868 | -0.0069337 | 0.017934 |  | 3.3138 | 0.049752
6 | YES | 174.821 | 2.9135 | 0.0023092 | 0.0075538 | -0.0059524 | -0.013506 |  | 4.2187 | 0.30672
6 | YES | 149.926 | 3.3138 | 0.0020828 | 0.049752 | -0.0049691 | -0.054721 |  | 4.8879 | -0.0031319
6 | YES | 124.431 | 4.2187 | 0.0033472 | 0.30672 | -0.0027457 | -0.30946 |  | 4.9951 | -0.088868
6 | YES | 99.5064 | 4.8879 | 0.002041 | -0.0031319 | -0.0011016 | 0.0020303 |  | 5.2004 | -0.010653
6 | YES | 74.7556 | 4.9951 | 0.0032092 | -0.088868 | -0.00083808 | 0.08803 |  | 5.7695 | -0.014471
6 | YES | 49.8532 | 5.2004 | 0.0032267 | -0.010653 | -0.00033387 | 0.010319 |  | 5.8598 | -0.10821
6 | YES | 30.0617 | 5.7695 | 0.0026271 | -0.014471 | 0.0010646 | 0.015536 |  | 5.6172 | 0.079165
6 | YES | 20.0277 | 5.8598 | 0.0047309 | -0.10821 | 0.0012863 | 0.10949 |  | 7.868 | 0.18701
6 | YES | 9.9564 | 5.6172 | 0.0028588 | 0.079165 | 0.00069022 | -0.078475 |  | 2.1874 | -0.04362
6 | YES | 2.8792 | 7.868 | 0.053806 | 0.18701 | 0.0062204 | -0.18079 |  | 2.2098 | -0.079207
7 | YES | 274.798 | 2.1874 | 0.0042175 | -0.04362 | -0.0077365 | 0.035883 |  | 2.3729 | -0.17813
7 | YES | 250.126 | 2.2098 | 0.0013285 | -0.079207 | -0.0076814 | 0.071525 |  | 2.3169 | -0.11207
7 | YES | 200.085 | 2.3729 | 0.0022021 | -0.17813 | -0.0072808 | 0.17085 |  | 2.4045 | -0.089546
7 | YES | 175.113 | 2.3169 | 0.0016367 | -0.11207 | -0.0074182 | 0.10465 |  | 2.4078 | -0.11222
7 | YES | 149.997 | 2.4045 | 0.0021095 | -0.089546 | -0.0072032 | 0.082342 |  | 2.7864 | -0.047595
7 | YES | 125.012 | 2.4078 | 0.0012747 | -0.11222 | -0.007195 | 0.10503 |  | 2.9608 | -0.013231
7 | YES | 99.9625 | 2.7864 | 0.0014293 | -0.047595 | -0.0062648 | 0.041331 |  | 2.833 | 0.012992
7 | YES | 75.1044 | 2.9608 | 0.0021476 | -0.013231 | -0.0058363 | 0.007395 |  | 4.3745 | 0.28851
7 | YES | 50.0205 | 2.833 | 0.01289 | 0.012992 | -0.0061503 | -0.019142 |  | 5.2741 | 0.23711
7 | YES | 30.3365 | 4.3745 | 0.0017373 | 0.28851 | -0.0023629 | -0.29087 |  | 0.51971 | -0.21829
7 | YES | 19.8176 | 5.2741 | 0.0041317 | 0.23711 | -0.00015262 | -0.23727 |  | 0.51971 | -0.13929
7 | NO | 9.8932 | 6.5581 | 0.036832 | 1.0931 | 0.0030019 | -1.0901 |  | 0.78967 | -0.044331
8 | YES | 148.986 | 0.51971 | 0.018684 | -0.21829 | -0.011834 | 0.20646 |  | 0.824 | -0.055
8 | YES | 148.986 | 0.51971 | 0.018684 | -0.13929 | -0.011834 | 0.12746 |  | 4.271 | -0.09105
8 | YES | 125.103 | 0.78967 | 0.0018903 | -0.044331 | -0.011171 | 0.03316 |  | 4.0608 | -0.088165
8 | YES | 99.9544 | 0.824 | 0.0010954 | -0.055 | -0.011086 | 0.043914 |  | 3.8432 | -0.12482
8 | NO | 74.8732 | 3.4429 | 0.0023685 | 1.6889 | -0.0046517 | -1.6936 |  | 4.5851 | 0.22712
8 | YES | 49.9763 | 4.271 | 0.0029828 | -0.09105 | -0.0026173 | 0.088432 |  | 0.66733 | -0.069669
8 | YES | 29.8348 | 4.0608 | 0.0055503 | -0.088165 | -0.0031336 | 0.085032 |  | 0.59181 | -0.01019
8 | YES | 19.8104 | 3.8432 | 0.0025949 | -0.12482 | -0.0036683 | 0.12115 |  | 0.96085 | 0.084851
8 | YES | 9.8062 | 4.5851 | 0.0020639 | 0.22712 | -0.0018454 | -0.22897 |  | 3.7933 | -0.053678
8 | NO | 3.0235 | 7.3929 | 0.24052 | -1.9441 | 0.0050531 | 1.9491 |  | 3.7643 | -0.072719
9 | YES | 105.764 | 0.66733 | 0.0049906 | -0.069669 | -0.011471 | 0.058198 |  | 3.3154 | -0.25063
9 | YES | 100.167 | 0.59181 | 0.0027758 | -0.01019 | -0.011657 | -0.0014666 |  | 8.6638 | -0.42018
9 | YES | 74.9755 | 0.96085 | 0.005437 | 0.084851 | -0.01075 | -0.095601 |  | 0.055562 | 0.055562
9 | YES | 49.9911 | 3.7933 | 0.0060817 | -0.053678 | -0.0037908 | 0.049887 |  | 0.040818 | 0.040818
9 | YES | 30.0227 | 3.7643 | 0.0028816 | -0.072719 | -0.0038622 | 0.068857 |  | 0.026033 | 0.026033
9 | YES | 19.8684 | 3.3154 | 0.0024363 | -0.25063 | -0.0049651 | 0.24566 |  | 0.018331 | 0.018331
9 | YES | 3.1431 | 8.6638 | 0.19853 | -0.42018 | 0.0081756 | 0.42836 |  | 0.0096612 | -0.039339
10 | YES | 131.935 | 0.055562 | 0.001554 | 0.055562 | -0.012974 | -0.068536 |  | 2.6551 | -0.10193
10 | YES | 125.122 | 0.040818 | 0.001732 | 0.040818 | -0.01301 | -0.053829 |  | 2.4894 | -0.09557
10 | YES | 99.9477 | 0.026033 | 0.0041391 | 0.026033 | -0.013047 | -0.03908 |  | 0.065521 | 0.053521
10 | YES | 75.0801 | 0.018331 | 0.0012542 | 0.018331 | -0.013066 | -0.031396 |  | 2.1169 | 0.11794
10 | YES | 50.0511 | 0.0096612 | 0.0014919 | -0.039339 | -0.013087 | 0.026252 |  | 2.223 | -0.083975
10 | NO | 29.839 | 2.4849 | 0.011599 | 0.47586 | -0.0070056 | -0.48286 |  | 2.2838 | -0.046231
10 | YES | 19.9535 | 2.6551 | 0.0038561 | -0.10193 | -0.0065874 | 0.095339 |  | 8.6031 | 0.56911
10 | YES | 9.8388 | 2.4894 | 0.0034661 | -0.09557 | -0.0069944 | 0.088576 |  | 3.0533 | 0.1263
10 | NO | 2.8318 | 7.0439 | 0.075457 | -1.0541 | 0.0041955 | 1.0583 |  | 2.9102 | 0.010157
11 | YES | 69.8958 | 0.065521 | 0.0021798 | 0.053521 | -0.01295 | -0.06647 |  | 3.0658 | 0.31078
11 | NO | 50.0722 | 0.028405 | 0.0022457 | -0.19559 | -0.013041 | 0.18255 |  | 3.7692 | 0.21718
11 | YES | 30.0851 | 2.1169 | 0.0069165 | 0.11794 | -0.0079096 | -0.12585 |  | 10.7675 | -0.31654
11 | YES | 19.9679 | 2.223 | 0.0081828 | -0.083975 | -0.0076489 | 0.076326 |  | 0.050207 | 0.050207
11 | YES | 9.983 | 2.2838 | 0.001315 | -0.046231 | -0.0074997 | 0.038732 |  | 0.019802 | 0.019802
11 | YES | 3.053 | 8.6031 | 0.0091412 | 0.56911 | 0.0080264 | -0.56108 |  | 0.011289 | 0.011289
12 | YES | 61.7193 | 3.0533 | 0.01761 | 0.1263 | -0.005609 | -0.13191 |  | 3.5848 | 0.094851
12 | YES | 49.9646 | 2.9102 | 0.0097374 | 0.010157 | -0.0059607 | -0.016118 |  | 4.0213 | -0.072744
12 | YES | 30.2883 | 3.0658 | 0.037248 | 0.31078 | -0.0055783 | -0.31636 |  | 3.5267 | -0.10535
12 | YES | 19.9805 | 3.7692 | 0.02771 | 0.21718 | -0.0038501 | -0.22103 |  | 3.9509 | -0.0011072
12 | NO | 9.8963 | 7.6624 | 0.23931 | 1.5675 | 0.0057153 | -1.5617 |  | 4.7337 | 0.37574
12 | YES | 2.8718 | 10.7675 | 0.030253 | -0.31654 | 0.013344 | 0.32988 |  | 10.0298 | -0.69719
13 | YES | 184.706 | 0.050207 | 0.0016017 | 0.050207 | -0.012987 | -0.063194 |  | 1.2608 | -0.14625
13 | YES | 150.097 | 0.019802 | 0.00074855 | 0.019802 | -0.013062 | -0.032864 |  | 1.253 | -0.064975
13 | YES | 125.063 | 0.011289 | 0.0014913 | 0.011289 | -0.013083 | -0.024372 |  | 1.6301 | -0.016884
13 | NO | 100.02 | 0.0061074 | 0.0016723 | -0.093893 | -0.013096 | 0.080797 |  | 1.7989 | -0.038074
13 | YES | 74.9164 | 3.5848 | 0.003805 | 0.094851 | -0.004303 | -0.099154 |  | 2.0295 | -0.083545
13 | YES | 50.084 | 4.0213 | 0.001725 | -0.072744 | -0.0032308 | 0.069513 |  | 2.5377 | -0.029347
13 | YES | 30.1392 | 3.5267 | 0.0025157 | -0.10535 | -0.004446 | 0.1009 |  | 3.3283 | 0.070339
13 | YES | 20.036 | 3.9509 | 0.019135 | -0.0011072 | -0.0034037 | -0.0022965 |  | 3.9554 | 0.18639
13 | YES | 9.9463 | 4.7337 | 0.04077 | 0.37574 | -0.0014803 | -0.37722 |  | 5.2345 | -0.11954
13 | YES | 2.9701 | 10.0298 | 0.20733 | -0.69719 | 0.011532 | 0.70872 |  | 4.9886 | 0.3226
14 | YES | 320.923 | 1.2608 | 0.0019929 | -0.14625 | -0.010013 | 0.13623 |  | 5.6441 | 0.59208
14 | YES | 250.214 | 1.253 | 0.00047369 | -0.064975 | -0.010032 | 0.054943 |  | 7.0716 | 0.34759
14 | YES | 200.054 | 1.6301 | 0.0020049 | -0.016884 | -0.0091056 | 0.0077786 |  | 1.2671 | -0.14486
14 | YES | 175.042 | 1.7989 | 0.0010814 | -0.038074 | -0.0086909 | 0.029384 |  | 1.3407 | -0.18126
14 | YES | 149.901 | 2.0295 | 0.0047311 | -0.083545 | -0.0081245 | 0.075421 |  | 1.3869 | -0.1821
14 | YES | 125.152 | 2.5377 | 0.0023618 | -0.029347 | -0.0068759 | 0.022471 |  | 1.722 | -0.097959
14 | YES | 100.082 | 3.3283 | 0.0027975 | 0.070339 | -0.0049333 | -0.075272 |  | 1.8671 | -0.25493
14 | YES | 74.9725 | 3.9554 | 0.011474 | 0.18639 | -0.0033926 | -0.18978 |  | 2.1809 | -0.18411
14 | YES | 49.8475 | 5.2345 | 0.034929 | -0.11954 | -0.00025006 | 0.11929 |  | 2.8793 | 0.024297
14 | NO | 30.0308 | 4.2936 | 0.016911 | -0.43742 | -0.0025617 | 0.43486 |  | 4.6504 | -0.092645
14 | YES | 20.2466 | 4.9886 | 0.01192 | 0.3226 | -0.00085412 | -0.32345 |  | 5.7794 | 0.10441
14 | YES | 9.8617 | 5.6441 | 0.0057743 | 0.59208 | 0.00075634 | -0.59133 |  | 5.7573 | -0.0086608
14 | YES | 2.8356 | 7.0716 | 0.043105 | 0.34759 | 0.0042636 | -0.34332 |  | 5.6017 | -0.018306
15 | YES | 372.855 | 1.2671 | 0.0014624 | -0.14486 | -0.0099975 | 0.13486 |  | 5.9557 | -0.054323
15 | YES | 301.029 | 1.3407 | 0.0014876 | -0.18126 | -0.0098166 | 0.17145 |  | 7.2672 | 0.36921
15 | YES | 250.307 | 1.3869 | 0.00066339 | -0.1821 | -0.0097032 | 0.1724 |  | 1.7813 | -0.1387
15 | YES | 200.257 | 1.722 | 0.0014341 | -0.097959 | -0.0088798 | 0.089079 |  | 2.0683 | -0.12474
15 | YES | 175.037 | 1.8671 | 0.0088159 | -0.25493 | -0.0085235 | 0.2464 |  | 2.6307 | 0.067744
15 | YES | 150.018 | 2.1809 | 0.0013772 | -0.18411 | -0.0077524 | 0.17635 |  | 4.9485 | 0.017471
15 | YES | 125.004 | 2.8793 | 0.0031001 | 0.024297 | -0.0060365 | -0.030334 |  | 5.63 | -0.064983
15 | NO | 100.076 | 3.8009 | 0.005483 | -0.31911 | -0.0037722 | 0.31533 |  | 6.16 | -0.0059752
15 | YES | 75.407 | 4.6504 | 0.0018523 | -0.092645 | -0.0016852 | 0.09096 |  | 6.0569 | 0.048926
15 | YES | 49.9952 | 5.7794 | 0.0060162 | 0.10441 | 0.0010888 | -0.10332 |  | 6.0507 | -0.054265
15 | YES | 29.9195 | 5.7573 | 0.0017727 | -0.0086608 | 0.0010346 | 0.0096954 |  | 5.8802 | -0.21083
15 | YES | 20.2529 | 5.6017 | 0.0069196 | -0.018306 | 0.00065219 | 0.018958 |  | 8.4648 | 0.20583
15 | YES | 10.0886 | 5.9557 | 0.0027755 | -0.054323 | 0.0015219 | 0.055845
15 | YES | 2.8975 | 7.2672 | 0.061367 | 0.36921 | 0.0047442 | -0.36446
16 | YES | 208.279 | 1.7813 | 0.0010539 | -0.1387 | -0.0087342 | 0.12997 |  |  |  | -0.0036707
16 | YES | 175.233 | 2.0683 | 0.0014876 | -0.12474 | -0.0080292 | 0.11671
16 | YES | 149.885 | 2.6307 | 0.0029876 | 0.067744 | -0.0066472 | -0.074391
16 | NO | 125.141 | 3.9785 | 0.0056006 | -0.31845 | -0.0033357 | 0.31512
16 | YES | 100.202 | 4.9485 | 0.0021987 | 0.017471 | -0.00095272 | -0.018424
16 | YES | 75.1039 | 5.63 | 0.0022135 | -0.064983 | 0.00072179 | 0.065705
16 | YES | 50.0964 | 6.16 | 0.0027186 | -0.0059752 | 0.002024 | 0.0079992
16 | YES | 30.2475 | 6.0569 | 0.0011267 | 0.048926 | 0.0017707 | -0.047155
16 | YES | 20.0711 | 6.0507 | 0.00469 | -0.054265 | 0.0017555 | 0.05602
16 | YES | 10.1299 | 5.8802 | 0.0025221 | -0.21083 | 0.0013364 | 0.21216
16 | YES | 3.0747 | 8.4648 | 0.029443 | 0.20583 | 0.0076867 | -0.19814
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
FIT vs. Press*
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (2)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=Press*
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.058131 |  | X | CALC Y
m= | -0.00053269 | 0.00018593 |  | Std Dev of Resid |  | 0.1713 |  | 2.7951 | 0.039785
b= | 0.041274 | 0.021528 |  | Resid Sum of Squares |  | 3.9029 |  | 372.855 | -0.15734
# of Values Extracted = |  |  | 148
# of Values Used in Fit = |  |  | 135
File | Use | Press* | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | Press*
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 122.858 | 0.080876 | 0.00059959 | 0.056876 | -0.024171 | -0.081047 |  | 122.858 | 0.056876
1 | YES | 99.9423 | 0.12094 | 0.0013982 | -0.010058 | -0.011964 | -0.0019065 |  | 99.9423 | -0.010058
1 | YES | 74.6979 | 0.24449 | 0.0019413 | -0.048512 | 0.0014831 | 0.049995 |  | 74.6979 | -0.048512
1 | YES | 49.8158 | 1.0884 | 0.0029291 | 0.00042141 | 0.014738 | 0.014316 |  | 49.8158 | 0.00042141
1 | YES | 29.9705 | 1.3993 | 0.016385 | 0.12834 | 0.025309 | -0.10303 |  | 29.9705 | 0.12834
1 | YES | 19.8371 | 1.9835 | 0.0015548 | 0.18754 | 0.030707 | -0.15683 |  | 19.8371 | 0.18754
1 | NO | 9.9661 | 4.8903 | 0.10899 | 1.8773 | 0.035965 | -1.8413 |  | 2.8021 | -0.45936
1 | YES | 2.8021 | 8.0066 | 0.14335 | -0.45936 | 0.039781 | 0.49914 |  | 100.589 | 0.034851
2 | YES | 100.589 | 1.8799 | 0.0098579 | 0.034851 | -0.012309 | -0.04716 |  | 75.0443 | 0.1624
2 | YES | 75.0443 | 2.8984 | 0.0012811 | 0.1624 | 0.0012985 | -0.1611 |  | 49.7459 | 0.17212
2 | YES | 49.7459 | 4.3741 | 0.025721 | 0.17212 | 0.014775 | -0.15735 |  | 29.8808 | 0.063512
2 | YES | 29.8808 | 3.4175 | 0.0035733 | 0.063512 | 0.025357 | -0.038156 |  | 19.8994 | 0.073843
2 | YES | 19.8994 | 3.8288 | 0.012302 | 0.073843 | 0.030674 | -0.043169 |  | 9.6987 | 0.44007
2 | YES | 9.6987 | 4.7891 | 0.017929 | 0.44007 | 0.036108 | -0.40396 |  | 63.021 | -0.028777
3 | YES | 63.021 | 5.9642 | 0.012047 | -0.028777 | 0.0077032 | 0.03648 |  | 49.9921 | -0.0053387
3 | YES | 49.9921 | 5.9447 | 0.0043581 | -0.0053387 | 0.014644 | 0.019982 |  | 29.7584 | -0.015769
3 | YES | 29.7584 | 6.3132 | 0.019688 | -0.015769 | 0.025422 | 0.04119 |  | 19.7485 | 0.0058098
3 | YES | 19.7485 | 6.6098 | 0.0049721 | 0.0058098 | 0.030754 | 0.024944 |  | 9.8645 | 0.24636
3 | YES | 9.8645 | 6.8744 | 0.016662 | 0.24636 | 0.036019 | -0.21034 |  | 2.7951 | 0.18163
3 | YES | 2.7951 | 7.8866 | 0.016223 | 0.18163 | 0.039785 | -0.14184 |  | 82.3017 | -0.086389
4 | YES | 82.3017 | 6.4526 | 0.004371 | -0.086389 | -0.0025674 | 0.083821 |  | 49.3712 | -0.019975
4 | YES | 49.3712 | 6.509 | 0.0044563 | -0.019975 | 0.014974 | 0.03495 |  | 29.9507 | -0.015223
4 | YES | 29.9507 | 6.6148 | 0.0027613 | -0.015223 | 0.025319 | 0.040543 |  | 19.7527 | -0.0057688
4 | YES | 19.7527 | 6.6632 | 0.0054524 | -0.0057688 | 0.030752 | 0.036521 |  | 9.8166 | -0.075967
4 | YES | 9.8166 | 6.601 | 0.0054816 | -0.075967 | 0.036045 | 0.11201 |  | 3.0407 | -0.015984
4 | YES | 3.0407 | 6.562 | 0.002446 | -0.015984 | 0.039654 | 0.055638 |  | 220.564 | -0.044785
5 | YES | 220.564 | 6.1392 | 0.0020943 | -0.044785 | -0.076218 | -0.031433 |  | 174.771 | -0.021356
5 | NO | 200.016 | 6.118 | 0.0061189 | -0.24004 | -0.065273 | 0.17477 |  | 149.715 | 0.036711
5 | YES | 174.771 | 6.0576 | 0.0039049 | -0.021356 | -0.051825 | -0.030469 |  | 124.667 | -0.0032649
5 | YES | 149.715 | 5.9737 | 0.0025314 | 0.036711 | -0.038478 | -0.075189 |  | 99.9061 | -0.049248
5 | YES | 124.667 | 6.1057 | 0.0030842 | -0.0032649 | -0.025135 | -0.02187 |  | 49.9559 | 0.0053225
5 | YES | 99.9061 | 6.2058 | 0.003282 | -0.049248 | -0.011945 | 0.037303 |  | 29.8707 | -0.015471
5 | YES | 49.9559 | 6.4913 | 0.0038106 | 0.0053225 | 0.014663 | 0.0093404 |  | 19.8697 | 0.015397
5 | YES | 29.8707 | 6.6235 | 0.0059709 | -0.015471 | 0.025362 | 0.040833 |  | 9.9697 | -0.29516
5 | YES | 19.8697 | 6.6724 | 0.0023575 | 0.015397 | 0.03069 | 0.015293 |  | 2.9699 | -0.38596
5 | YES | 9.9697 | 5.8478 | 0.018103 | -0.29516 | 0.035963 | 0.33112 |  | 278.561 | -0.16454
5 | YES | 2.9699 | 6.363 | 0.030373 | -0.38596 | 0.039692 | 0.42565 |  | 250.139 | -0.034091
6 | YES | 278.561 | 2.2325 | 0.0022399 | -0.16454 | -0.10711 | 0.057424 |  | 199.985 | -0.024868
6 | YES | 250.139 | 2.2819 | 0.0014663 | -0.034091 | -0.091973 | -0.057882 |  | 174.821 | 0.0075538
6 | YES | 199.985 | 2.5141 | 0.0019661 | -0.024868 | -0.065256 | -0.040388 |  | 149.926 | 0.049752
6 | YES | 174.821 | 2.9135 | 0.0023092 | 0.0075538 | -0.051852 | -0.059405 |  | 124.431 | 0.30672
6 | YES | 149.926 | 3.3138 | 0.0020828 | 0.049752 | -0.03859 | -0.088342 |  | 99.5064 | -0.0031319
6 | YES | 124.431 | 4.2187 | 0.0033472 | 0.30672 | -0.025009 | -0.33173 |  | 74.7556 | -0.088868
6 | YES | 99.5064 | 4.8879 | 0.002041 | -0.0031319 | -0.011732 | -0.0086003 |  | 49.8532 | -0.010653
6 | YES | 74.7556 | 4.9951 | 0.0032092 | -0.088868 | 0.0014523 | 0.09032 |  | 30.0617 | -0.014471
6 | YES | 49.8532 | 5.2004 | 0.0032267 | -0.010653 | 0.014718 | 0.025371 |  | 20.0277 | -0.10821
6 | YES | 30.0617 | 5.7695 | 0.0026271 | -0.014471 | 0.02526 | 0.039731 |  | 9.9564 | 0.079165
6 | YES | 20.0277 | 5.8598 | 0.0047309 | -0.10821 | 0.030605 | 0.13881 |  | 2.8792 | 0.18701
6 | YES | 9.9564 | 5.6172 | 0.0028588 | 0.079165 | 0.03597 | -0.043195 |  | 274.798 | -0.04362
6 | YES | 2.8792 | 7.868 | 0.053806 | 0.18701 | 0.03974 | -0.14727 |  | 250.126 | -0.079207
7 | YES | 274.798 | 2.1874 | 0.0042175 | -0.04362 | -0.10511 | -0.061489 |  | 200.085 | -0.17813
7 | YES | 250.126 | 2.2098 | 0.0013285 | -0.079207 | -0.091966 | -0.012759 |  | 175.113 | -0.11207
7 | YES | 200.085 | 2.3729 | 0.0022021 | -0.17813 | -0.06531 | 0.11282 |  | 149.997 | -0.089546
7 | YES | 175.113 | 2.3169 | 0.0016367 | -0.11207 | -0.052007 | 0.060059 |  | 125.012 | -0.11222
7 | YES | 149.997 | 2.4045 | 0.0021095 | -0.089546 | -0.038628 | 0.050917 |  | 99.9625 | -0.047595
7 | YES | 125.012 | 2.4078 | 0.0012747 | -0.11222 | -0.025319 | 0.086904 |  | 75.1044 | -0.013231
7 | YES | 99.9625 | 2.7864 | 0.0014293 | -0.047595 | -0.011975 | 0.03562 |  | 50.0205 | 0.012992
7 | YES | 75.1044 | 2.9608 | 0.0021476 | -0.013231 | 0.0012665 | 0.014498 |  | 30.3365 | 0.28851
7 | YES | 50.0205 | 2.833 | 0.01289 | 0.012992 | 0.014628 | 0.0016366 |  | 19.8176 | 0.23711
7 | YES | 30.3365 | 4.3745 | 0.0017373 | 0.28851 | 0.025114 | -0.2634 |  | 148.986 | -0.21829
7 | YES | 19.8176 | 5.2741 | 0.0041317 | 0.23711 | 0.030717 | -0.2064 |  | 148.986 | -0.13929
7 | NO | 9.8932 | 6.5581 | 0.036832 | 1.0931 | 0.036004 | -1.0571 |  | 125.103 | -0.044331
8 | YES | 148.986 | 0.51971 | 0.018684 | -0.21829 | -0.03809 | 0.1802 |  | 99.9544 | -0.055
8 | YES | 148.986 | 0.51971 | 0.018684 | -0.13929 | -0.03809 | 0.1012 |  | 49.9763 | -0.09105
8 | YES | 125.103 | 0.78967 | 0.0018903 | -0.044331 | -0.025367 | 0.018963 |  | 29.8348 | -0.088165
8 | YES | 99.9544 | 0.824 | 0.0010954 | -0.055 | -0.011971 | 0.043029 |  | 19.8104 | -0.12482
8 | NO | 74.8732 | 3.4429 | 0.0023685 | 1.6889 | 0.0013897 | -1.6875 |  | 9.8062 | 0.22712
8 | YES | 49.9763 | 4.271 | 0.0029828 | -0.09105 | 0.014652 | 0.1057 |  | 105.764 | -0.069669
8 | YES | 29.8348 | 4.0608 | 0.0055503 | -0.088165 | 0.025381 | 0.11355 |  | 100.167 | -0.01019
8 | YES | 19.8104 | 3.8432 | 0.0025949 | -0.12482 | 0.030721 | 0.15554 |  | 74.9755 | 0.084851
8 | YES | 9.8062 | 4.5851 | 0.0020639 | 0.22712 | 0.03605 | -0.19107 |  | 49.9911 | -0.053678
8 | NO | 3.0235 | 7.3929 | 0.24052 | -1.9441 | 0.039663 | 1.9837 |  | 30.0227 | -0.072719
9 | YES | 105.764 | 0.66733 | 0.0049906 | -0.069669 | -0.015066 | 0.054604 |  | 19.8684 | -0.25063
9 | YES | 100.167 | 0.59181 | 0.0027758 | -0.01019 | -0.012084 | -0.001894 |  | 3.1431 | -0.42018
9 | YES | 74.9755 | 0.96085 | 0.005437 | 0.084851 | 0.0013352 | -0.083516 |  | 131.935 | 0.055562
9 | YES | 49.9911 | 3.7933 | 0.0060817 | -0.053678 | 0.014644 | 0.068322 |  | 125.122 | 0.040818
9 | YES | 30.0227 | 3.7643 | 0.0028816 | -0.072719 | 0.025281 | 0.098 |  | 99.9477 | 0.026033
9 | YES | 19.8684 | 3.3154 | 0.0024363 | -0.25063 | 0.03069 | 0.28132 |  | 75.0801 | 0.018331
9 | YES | 3.1431 | 8.6638 | 0.19853 | -0.42018 | 0.0396 | 0.45978 |  | 50.0511 | -0.039339
10 | YES | 131.935 | 0.055562 | 0.001554 | 0.055562 | -0.029007 | -0.084569 |  | 19.9535 | -0.10193
10 | YES | 125.122 | 0.040818 | 0.001732 | 0.040818 | -0.025377 | -0.066196 |  | 9.8388 | -0.09557
10 | YES | 99.9477 | 0.026033 | 0.0041391 | 0.026033 | -0.011967 | -0.038 |  | 69.8958 | 0.053521
10 | YES | 75.0801 | 0.018331 | 0.0012542 | 0.018331 | 0.0012795 | -0.017051 |  | 30.0851 | 0.11794
10 | YES | 50.0511 | 0.0096612 | 0.0014919 | -0.039339 | 0.014612 | 0.053951 |  | 19.9679 | -0.083975
10 | NO | 29.839 | 2.4849 | 0.011599 | 0.47586 | 0.025379 | -0.45048 |  | 9.983 | -0.046231
10 | YES | 19.9535 | 2.6551 | 0.0038561 | -0.10193 | 0.030645 | 0.13257 |  | 3.053 | 0.56911
10 | YES | 9.8388 | 2.4894 | 0.0034661 | -0.09557 | 0.036033 | 0.1316 |  | 61.7193 | 0.1263
10 | NO | 2.8318 | 7.0439 | 0.075457 | -1.0541 | 0.039765 | 1.0939 |  | 49.9646 | 0.010157
11 | YES | 69.8958 | 0.065521 | 0.0021798 | 0.053521 | 0.0040411 | -0.04948 |  | 30.2883 | 0.31078
11 | NO | 50.0722 | 0.028405 | 0.0022457 | -0.19559 | 0.014601 | 0.2102 |  | 19.9805 | 0.21718
11 | YES | 30.0851 | 2.1169 | 0.0069165 | 0.11794 | 0.025248 | -0.092694 |  | 2.8718 | -0.31654
11 | YES | 19.9679 | 2.223 | 0.0081828 | -0.083975 | 0.030637 | 0.11461 |  | 184.706 | 0.050207
11 | YES | 9.983 | 2.2838 | 0.001315 | -0.046231 | 0.035956 | 0.082187 |  | 150.097 | 0.019802
11 | YES | 3.053 | 8.6031 | 0.0091412 | 0.56911 | 0.039648 | -0.52946 |  | 125.063 | 0.011289
12 | YES | 61.7193 | 3.0533 | 0.01761 | 0.1263 | 0.0083967 | -0.1179 |  | 74.9164 | 0.094851
12 | YES | 49.9646 | 2.9102 | 0.0097374 | 0.010157 | 0.014658 | 0.0045014 |  | 50.084 | -0.072744
12 | YES | 30.2883 | 3.0658 | 0.037248 | 0.31078 | 0.02514 | -0.28564 |  | 30.1392 | -0.10535
12 | YES | 19.9805 | 3.7692 | 0.02771 | 0.21718 | 0.030631 | -0.18655 |  | 20.036 | -0.0011072
12 | NO | 9.8963 | 7.6624 | 0.23931 | 1.5675 | 0.036002 | -1.5314 |  | 9.9463 | 0.37574
12 | YES | 2.8718 | 10.7675 | 0.030253 | -0.31654 | 0.039744 | 0.35628 |  | 2.9701 | -0.69719
13 | YES | 184.706 | 0.050207 | 0.0016017 | 0.050207 | -0.057117 | -0.10732 |  | 320.923 | -0.14625
13 | YES | 150.097 | 0.019802 | 0.00074855 | 0.019802 | -0.038681 | -0.058483 |  | 250.214 | -0.064975
13 | YES | 125.063 | 0.011289 | 0.0014913 | 0.011289 | -0.025346 | -0.036635 |  | 200.054 | -0.016884
13 | NO | 100.02 | 0.0061074 | 0.0016723 | -0.093893 | -0.012006 | 0.081887 |  | 175.042 | -0.038074
13 | YES | 74.9164 | 3.5848 | 0.003805 | 0.094851 | 0.0013667 | -0.093485 |  | 149.901 | -0.083545
13 | YES | 50.084 | 4.0213 | 0.001725 | -0.072744 | 0.014595 | 0.087339 |  | 125.152 | -0.029347
13 | YES | 30.1392 | 3.5267 | 0.0025157 | -0.10535 | 0.025219 | 0.13057 |  | 100.082 | 0.070339
13 | YES | 20.036 | 3.9509 | 0.019135 | -0.0011072 | 0.030601 | 0.031708 |  | 74.9725 | 0.18639
13 | YES | 9.9463 | 4.7337 | 0.04077 | 0.37574 | 0.035976 | -0.33977 |  | 49.8475 | -0.11954
13 | YES | 2.9701 | 10.0298 | 0.20733 | -0.69719 | 0.039692 | 0.73688 |  | 20.2466 | 0.3226
14 | YES | 320.923 | 1.2608 | 0.0019929 | -0.14625 | -0.12968 | 0.016569 |  | 9.8617 | 0.59208
14 | YES | 250.214 | 1.253 | 0.00047369 | -0.064975 | -0.092013 | -0.027038 |  | 2.8356 | 0.34759
14 | YES | 200.054 | 1.6301 | 0.0020049 | -0.016884 | -0.065293 | -0.048409 |  | 372.855 | -0.14486
14 | YES | 175.042 | 1.7989 | 0.0010814 | -0.038074 | -0.051969 | -0.013895 |  | 301.029 | -0.18126
14 | YES | 149.901 | 2.0295 | 0.0047311 | -0.083545 | -0.038577 | 0.044968 |  | 250.307 | -0.1821
14 | YES | 125.152 | 2.5377 | 0.0023618 | -0.029347 | -0.025393 | 0.0039535 |  | 200.257 | -0.097959
14 | YES | 100.082 | 3.3283 | 0.0027975 | 0.070339 | -0.012039 | -0.082378 |  | 175.037 | -0.25493
14 | YES | 74.9725 | 3.9554 | 0.011474 | 0.18639 | 0.0013368 | -0.18505 |  | 150.018 | -0.18411
14 | YES | 49.8475 | 5.2345 | 0.034929 | -0.11954 | 0.014721 | 0.13426 |  | 125.004 | 0.024297
14 | NO | 30.0308 | 4.2936 | 0.016911 | -0.43742 | 0.025277 | 0.4627 |  | 75.407 | -0.092645
14 | YES | 20.2466 | 4.9886 | 0.01192 | 0.3226 | 0.030489 | -0.29211 |  | 49.9952 | 0.10441
14 | YES | 9.8617 | 5.6441 | 0.0057743 | 0.59208 | 0.036021 | -0.55606 |  | 29.9195 | -0.0086608
14 | YES | 2.8356 | 7.0716 | 0.043105 | 0.34759 | 0.039763 | -0.30782 |  | 20.2529 | -0.018306
15 | YES | 372.855 | 1.2671 | 0.0014624 | -0.14486 | -0.15734 | -0.012484 |  | 10.0886 | -0.054323
15 | YES | 301.029 | 1.3407 | 0.0014876 | -0.18126 | -0.11908 | 0.062183 |  | 2.8975 | 0.36921
15 | YES | 250.307 | 1.3869 | 0.00066339 | -0.1821 | -0.092062 | 0.090037 |  | 208.279 | -0.1387
15 | YES | 200.257 | 1.722 | 0.0014341 | -0.097959 | -0.065401 | 0.032558 |  | 175.233 | -0.12474
15 | YES | 175.037 | 1.8671 | 0.0088159 | -0.25493 | -0.051967 | 0.20296 |  | 149.885 | 0.067744
15 | YES | 150.018 | 2.1809 | 0.0013772 | -0.18411 | -0.038639 | 0.14547 |  | 100.202 | 0.017471
15 | YES | 125.004 | 2.8793 | 0.0031001 | 0.024297 | -0.025315 | -0.049612 |  | 75.1039 | -0.064983
15 | NO | 100.076 | 3.8009 | 0.005483 | -0.31911 | -0.012036 | 0.30707 |  | 50.0964 | -0.0059752
15 | YES | 75.407 | 4.6504 | 0.0018523 | -0.092645 | 0.0011053 | 0.09375 |  | 30.2475 | 0.048926
15 | YES | 49.9952 | 5.7794 | 0.0060162 | 0.10441 | 0.014642 | -0.089771 |  | 20.0711 | -0.054265
15 | YES | 29.9195 | 5.7573 | 0.0017727 | -0.0086608 | 0.025336 | 0.033997 |  | 10.1299 | -0.21083
15 | YES | 20.2529 | 5.6017 | 0.0069196 | -0.018306 | 0.030485 | 0.048791 |  | 3.0747 | 0.20583
15 | YES | 10.0886 | 5.9557 | 0.0027755 | -0.054323 | 0.0359 | 0.090223
15 | YES | 2.8975 | 7.2672 | 0.061367 | 0.36921 | 0.03973 | -0.32948
16 | YES | 208.279 | 1.7813 | 0.0010539 | -0.1387 | -0.069674 | 0.069028
16 | YES | 175.233 | 2.0683 | 0.0014876 | -0.12474 | -0.052071 | 0.072665
16 | YES | 149.885 | 2.6307 | 0.0029876 | 0.067744 | -0.038568 | -0.10631
16 | NO | 125.141 | 3.9785 | 0.0056006 | -0.31845 | -0.025388 | 0.29307
16 | YES | 100.202 | 4.9485 | 0.0021987 | 0.017471 | -0.012103 | -0.029574
16 | YES | 75.1039 | 5.63 | 0.0022135 | -0.064983 | 0.0012668 | 0.06625
16 | YES | 50.0964 | 6.16 | 0.0027186 | -0.0059752 | 0.014588 | 0.020563
16 | YES | 30.2475 | 6.0569 | 0.0011267 | 0.048926 | 0.025161 | -0.023765
16 | YES | 20.0711 | 6.0507 | 0.00469 | -0.054265 | 0.030582 | 0.084847
16 | YES | 10.1299 | 5.8802 | 0.0025221 | -0.21083 | 0.035878 | 0.2467
16 | YES | 3.0747 | 8.4648 | 0.029443 | 0.20583 | 0.039636 | -0.16619
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
FIT vs. Press*
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (3)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.00093066 |  | X | CALC Y
m= | -0.0011864 | 0.0033456 |  | Std Dev of Resid |  | 0.18065 |  | 1 | 0.0079719
b= | 0.0091584 | 0.033966 |  | Resid Sum of Squares |  | 4.4058 |  | 16 | -0.0098244
# of Values Extracted = |  |  | 148
# of Values Used in Fit = |  |  | 137
File | Use | Press* | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 122.858 | 0.080876 | 0.00059959 | 0.056876 | 0.0079719 | -0.048904 |  | 1 | 0.056876
1 | YES | 99.9423 | 0.12094 | 0.0013982 | -0.010058 | 0.0079719 | 0.01803 |  | 1 | -0.010058
1 | YES | 74.6979 | 0.24449 | 0.0019413 | -0.048512 | 0.0079719 | 0.056484 |  | 1 | -0.048512
1 | YES | 49.8158 | 1.0884 | 0.0029291 | 0.00042141 | 0.0079719 | 0.0075505 |  | 1 | 0.00042141
1 | YES | 29.9705 | 1.3993 | 0.016385 | 0.12834 | 0.0079719 | -0.12037 |  | 1 | 0.12834
1 | YES | 19.8371 | 1.9835 | 0.0015548 | 0.18754 | 0.0079719 | -0.17957 |  | 1 | 0.18754
1 | NO | 9.9661 | 4.8903 | 0.10899 | 1.8773 | 0.0079719 | -1.8693 |  | 1 | -0.45936
1 | YES | 2.8021 | 8.0066 | 0.14335 | -0.45936 | 0.0079719 | 0.46733 |  | 2 | 0.034851
2 | YES | 100.589 | 1.8799 | 0.0098579 | 0.034851 | 0.0067855 | -0.028066 |  | 2 | 0.1624
2 | YES | 75.0443 | 2.8984 | 0.0012811 | 0.1624 | 0.0067855 | -0.15561 |  | 2 | 0.17212
2 | YES | 49.7459 | 4.3741 | 0.025721 | 0.17212 | 0.0067855 | -0.16534 |  | 2 | 0.063512
2 | YES | 29.8808 | 3.4175 | 0.0035733 | 0.063512 | 0.0067855 | -0.056727 |  | 2 | 0.073843
2 | YES | 19.8994 | 3.8288 | 0.012302 | 0.073843 | 0.0067855 | -0.067057 |  | 2 | 0.44007
2 | YES | 9.6987 | 4.7891 | 0.017929 | 0.44007 | 0.0067855 | -0.43328 |  | 3 | -0.028777
3 | YES | 63.021 | 5.9642 | 0.012047 | -0.028777 | 0.0055991 | 0.034376 |  | 3 | -0.0053387
3 | YES | 49.9921 | 5.9447 | 0.0043581 | -0.0053387 | 0.0055991 | 0.010938 |  | 3 | -0.015769
3 | YES | 29.7584 | 6.3132 | 0.019688 | -0.015769 | 0.0055991 | 0.021368 |  | 3 | 0.0058098
3 | YES | 19.7485 | 6.6098 | 0.0049721 | 0.0058098 | 0.0055991 | -0.00021069 |  | 3 | 0.24636
3 | YES | 9.8645 | 6.8744 | 0.016662 | 0.24636 | 0.0055991 | -0.24076 |  | 3 | 0.18163
3 | YES | 2.7951 | 7.8866 | 0.016223 | 0.18163 | 0.0055991 | -0.17603 |  | 4 | -0.086389
4 | YES | 82.3017 | 6.4526 | 0.004371 | -0.086389 | 0.0044127 | 0.090801 |  | 4 | -0.019975
4 | YES | 49.3712 | 6.509 | 0.0044563 | -0.019975 | 0.0044127 | 0.024388 |  | 4 | -0.015223
4 | YES | 29.9507 | 6.6148 | 0.0027613 | -0.015223 | 0.0044127 | 0.019636 |  | 4 | -0.0057688
4 | YES | 19.7527 | 6.6632 | 0.0054524 | -0.0057688 | 0.0044127 | 0.010181 |  | 4 | -0.075967
4 | YES | 9.8166 | 6.601 | 0.0054816 | -0.075967 | 0.0044127 | 0.080379 |  | 4 | -0.015984
4 | YES | 3.0407 | 6.562 | 0.002446 | -0.015984 | 0.0044127 | 0.020396 |  | 5 | -0.044785
5 | YES | 220.564 | 6.1392 | 0.0020943 | -0.044785 | 0.0032263 | 0.048011 |  | 5 | -0.021356
5 | NO | 200.016 | 6.118 | 0.0061189 | -0.24004 | 0.0032263 | 0.24327 |  | 5 | 0.036711
5 | YES | 174.771 | 6.0576 | 0.0039049 | -0.021356 | 0.0032263 | 0.024582 |  | 5 | -0.0032649
5 | YES | 149.715 | 5.9737 | 0.0025314 | 0.036711 | 0.0032263 | -0.033484 |  | 5 | -0.049248
5 | YES | 124.667 | 6.1057 | 0.0030842 | -0.0032649 | 0.0032263 | 0.0064912 |  | 5 | 0.0053225
5 | YES | 99.9061 | 6.2058 | 0.003282 | -0.049248 | 0.0032263 | 0.052474 |  | 5 | -0.015471
5 | YES | 49.9559 | 6.4913 | 0.0038106 | 0.0053225 | 0.0032263 | -0.0020962 |  | 5 | 0.015397
5 | YES | 29.8707 | 6.6235 | 0.0059709 | -0.015471 | 0.0032263 | 0.018697 |  | 5 | -0.29516
5 | YES | 19.8697 | 6.6724 | 0.0023575 | 0.015397 | 0.0032263 | -0.01217 |  | 5 | -0.38596
5 | YES | 9.9697 | 5.8478 | 0.018103 | -0.29516 | 0.0032263 | 0.29838 |  | 6 | -0.16454
5 | YES | 2.9699 | 6.363 | 0.030373 | -0.38596 | 0.0032263 | 0.38919 |  | 6 | -0.034091
6 | YES | 278.561 | 2.2325 | 0.0022399 | -0.16454 | 0.0020398 | 0.16658 |  | 6 | -0.024868
6 | YES | 250.139 | 2.2819 | 0.0014663 | -0.034091 | 0.0020398 | 0.036131 |  | 6 | 0.0075538
6 | YES | 199.985 | 2.5141 | 0.0019661 | -0.024868 | 0.0020398 | 0.026908 |  | 6 | 0.049752
6 | YES | 174.821 | 2.9135 | 0.0023092 | 0.0075538 | 0.0020398 | -0.005514 |  | 6 | 0.30672
6 | YES | 149.926 | 3.3138 | 0.0020828 | 0.049752 | 0.0020398 | -0.047712 |  | 6 | -0.0031319
6 | YES | 124.431 | 4.2187 | 0.0033472 | 0.30672 | 0.0020398 | -0.30468 |  | 6 | -0.088868
6 | YES | 99.5064 | 4.8879 | 0.002041 | -0.0031319 | 0.0020398 | 0.0051717 |  | 6 | -0.010653
6 | YES | 74.7556 | 4.9951 | 0.0032092 | -0.088868 | 0.0020398 | 0.090908 |  | 6 | -0.014471
6 | YES | 49.8532 | 5.2004 | 0.0032267 | -0.010653 | 0.0020398 | 0.012693 |  | 6 | -0.10821
6 | YES | 30.0617 | 5.7695 | 0.0026271 | -0.014471 | 0.0020398 | 0.016511 |  | 6 | 0.079165
6 | YES | 20.0277 | 5.8598 | 0.0047309 | -0.10821 | 0.0020398 | 0.11025 |  | 6 | 0.18701
6 | YES | 9.9564 | 5.6172 | 0.0028588 | 0.079165 | 0.0020398 | -0.077125 |  | 7 | -0.04362
6 | YES | 2.8792 | 7.868 | 0.053806 | 0.18701 | 0.0020398 | -0.18497 |  | 7 | -0.079207
7 | YES | 274.798 | 2.1874 | 0.0042175 | -0.04362 | 0.00085341 | 0.044473 |  | 7 | -0.17813
7 | YES | 250.126 | 2.2098 | 0.0013285 | -0.079207 | 0.00085341 | 0.08006 |  | 7 | -0.11207
7 | YES | 200.085 | 2.3729 | 0.0022021 | -0.17813 | 0.00085341 | 0.17899 |  | 7 | -0.089546
7 | YES | 175.113 | 2.3169 | 0.0016367 | -0.11207 | 0.00085341 | 0.11292 |  | 7 | -0.11222
7 | YES | 149.997 | 2.4045 | 0.0021095 | -0.089546 | 0.00085341 | 0.090399 |  | 7 | -0.047595
7 | YES | 125.012 | 2.4078 | 0.0012747 | -0.11222 | 0.00085341 | 0.11308 |  | 7 | -0.013231
7 | YES | 99.9625 | 2.7864 | 0.0014293 | -0.047595 | 0.00085341 | 0.048449 |  | 7 | 0.012992
7 | YES | 75.1044 | 2.9608 | 0.0021476 | -0.013231 | 0.00085341 | 0.014085 |  | 7 | 0.28851
7 | YES | 50.0205 | 2.833 | 0.01289 | 0.012992 | 0.00085341 | -0.012138 |  | 7 | 0.23711
7 | YES | 30.3365 | 4.3745 | 0.0017373 | 0.28851 | 0.00085341 | -0.28766 |  | 8 | -0.21829
7 | YES | 19.8176 | 5.2741 | 0.0041317 | 0.23711 | 0.00085341 | -0.23626 |  | 8 | -0.13929
7 | NO | 9.8932 | 6.5581 | 0.036832 | 1.0931 | 0.00085341 | -1.0922 |  | 8 | -0.044331
8 | YES | 148.986 | 0.51971 | 0.018684 | -0.21829 | -0.000333 | 0.21796 |  | 8 | -0.055
8 | YES | 148.986 | 0.51971 | 0.018684 | -0.13929 | -0.000333 | 0.13896 |  | 8 | -0.09105
8 | YES | 125.103 | 0.78967 | 0.0018903 | -0.044331 | -0.000333 | 0.043998 |  | 8 | -0.088165
8 | YES | 99.9544 | 0.824 | 0.0010954 | -0.055 | -0.000333 | 0.054667 |  | 8 | -0.12482
8 | NO | 74.8732 | 3.4429 | 0.0023685 | 1.6889 | -0.000333 | -1.6893 |  | 8 | 0.22712
8 | YES | 49.9763 | 4.271 | 0.0029828 | -0.09105 | -0.000333 | 0.090717 |  | 9 | -0.069669
8 | YES | 29.8348 | 4.0608 | 0.0055503 | -0.088165 | -0.000333 | 0.087832 |  | 9 | -0.01019
8 | YES | 19.8104 | 3.8432 | 0.0025949 | -0.12482 | -0.000333 | 0.12448 |  | 9 | 0.084851
8 | YES | 9.8062 | 4.5851 | 0.0020639 | 0.22712 | -0.000333 | -0.22746 |  | 9 | -0.053678
8 | NO | 3.0235 | 7.3929 | 0.24052 | -1.9441 | -0.000333 | 1.9437 |  | 9 | -0.072719
9 | YES | 105.764 | 0.66733 | 0.0049906 | -0.069669 | -0.0015194 | 0.06815 |  | 9 | -0.25063
9 | YES | 100.167 | 0.59181 | 0.0027758 | -0.01019 | -0.0015194 | 0.0086707 |  | 9 | -0.42018
9 | YES | 74.9755 | 0.96085 | 0.005437 | 0.084851 | -0.0015194 | -0.086371 |  | 10 | 0.055562
9 | YES | 49.9911 | 3.7933 | 0.0060817 | -0.053678 | -0.0015194 | 0.052158 |  | 10 | 0.040818
9 | YES | 30.0227 | 3.7643 | 0.0028816 | -0.072719 | -0.0015194 | 0.071199 |  | 10 | 0.026033
9 | YES | 19.8684 | 3.3154 | 0.0024363 | -0.25063 | -0.0015194 | 0.24911 |  | 10 | 0.018331
9 | YES | 3.1431 | 8.6638 | 0.19853 | -0.42018 | -0.0015194 | 0.41866 |  | 10 | -0.039339
10 | YES | 131.935 | 0.055562 | 0.001554 | 0.055562 | -0.0027058 | -0.058268 |  | 10 | 0.47586
10 | YES | 125.122 | 0.040818 | 0.001732 | 0.040818 | -0.0027058 | -0.043524 |  | 10 | -0.10193
10 | YES | 99.9477 | 0.026033 | 0.0041391 | 0.026033 | -0.0027058 | -0.028739 |  | 10 | -0.09557
10 | YES | 75.0801 | 0.018331 | 0.0012542 | 0.018331 | -0.0027058 | -0.021036 |  | 11 | 0.053521
10 | YES | 50.0511 | 0.0096612 | 0.0014919 | -0.039339 | -0.0027058 | 0.036633 |  | 11 | -0.19559
10 | YES | 29.839 | 2.4849 | 0.011599 | 0.47586 | -0.0027058 | -0.47856 |  | 11 | 0.11794
10 | YES | 19.9535 | 2.6551 | 0.0038561 | -0.10193 | -0.0027058 | 0.09922 |  | 11 | -0.083975
10 | YES | 9.8388 | 2.4894 | 0.0034661 | -0.09557 | -0.0027058 | 0.092864 |  | 11 | -0.046231
10 | NO | 2.8318 | 7.0439 | 0.075457 | -1.0541 | -0.0027058 | 1.0514 |  | 11 | 0.56911
11 | YES | 69.8958 | 0.065521 | 0.0021798 | 0.053521 | -0.0038923 | -0.057413 |  | 12 | 0.1263
11 | YES | 50.0722 | 0.028405 | 0.0022457 | -0.19559 | -0.0038923 | 0.1917 |  | 12 | 0.010157
11 | YES | 30.0851 | 2.1169 | 0.0069165 | 0.11794 | -0.0038923 | -0.12183 |  | 12 | 0.31078
11 | YES | 19.9679 | 2.223 | 0.0081828 | -0.083975 | -0.0038923 | 0.080083 |  | 12 | 0.21718
11 | YES | 9.983 | 2.2838 | 0.001315 | -0.046231 | -0.0038923 | 0.042339 |  | 12 | -0.31654
11 | YES | 3.053 | 8.6031 | 0.0091412 | 0.56911 | -0.0038923 | -0.573 |  | 13 | 0.050207
12 | YES | 61.7193 | 3.0533 | 0.01761 | 0.1263 | -0.0050787 | -0.13138 |  | 13 | 0.019802
12 | YES | 49.9646 | 2.9102 | 0.0097374 | 0.010157 | -0.0050787 | -0.015236 |  | 13 | 0.011289
12 | YES | 30.2883 | 3.0658 | 0.037248 | 0.31078 | -0.0050787 | -0.31586 |  | 13 | 0.094851
12 | YES | 19.9805 | 3.7692 | 0.02771 | 0.21718 | -0.0050787 | -0.22226 |  | 13 | -0.072744
12 | NO | 9.8963 | 7.6624 | 0.23931 | 1.5675 | -0.0050787 | -1.5725 |  | 13 | -0.10535
12 | YES | 2.8718 | 10.7675 | 0.030253 | -0.31654 | -0.0050787 | 0.31146 |  | 13 | -0.0011072
13 | YES | 184.706 | 0.050207 | 0.0016017 | 0.050207 | -0.0062651 | -0.056472 |  | 13 | 0.37574
13 | YES | 150.097 | 0.019802 | 0.00074855 | 0.019802 | -0.0062651 | -0.026067 |  | 13 | -0.69719
13 | YES | 125.063 | 0.011289 | 0.0014913 | 0.011289 | -0.0062651 | -0.017554 |  | 14 | -0.14625
13 | NO | 100.02 | 0.0061074 | 0.0016723 | -0.093893 | -0.0062651 | 0.087627 |  | 14 | -0.064975
13 | YES | 74.9164 | 3.5848 | 0.003805 | 0.094851 | -0.0062651 | -0.10112 |  | 14 | -0.016884
13 | YES | 50.084 | 4.0213 | 0.001725 | -0.072744 | -0.0062651 | 0.066479 |  | 14 | -0.038074
13 | YES | 30.1392 | 3.5267 | 0.0025157 | -0.10535 | -0.0062651 | 0.099082 |  | 14 | -0.083545
13 | YES | 20.036 | 3.9509 | 0.019135 | -0.0011072 | -0.0062651 | -0.0051579 |  | 14 | -0.029347
13 | YES | 9.9463 | 4.7337 | 0.04077 | 0.37574 | -0.0062651 | -0.38201 |  | 14 | 0.070339
13 | YES | 2.9701 | 10.0298 | 0.20733 | -0.69719 | -0.0062651 | 0.69092 |  | 14 | 0.18639
14 | YES | 320.923 | 1.2608 | 0.0019929 | -0.14625 | -0.0074515 | 0.1388 |  | 14 | -0.11954
14 | YES | 250.214 | 1.253 | 0.00047369 | -0.064975 | -0.0074515 | 0.057524 |  | 14 | 0.3226
14 | YES | 200.054 | 1.6301 | 0.0020049 | -0.016884 | -0.0074515 | 0.0094327 |  | 14 | 0.59208
14 | YES | 175.042 | 1.7989 | 0.0010814 | -0.038074 | -0.0074515 | 0.030623 |  | 14 | 0.34759
14 | YES | 149.901 | 2.0295 | 0.0047311 | -0.083545 | -0.0074515 | 0.076094 |  | 15 | -0.14486
14 | YES | 125.152 | 2.5377 | 0.0023618 | -0.029347 | -0.0074515 | 0.021895 |  | 15 | -0.18126
14 | YES | 100.082 | 3.3283 | 0.0027975 | 0.070339 | -0.0074515 | -0.077791 |  | 15 | -0.1821
14 | YES | 74.9725 | 3.9554 | 0.011474 | 0.18639 | -0.0074515 | -0.19384 |  | 15 | -0.097959
14 | YES | 49.8475 | 5.2345 | 0.034929 | -0.11954 | -0.0074515 | 0.11209 |  | 15 | -0.25493
14 | NO | 30.0308 | 4.2936 | 0.016911 | -0.43742 | -0.0074515 | 0.42997 |  | 15 | -0.18411
14 | YES | 20.2466 | 4.9886 | 0.01192 | 0.3226 | -0.0074515 | -0.33005 |  | 15 | 0.024297
14 | YES | 9.8617 | 5.6441 | 0.0057743 | 0.59208 | -0.0074515 | -0.59953 |  | 15 | -0.092645
14 | YES | 2.8356 | 7.0716 | 0.043105 | 0.34759 | -0.0074515 | -0.35504 |  | 15 | 0.10441
15 | YES | 372.855 | 1.2671 | 0.0014624 | -0.14486 | -0.0086379 | 0.13622 |  | 15 | -0.0086608
15 | YES | 301.029 | 1.3407 | 0.0014876 | -0.18126 | -0.0086379 | 0.17263 |  | 15 | -0.018306
15 | YES | 250.307 | 1.3869 | 0.00066339 | -0.1821 | -0.0086379 | 0.17346 |  | 15 | -0.054323
15 | YES | 200.257 | 1.722 | 0.0014341 | -0.097959 | -0.0086379 | 0.089321 |  | 15 | 0.36921
15 | YES | 175.037 | 1.8671 | 0.0088159 | -0.25493 | -0.0086379 | 0.24629 |  | 16 | -0.1387
15 | YES | 150.018 | 2.1809 | 0.0013772 | -0.18411 | -0.0086379 | 0.17547 |  | 16 | -0.12474
15 | YES | 125.004 | 2.8793 | 0.0031001 | 0.024297 | -0.0086379 | -0.032935 |  | 16 | 0.067744
15 | NO | 100.076 | 3.8009 | 0.005483 | -0.31911 | -0.0086379 | 0.31047 |  | 16 | 0.017471
15 | YES | 75.407 | 4.6504 | 0.0018523 | -0.092645 | -0.0086379 | 0.084007 |  | 16 | -0.064983
15 | YES | 49.9952 | 5.7794 | 0.0060162 | 0.10441 | -0.0086379 | -0.11305 |  | 16 | -0.0059752
15 | YES | 29.9195 | 5.7573 | 0.0017727 | -0.0086608 | -0.0086379 | 2.2846e-05 |  | 16 | 0.048926
15 | YES | 20.2529 | 5.6017 | 0.0069196 | -0.018306 | -0.0086379 | 0.0096679 |  | 16 | -0.054265
15 | YES | 10.0886 | 5.9557 | 0.0027755 | -0.054323 | -0.0086379 | 0.045685 |  | 16 | -0.21083
15 | YES | 2.8975 | 7.2672 | 0.061367 | 0.36921 | -0.0086379 | -0.37784 |  | 16 | 0.20583
16 | YES | 208.279 | 1.7813 | 0.0010539 | -0.1387 | -0.0098244 | 0.12888
16 | YES | 175.233 | 2.0683 | 0.0014876 | -0.12474 | -0.0098244 | 0.11491
16 | YES | 149.885 | 2.6307 | 0.0029876 | 0.067744 | -0.0098244 | -0.077568
16 | NO | 125.141 | 3.9785 | 0.0056006 | -0.31845 | -0.0098244 | 0.30863
16 | YES | 100.202 | 4.9485 | 0.0021987 | 0.017471 | -0.0098244 | -0.027295
16 | YES | 75.1039 | 5.63 | 0.0022135 | -0.064983 | -0.0098244 | 0.055159
16 | YES | 50.0964 | 6.16 | 0.0027186 | -0.0059752 | -0.0098244 | -0.0038491
16 | YES | 30.2475 | 6.0569 | 0.0011267 | 0.048926 | -0.0098244 | -0.05875
16 | YES | 20.0711 | 6.0507 | 0.00469 | -0.054265 | -0.0098244 | 0.04444
16 | YES | 10.1299 | 5.8802 | 0.0025221 | -0.21083 | -0.0098244 | 0.201
16 | YES | 3.0747 | 8.4648 | 0.029443 | 0.20583 | -0.0098244 | -0.21565
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
FIT vs. Press*
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2008/08/11 16:44:51
| Primary | Secondary |  | Comparison Name
Ref | Press* | Press* |  | Press* - Press*
Comp 1 | DOX_BOT | DOX_CTD |  | DOX_CTD - DOX_BOT
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Press* | Press* | Press* | (S-P) | DOX_BOT | DOX_CTD | DOX_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2008-28-0006.mrgcor1 | 2008-28-0006.samcor1 | 121 | 122.858 | 122.858 | 0.037472 | 0.00026703 | 0.024 | 0.080876 | 0.00059959 | 0.056876
2008-28-0006.mrgcor1 | 2008-28-0006.samcor1 | 121 | 99.942 | 99.9423 | 0.034609 | 0.00030518 | 0.131 | 0.12094 | 0.0013982 | -0.010058
2008-28-0006.mrgcor1 | 2008-28-0006.samcor1 | 121 | 74.698 | 74.6979 | 0.032136 | -0.00013733 | 0.293 | 0.24449 | 0.0019413 | -0.048512
2008-28-0006.mrgcor1 | 2008-28-0006.samcor1 | 121 | 49.816 | 49.8158 | 0.031136 | -0.00015259 | 1.088 | 1.0884 | 0.0029291 | 0.00042141
2008-28-0006.mrgcor1 | 2008-28-0006.samcor1 | 121 | 29.97 | 29.9705 | 0.028294 | 0.00049591 | 1.271 | 1.3993 | 0.016385 | 0.12834
2008-28-0006.mrgcor1 | 2008-28-0006.samcor1 | 121 | 19.837 | 19.8371 | 0.035159 | 0.00013161 | 1.796 | 1.9835 | 0.0015548 | 0.18754
2008-28-0006.mrgcor1 | 2008-28-0006.samcor1 | 121 | 9.966 | 9.9661 | 0.030118 | 8.297e-05 | 3.013 | 4.8903 | 0.10899 | 1.8773
2008-28-0006.mrgcor1 | 2008-28-0006.samcor1 | 121 | 2.802 | 2.8021 | 0.050527 | 0.00013208 | 8.466 | 8.0066 | 0.14335 | -0.45936
2008-28-0007.mrgcor1 | 2008-28-0007.samcor1 | 121 | 100.589 | 100.589 | 0.031501 | -0.00034332 | 1.845 | 1.8799 | 0.0098579 | 0.034851
2008-28-0007.mrgcor1 | 2008-28-0007.samcor1 | 121 | 75.044 | 75.0443 | 0.034264 | 0.00027466 | 2.736 | 2.8984 | 0.0012811 | 0.1624
2008-28-0007.mrgcor1 | 2008-28-0007.samcor1 | 121 | 49.746 | 49.7459 | 0.036043 | -7.2479e-05 | 4.202 | 4.3741 | 0.025721 | 0.17212
2008-28-0007.mrgcor1 | 2008-28-0007.samcor1 | 121 | 29.881 | 29.8808 | 0.033187 | -0.00015831 | 3.354 | 3.4175 | 0.0035733 | 0.063512
2008-28-0007.mrgcor1 | 2008-28-0007.samcor1 | 121 | 19.899 | 19.8994 | 0.034155 | 0.00041199 | 3.755 | 3.8288 | 0.012302 | 0.073843
2008-28-0007.mrgcor1 | 2008-28-0007.samcor1 | 121 | 9.699 | 9.6987 | 0.029684 | -0.00033092 | 4.349 | 4.7891 | 0.017929 | 0.44007
2008-28-0008.mrgcor1 | 2008-28-0008.samcor1 | 121 | 63.021 | 63.021 | 0.026216 | 4.9591e-05 | 5.993 | 5.9642 | 0.012047 | -0.028777
2008-28-0008.mrgcor1 | 2008-28-0008.samcor1 | 121 | 49.992 | 49.9921 | 0.033134 | 4.9591e-05 | 5.95 | 5.9447 | 0.0043581 | -0.0053387
2008-28-0008.mrgcor1 | 2008-28-0008.samcor1 | 121 | 29.758 | 29.7584 | 0.025211 | 0.00043869 | 6.329 | 6.3132 | 0.019688 | -0.015769
2008-28-0008.mrgcor1 | 2008-28-0008.samcor1 | 121 | 19.748 | 19.7485 | 0.060565 | 0.00048065 | 6.604 | 6.6098 | 0.0049721 | 0.0058098
2008-28-0008.mrgcor1 | 2008-28-0008.samcor1 | 121 | 9.865 | 9.8645 | 0.030894 | -0.0004549 | 6.628 | 6.8744 | 0.016662 | 0.24636
2008-28-0008.mrgcor1 | 2008-28-0008.samcor1 | 121 | 2.795 | 2.7951 | 0.029388 | 0.00014043 | 7.705 | 7.8866 | 0.016223 | 0.18163
2008-28-0009.mrgcor1 | 2008-28-0009.samcor1 | 121 | 82.302 | 82.3017 | 0.03153 | -0.00032043 | 6.539 | 6.4526 | 0.004371 | -0.086389
2008-28-0009.mrgcor1 | 2008-28-0009.samcor1 | 121 | 49.371 | 49.3712 | 0.044294 | 0.00020599 | 6.529 | 6.509 | 0.0044563 | -0.019975
2008-28-0009.mrgcor1 | 2008-28-0009.samcor1 | 121 | 29.951 | 29.9507 | 0.034437 | -0.00027275 | 6.63 | 6.6148 | 0.0027613 | -0.015223
2008-28-0009.mrgcor1 | 2008-28-0009.samcor1 | 121 | 19.753 | 19.7527 | 0.035977 | -0.00032997 | 6.669 | 6.6632 | 0.0054524 | -0.0057688
2008-28-0009.mrgcor1 | 2008-28-0009.samcor1 | 121 | 9.817 | 9.8166 | 0.027781 | -0.00042152 | 6.677 | 6.601 | 0.0054816 | -0.075967
2008-28-0009.mrgcor1 | 2008-28-0009.samcor1 | 121 | 3.041 | 3.0407 | 0.035753 | -0.0003221 | 6.578 | 6.562 | 0.002446 | -0.015984
2008-28-0010.mrgcor1 | 2008-28-0010.samcor1 | 121 | 220.564 | 220.564 | 0.03163 | 0.00032043 | 6.184 | 6.1392 | 0.0020943 | -0.044785
2008-28-0010.mrgcor1 | 2008-28-0010.samcor1 | 121 | 200.016 | 200.016 | 0.032948 | -0.00021362 | 6.358 | 6.118 | 0.0061189 | -0.24004
2008-28-0010.mrgcor1 | 2008-28-0010.samcor1 | 121 | 174.771 | 174.771 | 0.024778 | 0.00035095 | 6.079 | 6.0576 | 0.0039049 | -0.021356
2008-28-0010.mrgcor1 | 2008-28-0010.samcor1 | 121 | 149.715 | 149.715 | 0.03278 | -0.00012207 | 5.937 | 5.9737 | 0.0025314 | 0.036711
2008-28-0010.mrgcor1 | 2008-28-0010.samcor1 | 121 | 124.667 | 124.667 | 0.024707 | -8.3923e-05 | 6.109 | 6.1057 | 0.0030842 | -0.0032649
2008-28-0010.mrgcor1 | 2008-28-0010.samcor1 | 121 | 99.906 | 99.9061 | 0.031634 | 8.3923e-05 | 6.255 | 6.2058 | 0.003282 | -0.049248
2008-28-0010.mrgcor1 | 2008-28-0010.samcor1 | 121 | 49.956 | 49.9559 | 0.033082 | -7.2479e-05 | 6.486 | 6.4913 | 0.0038106 | 0.0053225
2008-28-0010.mrgcor1 | 2008-28-0010.samcor1 | 121 | 29.871 | 29.8707 | 0.030132 | -0.00033951 | 6.639 | 6.6235 | 0.0059709 | -0.015471
2008-28-0010.mrgcor1 | 2008-28-0010.samcor1 | 121 | 19.87 | 19.8697 | 0.02378 | -0.00027466 | 6.657 | 6.6724 | 0.0023575 | 0.015397
2008-28-0010.mrgcor1 | 2008-28-0010.samcor1 | 121 | 9.97 | 9.9697 | 0.023575 | -0.00028896 | 6.143 | 5.8478 | 0.018103 | -0.29516
2008-28-0010.mrgcor1 | 2008-28-0010.samcor1 | 121 | 2.97 | 2.9699 | 0.034617 | -6.6042e-05 | 6.749 | 6.363 | 0.030373 | -0.38596
2008-28-0011.mrgcor1 | 2008-28-0011.samcor1 | 121 | 278.561 | 278.561 | 0.02819 | 0.00030518 | 2.397 | 2.2325 | 0.0022399 | -0.16454
2008-28-0011.mrgcor1 | 2008-28-0011.samcor1 | 121 | 250.139 | 250.139 | 0.031499 | -0.00016785 | 2.316 | 2.2819 | 0.0014663 | -0.034091
2008-28-0011.mrgcor1 | 2008-28-0011.samcor1 | 121 | 199.985 | 199.985 | 0.036626 | -0.00047302 | 2.539 | 2.5141 | 0.0019661 | -0.024868
2008-28-0011.mrgcor1 | 2008-28-0011.samcor1 | 121 | 174.821 | 174.821 | 0.029253 | 0.00048828 | 2.906 | 2.9135 | 0.0023092 | 0.0075538
2008-28-0011.mrgcor1 | 2008-28-0011.samcor1 | 121 | 149.926 | 149.926 | 0.031286 | 0 | 3.264 | 3.3138 | 0.0020828 | 0.049752
2008-28-0011.mrgcor1 | 2008-28-0011.samcor1 | 121 | 124.431 | 124.431 | 0.056894 | 0.00022888 | 3.912 | 4.2187 | 0.0033472 | 0.30672
2008-28-0011.mrgcor1 | 2008-28-0011.samcor1 | 121 | 99.506 | 99.5064 | 0.032697 | 0.0003891 | 4.891 | 4.8879 | 0.002041 | -0.0031319
2008-28-0011.mrgcor1 | 2008-28-0011.samcor1 | 121 | 74.756 | 74.7556 | 0.032363 | -0.00041199 | 5.084 | 4.9951 | 0.0032092 | -0.088868
2008-28-0011.mrgcor1 | 2008-28-0011.samcor1 | 121 | 49.853 | 49.8532 | 0.02605 | 0.00022125 | 5.211 | 5.2004 | 0.0032267 | -0.010653
2008-28-0011.mrgcor1 | 2008-28-0011.samcor1 | 121 | 30.062 | 30.0617 | 0.041427 | -0.00027275 | 5.784 | 5.7695 | 0.0026271 | -0.014471
2008-28-0011.mrgcor1 | 2008-28-0011.samcor1 | 121 | 20.028 | 20.0277 | 0.030478 | -0.00032234 | 5.968 | 5.8598 | 0.0047309 | -0.10821
2008-28-0011.mrgcor1 | 2008-28-0011.samcor1 | 121 | 9.956 | 9.9564 | 0.023927 | 0.00035477 | 5.538 | 5.6172 | 0.0028588 | 0.079165
2008-28-0011.mrgcor1 | 2008-28-0011.samcor1 | 121 | 2.879 | 2.8792 | 0.034802 | 0.00016546 | 7.681 | 7.868 | 0.053806 | 0.18701
2008-28-0012.mrgcor1 | 2008-28-0012.samcor1 | 121 | 274.798 | 274.798 | 0.034037 | -0.00024414 | 2.231 | 2.1874 | 0.0042175 | -0.04362
2008-28-0012.mrgcor1 | 2008-28-0012.samcor1 | 121 | 250.126 | 250.126 | 0.030382 | 7.6294e-05 | 2.289 | 2.2098 | 0.0013285 | -0.079207
2008-28-0012.mrgcor1 | 2008-28-0012.samcor1 | 121 | 200.085 | 200.085 | 0.031257 | -0.00038147 | 2.551 | 2.3729 | 0.0022021 | -0.17813
2008-28-0012.mrgcor1 | 2008-28-0012.samcor1 | 121 | 175.113 | 175.113 | 0.026194 | 6.1035e-05 | 2.429 | 2.3169 | 0.0016367 | -0.11207
2008-28-0012.mrgcor1 | 2008-28-0012.samcor1 | 121 | 149.997 | 149.997 | 0.032874 | -3.0518e-05 | 2.494 | 2.4045 | 0.0021095 | -0.089546
2008-28-0012.mrgcor1 | 2008-28-0012.samcor1 | 121 | 125.012 | 125.012 | 0.035585 | -6.1035e-05 | 2.52 | 2.4078 | 0.0012747 | -0.11222
2008-28-0012.mrgcor1 | 2008-28-0012.samcor1 | 121 | 99.962 | 99.9625 | 0.034758 | 0.00048065 | 2.834 | 2.7864 | 0.0014293 | -0.047595
2008-28-0012.mrgcor1 | 2008-28-0012.samcor1 | 121 | 75.104 | 75.1044 | 0.032798 | 0.0003891 | 2.974 | 2.9608 | 0.0021476 | -0.013231
2008-28-0012.mrgcor1 | 2008-28-0012.samcor1 | 121 | 50.021 | 50.0205 | 0.022691 | -0.00045395 | 2.82 | 2.833 | 0.01289 | 0.012992
2008-28-0012.mrgcor1 | 2008-28-0012.samcor1 | 121 | 30.336 | 30.3365 | 0.031354 | 0.00047111 | 4.086 | 4.3745 | 0.0017373 | 0.28851
2008-28-0012.mrgcor1 | 2008-28-0012.samcor1 | 121 | 19.818 | 19.8176 | 0.029107 | -0.00035667 | 5.037 | 5.2741 | 0.0041317 | 0.23711
2008-28-0012.mrgcor1 | 2008-28-0012.samcor1 | 121 | 9.893 | 9.8932 | 0.032593 | 0.00017452 | 5.465 | 6.5581 | 0.036832 | 1.0931
2008-28-0013.mrgcor1 | 2008-28-0013.samcor1 | 242 | 148.986 | 148.986 | 0.03031 | -0.00032043 | 0.738 | 0.51971 | 0.018684 | -0.21829
2008-28-0013.mrgcor1 | 2008-28-0013.samcor1 | 242 | 148.986 | 148.986 | 0.03031 | -0.00032043 | 0.659 | 0.51971 | 0.018684 | -0.13929
2008-28-0013.mrgcor1 | 2008-28-0013.samcor1 | 121 | 125.103 | 125.103 | 0.022804 | -0.00028229 | 0.834 | 0.78967 | 0.0018903 | -0.044331
2008-28-0013.mrgcor1 | 2008-28-0013.samcor1 | 121 | 99.954 | 99.9544 | 0.03117 | 0.00041199 | 0.879 | 0.824 | 0.0010954 | -0.055
2008-28-0013.mrgcor1 | 2008-28-0013.samcor1 | 121 | 74.873 | 74.8732 | 0.036023 | 0.00019836 | 1.754 | 3.4429 | 0.0023685 | 1.6889
2008-28-0013.mrgcor1 | 2008-28-0013.samcor1 | 121 | 49.976 | 49.9763 | 0.031335 | 0.0003128 | 4.362 | 4.271 | 0.0029828 | -0.09105
2008-28-0013.mrgcor1 | 2008-28-0013.samcor1 | 121 | 29.835 | 29.8348 | 0.028435 | -0.00018883 | 4.149 | 4.0608 | 0.0055503 | -0.088165
2008-28-0013.mrgcor1 | 2008-28-0013.samcor1 | 121 | 19.81 | 19.8104 | 0.036778 | 0.0004139 | 3.968 | 3.8432 | 0.0025949 | -0.12482
2008-28-0013.mrgcor1 | 2008-28-0013.samcor1 | 121 | 9.806 | 9.8062 | 0.031769 | 0.00022316 | 4.358 | 4.5851 | 0.0020639 | 0.22712
2008-28-0013.mrgcor1 | 2008-28-0013.samcor1 | 121 | 3.024 | 3.0235 | 0.04294 | -0.00046277 | 9.337 | 7.3929 | 0.24052 | -1.9441
2008-28-0014.mrgcor1 | 2008-28-0014.samcor1 | 121 | 105.764 | 105.764 | 0.033061 | 0.00018311 | 0.737 | 0.66733 | 0.0049906 | -0.069669
2008-28-0014.mrgcor1 | 2008-28-0014.samcor1 | 121 | 100.167 | 100.167 | 0.036984 | -0.00038147 | 0.602 | 0.59181 | 0.0027758 | -0.01019
2008-28-0014.mrgcor1 | 2008-28-0014.samcor1 | 121 | 74.976 | 74.9755 | 0.029849 | -0.00048828 | 0.876 | 0.96085 | 0.005437 | 0.084851
2008-28-0014.mrgcor1 | 2008-28-0014.samcor1 | 121 | 49.991 | 49.9911 | 0.03102 | 7.2479e-05 | 3.847 | 3.7933 | 0.0060817 | -0.053678
2008-28-0014.mrgcor1 | 2008-28-0014.samcor1 | 121 | 30.023 | 30.0227 | 0.026808 | -0.00033188 | 3.837 | 3.7643 | 0.0028816 | -0.072719
2008-28-0014.mrgcor1 | 2008-28-0014.samcor1 | 121 | 19.868 | 19.8684 | 0.031726 | 0.00043869 | 3.566 | 3.3154 | 0.0024363 | -0.25063
2008-28-0014.mrgcor1 | 2008-28-0014.samcor1 | 121 | 3.143 | 3.1431 | 0.037919 | 8.2731e-05 | 9.084 | 8.6638 | 0.19853 | -0.42018
2008-28-0015.mrgcor1 | 2008-28-0015.samcor1 | 121 | 131.935 | 131.935 | 0.036436 | 0.00015259 | 0 | 0.055562 | 0.001554 | 0.055562
2008-28-0015.mrgcor1 | 2008-28-0015.samcor1 | 121 | 125.122 | 125.122 | 0.027981 | -0.00027466 | 0 | 0.040818 | 0.001732 | 0.040818
2008-28-0015.mrgcor1 | 2008-28-0015.samcor1 | 121 | 99.948 | 99.9477 | 0.028901 | -0.0003128 | 0 | 0.026033 | 0.0041391 | 0.026033
2008-28-0015.mrgcor1 | 2008-28-0015.samcor1 | 121 | 75.08 | 75.0801 | 0.027734 | 0.0001297 | 0 | 0.018331 | 0.0012542 | 0.018331
2008-28-0015.mrgcor1 | 2008-28-0015.samcor1 | 121 | 50.051 | 50.0511 | 0.03178 | 9.9182e-05 | 0.049 | 0.0096612 | 0.0014919 | -0.039339
2008-28-0015.mrgcor1 | 2008-28-0015.samcor1 | 121 | 29.839 | 29.839 | 0.029525 | -9.5367e-06 | 2.009 | 2.4849 | 0.011599 | 0.47586
2008-28-0015.mrgcor1 | 2008-28-0015.samcor1 | 121 | 19.954 | 19.9535 | 0.025621 | -0.00045395 | 2.757 | 2.6551 | 0.0038561 | -0.10193
2008-28-0015.mrgcor1 | 2008-28-0015.samcor1 | 121 | 9.839 | 9.8388 | 0.030587 | -0.00022316 | 2.585 | 2.4894 | 0.0034661 | -0.09557
2008-28-0015.mrgcor1 | 2008-28-0015.samcor1 | 121 | 2.832 | 2.8318 | 0.027443 | -0.00018191 | 8.098 | 7.0439 | 0.075457 | -1.0541
2008-28-0016.mrgcor1 | 2008-28-0016.samcor1 | 121 | 69.896 | 69.8958 | 0.025268 | -0.00022125 | 0.012 | 0.065521 | 0.0021798 | 0.053521
2008-28-0016.mrgcor1 | 2008-28-0016.samcor1 | 121 | 50.072 | 50.0722 | 0.031532 | 0.00019074 | 0.224 | 0.028405 | 0.0022457 | -0.19559
2008-28-0016.mrgcor1 | 2008-28-0016.samcor1 | 121 | 30.085 | 30.0851 | 0.031035 | 0.00012589 | 1.999 | 2.1169 | 0.0069165 | 0.11794
2008-28-0016.mrgcor1 | 2008-28-0016.samcor1 | 121 | 19.968 | 19.9679 | 0.024328 | -8.3923e-05 | 2.307 | 2.223 | 0.0081828 | -0.083975
2008-28-0016.mrgcor1 | 2008-28-0016.samcor1 | 121 | 9.983 | 9.983 | 0.027965 | -4.1008e-05 | 2.33 | 2.2838 | 0.001315 | -0.046231
2008-28-0016.mrgcor1 | 2008-28-0016.samcor1 | 121 | 3.053 | 3.053 | 0.028823 | -2.4796e-05 | 8.034 | 8.6031 | 0.0091412 | 0.56911
2008-28-0022.mrgcor1 | 2008-28-0022.samcor1 | 121 | 61.719 | 61.7193 | 0.023939 | 0.00033569 | 2.927 | 3.0533 | 0.01761 | 0.1263
2008-28-0022.mrgcor1 | 2008-28-0022.samcor1 | 121 | 49.965 | 49.9646 | 0.03022 | -0.00042343 | 2.9 | 2.9102 | 0.0097374 | 0.010157
2008-28-0022.mrgcor1 | 2008-28-0022.samcor1 | 121 | 30.288 | 30.2883 | 0.0334 | 0.00032234 | 2.755 | 3.0658 | 0.037248 | 0.31078
2008-28-0022.mrgcor1 | 2008-28-0022.samcor1 | 121 | 19.981 | 19.9805 | 0.029281 | -0.00047111 | 3.552 | 3.7692 | 0.02771 | 0.21718
2008-28-0022.mrgcor1 | 2008-28-0022.samcor1 | 121 | 9.896 | 9.8963 | 0.034949 | 0.00033092 | 6.095 | 7.6624 | 0.23931 | 1.5675
2008-28-0022.mrgcor1 | 2008-28-0022.samcor1 | 121 | 2.872 | 2.8718 | 0.033353 | -0.00023127 | 11.084 | 10.7675 | 0.030253 | -0.31654
2008-28-0023.mrgcor1 | 2008-28-0023.samcor1 | 121 | 184.706 | 184.706 | 0.030751 | -0.00028992 | 0 | 0.050207 | 0.0016017 | 0.050207
2008-28-0023.mrgcor1 | 2008-28-0023.samcor1 | 121 | 150.097 | 150.097 | 0.036173 | 0.00035095 | 0 | 0.019802 | 0.00074855 | 0.019802
2008-28-0023.mrgcor1 | 2008-28-0023.samcor1 | 121 | 125.063 | 125.063 | 0.036325 | -0.00013733 | 0 | 0.011289 | 0.0014913 | 0.011289
2008-28-0023.mrgcor1 | 2008-28-0023.samcor1 | 121 | 100.02 | 100.02 | 0.037256 | 0.00022888 | 0.1 | 0.0061074 | 0.0016723 | -0.093893
2008-28-0023.mrgcor1 | 2008-28-0023.samcor1 | 121 | 74.916 | 74.9164 | 0.033058 | 0.00036621 | 3.49 | 3.5848 | 0.003805 | 0.094851
2008-28-0023.mrgcor1 | 2008-28-0023.samcor1 | 121 | 50.084 | 50.084 | 0.032331 | -3.4332e-05 | 4.094 | 4.0213 | 0.001725 | -0.072744
2008-28-0023.mrgcor1 | 2008-28-0023.samcor1 | 121 | 30.139 | 30.1392 | 0.040865 | 0.00016594 | 3.632 | 3.5267 | 0.0025157 | -0.10535
2008-28-0023.mrgcor1 | 2008-28-0023.samcor1 | 121 | 20.036 | 20.036 | 0.031885 | 2.4796e-05 | 3.952 | 3.9509 | 0.019135 | -0.0011072
2008-28-0023.mrgcor1 | 2008-28-0023.samcor1 | 121 | 9.946 | 9.9463 | 0.022238 | 0.00029755 | 4.358 | 4.7337 | 0.04077 | 0.37574
2008-28-0023.mrgcor1 | 2008-28-0023.samcor1 | 121 | 2.97 | 2.9701 | 0.026498 | 4.9591e-05 | 10.727 | 10.0298 | 0.20733 | -0.69719
2008-28-0024.mrgcor1 | 2008-28-0024.samcor1 | 121 | 320.923 | 320.923 | 0.027841 | 6.1035e-05 | 1.407 | 1.2608 | 0.0019929 | -0.14625
2008-28-0024.mrgcor1 | 2008-28-0024.samcor1 | 121 | 250.214 | 250.214 | 0.029537 | 0.00024414 | 1.318 | 1.253 | 0.00047369 | -0.064975
2008-28-0024.mrgcor1 | 2008-28-0024.samcor1 | 121 | 200.054 | 200.054 | 0.035642 | 0.00033569 | 1.647 | 1.6301 | 0.0020049 | -0.016884
2008-28-0024.mrgcor1 | 2008-28-0024.samcor1 | 121 | 175.042 | 175.042 | 0.032943 | -0.00018311 | 1.837 | 1.7989 | 0.0010814 | -0.038074
2008-28-0024.mrgcor1 | 2008-28-0024.samcor1 | 121 | 149.901 | 149.901 | 0.026805 | 0.00030518 | 2.113 | 2.0295 | 0.0047311 | -0.083545
2008-28-0024.mrgcor1 | 2008-28-0024.samcor1 | 121 | 125.152 | 125.152 | 0.031327 | -0.00026703 | 2.567 | 2.5377 | 0.0023618 | -0.029347
2008-28-0024.mrgcor1 | 2008-28-0024.samcor1 | 121 | 100.082 | 100.082 | 0.036296 | 0.00015259 | 3.258 | 3.3283 | 0.0027975 | 0.070339
2008-28-0024.mrgcor1 | 2008-28-0024.samcor1 | 121 | 74.972 | 74.9725 | 0.033426 | 0.00048065 | 3.769 | 3.9554 | 0.011474 | 0.18639
2008-28-0024.mrgcor1 | 2008-28-0024.samcor1 | 121 | 49.848 | 49.8475 | 0.034437 | -0.00046921 | 5.354 | 5.2345 | 0.034929 | -0.11954
2008-28-0024.mrgcor1 | 2008-28-0024.samcor1 | 121 | 30.031 | 30.0308 | 0.030279 | -0.00019074 | 4.731 | 4.2936 | 0.016911 | -0.43742
2008-28-0024.mrgcor1 | 2008-28-0024.samcor1 | 121 | 20.247 | 20.2466 | 0.027961 | -0.00040436 | 4.666 | 4.9886 | 0.01192 | 0.3226
2008-28-0024.mrgcor1 | 2008-28-0024.samcor1 | 121 | 9.862 | 9.8617 | 0.032615 | -0.00028133 | 5.052 | 5.6441 | 0.0057743 | 0.59208
2008-28-0024.mrgcor1 | 2008-28-0024.samcor1 | 121 | 2.836 | 2.8356 | 0.035164 | -0.00042987 | 6.724 | 7.0716 | 0.043105 | 0.34759
2008-28-0025.mrgcor1 | 2008-28-0025.samcor1 | 121 | 372.855 | 372.855 | 0.063798 | -0.00012207 | 1.412 | 1.2671 | 0.0014624 | -0.14486
2008-28-0025.mrgcor1 | 2008-28-0025.samcor1 | 121 | 301.029 | 301.029 | 0.098364 | 0.00012207 | 1.522 | 1.3407 | 0.0014876 | -0.18126
2008-28-0025.mrgcor1 | 2008-28-0025.samcor1 | 121 | 250.307 | 250.307 | 0.027696 | 0.00024414 | 1.569 | 1.3869 | 0.00066339 | -0.1821
2008-28-0025.mrgcor1 | 2008-28-0025.samcor1 | 121 | 200.257 | 200.257 | 0.026624 | -0.00045776 | 1.82 | 1.722 | 0.0014341 | -0.097959
2008-28-0025.mrgcor1 | 2008-28-0025.samcor1 | 121 | 175.037 | 175.037 | 0.027443 | -0.00012207 | 2.122 | 1.8671 | 0.0088159 | -0.25493
2008-28-0025.mrgcor1 | 2008-28-0025.samcor1 | 121 | 150.018 | 150.018 | 0.034617 | -0.00045776 | 2.365 | 2.1809 | 0.0013772 | -0.18411
2008-28-0025.mrgcor1 | 2008-28-0025.samcor1 | 121 | 125.004 | 125.004 | 0.038217 | -0.00048065 | 2.855 | 2.8793 | 0.0031001 | 0.024297
2008-28-0025.mrgcor1 | 2008-28-0025.samcor1 | 121 | 100.076 | 100.076 | 0.031939 | 0.00040436 | 4.12 | 3.8009 | 0.005483 | -0.31911
2008-28-0025.mrgcor1 | 2008-28-0025.samcor1 | 121 | 75.407 | 75.407 | 0.027297 | 4.5776e-05 | 4.743 | 4.6504 | 0.0018523 | -0.092645
2008-28-0025.mrgcor1 | 2008-28-0025.samcor1 | 121 | 49.995 | 49.9952 | 0.025431 | 0.00019074 | 5.675 | 5.7794 | 0.0060162 | 0.10441
2008-28-0025.mrgcor1 | 2008-28-0025.samcor1 | 121 | 29.92 | 29.9195 | 0.035929 | -0.00049591 | 5.766 | 5.7573 | 0.0017727 | -0.0086608
2008-28-0025.mrgcor1 | 2008-28-0025.samcor1 | 121 | 20.253 | 20.2529 | 0.02655 | -8.3923e-05 | 5.62 | 5.6017 | 0.0069196 | -0.018306
2008-28-0025.mrgcor1 | 2008-28-0025.samcor1 | 121 | 10.089 | 10.0886 | 0.038458 | -0.00044632 | 6.01 | 5.9557 | 0.0027755 | -0.054323
2008-28-0025.mrgcor1 | 2008-28-0025.samcor1 | 121 | 2.897 | 2.8975 | 0.031836 | 0.00049591 | 6.898 | 7.2672 | 0.061367 | 0.36921
2008-28-0026.mrgcor1 | 2008-28-0026.samcor1 | 121 | 208.279 | 208.279 | 0.034866 | 0.00022888 | 1.92 | 1.7813 | 0.0010539 | -0.1387
2008-28-0026.mrgcor1 | 2008-28-0026.samcor1 | 121 | 175.233 | 175.233 | 0.036123 | -0.00030518 | 2.193 | 2.0683 | 0.0014876 | -0.12474
2008-28-0026.mrgcor1 | 2008-28-0026.samcor1 | 121 | 149.885 | 149.885 | 0.026897 | 0.0004425 | 2.563 | 2.6307 | 0.0029876 | 0.067744
2008-28-0026.mrgcor1 | 2008-28-0026.samcor1 | 121 | 125.141 | 125.141 | 0.034991 | -0.00041962 | 4.297 | 3.9785 | 0.0056006 | -0.31845
2008-28-0026.mrgcor1 | 2008-28-0026.samcor1 | 121 | 100.202 | 100.202 | 0.035096 | 6.8665e-05 | 4.931 | 4.9485 | 0.0021987 | 0.017471
2008-28-0026.mrgcor1 | 2008-28-0026.samcor1 | 121 | 75.104 | 75.1039 | 0.032994 | -7.6294e-05 | 5.695 | 5.63 | 0.0022135 | -0.064983
2008-28-0026.mrgcor1 | 2008-28-0026.samcor1 | 121 | 50.096 | 50.0964 | 0.034277 | 0.00041962 | 6.166 | 6.16 | 0.0027186 | -0.0059752
2008-28-0026.mrgcor1 | 2008-28-0026.samcor1 | 121 | 30.248 | 30.2475 | 0.032564 | -0.000494 | 6.008 | 6.0569 | 0.0011267 | 0.048926
2008-28-0026.mrgcor1 | 2008-28-0026.samcor1 | 121 | 20.071 | 20.0711 | 0.036432 | 6.6757e-05 | 6.105 | 6.0507 | 0.00469 | -0.054265
2008-28-0026.mrgcor1 | 2008-28-0026.samcor1 | 121 | 10.13 | 10.1299 | 0.033727 | -8.297e-05 | 6.091 | 5.8802 | 0.0025221 | -0.21083
2008-28-0026.mrgcor1 | 2008-28-0026.samcor1 | 121 | 3.075 | 3.0747 | 0.032749 | -0.00033069 | 8.259 | 8.4648 | 0.029443 | 0.20583
Create Fit Sheet