## File List
Number of Files= |  | 16
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2008-28-0006.mrgcor1 | 2008-28-0006.thn1 | 11 | 18 | 2008-28-0006.mrgcor1 & 2008-28-0006.thn1
2 | 2008-28-0007.mrgcor1 | 2008-28-0007.thn1 | 20 | 25 | 2008-28-0007.mrgcor1 & 2008-28-0007.thn1
3 | 2008-28-0008.mrgcor1 | 2008-28-0008.thn1 | 27 | 32 | 2008-28-0008.mrgcor1 & 2008-28-0008.thn1
4 | 2008-28-0009.mrgcor1 | 2008-28-0009.thn1 | 34 | 39 | 2008-28-0009.mrgcor1 & 2008-28-0009.thn1
5 | 2008-28-0010.mrgcor1 | 2008-28-0010.thn1 | 41 | 51 | 2008-28-0010.mrgcor1 & 2008-28-0010.thn1
6 | 2008-28-0011.mrgcor1 | 2008-28-0011.thn1 | 53 | 65 | 2008-28-0011.mrgcor1 & 2008-28-0011.thn1
7 | 2008-28-0012.mrgcor1 | 2008-28-0012.thn1 | 67 | 78 | 2008-28-0012.mrgcor1 & 2008-28-0012.thn1
8 | 2008-28-0013.mrgcor1 | 2008-28-0013.thn1 | 80 | 89 | 2008-28-0013.mrgcor1 & 2008-28-0013.thn1
9 | 2008-28-0014.mrgcor1 | 2008-28-0014.thn1 | 91 | 97 | 2008-28-0014.mrgcor1 & 2008-28-0014.thn1
10 | 2008-28-0015.mrgcor1 | 2008-28-0015.thn1 | 99 | 107 | 2008-28-0015.mrgcor1 & 2008-28-0015.thn1
11 | 2008-28-0016.mrgcor1 | 2008-28-0016.thn1 | 109 | 114 | 2008-28-0016.mrgcor1 & 2008-28-0016.thn1
12 | 2008-28-0022.mrgcor1 | 2008-28-0022.thn1 | 116 | 121 | 2008-28-0022.mrgcor1 & 2008-28-0022.thn1
13 | 2008-28-0023.mrgcor1 | 2008-28-0023.thn1 | 123 | 132 | 2008-28-0023.mrgcor1 & 2008-28-0023.thn1
14 | 2008-28-0024.mrgcor1 | 2008-28-0024.thn1 | 134 | 146 | 2008-28-0024.mrgcor1 & 2008-28-0024.thn1
15 | 2008-28-0025.mrgcor1 | 2008-28-0025.thn1 | 148 | 161 | 2008-28-0025.mrgcor1 & 2008-28-0025.thn1
16 | 2008-28-0026.mrgcor1 | 2008-28-0026.thn1 | 163 | 173 | 2008-28-0026.mrgcor1 & 2008-28-0026.thn1

## (DOX_CTD - DOX_BOT)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.067182 |  | X | CALC Y
m= | -0.0009086 | 0.00030162 |  | Std Dev of Resid |  | 0.272 |  | 3.2607 | 0.17084
b= | 0.1738 | 0.035806 |  | Resid Sum of Squares |  | 9.3217 |  | 372.929 | -0.16504
# of Values Extracted = |  |  | 148
# of Values Used in Fit = |  |  | 128
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 122.731 | 0.078 | 0 | 0.054 | 0.062291 | 0.0082909 |  | 122.731 | 0.054
1 | YES | 98.998 | 0.204 | 0.021213 | 0.073 | 0.083855 | 0.010855 |  | 98.998 | 0.073
1 | YES | 73.999 | 0.4295 | 0.026163 | 0.1365 | 0.10657 | -0.029931 |  | 73.999 | 0.1365
1 | YES | 49.5007 | 1.2537 | 0.0086555 | 0.16575 | 0.12883 | -0.036922 |  | 49.5007 | 0.16575
1 | YES | 29.4985 | 1.7018 | 0.10337 | 0.43075 | 0.147 | -0.28375 |  | 29.4985 | 0.43075
1 | YES | 20 | 2.4207 | 0.11155 | 0.62467 | 0.15563 | -0.46903 |  | 20 | 0.62467
1 | NO | 9.5032 | 5.5738 | 0.841 | 2.5608 | 0.16517 | -2.3956 |  | 4.112 | 0.978
1 | YES | 4.112 | 9.444 | 0 | 0.978 | 0.17007 | -0.80793 |  | 100.239 | -0.112
2 | YES | 100.239 | 1.733 | 0.0098995 | -0.112 | 0.082727 | 0.19473 |  | 76.0005 | 0.2
2 | YES | 76.0005 | 2.936 | 0.13152 | 0.2 | 0.10475 | -0.09525 |  | 49.5025 | 0.33925
2 | YES | 49.5025 | 4.5412 | 0.017347 | 0.33925 | 0.12883 | -0.21042 |  | 29.506 | 0.18675
2 | YES | 29.506 | 3.5408 | 0.054524 | 0.18675 | 0.147 | -0.039755 |  | 19.998 | 0.38633
2 | YES | 19.998 | 4.1413 | 0.11401 | 0.38633 | 0.15563 | -0.2307 |  | 62.987 | -0.059
2 | NO | 9.4962 | 6.115 | 0.47786 | 1.766 | 0.16518 | -1.6008 |  | 49.5028 | 0.0315
3 | YES | 62.987 | 5.934 | 0 | -0.059 | 0.11657 | 0.17557 |  | 29.4963 | 0.1885
3 | YES | 49.5028 | 5.9815 | 0.010344 | 0.0315 | 0.12883 | 0.097326 |  | 20.0003 | 0.017
3 | YES | 29.4963 | 6.5175 | 0.014549 | 0.1885 | 0.147 | -0.041496 |  | 9.5005 | 0.60625
3 | YES | 20.0003 | 6.621 | 0.007 | 0.017 | 0.15563 | 0.13863 |  | 3.3847 | 0.192
3 | YES | 9.5005 | 7.2343 | 0.25501 | 0.60625 | 0.16517 | -0.44108 |  | 82.315 | -0.093
3 | YES | 3.3847 | 7.897 | 0.029445 | 0.192 | 0.17073 | -0.021271 |  | 49.5035 | 0.0027499
4 | YES | 82.315 | 6.446 | 0 | -0.093 | 0.099013 | 0.19201 |  | 29.4963 | -0.0047503
4 | YES | 49.5035 | 6.5317 | 0.0022174 | 0.0027499 | 0.12883 | 0.12608 |  | 19.9963 | 0.0016665
4 | YES | 29.4963 | 6.6253 | 0.0091788 | -0.0047503 | 0.147 | 0.15175 |  | 9.5005 | -0.0175
4 | YES | 19.9963 | 6.6707 | 0.00057731 | 0.0016665 | 0.15564 | 0.15397 |  | 3.8013 | 0.01225
4 | YES | 9.5005 | 6.6595 | 0.013178 | -0.0175 | 0.16517 | 0.18267 |  | 220.262 | -0.047
4 | YES | 3.8013 | 6.5903 | 0.0165 | 0.01225 | 0.17035 | 0.1581 |  | 175.497 | 0.0265
5 | YES | 220.262 | 6.137 | 0.0028282 | -0.047 | -0.026326 | 0.020674 |  | 150.005 | 0.042
5 | NO | 199.995 | 6.138 | 0 | -0.22 | -0.0079111 | 0.21209 |  | 124.501 | 0.04175
5 | YES | 175.497 | 6.1055 | 0.0035353 | 0.0265 | 0.014348 | -0.012152 |  | 98.9975 | -0.0095
5 | YES | 150.005 | 5.979 | 0 | 0.042 | 0.03751 | -0.0044905 |  | 49.5018 | 0.0105
5 | YES | 124.501 | 6.1508 | 0.015392 | 0.04175 | 0.060683 | 0.018933 |  | 29.5007 | -0.02525
5 | YES | 98.9975 | 6.2455 | 0.013435 | -0.0095 | 0.083855 | 0.093355 |  | 19.9983 | -0.036667
5 | YES | 49.5018 | 6.4965 | 0.0075499 | 0.0105 | 0.12883 | 0.11833 |  | 9.5 | -0.11525
5 | YES | 29.5007 | 6.6137 | 0.005909 | -0.02525 | 0.147 | 0.17225 |  | 3.7323 | -0.846
5 | YES | 19.9983 | 6.6203 | 0.0011546 | -0.036667 | 0.15563 | 0.1923 |  | 278.518 | -0.186
5 | YES | 9.5 | 6.0278 | 0.21041 | -0.11525 | 0.16517 | 0.28042 |  | 251.002 | 0.0185
5 | YES | 3.7323 | 5.903 | 0.0069283 | -0.846 | 0.17041 | 1.0164 |  | 199.999 | 0.05
6 | YES | 278.518 | 2.211 | 0 | -0.186 | -0.079257 | 0.10674 |  | 175.501 | 0.0725
6 | YES | 251.002 | 2.3345 | 0.0049497 | 0.0185 | -0.054256 | -0.072756 |  | 149.995 | 0.153
6 | YES | 199.999 | 2.589 | 0 | 0.05 | -0.0079148 | -0.057915 |  | 124.498 | 0.39575
6 | YES | 175.501 | 2.9785 | 0.013435 | 0.0725 | 0.014344 | -0.058156 |  | 98.9995 | 0.0655
6 | YES | 149.995 | 3.417 | 0 | 0.153 | 0.037519 | -0.11548 |  | 73.998 | 0.0445
6 | YES | 124.498 | 4.3078 | 0.072196 | 0.39575 | 0.060685 | -0.33506 |  | 49.4985 | 0.106
6 | YES | 98.9995 | 4.9565 | 0.012021 | 0.0655 | 0.083853 | 0.018353 |  | 29.9993 | 0.094
6 | YES | 73.998 | 5.1285 | 0.0063638 | 0.0445 | 0.10657 | 0.06207 |  | 20.0047 | -0.043667
6 | YES | 49.4985 | 5.317 | 0.02539 | 0.106 | 0.12883 | 0.02283 |  | 3.8443 | 0.068667
6 | YES | 29.9993 | 5.878 | 0.00755 | 0.094 | 0.14655 | 0.052547 |  | 274.696 | -0.046
6 | YES | 20.0047 | 5.9243 | 0.013204 | -0.043667 | 0.15563 | 0.19929 |  | 251.004 | -0.055
6 | NO | 9.4942 | 6.1385 | 0.34998 | 0.6005 | 0.16518 | -0.43532 |  | 199.997 | -0.15
6 | YES | 3.8443 | 7.7497 | 0.024826 | 0.068667 | 0.17031 | 0.10164 |  | 175.491 | -0.0405
7 | YES | 274.696 | 2.185 | 0 | -0.046 | -0.075784 | -0.029784 |  | 149.995 | -0.016
7 | YES | 251.004 | 2.234 | 0.0028284 | -0.055 | -0.054258 | 0.00074194 |  | 125.498 | 0.01725
7 | YES | 199.997 | 2.401 | 0 | -0.15 | -0.0079129 | 0.14209 |  | 99.005 | 0.073
7 | YES | 175.491 | 2.3885 | 0.00070706 | -0.0405 | 0.014353 | 0.054853 |  | 76.005 | -0.004
7 | YES | 149.995 | 2.478 | 0 | -0.016 | 0.037519 | 0.053519 |  | 50.5013 | 0.28025
7 | YES | 125.498 | 2.5372 | 0.011026 | 0.01725 | 0.059777 | 0.042527 |  | 30.0037 | 0.50067
7 | YES | 99.005 | 2.907 | 0.0070711 | 0.073 | 0.083848 | 0.010848 |  | 19.999 | 0.44067
7 | YES | 76.005 | 2.97 | 0.012728 | -0.004 | 0.10475 | 0.10875 |  | 147.978 | -0.107
7 | YES | 50.5013 | 3.1002 | 0.064453 | 0.28025 | 0.12792 | -0.15233 |  | 147.978 | -0.028
7 | YES | 30.0037 | 4.5867 | 0.038553 | 0.50067 | 0.14654 | -0.35412 |  | 125.489 | 0.07075
7 | YES | 19.999 | 5.4777 | 0.060302 | 0.44067 | 0.15563 | -0.28503 |  | 98.998 | 0.1485
7 | NO | 9.4983 | 6.493 | 0.58834 | 1.028 | 0.16517 | -0.86283 |  | 49.5005 | 0.03425
8 | YES | 147.978 | 0.631 | 0.062225 | -0.107 | 0.039351 | 0.14635 |  | 29.5007 | 0.0575
8 | YES | 147.978 | 0.631 | 0.062225 | -0.028 | 0.039351 | 0.067351 |  | 20.0003 | 0.13133
8 | YES | 125.489 | 0.90475 | 0.0028723 | 0.07075 | 0.059785 | -0.010965 |  | 105.684 | -0.088
8 | YES | 98.998 | 1.0275 | 0.012021 | 0.1485 | 0.083855 | -0.064645 |  | 100.999 | 0.0895
8 | NO | 73.9995 | 3.6 | 0.39598 | 1.846 | 0.10657 | -1.7394 |  | 49.995 | 0.15967
8 | YES | 49.5005 | 4.3963 | 0.009251 | 0.03425 | 0.12883 | 0.094578 |  | 30.0023 | -0.029333
8 | YES | 29.5007 | 4.2065 | 0.0017321 | 0.0575 | 0.147 | 0.0895 |  | 19.9973 | 0.086
8 | YES | 20.0003 | 4.0993 | 0.013503 | 0.13133 | 0.15563 | 0.024299 |  | 4.6967 | -0.145
8 | NO | 9.4965 | 5.959 | 0.59438 | 1.601 | 0.16518 | -1.4358 |  | 129.956 | 0.07
8 | NO | 4.162 | 10.0305 | 0.39967 | 0.6935 | 0.17002 | -0.52348 |  | 125.499 | 0.07675
9 | YES | 105.684 | 0.649 | 0 | -0.088 | 0.07778 | 0.16578 |  | 99.0085 | 0.1065
9 | YES | 100.999 | 0.6915 | 0.02192 | 0.0895 | 0.082037 | -0.0074634 |  | 75.999 | 0.1425
9 | NO | 73.996 | 1.7945 | 0.30476 | 0.9185 | 0.10657 | -0.81193 |  | 50.4945 | 0.24025
9 | YES | 49.995 | 4.0067 | 0.0040416 | 0.15967 | 0.12838 | -0.031288 |  | 19.9973 | 0.102
9 | YES | 30.0023 | 3.8077 | 0.020404 | -0.029333 | 0.14654 | 0.17588 |  | 9.4985 | 0.4425
9 | YES | 19.9973 | 3.652 | 0.054009 | 0.086 | 0.15563 | 0.069635 |  | 69.716 | 0.082
9 | YES | 4.6967 | 8.939 | 0.29098 | -0.145 | 0.16954 | 0.31454 |  | 29.9967 | 0.352
10 | YES | 129.956 | 0.07 | 0 | 0.07 | 0.055726 | -0.014274 |  | 19.9963 | 0.14267
10 | YES | 125.499 | 0.07675 | 0.0025 | 0.07675 | 0.059776 | -0.016974 |  | 3.9388 | -1.4697
10 | YES | 99.0085 | 0.1065 | 0.00070711 | 0.1065 | 0.083845 | -0.022655 |  | 60.8315 | 0.1375
10 | YES | 75.999 | 0.1425 | 0.0049498 | 0.1425 | 0.10475 | -0.037748 |  | 49.4985 | 0.0235
10 | YES | 50.4945 | 0.28925 | 0.023977 | 0.24025 | 0.12792 | -0.11233 |  | 30.0003 | 0.79467
10 | NO | 29.4965 | 2.7933 | 0.015777 | 0.78425 | 0.147 | -0.63725 |  | 20.0017 | 0.90133
10 | YES | 19.9973 | 2.859 | 0.024 | 0.102 | 0.15563 | 0.053635 |  | 3.2607 | -0.38533
10 | YES | 9.4985 | 3.0275 | 0.17808 | 0.4425 | 0.16517 | -0.27733 |  | 184.692 | 0.056
10 | NO | 4.569 | 4.889 | 0 | -3.209 | 0.16965 | 3.3787 |  | 150 | 0.094
11 | YES | 69.716 | 0.094 | 0 | 0.082 | 0.11046 | 0.02846 |  | 125.494 | 0.1365
11 | NO | 50.5035 | 0.19625 | 0.012945 | -0.02775 | 0.12792 | 0.15567 |  | 74.005 | 0.3685
11 | YES | 29.9967 | 2.351 | 0.0087178 | 0.352 | 0.14655 | -0.20545 |  | 50.4982 | -0.07075
11 | YES | 19.9963 | 2.4497 | 0.01701 | 0.14267 | 0.15564 | 0.012969 |  | 30.0017 | 0.16067
11 | NO | 9.495 | 3.292 | 0.3387 | 0.962 | 0.16518 | -0.79682 |  | 19.997 | 0.47767
11 | YES | 3.9388 | 6.5643 | 0.12039 | -1.4697 | 0.17023 | 1.64 |  | 3.853 | 0.85433
12 | YES | 60.8315 | 3.0645 | 0.019092 | 0.1375 | 0.11853 | -0.018967 |  | 319.963 | -0.1395
12 | YES | 49.4985 | 2.9235 | 0.016783 | 0.0235 | 0.12883 | 0.10533 |  | 250.989 | -0.014
12 | YES | 30.0003 | 3.5497 | 0.02442 | 0.79467 | 0.14655 | -0.64812 |  | 200.01 | 0.021
12 | YES | 20.0017 | 4.4533 | 0.158 | 0.90133 | 0.15563 | -0.7457 |  | 175.505 | 0.0405
12 | NO | 9.502 | 10.9122 | 0.18583 | 4.8172 | 0.16517 | -4.6521 |  | 149.997 | 0.125
12 | YES | 3.2607 | 10.6987 | 0.19115 | -0.38533 | 0.17084 | 0.55617 |  | 125.499 | 0.053
13 | YES | 184.692 | 0.056 | 0 | 0.056 | 0.0059932 | -0.050007 |  | 101.001 | 0.131
13 | YES | 150 | 0.094 | 0 | 0.094 | 0.037514 | -0.056486 |  | 74.002 | 0.4025
13 | YES | 125.494 | 0.1365 | 0.0028867 | 0.1365 | 0.05978 | -0.07672 |  | 49.5028 | 0.02675
13 | NO | 100.999 | 0.2745 | 0.023335 | 0.1745 | 0.082037 | -0.092463 |  | 20.0043 | 0.35633
13 | YES | 74.005 | 3.8585 | 0.094045 | 0.3685 | 0.10656 | -0.26194 |  | 3.385 | 0.93667
13 | YES | 50.4982 | 4.0232 | 0.042531 | -0.07075 | 0.12792 | 0.19867 |  | 372.929 | -0.146
13 | YES | 30.0017 | 3.7927 | 0.024502 | 0.16067 | 0.14654 | -0.014122 |  | 301.004 | -0.145
13 | YES | 19.997 | 4.4297 | 0.11001 | 0.47767 | 0.15563 | -0.32203 |  | 251.004 | -0.1255
13 | NO | 9.5002 | 6.401 | 0.99096 | 2.043 | 0.16517 | -1.8778 |  | 200.015 | 0.013
13 | YES | 3.853 | 11.5813 | 0.052539 | 0.85433 | 0.1703 | -0.68403 |  | 175.495 | -0.125
14 | YES | 319.963 | 1.2675 | 0.00070714 | -0.1395 | -0.11691 | 0.022586 |  | 149.995 | -0.013
14 | YES | 250.989 | 1.304 | 0.0028284 | -0.014 | -0.054244 | -0.040244 |  | 124.995 | 0.225 | 0.098748
14 | YES | 200.01 | 1.668 | 0 | 0.021 | -0.0079247 | -0.028925 |  | 75.9965 | -0.0705
14 | YES | 175.505 | 1.8775 | 0.00070714 | 0.0405 | 0.01434 | -0.02616 |  | 50.496 | -0.0050001
14 | YES | 149.997 | 2.238 | 0 | 0.125 | 0.037517 | -0.087483 |  | 29.494 | 0.05125
14 | YES | 125.499 | 2.62 | 0.042356 | 0.053 | 0.059776 | 0.0067759 |  | 19.999 | 0.22133
14 | YES | 101.001 | 3.389 | 0.055154 | 0.131 | 0.082035 | -0.048965 |  | 10.5 | 0.013
14 | YES | 74.002 | 4.1715 | 0.050204 | 0.4025 | 0.10657 | -0.29593 |  | 3.5177 | 0.23667
14 | YES | 49.5028 | 5.3807 | 0.0132 | 0.02675 | 0.12883 | 0.10208 |  | 207.648 | -0.12
14 | NO | 30 | 4.563 | 0.040595 | -0.168 | 0.14655 | 0.31455 |  | 175.501 | 0.00049996
14 | YES | 20.0043 | 5.0223 | 0.073214 | 0.35633 | 0.15563 | -0.20071 |  | 150.003 | 0.265
14 | NO | 9.5032 | 6.4967 | 0.48431 | 1.4447 | 0.16517 | -1.2796 |  | 100.993 | 0.1185
14 | YES | 3.385 | 7.6607 | 0.011547 | 0.93667 | 0.17073 | -0.76594 |  | 76.001 | -0.03
15 | YES | 372.929 | 1.266 | 0 | -0.146 | -0.16504 | -0.019039 |  | 50.5035 | -0.02925
15 | YES | 301.004 | 1.377 | 0.0014142 | -0.145 | -0.099688 | 0.045312 |  | 29.9947 | 0.143
15 | YES | 251.004 | 1.4435 | 0.0035355 | -0.1255 | -0.054258 | 0.071242 |  | 20.007 | 0.048
15 | YES | 200.015 | 1.833 | 0 | 0.013 | -0.0079293 | -0.020929 |  | 10.497 | 0.243
15 | YES | 175.495 | 1.997 | 0.0056568 | -0.125 | 0.01435 | 0.13935 |  | 3.7757 | -0.1295 | 0.093873
15 | YES | 149.995 | 2.352 | 0 | -0.013 | 0.037519 | 0.050519
15 | YES | 124.995 | 3.08 | 0.03005 | 0.225 | 0.060234 | -0.16477
15 | NO | 100.996 | 4.0395 | 0.061518 | -0.0805 | 0.082039 | 0.16254
15 | YES | 75.9965 | 4.6725 | 0.044548 | -0.0705 | 0.10475 | 0.17525
15 | YES | 50.496 | 5.67 | 0.093982 | -0.0050001 | 0.12792 | 0.13292
15 | YES | 29.494 | 5.8172 | 0.0068496 | 0.05125 | 0.14701 | 0.095755
15 | YES | 19.999 | 5.8413 | 0.00057731 | 0.22133 | 0.15563 | -0.065701
15 | YES | 10.5 | 6.023 | 0.064301 | 0.013 | 0.16426 | 0.15126
15 | YES | 3.5177 | 7.1347 | 0.12702 | 0.23667 | 0.17061 | -0.066059
16 | YES | 207.648 | 1.8 | 0.029698 | -0.12 | -0.014865 | 0.10514
16 | YES | 175.501 | 2.1935 | 0.0077781 | 0.00049996 | 0.014344 | 0.013844
16 | YES | 150.003 | 2.828 | 0 | 0.265 | 0.037512 | -0.22749
16 | NO | 125.51 | 4.1268 | 0.058948 | -0.17025 | 0.059766 | 0.23002
16 | YES | 100.993 | 5.0495 | 0.02192 | 0.1185 | 0.082042 | -0.036458
16 | YES | 76.001 | 5.665 | 0.045255 | -0.03 | 0.10475 | 0.13475
16 | YES | 50.5035 | 6.1368 | 0.039229 | -0.02925 | 0.12792 | 0.15717
16 | YES | 29.9947 | 6.151 | 0.006 | 0.143 | 0.14655 | 0.003551
16 | YES | 20.007 | 6.153 | 0.0020001 | 0.048 | 0.15563 | 0.10763
16 | YES | 10.497 | 6.334 | 0.11819 | 0.243 | 0.16427 | -0.078733
16 | YES | 3.7757 | 8.1295 | 0.036556 | -0.1295 | 0.17037 | 0.29987
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
NO
YES
YES
YES
NO
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
YES
NO
YES
YES
NO
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (2)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0051838 |  | X | CALC Y
m= | 0.0081344 | 0.010039 |  | Std Dev of Resid |  | 0.28089 |  | 0.056 | 0.062277
b= | 0.061822 | 0.046702 |  | Resid Sum of Squares |  | 9.9413 |  | 11.5813 | 0.15603
# of Values Extracted = |  |  | 148
# of Values Used in Fit = |  |  | 128
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 122.731 | 0.078 | 0 | 0.054 | 0.062456 | 0.0084563 |  | 0.078 | 0.054
1 | YES | 98.998 | 0.204 | 0.021213 | 0.073 | 0.063481 | -0.0095188 |  | 0.204 | 0.073
1 | YES | 73.999 | 0.4295 | 0.026163 | 0.1365 | 0.065316 | -0.071184 |  | 0.4295 | 0.1365
1 | YES | 49.5007 | 1.2537 | 0.0086555 | 0.16575 | 0.07202 | -0.09373 |  | 1.2537 | 0.16575
1 | YES | 29.4985 | 1.7018 | 0.10337 | 0.43075 | 0.075664 | -0.35509 |  | 1.7018 | 0.43075
1 | YES | 20 | 2.4207 | 0.11155 | 0.62467 | 0.081512 | -0.54315 |  | 2.4207 | 0.62467
1 | NO | 9.5032 | 5.5738 | 0.841 | 2.5608 | 0.10716 | -2.4536 |  | 9.444 | 0.978
1 | YES | 4.112 | 9.444 | 0 | 0.978 | 0.13864 | -0.83936 |  | 1.733 | -0.112
2 | YES | 100.239 | 1.733 | 0.0098995 | -0.112 | 0.075919 | 0.18792 |  | 2.936 | 0.2
2 | YES | 76.0005 | 2.936 | 0.13152 | 0.2 | 0.085704 | -0.1143 |  | 4.5412 | 0.33925
2 | YES | 49.5025 | 4.5412 | 0.017347 | 0.33925 | 0.098762 | -0.24049 |  | 3.5408 | 0.18675
2 | YES | 29.506 | 3.5408 | 0.054524 | 0.18675 | 0.090624 | -0.096126 |  | 4.1413 | 0.38633
2 | YES | 19.998 | 4.1413 | 0.11401 | 0.38633 | 0.095509 | -0.29082 |  | 5.934 | -0.059
2 | NO | 9.4962 | 6.115 | 0.47786 | 1.766 | 0.11156 | -1.6544 |  | 5.9815 | 0.0315
3 | YES | 62.987 | 5.934 | 0 | -0.059 | 0.11009 | 0.16909 |  | 6.5175 | 0.1885
3 | YES | 49.5028 | 5.9815 | 0.010344 | 0.0315 | 0.11048 | 0.078977 |  | 6.621 | 0.017
3 | YES | 29.4963 | 6.5175 | 0.014549 | 0.1885 | 0.11484 | -0.073663 |  | 7.2343 | 0.60625
3 | YES | 20.0003 | 6.621 | 0.007 | 0.017 | 0.11568 | 0.09868 |  | 7.897 | 0.192
3 | YES | 9.5005 | 7.2343 | 0.25501 | 0.60625 | 0.12067 | -0.48558 |  | 6.446 | -0.093
3 | YES | 3.3847 | 7.897 | 0.029445 | 0.192 | 0.12606 | -0.065941 |  | 6.5317 | 0.0027499
4 | YES | 82.315 | 6.446 | 0 | -0.093 | 0.11426 | 0.20726 |  | 6.6253 | -0.0047503
4 | YES | 49.5035 | 6.5317 | 0.0022174 | 0.0027499 | 0.11495 | 0.1122 |  | 6.6707 | 0.0016665
4 | YES | 29.4963 | 6.6253 | 0.0091788 | -0.0047503 | 0.11571 | 0.12046 |  | 6.6595 | -0.0175
4 | YES | 19.9963 | 6.6707 | 0.00057731 | 0.0016665 | 0.11608 | 0.11442 |  | 6.5903 | 0.01225
4 | YES | 9.5005 | 6.6595 | 0.013178 | -0.0175 | 0.11599 | 0.13349 |  | 6.137 | -0.047
4 | YES | 3.8013 | 6.5903 | 0.0165 | 0.01225 | 0.11543 | 0.10318 |  | 6.1055 | 0.0265
5 | YES | 220.262 | 6.137 | 0.0028282 | -0.047 | 0.11174 | 0.15874 |  | 5.979 | 0.042
5 | NO | 199.995 | 6.138 | 0 | -0.22 | 0.11175 | 0.33175 |  | 6.1508 | 0.04175
5 | YES | 175.497 | 6.1055 | 0.0035353 | 0.0265 | 0.11149 | 0.084986 |  | 6.2455 | -0.0095
5 | YES | 150.005 | 5.979 | 0 | 0.042 | 0.11046 | 0.068457 |  | 6.4965 | 0.0105
5 | YES | 124.501 | 6.1508 | 0.015392 | 0.04175 | 0.11185 | 0.070104 |  | 6.6137 | -0.02525
5 | YES | 98.9975 | 6.2455 | 0.013435 | -0.0095 | 0.11262 | 0.12212 |  | 6.6203 | -0.036667
5 | YES | 49.5018 | 6.4965 | 0.0075499 | 0.0105 | 0.11467 | 0.10417 |  | 6.0278 | -0.11525
5 | YES | 29.5007 | 6.6137 | 0.005909 | -0.02525 | 0.11562 | 0.14087 |  | 5.903 | -0.846
5 | YES | 19.9983 | 6.6203 | 0.0011546 | -0.036667 | 0.11567 | 0.15234 |  | 2.211 | -0.186
5 | YES | 9.5 | 6.0278 | 0.21041 | -0.11525 | 0.11085 | 0.2261 |  | 2.3345 | 0.0185
5 | YES | 3.7323 | 5.903 | 0.0069283 | -0.846 | 0.10984 | 0.95584 |  | 2.589 | 0.05
6 | YES | 278.518 | 2.211 | 0 | -0.186 | 0.079807 | 0.26581 |  | 2.9785 | 0.0725
6 | YES | 251.002 | 2.3345 | 0.0049497 | 0.0185 | 0.080811 | 0.062311 |  | 3.417 | 0.153
6 | YES | 199.999 | 2.589 | 0 | 0.05 | 0.082882 | 0.032882 |  | 4.3078 | 0.39575
6 | YES | 175.501 | 2.9785 | 0.013435 | 0.0725 | 0.08605 | 0.01355 |  | 4.9565 | 0.0655
6 | YES | 149.995 | 3.417 | 0 | 0.153 | 0.089617 | -0.063383 |  | 5.1285 | 0.0445
6 | YES | 124.498 | 4.3078 | 0.072196 | 0.39575 | 0.096863 | -0.29889 |  | 5.317 | 0.106
6 | YES | 98.9995 | 4.9565 | 0.012021 | 0.0655 | 0.10214 | 0.036639 |  | 5.878 | 0.094
6 | YES | 73.998 | 5.1285 | 0.0063638 | 0.0445 | 0.10354 | 0.059039 |  | 5.9243 | -0.043667
6 | YES | 49.4985 | 5.317 | 0.02539 | 0.106 | 0.10507 | -0.00092782 |  | 7.7497 | 0.068667
6 | YES | 29.9993 | 5.878 | 0.00755 | 0.094 | 0.10964 | 0.015635 |  | 2.185 | -0.046
6 | YES | 20.0047 | 5.9243 | 0.013204 | -0.043667 | 0.11001 | 0.15368 |  | 2.234 | -0.055
6 | NO | 9.4942 | 6.1385 | 0.34998 | 0.6005 | 0.11175 | -0.48875 |  | 2.401 | -0.15
6 | YES | 3.8443 | 7.7497 | 0.024826 | 0.068667 | 0.12486 | 0.056194 |  | 2.3885 | -0.0405
7 | YES | 274.696 | 2.185 | 0 | -0.046 | 0.079595 | 0.1256 |  | 2.478 | -0.016
7 | YES | 251.004 | 2.234 | 0.0028284 | -0.055 | 0.079994 | 0.13499 |  | 2.5372 | 0.01725
7 | YES | 199.997 | 2.401 | 0 | -0.15 | 0.081352 | 0.23135 |  | 2.907 | 0.073
7 | YES | 175.491 | 2.3885 | 0.00070706 | -0.0405 | 0.081251 | 0.12175 |  | 2.97 | -0.004
7 | YES | 149.995 | 2.478 | 0 | -0.016 | 0.081979 | 0.097979 |  | 3.1002 | 0.28025
7 | YES | 125.498 | 2.5372 | 0.011026 | 0.01725 | 0.082461 | 0.065211 |  | 4.5867 | 0.50067
7 | YES | 99.005 | 2.907 | 0.0070711 | 0.073 | 0.085468 | 0.012468 |  | 5.4777 | 0.44067
7 | YES | 76.005 | 2.97 | 0.012728 | -0.004 | 0.085981 | 0.089981 |  | 0.631 | -0.107
7 | YES | 50.5013 | 3.1002 | 0.064453 | 0.28025 | 0.08704 | -0.19321 |  | 0.631 | -0.028
7 | YES | 30.0037 | 4.5867 | 0.038553 | 0.50067 | 0.099131 | -0.40154 |  | 0.90475 | 0.07075
7 | YES | 19.999 | 5.4777 | 0.060302 | 0.44067 | 0.10638 | -0.33429 |  | 1.0275 | 0.1485
7 | NO | 9.4983 | 6.493 | 0.58834 | 1.028 | 0.11464 | -0.91336 |  | 4.3963 | 0.03425
8 | YES | 147.978 | 0.631 | 0.062225 | -0.107 | 0.066955 | 0.17395 |  | 4.2065 | 0.0575
8 | YES | 147.978 | 0.631 | 0.062225 | -0.028 | 0.066955 | 0.094955 |  | 4.0993 | 0.13133
8 | YES | 125.489 | 0.90475 | 0.0028723 | 0.07075 | 0.069181 | -0.0015686 |  | 0.649 | -0.088
8 | YES | 98.998 | 1.0275 | 0.012021 | 0.1485 | 0.07018 | -0.07832 |  | 0.6915 | 0.0895
8 | NO | 73.9995 | 3.6 | 0.39598 | 1.846 | 0.091105 | -1.7549 |  | 4.0067 | 0.15967
8 | YES | 49.5005 | 4.3963 | 0.009251 | 0.03425 | 0.097582 | 0.063333 |  | 3.8077 | -0.029333
8 | YES | 29.5007 | 4.2065 | 0.0017321 | 0.0575 | 0.096039 | 0.038539 |  | 3.652 | 0.086
8 | YES | 20.0003 | 4.0993 | 0.013503 | 0.13133 | 0.095167 | -0.036166 |  | 8.939 | -0.145
8 | NO | 9.4965 | 5.959 | 0.59438 | 1.601 | 0.11029 | -1.4907 |  | 0.07 | 0.07
8 | NO | 4.162 | 10.0305 | 0.39967 | 0.6935 | 0.14341 | -0.55009 |  | 0.07675 | 0.07675
9 | YES | 105.684 | 0.649 | 0 | -0.088 | 0.067101 | 0.1551 |  | 0.1065 | 0.1065
9 | YES | 100.999 | 0.6915 | 0.02192 | 0.0895 | 0.067447 | -0.022053 |  | 0.1425 | 0.1425
9 | NO | 73.996 | 1.7945 | 0.30476 | 0.9185 | 0.076419 | -0.84208 |  | 0.28925 | 0.24025
9 | YES | 49.995 | 4.0067 | 0.0040416 | 0.15967 | 0.094413 | -0.065254 |  | 2.859 | 0.102
9 | YES | 30.0023 | 3.8077 | 0.020404 | -0.029333 | 0.092795 | 0.12213 |  | 3.0275 | 0.4425
9 | YES | 19.9973 | 3.652 | 0.054009 | 0.086 | 0.091528 | 0.0055285 |  | 0.094 | 0.082
9 | YES | 4.6967 | 8.939 | 0.29098 | -0.145 | 0.13453 | 0.27953 |  | 2.351 | 0.352
10 | YES | 129.956 | 0.07 | 0 | 0.07 | 0.062391 | -0.0076088 |  | 2.4497 | 0.14267
10 | YES | 125.499 | 0.07675 | 0.0025 | 0.07675 | 0.062446 | -0.014304 |  | 6.5643 | -1.4697
10 | YES | 99.0085 | 0.1065 | 0.00070711 | 0.1065 | 0.062688 | -0.043812 |  | 3.0645 | 0.1375
10 | YES | 75.999 | 0.1425 | 0.0049498 | 0.1425 | 0.062981 | -0.079519 |  | 2.9235 | 0.0235
10 | YES | 50.4945 | 0.28925 | 0.023977 | 0.24025 | 0.064175 | -0.17608 |  | 3.5497 | 0.79467
10 | NO | 29.4965 | 2.7933 | 0.015777 | 0.78425 | 0.084543 | -0.69971 |  | 4.4533 | 0.90133
10 | YES | 19.9973 | 2.859 | 0.024 | 0.102 | 0.085078 | -0.016922 |  | 10.6987 | -0.38533
10 | YES | 9.4985 | 3.0275 | 0.17808 | 0.4425 | 0.086449 | -0.35605 |  | 0.056 | 0.056
10 | NO | 4.569 | 4.889 | 0 | -3.209 | 0.10159 | 3.3106 |  | 0.094 | 0.094
11 | YES | 69.716 | 0.094 | 0 | 0.082 | 0.062586 | -0.019414 |  | 0.1365 | 0.1365
11 | NO | 50.5035 | 0.19625 | 0.012945 | -0.02775 | 0.063418 | 0.091168 |  | 3.8585 | 0.3685
11 | YES | 29.9967 | 2.351 | 0.0087178 | 0.352 | 0.080946 | -0.27105 |  | 4.0232 | -0.07075
11 | YES | 19.9963 | 2.4497 | 0.01701 | 0.14267 | 0.081748 | -0.060919 |  | 3.7927 | 0.16067
11 | NO | 9.495 | 3.292 | 0.3387 | 0.962 | 0.0886 | -0.8734 |  | 4.4297 | 0.47767
11 | YES | 3.9388 | 6.5643 | 0.12039 | -1.4697 | 0.11522 | 1.585 |  | 11.5813 | 0.85433
12 | YES | 60.8315 | 3.0645 | 0.019092 | 0.1375 | 0.08675 | -0.05075 |  | 1.2675 | -0.1395
12 | YES | 49.4985 | 2.9235 | 0.016783 | 0.0235 | 0.085603 | 0.062103 |  | 1.304 | -0.014
12 | YES | 30.0003 | 3.5497 | 0.02442 | 0.79467 | 0.090696 | -0.70397 |  | 1.668 | 0.021
12 | YES | 20.0017 | 4.4533 | 0.158 | 0.90133 | 0.098047 | -0.80329 |  | 1.8775 | 0.0405
12 | NO | 9.502 | 10.9122 | 0.18583 | 4.8172 | 0.15059 | -4.6667 |  | 2.238 | 0.125
12 | YES | 3.2607 | 10.6987 | 0.19115 | -0.38533 | 0.14885 | 0.53418 |  | 2.62 | 0.053
13 | YES | 184.692 | 0.056 | 0 | 0.056 | 0.062277 | 0.0062774 |  | 3.389 | 0.131
13 | YES | 150 | 0.094 | 0 | 0.094 | 0.062586 | -0.031414 |  | 4.1715 | 0.4025
13 | YES | 125.494 | 0.1365 | 0.0028867 | 0.1365 | 0.062932 | -0.073568 |  | 5.3807 | 0.02675
13 | NO | 100.999 | 0.2745 | 0.023335 | 0.1745 | 0.064055 | -0.11045 |  | 5.0223 | 0.35633
13 | YES | 74.005 | 3.8585 | 0.094045 | 0.3685 | 0.093208 | -0.27529 |  | 7.6607 | 0.93667
13 | YES | 50.4982 | 4.0232 | 0.042531 | -0.07075 | 0.094548 | 0.1653 |  | 1.266 | -0.146
13 | YES | 30.0017 | 3.7927 | 0.024502 | 0.16067 | 0.092673 | -0.067994 |  | 1.377 | -0.145
13 | YES | 19.997 | 4.4297 | 0.11001 | 0.47767 | 0.097854 | -0.37981 |  | 1.4435 | -0.1255
13 | NO | 9.5002 | 6.401 | 0.99096 | 2.043 | 0.11389 | -1.9291 |  | 1.833 | 0.013
13 | YES | 3.853 | 11.5813 | 0.052539 | 0.85433 | 0.15603 | -0.6983 |  | 1.997 | -0.125
14 | YES | 319.963 | 1.2675 | 0.00070714 | -0.1395 | 0.072132 | 0.21163 |  | 2.352 | -0.013
14 | YES | 250.989 | 1.304 | 0.0028284 | -0.014 | 0.072429 | 0.086429 |  | 3.08 | 0.225
14 | YES | 200.01 | 1.668 | 0 | 0.021 | 0.07539 | 0.05439 |  | 4.6725 | -0.0705
14 | YES | 175.505 | 1.8775 | 0.00070714 | 0.0405 | 0.077094 | 0.036594 |  | 5.67 | -0.0050001
14 | YES | 149.997 | 2.238 | 0 | 0.125 | 0.080027 | -0.044973 |  | 5.8172 | 0.05125
14 | YES | 125.499 | 2.62 | 0.042356 | 0.053 | 0.083134 | 0.030134 |  | 5.8413 | 0.22133 | 0.097042
14 | YES | 101.001 | 3.389 | 0.055154 | 0.131 | 0.089389 | -0.041611 |  | 6.023 | 0.013
14 | YES | 74.002 | 4.1715 | 0.050204 | 0.4025 | 0.095754 | -0.30675 |  | 7.1347 | 0.23667
14 | YES | 49.5028 | 5.3807 | 0.0132 | 0.02675 | 0.10559 | 0.078841 |  | 1.8 | -0.12
14 | NO | 30 | 4.563 | 0.040595 | -0.168 | 0.098939 | 0.26694 |  | 2.1935 | 0.00049996
14 | YES | 20.0043 | 5.0223 | 0.073214 | 0.35633 | 0.10268 | -0.25366 |  | 2.828 | 0.265
14 | NO | 9.5032 | 6.4967 | 0.48431 | 1.4447 | 0.11467 | -1.3301 |  | 5.0495 | 0.1185
14 | YES | 3.385 | 7.6607 | 0.011547 | 0.93667 | 0.12414 | -0.81253 |  | 5.665 | -0.03
15 | YES | 372.929 | 1.266 | 0 | -0.146 | 0.07212 | 0.21812 |  | 6.1368 | -0.02925
15 | YES | 301.004 | 1.377 | 0.0014142 | -0.145 | 0.073023 | 0.21802 |  | 6.151 | 0.143
15 | YES | 251.004 | 1.4435 | 0.0035355 | -0.1255 | 0.073564 | 0.19906 |  | 6.153 | 0.048
15 | YES | 200.015 | 1.833 | 0 | 0.013 | 0.076732 | 0.063732 |  | 6.334 | 0.243
15 | YES | 175.495 | 1.997 | 0.0056568 | -0.125 | 0.078066 | 0.20307 |  | 8.1295 | -0.1295
15 | YES | 149.995 | 2.352 | 0 | -0.013 | 0.080954 | 0.093954 |  |  |  | 0.093873
15 | YES | 124.995 | 3.08 | 0.03005 | 0.225 | 0.086876 | -0.13812
15 | NO | 100.996 | 4.0395 | 0.061518 | -0.0805 | 0.094681 | 0.17518
15 | YES | 75.9965 | 4.6725 | 0.044548 | -0.0705 | 0.09983 | 0.17033
15 | YES | 50.496 | 5.67 | 0.093982 | -0.0050001 | 0.10794 | 0.11294
15 | YES | 29.494 | 5.8172 | 0.0068496 | 0.05125 | 0.10914 | 0.057891
15 | YES | 19.999 | 5.8413 | 0.00057731 | 0.22133 | 0.10934 | -0.112
15 | YES | 10.5 | 6.023 | 0.064301 | 0.013 | 0.11082 | 0.097815
15 | YES | 3.5177 | 7.1347 | 0.12702 | 0.23667 | 0.11986 | -0.11681
16 | YES | 207.648 | 1.8 | 0.029698 | -0.12 | 0.076464 | 0.19646
16 | YES | 175.501 | 2.1935 | 0.0077781 | 0.00049996 | 0.079665 | 0.079165
16 | YES | 150.003 | 2.828 | 0 | 0.265 | 0.084826 | -0.18017
16 | NO | 125.51 | 4.1268 | 0.058948 | -0.17025 | 0.09539 | 0.26564
16 | YES | 100.993 | 5.0495 | 0.02192 | 0.1185 | 0.1029 | -0.015604
16 | YES | 76.001 | 5.665 | 0.045255 | -0.03 | 0.1079 | 0.1379
16 | YES | 50.5035 | 6.1368 | 0.039229 | -0.02925 | 0.11174 | 0.14099
16 | YES | 29.9947 | 6.151 | 0.006 | 0.143 | 0.11186 | -0.031144
16 | YES | 20.007 | 6.153 | 0.0020001 | 0.048 | 0.11187 | 0.063873
16 | YES | 10.497 | 6.334 | 0.11819 | 0.243 | 0.11334 | -0.12966
16 | YES | 3.7757 | 8.1295 | 0.036556 | -0.1295 | 0.12795 | 0.25745
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
NO
YES
YES
YES
NO
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
YES
NO
YES
YES
NO
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (3)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.053943 |  | X | CALC Y
m= | -0.0019754 | 0.00068466 |  | Std Dev of Resid |  | 0.64962 |  | 3.2607 | 0.35411
b= | 0.36055 | 0.077495 |  | Resid Sum of Squares |  | 61.6131 |  | 372.929 | -0.37614
# of Values Extracted = |  |  | 148
# of Values Used in Fit = |  |  | 148
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 122.731 | 0.078 | 0 | 0.054 | 0.11811 | 0.064109 |  | 122.731 | 0.054
1 | YES | 98.998 | 0.204 | 0.021213 | 0.073 | 0.16499 | 0.091992 |  | 98.998 | 0.073
1 | YES | 73.999 | 0.4295 | 0.026163 | 0.1365 | 0.21438 | 0.077875 |  | 73.999 | 0.1365
1 | YES | 49.5007 | 1.2537 | 0.0086555 | 0.16575 | 0.26277 | 0.09702 |  | 49.5007 | 0.16575
1 | YES | 29.4985 | 1.7018 | 0.10337 | 0.43075 | 0.30228 | -0.12847 |  | 29.4985 | 0.43075
1 | YES | 20 | 2.4207 | 0.11155 | 0.62467 | 0.32105 | -0.30362 |  | 20 | 0.62467
1 | YES | 9.5032 | 5.5738 | 0.841 | 2.5608 | 0.34178 | -2.219 |  | 9.5032 | 2.5608
1 | YES | 4.112 | 9.444 | 0 | 0.978 | 0.35243 | -0.62557 |  | 4.112 | 0.978
2 | YES | 100.239 | 1.733 | 0.0098995 | -0.112 | 0.16254 | 0.27454 |  | 100.239 | -0.112
2 | YES | 76.0005 | 2.936 | 0.13152 | 0.2 | 0.21042 | 0.010422 |  | 76.0005 | 0.2
2 | YES | 49.5025 | 4.5412 | 0.017347 | 0.33925 | 0.26277 | -0.076484 |  | 49.5025 | 0.33925
2 | YES | 29.506 | 3.5408 | 0.054524 | 0.18675 | 0.30227 | 0.11552 |  | 29.506 | 0.18675
2 | YES | 19.998 | 4.1413 | 0.11401 | 0.38633 | 0.32105 | -0.065283 |  | 19.998 | 0.38633
2 | YES | 9.4962 | 6.115 | 0.47786 | 1.766 | 0.3418 | -1.4242 |  | 9.4962 | 1.766
3 | YES | 62.987 | 5.934 | 0 | -0.059 | 0.23613 | 0.29513 |  | 62.987 | -0.059
3 | YES | 49.5028 | 5.9815 | 0.010344 | 0.0315 | 0.26277 | 0.23127 |  | 49.5028 | 0.0315
3 | YES | 29.4963 | 6.5175 | 0.014549 | 0.1885 | 0.30229 | 0.11379 |  | 29.4963 | 0.1885
3 | YES | 20.0003 | 6.621 | 0.007 | 0.017 | 0.32105 | 0.30405 |  | 20.0003 | 0.017
3 | YES | 9.5005 | 7.2343 | 0.25501 | 0.60625 | 0.34179 | -0.26446 |  | 9.5005 | 0.60625
3 | YES | 3.3847 | 7.897 | 0.029445 | 0.192 | 0.35387 | 0.16187 |  | 3.3847 | 0.192
4 | YES | 82.315 | 6.446 | 0 | -0.093 | 0.19795 | 0.29095 |  | 82.315 | -0.093
4 | YES | 49.5035 | 6.5317 | 0.0022174 | 0.0027499 | 0.26276 | 0.26001 |  | 49.5035 | 0.0027499
4 | YES | 29.4963 | 6.6253 | 0.0091788 | -0.0047503 | 0.30229 | 0.30704 |  | 29.4963 | -0.0047503
4 | YES | 19.9963 | 6.6707 | 0.00057731 | 0.0016665 | 0.32105 | 0.31939 |  | 19.9963 | 0.0016665
4 | YES | 9.5005 | 6.6595 | 0.013178 | -0.0175 | 0.34179 | 0.35929 |  | 9.5005 | -0.0175
4 | YES | 3.8013 | 6.5903 | 0.0165 | 0.01225 | 0.35305 | 0.3408 |  | 3.8013 | 0.01225
5 | YES | 220.262 | 6.137 | 0.0028282 | -0.047 | -0.074556 | -0.027556 |  | 220.262 | -0.047
5 | YES | 199.995 | 6.138 | 0 | -0.22 | -0.03452 | 0.18548 |  | 199.995 | -0.22
5 | YES | 175.497 | 6.1055 | 0.0035353 | 0.0265 | 0.013874 | -0.012627 |  | 175.497 | 0.0265
5 | YES | 150.005 | 5.979 | 0 | 0.042 | 0.064231 | 0.022231 |  | 150.005 | 0.042
5 | YES | 124.501 | 6.1508 | 0.015392 | 0.04175 | 0.11461 | 0.072862 |  | 124.501 | 0.04175
5 | YES | 98.9975 | 6.2455 | 0.013435 | -0.0095 | 0.16499 | 0.17449 |  | 98.9975 | -0.0095
5 | YES | 49.5018 | 6.4965 | 0.0075499 | 0.0105 | 0.26277 | 0.25227 |  | 49.5018 | 0.0105
5 | YES | 29.5007 | 6.6137 | 0.005909 | -0.02525 | 0.30228 | 0.32753 |  | 29.5007 | -0.02525
5 | YES | 19.9983 | 6.6203 | 0.0011546 | -0.036667 | 0.32105 | 0.35772 |  | 19.9983 | -0.036667
5 | YES | 9.5 | 6.0278 | 0.21041 | -0.11525 | 0.34179 | 0.45704 |  | 9.5 | -0.11525
5 | YES | 3.7323 | 5.903 | 0.0069283 | -0.846 | 0.35318 | 1.1992 |  | 3.7323 | -0.846
6 | YES | 278.518 | 2.211 | 0 | -0.186 | -0.18964 | -0.0036367 |  | 278.518 | -0.186
6 | YES | 251.002 | 2.3345 | 0.0049497 | 0.0185 | -0.13528 | -0.15378 |  | 251.002 | 0.0185
6 | YES | 199.999 | 2.589 | 0 | 0.05 | -0.034528 | -0.084528 |  | 199.999 | 0.05
6 | YES | 175.501 | 2.9785 | 0.013435 | 0.0725 | 0.013866 | -0.058634 |  | 175.501 | 0.0725
6 | YES | 149.995 | 3.417 | 0 | 0.153 | 0.064251 | -0.088749 |  | 149.995 | 0.153
6 | YES | 124.498 | 4.3078 | 0.072196 | 0.39575 | 0.11462 | -0.28113 |  | 124.498 | 0.39575
6 | YES | 98.9995 | 4.9565 | 0.012021 | 0.0655 | 0.16499 | 0.099489 |  | 98.9995 | 0.0655
6 | YES | 73.998 | 5.1285 | 0.0063638 | 0.0445 | 0.21438 | 0.16988 |  | 73.998 | 0.0445
6 | YES | 49.4985 | 5.317 | 0.02539 | 0.106 | 0.26277 | 0.15677 |  | 49.4985 | 0.106
6 | YES | 29.9993 | 5.878 | 0.00755 | 0.094 | 0.30129 | 0.20729 |  | 29.9993 | 0.094
6 | YES | 20.0047 | 5.9243 | 0.013204 | -0.043667 | 0.32104 | 0.3647 |  | 20.0047 | -0.043667
6 | YES | 9.4942 | 6.1385 | 0.34998 | 0.6005 | 0.3418 | -0.2587 |  | 9.4942 | 0.6005
6 | YES | 3.8443 | 7.7497 | 0.024826 | 0.068667 | 0.35296 | 0.28429 |  | 3.8443 | 0.068667
7 | YES | 274.696 | 2.185 | 0 | -0.046 | -0.18209 | -0.13609 |  | 274.696 | -0.046
7 | YES | 251.004 | 2.234 | 0.0028284 | -0.055 | -0.13528 | -0.080285 |  | 251.004 | -0.055
7 | YES | 199.997 | 2.401 | 0 | -0.15 | -0.034524 | 0.11548 |  | 199.997 | -0.15
7 | YES | 175.491 | 2.3885 | 0.00070706 | -0.0405 | 0.013886 | 0.054385 |  | 175.491 | -0.0405
7 | YES | 149.995 | 2.478 | 0 | -0.016 | 0.064251 | 0.080251 |  | 149.995 | -0.016
7 | YES | 125.498 | 2.5372 | 0.011026 | 0.01725 | 0.11264 | 0.095393 |  | 125.498 | 0.01725
7 | YES | 99.005 | 2.907 | 0.0070711 | 0.073 | 0.16498 | 0.091978 |  | 99.005 | 0.073
7 | YES | 76.005 | 2.97 | 0.012728 | -0.004 | 0.21041 | 0.21441 |  | 76.005 | -0.004
7 | YES | 50.5013 | 3.1002 | 0.064453 | 0.28025 | 0.26079 | -0.019457 |  | 50.5013 | 0.28025
7 | YES | 30.0037 | 4.5867 | 0.038553 | 0.50067 | 0.30128 | -0.19938 |  | 30.0037 | 0.50067
7 | YES | 19.999 | 5.4777 | 0.060302 | 0.44067 | 0.32105 | -0.11962 |  | 19.999 | 0.44067
7 | YES | 9.4983 | 6.493 | 0.58834 | 1.028 | 0.34179 | -0.68621 |  | 9.4983 | 1.028
8 | YES | 147.978 | 0.631 | 0.062225 | -0.107 | 0.068235 | 0.17524 |  | 147.978 | -0.107
8 | YES | 147.978 | 0.631 | 0.062225 | -0.028 | 0.068235 | 0.096235 |  | 147.978 | -0.028
8 | YES | 125.489 | 0.90475 | 0.0028723 | 0.07075 | 0.11266 | 0.041911 |  | 125.489 | 0.07075
8 | YES | 98.998 | 1.0275 | 0.012021 | 0.1485 | 0.16499 | 0.016492 |  | 98.998 | 0.1485
8 | YES | 73.9995 | 3.6 | 0.39598 | 1.846 | 0.21437 | -1.6316 |  | 73.9995 | 1.846
8 | YES | 49.5005 | 4.3963 | 0.009251 | 0.03425 | 0.26277 | 0.22852 |  | 49.5005 | 0.03425
8 | YES | 29.5007 | 4.2065 | 0.0017321 | 0.0575 | 0.30228 | 0.24478 |  | 29.5007 | 0.0575
8 | YES | 20.0003 | 4.0993 | 0.013503 | 0.13133 | 0.32105 | 0.18971 |  | 20.0003 | 0.13133
8 | YES | 9.4965 | 5.959 | 0.59438 | 1.601 | 0.3418 | -1.2592 |  | 9.4965 | 1.601
8 | YES | 4.162 | 10.0305 | 0.39967 | 0.6935 | 0.35233 | -0.34117 |  | 4.162 | 0.6935
9 | YES | 105.684 | 0.649 | 0 | -0.088 | 0.15178 | 0.23978 |  | 105.684 | -0.088
9 | YES | 100.999 | 0.6915 | 0.02192 | 0.0895 | 0.16104 | 0.071539 |  | 100.999 | 0.0895
9 | YES | 73.996 | 1.7945 | 0.30476 | 0.9185 | 0.21438 | -0.70412 |  | 73.996 | 0.9185
9 | YES | 49.995 | 4.0067 | 0.0040416 | 0.15967 | 0.26179 | 0.10213 |  | 49.995 | 0.15967
9 | YES | 30.0023 | 3.8077 | 0.020404 | -0.029333 | 0.30129 | 0.33062 |  | 30.0023 | -0.029333
9 | YES | 19.9973 | 3.652 | 0.054009 | 0.086 | 0.32105 | 0.23505 |  | 19.9973 | 0.086
9 | YES | 4.6967 | 8.939 | 0.29098 | -0.145 | 0.35128 | 0.49628 |  | 4.6967 | -0.145
10 | YES | 129.956 | 0.07 | 0 | 0.07 | 0.10384 | 0.033837 |  | 129.956 | 0.07
10 | YES | 125.499 | 0.07675 | 0.0025 | 0.07675 | 0.11264 | 0.035891 |  | 125.499 | 0.07675
10 | YES | 99.0085 | 0.1065 | 0.00070711 | 0.1065 | 0.16497 | 0.058471 |  | 99.0085 | 0.1065
10 | YES | 75.999 | 0.1425 | 0.0049498 | 0.1425 | 0.21042 | 0.067925 |  | 75.999 | 0.1425
10 | YES | 50.4945 | 0.28925 | 0.023977 | 0.24025 | 0.26081 | 0.020557 |  | 50.4945 | 0.24025
10 | YES | 29.4965 | 2.7933 | 0.015777 | 0.78425 | 0.30229 | -0.48196 |  | 29.4965 | 0.78425
10 | YES | 19.9973 | 2.859 | 0.024 | 0.102 | 0.32105 | 0.21905 |  | 19.9973 | 0.102
10 | YES | 9.4985 | 3.0275 | 0.17808 | 0.4425 | 0.34179 | -0.10071 |  | 9.4985 | 0.4425
10 | YES | 4.569 | 4.889 | 0 | -3.209 | 0.35153 | 3.5605 |  | 4.569 | -3.209
11 | YES | 69.716 | 0.094 | 0 | 0.082 | 0.22284 | 0.14084 |  | 69.716 | 0.082
11 | YES | 50.5035 | 0.19625 | 0.012945 | -0.02775 | 0.26079 | 0.28854 |  | 50.5035 | -0.02775
11 | YES | 29.9967 | 2.351 | 0.0087178 | 0.352 | 0.3013 | -0.050701 |  | 29.9967 | 0.352
11 | YES | 19.9963 | 2.4497 | 0.01701 | 0.14267 | 0.32105 | 0.17839 |  | 19.9963 | 0.14267
11 | YES | 9.495 | 3.292 | 0.3387 | 0.962 | 0.3418 | -0.6202 |  | 9.495 | 0.962
11 | YES | 3.9388 | 6.5643 | 0.12039 | -1.4697 | 0.35277 | 1.8225 |  | 3.9388 | -1.4697
12 | YES | 60.8315 | 3.0645 | 0.019092 | 0.1375 | 0.24039 | 0.10289 |  | 60.8315 | 0.1375
12 | YES | 49.4985 | 2.9235 | 0.016783 | 0.0235 | 0.26277 | 0.23927 |  | 49.4985 | 0.0235
12 | YES | 30.0003 | 3.5497 | 0.02442 | 0.79467 | 0.30129 | -0.49338 |  | 30.0003 | 0.79467
12 | YES | 20.0017 | 4.4533 | 0.158 | 0.90133 | 0.32104 | -0.58029 |  | 20.0017 | 0.90133
12 | YES | 9.502 | 10.9122 | 0.18583 | 4.8172 | 0.34178 | -4.4755 |  | 9.502 | 4.8172
12 | YES | 3.2607 | 10.6987 | 0.19115 | -0.38533 | 0.35411 | 0.73945 |  | 3.2607 | -0.38533
13 | YES | 184.692 | 0.056 | 0 | 0.056 | -0.0042904 | -0.06029 |  | 184.692 | 0.056
13 | YES | 150 | 0.094 | 0 | 0.094 | 0.064241 | -0.029759 |  | 150 | 0.094
13 | YES | 125.494 | 0.1365 | 0.0028867 | 0.1365 | 0.11265 | -0.023849 |  | 125.494 | 0.1365
13 | YES | 100.999 | 0.2745 | 0.023335 | 0.1745 | 0.16104 | -0.013461 |  | 100.999 | 0.1745
13 | YES | 74.005 | 3.8585 | 0.094045 | 0.3685 | 0.21436 | -0.15414 |  | 74.005 | 0.3685
13 | YES | 50.4982 | 4.0232 | 0.042531 | -0.07075 | 0.2608 | 0.33155 |  | 50.4982 | -0.07075
13 | YES | 30.0017 | 3.7927 | 0.024502 | 0.16067 | 0.30129 | 0.14062 |  | 30.0017 | 0.16067
13 | YES | 19.997 | 4.4297 | 0.11001 | 0.47767 | 0.32105 | -0.15661 |  | 19.997 | 0.47767
13 | YES | 9.5002 | 6.401 | 0.99096 | 2.043 | 0.34179 | -1.7012 |  | 9.5002 | 2.043
13 | YES | 3.853 | 11.5813 | 0.052539 | 0.85433 | 0.35294 | -0.50139 |  | 3.853 | 0.85433
14 | YES | 319.963 | 1.2675 | 0.00070714 | -0.1395 | -0.27151 | -0.13201 |  | 319.963 | -0.1395
14 | YES | 250.989 | 1.304 | 0.0028284 | -0.014 | -0.13526 | -0.12126 |  | 250.989 | -0.014
14 | YES | 200.01 | 1.668 | 0 | 0.021 | -0.03455 | -0.05555 |  | 200.01 | 0.021
14 | YES | 175.505 | 1.8775 | 0.00070714 | 0.0405 | 0.013858 | -0.026642 |  | 175.505 | 0.0405
14 | YES | 149.997 | 2.238 | 0 | 0.125 | 0.064247 | -0.060753 |  | 149.997 | 0.125
14 | YES | 125.499 | 2.62 | 0.042356 | 0.053 | 0.11264 | 0.059641 |  | 125.499 | 0.053
14 | YES | 101.001 | 3.389 | 0.055154 | 0.131 | 0.16103 | 0.030035 |  | 101.001 | 0.131
14 | YES | 74.002 | 4.1715 | 0.050204 | 0.4025 | 0.21437 | -0.18813 |  | 74.002 | 0.4025
14 | YES | 49.5028 | 5.3807 | 0.0132 | 0.02675 | 0.26277 | 0.23602 |  | 49.5028 | 0.02675
14 | YES | 30 | 4.563 | 0.040595 | -0.168 | 0.30129 | 0.46929 |  | 30 | -0.168
14 | YES | 20.0043 | 5.0223 | 0.073214 | 0.35633 | 0.32104 | -0.035296 |  | 20.0043 | 0.35633
14 | YES | 9.5032 | 6.4967 | 0.48431 | 1.4447 | 0.34178 | -1.103 |  | 9.5032 | 1.4447
14 | YES | 3.385 | 7.6607 | 0.011547 | 0.93667 | 0.35387 | -0.5828 |  | 3.385 | 0.93667
15 | YES | 372.929 | 1.266 | 0 | -0.146 | -0.37614 | -0.23014 |  | 372.929 | -0.146
15 | YES | 301.004 | 1.377 | 0.0014142 | -0.145 | -0.23406 | -0.089056 |  | 301.004 | -0.145
15 | YES | 251.004 | 1.4435 | 0.0035355 | -0.1255 | -0.13528 | -0.0097848 |  | 251.004 | -0.1255
15 | YES | 200.015 | 1.833 | 0 | 0.013 | -0.03456 | -0.04756 |  | 200.015 | 0.013
15 | YES | 175.495 | 1.997 | 0.0056568 | -0.125 | 0.013878 | 0.13888 |  | 175.495 | -0.125
15 | YES | 149.995 | 2.352 | 0 | -0.013 | 0.064251 | 0.077251 |  | 149.995 | -0.013
15 | YES | 124.995 | 3.08 | 0.03005 | 0.225 | 0.11364 | -0.11136 |  | 124.995 | 0.225
15 | YES | 100.996 | 4.0395 | 0.061518 | -0.0805 | 0.16104 | 0.24154 |  | 100.996 | -0.0805
15 | YES | 75.9965 | 4.6725 | 0.044548 | -0.0705 | 0.21043 | 0.28093 |  | 75.9965 | -0.0705
15 | YES | 50.496 | 5.67 | 0.093982 | -0.0050001 | 0.2608 | 0.2658 |  | 50.496 | -0.0050001
15 | YES | 29.494 | 5.8172 | 0.0068496 | 0.05125 | 0.30229 | 0.25104 |  | 29.494 | 0.05125
15 | YES | 19.999 | 5.8413 | 0.00057731 | 0.22133 | 0.32105 | 0.099714 |  | 19.999 | 0.22133
15 | YES | 10.5 | 6.023 | 0.064301 | 0.013 | 0.33981 | 0.32681 |  | 10.5 | 0.013
15 | YES | 3.5177 | 7.1347 | 0.12702 | 0.23667 | 0.35361 | 0.11694 |  | 3.5177 | 0.23667
16 | YES | 207.648 | 1.8 | 0.029698 | -0.12 | -0.049638 | 0.070362 |  | 207.648 | -0.12
16 | YES | 175.501 | 2.1935 | 0.0077781 | 0.00049996 | 0.013866 | 0.013366 |  | 175.501 | 0.00049996
16 | YES | 150.003 | 2.828 | 0 | 0.265 | 0.064235 | -0.20076 |  | 150.003 | 0.265
16 | YES | 125.51 | 4.1268 | 0.058948 | -0.17025 | 0.11262 | 0.28287 |  | 125.51 | -0.17025
16 | YES | 100.993 | 5.0495 | 0.02192 | 0.1185 | 0.16105 | 0.042551 |  | 100.993 | 0.1185
16 | YES | 76.001 | 5.665 | 0.045255 | -0.03 | 0.21042 | 0.24042 |  | 76.001 | -0.03
16 | YES | 50.5035 | 6.1368 | 0.039229 | -0.02925 | 0.26079 | 0.29004 |  | 50.5035 | -0.02925
16 | YES | 29.9947 | 6.151 | 0.006 | 0.143 | 0.3013 | 0.1583 |  | 29.9947 | 0.143
16 | YES | 20.007 | 6.153 | 0.0020001 | 0.048 | 0.32103 | 0.27303 |  | 20.007 | 0.048
16 | YES | 10.497 | 6.334 | 0.11819 | 0.243 | 0.33982 | 0.096819 |  | 10.497 | 0.243
16 | YES | 3.7757 | 8.1295 | 0.036556 | -0.1295 | 0.3531 | 0.4826 |  | 3.7757 | -0.1295
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2008/08/11 17:16:23
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | DOX_BOT | DOX_CTD |  | DOX_CTD - DOX_BOT
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | DOX_BOT | DOX_CTD | DOX_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2008-28-0006.mrgcor1 | 2008-28-0006.thn1 | 1 | 122.858 | 122.731 | 0 | -0.127 | 0.024 | 0.078 | 0 | 0.054
2008-28-0006.mrgcor1 | 2008-28-0006.thn1 | 2 | 99.942 | 98.998 | 1.4057 | -0.944 | 0.131 | 0.204 | 0.021213 | 0.073
2008-28-0006.mrgcor1 | 2008-28-0006.thn1 | 2 | 74.698 | 73.999 | 1.4213 | -0.699 | 0.293 | 0.4295 | 0.026163 | 0.1365
2008-28-0006.mrgcor1 | 2008-28-0006.thn1 | 4 | 49.816 | 49.5007 | 1.2927 | -0.31525 | 1.088 | 1.2537 | 0.0086555 | 0.16575
2008-28-0006.mrgcor1 | 2008-28-0006.thn1 | 4 | 29.97 | 29.4985 | 1.291 | -0.4715 | 1.271 | 1.7018 | 0.10337 | 0.43075
2008-28-0006.mrgcor1 | 2008-28-0006.thn1 | 3 | 19.837 | 20 | 1.005 | 0.163 | 1.796 | 2.4207 | 0.11155 | 0.62467
2008-28-0006.mrgcor1 | 2008-28-0006.thn1 | 4 | 9.966 | 9.5032 | 1.2893 | -0.46275 | 3.013 | 5.5738 | 0.841 | 2.5608
2008-28-0006.mrgcor1 | 2008-28-0006.thn1 | 2 | 2.802 | 4.112 | 0 | 1.31 | 8.466 | 9.444 | 0 | 0.978
2008-28-0007.mrgcor1 | 2008-28-0007.thn1 | 2 | 100.589 | 100.239 | 0.34224 | -0.35 | 1.845 | 1.733 | 0.0098995 | -0.112
2008-28-0007.mrgcor1 | 2008-28-0007.thn1 | 2 | 75.044 | 76.0005 | 1.4178 | 0.95651 | 2.736 | 2.936 | 0.13152 | 0.2
2008-28-0007.mrgcor1 | 2008-28-0007.thn1 | 4 | 49.746 | 49.5025 | 1.2915 | -0.2435 | 4.202 | 4.5412 | 0.017347 | 0.33925
2008-28-0007.mrgcor1 | 2008-28-0007.thn1 | 4 | 29.881 | 29.506 | 1.2944 | -0.375 | 3.354 | 3.5408 | 0.054524 | 0.18675
2008-28-0007.mrgcor1 | 2008-28-0007.thn1 | 3 | 19.899 | 19.998 | 0.99652 | 0.098999 | 3.755 | 4.1413 | 0.11401 | 0.38633
2008-28-0007.mrgcor1 | 2008-28-0007.thn1 | 4 | 9.699 | 9.4962 | 1.2924 | -0.20275 | 4.349 | 6.115 | 0.47786 | 1.766
2008-28-0008.mrgcor1 | 2008-28-0008.thn1 | 1 | 63.021 | 62.987 | 0 | -0.034 | 5.993 | 5.934 | 0 | -0.059
2008-28-0008.mrgcor1 | 2008-28-0008.thn1 | 4 | 49.992 | 49.5028 | 1.2976 | -0.48925 | 5.95 | 5.9815 | 0.010344 | 0.0315
2008-28-0008.mrgcor1 | 2008-28-0008.thn1 | 4 | 29.758 | 29.4963 | 1.2911 | -0.26175 | 6.329 | 6.5175 | 0.014549 | 0.1885
2008-28-0008.mrgcor1 | 2008-28-0008.thn1 | 3 | 19.748 | 20.0003 | 1.0075 | 0.25233 | 6.604 | 6.621 | 0.007 | 0.017
2008-28-0008.mrgcor1 | 2008-28-0008.thn1 | 4 | 9.865 | 9.5005 | 1.2908 | -0.3645 | 6.628 | 7.2343 | 0.25501 | 0.60625
2008-28-0008.mrgcor1 | 2008-28-0008.thn1 | 3 | 2.795 | 3.3847 | 0.53463 | 0.58967 | 7.705 | 7.897 | 0.029445 | 0.192
2008-28-0009.mrgcor1 | 2008-28-0009.thn1 | 1 | 82.302 | 82.315 | 0 | 0.013 | 6.539 | 6.446 | 0 | -0.093
2008-28-0009.mrgcor1 | 2008-28-0009.thn1 | 4 | 49.371 | 49.5035 | 1.291 | 0.1325 | 6.529 | 6.5317 | 0.0022174 | 0.0027499
2008-28-0009.mrgcor1 | 2008-28-0009.thn1 | 4 | 29.951 | 29.4963 | 1.2878 | -0.45475 | 6.63 | 6.6253 | 0.0091788 | -0.0047503
2008-28-0009.mrgcor1 | 2008-28-0009.thn1 | 3 | 19.753 | 19.9963 | 0.9985 | 0.24333 | 6.669 | 6.6707 | 0.00057731 | 0.0016665
2008-28-0009.mrgcor1 | 2008-28-0009.thn1 | 4 | 9.817 | 9.5005 | 1.2913 | -0.3165 | 6.677 | 6.6595 | 0.013178 | -0.0175
2008-28-0009.mrgcor1 | 2008-28-0009.thn1 | 4 | 3.041 | 3.8013 | 0.90458 | 0.76025 | 6.578 | 6.5903 | 0.0165 | 0.01225
2008-28-0010.mrgcor1 | 2008-28-0010.thn1 | 2 | 220.564 | 220.262 | 0.36557 | -0.30249 | 6.184 | 6.137 | 0.0028282 | -0.047
2008-28-0010.mrgcor1 | 2008-28-0010.thn1 | 1 | 200.016 | 199.995 | 0 | -0.021011 | 6.358 | 6.138 | 0 | -0.22
2008-28-0010.mrgcor1 | 2008-28-0010.thn1 | 2 | 174.771 | 175.497 | 0.69861 | 0.72601 | 6.079 | 6.1055 | 0.0035353 | 0.0265
2008-28-0010.mrgcor1 | 2008-28-0010.thn1 | 1 | 149.715 | 150.005 | 0 | 0.29001 | 5.937 | 5.979 | 0 | 0.042
2008-28-0010.mrgcor1 | 2008-28-0010.thn1 | 4 | 124.667 | 124.501 | 1.2925 | -0.16625 | 6.109 | 6.1508 | 0.015392 | 0.04175
2008-28-0010.mrgcor1 | 2008-28-0010.thn1 | 2 | 99.906 | 98.9975 | 1.4135 | -0.9085 | 6.255 | 6.2455 | 0.013435 | -0.0095
2008-28-0010.mrgcor1 | 2008-28-0010.thn1 | 4 | 49.956 | 49.5018 | 1.2847 | -0.45425 | 6.486 | 6.4965 | 0.0075499 | 0.0105
2008-28-0010.mrgcor1 | 2008-28-0010.thn1 | 4 | 29.871 | 29.5007 | 1.2891 | -0.37025 | 6.639 | 6.6137 | 0.005909 | -0.02525
2008-28-0010.mrgcor1 | 2008-28-0010.thn1 | 3 | 19.87 | 19.9983 | 1 | 0.12833 | 6.657 | 6.6203 | 0.0011546 | -0.036667
2008-28-0010.mrgcor1 | 2008-28-0010.thn1 | 4 | 9.97 | 9.5 | 1.2869 | -0.47 | 6.143 | 6.0278 | 0.21041 | -0.11525
2008-28-0010.mrgcor1 | 2008-28-0010.thn1 | 3 | 2.97 | 3.7323 | 0.22921 | 0.76233 | 6.749 | 5.903 | 0.0069283 | -0.846
2008-28-0011.mrgcor1 | 2008-28-0011.thn1 | 1 | 278.561 | 278.518 | 0 | -0.042999 | 2.397 | 2.211 | 0 | -0.186
2008-28-0011.mrgcor1 | 2008-28-0011.thn1 | 2 | 250.139 | 251.002 | 1.4213 | 0.86299 | 2.316 | 2.3345 | 0.0049497 | 0.0185
2008-28-0011.mrgcor1 | 2008-28-0011.thn1 | 1 | 199.985 | 199.999 | 0 | 0.013992 | 2.539 | 2.589 | 0 | 0.05
2008-28-0011.mrgcor1 | 2008-28-0011.thn1 | 2 | 174.821 | 175.501 | 0.70427 | 0.68001 | 2.906 | 2.9785 | 0.013435 | 0.0725
2008-28-0011.mrgcor1 | 2008-28-0011.thn1 | 1 | 149.926 | 149.995 | 0 | 0.069 | 3.264 | 3.417 | 0 | 0.153
2008-28-0011.mrgcor1 | 2008-28-0011.thn1 | 4 | 124.431 | 124.498 | 1.2871 | 0.067497 | 3.912 | 4.3078 | 0.072196 | 0.39575
2008-28-0011.mrgcor1 | 2008-28-0011.thn1 | 2 | 99.506 | 98.9995 | 1.4248 | -0.5065 | 4.891 | 4.9565 | 0.012021 | 0.0655
2008-28-0011.mrgcor1 | 2008-28-0011.thn1 | 2 | 74.756 | 73.998 | 1.4213 | -0.758 | 5.084 | 5.1285 | 0.0063638 | 0.0445
2008-28-0011.mrgcor1 | 2008-28-0011.thn1 | 4 | 49.853 | 49.4985 | 1.2982 | -0.3545 | 5.211 | 5.317 | 0.02539 | 0.106
2008-28-0011.mrgcor1 | 2008-28-0011.thn1 | 3 | 30.062 | 29.9993 | 1.003 | -0.062666 | 5.784 | 5.878 | 0.00755 | 0.094
2008-28-0011.mrgcor1 | 2008-28-0011.thn1 | 3 | 20.028 | 20.0047 | 1.002 | -0.023333 | 5.968 | 5.9243 | 0.013204 | -0.043667
2008-28-0011.mrgcor1 | 2008-28-0011.thn1 | 4 | 9.956 | 9.4942 | 1.2919 | -0.46175 | 5.538 | 6.1385 | 0.34998 | 0.6005
2008-28-0011.mrgcor1 | 2008-28-0011.thn1 | 3 | 2.879 | 3.8443 | 0.13221 | 0.96533 | 7.681 | 7.7497 | 0.024826 | 0.068667
2008-28-0012.mrgcor1 | 2008-28-0012.thn1 | 1 | 274.798 | 274.696 | 0 | -0.10199 | 2.231 | 2.185 | 0 | -0.046
2008-28-0012.mrgcor1 | 2008-28-0012.thn1 | 2 | 250.126 | 251.004 | 1.41 | 0.87799 | 2.289 | 2.234 | 0.0028284 | -0.055
2008-28-0012.mrgcor1 | 2008-28-0012.thn1 | 1 | 200.085 | 199.997 | 0 | -0.088013 | 2.551 | 2.401 | 0 | -0.15
2008-28-0012.mrgcor1 | 2008-28-0012.thn1 | 2 | 175.113 | 175.491 | 0.70852 | 0.37799 | 2.429 | 2.3885 | 0.00070706 | -0.0405
2008-28-0012.mrgcor1 | 2008-28-0012.thn1 | 1 | 149.997 | 149.995 | 0 | -0.0019989 | 2.494 | 2.478 | 0 | -0.016
2008-28-0012.mrgcor1 | 2008-28-0012.thn1 | 4 | 125.012 | 125.498 | 1.2901 | 0.48575 | 2.52 | 2.5372 | 0.011026 | 0.01725
2008-28-0012.mrgcor1 | 2008-28-0012.thn1 | 2 | 99.962 | 99.005 | 1.4128 | -0.957 | 2.834 | 2.907 | 0.0070711 | 0.073
2008-28-0012.mrgcor1 | 2008-28-0012.thn1 | 2 | 75.104 | 76.005 | 1.41 | 0.90101 | 2.974 | 2.97 | 0.012728 | -0.004
2008-28-0012.mrgcor1 | 2008-28-0012.thn1 | 4 | 50.021 | 50.5013 | 1.2901 | 0.48025 | 2.82 | 3.1002 | 0.064453 | 0.28025
2008-28-0012.mrgcor1 | 2008-28-0012.thn1 | 3 | 30.336 | 30.0037 | 1.001 | -0.33233 | 4.086 | 4.5867 | 0.038553 | 0.50067
2008-28-0012.mrgcor1 | 2008-28-0012.thn1 | 3 | 19.818 | 19.999 | 0.999 | 0.181 | 5.037 | 5.4777 | 0.060302 | 0.44067
2008-28-0012.mrgcor1 | 2008-28-0012.thn1 | 4 | 9.893 | 9.4983 | 1.2971 | -0.39475 | 5.465 | 6.493 | 0.58834 | 1.028
2008-28-0013.mrgcor1 | 2008-28-0013.thn1 | 2 | 148.986 | 147.978 | 1.381 | -1.0085 | 0.738 | 0.631 | 0.062225 | -0.107
2008-28-0013.mrgcor1 | 2008-28-0013.thn1 | 2 | 148.986 | 147.978 | 1.381 | -1.0085 | 0.659 | 0.631 | 0.062225 | -0.028
2008-28-0013.mrgcor1 | 2008-28-0013.thn1 | 4 | 125.103 | 125.489 | 1.2861 | 0.38551 | 0.834 | 0.90475 | 0.0028723 | 0.07075
2008-28-0013.mrgcor1 | 2008-28-0013.thn1 | 2 | 99.954 | 98.998 | 1.4298 | -0.956 | 0.879 | 1.0275 | 0.012021 | 0.1485
2008-28-0013.mrgcor1 | 2008-28-0013.thn1 | 2 | 74.873 | 73.9995 | 1.4079 | -0.8735 | 1.754 | 3.6 | 0.39598 | 1.846
2008-28-0013.mrgcor1 | 2008-28-0013.thn1 | 4 | 49.976 | 49.5005 | 1.3021 | -0.4755 | 4.362 | 4.3963 | 0.009251 | 0.03425
2008-28-0013.mrgcor1 | 2008-28-0013.thn1 | 4 | 29.835 | 29.5007 | 1.2906 | -0.33425 | 4.149 | 4.2065 | 0.0017321 | 0.0575
2008-28-0013.mrgcor1 | 2008-28-0013.thn1 | 3 | 19.81 | 20.0003 | 1.0031 | 0.19033 | 3.968 | 4.0993 | 0.013503 | 0.13133
2008-28-0013.mrgcor1 | 2008-28-0013.thn1 | 4 | 9.806 | 9.4965 | 1.3011 | -0.3095 | 4.358 | 5.959 | 0.59438 | 1.601
2008-28-0013.mrgcor1 | 2008-28-0013.thn1 | 4 | 3.024 | 4.162 | 0.5638 | 1.138 | 9.337 | 10.0305 | 0.39967 | 0.6935
2008-28-0014.mrgcor1 | 2008-28-0014.thn1 | 1 | 105.764 | 105.684 | 0 | -0.080002 | 0.737 | 0.649 | 0 | -0.088
2008-28-0014.mrgcor1 | 2008-28-0014.thn1 | 2 | 100.167 | 100.999 | 1.4071 | 0.832 | 0.602 | 0.6915 | 0.02192 | 0.0895
2008-28-0014.mrgcor1 | 2008-28-0014.thn1 | 2 | 74.976 | 73.996 | 1.4071 | -0.98 | 0.876 | 1.7945 | 0.30476 | 0.9185
2008-28-0014.mrgcor1 | 2008-28-0014.thn1 | 3 | 49.991 | 49.995 | 1.005 | 0.0039978 | 3.847 | 4.0067 | 0.0040416 | 0.15967
2008-28-0014.mrgcor1 | 2008-28-0014.thn1 | 3 | 30.023 | 30.0023 | 0.98903 | -0.020668 | 3.837 | 3.8077 | 0.020404 | -0.029333
2008-28-0014.mrgcor1 | 2008-28-0014.thn1 | 3 | 19.868 | 19.9973 | 1.0065 | 0.12933 | 3.566 | 3.652 | 0.054009 | 0.086
2008-28-0014.mrgcor1 | 2008-28-0014.thn1 | 3 | 3.143 | 4.6967 | 0.22978 | 1.5537 | 9.084 | 8.939 | 0.29098 | -0.145
2008-28-0015.mrgcor1 | 2008-28-0015.thn1 | 1 | 131.935 | 129.956 | 0 | -1.979 | 0 | 0.07 | 0 | 0.07
2008-28-0015.mrgcor1 | 2008-28-0015.thn1 | 4 | 125.122 | 125.499 | 1.2851 | 0.3775 | 0 | 0.07675 | 0.0025 | 0.07675
2008-28-0015.mrgcor1 | 2008-28-0015.thn1 | 2 | 99.948 | 99.0085 | 1.4008 | -0.9395 | 0 | 0.1065 | 0.00070711 | 0.1065
2008-28-0015.mrgcor1 | 2008-28-0015.thn1 | 2 | 75.08 | 75.999 | 1.4086 | 0.919 | 0 | 0.1425 | 0.0049498 | 0.1425
2008-28-0015.mrgcor1 | 2008-28-0015.thn1 | 4 | 50.051 | 50.4945 | 1.2901 | 0.4435 | 0.049 | 0.28925 | 0.023977 | 0.24025
2008-28-0015.mrgcor1 | 2008-28-0015.thn1 | 4 | 29.839 | 29.4965 | 1.2975 | -0.3425 | 2.009 | 2.7933 | 0.015777 | 0.78425
2008-28-0015.mrgcor1 | 2008-28-0015.thn1 | 3 | 19.954 | 19.9973 | 1.003 | 0.043333 | 2.757 | 2.859 | 0.024 | 0.102
2008-28-0015.mrgcor1 | 2008-28-0015.thn1 | 4 | 9.839 | 9.4985 | 1.29 | -0.3405 | 2.585 | 3.0275 | 0.17808 | 0.4425
2008-28-0015.mrgcor1 | 2008-28-0015.thn1 | 2 | 2.832 | 4.569 | 0 | 1.737 | 8.098 | 4.889 | 0 | -3.209
2008-28-0016.mrgcor1 | 2008-28-0016.thn1 | 1 | 69.896 | 69.716 | 0 | -0.18 | 0.012 | 0.094 | 0 | 0.082
2008-28-0016.mrgcor1 | 2008-28-0016.thn1 | 4 | 50.072 | 50.5035 | 1.2892 | 0.4315 | 0.224 | 0.19625 | 0.012945 | -0.02775
2008-28-0016.mrgcor1 | 2008-28-0016.thn1 | 3 | 30.085 | 29.9967 | 1.0091 | -0.088333 | 1.999 | 2.351 | 0.0087178 | 0.352
2008-28-0016.mrgcor1 | 2008-28-0016.thn1 | 3 | 19.968 | 19.9963 | 1.002 | 0.028332 | 2.307 | 2.4497 | 0.01701 | 0.14267
2008-28-0016.mrgcor1 | 2008-28-0016.thn1 | 4 | 9.983 | 9.495 | 1.2913 | -0.488 | 2.33 | 3.292 | 0.3387 | 0.962
2008-28-0016.mrgcor1 | 2008-28-0016.thn1 | 4 | 3.053 | 3.9388 | 0.7187 | 0.88575 | 8.034 | 6.5643 | 0.12039 | -1.4697
2008-28-0022.mrgcor1 | 2008-28-0022.thn1 | 2 | 61.719 | 60.8315 | 1.1759 | -0.8875 | 2.927 | 3.0645 | 0.019092 | 0.1375
2008-28-0022.mrgcor1 | 2008-28-0022.thn1 | 4 | 49.965 | 49.4985 | 1.2969 | -0.4665 | 2.9 | 2.9235 | 0.016783 | 0.0235
2008-28-0022.mrgcor1 | 2008-28-0022.thn1 | 3 | 30.288 | 30.0003 | 1.0055 | -0.28767 | 2.755 | 3.5497 | 0.02442 | 0.79467
2008-28-0022.mrgcor1 | 2008-28-0022.thn1 | 3 | 19.981 | 20.0017 | 1.001 | 0.020666 | 3.552 | 4.4533 | 0.158 | 0.90133
2008-28-0022.mrgcor1 | 2008-28-0022.thn1 | 4 | 9.896 | 9.502 | 1.2891 | -0.394 | 6.095 | 10.9122 | 0.18583 | 4.8172
2008-28-0022.mrgcor1 | 2008-28-0022.thn1 | 3 | 2.872 | 3.2607 | 0.65223 | 0.38867 | 11.084 | 10.6987 | 0.19115 | -0.38533
2008-28-0023.mrgcor1 | 2008-28-0023.thn1 | 1 | 184.706 | 184.692 | 0 | -0.013992 | 0 | 0.056 | 0 | 0.056
2008-28-0023.mrgcor1 | 2008-28-0023.thn1 | 1 | 150.097 | 150 | 0 | -0.097 | 0 | 0.094 | 0 | 0.094
2008-28-0023.mrgcor1 | 2008-28-0023.thn1 | 4 | 125.063 | 125.494 | 1.2939 | 0.431 | 0 | 0.1365 | 0.0028867 | 0.1365
2008-28-0023.mrgcor1 | 2008-28-0023.thn1 | 2 | 100.02 | 100.999 | 1.4093 | 0.9795 | 0.1 | 0.2745 | 0.023335 | 0.1745
2008-28-0023.mrgcor1 | 2008-28-0023.thn1 | 2 | 74.916 | 74.005 | 1.4142 | -0.911 | 3.49 | 3.8585 | 0.094045 | 0.3685
2008-28-0023.mrgcor1 | 2008-28-0023.thn1 | 4 | 50.084 | 50.4982 | 1.2911 | 0.41425 | 4.094 | 4.0232 | 0.042531 | -0.07075
2008-28-0023.mrgcor1 | 2008-28-0023.thn1 | 3 | 30.139 | 30.0017 | 0.99752 | -0.13733 | 3.632 | 3.7927 | 0.024502 | 0.16067
2008-28-0023.mrgcor1 | 2008-28-0023.thn1 | 3 | 20.036 | 19.997 | 1.0005 | -0.039 | 3.952 | 4.4297 | 0.11001 | 0.47767
2008-28-0023.mrgcor1 | 2008-28-0023.thn1 | 4 | 9.946 | 9.5002 | 1.3028 | -0.44575 | 4.358 | 6.401 | 0.99096 | 2.043
2008-28-0023.mrgcor1 | 2008-28-0023.thn1 | 3 | 2.97 | 3.853 | 0.1299 | 0.883 | 10.727 | 11.5813 | 0.052539 | 0.85433
2008-28-0024.mrgcor1 | 2008-28-0024.thn1 | 2 | 320.923 | 319.963 | 1.3718 | -0.95999 | 1.407 | 1.2675 | 0.00070714 | -0.1395
2008-28-0024.mrgcor1 | 2008-28-0024.thn1 | 2 | 250.214 | 250.989 | 1.4071 | 0.77499 | 1.318 | 1.304 | 0.0028284 | -0.014
2008-28-0024.mrgcor1 | 2008-28-0024.thn1 | 1 | 200.054 | 200.01 | 0 | -0.044006 | 1.647 | 1.668 | 0 | 0.021
2008-28-0024.mrgcor1 | 2008-28-0024.thn1 | 2 | 175.042 | 175.505 | 0.71489 | 0.46349 | 1.837 | 1.8775 | 0.00070714 | 0.0405
2008-28-0024.mrgcor1 | 2008-28-0024.thn1 | 1 | 149.901 | 149.997 | 0 | 0.095993 | 2.113 | 2.238 | 0 | 0.125
2008-28-0024.mrgcor1 | 2008-28-0024.thn1 | 4 | 125.152 | 125.499 | 1.2913 | 0.347 | 2.567 | 2.62 | 0.042356 | 0.053
2008-28-0024.mrgcor1 | 2008-28-0024.thn1 | 2 | 100.082 | 101.001 | 1.4036 | 0.9185 | 3.258 | 3.389 | 0.055154 | 0.131
2008-28-0024.mrgcor1 | 2008-28-0024.thn1 | 2 | 74.972 | 74.002 | 1.4142 | -0.97 | 3.769 | 4.1715 | 0.050204 | 0.4025
2008-28-0024.mrgcor1 | 2008-28-0024.thn1 | 4 | 49.848 | 49.5028 | 1.2891 | -0.34525 | 5.354 | 5.3807 | 0.0132 | 0.02675
2008-28-0024.mrgcor1 | 2008-28-0024.thn1 | 3 | 30.031 | 30 | 0.993 | -0.031 | 4.731 | 4.563 | 0.040595 | -0.168
2008-28-0024.mrgcor1 | 2008-28-0024.thn1 | 3 | 20.247 | 20.0043 | 0.99802 | -0.24267 | 4.666 | 5.0223 | 0.073214 | 0.35633
2008-28-0024.mrgcor1 | 2008-28-0024.thn1 | 4 | 9.862 | 9.5032 | 1.2919 | -0.35875 | 5.052 | 6.4967 | 0.48431 | 1.4447
2008-28-0024.mrgcor1 | 2008-28-0024.thn1 | 3 | 2.836 | 3.385 | 0.53174 | 0.549 | 6.724 | 7.6607 | 0.011547 | 0.93667
2008-28-0025.mrgcor1 | 2008-28-0025.thn1 | 1 | 372.855 | 372.929 | 0 | 0.073975 | 1.412 | 1.266 | 0 | -0.146
2008-28-0025.mrgcor1 | 2008-28-0025.thn1 | 2 | 301.029 | 301.004 | 1.4071 | -0.024994 | 1.522 | 1.377 | 0.0014142 | -0.145
2008-28-0025.mrgcor1 | 2008-28-0025.thn1 | 2 | 250.307 | 251.004 | 1.4241 | 0.69699 | 1.569 | 1.4435 | 0.0035355 | -0.1255
2008-28-0025.mrgcor1 | 2008-28-0025.thn1 | 1 | 200.257 | 200.015 | 0 | -0.242 | 1.82 | 1.833 | 0 | 0.013
2008-28-0025.mrgcor1 | 2008-28-0025.thn1 | 2 | 175.037 | 175.495 | 0.72761 | 0.4585 | 2.122 | 1.997 | 0.0056568 | -0.125
2008-28-0025.mrgcor1 | 2008-28-0025.thn1 | 1 | 150.018 | 149.995 | 0 | -0.02301 | 2.365 | 2.352 | 0 | -0.013
2008-28-0025.mrgcor1 | 2008-28-0025.thn1 | 3 | 125.004 | 124.995 | 0.99051 | -0.008667 | 2.855 | 3.08 | 0.03005 | 0.225
2008-28-0025.mrgcor1 | 2008-28-0025.thn1 | 2 | 100.076 | 100.996 | 1.4156 | 0.92001 | 4.12 | 4.0395 | 0.061518 | -0.0805
2008-28-0025.mrgcor1 | 2008-28-0025.thn1 | 2 | 75.407 | 75.9965 | 1.4107 | 0.58951 | 4.743 | 4.6725 | 0.044548 | -0.0705
2008-28-0025.mrgcor1 | 2008-28-0025.thn1 | 4 | 49.995 | 50.496 | 1.2876 | 0.501 | 5.675 | 5.67 | 0.093982 | -0.0050001
2008-28-0025.mrgcor1 | 2008-28-0025.thn1 | 4 | 29.92 | 29.494 | 1.2936 | -0.426 | 5.766 | 5.8172 | 0.0068496 | 0.05125
2008-28-0025.mrgcor1 | 2008-28-0025.thn1 | 3 | 20.253 | 19.999 | 0.9915 | -0.254 | 5.62 | 5.8413 | 0.00057731 | 0.22133
2008-28-0025.mrgcor1 | 2008-28-0025.thn1 | 4 | 10.089 | 10.5 | 1.2931 | 0.411 | 6.01 | 6.023 | 0.064301 | 0.013
2008-28-0025.mrgcor1 | 2008-28-0025.thn1 | 3 | 2.897 | 3.5177 | 0.42031 | 0.62067 | 6.898 | 7.1347 | 0.12702 | 0.23667
2008-28-0026.mrgcor1 | 2008-28-0026.thn1 | 2 | 208.279 | 207.648 | 0.91429 | -0.63051 | 1.92 | 1.8 | 0.029698 | -0.12
2008-28-0026.mrgcor1 | 2008-28-0026.thn1 | 2 | 175.233 | 175.501 | 0.7163 | 0.26849 | 2.193 | 2.1935 | 0.0077781 | 0.00049996
2008-28-0026.mrgcor1 | 2008-28-0026.thn1 | 1 | 149.885 | 150.003 | 0 | 0.11801 | 2.563 | 2.828 | 0 | 0.265
2008-28-0026.mrgcor1 | 2008-28-0026.thn1 | 4 | 125.141 | 125.51 | 1.2866 | 0.369 | 4.297 | 4.1268 | 0.058948 | -0.17025
2008-28-0026.mrgcor1 | 2008-28-0026.thn1 | 2 | 100.202 | 100.993 | 1.4064 | 0.7915 | 4.931 | 5.0495 | 0.02192 | 0.1185
2008-28-0026.mrgcor1 | 2008-28-0026.thn1 | 2 | 75.104 | 76.001 | 1.3986 | 0.897 | 5.695 | 5.665 | 0.045255 | -0.03
2008-28-0026.mrgcor1 | 2008-28-0026.thn1 | 4 | 50.096 | 50.5035 | 1.2964 | 0.4075 | 6.166 | 6.1368 | 0.039229 | -0.02925
2008-28-0026.mrgcor1 | 2008-28-0026.thn1 | 3 | 30.248 | 29.9947 | 1.005 | -0.25333 | 6.008 | 6.151 | 0.006 | 0.143
2008-28-0026.mrgcor1 | 2008-28-0026.thn1 | 3 | 20.071 | 20.007 | 0.99602 | -0.063999 | 6.105 | 6.153 | 0.0020001 | 0.048
2008-28-0026.mrgcor1 | 2008-28-0026.thn1 | 4 | 10.13 | 10.497 | 1.2949 | 0.367 | 6.091 | 6.334 | 0.11819 | 0.243
2008-28-0026.mrgcor1 | 2008-28-0026.thn1 | 4 | 3.075 | 3.7757 | 0.93239 | 0.70075 | 8.259 | 8.1295 | 0.036556 | -0.1295
Create Fit Sheet