## File List
Number of Files= |  | 16
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2008-28-0006.mrgcor1 | 2008-28-0006.thn2 | 11 | 18 | 2008-28-0006.mrgcor1 & 2008-28-0006.thn2
2 | 2008-28-0007.mrgcor1 | 2008-28-0007.thn2 | 20 | 25 | 2008-28-0007.mrgcor1 & 2008-28-0007.thn2
3 | 2008-28-0008.mrgcor1 | 2008-28-0008.thn2 | 27 | 32 | 2008-28-0008.mrgcor1 & 2008-28-0008.thn2
4 | 2008-28-0009.mrgcor1 | 2008-28-0009.thn2 | 34 | 39 | 2008-28-0009.mrgcor1 & 2008-28-0009.thn2
5 | 2008-28-0010.mrgcor1 | 2008-28-0010.thn2 | 41 | 51 | 2008-28-0010.mrgcor1 & 2008-28-0010.thn2
6 | 2008-28-0011.mrgcor1 | 2008-28-0011.thn2 | 53 | 65 | 2008-28-0011.mrgcor1 & 2008-28-0011.thn2
7 | 2008-28-0012.mrgcor1 | 2008-28-0012.thn2 | 67 | 78 | 2008-28-0012.mrgcor1 & 2008-28-0012.thn2
8 | 2008-28-0013.mrgcor1 | 2008-28-0013.thn2 | 80 | 89 | 2008-28-0013.mrgcor1 & 2008-28-0013.thn2
9 | 2008-28-0014.mrgcor1 | 2008-28-0014.thn2 | 91 | 97 | 2008-28-0014.mrgcor1 & 2008-28-0014.thn2
10 | 2008-28-0015.mrgcor1 | 2008-28-0015.thn2 | 99 | 107 | 2008-28-0015.mrgcor1 & 2008-28-0015.thn2
11 | 2008-28-0016.mrgcor1 | 2008-28-0016.thn2 | 109 | 114 | 2008-28-0016.mrgcor1 & 2008-28-0016.thn2
12 | 2008-28-0022.mrgcor1 | 2008-28-0022.thn2 | 116 | 121 | 2008-28-0022.mrgcor1 & 2008-28-0022.thn2
13 | 2008-28-0023.mrgcor1 | 2008-28-0023.thn2 | 123 | 132 | 2008-28-0023.mrgcor1 & 2008-28-0023.thn2
14 | 2008-28-0024.mrgcor1 | 2008-28-0024.thn2 | 134 | 146 | 2008-28-0024.mrgcor1 & 2008-28-0024.thn2
15 | 2008-28-0025.mrgcor1 | 2008-28-0025.thn2 | 148 | 161 | 2008-28-0025.mrgcor1 & 2008-28-0025.thn2
16 | 2008-28-0026.mrgcor1 | 2008-28-0026.thn2 | 163 | 173 | 2008-28-0026.mrgcor1 & 2008-28-0026.thn2

## (DOX_CTD - DOX_BOT)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 5.6257e-06 |  | X | CALC Y
m= | -8.0305e-06 | 0.00030163 |  | Std Dev of Resid |  | 0.272 |  | 3.2607 | -0.00014591
b= | -0.00011973 | 0.035806 |  | Resid Sum of Squares |  | 9.3221 |  | 372.929 | -0.0031145
# of Values Extracted = |  |  | 148
# of Values Used in Fit = |  |  | 128
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 122.731 | 0.015 | 0 | -0.009 | -0.0011053 | 0.0078947 |  | 122.731 | -0.009
1 | YES | 98.998 | 0.119 | 0.019799 | -0.012 | -0.00091473 | 0.011085 |  | 98.998 | -0.012
1 | YES | 73.999 | 0.3225 | 0.024749 | 0.0295 | -0.00071398 | -0.030214 |  | 73.999 | 0.0295
1 | YES | 49.5007 | 1.1242 | 0.0073654 | 0.03625 | -0.00051724 | -0.036767 |  | 49.5007 | 0.03625
1 | YES | 29.4985 | 1.5542 | 0.10208 | 0.28325 | -0.00035662 | -0.28361 |  | 29.4985 | 0.28325
1 | YES | 20 | 2.2647 | 0.11055 | 0.46867 | -0.00028034 | -0.46895 |  | 20 | 0.46867
1 | NO | 9.5032 | 5.4082 | 0.83972 | 2.3952 | -0.00019604 | -2.3954 |  | 4.112 | 0.808
1 | YES | 4.112 | 9.274 | 0 | 0.808 | -0.00015275 | -0.80815 |  | 100.239 | -0.1955
2 | YES | 100.239 | 1.6495 | 0.010607 | -0.1955 | -0.0009247 | 0.19458 |  | 76.0005 | 0.095
2 | YES | 76.0005 | 2.831 | 0.13011 | 0.095 | -0.00073005 | -0.09573 |  | 49.5025 | 0.20975
2 | YES | 49.5025 | 4.4117 | 0.018062 | 0.20975 | -0.00051726 | -0.21027 |  | 29.506 | 0.03925
2 | YES | 29.506 | 3.3933 | 0.053238 | 0.03925 | -0.00035668 | -0.039607 |  | 19.998 | 0.23033
2 | YES | 19.998 | 3.9853 | 0.11301 | 0.23033 | -0.00028032 | -0.23061 |  | 62.987 | -0.176
2 | NO | 9.4962 | 5.9495 | 0.47659 | 1.6005 | -0.00019599 | -1.6007 |  | 49.5028 | -0.098
3 | YES | 62.987 | 5.817 | 0 | -0.176 | -0.00062555 | 0.17537 |  | 29.4963 | 0.041
3 | YES | 49.5028 | 5.852 | 0.0091286 | -0.098 | -0.00051726 | 0.097483 |  | 20.0003 | -0.139
3 | YES | 29.4963 | 6.37 | 0.013291 | 0.041 | -0.0003566 | -0.041356 |  | 9.5005 | 0.44075
3 | YES | 20.0003 | 6.465 | 0.0060826 | -0.139 | -0.00028034 | 0.13872 |  | 3.3847 | 0.021333
3 | YES | 9.5005 | 7.0687 | 0.25372 | 0.44075 | -0.00019602 | -0.44095 |  | 82.315 | -0.193
3 | YES | 3.3847 | 7.7263 | 0.028868 | 0.021333 | -0.00014691 | -0.02148 |  | 49.5035 | -0.12675
4 | YES | 82.315 | 6.346 | 0 | -0.193 | -0.00078076 | 0.19222 |  | 29.4963 | -0.15225
4 | YES | 49.5035 | 6.4023 | 0.0025 | -0.12675 | -0.00051727 | 0.12623 |  | 19.9963 | -0.15433
4 | YES | 29.4963 | 6.4778 | 0.007974 | -0.15225 | -0.0003566 | 0.15189 |  | 9.5005 | -0.183
4 | YES | 19.9963 | 6.5147 | 0.0015274 | -0.15433 | -0.00028031 | 0.15405 |  | 3.8013 | -0.158
4 | YES | 9.5005 | 6.494 | 0.014353 | -0.183 | -0.00019602 | 0.1828 |  | 220.262 | -0.0225
4 | YES | 3.8013 | 6.42 | 0.01734 | -0.158 | -0.00015025 | 0.15785 |  | 175.497 | 0.011
5 | YES | 220.262 | 6.1615 | 0.0021215 | -0.0225 | -0.0018885 | 0.020611 |  | 150.005 | 0.0030003
5 | NO | 199.995 | 6.144 | 0 | -0.214 | -0.0017258 | 0.21227 |  | 124.501 | -0.01975
5 | YES | 175.497 | 6.09 | 0.0042427 | 0.011 | -0.0015291 | -0.012529 |  | 98.9975 | -0.0945
5 | YES | 150.005 | 5.94 | 0 | 0.0030003 | -0.0013243 | -0.0043246 |  | 49.5018 | -0.119
5 | YES | 124.501 | 6.0892 | 0.014104 | -0.01975 | -0.0011195 | 0.018631 |  | 29.5007 | -0.17275
5 | YES | 98.9975 | 6.1605 | 0.012021 | -0.0945 | -0.00091473 | 0.093585 |  | 19.9983 | -0.19267
5 | YES | 49.5018 | 6.367 | 0.0062716 | -0.119 | -0.00051725 | 0.11848 |  | 9.5 | -0.28075
5 | YES | 29.5007 | 6.4662 | 0.0047872 | -0.17275 | -0.00035663 | 0.17239 |  | 3.7323 | -1.0167
5 | YES | 19.9983 | 6.4643 | 0.0020818 | -0.19267 | -0.00028032 | 0.19239 |  | 278.518 | -0.109
5 | YES | 9.5 | 5.8623 | 0.21167 | -0.28075 | -0.00019602 | 0.28055 |  | 251.002 | 0.0705
5 | YES | 3.7323 | 5.7323 | 0.0063509 | -1.0167 | -0.0001497 | 1.0165 |  | 199.999 | 0.056
6 | YES | 278.518 | 2.288 | 0 | -0.109 | -0.0023564 | 0.10664 |  | 175.501 | 0.057
6 | YES | 251.002 | 2.3865 | 0.0035354 | 0.0705 | -0.0021354 | -0.072635 |  | 149.995 | 0.114
6 | YES | 199.999 | 2.595 | 0 | 0.056 | -0.0017258 | -0.057726 |  | 124.498 | 0.33425
6 | YES | 175.501 | 2.963 | 0.012728 | 0.057 | -0.0015291 | -0.058529 |  | 98.9995 | -0.0195
6 | YES | 149.995 | 3.378 | 0 | 0.114 | -0.0013243 | -0.11532 |  | 73.998 | -0.0625
6 | YES | 124.498 | 4.2462 | 0.070905 | 0.33425 | -0.0011195 | -0.33537 |  | 49.4985 | -0.0235
6 | YES | 98.9995 | 4.8715 | 0.010607 | -0.0195 | -0.00091474 | 0.018585 |  | 29.9993 | -0.053
6 | YES | 73.998 | 5.0215 | 0.0049497 | -0.0625 | -0.00071397 | 0.061786 |  | 20.0047 | -0.19967
6 | YES | 49.4985 | 5.1875 | 0.024118 | -0.0235 | -0.00051723 | 0.022983 |  | 3.8443 | -0.10133
6 | YES | 29.9993 | 5.731 | 0.0065574 | -0.053 | -0.00036064 | 0.052639 |  | 274.696 | 0.027
6 | YES | 20.0047 | 5.7683 | 0.014189 | -0.19967 | -0.00028038 | 0.19939 |  | 251.004 | -0.003
6 | NO | 9.4942 | 5.973 | 0.3487 | 0.435 | -0.00019597 | -0.4352 |  | 199.997 | -0.144
6 | YES | 3.8443 | 7.5797 | 0.024826 | -0.10133 | -0.0001506 | 0.10118 |  | 175.491 | -0.056
7 | YES | 274.696 | 2.258 | 0 | 0.027 | -0.0023257 | -0.029326 |  | 149.995 | -0.055
7 | YES | 251.004 | 2.286 | 0.0014141 | -0.003 | -0.0021354 | 0.0008646 |  | 125.498 | -0.0435
7 | YES | 199.997 | 2.407 | 0 | -0.144 | -0.0017258 | 0.14227 |  | 99.005 | -0.012
7 | YES | 175.491 | 2.373 | 0.0014143 | -0.056 | -0.001529 | 0.054471 |  | 76.005 | -0.109
7 | YES | 149.995 | 2.439 | 0 | -0.055 | -0.0013243 | 0.053676 |  | 50.5013 | 0.15175
7 | YES | 125.498 | 2.4765 | 0.010083 | -0.0435 | -0.0011275 | 0.042372 |  | 30.0037 | 0.35367
7 | YES | 99.005 | 2.822 | 0.0084853 | -0.012 | -0.00091479 | 0.011085 |  | 19.999 | 0.28467
7 | YES | 76.005 | 2.865 | 0.014142 | -0.109 | -0.00073009 | 0.10827 |  | 147.978 | -0.1475
7 | YES | 50.5013 | 2.9718 | 0.063163 | 0.15175 | -0.00052528 | -0.15228 |  | 147.978 | -0.0685
7 | YES | 30.0037 | 4.4397 | 0.037554 | 0.35367 | -0.00036067 | -0.35403 |  | 125.489 | 0.01
7 | YES | 19.999 | 5.3217 | 0.059366 | 0.28467 | -0.00028033 | -0.28495 |  | 98.998 | 0.0635
7 | NO | 9.4983 | 6.3275 | 0.58705 | 0.8625 | -0.000196 | -0.8627 |  | 49.5005 | -0.09525
8 | YES | 147.978 | 0.5905 | 0.062933 | -0.1475 | -0.0013081 | 0.14619 |  | 29.5007 | -0.09
8 | YES | 147.978 | 0.5905 | 0.062933 | -0.0685 | -0.0013081 | 0.067192 |  | 20.0003 | -0.024667
8 | YES | 125.489 | 0.844 | 0.0021602 | 0.01 | -0.0011275 | -0.011127 |  | 105.684 | -0.167
8 | YES | 98.998 | 0.9425 | 0.010607 | 0.0635 | -0.00091473 | -0.064415 |  | 100.999 | 0.0065
8 | NO | 73.9995 | 3.493 | 0.39457 | 1.739 | -0.00071398 | -1.7397 |  | 49.995 | 0.030667
8 | YES | 49.5005 | 4.2668 | 0.010532 | -0.09525 | -0.00051724 | 0.094732 |  | 30.0023 | -0.17633
8 | YES | 29.5007 | 4.059 | 0.0029439 | -0.09 | -0.00035663 | 0.089644 |  | 19.9973 | -0.07
8 | YES | 20.0003 | 3.9433 | 0.014503 | -0.024667 | -0.00028034 | 0.024386 |  | 4.6967 | -0.31467
8 | NO | 9.4965 | 5.7935 | 0.5931 | 1.4355 | -0.00019599 | -1.4357 |  | 129.956 | 0.013
8 | NO | 4.162 | 9.8607 | 0.39917 | 0.52375 | -0.00015315 | -0.5239 |  | 125.499 | 0.016
9 | YES | 105.684 | 0.57 | 0 | -0.167 | -0.00096842 | 0.16603 |  | 99.0085 | 0.0215
9 | YES | 100.999 | 0.6085 | 0.020506 | 0.0065 | -0.0009308 | -0.0074308 |  | 75.999 | 0.037
9 | NO | 73.996 | 1.6875 | 0.30335 | 0.8115 | -0.00071395 | -0.81221 |  | 50.4945 | 0.11175
9 | YES | 49.995 | 3.8777 | 0.0030551 | 0.030667 | -0.00052121 | -0.031188 |  | 19.9973 | -0.054
9 | YES | 30.0023 | 3.6607 | 0.021385 | -0.17633 | -0.00036066 | 0.17597 |  | 9.4985 | 0.277
9 | YES | 19.9973 | 3.496 | 0.054991 | -0.07 | -0.00028032 | 0.06972 |  | 69.716 | -0.029
9 | YES | 4.6967 | 8.7693 | 0.29041 | -0.31467 | -0.00015744 | 0.31451 |  | 29.9967 | 0.205
10 | YES | 129.956 | 0.013 | 0 | 0.013 | -0.0011633 | -0.014163 |  | 19.9963 | -0.013333
10 | YES | 125.499 | 0.016 | 0.001633 | 0.016 | -0.0011275 | -0.017128 |  | 3.9388 | -1.64
10 | YES | 99.0085 | 0.0215 | 0.00070711 | 0.0215 | -0.00091482 | -0.022415 |  | 60.8315 | 0.0185
10 | YES | 75.999 | 0.037 | 0.0042426 | 0.037 | -0.00073004 | -0.03773 |  | 49.4985 | -0.106
10 | YES | 50.4945 | 0.16075 | 0.022692 | 0.11175 | -0.00052522 | -0.11228 |  | 30.0003 | 0.64767
10 | NO | 29.4965 | 2.6458 | 0.014886 | 0.63675 | -0.0003566 | -0.63711 |  | 20.0017 | 0.74533
10 | YES | 19.9973 | 2.703 | 0.025 | -0.054 | -0.00028032 | 0.05372 |  | 3.2607 | -0.556
10 | YES | 9.4985 | 2.862 | 0.17681 | 0.277 | -0.00019601 | -0.2772 |  | 184.692 | 0.048
10 | NO | 4.569 | 4.719 | 0 | -3.379 | -0.00015642 | 3.3788 |  | 150 | 0.055
11 | YES | 69.716 | -0.017 | 0 | -0.029 | -0.00067958 | 0.02832 |  | 125.494 | 0.076
11 | NO | 50.5035 | 0.06775 | 0.011673 | -0.15625 | -0.0005253 | 0.15572 |  | 74.005 | 0.2615
11 | YES | 29.9967 | 2.204 | 0.0086603 | 0.205 | -0.00036062 | -0.20536 |  | 50.4982 | -0.19925
11 | YES | 19.9963 | 2.2937 | 0.01601 | -0.013333 | -0.00028031 | 0.013053 |  | 30.0017 | 0.013667
11 | NO | 9.495 | 3.1265 | 0.33743 | 0.7965 | -0.00019598 | -0.7967 |  | 19.997 | 0.32167
11 | YES | 3.9388 | 6.394 | 0.11982 | -1.64 | -0.00015136 | 1.6398 |  | 3.853 | 0.68433
12 | YES | 60.8315 | 2.9455 | 0.020506 | 0.0185 | -0.00060824 | -0.019108 |  | 319.963 | -0.0255
12 | YES | 49.4985 | 2.794 | 0.017185 | -0.106 | -0.00051723 | 0.10548 |  | 250.989 | 0.038
12 | YES | 30.0003 | 3.4027 | 0.023459 | 0.64767 | -0.00036065 | -0.64803 |  | 200.01 | 0.027
12 | YES | 20.0017 | 4.2973 | 0.157 | 0.74533 | -0.00028035 | -0.74561 |  | 175.505 | 0.025
12 | NO | 9.502 | 10.7467 | 0.18485 | 4.6517 | -0.00019603 | -4.6519 |  | 149.997 | 0.086
12 | YES | 3.2607 | 10.528 | 0.19172 | -0.556 | -0.00014591 | 0.55585 |  | 125.499 | -0.0074999
13 | YES | 184.692 | 0.048 | 0 | 0.048 | -0.0016029 | -0.049603 |  | 101.001 | 0.048
13 | YES | 150 | 0.055 | 0 | 0.055 | -0.0013243 | -0.056324 |  | 74.002 | 0.2955
13 | YES | 125.494 | 0.076 | 0.001633 | 0.076 | -0.0011275 | -0.077128 |  | 49.5028 | -0.10275
13 | NO | 100.999 | 0.1915 | 0.02192 | 0.0915 | -0.0009308 | -0.092431 |  | 20.0043 | 0.20033
13 | YES | 74.005 | 3.7515 | 0.092631 | 0.2615 | -0.00071403 | -0.26221 |  | 3.385 | 0.766
13 | YES | 50.4982 | 3.8948 | 0.041274 | -0.19925 | -0.00052525 | 0.19872 |  | 372.929 | 0.016
13 | YES | 30.0017 | 3.6457 | 0.023502 | 0.013667 | -0.00036066 | -0.014027 |  | 301.004 | -0.048
13 | YES | 19.997 | 4.2737 | 0.10901 | 0.32167 | -0.00028031 | -0.32195 |  | 251.004 | -0.0735
13 | NO | 9.5002 | 6.2355 | 0.9897 | 1.8775 | -0.00019602 | -1.8777 |  | 200.015 | 0.019
13 | YES | 3.853 | 11.4113 | 0.052539 | 0.68433 | -0.00015067 | -0.68448 |  | 175.495 | -0.1405
14 | YES | 319.963 | 1.3815 | 0.00070706 | -0.0255 | -0.0026892 | 0.022811 |  | 149.995 | -0.052
14 | YES | 250.989 | 1.356 | 0.0014142 | 0.038 | -0.0021353 | -0.040135 |  | 124.995 | 0.164
14 | YES | 200.01 | 1.674 | 0 | 0.027 | -0.0017259 | -0.028726 |  | 75.9965 | -0.176
14 | YES | 175.505 | 1.862 | 0.0014143 | 0.025 | -0.0015291 | -0.026529 |  | 50.496 | -0.1335
14 | YES | 149.997 | 2.199 | 0 | 0.086 | -0.0013243 | -0.087324 |  | 29.494 | -0.09625
14 | YES | 125.499 | 2.5595 | 0.041089 | -0.0074999 | -0.0011275 | 0.0063724 |  | 19.999 | 0.065333
14 | YES | 101.001 | 3.306 | 0.05374 | 0.048 | -0.00093082 | -0.048931 |  | 10.5 | -0.1515
14 | YES | 74.002 | 4.0645 | 0.04879 | 0.2955 | -0.000714 | -0.29621 |  | 3.5177 | 0.066001
14 | YES | 49.5028 | 5.2512 | 0.012038 | -0.10275 | -0.00051726 | 0.10223 |  | 207.648 | -0.1065
14 | NO | 30 | 4.416 | 0.039611 | -0.315 | -0.00036064 | 0.31464 |  | 175.501 | -0.015
14 | YES | 20.0043 | 4.8663 | 0.072231 | 0.20033 | -0.00028037 | -0.20061 |  | 150.003 | 0.226
14 | NO | 9.5032 | 6.3312 | 0.48302 | 1.2792 | -0.00019604 | -1.2794 |  | 100.993 | 0.0355
14 | YES | 3.385 | 7.49 | 0.012125 | 0.766 | -0.00014691 | -0.76615 |  | 76.001 | -0.1355
15 | YES | 372.929 | 1.428 | 0 | 0.016 | -0.0031145 | -0.019115 |  | 50.5035 | -0.15775
15 | YES | 301.004 | 1.474 | 0 | -0.048 | -0.0025369 | 0.045463 |  | 29.9947 | -0.0039997
15 | YES | 251.004 | 1.4955 | 0.0021213 | -0.0735 | -0.0021354 | 0.071365 |  | 20.007 | -0.108
15 | YES | 200.015 | 1.839 | 0 | 0.019 | -0.0017259 | -0.020726 |  | 10.497 | 0.0785
15 | YES | 175.495 | 1.9815 | 0.0049497 | -0.1405 | -0.001529 | 0.13897 |  | 3.7757 | -0.29975 | -0.00082619
15 | YES | 149.995 | 2.313 | 0 | -0.052 | -0.0013243 | 0.050676
15 | YES | 124.995 | 3.019 | 0.029052 | 0.164 | -0.0011235 | -0.16512
15 | NO | 100.996 | 3.9565 | 0.060104 | -0.1635 | -0.00093078 | 0.16257
15 | YES | 75.9965 | 4.567 | 0.043841 | -0.176 | -0.00073002 | 0.17527
15 | YES | 50.496 | 5.5415 | 0.092709 | -0.1335 | -0.00052524 | 0.13297
15 | YES | 29.494 | 5.6697 | 0.0058524 | -0.09625 | -0.00035658 | 0.095894
15 | YES | 19.999 | 5.6853 | 0.00057731 | 0.065333 | -0.00028033 | -0.065614
15 | YES | 10.5 | 5.8585 | 0.063016 | -0.1515 | -0.00020405 | 0.1513
15 | YES | 3.5177 | 6.964 | 0.12644 | 0.066001 | -0.00014798 | -0.066148
16 | YES | 207.648 | 1.8135 | 0.028991 | -0.1065 | -0.0017872 | 0.10471
16 | YES | 175.501 | 2.178 | 0.0070711 | -0.015 | -0.0015291 | 0.013471
16 | YES | 150.003 | 2.789 | 0 | 0.226 | -0.0013243 | -0.22732
16 | NO | 125.51 | 4.0663 | 0.057662 | -0.23075 | -0.0011276 | 0.22962
16 | YES | 100.993 | 4.9665 | 0.020506 | 0.0355 | -0.00093075 | -0.036431
16 | YES | 76.001 | 5.5595 | 0.044548 | -0.1355 | -0.00073005 | 0.13477
16 | YES | 50.5035 | 6.0083 | 0.03796 | -0.15775 | -0.0005253 | 0.15722
16 | YES | 29.9947 | 6.004 | 0.0049999 | -0.0039997 | -0.0003606 | 0.0036391
16 | YES | 20.007 | 5.997 | 0.0017322 | -0.108 | -0.00028039 | 0.10772
16 | YES | 10.497 | 6.1695 | 0.11695 | 0.0785 | -0.00020402 | -0.078704
16 | YES | 3.7757 | 7.9592 | 0.03564 | -0.29975 | -0.00015005 | 0.2996
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
NO
YES
YES
YES
NO
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
YES
NO
YES
YES
NO
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (2)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0061634 |  | X | CALC Y
m= | -0.0087084 | 0.0098515 |  | Std Dev of Resid |  | 0.27116 |  | -0.017 | 0.03281
b= | 0.032662 | 0.044829 |  | Resid Sum of Squares |  | 9.2647 |  | 11.4113 | -0.066712
# of Values Extracted = |  |  | 148
# of Values Used in Fit = |  |  | 128
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 122.731 | 0.015 | 0 | -0.009 | 0.032532 | 0.041532 |  | 0.015 | -0.009
1 | YES | 98.998 | 0.119 | 0.019799 | -0.012 | 0.031626 | 0.043626 |  | 0.119 | -0.012
1 | YES | 73.999 | 0.3225 | 0.024749 | 0.0295 | 0.029854 | 0.00035393 |  | 0.3225 | 0.0295
1 | YES | 49.5007 | 1.1242 | 0.0073654 | 0.03625 | 0.022872 | -0.013378 |  | 1.1242 | 0.03625
1 | YES | 29.4985 | 1.5542 | 0.10208 | 0.28325 | 0.019127 | -0.26412 |  | 1.5542 | 0.28325
1 | YES | 20 | 2.2647 | 0.11055 | 0.46867 | 0.012941 | -0.45573 |  | 2.2647 | 0.46867
1 | NO | 9.5032 | 5.4082 | 0.83972 | 2.3952 | -0.014435 | -2.4097 |  | 9.274 | 0.808
1 | YES | 4.112 | 9.274 | 0 | 0.808 | -0.0481 | -0.8561 |  | 1.6495 | -0.1955
2 | YES | 100.239 | 1.6495 | 0.010607 | -0.1955 | 0.018298 | 0.2138 |  | 2.831 | 0.095
2 | YES | 76.0005 | 2.831 | 0.13011 | 0.095 | 0.0080088 | -0.086991 |  | 4.4117 | 0.20975
2 | YES | 49.5025 | 4.4117 | 0.018062 | 0.20975 | -0.0057571 | -0.21551 |  | 3.3933 | 0.03925
2 | YES | 29.506 | 3.3933 | 0.053238 | 0.03925 | 0.0031125 | -0.036137 |  | 3.9853 | 0.23033
2 | YES | 19.998 | 3.9853 | 0.11301 | 0.23033 | -0.0020436 | -0.23238 |  | 5.817 | -0.176
2 | NO | 9.4962 | 5.9495 | 0.47659 | 1.6005 | -0.019148 | -1.6196 |  | 5.852 | -0.098
3 | YES | 62.987 | 5.817 | 0 | -0.176 | -0.017995 | 0.15801 |  | 6.37 | 0.041
3 | YES | 49.5028 | 5.852 | 0.0091286 | -0.098 | -0.018299 | 0.079701 |  | 6.465 | -0.139
3 | YES | 29.4963 | 6.37 | 0.013291 | 0.041 | -0.02281 | -0.06381 |  | 7.0687 | 0.44075
3 | YES | 20.0003 | 6.465 | 0.0060826 | -0.139 | -0.023638 | 0.11536 |  | 7.7263 | 0.021333
3 | YES | 9.5005 | 7.0687 | 0.25372 | 0.44075 | -0.028895 | -0.46965 |  | 6.346 | -0.193
3 | YES | 3.3847 | 7.7263 | 0.028868 | 0.021333 | -0.034622 | -0.055955 |  | 6.4023 | -0.12675
4 | YES | 82.315 | 6.346 | 0 | -0.193 | -0.022601 | 0.1704 |  | 6.4778 | -0.15225
4 | YES | 49.5035 | 6.4023 | 0.0025 | -0.12675 | -0.023091 | 0.10366 |  | 6.5147 | -0.15433
4 | YES | 29.4963 | 6.4778 | 0.007974 | -0.15225 | -0.023749 | 0.1285 |  | 6.494 | -0.183
4 | YES | 19.9963 | 6.5147 | 0.0015274 | -0.15433 | -0.02407 | 0.13026 |  | 6.42 | -0.158
4 | YES | 9.5005 | 6.494 | 0.014353 | -0.183 | -0.02389 | 0.15911 |  | 6.1615 | -0.0225
4 | YES | 3.8013 | 6.42 | 0.01734 | -0.158 | -0.023246 | 0.13475 |  | 6.09 | 0.011
5 | YES | 220.262 | 6.1615 | 0.0021215 | -0.0225 | -0.020995 | 0.0015054 |  | 5.94 | 0.0030003
5 | NO | 199.995 | 6.144 | 0 | -0.214 | -0.020842 | 0.19316 |  | 6.0892 | -0.01975
5 | YES | 175.497 | 6.09 | 0.0042427 | 0.011 | -0.020372 | -0.031372 |  | 6.1605 | -0.0945
5 | YES | 150.005 | 5.94 | 0 | 0.0030003 | -0.019066 | -0.022066 |  | 6.367 | -0.119
5 | YES | 124.501 | 6.0892 | 0.014104 | -0.01975 | -0.020365 | -0.00061536 |  | 6.4662 | -0.17275
5 | YES | 98.9975 | 6.1605 | 0.012021 | -0.0945 | -0.020986 | 0.073514 |  | 6.4643 | -0.19267
5 | YES | 49.5018 | 6.367 | 0.0062716 | -0.119 | -0.022784 | 0.096216 |  | 5.8623 | -0.28075
5 | YES | 29.5007 | 6.4662 | 0.0047872 | -0.17275 | -0.023649 | 0.1491 |  | 5.7323 | -1.0167
5 | YES | 19.9983 | 6.4643 | 0.0020818 | -0.19267 | -0.023632 | 0.16904 |  | 2.288 | -0.109
5 | YES | 9.5 | 5.8623 | 0.21167 | -0.28075 | -0.018389 | 0.26236 |  | 2.3865 | 0.0705
5 | YES | 3.7323 | 5.7323 | 0.0063509 | -1.0167 | -0.017257 | 0.99941 |  | 2.595 | 0.056
6 | YES | 278.518 | 2.288 | 0 | -0.109 | 0.012737 | 0.12174 |  | 2.963 | 0.057
6 | YES | 251.002 | 2.3865 | 0.0035354 | 0.0705 | 0.01188 | -0.05862 |  | 3.378 | 0.114
6 | YES | 199.999 | 2.595 | 0 | 0.056 | 0.010064 | -0.045936 |  | 4.2462 | 0.33425
6 | YES | 175.501 | 2.963 | 0.012728 | 0.057 | 0.0068593 | -0.050141 |  | 4.8715 | -0.0195
6 | YES | 149.995 | 3.378 | 0 | 0.114 | 0.0032453 | -0.11075 |  | 5.0215 | -0.0625
6 | YES | 124.498 | 4.2462 | 0.070905 | 0.33425 | -0.0043158 | -0.33857 |  | 5.1875 | -0.0235
6 | YES | 98.9995 | 4.8715 | 0.010607 | -0.0195 | -0.0097608 | 0.009739 |  | 5.731 | -0.053
6 | YES | 73.998 | 5.0215 | 0.0049497 | -0.0625 | -0.011067 | 0.051433 |  | 5.7683 | -0.19967
6 | YES | 49.4985 | 5.1875 | 0.024118 | -0.0235 | -0.012513 | 0.010987 |  | 7.5797 | -0.10133
6 | YES | 29.9993 | 5.731 | 0.0065574 | -0.053 | -0.017246 | 0.035754 |  | 2.258 | 0.027
6 | YES | 20.0047 | 5.7683 | 0.014189 | -0.19967 | -0.017571 | 0.1821 |  | 2.286 | -0.003
6 | NO | 9.4942 | 5.973 | 0.3487 | 0.435 | -0.019353 | -0.45435 |  | 2.407 | -0.144
6 | YES | 3.8443 | 7.5797 | 0.024826 | -0.10133 | -0.033345 | 0.067989 |  | 2.373 | -0.056
7 | YES | 274.696 | 2.258 | 0 | 0.027 | 0.012999 | -0.014001 |  | 2.439 | -0.055
7 | YES | 251.004 | 2.286 | 0.0014141 | -0.003 | 0.012755 | 0.015755 |  | 2.4765 | -0.0435
7 | YES | 199.997 | 2.407 | 0 | -0.144 | 0.011701 | 0.1557 |  | 2.822 | -0.012
7 | YES | 175.491 | 2.373 | 0.0014143 | -0.056 | 0.011997 | 0.067997 |  | 2.865 | -0.109
7 | YES | 149.995 | 2.439 | 0 | -0.055 | 0.011423 | 0.066423 |  | 2.9718 | 0.15175
7 | YES | 125.498 | 2.4765 | 0.010083 | -0.0435 | 0.011096 | 0.054596 |  | 4.4397 | 0.35367
7 | YES | 99.005 | 2.822 | 0.0084853 | -0.012 | 0.0080872 | 0.020087 |  | 5.3217 | 0.28467
7 | YES | 76.005 | 2.865 | 0.014142 | -0.109 | 0.0077127 | 0.11671 |  | 0.5905 | -0.1475
7 | YES | 50.5013 | 2.9718 | 0.063163 | 0.15175 | 0.0067831 | -0.14497 |  | 0.5905 | -0.0685
7 | YES | 30.0037 | 4.4397 | 0.037554 | 0.35367 | -0.0060002 | -0.35967 |  | 0.844 | 0.01
7 | YES | 19.999 | 5.3217 | 0.059366 | 0.28467 | -0.013681 | -0.29835 |  | 0.9425 | 0.0635
7 | NO | 9.4983 | 6.3275 | 0.58705 | 0.8625 | -0.02244 | -0.88494 |  | 4.2668 | -0.09525
8 | YES | 147.978 | 0.5905 | 0.062933 | -0.1475 | 0.02752 | 0.17502 |  | 4.059 | -0.09
8 | YES | 147.978 | 0.5905 | 0.062933 | -0.0685 | 0.02752 | 0.09602 |  | 3.9433 | -0.024667
8 | YES | 125.489 | 0.844 | 0.0021602 | 0.01 | 0.025312 | 0.015312 |  | 0.57 | -0.167
8 | YES | 98.998 | 0.9425 | 0.010607 | 0.0635 | 0.024455 | -0.039045 |  | 0.6085 | 0.0065
8 | NO | 73.9995 | 3.493 | 0.39457 | 1.739 | 0.0022438 | -1.7368 |  | 3.8777 | 0.030667
8 | YES | 49.5005 | 4.2668 | 0.010532 | -0.09525 | -0.0044943 | 0.090755 |  | 3.6607 | -0.17633
8 | YES | 29.5007 | 4.059 | 0.0029439 | -0.09 | -0.0026852 | 0.087315 |  | 3.496 | -0.07
8 | YES | 20.0003 | 3.9433 | 0.014503 | -0.024667 | -0.0016778 | 0.022989 |  | 8.7693 | -0.31467
8 | NO | 9.4965 | 5.7935 | 0.5931 | 1.4355 | -0.01779 | -1.4533 |  | 0.013 | 0.013
8 | NO | 4.162 | 9.8607 | 0.39917 | 0.52375 | -0.053209 | -0.57696 |  | 0.016 | 0.016
9 | YES | 105.684 | 0.57 | 0 | -0.167 | 0.027699 | 0.1947 |  | 0.0215 | 0.0215
9 | YES | 100.999 | 0.6085 | 0.020506 | 0.0065 | 0.027363 | 0.020863 |  | 0.037 | 0.037
9 | NO | 73.996 | 1.6875 | 0.30335 | 0.8115 | 0.017967 | -0.79353 |  | 0.16075 | 0.11175
9 | YES | 49.995 | 3.8777 | 0.0030551 | 0.030667 | -0.001106 | -0.031773 |  | 2.703 | -0.054
9 | YES | 30.0023 | 3.6607 | 0.021385 | -0.17633 | 0.00078368 | 0.17712 |  | 2.862 | 0.277
9 | YES | 19.9973 | 3.496 | 0.054991 | -0.07 | 0.0022177 | 0.072218 |  | -0.017 | -0.029
9 | YES | 4.6967 | 8.7693 | 0.29041 | -0.31467 | -0.043705 | 0.27096 |  | 2.204 | 0.205
10 | YES | 129.956 | 0.013 | 0 | 0.013 | 0.032549 | 0.019549 |  | 2.2937 | -0.013333
10 | YES | 125.499 | 0.016 | 0.001633 | 0.016 | 0.032523 | 0.016523 |  | 6.394 | -1.64
10 | YES | 99.0085 | 0.0215 | 0.00070711 | 0.0215 | 0.032475 | 0.010975 |  | 2.9455 | 0.0185
10 | YES | 75.999 | 0.037 | 0.0042426 | 0.037 | 0.03234 | -0.0046598 |  | 2.794 | -0.106
10 | YES | 50.4945 | 0.16075 | 0.022692 | 0.11175 | 0.031263 | -0.080487 |  | 3.4027 | 0.64767
10 | NO | 29.4965 | 2.6458 | 0.014886 | 0.63675 | 0.009622 | -0.62713 |  | 4.2973 | 0.74533
10 | YES | 19.9973 | 2.703 | 0.025 | -0.054 | 0.0091235 | 0.063123 |  | 10.528 | -0.556
10 | YES | 9.4985 | 2.862 | 0.17681 | 0.277 | 0.0077389 | -0.26926 |  | 0.048 | 0.048
10 | NO | 4.569 | 4.719 | 0 | -3.379 | -0.0084327 | 3.3706 |  | 0.055 | 0.055
11 | YES | 69.716 | -0.017 | 0 | -0.029 | 0.03281 | 0.06181 |  | 0.076 | 0.076
11 | NO | 50.5035 | 0.06775 | 0.011673 | -0.15625 | 0.032072 | 0.18832 |  | 3.7515 | 0.2615
11 | YES | 29.9967 | 2.204 | 0.0086603 | 0.205 | 0.013469 | -0.19153 |  | 3.8948 | -0.19925
11 | YES | 19.9963 | 2.2937 | 0.01601 | -0.013333 | 0.012688 | 0.026021 |  | 3.6457 | 0.013667
11 | NO | 9.495 | 3.1265 | 0.33743 | 0.7965 | 0.0054355 | -0.79106 |  | 4.2737 | 0.32167
11 | YES | 3.9388 | 6.394 | 0.11982 | -1.64 | -0.023019 | 1.617 |  | 11.4113 | 0.68433
12 | YES | 60.8315 | 2.9455 | 0.020506 | 0.0185 | 0.0070117 | -0.011488 |  | 1.3815 | -0.0255
12 | YES | 49.4985 | 2.794 | 0.017185 | -0.106 | 0.008331 | 0.11433 |  | 1.356 | 0.038
12 | YES | 30.0003 | 3.4027 | 0.023459 | 0.64767 | 0.0030305 | -0.64464 |  | 1.674 | 0.027
12 | YES | 20.0017 | 4.2973 | 0.157 | 0.74533 | -0.0047606 | -0.75009 |  | 1.862 | 0.025
12 | NO | 9.502 | 10.7467 | 0.18485 | 4.6517 | -0.060925 | -4.7127 |  | 2.199 | 0.086
12 | YES | 3.2607 | 10.528 | 0.19172 | -0.556 | -0.05902 | 0.49698 |  | 2.5595 | -0.0074999
13 | YES | 184.692 | 0.048 | 0 | 0.048 | 0.032244 | -0.015756 |  | 3.306 | 0.048
13 | YES | 150 | 0.055 | 0 | 0.055 | 0.032183 | -0.022817 |  | 4.0645 | 0.2955
13 | YES | 125.494 | 0.076 | 0.001633 | 0.076 | 0.032001 | -0.043999 |  | 5.2512 | -0.10275
13 | NO | 100.999 | 0.1915 | 0.02192 | 0.0915 | 0.030995 | -0.060505 |  | 4.8663 | 0.20033
13 | YES | 74.005 | 3.7515 | 0.092631 | 0.2615 | -7.3056e-06 | -0.26151 |  | 7.49 | 0.766
13 | YES | 50.4982 | 3.8948 | 0.041274 | -0.19925 | -0.0012548 | 0.198 |  | 1.428 | 0.016
13 | YES | 30.0017 | 3.6457 | 0.023502 | 0.013667 | 0.00091431 | -0.012752 |  | 1.474 | -0.048
13 | YES | 19.997 | 4.2737 | 0.10901 | 0.32167 | -0.0045546 | -0.32622 |  | 1.4955 | -0.0735
13 | NO | 9.5002 | 6.2355 | 0.9897 | 1.8775 | -0.021639 | -1.8991 |  | 1.839 | 0.019
13 | YES | 3.853 | 11.4113 | 0.052539 | 0.68433 | -0.066712 | -0.75105 |  | 1.9815 | -0.1405
14 | YES | 319.963 | 1.3815 | 0.00070706 | -0.0255 | 0.020632 | 0.046132 |  | 2.313 | -0.052
14 | YES | 250.989 | 1.356 | 0.0014142 | 0.038 | 0.020854 | -0.017146 |  | 3.019 | 0.164
14 | YES | 200.01 | 1.674 | 0 | 0.027 | 0.018084 | -0.0089156 |  | 4.567 | -0.176
14 | YES | 175.505 | 1.862 | 0.0014143 | 0.025 | 0.016447 | -0.0085527 |  | 5.5415 | -0.1335
14 | YES | 149.997 | 2.199 | 0 | 0.086 | 0.013513 | -0.072487 |  | 5.6697 | -0.09625
14 | YES | 125.499 | 2.5595 | 0.041089 | -0.0074999 | 0.010373 | 0.017873 |  | 5.6853 | 0.065333
14 | YES | 101.001 | 3.306 | 0.05374 | 0.048 | 0.0038723 | -0.044128 |  | 5.8585 | -0.1515
14 | YES | 74.002 | 4.0645 | 0.04879 | 0.2955 | -0.002733 | -0.29823 |  | 6.964 | 0.066001
14 | YES | 49.5028 | 5.2512 | 0.012038 | -0.10275 | -0.013068 | 0.089682 |  | 1.8135 | -0.1065
14 | NO | 30 | 4.416 | 0.039611 | -0.315 | -0.0057941 | 0.30921 |  | 2.178 | -0.015
14 | YES | 20.0043 | 4.8663 | 0.072231 | 0.20033 | -0.0097157 | -0.21005 |  | 2.789 | 0.226
14 | NO | 9.5032 | 6.3312 | 0.48302 | 1.2792 | -0.022473 | -1.3017 |  | 4.9665 | 0.0355
14 | YES | 3.385 | 7.49 | 0.012125 | 0.766 | -0.032564 | -0.79856 |  | 5.5595 | -0.1355
15 | YES | 372.929 | 1.428 | 0 | 0.016 | 0.020227 | 0.0042268 |  | 6.0083 | -0.15775
15 | YES | 301.004 | 1.474 | 0 | -0.048 | 0.019826 | 0.067826 |  | 6.004 | -0.0039997
15 | YES | 251.004 | 1.4955 | 0.0021213 | -0.0735 | 0.019639 | 0.093139 |  | 5.997 | -0.108
15 | YES | 200.015 | 1.839 | 0 | 0.019 | 0.016648 | -0.0023523 |  | 6.1695 | 0.0785
15 | YES | 175.495 | 1.9815 | 0.0049497 | -0.1405 | 0.015407 | 0.15591 |  | 7.9592 | -0.29975 | -0.00082619
15 | YES | 149.995 | 2.313 | 0 | -0.052 | 0.01252 | 0.06452
15 | YES | 124.995 | 3.019 | 0.029052 | 0.164 | 0.0063716 | -0.15763
15 | NO | 100.996 | 3.9565 | 0.060104 | -0.1635 | -0.0017925 | 0.16171
15 | YES | 75.9965 | 4.567 | 0.043841 | -0.176 | -0.007109 | 0.16889
15 | YES | 50.496 | 5.5415 | 0.092709 | -0.1335 | -0.015595 | 0.1179
15 | YES | 29.494 | 5.6697 | 0.0058524 | -0.09625 | -0.016712 | 0.079538
15 | YES | 19.999 | 5.6853 | 0.00057731 | 0.065333 | -0.016848 | -0.082181
15 | YES | 10.5 | 5.8585 | 0.063016 | -0.1515 | -0.018356 | 0.13314
15 | YES | 3.5177 | 6.964 | 0.12644 | 0.066001 | -0.027983 | -0.093984
16 | YES | 207.648 | 1.8135 | 0.028991 | -0.1065 | 0.01687 | 0.12337
16 | YES | 175.501 | 2.178 | 0.0070711 | -0.015 | 0.013695 | 0.028696
16 | YES | 150.003 | 2.789 | 0 | 0.226 | 0.0083746 | -0.21763
16 | NO | 125.51 | 4.0663 | 0.057662 | -0.23075 | -0.0027483 | 0.228
16 | YES | 100.993 | 4.9665 | 0.020506 | 0.0355 | -0.010588 | -0.046088
16 | YES | 76.001 | 5.5595 | 0.044548 | -0.1355 | -0.015752 | 0.11975
16 | YES | 50.5035 | 6.0083 | 0.03796 | -0.15775 | -0.01966 | 0.13809
16 | YES | 29.9947 | 6.004 | 0.0049999 | -0.0039997 | -0.019623 | -0.015623
16 | YES | 20.007 | 5.997 | 0.0017322 | -0.108 | -0.019562 | 0.088438
16 | YES | 10.497 | 6.1695 | 0.11695 | 0.0785 | -0.021064 | -0.099564
16 | YES | 3.7757 | 7.9592 | 0.03564 | -0.29975 | -0.03665 | 0.2631
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
NO
YES
YES
YES
NO
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
YES
NO
YES
YES
NO
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2008/08/12 09:32:44
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | DOX_BOT | DOX_CTD |  | DOX_CTD - DOX_BOT
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | DOX_BOT | DOX_CTD | DOX_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2008-28-0006.mrgcor1 | 2008-28-0006.thn2 | 1 | 122.858 | 122.731 | 0 | -0.127 | 0.024 | 0.015 | 0 | -0.009
2008-28-0006.mrgcor1 | 2008-28-0006.thn2 | 2 | 99.942 | 98.998 | 1.4057 | -0.944 | 0.131 | 0.119 | 0.019799 | -0.012
2008-28-0006.mrgcor1 | 2008-28-0006.thn2 | 2 | 74.698 | 73.999 | 1.4213 | -0.699 | 0.293 | 0.3225 | 0.024749 | 0.0295
2008-28-0006.mrgcor1 | 2008-28-0006.thn2 | 4 | 49.816 | 49.5007 | 1.2927 | -0.31525 | 1.088 | 1.1242 | 0.0073654 | 0.03625
2008-28-0006.mrgcor1 | 2008-28-0006.thn2 | 4 | 29.97 | 29.4985 | 1.291 | -0.4715 | 1.271 | 1.5542 | 0.10208 | 0.28325
2008-28-0006.mrgcor1 | 2008-28-0006.thn2 | 3 | 19.837 | 20 | 1.005 | 0.163 | 1.796 | 2.2647 | 0.11055 | 0.46867
2008-28-0006.mrgcor1 | 2008-28-0006.thn2 | 4 | 9.966 | 9.5032 | 1.2893 | -0.46275 | 3.013 | 5.4082 | 0.83972 | 2.3952
2008-28-0006.mrgcor1 | 2008-28-0006.thn2 | 2 | 2.802 | 4.112 | 0 | 1.31 | 8.466 | 9.274 | 0 | 0.808
2008-28-0007.mrgcor1 | 2008-28-0007.thn2 | 2 | 100.589 | 100.239 | 0.34224 | -0.35 | 1.845 | 1.6495 | 0.010607 | -0.1955
2008-28-0007.mrgcor1 | 2008-28-0007.thn2 | 2 | 75.044 | 76.0005 | 1.4178 | 0.95651 | 2.736 | 2.831 | 0.13011 | 0.095
2008-28-0007.mrgcor1 | 2008-28-0007.thn2 | 4 | 49.746 | 49.5025 | 1.2915 | -0.2435 | 4.202 | 4.4117 | 0.018062 | 0.20975
2008-28-0007.mrgcor1 | 2008-28-0007.thn2 | 4 | 29.881 | 29.506 | 1.2944 | -0.375 | 3.354 | 3.3933 | 0.053238 | 0.03925
2008-28-0007.mrgcor1 | 2008-28-0007.thn2 | 3 | 19.899 | 19.998 | 0.99652 | 0.098999 | 3.755 | 3.9853 | 0.11301 | 0.23033
2008-28-0007.mrgcor1 | 2008-28-0007.thn2 | 4 | 9.699 | 9.4962 | 1.2924 | -0.20275 | 4.349 | 5.9495 | 0.47659 | 1.6005
2008-28-0008.mrgcor1 | 2008-28-0008.thn2 | 1 | 63.021 | 62.987 | 0 | -0.034 | 5.993 | 5.817 | 0 | -0.176
2008-28-0008.mrgcor1 | 2008-28-0008.thn2 | 4 | 49.992 | 49.5028 | 1.2976 | -0.48925 | 5.95 | 5.852 | 0.0091286 | -0.098
2008-28-0008.mrgcor1 | 2008-28-0008.thn2 | 4 | 29.758 | 29.4963 | 1.2911 | -0.26175 | 6.329 | 6.37 | 0.013291 | 0.041
2008-28-0008.mrgcor1 | 2008-28-0008.thn2 | 3 | 19.748 | 20.0003 | 1.0075 | 0.25233 | 6.604 | 6.465 | 0.0060826 | -0.139
2008-28-0008.mrgcor1 | 2008-28-0008.thn2 | 4 | 9.865 | 9.5005 | 1.2908 | -0.3645 | 6.628 | 7.0687 | 0.25372 | 0.44075
2008-28-0008.mrgcor1 | 2008-28-0008.thn2 | 3 | 2.795 | 3.3847 | 0.53463 | 0.58967 | 7.705 | 7.7263 | 0.028868 | 0.021333
2008-28-0009.mrgcor1 | 2008-28-0009.thn2 | 1 | 82.302 | 82.315 | 0 | 0.013 | 6.539 | 6.346 | 0 | -0.193
2008-28-0009.mrgcor1 | 2008-28-0009.thn2 | 4 | 49.371 | 49.5035 | 1.291 | 0.1325 | 6.529 | 6.4023 | 0.0025 | -0.12675
2008-28-0009.mrgcor1 | 2008-28-0009.thn2 | 4 | 29.951 | 29.4963 | 1.2878 | -0.45475 | 6.63 | 6.4778 | 0.007974 | -0.15225
2008-28-0009.mrgcor1 | 2008-28-0009.thn2 | 3 | 19.753 | 19.9963 | 0.9985 | 0.24333 | 6.669 | 6.5147 | 0.0015274 | -0.15433
2008-28-0009.mrgcor1 | 2008-28-0009.thn2 | 4 | 9.817 | 9.5005 | 1.2913 | -0.3165 | 6.677 | 6.494 | 0.014353 | -0.183
2008-28-0009.mrgcor1 | 2008-28-0009.thn2 | 4 | 3.041 | 3.8013 | 0.90458 | 0.76025 | 6.578 | 6.42 | 0.01734 | -0.158
2008-28-0010.mrgcor1 | 2008-28-0010.thn2 | 2 | 220.564 | 220.262 | 0.36557 | -0.30249 | 6.184 | 6.1615 | 0.0021215 | -0.0225
2008-28-0010.mrgcor1 | 2008-28-0010.thn2 | 1 | 200.016 | 199.995 | 0 | -0.021011 | 6.358 | 6.144 | 0 | -0.214
2008-28-0010.mrgcor1 | 2008-28-0010.thn2 | 2 | 174.771 | 175.497 | 0.69861 | 0.72601 | 6.079 | 6.09 | 0.0042427 | 0.011
2008-28-0010.mrgcor1 | 2008-28-0010.thn2 | 1 | 149.715 | 150.005 | 0 | 0.29001 | 5.937 | 5.94 | 0 | 0.0030003
2008-28-0010.mrgcor1 | 2008-28-0010.thn2 | 4 | 124.667 | 124.501 | 1.2925 | -0.16625 | 6.109 | 6.0892 | 0.014104 | -0.01975
2008-28-0010.mrgcor1 | 2008-28-0010.thn2 | 2 | 99.906 | 98.9975 | 1.4135 | -0.9085 | 6.255 | 6.1605 | 0.012021 | -0.0945
2008-28-0010.mrgcor1 | 2008-28-0010.thn2 | 4 | 49.956 | 49.5018 | 1.2847 | -0.45425 | 6.486 | 6.367 | 0.0062716 | -0.119
2008-28-0010.mrgcor1 | 2008-28-0010.thn2 | 4 | 29.871 | 29.5007 | 1.2891 | -0.37025 | 6.639 | 6.4662 | 0.0047872 | -0.17275
2008-28-0010.mrgcor1 | 2008-28-0010.thn2 | 3 | 19.87 | 19.9983 | 1 | 0.12833 | 6.657 | 6.4643 | 0.0020818 | -0.19267
2008-28-0010.mrgcor1 | 2008-28-0010.thn2 | 4 | 9.97 | 9.5 | 1.2869 | -0.47 | 6.143 | 5.8623 | 0.21167 | -0.28075
2008-28-0010.mrgcor1 | 2008-28-0010.thn2 | 3 | 2.97 | 3.7323 | 0.22921 | 0.76233 | 6.749 | 5.7323 | 0.0063509 | -1.0167
2008-28-0011.mrgcor1 | 2008-28-0011.thn2 | 1 | 278.561 | 278.518 | 0 | -0.042999 | 2.397 | 2.288 | 0 | -0.109
2008-28-0011.mrgcor1 | 2008-28-0011.thn2 | 2 | 250.139 | 251.002 | 1.4213 | 0.86299 | 2.316 | 2.3865 | 0.0035354 | 0.0705
2008-28-0011.mrgcor1 | 2008-28-0011.thn2 | 1 | 199.985 | 199.999 | 0 | 0.013992 | 2.539 | 2.595 | 0 | 0.056
2008-28-0011.mrgcor1 | 2008-28-0011.thn2 | 2 | 174.821 | 175.501 | 0.70427 | 0.68001 | 2.906 | 2.963 | 0.012728 | 0.057
2008-28-0011.mrgcor1 | 2008-28-0011.thn2 | 1 | 149.926 | 149.995 | 0 | 0.069 | 3.264 | 3.378 | 0 | 0.114
2008-28-0011.mrgcor1 | 2008-28-0011.thn2 | 4 | 124.431 | 124.498 | 1.2871 | 0.067497 | 3.912 | 4.2462 | 0.070905 | 0.33425
2008-28-0011.mrgcor1 | 2008-28-0011.thn2 | 2 | 99.506 | 98.9995 | 1.4248 | -0.5065 | 4.891 | 4.8715 | 0.010607 | -0.0195
2008-28-0011.mrgcor1 | 2008-28-0011.thn2 | 2 | 74.756 | 73.998 | 1.4213 | -0.758 | 5.084 | 5.0215 | 0.0049497 | -0.0625
2008-28-0011.mrgcor1 | 2008-28-0011.thn2 | 4 | 49.853 | 49.4985 | 1.2982 | -0.3545 | 5.211 | 5.1875 | 0.024118 | -0.0235
2008-28-0011.mrgcor1 | 2008-28-0011.thn2 | 3 | 30.062 | 29.9993 | 1.003 | -0.062666 | 5.784 | 5.731 | 0.0065574 | -0.053
2008-28-0011.mrgcor1 | 2008-28-0011.thn2 | 3 | 20.028 | 20.0047 | 1.002 | -0.023333 | 5.968 | 5.7683 | 0.014189 | -0.19967
2008-28-0011.mrgcor1 | 2008-28-0011.thn2 | 4 | 9.956 | 9.4942 | 1.2919 | -0.46175 | 5.538 | 5.973 | 0.3487 | 0.435
2008-28-0011.mrgcor1 | 2008-28-0011.thn2 | 3 | 2.879 | 3.8443 | 0.13221 | 0.96533 | 7.681 | 7.5797 | 0.024826 | -0.10133
2008-28-0012.mrgcor1 | 2008-28-0012.thn2 | 1 | 274.798 | 274.696 | 0 | -0.10199 | 2.231 | 2.258 | 0 | 0.027
2008-28-0012.mrgcor1 | 2008-28-0012.thn2 | 2 | 250.126 | 251.004 | 1.41 | 0.87799 | 2.289 | 2.286 | 0.0014141 | -0.003
2008-28-0012.mrgcor1 | 2008-28-0012.thn2 | 1 | 200.085 | 199.997 | 0 | -0.088013 | 2.551 | 2.407 | 0 | -0.144
2008-28-0012.mrgcor1 | 2008-28-0012.thn2 | 2 | 175.113 | 175.491 | 0.70852 | 0.37799 | 2.429 | 2.373 | 0.0014143 | -0.056
2008-28-0012.mrgcor1 | 2008-28-0012.thn2 | 1 | 149.997 | 149.995 | 0 | -0.0019989 | 2.494 | 2.439 | 0 | -0.055
2008-28-0012.mrgcor1 | 2008-28-0012.thn2 | 4 | 125.012 | 125.498 | 1.2901 | 0.48575 | 2.52 | 2.4765 | 0.010083 | -0.0435
2008-28-0012.mrgcor1 | 2008-28-0012.thn2 | 2 | 99.962 | 99.005 | 1.4128 | -0.957 | 2.834 | 2.822 | 0.0084853 | -0.012
2008-28-0012.mrgcor1 | 2008-28-0012.thn2 | 2 | 75.104 | 76.005 | 1.41 | 0.90101 | 2.974 | 2.865 | 0.014142 | -0.109
2008-28-0012.mrgcor1 | 2008-28-0012.thn2 | 4 | 50.021 | 50.5013 | 1.2901 | 0.48025 | 2.82 | 2.9718 | 0.063163 | 0.15175
2008-28-0012.mrgcor1 | 2008-28-0012.thn2 | 3 | 30.336 | 30.0037 | 1.001 | -0.33233 | 4.086 | 4.4397 | 0.037554 | 0.35367
2008-28-0012.mrgcor1 | 2008-28-0012.thn2 | 3 | 19.818 | 19.999 | 0.999 | 0.181 | 5.037 | 5.3217 | 0.059366 | 0.28467
2008-28-0012.mrgcor1 | 2008-28-0012.thn2 | 4 | 9.893 | 9.4983 | 1.2971 | -0.39475 | 5.465 | 6.3275 | 0.58705 | 0.8625
2008-28-0013.mrgcor1 | 2008-28-0013.thn2 | 2 | 148.986 | 147.978 | 1.381 | -1.0085 | 0.738 | 0.5905 | 0.062933 | -0.1475
2008-28-0013.mrgcor1 | 2008-28-0013.thn2 | 2 | 148.986 | 147.978 | 1.381 | -1.0085 | 0.659 | 0.5905 | 0.062933 | -0.0685
2008-28-0013.mrgcor1 | 2008-28-0013.thn2 | 4 | 125.103 | 125.489 | 1.2861 | 0.38551 | 0.834 | 0.844 | 0.0021602 | 0.01
2008-28-0013.mrgcor1 | 2008-28-0013.thn2 | 2 | 99.954 | 98.998 | 1.4298 | -0.956 | 0.879 | 0.9425 | 0.010607 | 0.0635
2008-28-0013.mrgcor1 | 2008-28-0013.thn2 | 2 | 74.873 | 73.9995 | 1.4079 | -0.8735 | 1.754 | 3.493 | 0.39457 | 1.739
2008-28-0013.mrgcor1 | 2008-28-0013.thn2 | 4 | 49.976 | 49.5005 | 1.3021 | -0.4755 | 4.362 | 4.2668 | 0.010532 | -0.09525
2008-28-0013.mrgcor1 | 2008-28-0013.thn2 | 4 | 29.835 | 29.5007 | 1.2906 | -0.33425 | 4.149 | 4.059 | 0.0029439 | -0.09
2008-28-0013.mrgcor1 | 2008-28-0013.thn2 | 3 | 19.81 | 20.0003 | 1.0031 | 0.19033 | 3.968 | 3.9433 | 0.014503 | -0.024667
2008-28-0013.mrgcor1 | 2008-28-0013.thn2 | 4 | 9.806 | 9.4965 | 1.3011 | -0.3095 | 4.358 | 5.7935 | 0.5931 | 1.4355
2008-28-0013.mrgcor1 | 2008-28-0013.thn2 | 4 | 3.024 | 4.162 | 0.5638 | 1.138 | 9.337 | 9.8607 | 0.39917 | 0.52375
2008-28-0014.mrgcor1 | 2008-28-0014.thn2 | 1 | 105.764 | 105.684 | 0 | -0.080002 | 0.737 | 0.57 | 0 | -0.167
2008-28-0014.mrgcor1 | 2008-28-0014.thn2 | 2 | 100.167 | 100.999 | 1.4071 | 0.832 | 0.602 | 0.6085 | 0.020506 | 0.0065
2008-28-0014.mrgcor1 | 2008-28-0014.thn2 | 2 | 74.976 | 73.996 | 1.4071 | -0.98 | 0.876 | 1.6875 | 0.30335 | 0.8115
2008-28-0014.mrgcor1 | 2008-28-0014.thn2 | 3 | 49.991 | 49.995 | 1.005 | 0.0039978 | 3.847 | 3.8777 | 0.0030551 | 0.030667
2008-28-0014.mrgcor1 | 2008-28-0014.thn2 | 3 | 30.023 | 30.0023 | 0.98903 | -0.020668 | 3.837 | 3.6607 | 0.021385 | -0.17633
2008-28-0014.mrgcor1 | 2008-28-0014.thn2 | 3 | 19.868 | 19.9973 | 1.0065 | 0.12933 | 3.566 | 3.496 | 0.054991 | -0.07
2008-28-0014.mrgcor1 | 2008-28-0014.thn2 | 3 | 3.143 | 4.6967 | 0.22978 | 1.5537 | 9.084 | 8.7693 | 0.29041 | -0.31467
2008-28-0015.mrgcor1 | 2008-28-0015.thn2 | 1 | 131.935 | 129.956 | 0 | -1.979 | 0 | 0.013 | 0 | 0.013
2008-28-0015.mrgcor1 | 2008-28-0015.thn2 | 4 | 125.122 | 125.499 | 1.2851 | 0.3775 | 0 | 0.016 | 0.001633 | 0.016
2008-28-0015.mrgcor1 | 2008-28-0015.thn2 | 2 | 99.948 | 99.0085 | 1.4008 | -0.9395 | 0 | 0.0215 | 0.00070711 | 0.0215
2008-28-0015.mrgcor1 | 2008-28-0015.thn2 | 2 | 75.08 | 75.999 | 1.4086 | 0.919 | 0 | 0.037 | 0.0042426 | 0.037
2008-28-0015.mrgcor1 | 2008-28-0015.thn2 | 4 | 50.051 | 50.4945 | 1.2901 | 0.4435 | 0.049 | 0.16075 | 0.022692 | 0.11175
2008-28-0015.mrgcor1 | 2008-28-0015.thn2 | 4 | 29.839 | 29.4965 | 1.2975 | -0.3425 | 2.009 | 2.6458 | 0.014886 | 0.63675
2008-28-0015.mrgcor1 | 2008-28-0015.thn2 | 3 | 19.954 | 19.9973 | 1.003 | 0.043333 | 2.757 | 2.703 | 0.025 | -0.054
2008-28-0015.mrgcor1 | 2008-28-0015.thn2 | 4 | 9.839 | 9.4985 | 1.29 | -0.3405 | 2.585 | 2.862 | 0.17681 | 0.277
2008-28-0015.mrgcor1 | 2008-28-0015.thn2 | 2 | 2.832 | 4.569 | 0 | 1.737 | 8.098 | 4.719 | 0 | -3.379
2008-28-0016.mrgcor1 | 2008-28-0016.thn2 | 1 | 69.896 | 69.716 | 0 | -0.18 | 0.012 | -0.017 | 0 | -0.029
2008-28-0016.mrgcor1 | 2008-28-0016.thn2 | 4 | 50.072 | 50.5035 | 1.2892 | 0.4315 | 0.224 | 0.06775 | 0.011673 | -0.15625
2008-28-0016.mrgcor1 | 2008-28-0016.thn2 | 3 | 30.085 | 29.9967 | 1.0091 | -0.088333 | 1.999 | 2.204 | 0.0086603 | 0.205
2008-28-0016.mrgcor1 | 2008-28-0016.thn2 | 3 | 19.968 | 19.9963 | 1.002 | 0.028332 | 2.307 | 2.2937 | 0.01601 | -0.013333
2008-28-0016.mrgcor1 | 2008-28-0016.thn2 | 4 | 9.983 | 9.495 | 1.2913 | -0.488 | 2.33 | 3.1265 | 0.33743 | 0.7965
2008-28-0016.mrgcor1 | 2008-28-0016.thn2 | 4 | 3.053 | 3.9388 | 0.7187 | 0.88575 | 8.034 | 6.394 | 0.11982 | -1.64
2008-28-0022.mrgcor1 | 2008-28-0022.thn2 | 2 | 61.719 | 60.8315 | 1.1759 | -0.8875 | 2.927 | 2.9455 | 0.020506 | 0.0185
2008-28-0022.mrgcor1 | 2008-28-0022.thn2 | 4 | 49.965 | 49.4985 | 1.2969 | -0.4665 | 2.9 | 2.794 | 0.017185 | -0.106
2008-28-0022.mrgcor1 | 2008-28-0022.thn2 | 3 | 30.288 | 30.0003 | 1.0055 | -0.28767 | 2.755 | 3.4027 | 0.023459 | 0.64767
2008-28-0022.mrgcor1 | 2008-28-0022.thn2 | 3 | 19.981 | 20.0017 | 1.001 | 0.020666 | 3.552 | 4.2973 | 0.157 | 0.74533
2008-28-0022.mrgcor1 | 2008-28-0022.thn2 | 4 | 9.896 | 9.502 | 1.2891 | -0.394 | 6.095 | 10.7467 | 0.18485 | 4.6517
2008-28-0022.mrgcor1 | 2008-28-0022.thn2 | 3 | 2.872 | 3.2607 | 0.65223 | 0.38867 | 11.084 | 10.528 | 0.19172 | -0.556
2008-28-0023.mrgcor1 | 2008-28-0023.thn2 | 1 | 184.706 | 184.692 | 0 | -0.013992 | 0 | 0.048 | 0 | 0.048
2008-28-0023.mrgcor1 | 2008-28-0023.thn2 | 1 | 150.097 | 150 | 0 | -0.097 | 0 | 0.055 | 0 | 0.055
2008-28-0023.mrgcor1 | 2008-28-0023.thn2 | 4 | 125.063 | 125.494 | 1.2939 | 0.431 | 0 | 0.076 | 0.001633 | 0.076
2008-28-0023.mrgcor1 | 2008-28-0023.thn2 | 2 | 100.02 | 100.999 | 1.4093 | 0.9795 | 0.1 | 0.1915 | 0.02192 | 0.0915
2008-28-0023.mrgcor1 | 2008-28-0023.thn2 | 2 | 74.916 | 74.005 | 1.4142 | -0.911 | 3.49 | 3.7515 | 0.092631 | 0.2615
2008-28-0023.mrgcor1 | 2008-28-0023.thn2 | 4 | 50.084 | 50.4982 | 1.2911 | 0.41425 | 4.094 | 3.8948 | 0.041274 | -0.19925
2008-28-0023.mrgcor1 | 2008-28-0023.thn2 | 3 | 30.139 | 30.0017 | 0.99752 | -0.13733 | 3.632 | 3.6457 | 0.023502 | 0.013667
2008-28-0023.mrgcor1 | 2008-28-0023.thn2 | 3 | 20.036 | 19.997 | 1.0005 | -0.039 | 3.952 | 4.2737 | 0.10901 | 0.32167
2008-28-0023.mrgcor1 | 2008-28-0023.thn2 | 4 | 9.946 | 9.5002 | 1.3028 | -0.44575 | 4.358 | 6.2355 | 0.9897 | 1.8775
2008-28-0023.mrgcor1 | 2008-28-0023.thn2 | 3 | 2.97 | 3.853 | 0.1299 | 0.883 | 10.727 | 11.4113 | 0.052539 | 0.68433
2008-28-0024.mrgcor1 | 2008-28-0024.thn2 | 2 | 320.923 | 319.963 | 1.3718 | -0.95999 | 1.407 | 1.3815 | 0.00070706 | -0.0255
2008-28-0024.mrgcor1 | 2008-28-0024.thn2 | 2 | 250.214 | 250.989 | 1.4071 | 0.77499 | 1.318 | 1.356 | 0.0014142 | 0.038
2008-28-0024.mrgcor1 | 2008-28-0024.thn2 | 1 | 200.054 | 200.01 | 0 | -0.044006 | 1.647 | 1.674 | 0 | 0.027
2008-28-0024.mrgcor1 | 2008-28-0024.thn2 | 2 | 175.042 | 175.505 | 0.71489 | 0.46349 | 1.837 | 1.862 | 0.0014143 | 0.025
2008-28-0024.mrgcor1 | 2008-28-0024.thn2 | 1 | 149.901 | 149.997 | 0 | 0.095993 | 2.113 | 2.199 | 0 | 0.086
2008-28-0024.mrgcor1 | 2008-28-0024.thn2 | 4 | 125.152 | 125.499 | 1.2913 | 0.347 | 2.567 | 2.5595 | 0.041089 | -0.0074999
2008-28-0024.mrgcor1 | 2008-28-0024.thn2 | 2 | 100.082 | 101.001 | 1.4036 | 0.9185 | 3.258 | 3.306 | 0.05374 | 0.048
2008-28-0024.mrgcor1 | 2008-28-0024.thn2 | 2 | 74.972 | 74.002 | 1.4142 | -0.97 | 3.769 | 4.0645 | 0.04879 | 0.2955
2008-28-0024.mrgcor1 | 2008-28-0024.thn2 | 4 | 49.848 | 49.5028 | 1.2891 | -0.34525 | 5.354 | 5.2512 | 0.012038 | -0.10275
2008-28-0024.mrgcor1 | 2008-28-0024.thn2 | 3 | 30.031 | 30 | 0.993 | -0.031 | 4.731 | 4.416 | 0.039611 | -0.315
2008-28-0024.mrgcor1 | 2008-28-0024.thn2 | 3 | 20.247 | 20.0043 | 0.99802 | -0.24267 | 4.666 | 4.8663 | 0.072231 | 0.20033
2008-28-0024.mrgcor1 | 2008-28-0024.thn2 | 4 | 9.862 | 9.5032 | 1.2919 | -0.35875 | 5.052 | 6.3312 | 0.48302 | 1.2792
2008-28-0024.mrgcor1 | 2008-28-0024.thn2 | 3 | 2.836 | 3.385 | 0.53174 | 0.549 | 6.724 | 7.49 | 0.012125 | 0.766
2008-28-0025.mrgcor1 | 2008-28-0025.thn2 | 1 | 372.855 | 372.929 | 0 | 0.073975 | 1.412 | 1.428 | 0 | 0.016
2008-28-0025.mrgcor1 | 2008-28-0025.thn2 | 2 | 301.029 | 301.004 | 1.4071 | -0.024994 | 1.522 | 1.474 | 0 | -0.048
2008-28-0025.mrgcor1 | 2008-28-0025.thn2 | 2 | 250.307 | 251.004 | 1.4241 | 0.69699 | 1.569 | 1.4955 | 0.0021213 | -0.0735
2008-28-0025.mrgcor1 | 2008-28-0025.thn2 | 1 | 200.257 | 200.015 | 0 | -0.242 | 1.82 | 1.839 | 0 | 0.019
2008-28-0025.mrgcor1 | 2008-28-0025.thn2 | 2 | 175.037 | 175.495 | 0.72761 | 0.4585 | 2.122 | 1.9815 | 0.0049497 | -0.1405
2008-28-0025.mrgcor1 | 2008-28-0025.thn2 | 1 | 150.018 | 149.995 | 0 | -0.02301 | 2.365 | 2.313 | 0 | -0.052
2008-28-0025.mrgcor1 | 2008-28-0025.thn2 | 3 | 125.004 | 124.995 | 0.99051 | -0.008667 | 2.855 | 3.019 | 0.029052 | 0.164
2008-28-0025.mrgcor1 | 2008-28-0025.thn2 | 2 | 100.076 | 100.996 | 1.4156 | 0.92001 | 4.12 | 3.9565 | 0.060104 | -0.1635
2008-28-0025.mrgcor1 | 2008-28-0025.thn2 | 2 | 75.407 | 75.9965 | 1.4107 | 0.58951 | 4.743 | 4.567 | 0.043841 | -0.176
2008-28-0025.mrgcor1 | 2008-28-0025.thn2 | 4 | 49.995 | 50.496 | 1.2876 | 0.501 | 5.675 | 5.5415 | 0.092709 | -0.1335
2008-28-0025.mrgcor1 | 2008-28-0025.thn2 | 4 | 29.92 | 29.494 | 1.2936 | -0.426 | 5.766 | 5.6697 | 0.0058524 | -0.09625
2008-28-0025.mrgcor1 | 2008-28-0025.thn2 | 3 | 20.253 | 19.999 | 0.9915 | -0.254 | 5.62 | 5.6853 | 0.00057731 | 0.065333
2008-28-0025.mrgcor1 | 2008-28-0025.thn2 | 4 | 10.089 | 10.5 | 1.2931 | 0.411 | 6.01 | 5.8585 | 0.063016 | -0.1515
2008-28-0025.mrgcor1 | 2008-28-0025.thn2 | 3 | 2.897 | 3.5177 | 0.42031 | 0.62067 | 6.898 | 6.964 | 0.12644 | 0.066001
2008-28-0026.mrgcor1 | 2008-28-0026.thn2 | 2 | 208.279 | 207.648 | 0.91429 | -0.63051 | 1.92 | 1.8135 | 0.028991 | -0.1065
2008-28-0026.mrgcor1 | 2008-28-0026.thn2 | 2 | 175.233 | 175.501 | 0.7163 | 0.26849 | 2.193 | 2.178 | 0.0070711 | -0.015
2008-28-0026.mrgcor1 | 2008-28-0026.thn2 | 1 | 149.885 | 150.003 | 0 | 0.11801 | 2.563 | 2.789 | 0 | 0.226
2008-28-0026.mrgcor1 | 2008-28-0026.thn2 | 4 | 125.141 | 125.51 | 1.2866 | 0.369 | 4.297 | 4.0663 | 0.057662 | -0.23075
2008-28-0026.mrgcor1 | 2008-28-0026.thn2 | 2 | 100.202 | 100.993 | 1.4064 | 0.7915 | 4.931 | 4.9665 | 0.020506 | 0.0355
2008-28-0026.mrgcor1 | 2008-28-0026.thn2 | 2 | 75.104 | 76.001 | 1.3986 | 0.897 | 5.695 | 5.5595 | 0.044548 | -0.1355
2008-28-0026.mrgcor1 | 2008-28-0026.thn2 | 4 | 50.096 | 50.5035 | 1.2964 | 0.4075 | 6.166 | 6.0083 | 0.03796 | -0.15775
2008-28-0026.mrgcor1 | 2008-28-0026.thn2 | 3 | 30.248 | 29.9947 | 1.005 | -0.25333 | 6.008 | 6.004 | 0.0049999 | -0.0039997
2008-28-0026.mrgcor1 | 2008-28-0026.thn2 | 3 | 20.071 | 20.007 | 0.99602 | -0.063999 | 6.105 | 5.997 | 0.0017322 | -0.108
2008-28-0026.mrgcor1 | 2008-28-0026.thn2 | 4 | 10.13 | 10.497 | 1.2949 | 0.367 | 6.091 | 6.1695 | 0.11695 | 0.0785
2008-28-0026.mrgcor1 | 2008-28-0026.thn2 | 4 | 3.075 | 3.7757 | 0.93239 | 0.70075 | 8.259 | 7.9592 | 0.03564 | -0.29975
Create Fit Sheet