## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |

## PROCESSING NOTES

Cruise: 2008-30

Agency: IOS, Ocean Sciences Division, Sidney, B.C

Location: Arctic Ocean's Canada Basin

Project: Joint Ocean Ice Study (JOIS including JWACS and BGEP)

Party Chief: Zimmermann, S.

Platform: Louis S. St. Laurent

Date: July 17 2008 – August 21 2008

Processed by: Initial by Sarah Zimmermann, subsequent processing by Joe Linguanti

Date of Processing: 14 December 2017 – 10 January 2018

Number of CTD files: 73 (casts 1-73)

Number of bottle files: 72 (casts 1-73)

# CTD PROCESSING SUMMARY

Initial processing was completed by Sarah Zimmermann using standard Seabird processing steps and Matlab-based routines (see document 2008-30_CTD SBE911 Processing_v2017-12-05.doc). Additional processing, for submission into the Ocean Sciences Division’s Data Archive, was completed by Joe Linguanti using IOSShell routines.

##### Preliminary Steps

The Log Book and rosette log sheets were obtained as well as the Cruise Report and draft Data Report.

Obtained additional information from Sarah on CTD data files (document 2008-30_CTD Data Files_v20170306.doc) and CTD Headers notes (document 2008-30 CTD Header Notes for Data Archive process v2017-12-05.docx).

##### Conversion to IOS Header format

After initial processing, 73 CNV files were exported from Matlab in standard Seabird format by Sarah.

The CNV files were converted to IOS Header format using the IOSShell routine, Convert Seabird ASCII Files. The converted files have extension name *.IOS.

A cross-reference list was produced using IOSShell routine, Cross Reference, to check that the date and location information was included for each file. Also a Cruise Summary report was produced using IOSShell routine, Header Check. This summary is quite useful for comparing casts for the entire cruise and verifying, among other information, the different kinds of instruments and sensors used during the cruise and for which casts.

The sensor information in the INSTRUMENT section of the header was checked and updated with the correct serial numbers and sensor names using the text editor UltraEdit.

##### Remove unwanted channels

IOSShell routine, Remove Channels, was run on the *.IOS files for all casts to remove the following channels:

Scan_Number [n/a], Depth:Salt_Water [metres], Temperature:Secondary [deg C (ITS90)],

Conductivity:Primary [mS/cm], Conductivity:Secondary [mS/cm], Oxygen:Voltage:SBE [volts], Salinity:T1:C1 [PSS-78],  Temperature:Potential [deg C (ITS90)], Sigma:Theta [kg/m^3] and Speed:Sound [m/s].

The following files had additional channels removed:

Casts 6-34, Transmissivity2 [%/metre] was removed since it contained only values of zero.

Casts 9, 14-17, CTD oxygen removed due to failed sensor.

The files with channels removed have extension name *.REM.

##### Transmissivity

##### Conversion of Secondary Transmissometer values from %/25cm to %/m.

The values of the secondary transmissometer were too high to be in units of %/metre. Sarah determined that the data values were actually in units of % (25cm path length). Program CONVTRAN was used to convert the secondary transmissometer values to units of %/metre.

- The tale of two transmissometers.

During collection two sensors were used interchangeably. For casts 1-34, s/n 662 is the primary sensor and s/n 993 is the secondary sensor. For casts 35-73 the sensors were reversed, s/n 993 is primary and s/n 662 is secondary. Therefore in the IOS Header files channel Transmissivity in casts 1-34 contained the data from sensor 662 and channel Transmissivty2 contained the data from sensor 993.   For casts 35-73 the reverse was true, channel Transmissivity contained the data from sensor 993 and channel Transmissivty2 contained the data from sensor 662. This would be problematic when using data from one of the transmissivity channels. Therefore, the channels in casts 35-73 were reordered so that channel Transmissivity contained only the data from sensor 662 and channel Transmissivty2 contained only the data from sensor 993, the same as casts 1-34.

The files with secondary transmissometer converted to %/metre and reordered transmissivity channels have extension name *.XXX.

##### Update Header

IOSShell routine, Header Edit, was used to fix formats, channel names and to add comments on processing, and collection and analysis methods to the *.XXX files.

Two channels names were changed:

- Fluorescence:URU:Seapoint changed to Fluorescence:Calibrated:Seapoint

- Voltage:6 changed to Fluorescence_CDOM:URU:Wetlabs

For further changes and additions to the headers see files 2008-30 CTD Header casts 1-43.txt, 2008-30 CTD Header casts 44-53.txt and 2008-30 CTD Header casts 54-73.txt in the cruise .DOC directory for details. The difference between the three files is the calibration values for conductivity. Water samples showed a drift in the conductivity values over time therefore the conductivity data were calibrated in three groups of casts.

The updated header files have extension name *.HED

- Remove Empty Channels

The IOSShell routine, Clean, was run on the .IOS files with the “Remove Empty Channels” option selected.

The updated clean files have extension name *.CTD

Notes:

- Casts 1-5, Two Transmissometers, s/n 662 is primary, s/n 993 is secondary

- Casts 6-34, One Transmissometer, s/n 662 is primary and column of zeros for secondary. Secondary channel was removed.

- Casts 35-73, Two Transmissometers, s/n 993 is now primary and 662 is secondary

- Casts 1-5, Oxygen s/n 435; Casts 6-22 Oxygen s/n 1115; Casts 23-73 Oxygen s/n 398.

- Casts 9, 14-17, CTD oxygen removed due to failed sensor.

- Cast 23, Oxygen SN changed to 0398 from 1115.

- All casts: Values from the secondary transmissometer were actually in units of %/25cm and have been converted to units of %/metre.

# CHEMISTRY PROCESSING SUMMARY

Sarah provided the chemistry spreadsheet file, “2008-30_LSSL_Chem_2018-01-08.xlsx”, for archiving.

##### Preliminary Steps

The worksheet, “2008-30_LSSL_CHEM”, in the spreadsheet file was prepared for conversion to IOS Header files as follows:

- The two transmissivity columns, CTDTrans1 and CTDTrans2, contained values in units of  %/25cm and data from two different sensors were intermixed between the two columns (see item 4. in the CTD Processing Summary section). Copies of the two transmissivity columns were added to the end of the worksheet (columns GP and GQ). The values in these two columns were converted to units of %/meter using the formula %/meter = ((raw/100.0)^4)*100.0. Also the data from the two sensors was reordered so that column CTDTrans1 contains only the data from sensor 662 and column CTDTrans2 contains only the data from sensor 993.

- In some cases the value of -9 was used to designate missing data. For those cases the value -9 was replaced with -99.0

The modified chemistry spreadsheet file was renamed to “2008-30_LSSL_Chem_2018-01-08 JL.xlsx”. The worksheet, “2008-30_LSSL_CHEM”, was exported to CSV format to be used by the IOS Header conversion program.

##### Conversion to IOS Header format

The CSV file was converted to IOS Header format files using the IOSShell routine, Convert Spreadsheet Files. The converted files have extension name *.IOS.

A cross-reference list was produced using IOSShell routine, Cross Reference, to check that the date and location information was included for each file.

- Remove Empty Channels

The Spreadsheet Conversion programs exports all the water properties specified even if a property might not have been sampled for a particular cast. These are referred to as empty channels.  The IOSShell routine, Clean, was run on the .IOS files with the “Remove Empty Channels” option selected.

The files with empty channels removed have extension name *.CLN.

- Sort on Pressure

The data records in the spreadsheet file were entered with pressure in ascending order (deepest to shallow). IOSShell routine, The Ocean Sciences Division’s Data Archive requires the pressure values to be descending order. The IOSShell routine, Sort, was used to sort the data records in the .CLN files with pressure descending.

The files have extension name *.SRT.

- Reorder channels

IOSShell routine, Reorder, was used to reorder the channels so that channel Transmissivity2 was adjacent to channel Transmissivity.

The files have extension name *.REO

- Update Header

IOSShell routine, Header Edit, was used to add comments on processing, and collection and analysis methods, to the *.SRT files. See file “2008-30 CHE Header.txt” in the cruise .DOC directory for details.

The updated header files have extension name *.CHE.

- Change alpha character flags

The quality flag columns in the spreadsheet contained the alpha character codes used pre 2013. I used program, Change_Flags (written in 2013), to change the alpha character flags in the .CHE files to numeric values.

The files with numeric quality flags have extension name *.CHE

Notes:

- Cast 16 – no samples taken.

- Cast 17 - contains no chemistry data. The only samples taken were for testing Chl-a storage methods. It was decided keep this file in the event that the Chl-a data might be added.

# MOVE FILES TO ARCHIVE

The CTD and chemistry files were copied to the Ocean Sciences Division’s digital on-line archive in folder Cruise_Data\20008\2008-30. The CTD files with extension names *.CTD and the chemistry files with extension names *.CHE were placed in the appropriate subfolders ‘CTD’ and ‘Bottles’ respectively.

All the documentation provided by Sarah and produced by Joe Linguanti was placed in the subfolder ‘DOC’.