File List for SeaBird Data

Cruise Number: _2008-32____

[osapcommon\cruise_data\2008-32\ARCHIVE]

[osapcommon\cruise_data\2008-32\ARCHIVE\Bottle] *.CHE

[osapcommon\cruise_data\2008-32\ARCHIVE\CTD] *.CTD

[osapcommon\cruise_data\2008-32\ARCHIVE\DOC] all documents from RAW and PROCESSING

[osapcommon\cruise_data\2008-32\ARCHIVE\DOC\HYDRO] COMPARE files and edited versions of    spreadsheets from analysts

[osapcommon\cruise_data\2008-32\ARCHIVE\DOC\TSG] all TSG documents

[osapcommon\cruise_data\2008-32\ARCHIVE\TSG] *.TOB

[osapcommon\cruise_data\2008-32\PROCESSING]

[osapcommon\cruise_data\2008-32\PROCESSING\Angelica] files for use of A. Peña

[osapcommon\cruise_data\2008-32\PROCESSING\CONVERT]

*.CNV – after conversion

[osapcommon\cruise_data\2008-32\PROCESSING\DERIVE]

*.CNV – after conversion, wildedit, celltm, derive

[osapcommon\cruise_data\2008-32\PROCESSING\DOC]

2008-32-recal1.ccf – calibration control file for recalibration of DO

2008-32-recal2.ccf – calibration control file for 2nd recalibration of DO

2008-32-ctd.con – corrected configuration files

2008-32-altimeter.csv – report on header entries for altimetry before corrections

2008-32 salinity.xls – salinity data from analyst (Rosette and Loop)

Linearity test-autosal.xls – tests run on Autosal in spring 2008

2008-32_file.doc - this document

2008-32_proc.doc - processing notes

2008-32-che-final.rpt – CTD file header check including channel summary

2008-32-ctd-final.rpt – CHE file header check including channel summary

*hdr.txt – header files with comments for CTD and CHE files

[osapcommon\cruise_data\2008-32\PROCESSING\DOC\hydro]

2008-32 ctd-salinity.xls – edited version of salinity analysis spreadsheet (rosette only)

2008-32-DO_duplicate_study.xls – study of salinity duplicates

2008-32-dox-comp1.csv & .xls – initial comparison of titrated DO and CTD DO

2008-32-dox-comp1-Niskin.csv & .xls – initial comparison of titrated DO and CTD DO

with Niskin bottle # as reference channel

2008-32-dox-comp2.csv & .xls – comparison of titrated DO and CTD DO after 1st recal

2008-32-dox-comp3.csv & .xls – comparison of titrated DO and downcast CTD DO

2008-32-dox-comp4.csv & .xls – comparison of titrated DO and CTD DO after final recal

2008-32-sal-comp1.csv & xls –comparison of bottle salinity and CTD salinity

2008-32-sal-comp2.csv & xls –comparison of bottle salinity and CTD salinity after recal

2008-32-Salinity-Error study.xls – study of possible effect of Autosal error on CTD sal.

addsamp.csv – spreadsheet relating bottle numbers to sample numbers

[osapcommon\cruise_data\2008-32\PROCESSING\DOC\tsg]

2008-32-TSG.con – corrected configuration file for conversion of HEX files.

2008-32-loop-salinity.csv – loop salinity

2008-32-ctd-TSG-comp.xls – comparison of TSG with CTD salinity at 4m

2008-32-TSG-loop-salinity-comp.xls – comparison of TSG salinity and loop salinity

[osapcommon\cruise_data\2008-32\PROCESSING\HYDRO]

*.add – bottle from analyst, converted, edited, with flags

*.bot  - *.ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.ed1 & .log – output of editing bot file

*.mrg – after addition of oxygen and salinity bottle data to BOT files

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from simplified version of analyst’s spreadsheet

*.sam – bottle files with sample numbers added

[osapcommon\cruise_data\2008-32\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del – after DELETE

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT.

Delete.log - log from routine DELETE

[osapcommon\cruise_data\2008-32\PROCESSING\TSG] before conversion to IOS SHELL

*.cnv – TSG files after SeaBird conversion (no positions)

*.csv – spreadsheet versions of TSG files with positions

[osapcommon\cruise_data\2008-32\PROCESSING\TSG\IOS] after conversion to IOS SHELL

*.atc – after adding positions and times to headers and time/date channel

*.ed1– after editing using CTDEDIT

*.ios – after conversion to IOS HEADERS

*.log – log files from editing

*.tob – final TSG files

______________________________________________________________________________

[osapcommon\cruise_data\2008-32\RAW]

[osapcommon\cruise_data\2008-32\RAW\CTD]

[osapcommon\cruise_data\2008-32\RAW\Chemistry]

[osapcommon\cruise_data\2008-32\RAW\Chemistry \Oxygen] data from analyst

[osapcommon\cruise_data\2008-32\RAW\Chemistry\Salinity] data from analyst

[osapcommon\cruise_data\2008-32\RAW\TSG] TSG raw files