## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| ### 24 Nov 2021 | ### Corrected the Salinity:Bottle precision lost during HPLC addition. S.H. |
| 4 Jan 2021 | Added HPLC Data. S.H. |

## PROCESSING NOTES

Cruise: 2008-41

Agency: OSD

Location: Strait of Georgia / Juan de Fuca Strait

Project: SoG-JdF Water Properties Survey

Party Chief: Chandler P.

Platform: Vector

Date: June 16, 2008 – June 22, 2008

Processed by: Germaine Gatien

Date of Processing: 29 September 2008 – 7 October 2008

Number of original CTD casts: 71		Number of CTD casts processed: 71

Number of bottle casts: 	21 (+ stop on one cast just for 50L bottom sample – no chemistry sampling)

Number of bottle casts processed: 21

# INSTRUMENT SUMMARY

A SeaBird Model SBE 911+ CTDs (#0443) was used during this cruise. It was mounted in a rosette and attached were a Wetlabs CSTAR transmissometer (#1005DR), an SBE 43 DO sensor (#1176), a Seapoint Fluorometer (#2228) with a 10X cable, two PAR sensors (#4565 and later #4601), a Surface PAR sensor (#16504) and an altimeter (#1252). The deck unit and the logging computer serial numbers were not recorded in the log.

# SUMMARY OF QUALITY AND CONCERNS

The Daily Science Log Book and rosette log sheets were generally in good order though there was no list of equipment used. There were a few errors of which the most serious was a case where the sample numbers are written beside the wrong Niskin bottle numbers on the rosette sheet. One bottle had been fired twice accidentally and this was noted on the sheet, but the sample numbers had not been corrected. There were a lot of notes in both logs and this was helpful in resolving problems. The rosette sheet for station 42 showed the event # to be 5; it should have been event 15.

There were problems with the salinity bottle data. It appears that some samples labelled as being from Niskin Bottle #2, as was intended judging by the rosette log sheets, were actually taken from the 2nd bottle from the top. As a result there were very few bottles available for testing salinity calibration. This error does not appear to have happened with other chemistry sampling.

The nutrient analyst flagged many samples due to the presence of salt crystals on the test tube rims and in caps. Many of those samples are out of line in profile and duplicates found many of them quite different from samples without such crystals.

The PAR sensor was changed at sea because of bad data, but there were errors in the configuration file used that appear to account for the concerns.

No hex file was saved for cast #28. A similar problem occurred at cast #29 which was rerun after a reboot of the system.

The date was wrong in about half of the files.  Similar problems occurred during cruises 2008-07 and 2008-19 which used mostly the same equipment, but for those there was a pattern of times associated with the errors. This time there is no obvious pattern.

Transmissivity and fluorescence are nominal and unedited except that some records were removed in editing temperature and salinity.

The dissolved oxygen data in the CTD files should be considered:

•	±0.6  ml/l from  0– 50db

•	±0.25 ml/l from 50–175db

•	±0.15 ml/l below 175 db

Salinity was not recalibrated, but should be checked when the conductivity sensor after the next drift check is received from the factory.

# PROCESSING SUMMARY

##### Seasave

This step was completed at sea; the raw data files have extension HEX.

##### Preliminary Steps

The Log Book was obtained together with rosette log sheets. There were a number of notes about date problems and this has been a problem in other recent cruises; this will be checked after conversion to IOS Headers.

Salinity data were available in spreadsheet format.

Nutrients data were provided in spreadsheet format.

Dissolved oxygen data were available in individual OXY files without flag channel or comments.

CHL data were available in spreadsheet format.

The cruise summary sheet was completed.

The histories of the conductivity, DO and pressure sensors were obtained.

The calibration constants were checked for all instruments. An error was found in the PAR constants for the instrument used for the first 11 casts. At sea it was noted that there was a problem but it was assumed to be the instrument that was at fault, so the PAR sensor was swapped.

The con file for the first configuration was corrected and saved as 2008-41-ctd.con and the second was saved as 2008-41-ctd2.con.

##### Conversion of Raw Data

Data were converted using configuration files 2008-41-ctd1.con for casts #1-11 and 2008-41-ctd2.con for casts #12-73. The pressure offset was set to 6.5db which proved reasonable for the last few uses of this equipment, so it was left unchanged.

A few casts were examined and all expected channels are present and look reasonable when plotted. As usual the upcast temperature and conductivity traces are noisier and further apart than in the downcasts. For the deepest casts, the fluorescence is about 0.13ug/l near the bottom.

The transmissivity has small spikes at depth, but not large ones.

The dissolved oxygen shows the usual offset, but the response time looks quite good.

The PAR data look very noisy at the surface especially during upcasts, but the spikes are generally in step with variations in the descent rate, so this is likely caused by moving up and down in a very strong gradient either during the soak period or while stopped for rosette sampling. PAR values otherwise look to be in step with the Surface Par, so the calibration appears to be ok.

The descent rate varies from cast to cast, but overall was steadier than usual.

The altimetry looks reasonable near the bottom.

Rosette files were converted using a start time of -2s and duration of 5s. While 22 files were created there are only rosette sheets for 21. Cast #16 had a stop at the bottom to collect 50L of water with no chemistry sampling and sample number assigned, so this will not be processed further. There was a file named 2008-41-0005.ros, but the Daily Science Log Book indicates that was not a rosette casts; this error arose because the event number was wrong on the rosette sheet. It should have been #15.

The rosette files were then converted to IOS SHELL files. CLEAN was run to add event numbers and the output files were named *.BOT.

All BOT files were plotted and a few outliers were found in casts 1 (Sal1-bottle 6), 16 (Sal0 – bottle 15) and 39 (both salinity channels – bottle 3). These were cleaned using CTDEDIT. The output files were then copied to BOT.

##### WILDEDIT

Program WILDEDIT was used to remove spikes from the pressure, conductivity and temperature channels only.

Parameters used were: 	Pass 1    Std Dev = 2 	Pass 2    Std Dev = 5 	Points per block = 50

##### CELLTM

Tests were run on a few casts to determine the best choice of parameters for CELLTM. Settings tried were (α = 0.01, β=7), (0.01, 9), (0.02, 7), (0.02, 9), (0.03, 7), (0.03, 9), (0.04, 7), (0.04, 9) and (0.0245, 9.5). The differences among them were slight and varied from feature to feature. The choice of (0.03, 7) looked best overall for the primary conductivity and (0.03, 7) for the secondary conductivity. CELLTM was run using (α = 0.03, β = 7) for the primary conductivity and for the secondary conductivity.

##### DERIVE

Program DERIVE was run twice:

on all casts to calculate primary and secondary salinity.

on a few casts to calculate the differences between primary and secondary channels for temperature, conductivity and salinity. These were placed in a test directory and will not be archived.

##### Test Plots and Channel Check

A sample of casts was plotted to check for agreement between the pairs of T and C sensors. The differences are very noisy, especially in the shallow temperature, so these are very rough averages.

| Cast # | Press | T1-T0 | C1-C0 | S1-S0 | Descent Rate |
| --- | --- | --- | --- | --- | --- |
| 2 | 300 | ~0 XN | +0.0002 | -0.0025 XN | Moderate, Steady |
| 24 | 300 400 | +0.0002 XN +0.0001 VN | +0.00026 VN +0.00024 | +0.0025 +0.0025 VN | Moderate, Steady “ |
| 46 | 300 | +0.0001 XN | +0.00032 VN | +0.0032 N | High, Steady |

The differences are reasonably small, on average, but there is a lot of variability.

##### Conversion to IOS Headers

The IOSSHELL routine was used to convert SEA-Bird 911+ CNV files to IOS Headers.

CLEAN was run to add event numbers and to replace pad values in the Pressure channel using linear interpolation based on scan number.

##### Checking Headers

The header check and a cross-reference listing were produced. Times and positions look fine. The NMEA date does not agree with the system upload time for casts #1, 7-9, 25-36, 57-73. Notes in the log book indicate that on a few occasions it was realized there was a problem. Checking the SeaBird headers the NMEA times are all correct. The system Upload Times don’t make much sense – look quite random in the relationship to the NMEA times. Sometimes have the right date, but not always. Similar problems occurred during 2008-07 and 2008-41 though it seems worse for this cruise. It is possible this is due to a bug in a new acquisition system. The dates were changed in the headers of CLN and SAMAVG files to agree with the log book dates.

The cruise track was plotted and no problems found.

The average surface pressure is 1.9db, which is reasonable for the Vector.

The altimeter readings from the headers of CLN files were exported to a spreadsheet and a few entries were checked against plots of altimetry against pressure. All values looked fine.

##### BOTTLE FILE PREPARATION

The BOT files were averaged to enable an addsamp file to be created. This file was edited to add sample numbers taken from the rosette sheets. The following problems were noted:

- For cast #26, 16 bottles were fired, but only 15 sample numbers assigned. There were two bottles closed at 250db, but only 1 was sampled. It will be presumed that Niskin #2 was sampled and not Niskin #3. Because the rosette sheet is inaccurate, checks will need to be made after the full bottle file is ready, to ensure the samples correspond to the correct bottles, though this may be hard to establish. They could all be out by one place. This will be examined in COMPARE.

- For cast #49, sample #208 was assigned to a bucket sample done because the near-surface bottle was not tripped. This value will be added to the bottle file later by entering a line with pad values for the CTD channels.

The ADDSAMP file was converted to CST files to be used as a framework for the bottle files. It was also used to add sample numbers to the BOT files (output: SAM). The BOT files were then bin-averaged.

SALINITY

The salinity data were delivered in spreadsheet format 2008-41sal.xls. There were no flag, comments or event number columns so those were added. Headers were changed to standard formats and the spreadsheet was simplified and saved as 2008-41-sal.csv. This was converted into individual SAL files.

The only duplicate salinity samples had values 27.0726 and 27.0736, so the difference is 0.001.

DISSOLVED OXGYEN

Dissolved oxygen files (*.oxy) were delivered without flag channel. Cast #22 had been divided into two separate files – the contents were combined and the header entry for the number of records was changed to reflect that. Add Channel was used to add a flag channel. Notes from the analyst on the rosette sheet were used to enter comments and flags where appropriate. After COMPARE is run these will be revisited to see if the flags are justified. File 2008-41-0005.add was renamed 2008-41-0015.add. A few errors were corrected based on notes on rosette sheets. As often happens a titration failed during cast #49 and in order to do it again, a new sample # had to be created. The faulty record was removed and the good one had its sample # corrected. There were records out of order in cast #12 and an error in sample number in cast #56; those had to be fixed to enable the merging with CTD data.

There were no duplicate samples.

NUTRIENTS

The nutrient spreadsheet was simplified and saved as 2008-41nuts.csv. Extraneous columns were removed, header names were changed to standard format and lines were removed for which there was no nutrient sampling. Data were sorted on sample number A note from the analyst Wendy Richardson, mentions that there was salt on many of the caps and the rims of test tubes. In some cases these were duplicates, so were rejected in favour of the other sample. Fortunately, in no case were both of the duplicate samples affected. Since the salt clearly affected each case in the duplicate study, all cases with salt and without duplicates were flagged “c”. This should be revisited when the full bottle files are assembled to see if the values look out of line. File 2008-41nuts.csv was then converted to individual NUT files.

Profile plots were made to check for outliers and the only one that had not been flagged by the analyst was for sample #205. Because it is in Haro Strait, an area of active mixing, and the adjacent bottles were corrupted by salt crystals, and no problem was noted in the analysis, no flag will be assigned. But a comment explaining this was added to the header of the CHE file.

CHL

The CHL spreadsheet was edited to change headers to standard names and remove extraneous lines; it was then saved as 2008-41chl.csv. An event # column was added and filled in based on rosette log records. Data were sorted on sample number. File 2008-41chl.csv was then converted to individual CHL files.

The SAL, CHL, ADD and NUT files were merged with CST files in four steps. (Output: MRG1, MRG2, MRG3, and MRG4), MRG4 was put through CLEAN to reduce the headers to File and Comment sections only (Output MRGCLN1.) That file was then merged with SAMAVG files (Output:MRG).

Checks were made of cast #26: The salinity value is clearly not from the depth indicated, but there is no clear evidence of mis-sampling in the nutrients or chlorophyll. The dissolved oxygen data show little variability below the surface, so it might not be clear if there was mis-sampling.

##### Compare

Salinity

COMPARE was run using pressure as the reference channel. There were many severe outliers including all bottles from casts #1 and #12-41. The salinity in the bottles was very low. As will be seen below there was problem in the dissolved oxygen comparison, so this does not look like a problem with bottles misfiring. In all the bottles checked there was no salinity in the CTD profile with values as low as those seen in the bottle analyses.

When the extreme outliers were removed there were only 9 values left and three of those were also outliers, but differing by only 0.010, 0.13 and 0.07. One of those outliers is associated with a high standard deviation in the CTD salinity and the others have slightly high standard deviation. The average difference indicates that the primary salinity is low by 0.0004 using the 6 bottles left or low by 0.0005 if only 4 bottles with very low CTD standard deviation are included. For the secondary the salinity is low by 0.0002 using 6 bottles and high by 0.0018 using the 4 with lowest CTD standard deviation. There is more scatter in the secondary differences and the fit is not as flat as that for the primary.

There have been concerns about the linearity of the Autosal. A non-linearity test run on the Autosal in April 2008 on standards 10, 30, 35 and 37 salinity units found that it read high by +0.009 at 30psu and +0.001 at 10psu; at 35psu it performed well. Comparisons of bottle data from other cruises compared to post-cruise factory calibrations support the results at 35 and 30. In July repairs were done on the Autosal and the linearity test was repeated. The Autosal result was low by 0.001 at 30 and low by 0.0007 at 30psu, so the problem appears to be resolved. Those errors would account for an error of about 0.001 and would make the CTD look higher than it really is by ~0.001. (See file Linearity Test-Autosal_July2008.xls.) A fit of differences against salinity is one way to check for linearity problems, but there is so little data that this is not informative. The CTD looks a little low at lower salinity for the primary, but both lower values have high standard deviations in the CTD salinity. For the primary the differences are quite flat with salinity when one outlier is excluded. These sort of differences are well within the error range for the Autosal, so there is no evidence of non-linearity.

The extreme outliers were studied by checking upcast CTD data to see at what level those salinity values could be found. In the cases of very low salinity, there was usually a match to a bottle fired near the surface. (See file 2008-41-bottle-salinity-study.xls.) A number of possible explanations were investigated:

- Could the Niskin bottles have been mislabelled? Many of the samples were supposed to be from bottle #2 appear to have actually come from bottles 9, 11, 12, 14 and 15. So there is no pattern.

- Maybe the bottles did not close when fired. The dissolved oxygen comparison looks ok, so this does not seem to be the case. Also nutrient values do not look out of line.

- Could the samples be taken from a surface bucket? This seems unlikely. It did occur in one case, but was noted in the log and the reason was that a bottle had not closed.

- Could the samples be from another cruise? The analyst copied the label info to the analysis sheet and it looks convincing including sample number and station ID. The April SoG/JdF cruise was checked to make sure that was not the source, but the bottle data from that cruise included no salinity <28psu. The samples were analyzed at the same time as those from 2008-26, so there could be some possibility of confusion. Samples from Rivers Inlet could well have very low values, but no data were found to be missing when 2008-26 was processed and there were no unusual problems in the comparison for that cruise.

- Could the sample have been taken from the wrong bottle? There were some inexperienced personnel, but the names entered on the rosette log sheets show almost all science crew involved in the questionable casts. Of course some people might have helped without their names being recorded. Lending some credence to the possibility of choosing the wrong bottle is that the last 6 rosette casts look fine suggesting the problem had been cleared up with experience. As an experiment a set of bottle files were prepared in which the salinity values were moved so that their positions were relative to the top rather than the bottom; for exampled, a sample recorded as from bottle 2 of 15 bottles was moved to position 14, i.e. 2nd from the surface instead of 2nd from the bottom. COMPARE was then run and the results certainly look better, though the differences at the surface are very large, and not useful for recalibration.

It looks most likely that some salinity samples were taken from the wrong Niskin bottles. The chief scientist reports that there was a different approach taken to sampling, drawing the surface samples first instead of last, thus enabling chlorophyll to be drawn early. It is possible this led to some confusion. The salinity samples that are obviously taken from the wrong bottles will be replaced with a pad value, and an “e” flag will be added. A comment in the header will have the value found by the analyst and an explanation for why it was removed.

For cast #26 the salinity sample is believed to be from a bucket sample, but got merged into a place in the bottle file, so that was replaced with a pad value.

CTD Fluorescence

COMPARE was run using extracted chlorophyll and CTD fluorescence. The fits (with offset forced to 0) show fluorescence to be about 34% of extracted chlorophyll values, with values close to 100% for the lowest chlorophyll values. When the 2 highest CHL values are excluded the slope is 52%. The average of FL/CHL is ~0.6 if CHL>3.5ug/l are excluded. The highest CHL values are found in Saanich Inlet, with a few other values >4 in Juan de Fuca Strait. The samples from cast #49 were examined and it was found that the bucket sample had got merged with the bottle at 5db; this is incorrect so the value was replaced with a pad value; the gradient is low at that level, so it did not affect the fits much. A line will be added to this bottle file later and then the CHL value of 2.97 can be entered on that line.

Dissolved Oxygen

COMPARE was run using pressure as the reference channel. There were no severe outliers, so whatever caused the problem with salinity is not a factor in this comparison. Outliers were identified using residuals in the fit against pressure and against DOX values.

For cruises 2008-28 (March), 2008-19 (April) and 2008-26 (May) a new approach was used to calibrate dissolved oxygen because the fits looked unrealistic for this instrument at low DO values. When bottle values are very low the CTD DO sensor does not reach zero and certainly never <0. To force a more realistic value at low DO, the offset was set so that CTD DO = 0.07 when Bottle DO = 0 for the first of those cruises, and then at 0.01 for the latter two. Using the 0.01 offset for this cruise, the resulting fit was:

CTD-BOT = 1.0668 DOX-CTD -0.01

The results for the 3 cruises mentioned above were

CTD-BOT = 1.0484 DOX-CTD-0.01  (2008-28)

CTD-BOT = 1.0405 DOX-CTD-0.01  (2008-19)

CTD-BOT = 1.0708 DOX-CTD-0.01  (2008-26)

The result for this cruise is very close to the Line P cruise, 2008-26. That may mean this is a more reliable method, or may just reflect that the range of DO is similar. However, Line P had a lot of DO values <1 which are missing her.

The flags assigned earlier were all removed since none of the data look way out of line, but the analysts comments taken from the rosette sheets were left in the headers, with “Looks ok in COMPARE” added to show why no flag was attached.

Plots of Bottle DO and CTD DO versus Salinity turned up no significant outliers.

Because there were some doubts about the assignment of sample numbers for cast #26 a study was made of how the fit would look if the sample #s were assigned to one bottle higher or lower, and in both cases the slope of the fits were very different from that found for the whole data set and there was a lot of scatter. The fit for that one cast using the “best guess” assignment had a slope of 1.0758 which is reasonably close to the full data set and there was very little scatter. So it looks like the sample numbers as assigned are correct.

##### 13. Shift

Fluorescence

To find what shift is needed for the fluorescence, upcast and downcast profiles were examined to determine the vertical offset of the temperature and fluorescence traces. The differences between these two offsets are treated as a measure of how much the fluorescence needs to be shifted. The “excess” offset for the fluorescence was divided by the averaged descent/ascent rate and divided by 2(since the shift will be applied to both up and downcast) to find the shift (in seconds) to remove that offset. For some casts the results varied greatly from one level to another, but when casts with a very steady descent rate and fairly smooth fluorescence are examined, +24 looks appropriate. A shift of +24 records (1s) was applied. (Output: SHFFL)

Dissolved Oxygen

Tests were run on 3 casts to determine the best SHIFT value to apply to the Dissolved Oxygen channel. This was judged by how the vertical offset between downcast and upcast traces compares with that of the temperature. Because there is an offset in values between upcast and downcast due to the time response, alignment will not produce traces that overlie each other exactly. SHIFTS of from +90 to +130 records were tested and +110 looked best overall.

SHIFT was run using +110 records for all casts.

Conductivity

Tests were run on 6 casts using shifts between -1s and +1s and T-S plots were prepared to compare the results. A setting of -0.2s looked best for the primary sensor and +0.3s for the secondary. All casts were put through two runs of SHIFT using those settings. (Output *.SHFC0 and SHFC1).

##### 14. DELETE

The following DELETE parameters were used:

Surface Record Removal: Last Press Min   	Maximum Surface Pressure (relative): 10.00

Surface Pressure Tolerance: 1.0                  	Pressure filtered over 15 points

Swells deleted. Warning message if pressure difference of 2.00

Drop rates <   0.30m/s (calculated over 11 points) will be deleted.

Drop rate applies in the range:  10db to 10db less than the maximum pressure

Sample interval = 0.042 seconds. (taken from header)

COMMENTS ON WARNINGS: The only warning concerned data in the upcast of #26.

##### DETAILED EDITING

The primary salinity was selected for archiving. It was used for 2008-26, is close to the bottles and there is less scatter in the comparison to bottles. There were problems with the secondary data when this equipment was used on 2008-26, but they look better for this cruise.

Graphical editing was done using program CTDEDIT. On-screen plots of descent rate and pump status were also used. In areas like Haro Strait where instabilities are not unexpected, editing was not applied unless data were clearly corrupted. The descent rate was quite steady for most casts, but was noisy near the mouth of Juan de Fuca Strait.

All casts required some editing. Note was made of the editing details in the headers of the relevant files.

##### Initial Recalibration

The salinity does not appear to require recalibration, but that should be revisited when the conductivity sensor is next recalibrated at the factory.

File 2008-41-ctd.ccf was prepared to apply the following equation to the CTD Dissolved Oxygen channel in the SAM and MRG files (done on temp files, redo later):

CTD-BOT = 1.0668 DOX-CTD - 0.01.

COMPARE was then rerun to check that the results were as expected and they were. (See 2008-41-dox-comp2.xls and 2008-41-sal-comp2.xls.)

The same calibration control file was then applied to the edited CTD files.

##### Final Calibration of DO

The first recalibration of dissolved oxygen corrects for calibration drift. Shift corrects for transit time errors. A further correction will be applied to at least partly correct for response time. To do this we compare downcast data to bottle data from the same pressure.

Files were bin-averaged to 0.25m bins for the casts with DO bottle samples. Those files were then thinned to the usual levels for bottles and compared to the bottle values in the MRG files. COMPARE was used to study the differences between the downcast CTD DO data and the upcast bottles. There is a lot of scatter in the comparison especially near the surface. The fits against DO and pressure are not flat; the fit against pressure when a few outliers are excluded indicates a correction as follows:

DO (Corrected) = DO (after 1st recalibration) – 0.1189 + 0.0004 * Pressure

(See 2008-41-dox-comp3.xls.)

The thinned files were recalibrated by applying the above correction and the comparison was rerun. That showed that the recalibration was applied properly. (See 2008-41-comp4.xls.)

Recalibration using file 2008-41-recal2.ccf was then applied to the downcast files only (COR1). (Output: COR2)

The COR2 files were then clipped to 150db (output:CLIP) and bin-averaged (0.25db bins), put through REMOVE and HEADEDIT and named as *.FCTD1 and saved for Angelica Peña. A second set, *.FCTD2, were created by filtering before bin-averaging. The SAMCOR1 files were put through REMOVE and named *.BOF and saved for the use of Angelica Peña. A readme.doc file was prepared with some notes on the preparation of those files.

##### Special Fluorometer Processing

A median filter, fixed size=11, was applied to the fluorescence channel in the COR2 files to reduce spikiness. One cast was examined before and after this step and showed that the filter was effective.

##### BIN AVERAGE of CTD files

The following Bin Average values were applied to the FIL files (output AVG):

Bin channel = pressure	Averaging interval = 1.000	Minimum bin value =   .000

Average value will be used.	Interpolated values are NOT used for empty bins.

After averaging, page plots were examined on screen and no further editing was deemed necessary.

##### Other Comparisons

Previous experience with these sensors –

1. Salinity: The primary conductivity sensor was used for 2008-26 when the salinity was found to be low by ~0.003; the secondary was low by ~0.002.

2. Dissolved Oxygen – This sensor has been used for many cruises since it was last recalibrated. For two of the most recent cruises a new approach was taken to the fit of bottle DO against CTD DO by fixing an offset. Applying the same method to all recent cruises using this sensor, the COMPARE fit had a slope of 1.0360, 1.0287, 1.0368, 1.0405, 1.0351 and 1.0708. So there appears to be a fairly steady drift in slope, keeping in mind the very different ranges of DO sampled during different cruises.

3. Pressure – This sensor has been drifting significantly in recent years. When used for 2007-61, 2008-07 and 2008-28 offsets of +6.3db, 6.5db and +6.5db were used.

Historic ranges –There were many excursions from the historic ranges, most in the top 20m with salinity sometimes above the maxima and sometimes below the minima. The temperature data was mostly within the ranges, but there were a few excursions in both directions for that as well. Since the excursions are in both directions, they do not suggest a problem with the calibration of T and S, but are more likely reflective of limitations in the climatology which has not been updated since 1997 and show how variable a region this is.

Repeat Casts – There were no repeat casts.

Comparison of Nearby Casts – For lines across Juan de Fuca Strait there is an obvious gradient with the southernmost sites having colder and saltier water at mid-depths than at the northernmost sites; however, the opposite is seen nearer the bottom where the southern sites are warmer and fresher than the northern sites; this is seen as far east as Victoria. Given the local variability of this region, none of the casts are close enough to test repeatability.

##### FINAL CTD files steps (REMOVE and HEADEDIT)

T-S plots were examined on-screen. The only unstable features seen were in casts in areas of active mixing where such features are to be expected.

For all casts REMOVE was run to remove Scan_Number, Temperature:Secondary, Salinity:T1:C1, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, Status:Pump, Descent_Rate, Altimeter and Flag.

A second SBE DO channel was added; REORDER was run to put the two SBE DO channels together.

HEADER EDIT was used to fix formats and channel names and to add the following comments:

Transmissivity and fluorescence are nominal and unedited except that

some records were removed in editing temperature and salinity.

The dissolved oxygen data in the CTD files should be considered:

•	±0.6  ml/l from  0– 50db

•	±0.25 ml/l from 50–175db

•	±0.15 ml/l below 175 db

The Standards Check routine was run and no problems were found. The final files were named CTD.

A header check turned up no problems.

Profile plots were made and no problems were found.

The track plot looks ok.  The cross-reference lists turned up no problems.

As a final check of dissolved oxygen data % saturation was calculated and plotted. The values ranged from 70% to 140%, with the highest value in Saanich Inlet. Other high values were in the north-eastern part of the Strait of Georgia and lowest values were in the Haro Strait and Juan de Fuca Strait. For a few casts with high and low saturations, bottle values were checked against CTD DO and they look ok, but most of the extreme values were not at rosette casts. Where dissolved oxygen saturation was high, fluorescence was also high, so this is assumed to be a result of biological activity.

##### Final Bottle Files

The MRGCOR1 files were put through SORT to order on increasing pressure.

For all casts the following channels were removed from all casts: Scan_Number, Temperature:Secondary, Salinity:T1:C1, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, Altimeter, Status:Pump, Descent_Rate and Flag.

A second SBE DO channel was added with different units. Then the files were reordered to put the two SBE DO channels together.

HEADER EDIT was run to fix formats and units and to add a comment about quality flags and analysis methods.

Standards check was run on all files and HEADEDIT adjusted until all format problems were resolved. (Output: CHE) MAY NEED TO UPDATE CHL COMMENTS

For cast #49, a line was added to the CHE file; the sample number was entered as 208 and the pressure as 0.0; CHL and Nutrient results for sample #208 were entered, together with “c” flags. Pad values were entered for the CTD channels and a note was put in the header to explain that the samples were from a surface bucket because the surface Niskin Bottle had not fired.

##### Producing final files

A cross-reference listing was produced for CTD and CHE files.

The sensor history was updated.

Particulars from log:

1. rosette bottle #13 fired but did not trip

6. slowed down at 50m to take brake off winch

7. date error on computer

11. PAR data found to be too low, so switched after this cast

16. 50L collected at bottom

23. Ship repositioning during downcast, slowed to 0.6m/s to 70m

28. no hex file

33. many jellyfish near surface

46. turned off program before pump turned off

47. program reaccessed just to turn off pump – no hex file saved

49. in debris field

56. computer date 19th

61. noisy fluorescence near surface

# Institute of Ocean Sciences

# CRUISE SUMMARY

CTD

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 911+ | 0443 | Yes | Yes |

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 4054 | 16Jan08 | Factory “ |  |  |
| Conductivity | 1766 | 07may08 | “ |  |  |
| Secondary Temp. | 4700 | 16Jan08 | “ |  |  |
| Secondary Cond. | 2173 | 07may08 | “ |  |  |
| Transmissometer | 1005DR | 5Mar08 | IOS | 5MAR08 | IOS |
| SBE 43 DO sensor | 1176 | 14Feb2007 | Factory |  |  |
| Fluorometer | 2228 | ? | IOS |  |  |
| PAR | 4565 | 23dec2004 |  |  |  |
| PAR | 4601 | 19dec2003 |  |  |  |
| Surface PAR | 16504 | 2Jan2004 |  |  |  |
| Pressure Sensor | 63507 | 25/10/2004 | Factory |  |  |
| Altimeter | 1252 | ? | ? |  |  |