## File List
Number of Files= |  | 21
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2008-41-0001.mrg | 2008-41-0001.sam | 12 | 12 | 2008-41-0001.mrg & 2008-41-0001.sam
2 | 2008-41-0003.mrg | 2008-41-0003.sam | 14 | 14 | 2008-41-0003.mrg & 2008-41-0003.sam
3 | 2008-41-0006.mrg | 2008-41-0006.sam | 16 | 16 | 2008-41-0006.mrg & 2008-41-0006.sam
4 | 2008-41-0012.mrg | 2008-41-0012.sam | 18 | 18 | 2008-41-0012.mrg & 2008-41-0012.sam
5 | 2008-41-0015.mrg | 2008-41-0015.sam | 20 | 20 | 2008-41-0015.mrg & 2008-41-0015.sam
6 | 2008-41-0019.mrg | 2008-41-0019.sam | 22 | 22 | 2008-41-0019.mrg & 2008-41-0019.sam
7 | 2008-41-0022.mrg | 2008-41-0022.sam | 24 | 24 | 2008-41-0022.mrg & 2008-41-0022.sam
8 | 2008-41-0026.mrg | 2008-41-0026.sam | 26 | 26 | 2008-41-0026.mrg & 2008-41-0026.sam
9 | 2008-41-0029.mrg | 2008-41-0029.sam | 28 | 28 | 2008-41-0029.mrg & 2008-41-0029.sam
10 | 2008-41-0031.mrg | 2008-41-0031.sam | 30 | 30 | 2008-41-0031.mrg & 2008-41-0031.sam
11 | 2008-41-0034.mrg | 2008-41-0034.sam | 32 | 32 | 2008-41-0034.mrg & 2008-41-0034.sam
12 | 2008-41-0037.mrg | 2008-41-0037.sam | 34 | 34 | 2008-41-0037.mrg & 2008-41-0037.sam
13 | 2008-41-0039.mrg | 2008-41-0039.sam | 36 | 36 | 2008-41-0039.mrg & 2008-41-0039.sam
14 | 2008-41-0041.mrg | 2008-41-0041.sam | 38 | 38 | 2008-41-0041.mrg & 2008-41-0041.sam
15 | 2008-41-0049.mrg | 2008-41-0049.sam | 40 | 41 | 2008-41-0049.mrg & 2008-41-0049.sam
16 | 2008-41-0052.mrg | 2008-41-0052.sam | 43 | 43 | 2008-41-0052.mrg & 2008-41-0052.sam
17 | 2008-41-0056.mrg | 2008-41-0056.sam | 45 | 45 | 2008-41-0056.mrg & 2008-41-0056.sam
18 | 2008-41-0059.mrg | 2008-41-0059.sam | 47 | 47 | 2008-41-0059.mrg & 2008-41-0059.sam
19 | 2008-41-0062.mrg | 2008-41-0062.sam | 49 | 49 | 2008-41-0062.mrg & 2008-41-0062.sam
20 | 2008-41-0065.mrg | 2008-41-0065.sam | 51 | 51 | 2008-41-0065.mrg & 2008-41-0065.sam
21 | 2008-41-0068.mrg | 2008-41-0068.sam | 53 | 53 | 2008-41-0068.mrg & 2008-41-0068.sam

## (Sal0 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.21011 |  | X | CALC Y
m= | -6.3335e-06 | 6.1401e-06 |  | Std Dev of Resid |  | 0.00089037 |  | 74.6937 | 8.9348e-05
b= | 0.00056242 | 0.0010393 |  | Resid Sum of Squares |  | 3.171e-06 |  | 250.103 | -0.0010216
# of Values Extracted = |  |  | 22
# of Values Used in Fit = |  |  | 6
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 75.3366 | 30.5784 | 0.00071298 | 3.7802 | 8.5276e-05 | -3.7802 |  | 99.0346 | -0.0012093
2 | NO | 201.725 | 32.0733 | 0.013466 | -0.13686 | -0.0007152 | 0.13614 |  | 74.6937 | 0.00049591
3 | NO | 200.309 | 32.0351 | 0.0026076 | -0.010181 | -0.00070623 | 0.0094752 |  | 151.696 | 0.00029373
4 | NO | 150.685 | 30.7639 | 0.00044552 | 3.8087 | -0.00039194 | -3.8091 |  | 175.753 | 0.00032806
5 | NO | 300.008 | 30.8935 | 0.00025916 | 3.8204 | -0.0013377 | -3.8217 |  | 200.129 | -0.0013428
6 | NO | 299.925 | 30.9091 | 0.00036322 | 3.821 | -0.0013371 | -3.8223 |  | 250.103 | -0.0012169
7 | NO | 300.063 | 30.8742 | 0.00022727 | 3.8223 | -0.001338 | -3.8236
8 | NO | 250.326 | 30.8121 | 0.00087715 | 3.8191 | -0.001023 | -3.8201
9 | NO | 250.01 | 30.8512 | 0.00042526 | 3.8144 | -0.001021 | -3.8154 |  |  |  | -0.00044187 | -0.00048447
10 | NO | 174.997 | 30.7197 | 0.00054656 | 3.8183 | -0.00054592 | -3.8188
11 | NO | 150.102 | 30.6545 | 0.00042371 | 3.7951 | -0.00038825 | -3.7955
12 | NO | 299.784 | 30.7244 | 0.00021935 | 3.8179 | -0.0013363 | -3.8192
13 | NO | 300.31 | 30.7101 | 0.0010407 | 3.8221 | -0.0013396 | -3.8234
14 | NO | 124.966 | 30.627 | 0.00054189 | 3.8188 | -0.00022905 | -3.819
15 | NO | 124.135 | 32.8807 | 0.0011795 | -0.068607 | -0.00022379 | 0.068384
15 | NO | 19.9588 | 30.3377 | 0.003152 | 3.819 | 0.00043601 | -3.8186
16 | YES | 99.0346 | 32.8994 | 0.015449 | -0.0012093 | -6.4815e-05 | 0.0011444
17 | YES | 74.6937 | 33.6493 | 0.0017878 | 0.00049591 | 8.9348e-05 | -0.00040656
18 | YES | 151.696 | 33.9434 | 0.00028204 | 0.00029373 | -0.00039834 | -0.00069208
19 | YES | 175.753 | 33.9694 | 0.0003044 | 0.00032806 | -0.00055071 | -0.00087877
20 | YES | 200.129 | 33.9774 | 0.0003854 | -0.0013428 | -0.00070509 | 0.00063768
21 | YES | 250.103 | 34.0181 | 0.00025663 | -0.0012169 | -0.0010216 | 0.00019529
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.16642 |  | X | CALC Y
m= | 2.9564e-05 | 3.3082e-05 |  | Std Dev of Resid |  | 0.0047973 |  | 74.6937 | -0.0026513
b= | -0.0048595 | 0.0055995 |  | Resid Sum of Squares |  | 9.2055e-05 |  | 250.103 | 0.0025345
# of Values Extracted = |  |  | 22
# of Values Used in Fit = |  |  | 6
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 75.3366 | 30.5837 | 0.00036716 | 3.7856 | -0.0026323 | -3.7882 |  | 99.0346 | -0.0096245
2 | NO | 201.725 | 32.0667 | 0.010844 | -0.14352 | 0.0011042 | 0.14463 |  | 74.6937 | 0.0012588
3 | NO | 200.309 | 32.0383 | 0.0044015 | -0.0069542 | 0.0010624 | 0.0080165 |  | 151.696 | 0.0026093
4 | NO | 150.685 | 30.7681 | 0.00037477 | 3.8129 | -0.00040472 | -3.8133 |  | 175.753 | 0.0027618
5 | NO | 300.008 | 30.8964 | 0.00025381 | 3.8233 | 0.0040098 | -3.8193 |  | 200.129 | 0.0011025
6 | NO | 299.925 | 30.9119 | 0.00042597 | 3.8238 | 0.0040074 | -3.8198 |  | 250.103 | 0.00086212 | -0.00017166 | 0.0018339
7 | NO | 300.063 | 30.8764 | 0.00029274 | 3.8245 | 0.0040115 | -3.8204
8 | NO | 250.326 | 30.8146 | 0.00071839 | 3.8216 | 0.0025411 | -3.8191
9 | NO | 250.01 | 30.8538 | 0.00021106 | 3.817 | 0.0025317 | -3.8144
10 | NO | 174.997 | 30.7245 | 0.00027359 | 3.8231 | 0.00031404 | -3.8227
11 | NO | 150.102 | 30.6578 | 0.00072251 | 3.7984 | -0.00042196 | -3.7989
12 | NO | 299.784 | 30.7269 | 0.00021491 | 3.8204 | 0.0040032 | -3.8164
13 | NO | 300.31 | 30.713 | 0.00066249 | 3.825 | 0.0040188 | -3.8209
14 | NO | 124.966 | 30.6296 | 0.0010444 | 3.8214 | -0.0011651 | -3.8226
15 | NO | 124.135 | 32.8851 | 0.0030498 | -0.064228 | -0.0011896 | 0.063038
15 | NO | 19.9588 | 30.3442 | 0.0030596 | 3.8255 | -0.0042695 | -3.8298
16 | YES | 99.0346 | 32.891 | 0.0045474 | -0.0096245 | -0.0019317 | 0.0076928
17 | YES | 74.6937 | 33.6501 | 0.0018167 | 0.0012588 | -0.0026513 | -0.0039102
18 | YES | 151.696 | 33.9457 | 0.00028648 | 0.0026093 | -0.00037483 | -0.0029841
19 | YES | 175.753 | 33.9719 | 0.00027032 | 0.0027618 | 0.00033639 | -0.0024255
20 | YES | 200.129 | 33.9798 | 0.00038469 | 0.0011025 | 0.001057 | -4.5415e-05
21 | YES | 250.103 | 34.0202 | 0.00022095 | 0.00086212 | 0.0025345 | 0.0016723
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_Bot) (2)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Sal0
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.055162 |  | X | CALC Y
m= | 0.00048473 | 0.0010031 |  | Std Dev of Resid |  | 0.00097379 |  | 32.8994 | -0.00085071
b= | -0.016798 | 0.033849 |  | Resid Sum of Squares |  | 3.7931e-06 |  | 34.0181 | -0.00030844
# of Values Extracted = |  |  | 22
# of Values Used in Fit = |  |  | 6
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Sal0
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 75.3366 | 30.5784 | 0.00071298 | 3.7802 | -0.0019758 | -3.7822 |  | 32.8994 | -0.0012093
2 | NO | 201.725 | 32.0733 | 0.013466 | -0.13686 | -0.0012511 | 0.1356 |  | 33.6493 | 0.00049591
3 | NO | 200.309 | 32.0351 | 0.0026076 | -0.010181 | -0.0012697 | 0.0089117 |  | 33.9434 | 0.00029373
4 | NO | 150.685 | 30.7639 | 0.00044552 | 3.8087 | -0.0018858 | -3.8106 |  | 33.9694 | 0.00032806
5 | NO | 300.008 | 30.8935 | 0.00025916 | 3.8204 | -0.001823 | -3.8222 |  | 33.9774 | -0.0013428 | avg | avg low stdev
6 | NO | 299.925 | 30.9091 | 0.00036322 | 3.821 | -0.0018155 | -3.8228 |  | 34.0181 | -0.0012169 | -0.00044187 | -0.00048447
7 | NO | 300.063 | 30.8742 | 0.00022727 | 3.8223 | -0.0018324 | -3.8241
8 | NO | 250.326 | 30.8121 | 0.00087715 | 3.8191 | -0.0018625 | -3.8209
9 | NO | 250.01 | 30.8512 | 0.00042526 | 3.8144 | -0.0018435 | -3.8162
10 | NO | 174.997 | 30.7197 | 0.00054656 | 3.8183 | -0.0019073 | -3.8202
11 | NO | 150.102 | 30.6545 | 0.00042371 | 3.7951 | -0.0019389 | -3.797
12 | NO | 299.784 | 30.7244 | 0.00021935 | 3.8179 | -0.001905 | -3.8198
13 | NO | 300.31 | 30.7101 | 0.0010407 | 3.8221 | -0.0019119 | -3.824
14 | NO | 124.966 | 30.627 | 0.00054189 | 3.8188 | -0.0019522 | -3.8207
15 | NO | 124.135 | 32.8807 | 0.0011795 | -0.068607 | -0.00085977 | 0.067748
15 | NO | 19.9588 | 30.3377 | 0.003152 | 3.819 | -0.0020924 | -3.8211
16 | YES | 99.0346 | 32.8994 | 0.015449 | -0.0012093 | -0.00085071 | 0.00035855
17 | YES | 74.6937 | 33.6493 | 0.0017878 | 0.00049591 | -0.00048721 | -0.00098312
18 | YES | 151.696 | 33.9434 | 0.00028204 | 0.00029373 | -0.00034465 | -0.00063838
19 | YES | 175.753 | 33.9694 | 0.0003044 | 0.00032806 | -0.00033205 | -0.00066011
20 | YES | 200.129 | 33.9774 | 0.0003854 | -0.0013428 | -0.00032817 | 0.0010146
21 | YES | 250.103 | 34.0181 | 0.00025663 | -0.0012169 | -0.00030844 | 0.00090845
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot) (2)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Sal1
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.02143 |  | X | CALC Y
m= | 0.00087566 | 0.0034163 |  | Std Dev of Resid |  | 0.0010227 |  | 33.6501 | 0.0014882
b= | -0.027978 | 0.11586 |  | Resid Sum of Squares |  | 3.1375e-06 |  | 34.0202 | 0.0018123
# of Values Extracted = |  |  | 22
# of Values Used in Fit = |  |  | 5
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Sal1
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 75.3366 | 30.5837 | 0.00036716 | 3.7856 | -0.0011969 | -3.7867 |  | 33.6501 | 0.0012588
2 | NO | 201.725 | 32.0667 | 0.010844 | -0.14352 | 0.00010171 | 0.14363 |  | 33.9457 | 0.0026093
3 | NO | 200.309 | 32.0383 | 0.0044015 | -0.0069542 | 7.6839e-05 | 0.007031 |  | 33.9719 | 0.0027618
4 | NO | 150.685 | 30.7681 | 0.00037477 | 3.8129 | -0.0010354 | -3.8139 |  | 33.9798 | 0.0011025
5 | NO | 300.008 | 30.8964 | 0.00025381 | 3.8233 | -0.00092307 | -3.8242 |  | 34.0202 | 0.00086212 | 0.0017189 | 0.0018339
6 | NO | 299.925 | 30.9119 | 0.00042597 | 3.8238 | -0.0009095 | -3.8247
7 | NO | 300.063 | 30.8764 | 0.00029274 | 3.8245 | -0.00094058 | -3.8254
8 | NO | 250.326 | 30.8146 | 0.00071839 | 3.8216 | -0.0009947 | -3.8226
9 | NO | 250.01 | 30.8538 | 0.00021106 | 3.817 | -0.00096037 | -3.8179
10 | NO | 174.997 | 30.7245 | 0.00027359 | 3.8231 | -0.0010736 | -3.8241
11 | NO | 150.102 | 30.6578 | 0.00072251 | 3.7984 | -0.001132 | -3.7996
12 | NO | 299.784 | 30.7269 | 0.00021491 | 3.8204 | -0.0010715 | -3.8215
13 | NO | 300.31 | 30.713 | 0.00066249 | 3.825 | -0.0010837 | -3.826
14 | NO | 124.966 | 30.6296 | 0.0010444 | 3.8214 | -0.0011567 | -3.8225
15 | NO | 124.135 | 32.8851 | 0.0030498 | -0.064228 | 0.00081834 | 0.065046
15 | NO | 19.9588 | 30.3442 | 0.0030596 | 3.8255 | -0.0014066 | -3.827
16 | NO | 99.0346 | 32.891 | 0.0045474 | -0.0096245 | 0.00082351 | 0.010448
17 | YES | 74.6937 | 33.6501 | 0.0018167 | 0.0012588 | 0.0014882 | 0.00022937
18 | YES | 151.696 | 33.9457 | 0.00028648 | 0.0026093 | 0.0017471 | -0.00086219
19 | YES | 175.753 | 33.9719 | 0.00027032 | 0.0027618 | 0.00177 | -0.00099183
20 | YES | 200.129 | 33.9798 | 0.00038469 | 0.0011025 | 0.0017769 | 0.00067447
21 | YES | 250.103 | 34.0202 | 0.00022095 | 0.00086212 | 0.0018123 | 0.00095018
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_Bot) (3)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.21011 |  | X | CALC Y
m= | -6.3335e-06 | 6.1401e-06 |  | Std Dev of Resid |  | 0.00089037 |  | 74.6937 | 8.9348e-05
b= | 0.00056242 | 0.0010393 |  | Resid Sum of Squares |  | 3.171e-06 |  | 250.103 | -0.0010216
# of Values Extracted = |  |  | 22
# of Values Used in Fit = |  |  | 6
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 75.3366 | 30.5784 | 0.00071298 | 3.7802 | 8.5276e-05 | -3.7802 |  | 99.0346 | -0.0012093
2 | NO | 201.725 | 32.0733 | 0.013466 | -0.13686 | -0.0007152 | 0.13614 |  | 74.6937 | 0.00049591
3 | NO | 200.309 | 32.0351 | 0.0026076 | -0.010181 | -0.00070623 | 0.0094752 |  | 151.696 | 0.00029373
4 | NO | 150.685 | 30.7639 | 0.00044552 | 3.8087 | -0.00039194 | -3.8091 |  | 175.753 | 0.00032806
5 | NO | 300.008 | 30.8935 | 0.00025916 | 3.8204 | -0.0013377 | -3.8217 |  | 200.129 | -0.0013428
6 | NO | 299.925 | 30.9091 | 0.00036322 | 3.821 | -0.0013371 | -3.8223 |  | 250.103 | -0.0012169
7 | NO | 300.063 | 30.8742 | 0.00022727 | 3.8223 | -0.001338 | -3.8236
8 | NO | 250.326 | 30.8121 | 0.00087715 | 3.8191 | -0.001023 | -3.8201
9 | NO | 250.01 | 30.8512 | 0.00042526 | 3.8144 | -0.001021 | -3.8154
10 | NO | 174.997 | 30.7197 | 0.00054656 | 3.8183 | -0.00054592 | -3.8188
11 | NO | 150.102 | 30.6545 | 0.00042371 | 3.7951 | -0.00038825 | -3.7955
12 | NO | 299.784 | 30.7244 | 0.00021935 | 3.8179 | -0.0013363 | -3.8192
13 | NO | 300.31 | 30.7101 | 0.0010407 | 3.8221 | -0.0013396 | -3.8234
14 | NO | 124.966 | 30.627 | 0.00054189 | 3.8188 | -0.00022905 | -3.819
15 | NO | 124.135 | 32.8807 | 0.0011795 | -0.068607 | -0.00022379 | 0.068384
15 | NO | 19.9588 | 30.3377 | 0.003152 | 3.819 | 0.00043601 | -3.8186
16 | YES | 99.0346 | 32.8994 | 0.015449 | -0.0012093 | -6.4815e-05 | 0.0011444
17 | YES | 74.6937 | 33.6493 | 0.0017878 | 0.00049591 | 8.9348e-05 | -0.00040656
18 | YES | 151.696 | 33.9434 | 0.00028204 | 0.00029373 | -0.00039834 | -0.00069208
19 | YES | 175.753 | 33.9694 | 0.0003044 | 0.00032806 | -0.00055071 | -0.00087877
20 | YES | 200.129 | 33.9774 | 0.0003854 | -0.0013428 | -0.00070509 | 0.00063768
21 | YES | 250.103 | 34.0181 | 0.00025663 | -0.0012169 | -0.0010216 | 0.00019529
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot) (3)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.053528 |  | X | CALC Y
m= | -3.1986e-06 | 7.7654e-06 |  | Std Dev of Resid |  | 0.0010057 |  | 74.6937 | 0.0020253
b= | 0.0022642 | 0.0013981 |  | Resid Sum of Squares |  | 3.0346e-06 |  | 250.103 | 0.0014642
# of Values Extracted = |  |  | 22
# of Values Used in Fit = |  |  | 5
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 75.3366 | 30.5837 | 0.00036716 | 3.7856 | 0.0020232 | -3.7835 |  | 74.6937 | 0.0012588
2 | NO | 201.725 | 32.0667 | 0.010844 | -0.14352 | 0.0016189 | 0.14514 |  | 151.696 | 0.0026093
3 | NO | 200.309 | 32.0383 | 0.0044015 | -0.0069542 | 0.0016235 | 0.0085777 |  | 175.753 | 0.0027618
4 | NO | 150.685 | 30.7681 | 0.00037477 | 3.8129 | 0.0017822 | -3.8111 |  | 200.129 | 0.0011025
5 | NO | 300.008 | 30.8964 | 0.00025381 | 3.8233 | 0.0013046 | -3.822 |  | 250.103 | 0.00086212 | 0.0017189
6 | NO | 299.925 | 30.9119 | 0.00042597 | 3.8238 | 0.0013048 | -3.8225
7 | NO | 300.063 | 30.8764 | 0.00029274 | 3.8245 | 0.0013044 | -3.8231
8 | NO | 250.326 | 30.8146 | 0.00071839 | 3.8216 | 0.0014635 | -3.8202
9 | NO | 250.01 | 30.8538 | 0.00021106 | 3.817 | 0.0014645 | -3.8155
10 | NO | 174.997 | 30.7245 | 0.00027359 | 3.8231 | 0.0017044 | -3.8214
11 | NO | 150.102 | 30.6578 | 0.00072251 | 3.7984 | 0.0017841 | -3.7966
12 | NO | 299.784 | 30.7269 | 0.00021491 | 3.8204 | 0.0013053 | -3.8191
13 | NO | 300.31 | 30.713 | 0.00066249 | 3.825 | 0.0013036 | -3.8237
14 | NO | 124.966 | 30.6296 | 0.0010444 | 3.8214 | 0.0018645 | -3.8195
15 | NO | 124.135 | 32.8851 | 0.0030498 | -0.064228 | 0.0018671 | 0.066095
15 | NO | 19.9588 | 30.3442 | 0.0030596 | 3.8255 | 0.0022003 | -3.8233
16 | NO | 99.0346 | 32.891 | 0.0045474 | -0.0096245 | 0.0019474 | 0.011572
17 | YES | 74.6937 | 33.6501 | 0.0018167 | 0.0012588 | 0.0020253 | 0.00076642
18 | YES | 151.696 | 33.9457 | 0.00028648 | 0.0026093 | 0.001779 | -0.00083028
19 | YES | 175.753 | 33.9719 | 0.00027032 | 0.0027618 | 0.001702 | -0.0010598
20 | YES | 200.129 | 33.9798 | 0.00038469 | 0.0011025 | 0.0016241 | 0.0005216
21 | YES | 250.103 | 34.0202 | 0.00022095 | 0.00086212 | 0.0014642 | 0.00060208
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.3 | Run at 2008/09/30 10:03:54
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 2 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Sal0 | Std Dev | Diff | Value | Avg | Std Dev | Diff
2008-41-0001.mrg | 2008-41-0001.sam | 121 | 75.337 | 75.3366 | 0.041933 | -0.00035858 | 26.7982 | 30.5784 | 0.00071298 | 3.7802 | 26.7982 | 30.5837 | 0.00036716 | 3.7856
2008-41-0003.mrg | 2008-41-0003.sam | 121 | 201.725 | 201.725 | 0.075885 | -0.00042725 | 32.2102 | 32.0733 | 0.013466 | -0.13686 | 32.2102 | 32.0667 | 0.010844 | -0.14352
2008-41-0006.mrg | 2008-41-0006.sam | 121 | 200.309 | 200.309 | 0.052145 | -0.00039673 | 32.0453 | 32.0351 | 0.0026076 | -0.010181 | 32.0453 | 32.0383 | 0.0044015 | -0.0069542
2008-41-0012.mrg | 2008-41-0012.sam | 121 | 150.685 | 150.685 | 0.036572 | 0.00038147 | 26.9552 | 30.7639 | 0.00044552 | 3.8087 | 26.9552 | 30.7681 | 0.00037477 | 3.8129
2008-41-0015.mrg | 2008-41-0015.sam | 121 | 300.008 | 300.008 | 0.03824 | -0.00030518 | 27.0731 | 30.8935 | 0.00025916 | 3.8204 | 27.0731 | 30.8964 | 0.00025381 | 3.8233
2008-41-0019.mrg | 2008-41-0019.sam | 121 | 299.925 | 299.925 | 0.059089 | 0.00021362 | 27.0881 | 30.9091 | 0.00036322 | 3.821 | 27.0881 | 30.9119 | 0.00042597 | 3.8238
2008-41-0022.mrg | 2008-41-0022.sam | 121 | 300.063 | 300.063 | 0.036027 | 9.1553e-05 | 27.0519 | 30.8742 | 0.00022727 | 3.8223 | 27.0519 | 30.8764 | 0.00029274 | 3.8245
2008-41-0026.mrg | 2008-41-0026.sam | 242 | 250.626 | 250.326 | 0.30481 | -0.30049 | 26.993 | 30.8121 | 0.00087715 | 3.8191 | 26.993 | 30.8146 | 0.00071839 | 3.8216
2008-41-0029.mrg | 2008-41-0029.sam | 121 | 250.01 | 250.01 | 0.032493 | 0.00048828 | 27.0368 | 30.8512 | 0.00042526 | 3.8144 | 27.0368 | 30.8538 | 0.00021106 | 3.817
2008-41-0031.mrg | 2008-41-0031.sam | 121 | 174.997 | 174.997 | 0.039241 | -0.00045776 | 26.9014 | 30.7197 | 0.00054656 | 3.8183 | 26.9014 | 30.7245 | 0.00027359 | 3.8231
2008-41-0034.mrg | 2008-41-0034.sam | 121 | 150.102 | 150.102 | 0.030352 | -0.00050354 | 26.8594 | 30.6545 | 0.00042371 | 3.7951 | 26.8594 | 30.6578 | 0.00072251 | 3.7984
2008-41-0037.mrg | 2008-41-0037.sam | 121 | 299.784 | 299.784 | 0.033866 | -0.00027466 | 26.9065 | 30.7244 | 0.00021935 | 3.8179 | 26.9065 | 30.7269 | 0.00021491 | 3.8204
2008-41-0039.mrg | 2008-41-0039.sam | 121 | 300.31 | 300.31 | 0.027834 | 0.00012207 | 26.888 | 30.7101 | 0.0010407 | 3.8221 | 26.888 | 30.713 | 0.00066249 | 3.825
2008-41-0041.mrg | 2008-41-0041.sam | 121 | 124.966 | 124.966 | 0.030478 | -7.6294e-05 | 26.8082 | 30.627 | 0.00054189 | 3.8188 | 26.8082 | 30.6296 | 0.0010444 | 3.8214
2008-41-0049.mrg | 2008-41-0049.sam | 121 | 124.135 | 124.135 | 0.10828 | 0.0003128 | 32.9493 | 32.8807 | 0.0011795 | -0.068607 | 32.9493 | 32.8851 | 0.0030498 | -0.064228
2008-41-0049.mrg | 2008-41-0049.sam | 121 | 19.959 | 19.9588 | 0.10691 | -0.00022316 | 26.5187 | 30.3377 | 0.003152 | 3.819 | 26.5187 | 30.3442 | 0.0030596 | 3.8255
2008-41-0052.mrg | 2008-41-0052.sam | 121 | 99.035 | 99.0346 | 0.12231 | -0.00045013 | 32.9006 | 32.8994 | 0.015449 | -0.0012093 | 32.9006 | 32.891 | 0.0045474 | -0.0096245
2008-41-0056.mrg | 2008-41-0056.sam | 121 | 74.694 | 74.6937 | 0.30134 | -0.00028229 | 33.6488 | 33.6493 | 0.0017878 | 0.00049591 | 33.6488 | 33.6501 | 0.0018167 | 0.0012588
2008-41-0059.mrg | 2008-41-0059.sam | 121 | 151.696 | 151.696 | 0.080559 | -0.00024414 | 33.9431 | 33.9434 | 0.00028204 | 0.00029373 | 33.9431 | 33.9457 | 0.00028648 | 0.0026093
2008-41-0062.mrg | 2008-41-0062.sam | 121 | 175.753 | 175.753 | 0.11384 | 0.00024414 | 33.9691 | 33.9694 | 0.0003044 | 0.00032806 | 33.9691 | 33.9719 | 0.00027032 | 0.0027618
2008-41-0065.mrg | 2008-41-0065.sam | 121 | 200.129 | 200.129 | 0.2281 | 0.0002594 | 33.9787 | 33.9774 | 0.0003854 | -0.0013428 | 33.9787 | 33.9798 | 0.00038469 | 0.0011025
2008-41-0068.mrg | 2008-41-0068.sam | 242 | 250.28 | 250.103 | 0.27474 | -0.17673 | 34.0193 | 34.0181 | 0.00025663 | -0.0012169 | 34.0193 | 34.0202 | 0.00022095 | 0.00086212
Create Fit Sheet