## Linearity
Linearty test done by Douglas Sieberg
2008-07-31
Linearity standard seawater was dated
calibrated Autosal | K15 = 0.99984 and dated October 5, 2007 |  |  |  | Salinity @ 34.994
Linearity #1 | K15 = 0.99979 and dated May 12, 2005 |  |  |  | Salinity @ 34.992
Lineartity #2 | Conductivity Ratio @ 24oC = 0.87486 and dated December 8, 2004 |  |  |  | Salinity @ 30.130
Lineartity #3 | Conductivity Ratio @ 24oC = 032138 and dated July 22, 2004 |  |  |  | Salinity @ 10.025
Sample ID | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
Calibration#1 | K15 | 2008-07-29 16:09 | 24C | 0.99984 | 4.189e-06 | -8.9407e-07 | 0.99984
Linearity#1 | 34.992 | 2008-07-29 16:16 | 24C | 0.99977 | 2.7078e-06 | -1.0729e-06 | 0.99977 | 34.991 | 0.00010489
Linearity#2 | 30.13 | 2008-07-29 16:24 | 24C | 0.87484 | 2.7963e-06 | -9.5367e-07 | 0.87484 | 30.1293 | 0.00010707
Linearity#3 | 10.025 | 2008-07-29 16:31 | 24C | 0.32147 | 1.892e-06 | -1.0431e-06 | 0.32147 | 10.0276 | 6.4507e-05
|  |  |  | Salinity of Standard Sample | Autosal reading | Autosal-Standard
|  |  |  | 34.992 | 34.991 | -0.00099887
|  |  |  | 30.13 | 30.1293 | -0.00071609
|  |  |  | 10.025 | 10.0276 | 0.0026318