## Station Data
Cruise 2008-41 June Chandler | [9 empty] | File: Cocc2008-41\QF 2008-41nuts.xls
Nutrient data summary with Quality Flags | [9 empty] | Date : September 11, 2008
Strait of Georgia Station Data
Samples were collected in plastic test tubes.
Samples were stored frozen and later analysed at IOS by Wendy Richardson.
The Astoria Analyzer was used for sample analyses.
There were problems with salt crystals in cap and on the rim of test tubes this cruise affecting the quality of results.
Quality Flags:
c = Questionable measurement (no problem observed in sampling or analysis,
but value is not trusted, nonetheless; includes outlyers)
d = bad measurement (known problem with sampling or analysis,
but not serious enough to completely discard the value)
i = sample not drawn for this measurement from this bottle
f = average of duplicate samples
Cruise | Station | Cast | Sample # | NO3 | NO3 | SiO3 | SiO3 | PO4 | PO4 | Comments
|  |  |  | (uM/l) | QF | (uM/l) | QF | (uM/l) | QF
2008-41 | SI | 1 | 9 | 4.7 |  | 22.5 |  | 0.94
2008-41 | SI | 1 | 8 | 4.7 |  | 19 |  | 0.96
2008-41 | SI | 1 | 7 | 5.8 |  | 17.8 |  | 0.97
2008-41 | SI | 1 | 6 | 9.6 |  | 20.1 |  | 1.3 |  | salt
2008-41 | SI | 1 | 5 | 14.3 |  | 26.7 |  | 1.65
2008-41 | SI | 1 | 4 | 14.5 |  | 22 |  | 1.79
2008-41 | SI | 1 | 3 | 18.8 |  | 28 |  | 2.19
2008-41 | SI | 1 | 2 | 26 |  | 46.8 |  | 2.51
2008-41 | SI | 1 | 1 | 27.2 |  | 54.3 |  | 2.94
2008-41 | 59 | 3 | 23 | 19.2 |  | 35.6 |  | 1.73 |  | salt
2008-41 | 59 | 3 | 22 | 16.4 | d | 30.3 | d | 1.58 | d | Cracked tube, leaking
2008-41 | 59 | 3 | 21 | 20.6 |  | 37.5 |  | 1.83
2008-41 | 59 | 3 | 20 | 21.3 |  | 37.8 |  | 1.88
2008-41 | 59 | 3 | 19 | 22.6 |  | 39.1 |  | 2
2008-41 | 59 | 3 | 18 | 22.6 |  | 38.6 |  | 1.99
2008-41 | 59 | 3 | 17 | 23.1 |  | 39 |  | 2.01
2008-41 | 59 | 3 | 16 | 25.2 |  | 41.2 |  | 2.13
2008-41 | 59 | 3 | 15 | 26.7 |  | 42.7 |  | 2.21
2008-41 | 59 | 3 | 14 | 26.6 |  | 42.3 |  | 2.2
2008-41 | 59 | 3 | 13 | 28 |  | 44.1 |  | 2.29
2008-41 | 59 | 3 | 12 | 28.3 |  | 44.5 |  | 2.26
2008-41 | 59 | 3 | 11 | 26.6 |  | 42.1 |  | 2.26 |  | salt
2008-41 | 59 | 3 | 10 | 30.7 |  | 47.5 |  | 2.42
2008-41 | 56 | 6 | 37 | 3.5 |  | 20.4 |  | 0.63
2008-41 | 56 | 6 | 36 | 9.6 |  | 25.5 |  | 1.23
2008-41 | 56 | 6 | 35 | 9.7 |  | 23.3 |  | 1.25 |  | salt
2008-41 | 56 | 6 | 34 | 14.1 |  | 28.9 |  | 1.56
2008-41 | 56 | 6 | 33 | 16.6 |  | 31.7 |  | 1.75
2008-41 | 56 | 6 | 32 | 18.7 |  | 33.9 |  | 1.81
2008-41 | 56 | 6 | 31 | 19.4 |  | 33.3 |  | 1.88 |  | salt
2008-41 | 56 | 6 | 30 | 23.1 |  | 38.8 |  | 2.05
2008-41 | 56 | 6 | 29 | 27 |  | 43.5 |  | 2.26 |  | salt
2008-41 | 56 | 6 | 28 | 28 |  | 44.4 |  | 2.28 |  | salt
2008-41 | 56 | 6 | 27 | 27 |  | 43.3 |  | 2.21
2008-41 | 56 | 6 | 26 | 28.2 |  | 44 |  | 2.24
2008-41 | 56 | 6 | 25 | 29.5 |  | 46.5 |  | 2.4
2008-41 | 56 | 6 | 24 | 29.7 |  | 46.9 |  | 2.38
2008-41 | 46 | 12 | 49 | 4.4 |  | 22.1 |  | 0.78
2008-41 | 46 | 12 | 48 | 9.1 |  | 24.2 |  | 1.18
2008-41 | 46 | 12 | 47 | 13.6 |  | 28.5 |  | 1.54
2008-41 | 46 | 12 | 46 | 19.9 |  | 35.9 |  | 2.01 |  | salt
2008-41 | 46 | 12 | 45 | 22.4 |  | 35.3 |  | 2.11 |  | salt
2008-41 | 46 | 12 | 44 | 26.8 |  | 40.4 |  | 2.33
2008-41 | 46 | 12 | 43 | 27.4 |  | 43.9 |  | 2.4 |  | salt
2008-41 | 46 | 12 | 42 | 24.4 |  | 40 |  | 2.18
2008-41 | 46 | 12 | 41 | 26.8 |  | 43.1 |  | 2.28
2008-41 | 46 | 12 | 40 | 24.5 | f | 39.65 | f | 2.155 | f
2008-41 | 46 | 12 | 39 | 24.8 |  | 40.5 |  | 2.18 |  | salt
2008-41 | 46 | 12 | 38 | 25.9 |  | 42.3 |  | 2.25
2008-41 | 47 | 15 | 65 | 3.3 |  | 41.3 |  | 0.63
2008-41 | 47 | 15 | 64 | 7.4 |  | 27 |  | 0.96
2008-41 | 47 | 15 | 63 | 15.5 |  | 29.5 |  | 1.62
2008-41 | 47 | 15 | 62 | 17.6 |  | 28.9 |  | 1.78 |  | salt
2008-41 | 47 | 15 | 61 | 23.4 |  | 36.2 |  | 2.16
2008-41 | 47 | 15 | 60 | 24.2 |  | 39.9 |  | 2.23
2008-41 | 47 | 15 | 59 | 24.3 |  | 39.4 |  | 2.24
2008-41 | 47 | 15 | 58 | 23.3 |  | 37.7 |  | 2.12 |  | salt
2008-41 | 47 | 15 | 57 | 24.9 |  | 39.4 |  | 2.2
2008-41 | 47 | 15 | 56 | 25.3 |  | 41.2 |  | 2.24
2008-41 | 47 | 15 | 55 | 25.7 |  | 42.2 |  | 2.25
2008-41 | 47 | 15 | 54 | 24.6 |  | 40.6 |  | 2.18 |  | salt
2008-41 | 47 | 15 | 53 | 26.8 |  | 44.8 |  | 2.31
2008-41 | 47 | 15 | 52 | 28.8 |  | 50.9 |  | 2.43
2008-41 | 47 | 15 | 51 | 25.2 |  | 47.6 |  | 2.38 |  | salt
2008-41 | 47 | 15 | 50 | 25.2 |  | 47.6 |  | 2.46
2008-41 | 39 | 19 | 82 | 2.5 |  | 39.3 |  | 0.46
2008-41 | 39 | 19 | 81 | 0.5 |  | 24.8 |  | 0.37
2008-41 | 39 | 19 | 80 | 3.4 |  | 21.2 |  | 0.67 |  | salt
2008-41 | 39 | 19 | 79 | 12.5 |  | 26.4 |  | 1.54
2008-41 | 39 | 19 | 78 | 18.8 |  | 32.2 |  | 1.96
2008-41 | 39 | 19 | 77 | 17.4 |  | 28.1 |  | 1.86
2008-41 | 39 | 19 | 76 | 24.4 |  | 38.7 |  | 2.31 |  | salt
2008-41 | 39 | 19 | 75 | 30.7 |  | 50.5 |  | 2.57
2008-41 | 39 | 19 | 74 | 30.4 |  | 49.3 |  | 2.51
2008-41 | 39 | 19 | 73 | 29 | f | 49.25 | f | 2.41 | f
2008-41 | 39 | 19 | 72 | 29 |  | 49.4 |  | 2.42
2008-41 | 39 | 19 | 71 | 28.8 |  | 48.7 |  | 2.45
2008-41 | 39 | 19 | 70 | 28.7 |  | 50 |  | 2.44
2008-41 | 39 | 19 | 69 | 28.7 |  | 51.1 |  | 2.48
2008-41 | 39 | 19 | 68 | 28.9 |  | 51.8 |  | 2.47
2008-41 | 39 | 19 | 67 | 29.3 |  | 55.3 |  | 2.61
2008-41 | 39 | 19 | 66 | 29.4 |  | 58.1 |  | 2.66
2008-41 | 27 | 22 | 98 | 0.2 |  | 15.9 |  | 0.18
2008-41 | 27 | 22 | 97 | 0.3 |  | 21 |  | 0.25
2008-41 | 27 | 22 | 96 | 3.6 |  | 23 |  | 0.58
2008-41 | 27 | 22 | 95 | 16.6 |  | 22.4 |  | 1.71 |  | salt
2008-41 | 27 | 22 | 94 | 27.9 |  | 44.5 |  | 2.46 |  | salt
2008-41 | 27 | 22 | 93 | 29.6 |  | 50.4 |  | 2.59 |  | salt
2008-41 | 27 | 22 | 92 | 29.3 |  | 49.4 |  | 2.6 |  | salt
2008-41 | 27 | 22 | 91 | 30.3 |  | 50.7 |  | 2.47 |  | salt
2008-41 | 27 | 22 | 90 | 25.5 |  | 43.1 |  | 2.19 |  | salt
2008-41 | 27 | 22 | 89 | 26.1 |  | 44.8 |  | 2.29 |  | salt
2008-41 | 27 | 22 | 88 | 25.7 |  | 43.8 |  | 2.26
2008-41 | 27 | 22 | 87 | 28.2 |  | 47 |  | 2.33
2008-41 | 27 | 22 | 86 | 26.2 |  | 45.6 |  | 2.23 |  | salt
2008-41 | 27 | 22 | 85 | 25.3 |  | 45.7 |  | 2.26 |  | salt
2008-41 | 27 | 22 | 84 | 25.2 |  | 46 |  | 2.28 |  | salt
2008-41 | 27 | 22 | 83 | 27.1 |  | 52.1 |  | 2.39 |  | salt
2008-41 | 2 | 26 | 113 | 2.1 |  | 22.9 |  | 0.49
2008-41 | 2 | 26 | 112 | 2.8 |  | 24.1 |  | 0.53
2008-41 | 2 | 26 | 111 | 17.8 |  | 37.8 |  | 1.77
2008-41 | 2 | 26 | 110 | 18.9 |  | 29.7 |  | 1.86
2008-41 | 2 | 26 | 109 | 22.5 |  | 32.8 |  | 2.08
2008-41 | 2 | 26 | 108 | 30 |  | 49.6 |  | 2.54
2008-41 | 2 | 26 | 107 | 27.5 |  | 43.1 |  | 2.43
2008-41 | 2 | 26 | 106 | 29.3 |  | 47.3 |  | 2.39
2008-41 | 2 | 26 | 105 | 28.2 |  | 47.9 |  | 2.34
2008-41 | 2 | 26 | 104 | 28.4 | f | 48.2 | f | 2.365 | f
2008-41 | 2 | 26 | 103 | 28.4 |  | 49.9 |  | 2.39
2008-41 | 2 | 26 | 102 | 28.6 |  | 51.5 |  | 2.41
2008-41 | 2 | 26 | 101 | 28.3 |  | 52.4 |  | 2.41
2008-41 | 2 | 26 | 100 | 30.3 |  | 60 |  | 2.64
2008-41 | 2 | 26 | 99 | 29.7 |  | 63.2 |  | 2.63
2008-41 | 3 | 29 | 129 | 3.8 |  | 25.7 |  | 0.6
2008-41 | 3 | 29 | 128 | 10 |  | 30.1 |  | 1.13
2008-41 | 3 | 29 | 127 | 17.6 |  | 35 |  | 1.78
2008-41 | 3 | 29 | 126 | 23.7 |  | 45.7 |  | 2.17
2008-41 | 3 | 29 | 125 | 24.7 |  | 45 |  | 2.31
2008-41 | 3 | 29 | 124 | 26.4 |  | 46.5 |  | 2.42
2008-41 | 3 | 29 | 123 | 28.7 |  | 50.2 |  | 2.54
2008-41 | 3 | 29 | 122 | 30.3 |  | 51.2 |  | 2.48
2008-41 | 3 | 29 | 121 | 26.7 |  | 45.4 |  | 2.28
2008-41 | 3 | 29 | 120 | 28.85 | f | 49.75 | f | 2.405 | f
2008-41 | 3 | 29 | 119 | 28.6 |  | 49.8 |  | 2.39
2008-41 | 3 | 29 | 118 | 22.9 | c | 40.8 | c | 1.93 | c | salt
2008-41 | 3 | 29 | 117 | 28.4 |  | 53.8 |  | 2.43
2008-41 | 3 | 29 | 116 | 30.2 |  | 62.7 |  | 2.66
2008-41 | 3 | 29 | 115 | 28.6 |  | 63.1 |  | 2.62 |  | salt
2008-41 | 3 | 29 | 114 | 30 |  | 69.6 |  | 2.75
2008-41 | 6 | 31 | 142 | 5.9 |  | 27.7 |  | 0.79
2008-41 | 6 | 31 | 141 |  | i |  | i |  | i
2008-41 | 6 | 31 | 140 | 17.8 |  | 37.5 |  | 1.77 |  | salt
2008-41 | 6 | 31 | 139 | 24.1 |  | 48.7 |  | 2.2 |  | salt
2008-41 | 6 | 31 | 138 |  | i |  | i |  | i
2008-41 | 6 | 31 | 137 | 23.6 |  | 41.4 |  | 2.33 |  | salt
2008-41 | 6 | 31 | 136 | 29.4 |  | 51.3 |  | 2.6
2008-41 | 6 | 31 | 135 | 29.9 |  | 49.3 |  | 2.48 |  | salt
2008-41 | 6 | 31 | 134 | 29.9 |  | 49.7 |  | 2.44
2008-41 | 6 | 31 | 133 | 29.3 | f | 50 | f | 2.425 | f
2008-41 | 6 | 31 | 132 | 29.2 |  | 51.1 |  | 2.45
2008-41 | 6 | 31 | 131 | 27.5 |  | 51.5 |  | 2.38
2008-41 | 6 | 31 | 130 | 29.2 |  | 55.1 |  | 2.49
2008-41 | 9 | 34 | 154 | 2.4 |  | 22.8 |  | 0.45 |  | salt
2008-41 | 9 | 34 | 153 | 10 |  | 31.1 |  | 1.1
2008-41 | 9 | 34 | 152 | 21 |  | 47.6 |  | 1.94 |  | salt
2008-41 | 9 | 34 | 151 | 23.5 |  | 47.4 |  | 2.16
2008-41 | 9 | 34 | 150 | 22.2 |  | 41 |  | 2.17
2008-41 | 9 | 34 | 149 | 24.5 |  | 43.9 |  | 2.32
2008-41 | 9 | 34 | 148 | 26.8 |  | 48.9 |  | 2.35 |  | loose cap
2008-41 | 9 | 34 | 147 | 30.1 |  | 54.2 |  | 2.64
2008-41 | 9 | 34 | 146 | 30.9 |  | 55.7 |  | 2.6
2008-41 | 9 | 34 | 145 | 31 | f | 58.1 | f | 2.64 | f
2008-41 | 9 | 34 | 144 | 31.7 |  | 84.9 |  | 3.23 |  | loose cap
2008-41 | 9 | 34 | 143 | 31.2 |  | 83 |  | 3.22
2008-41 | 12 | 37 | 170 | 0.2 |  | 23.2 |  | 0.28
2008-41 | 12 | 37 | 169 | 3.2 |  | 24.3 |  | 0.62
2008-41 | 12 | 37 | 168 | 12.7 |  | 36.7 |  | 1.33
2008-41 | 12 | 37 | 167 | 24.5 |  | 50.5 |  | 2.19
2008-41 | 12 | 37 | 166 | 27.8 |  | 55.4 |  | 2.43
2008-41 | 12 | 37 | 165 | 28.5 |  | 54.9 |  | 2.51
2008-41 | 12 | 37 | 164 | 28.3 |  | 51.2 |  | 2.59
2008-41 | 12 | 37 | 163 | 31.6 |  | 58.6 |  | 2.73
2008-41 | 12 | 37 | 162 | 30.2 |  | 53.3 |  | 2.52
2008-41 | 12 | 37 | 161 | 31.15 | f | 58.5 | f | 2.635 | f
2008-41 | 12 | 37 | 160 | 31.3 |  | 61.9 |  | 2.7
2008-41 | 12 | 37 | 159 | 30.2 |  | 59.1 |  | 2.62
2008-41 | 12 | 37 | 158 | 31 |  | 62.9 |  | 2.7
2008-41 | 12 | 37 | 157 | 30.7 |  | 65.4 |  | 2.71
2008-41 | 12 | 37 | 156 | 30 |  | 64.8 |  | 2.68
2008-41 | 12 | 37 | 155 | 30.5 |  | 67 |  | 2.79
2008-41 | 14 | 39 | 186 | 6.6 |  | 33.8 |  | 0.96 |  | loose cap
2008-41 | 14 | 39 | 185 | 8.7 |  | 37.1 |  | 1.07
2008-41 | 14 | 39 | 184 | 16.5 |  | 43.7 |  | 1.66
2008-41 | 14 | 39 | 183 | 25.8 |  | 55.4 |  | 2.33
2008-41 | 14 | 39 | 182 | 24.5 |  | 51.8 |  | 2.2
2008-41 | 14 | 39 | 181 | 26.2 |  | 54.8 |  | 2.34
2008-41 | 14 | 39 | 180 | 26.8 |  | 55.4 |  | 2.39
2008-41 | 14 | 39 | 179 | 29.6 |  | 56.3 |  | 2.63
2008-41 | 14 | 39 | 178 | 31.4 |  | 57.2 |  | 2.67
2008-41 | 14 | 39 | 177 | 31.1 |  | 61.8 |  | 2.77
2008-41 | 14 | 39 | 176 | 31.1 |  | 61.1 |  | 2.69
2008-41 | 14 | 39 | 175 | 30.8 |  | 58.7 |  | 2.61
2008-41 | 14 | 39 | 174 | 30.5 |  | 59.3 |  | 2.66
2008-41 | 14 | 39 | 173 | 31 |  | 65.3 |  | 2.85
2008-41 | 14 | 39 | 172 | 29.8 |  | 68.3 |  | 2.77
2008-41 | 14 | 39 | 171 | 30.4 |  | 69.3 |  | 2.79
2008-41 | 16 | 41 | 197 | 18.3 |  | 48.9 |  | 1.78
2008-41 | 16 | 41 | 196 | 20.7 |  | 50.6 |  | 1.97
2008-41 | 16 | 41 | 195 | 24.9 |  | 54.4 |  | 2.24
2008-41 | 16 | 41 | 194 | 27.1 |  | 56.2 |  | 2.41
2008-41 | 16 | 41 | 193 | 28.1 |  | 57 |  | 2.48
2008-41 | 16 | 41 | 192 | 30.5 |  | 59.3 |  | 2.65
2008-41 | 16 | 41 | 191 | 31.1 |  | 59.9 |  | 2.68
2008-41 | 16 | 41 | 190 | 31.7 |  | 63.5 |  | 2.79
2008-41 | 16 | 41 | 189 | 31.15 | f | 63.35 | f | 2.705 | f
2008-41 | 16 | 41 | 188 | 31.3 |  | 63.5 |  | 3.21 | c
2008-41 | 16 | 41 | 187 | 31.2 |  | 64.8 |  | 2.72
2008-41 | 62 | 49 | 208 | 21.8 |  | 38.5 |  | 1.89
2008-41 | 62 | 49 | 207 | 20 |  | 35 |  | 1.71
2008-41 | 62 | 49 | 206 | 19.1 |  | 34 |  | 1.74 |  | salt
2008-41 | 62 | 49 | 205 | 12 |  | 21.7 |  | 1.36
2008-41 | 62 | 49 | 204 | 17.8 |  | 30.8 |  | 1.68 |  | salt
2008-41 | 62 | 49 | 203 | 19.3 |  | 32.8 |  | 1.82 |  | salt
2008-41 | 62 | 49 | 202 | 23.5 |  | 39.7 |  | 1.99
2008-41 | 62 | 49 | 201 | 21.3 |  | 35.4 |  | 1.81 |  | salt
2008-41 | 62 | 49 | 200 | 22 |  | 35.8 |  | 2.01
2008-41 | 62 | 49 | 199 | 28.3 |  | 45.3 |  | 2.33
2008-41 | 62 | 49 | 198 | 25.8 |  | 41 |  | 2.22 |  | salt
2008-41 | 65 | 52 | 218 | 19.4 |  | 34.9 |  | 1.75
2008-41 | 65 | 52 | 217 | 22.5 |  | 39 |  | 1.96
2008-41 | 65 | 52 | 216 | 23.7 |  | 40.1 |  | 2
2008-41 | 65 | 52 | 215 | 25.5 |  | 41.8 |  | 2.08
2008-41 | 65 | 52 | 214 | 25.7 |  | 42.2 |  | 2.14
2008-41 | 65 | 52 | 213 | 27.2 |  | 45.2 |  | 2.29
2008-41 | 65 | 52 | 212 | 29.05 | f | 46 | f | 2.29 | f
2008-41 | 65 | 52 | 211 | 29.3 |  | 46.1 |  | 2.28
2008-41 | 65 | 52 | 210 | 32.8 |  | 50.8 |  | 2.48
2008-41 | 65 | 52 | 209 | 33.7 |  | 51.8 |  | 2.54
2008-41 | ADCP | 56 | 228 | 23.5 |  | 39.7 |  | 1.93 |  | loose cap
2008-41 | ADCP | 56 | 227 | 24.7 |  | 41.2 |  | 2.02
2008-41 | ADCP | 56 | 226 | 27.6 |  | 44.3 |  | 2.16
2008-41 | ADCP | 56 | 225 | 29.6 |  | 46.6 |  | 2.42
2008-41 | ADCP | 56 | 224 | 30.05 | f | 47.35 | f | 2.295 | f
2008-41 | ADCP | 56 | 223 | 32.5 |  | 50.6 |  | 2.45
2008-41 | ADCP | 56 | 222 | 34.6 |  | 52.9 |  | 2.57
2008-41 | ADCP | 56 | 221 | 35.2 |  | 53.6 |  | 2.79
2008-41 | ADCP | 56 | 220 | 36.2 |  | 55.7 |  | 2.66
2008-41 | ADCP | 56 | 219 | 36.1 |  | 55.1 |  | 2.64
2008-41 | 69 | 59 | 240 | 21.4 |  | 37.7 |  | 1.82
2008-41 | 69 | 59 | 239 | 22.9 |  | 38.8 |  | 1.9
2008-41 | 69 | 59 | 238 | 24.6 |  | 40.3 |  | 2.01
2008-41 | 69 | 59 | 237 | 27.4 |  | 43.6 |  | 2.17
2008-41 | 69 | 59 | 236 | 28.85 | f | 45.7 | f | 2.25 | f
2008-41 | 69 | 59 | 235 | 30.7 |  | 47.9 |  | 2.35
2008-41 | 69 | 59 | 234 | 30 |  | 46.9 |  | 2.41
2008-41 | 69 | 59 | 233 | 35.3 |  | 53.7 |  | 2.66
2008-41 | 69 | 59 | 232 | 37.8 |  | 59.9 |  | 2.75
2008-41 | 69 | 59 | 231 | 36.7 |  | 58.7 |  | 2.68
2008-41 | 69 | 59 | 230 | 37.7 |  | 59.7 |  | 2.74
2008-41 | 69 | 59 | 229 | 37.6 |  | 59.4 |  | 2.77
2008-41 | 72 | 62 | 253 | 22.3 |  | 39.3 |  | 1.85
2008-41 | 72 | 62 | 252 | 23.5 |  | 39.1 |  | 1.98
2008-41 | 72 | 62 | 251 | 26.2 |  | 42.6 |  | 2.13
2008-41 | 72 | 62 | 250 | 26.6 |  | 42.8 |  | 2.11
2008-41 | 72 | 62 | 249 | 27.25 | f | 43.5 | f | 2.17 | f
2008-41 | 72 | 62 | 248 | 27.1 |  | 43 |  | 2.19
2008-41 | 72 | 62 | 247 | 29.1 |  | 45.5 |  | 2.29
2008-41 | 72 | 62 | 246 | 33.6 |  | 51.4 |  | 2.53
2008-41 | 72 | 62 | 245 | 36.2 |  | 56.9 |  | 2.68
2008-41 | 72 | 62 | 244 | 34.9 |  | 57.3 |  | 2.62 |  | salt
2008-41 | 72 | 62 | 243 | 35.3 |  | 57.9 |  | 2.65 |  | salt
2008-41 | 72 | 62 | 242 | 38.3 |  | 62.3 |  | 2.78
2008-41 | 72 | 62 | 241 | 38.3 |  | 63 |  | 2.79
2008-41 | 75 | 65 | 267 | 21.3 |  | 37.7 |  | 1.8 |  | loose cap
2008-41 | 75 | 65 | 266 | 21.3 |  | 36.9 |  | 1.82
2008-41 | 75 | 65 | 265 | 25 |  | 39.9 |  | 1.99
2008-41 | 75 | 65 | 264 | 26.8 |  | 42.1 |  | 2.13
2008-41 | 75 | 65 | 263 | 29.35 | f | 46 | f | 2.305 | f
2008-41 | 75 | 65 | 262 | 30.5 |  | 47.2 |  | 2.37
2008-41 | 75 | 65 | 261 | 31.7 |  | 49 |  | 2.43
2008-41 | 75 | 65 | 260 | 35 |  | 53.3 |  | 2.58
2008-41 | 75 | 65 | 259 | 34.9 |  | 53.3 |  | 2.54
2008-41 | 75 | 65 | 258 | 36.4 |  | 57.4 |  | 2.67
2008-41 | 75 | 65 | 257 | 37.8 |  | 59.7 |  | 2.73
2008-41 | 75 | 65 | 256 | 37.2 |  | 60.5 |  | 2.68 |  | salt
2008-41 | 75 | 65 | 255 | 37.4 |  | 60.5 |  | 2.7
2008-41 | 75 | 65 | 254 | 37.3 |  | 60.6 |  | 2.7
2008-41 | 102 | 68 | 282 | 21.8 |  | 37 |  | 1.8
2008-41 | 102 | 68 | 281 | 18.2 |  | 31.1 |  | 1.63 |  | salt
2008-41 | 102 | 68 | 280 | 23.3 |  | 37.3 |  | 1.95
2008-41 | 102 | 68 | 279 | 29.4 |  | 45.9 |  | 2.3
2008-41 | 102 | 68 | 278 | 29.4 |  | 45.8 |  | 2.31
2008-41 | 102 | 68 | 277 | 29.8 |  | 45.6 |  | 2.29
2008-41 | 102 | 68 | 276 | 28.9 |  | 44.3 |  | 2.23
2008-41 | 102 | 68 | 275 | 30.5 |  | 44.9 |  | 2.29
2008-41 | 102 | 68 | 274 | 33.2 |  | 49 |  | 2.47
2008-41 | 102 | 68 | 273 | 33.9 |  | 50.1 |  | 2.49
2008-41 | 102 | 68 | 272 | 36.8 |  | 57.6 |  | 2.7
2008-41 | 102 | 68 | 271 | 38.3 |  | 61.7 |  | 2.77
2008-41 | 102 | 68 | 270 | 38.5 |  | 60.5 |  | 2.72
2008-41 | 102 | 68 | 269 | 39.1 |  | 64.9 |  | 2.79
2008-41 | 102 | 68 | 268 | 37.4 |  | 62.9 |  | 2.67 |  | salt

## Calc Precision
Calculate Precision of Duplicates | [7 empty] | File: Cocc2008-41\QF 2008-41nuts.xls
Date : September 11, 2008
Omit | because of salt crystals in cap and on rim.
Station | Cast | Sample # | NO3 | SiO3 | PO4 | NO3 diff sq | Si diff sq | PO4 diff sq | Comments
59 | 3 | 13 | 28 | 44.1 | 2.29
59 | 3 | 13 dup | 26.8 | 42.4 | 2.21 | 1.44 | 2.89 | 0.0064 | salt
|  |  | 27.4 | 43.25 | 2.25
56 | 6 | 27 | 22.2 | 36.5 | 1.97 |  |  |  | salt
56 | 6 | 27 dup | 27 | 43.3 | 2.21 | 23.04 | 46.24 | 0.0576
|  |  | 24.6 | 39.9 | 2.09
46 | 12 | 40 | 24.3 | 39.4 | 2.17
46 | 12 | 40 dup | 24.7 | 39.9 | 2.14 | 0.16 | 0.25 | 0.0009
|  |  | 24.5 | 39.65 | 2.155
47 | 15 | 56 | 23 | 37.6 | 2.1 |  |  |  | salt
47 | 15 | 56 dup | 25.3 | 41.2 | 2.24 | 5.29 | 12.96 | 0.0196
|  |  | 24.15 | 39.4 | 2.17
39 | 19 | 73 | 28.9 | 49.1 | 2.4
39 | 19 | 73 dup | 29.1 | 49.4 | 2.42 | 0.04 | 0.09 | 0.0004
|  |  | 29 | 49.25 | 2.41
27 | 22 | 89 | 28.9 | 48.1 | 2.38
27 | 22 | 89 dup | 26.1 | 44.8 | 2.29 | 7.84 | 10.89 | 0.0081 | salt
|  |  | 27.5 | 46.45 | 2.335
2 | 26 | 104 | 28.3 | 48 | 2.36
2 | 26 | 104 dup | 28.5 | 48.4 | 2.37 | 0.04 | 0.16 | 0.0001
|  |  | 28.4 | 48.2 | 2.365
3 | 29 | 120 | 29 | 50 | 2.4
3 | 29 | 120 dup | 28.7 | 49.5 | 2.41 | 0.09 | 0.25 | 0.0001
|  |  | 28.85 | 49.75 | 2.405
6 | 31 | 133 | 29.3 | 49.9 | 2.43
6 | 31 | 133 dup | 29.3 | 50.1 | 2.42 | 0 | 0.04 | 0.0001
|  |  | 29.3 | 50 | 2.425
9 | 34 | 145 | 31 | 58.1 | 2.64
9 | 34 | 145 dup | 31 | 58.1 | 2.64 | 0 | 0 | 0
|  |  | 31 | 58.1 | 2.64
12 | 37 | 161 | 31.2 | 58.4 | 2.64
12 | 37 | 161 dup | 31.1 | 58.6 | 2.63 | 0.01 | 0.04 | 0.0001
|  |  | 31.15 | 58.5 | 2.635
14 | 39 | 177 | 32.1 | 63 | 2.83
14 | 39 | 177 dup | 31.1 | 61.8 | 2.77 | 1 | 1.44 | 0.0036
|  |  | 31.6 | 62.4 | 2.8
16 | 41 | 189 | 31.1 | 63.3 | 2.69
16 | 41 | 189 dup | 31.2 | 63.4 | 2.72 | 0.01 | 0.01 | 0.0009
|  |  | 31.15 | 63.35 | 2.705
62 | 49 | 207 | 16 | 28.6 | 1.51 |  |  |  | salt
62 | 49 | 207 dup | 20 | 35 | 1.71 | 16 | 40.96 | 0.04
|  |  | 18 | 31.8 | 1.61
65 | 52 | 212 | 29 | 46 | 2.29
65 | 52 | 212 dup | 29.1 | 46 | 2.29 | 0.01 | 0 | 0
|  |  | 29.05 | 46 | 2.29
ADCP | 56 | 224 | 30 | 47.4 | 2.31
ADCP | 56 | 224 dup | 30.1 | 47.3 | 2.28 | 0.01 | 0.01 | 0.0009
|  |  | 30.05 | 47.35 | 2.295
69 | 59 | 236 | 28.9 | 45.5 | 2.24
69 | 59 | 236 dup | 28.8 | 45.9 | 2.26 | 0.01 | 0.16 | 0.0004
|  |  | 28.85 | 45.7 | 2.25
72 | 62 | 249 | 27.2 | 43.3 | 2.17
72 | 62 | 249 dup | 27.3 | 43.7 | 2.17 | 0.01 | 0.16 | 0
|  |  | 27.25 | 43.5 | 2.17
75 | 65 | 263 | 29.3 | 46 | 2.3
75 | 65 | 263 dup | 29.4 | 46 | 2.31 | 0.01 | 0 | 0.0001
|  |  | 29.35 | 46 | 2.305
102 | 68 | 278 | 29.4 | 45.8 | 2.31
102 | 68 | 278 dup | 28.1 | 44.2 | 2.29 | 1.69 | 2.56 | 0.0004 | salt
|  |  | 28.75 | 45 | 2.3
[5 empty] | SUM OF (X-Y)SQ | 56.7 | 119.11 | 0.1397
[5 empty] | COUNT | 20 | 20 | 20
[5 empty] | SUM/2*COUNT | 1.4175 | 2.9777 | 0.0034925
[5 empty] | SQRT(SUM/2*COUNT) | 1.1906 | 1.7256 | 0.059097

## Calc Precision bad omitted
Calculate Precision of Duplicates | [7 empty] | File: Cocc2008-41\QF 2008-41nuts.xls
Date : September 11, 2008
Bad results omitted because of salt crystals in cap and on rim.
Station | Cast | Sample # | NO3 | SiO3 | PO4 | NO3 diff sq | Si diff sq | PO4 diff sq | Comments
46 | 12 | 40 | 24.3 | 39.4 | 2.17
46 | 12 | 40 dup | 24.7 | 39.9 | 2.14 | 0.16 | 0.25 | 0.0009
|  |  | 24.5 | 39.65 | 2.155
39 | 19 | 73 | 28.9 | 49.1 | 2.4
39 | 19 | 73 dup | 29.1 | 49.4 | 2.42 | 0.04 | 0.09 | 0.0004
|  |  | 29 | 49.25 | 2.41
2 | 26 | 104 | 28.3 | 48 | 2.36
2 | 26 | 104 dup | 28.5 | 48.4 | 2.37 | 0.04 | 0.16 | 0.0001
|  |  | 28.4 | 48.2 | 2.365
3 | 29 | 120 | 29 | 50 | 2.4
3 | 29 | 120 dup | 28.7 | 49.5 | 2.41 | 0.09 | 0.25 | 0.0001
|  |  | 28.85 | 49.75 | 2.405
6 | 31 | 133 | 29.3 | 49.9 | 2.43
6 | 31 | 133 dup | 29.3 | 50.1 | 2.42 | 0 | 0.04 | 0.0001
|  |  | 29.3 | 50 | 2.425
9 | 34 | 145 | 31 | 58.1 | 2.64
9 | 34 | 145 dup | 31 | 58.1 | 2.64 | 0 | 0 | 0
|  |  | 31 | 58.1 | 2.64
12 | 37 | 161 | 31.2 | 58.4 | 2.64
12 | 37 | 161 dup | 31.1 | 58.6 | 2.63 | 0.01 | 0.04 | 0.0001
|  |  | 31.15 | 58.5 | 2.635
16 | 41 | 189 | 31.1 | 63.3 | 2.69
16 | 41 | 189 dup | 31.2 | 63.4 | 2.72 | 0.01 | 0.01 | 0.0009
|  |  | 31.15 | 63.35 | 2.705
65 | 52 | 212 | 29 | 46 | 2.29
65 | 52 | 212 dup | 29.1 | 46 | 2.29 | 0.01 | 0 | 0
|  |  | 29.05 | 46 | 2.29
ADCP | 56 | 224 | 30 | 47.4 | 2.31
ADCP | 56 | 224 dup | 30.1 | 47.3 | 2.28 | 0.01 | 0.01 | 0.0009
|  |  | 30.05 | 47.35 | 2.295
69 | 59 | 236 | 28.9 | 45.5 | 2.24
69 | 59 | 236 dup | 28.8 | 45.9 | 2.26 | 0.01 | 0.16 | 0.0004
|  |  | 28.85 | 45.7 | 2.25
72 | 62 | 249 | 27.2 | 43.3 | 2.17
72 | 62 | 249 dup | 27.3 | 43.7 | 2.17 | 0.01 | 0.16 | 0
|  |  | 27.25 | 43.5 | 2.17
75 | 65 | 263 | 29.3 | 46 | 2.3
75 | 65 | 263 dup | 29.4 | 46 | 2.31 | 0.01 | 0 | 0.0001
|  |  | 29.35 | 46 | 2.305
[5 empty] | SUM OF (X-Y)SQ | 0.4 | 1.17 | 0.004
[5 empty] | COUNT | 13 | 13 | 13
[5 empty] | SUM/2*COUNT | 0.015385 | 0.045 | 0.00015385
[5 empty] | SQRT(SUM/2*COUNT) | 0.12403 | 0.21213 | 0.012403

## Precision Statement
Cruise 2008-41 June Chandler |  | File: Cocc2008-41\QF 2008-41nuts.xls
Samples were stored frozen and later analysed at IOS by Wendy Richardson. |  | Date : September 11, 2008
The Astoria Analyzer was used for sample analyses.
There were problems with salt crystals in cap and on the rim of test tubes this cruise affecting the quality of results.
Precision was determined by analyzing replicate samples drawn from one Niskin.
Pooled standard deviation of pairs of samples (Sp) was calucalated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
Precision including tubes with salt crystals in cap and on the rim.
Sp for nitrate for the range16.0 to 32.1 uM was 1.19, k = 20
Sp for silicate for the range 28.6 to 63.4 uM was 1.72 , k = 20
Sp for phosphate for the range 1.51 to 2.83 uM was 0.059, k = 20
Precision omitting bad results because of salt crystals in cap and on the rim.
Sp for nitrate for the range 24.3 to 31.2 uM was 0.12, k = 13
Sp for silicate for the range 39.4 to 63.4 uM was 0.21 , k = 13
Sp for phosphate for the range 2.14 to 2.72 uM was 0.012, k = 13
Accuracy of the stock standard batch was determined by using commercially available standards from WAKO Chemicals
(Sagami Chemical Company of Japan).
The values were within 1.53 % of the 20 uM Nitrate Standard.
The values were within 0.89 % of the 100 uM Silicate Standard.
August 2008 stock standard solutions were used for this cruise analyses.