## File List
Number of Files= |  | 15
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2008-50-0022.mrgcln2 | 2008-50-0022.sam | 11 | 13 | 2008-50-0022.mrgcln2 & 2008-50-0022.sam
2 | 2008-50-0024.mrgcln2 | 2008-50-0024.sam | 15 | 15 | 2008-50-0024.mrgcln2 & 2008-50-0024.sam
3 | 2008-50-0025.mrgcln2 | 2008-50-0025.sam | 17 | 19 | 2008-50-0025.mrgcln2 & 2008-50-0025.sam
4 | 2008-50-0027.mrgcln2 | 2008-50-0027.sam | 21 | 21 | 2008-50-0027.mrgcln2 & 2008-50-0027.sam
5 | 2008-50-0028.mrgcln2 | 2008-50-0028.sam | 23 | 23 | 2008-50-0028.mrgcln2 & 2008-50-0028.sam
6 | 2008-50-0029.mrgcln2 | 2008-50-0029.sam | 25 | 27 | 2008-50-0029.mrgcln2 & 2008-50-0029.sam
7 | 2008-50-0032.mrgcln2 | 2008-50-0032.sam | 29 | 31 | 2008-50-0032.mrgcln2 & 2008-50-0032.sam
8 | 2008-50-0033.mrgcln2 | 2008-50-0033.sam | 33 | 33 | 2008-50-0033.mrgcln2 & 2008-50-0033.sam
9 | 2008-50-0034.mrgcln2 | 2008-50-0034.sam | 35 | 35 | 2008-50-0034.mrgcln2 & 2008-50-0034.sam
10 | 2008-50-0035.mrgcln2 | 2008-50-0035.sam | 37 | 39 | 2008-50-0035.mrgcln2 & 2008-50-0035.sam
11 | 2008-50-0036.mrgcln2 | 2008-50-0036.sam | 41 | 41 | 2008-50-0036.mrgcln2 & 2008-50-0036.sam
12 | 2008-50-0038.mrgcln2 | 2008-50-0038.sam | 43 | 43 | 2008-50-0038.mrgcln2 & 2008-50-0038.sam
13 | 2008-50-0039.mrgcln2 | 2008-50-0039.sam | 45 | 47 | 2008-50-0039.mrgcln2 & 2008-50-0039.sam
14 | 2008-50-0041.mrgcln2 | 2008-50-0041.sam | 49 | 49 | 2008-50-0041.mrgcln2 & 2008-50-0041.sam
15 | 2008-50-0042.mrgcln2 | 2008-50-0042.sam | 51 | 51 | 2008-50-0042.mrgcln2 & 2008-50-0042.sam

## (FLUOR_CTD - CHL_BOT)
Calculation of Linear Least Squares Fit For
(FLUOR_CTD - CHL_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (FLUOR_CTD - CHL_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.07858 |  | X | CALC Y
m= | 0.057851 | 0.03962 |  | Std Dev of Resid |  | 1.2366 |  | 3.4949 | -1.4404
b= | -1.6426 | 0.4472 |  | Resid Sum of Squares |  | 38.2269 |  | 21.7781 | -0.38268
# of Values Extracted = |  |  | 27
# of Values Used in Fit = |  |  | 27
File | Use | Pressure | FLUOR_CTD | FLUOR_CTD | Diff (FLUOR_CTD - CHL_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 19.5279 | 0.48441 | 0.040073 | -1.2456 | -0.51285 | 0.73274 |  | 19.5279 | -1.2456
1 | YES | 10.3504 | 1.7214 | 0.085363 | -3.2886 | -1.0438 | 2.2449 |  | 10.3504 | -3.2886
1 | YES | 4.8526 | 3.4972 | 0.069266 | -2.8628 | -1.3618 | 1.5009 |  | 4.8526 | -2.8628
2 | YES | 5.6411 | 1.8216 | 0.021452 | 0.28156 | -1.3162 | -1.5978 |  | 5.6411 | 0.28156
3 | YES | 19.7112 | 0.43522 | 0.0295 | 0.045222 | -0.50225 | -0.54747 |  | 19.7112 | 0.045222
3 | YES | 9.6709 | 1.4096 | 0.017881 | 0.11956 | -1.0831 | -1.2027 |  | 9.6709 | 0.11956
3 | YES | 4.8999 | 2.1992 | 0.10225 | 0.66916 | -1.3591 | -2.0283 |  | 4.8999 | 0.66916
4 | YES | 4.6696 | 3.8913 | 0.16497 | 0.27127 | -1.3724 | -1.6437 |  | 4.6696 | 0.27127
5 | YES | 4.8683 | 7.0345 | 0.45399 | -2.7155 | -1.3609 | 1.3546 |  | 4.8683 | -2.7155
6 | YES | 21.7781 | 0.74037 | 0.070947 | -0.22963 | -0.38268 | -0.15305 |  | 21.7781 | -0.22963
6 | YES | 10.5567 | 1.9667 | 0.056737 | -0.71331 | -1.0318 | -0.31854 |  | 10.5567 | -0.71331
6 | YES | 5.2344 | 4.8659 | 0.26889 | -1.0041 | -1.3397 | -0.33565 |  | 5.2344 | -1.0041
7 | YES | 19.8005 | 1.1451 | 0.028248 | -0.44494 | -0.49708 | -0.052145 |  | 19.8005 | -0.44494
7 | YES | 9.8475 | 1.2658 | 0.071451 | -0.58417 | -1.0729 | -0.4887 |  | 9.8475 | -0.58417
7 | YES | 3.4949 | 1.6268 | 0.069191 | -0.53317 | -1.4404 | -0.9072 |  | 3.4949 | -0.53317
8 | YES | 6.3102 | 1.1717 | 0.025724 | -0.15835 | -1.2775 | -1.1192 |  | 6.3102 | -0.15835
9 | YES | 7.5044 | 0.68463 | 0.038686 | -0.36537 | -1.2084 | -0.84305 |  | 7.5044 | -0.36537
10 | YES | 19.6083 | 0.42532 | 0.037361 | -0.73468 | -0.5082 | 0.22648 |  | 19.6083 | -0.73468
10 | YES | 9.5574 | 1.5123 | 0.10776 | -1.9477 | -1.0897 | 0.858 |  | 9.5574 | -1.9477
10 | YES | 5.3998 | 1.3149 | 0.11422 | -1.3351 | -1.3302 | 0.0049228 |  | 5.3998 | -1.3351
11 | YES | 4.8901 | 1.1309 | 0.073471 | -1.1291 | -1.3597 | -0.23056 |  | 4.8901 | -1.1291
12 | YES | 4.9497 | 2.6342 | 0.09825 | -2.8258 | -1.3562 | 1.4696 |  | 4.9497 | -2.8258
13 | YES | 20.3275 | 0.26234 | 0.018458 | -0.18766 | -0.4666 | -0.27894 |  | 20.3275 | -0.18766
13 | YES | 9.6389 | 0.64511 | 0.03863 | -0.88489 | -1.0849 | -0.20005 |  | 9.6389 | -0.88489
13 | YES | 5.2687 | 1.278 | 0.076893 | -1.442 | -1.3378 | 0.10426 |  | 5.2687 | -1.442
14 | YES | 4.82 | 1.4581 | 0.064485 | -1.492 | -1.3637 | 0.12823 |  | 4.82 | -1.492
15 | YES | 4.8463 | 6.8555 | 0.24671 | -4.6845 | -1.3622 | 3.3223 |  | 4.8463 | -4.6845
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. FLUOR_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (FLUOR_CTD - CHL_BOT) (2)
Calculation of Linear Least Squares Fit For
(FLUOR_CTD - CHL_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (FLUOR_CTD - CHL_BOT), Prop=FLUOR_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.32105 |  | X | CALC Y
m= | -0.39912 | 0.11608 |  | Std Dev of Resid |  | 1.0615 |  | 0.26234 | -0.40389
b= | -0.29919 | 0.30756 |  | Resid Sum of Squares |  | 28.1674 |  | 7.0345 | -3.1068
# of Values Extracted = |  |  | 27
# of Values Used in Fit = |  |  | 27
File | Use | Pressure | FLUOR_CTD | FLUOR_CTD | Diff (FLUOR_CTD - CHL_BOT) |  |  |  | Fit vs. | FLUOR_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y | CHL | FLUOR | Cast | press | FL/CHL
1 | YES | 19.5279 | 0.48441 | 0.040073 | -1.2456 | -0.49252 | 0.75307 |  | 0.48441 | -1.2456 | 1.73 | 0.48441 | 22 | 19.5279 | 0.28
1 | YES | 10.3504 | 1.7214 | 0.085363 | -3.2886 | -0.98622 | 2.3024 |  | 1.7214 | -3.2886 | 5.01 | 1.7214 | 22 | 10.3504 | 0.34358
1 | YES | 4.8526 | 3.4972 | 0.069266 | -2.8628 | -1.695 | 1.1678 |  | 3.4972 | -2.8628 | 6.36 | 3.4972 | 22 | 4.8526 | 0.54988
2 | YES | 5.6411 | 1.8216 | 0.021452 | 0.28156 | -1.0262 | -1.3078 |  | 1.8216 | 0.28156 | 1.54 | 1.8216 | 24 | 5.6411 | 1.1828
3 | YES | 19.7112 | 0.43522 | 0.0295 | 0.045222 | -0.47289 | -0.51812 |  | 0.43522 | 0.045222 | 0.39 | 0.43522 | 25 | 19.7112 | 1.116
3 | YES | 9.6709 | 1.4096 | 0.017881 | 0.11956 | -0.86177 | -0.98133 |  | 1.4096 | 0.11956 | 1.29 | 1.4096 | 25 | 9.6709 | 1.0927
3 | YES | 4.8999 | 2.1992 | 0.10225 | 0.66916 | -1.1769 | -1.8461 |  | 2.1992 | 0.66916 | 1.53 | 2.1992 | 25 | 4.8999 | 1.4374
4 | YES | 4.6696 | 3.8913 | 0.16497 | 0.27127 | -1.8523 | -2.1235 |  | 3.8913 | 0.27127 | 3.62 | 3.8913 | 27 | 4.6696 | 1.0749
5 | YES | 4.8683 | 7.0345 | 0.45399 | -2.7155 | -3.1068 | -0.39125 |  | 7.0345 | -2.7155 | 9.75 | 7.0345 | 28 | 4.8683 | 0.72148
6 | YES | 21.7781 | 0.74037 | 0.070947 | -0.22963 | -0.59469 | -0.36506 |  | 0.74037 | -0.22963 | 0.97 | 0.74037 | 29 | 21.7781 | 0.76327
6 | YES | 10.5567 | 1.9667 | 0.056737 | -0.71331 | -1.0841 | -0.37083 |  | 1.9667 | -0.71331 | 2.68 | 1.9667 | 29 | 10.5567 | 0.73384
6 | YES | 5.2344 | 4.8659 | 0.26889 | -1.0041 | -2.2413 | -1.2372 |  | 4.8659 | -1.0041 | 5.87 | 4.8659 | 29 | 5.2344 | 0.82894
7 | YES | 19.8005 | 1.1451 | 0.028248 | -0.44494 | -0.7562 | -0.31127 |  | 1.1451 | -0.44494 | 1.59 | 1.1451 | 32 | 19.8005 | 0.72016
7 | YES | 9.8475 | 1.2658 | 0.071451 | -0.58417 | -0.80441 | -0.22023 |  | 1.2658 | -0.58417 | 1.85 | 1.2658 | 32 | 9.8475 | 0.68423
7 | YES | 3.4949 | 1.6268 | 0.069191 | -0.53317 | -0.94849 | -0.41531 |  | 1.6268 | -0.53317 | 2.16 | 1.6268 | 32 | 3.4949 | 0.75316
8 | YES | 6.3102 | 1.1717 | 0.025724 | -0.15835 | -0.76682 | -0.60847 |  | 1.1717 | -0.15835 | 1.33 | 1.1717 | 33 | 6.3102 | 0.88094
9 | YES | 7.5044 | 0.68463 | 0.038686 | -0.36537 | -0.57244 | -0.20706 |  | 0.68463 | -0.36537 | 1.05 | 0.68463 | 34 | 7.5044 | 0.65202
10 | YES | 19.6083 | 0.42532 | 0.037361 | -0.73468 | -0.46894 | 0.26574 |  | 0.42532 | -0.73468 | 1.16 | 0.42532 | 35 | 19.6083 | 0.36666
10 | YES | 9.5574 | 1.5123 | 0.10776 | -1.9477 | -0.90279 | 1.0449 |  | 1.5123 | -1.9477 | 3.46 | 1.5123 | 35 | 9.5574 | 0.43709
10 | YES | 5.3998 | 1.3149 | 0.11422 | -1.3351 | -0.82399 | 0.51111 |  | 1.3149 | -1.3351 | 2.65 | 1.3149 | 35 | 5.3998 | 0.49619
11 | YES | 4.8901 | 1.1309 | 0.073471 | -1.1291 | -0.75055 | 0.37855 |  | 1.1309 | -1.1291 | 2.26 | 1.1309 | 36 | 4.8901 | 0.5004
12 | YES | 4.9497 | 2.6342 | 0.09825 | -2.8258 | -1.3505 | 1.4753 |  | 2.6342 | -2.8258 | 5.46 | 2.6342 | 38 | 4.9497 | 0.48245
13 | YES | 20.3275 | 0.26234 | 0.018458 | -0.18766 | -0.40389 | -0.21623 |  | 0.26234 | -0.18766 | 0.45 | 0.26234 | 39 | 20.3275 | 0.58298
13 | YES | 9.6389 | 0.64511 | 0.03863 | -0.88489 | -0.55666 | 0.32822 |  | 0.64511 | -0.88489 | 1.53 | 0.64511 | 39 | 9.6389 | 0.42164
13 | YES | 5.2687 | 1.278 | 0.076893 | -1.442 | -0.80925 | 0.63277 |  | 1.278 | -1.442 | 2.72 | 1.278 | 39 | 5.2687 | 0.46985
14 | YES | 4.82 | 1.4581 | 0.064485 | -1.492 | -0.88112 | 0.61083 |  | 1.4581 | -1.492 | 2.95 | 1.4581 | 41 | 4.82 | 0.49425
15 | YES | 4.8463 | 6.8555 | 0.24671 | -4.6845 | -3.0354 | 1.6491 |  | 6.8555 | -4.6845 | 11.54 | 6.8555 | 42 | 4.8463 | 0.59407 | 0.69114 | 0.28662
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. FLUOR_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2009/03/17 14:18:39
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | CHL_BOT | FLUOR_CTD |  | FLUOR_CTD - CHL_BOT
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | CHL_BOT | FLUOR_CTD | FLUOR_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2008-50-0022.mrgcln2 | 2008-50-0022.sam | 303 | 19.488 | 19.5279 | 0.23365 | 0.039871 | 1.73 | 0.48441 | 0.040073 | -1.2456
2008-50-0022.mrgcln2 | 2008-50-0022.sam | 241 | 10.35 | 10.3504 | 0.15718 | 0.00039005 | 5.01 | 1.7214 | 0.085363 | -3.2886
2008-50-0022.mrgcln2 | 2008-50-0022.sam | 241 | 4.853 | 4.8526 | 0.19894 | -0.00036955 | 6.36 | 3.4972 | 0.069266 | -2.8628
2008-50-0024.mrgcln2 | 2008-50-0024.sam | 241 | 5.641 | 5.6411 | 0.42953 | 0.00014543 | 1.54 | 1.8216 | 0.021452 | 0.28156
2008-50-0025.mrgcln2 | 2008-50-0025.sam | 482 | 19.727 | 19.7112 | 0.28226 | -0.015762 | 0.39 | 0.43522 | 0.0295 | 0.045222
2008-50-0025.mrgcln2 | 2008-50-0025.sam | 241 | 9.671 | 9.6709 | 0.16454 | -0.00013256 | 1.29 | 1.4096 | 0.017881 | 0.11956
2008-50-0025.mrgcln2 | 2008-50-0025.sam | 241 | 4.9 | 4.8999 | 0.081337 | -6.2466e-05 | 1.53 | 2.1992 | 0.10225 | 0.66916
2008-50-0027.mrgcln2 | 2008-50-0027.sam | 241 | 4.67 | 4.6696 | 0.20944 | -0.00044012 | 3.62 | 3.8913 | 0.16497 | 0.27127
2008-50-0028.mrgcln2 | 2008-50-0028.sam | 241 | 4.868 | 4.8683 | 0.21484 | 0.00031948 | 9.75 | 7.0345 | 0.45399 | -2.7155
2008-50-0029.mrgcln2 | 2008-50-0029.sam | 241 | 21.778 | 21.7781 | 0.15417 | 7.0572e-05 | 0.97 | 0.74037 | 0.070947 | -0.22963
2008-50-0029.mrgcln2 | 2008-50-0029.sam | 241 | 10.557 | 10.5567 | 0.32886 | -0.00034428 | 2.68 | 1.9667 | 0.056737 | -0.71331
2008-50-0029.mrgcln2 | 2008-50-0029.sam | 241 | 5.234 | 5.2344 | 0.2268 | 0.00041056 | 5.87 | 4.8659 | 0.26889 | -1.0041
2008-50-0032.mrgcln2 | 2008-50-0032.sam | 241 | 19.801 | 19.8005 | 0.2242 | -0.00046158 | 1.59 | 1.1451 | 0.028248 | -0.44494
2008-50-0032.mrgcln2 | 2008-50-0032.sam | 241 | 9.848 | 9.8475 | 0.15761 | -0.00047684 | 1.85 | 1.2658 | 0.071451 | -0.58417
2008-50-0032.mrgcln2 | 2008-50-0032.sam | 241 | 3.495 | 3.4949 | 0.1524 | -0.00011182 | 2.16 | 1.6268 | 0.069191 | -0.53317
2008-50-0033.mrgcln2 | 2008-50-0033.sam | 342 | 6.353 | 6.3102 | 0.21554 | -0.042757 | 1.33 | 1.1717 | 0.025724 | -0.15835
2008-50-0034.mrgcln2 | 2008-50-0034.sam | 334 | 7.475 | 7.5044 | 0.12441 | 0.02941 | 1.05 | 0.68463 | 0.038686 | -0.36537
2008-50-0035.mrgcln2 | 2008-50-0035.sam | 315 | 19.701 | 19.6083 | 0.25116 | -0.09272 | 1.16 | 0.42532 | 0.037361 | -0.73468
2008-50-0035.mrgcln2 | 2008-50-0035.sam | 241 | 9.557 | 9.5574 | 0.11693 | 0.00036049 | 3.46 | 1.5123 | 0.10776 | -1.9477
2008-50-0035.mrgcln2 | 2008-50-0035.sam | 241 | 5.4 | 5.3998 | 0.11377 | -0.00019932 | 2.65 | 1.3149 | 0.11422 | -1.3351
2008-50-0036.mrgcln2 | 2008-50-0036.sam | 281 | 4.841 | 4.8901 | 0.15491 | 0.049082 | 2.26 | 1.1309 | 0.073471 | -1.1291
2008-50-0038.mrgcln2 | 2008-50-0038.sam | 287 | 4.951 | 4.9497 | 0.21159 | -0.0013347 | 5.46 | 2.6342 | 0.09825 | -2.8258
2008-50-0039.mrgcln2 | 2008-50-0039.sam | 241 | 20.327 | 20.3275 | 0.33698 | 0.00048065 | 0.45 | 0.26234 | 0.018458 | -0.18766
2008-50-0039.mrgcln2 | 2008-50-0039.sam | 241 | 9.639 | 9.6389 | 0.28679 | -0.00013256 | 1.53 | 0.64511 | 0.03863 | -0.88489
2008-50-0039.mrgcln2 | 2008-50-0039.sam | 241 | 5.269 | 5.2687 | 0.15203 | -0.0002532 | 2.72 | 1.278 | 0.076893 | -1.442
2008-50-0041.mrgcln2 | 2008-50-0041.sam | 283 | 4.873 | 4.82 | 0.20261 | -0.052957 | 2.95 | 1.4581 | 0.064485 | -1.492
2008-50-0042.mrgcln2 | 2008-50-0042.sam | 241 | 4.846 | 4.8463 | 0.030426 | 0.00029468 | 11.54 | 6.8555 | 0.24671 | -4.6845
Create Fit Sheet