## File List
Number of Files= |  | 19
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2008-50-0015.mrgcln2 | 2008-50-0015.sam | 12 | 12 | 2008-50-0015.mrgcln2 & 2008-50-0015.sam
2 | 2008-50-0016.mrgcln2 | 2008-50-0016.sam | 14 | 14 | 2008-50-0016.mrgcln2 & 2008-50-0016.sam
3 | 2008-50-0017.mrgcln2 | 2008-50-0017.sam | 16 | 16 | 2008-50-0017.mrgcln2 & 2008-50-0017.sam
4 | 2008-50-0018.mrgcln2 | 2008-50-0018.sam | 18 | 18 | 2008-50-0018.mrgcln2 & 2008-50-0018.sam
5 | 2008-50-0022.mrgcln2 | 2008-50-0022.sam | 20 | 22 | 2008-50-0022.mrgcln2 & 2008-50-0022.sam
6 | 2008-50-0024.mrgcln2 | 2008-50-0024.sam | 24 | 24 | 2008-50-0024.mrgcln2 & 2008-50-0024.sam
7 | 2008-50-0025.mrgcln2 | 2008-50-0025.sam | 26 | 28 | 2008-50-0025.mrgcln2 & 2008-50-0025.sam
8 | 2008-50-0027.mrgcln2 | 2008-50-0027.sam | 30 | 30 | 2008-50-0027.mrgcln2 & 2008-50-0027.sam
9 | 2008-50-0028.mrgcln2 | 2008-50-0028.sam | 32 | 32 | 2008-50-0028.mrgcln2 & 2008-50-0028.sam
10 | 2008-50-0029.mrgcln2 | 2008-50-0029.sam | 34 | 36 | 2008-50-0029.mrgcln2 & 2008-50-0029.sam
11 | 2008-50-0032.mrgcln2 | 2008-50-0032.sam | 38 | 40 | 2008-50-0032.mrgcln2 & 2008-50-0032.sam
12 | 2008-50-0033.mrgcln2 | 2008-50-0033.sam | 42 | 42 | 2008-50-0033.mrgcln2 & 2008-50-0033.sam
13 | 2008-50-0034.mrgcln2 | 2008-50-0034.sam | 44 | 44 | 2008-50-0034.mrgcln2 & 2008-50-0034.sam
14 | 2008-50-0035.mrgcln2 | 2008-50-0035.sam | 46 | 48 | 2008-50-0035.mrgcln2 & 2008-50-0035.sam
15 | 2008-50-0036.mrgcln2 | 2008-50-0036.sam | 50 | 50 | 2008-50-0036.mrgcln2 & 2008-50-0036.sam
16 | 2008-50-0038.mrgcln2 | 2008-50-0038.sam | 52 | 52 | 2008-50-0038.mrgcln2 & 2008-50-0038.sam
17 | 2008-50-0039.mrgcln2 | 2008-50-0039.sam | 54 | 56 | 2008-50-0039.mrgcln2 & 2008-50-0039.sam
18 | 2008-50-0041.mrgcln2 | 2008-50-0041.sam | 58 | 58 | 2008-50-0041.mrgcln2 & 2008-50-0041.sam
19 | 2008-50-0042.mrgcln2 | 2008-50-0042.sam | 60 | 60 | 2008-50-0042.mrgcln2 & 2008-50-0042.sam

## (Sal0 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.3187 |  | X | CALC Y
m= | -4.2311e-06 | 3.0932e-06 |  | Std Dev of Resid |  | 0.0030141 |  | 200.961 | -0.0080903
b= | -0.00724 | 0.0022076 |  | Resid Sum of Squares |  | 3.6339e-05 |  | 1249.9 | -0.012528
# of Values Extracted = |  |  | 31
# of Values Used in Fit = |  |  | 6
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 200.961 | 32.1396 | 0.00030611 | -0.0057564 | -0.0080903 | -0.0023339 |  | 200.961 | -0.0057564
2 | NO | 127.161 | 31.4262 | 0.0069146 | 0.0068016 | -0.0077781 | -0.01458 |  | 202.657 | -0.0056152
3 | YES | 202.657 | 33.2101 | 0.00044888 | -0.0056152 | -0.0080975 | -0.0024823 |  | 1249.9 | -0.010464
4 | NO | 126.017 | 32.8763 | 0.0017751 | -0.0069084 | -0.0077732 | -0.00086482 |  | 1000.85 | -0.012489
5 | NO | 89.5647 | 33.4767 | 0.001079 | -0.0023956 | -0.007619 | -0.0052234 |  | 500.327 | -0.011234
5 | NO | 89.8714 | 33.4777 | 0.0025705 | -0.0032005 | -0.0076203 | -0.0044198 |  | 400.623 | -0.012924 | -0.0097472
5 | NO | 4.8526 | 31.7295 | 0.00058022 | -0.013544 | -0.0072606 | 0.0062835
6 | NO | 5.6411 | 32.1175 | 0.0048779 | -0.021427 | -0.0072639 | 0.014163
7 | NO | 127.299 | 33.9512 | 0.00059006 | -0.0075264 | -0.0077787 | -0.00025226
7 | NO | 100.295 | 33.8368 | 0.0033464 | -0.0039825 | -0.0076644 | -0.0036819
7 | NO | 4.8999 | 32.1127 | 0.039398 | -0.1471 | -0.0072608 | 0.13983
8 | NO | 4.6696 | 32.3329 | 0.023325 | 0.016506 | -0.0072598 | -0.023766
9 | NO | 4.8683 | 32.2759 | 0.010676 | -0.049633 | -0.0072606 | 0.042372
10 | YES | 1249.9 | 34.4678 | 0.00031056 | -0.010464 | -0.012528 | -0.0020648
10 | YES | 1000.85 | 34.3835 | 0.00034417 | -0.012489 | -0.011475 | 0.0010146
10 | NO | 5.2344 | 32.0324 | 0.0009797 | -0.015926 | -0.0072622 | 0.0086642
11 | YES | 500.327 | 34.112 | 0.00042342 | -0.011234 | -0.009357 | 0.0018773
11 | YES | 400.623 | 34.0592 | 0.00031218 | -0.012924 | -0.0089351 | 0.0039891
11 | NO | 3.4949 | 32.1233 | 0.00028832 | -0.015339 | -0.0072548 | 0.0080841
12 | NO | 6.3102 | 32.1785 | 0.00071773 | -0.030529 | -0.0072667 | 0.023262
13 | NO | 7.5044 | 30.958 | 0.0016764 | 0.014967 | -0.0072718 | -0.022239
14 | NO | 80.5472 | 33.2454 | 0.00040485 | -0.00097275 | -0.0075808 | -0.0066081
14 | NO | 74.3411 | 33.195 | 0.0028395 | 0.0093918 | -0.0075546 | -0.016946
14 | NO | 5.3998 | 30.7352 | 0.0019548 | -0.027897 | -0.0072629 | 0.020634
15 | NO | 4.8901 | 30.6603 | 0.00074352 | -0.012535 | -0.0072607 | 0.0052744
16 | NO | 4.9497 | 31.3028 | 0.002274 | -0.041622 | -0.007261 | 0.034361
17 | NO | 29.7851 | 32.3065 | 0.008574 | -0.0053711 | -0.0073661 | -0.001995
17 | NO | 20.3275 | 31.9988 | 0.0027433 | -0.029278 | -0.0073261 | 0.021952
17 | NO | 5.2687 | 31.5889 | 0.010542 | -0.049675 | -0.0072623 | 0.042413
18 | NO | 4.82 | 31.0475 | 0.0060355 | -0.011547 | -0.0072604 | 0.0042867
19 | NO | 4.8463 | 29.3161 | 0.60788 | -1.1972 | -0.0072606 | 1.1899
YES
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.36834 |  | X | CALC Y
m= | -5.1443e-06 | 3.3683e-06 |  | Std Dev of Resid |  | 0.0032822 |  | 200.961 | -0.0084239
b= | -0.0073901 | 0.002404 |  | Resid Sum of Squares |  | 4.3091e-05 |  | 1249.9 | -0.01382
# of Values Extracted = |  |  | 31
# of Values Used in Fit = |  |  | 6
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 200.961 | 32.1394 | 0.00036537 | -0.0059815 | -0.0084239 | -0.0024424 |  | 200.961 | -0.0059815
2 | NO | 127.161 | 31.4253 | 0.0083309 | 0.0058632 | -0.0080442 | -0.013907 |  | 202.657 | -0.0056534
3 | YES | 202.657 | 33.21 | 0.00037855 | -0.0056534 | -0.0084326 | -0.0027792 |  | 1249.9 | -0.011459
4 | NO | 126.017 | 32.8755 | 0.0024147 | -0.0077324 | -0.0080383 | -0.00030593 |  | 1000.85 | -0.013802
5 | NO | 89.5647 | 33.4788 | 0.0015161 | -0.00034714 | -0.0078508 | -0.0075037 |  | 500.327 | -0.012058
5 | NO | 89.8714 | 33.4793 | 0.0019452 | -0.0015831 | -0.0078524 | -0.0062693 |  | 400.623 | -0.013676 | -0.010438
5 | NO | 4.8526 | 31.728 | 0.0003112 | -0.014994 | -0.007415 | 0.0075787
6 | NO | 5.6411 | 32.1171 | 0.0070525 | -0.021824 | -0.0074191 | 0.014405
7 | NO | 127.299 | 33.9518 | 0.00065894 | -0.0069199 | -0.0080449 | -0.0011251
7 | NO | 100.295 | 33.8377 | 0.0024189 | -0.0030899 | -0.007906 | -0.0048161
7 | NO | 4.8999 | 32.1123 | 0.046981 | -0.14753 | -0.0074153 | 0.14011
8 | NO | 4.6696 | 32.331 | 0.024566 | 0.014553 | -0.0074141 | -0.021967
9 | NO | 4.8683 | 32.2742 | 0.01065 | -0.051258 | -0.0074151 | 0.043843
10 | YES | 1249.9 | 34.4668 | 0.00028272 | -0.011459 | -0.01382 | -0.0023605
10 | YES | 1000.85 | 34.3822 | 0.00029702 | -0.013802 | -0.012539 | 0.0012629
10 | NO | 5.2344 | 32.0322 | 0.00062405 | -0.016132 | -0.007417 | 0.0087154
11 | YES | 500.327 | 34.1111 | 0.00034372 | -0.012058 | -0.0099639 | 0.0020944
11 | YES | 400.623 | 34.0584 | 0.00022529 | -0.013676 | -0.009451 | 0.0042247
11 | NO | 3.4949 | 32.123 | 0.00025807 | -0.01564 | -0.007408 | 0.0082323
12 | NO | 6.3102 | 32.1768 | 0.00070329 | -0.032154 | -0.0074225 | 0.024732
13 | NO | 7.5044 | 30.9591 | 0.0009512 | 0.016069 | -0.0074287 | -0.023498
14 | NO | 80.5472 | 33.2477 | 0.00034838 | 0.0012703 | -0.0078044 | -0.0090747
14 | NO | 74.3411 | 33.197 | 0.0037338 | 0.011425 | -0.0077725 | -0.019197
14 | NO | 5.3998 | 30.7353 | 0.0018808 | -0.027769 | -0.0074178 | 0.020351
15 | NO | 4.8901 | 30.6614 | 0.00086505 | -0.011368 | -0.0074152 | 0.0039526
16 | NO | 4.9497 | 31.304 | 0.0026435 | -0.040445 | -0.0074155 | 0.03303
17 | NO | 29.7851 | 32.3089 | 0.0075918 | -0.0030327 | -0.0075433 | -0.0045106
17 | NO | 20.3275 | 32.0008 | 0.0031679 | -0.027328 | -0.0074946 | 0.019834
17 | NO | 5.2687 | 31.5925 | 0.0074388 | -0.046146 | -0.0074172 | 0.038729
18 | NO | 4.82 | 31.052 | 0.0050161 | -0.0070324 | -0.0074149 | -0.00038246
19 | NO | 4.8463 | 29.5615 | 0.52438 | -0.9518 | -0.007415 | 0.94439
YES
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_Bot) (2)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.91182 |  | X | CALC Y
m= | -0.00069972 | 0.0001088 |  | Std Dev of Resid |  | 0.0010844 |  | 1 | -0.0050824
b= | -0.0043827 | 0.00094432 |  | Resid Sum of Squares |  | 4.7033e-06 |  | 11 | -0.01208
# of Values Extracted = |  |  | 31
# of Values Used in Fit = |  |  | 6
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 200.961 | 32.1396 | 0.00030611 | -0.0057564 | -0.0050824 | 0.00067396 |  | 1 | -0.0057564
2 | NO | 127.161 | 31.4262 | 0.0069146 | 0.0068016 | -0.0057821 | -0.012584 |  | 3 | -0.0056152
3 | YES | 202.657 | 33.2101 | 0.00044888 | -0.0056152 | -0.0064818 | -0.00086662 |  | 10 | -0.010464
4 | NO | 126.017 | 32.8763 | 0.0017751 | -0.0069084 | -0.0071816 | -0.00027314 |  | 10 | -0.012489
5 | NO | 89.5647 | 33.4767 | 0.001079 | -0.0023956 | -0.0078813 | -0.0054856 |  | 11 | -0.011234
5 | NO | 89.8714 | 33.4777 | 0.0025705 | -0.0032005 | -0.0078813 | -0.0046807 |  | 11 | -0.012924
5 | NO | 4.8526 | 31.7295 | 0.00058022 | -0.013544 | -0.0078813 | 0.0056628
6 | NO | 5.6411 | 32.1175 | 0.0048779 | -0.021427 | -0.008581 | 0.012846
7 | NO | 127.299 | 33.9512 | 0.00059006 | -0.0075264 | -0.0092807 | -0.0017543
7 | NO | 100.295 | 33.8368 | 0.0033464 | -0.0039825 | -0.0092807 | -0.0052982
7 | NO | 4.8999 | 32.1127 | 0.039398 | -0.1471 | -0.0092807 | 0.13781
8 | NO | 4.6696 | 32.3329 | 0.023325 | 0.016506 | -0.0099804 | -0.026487
9 | NO | 4.8683 | 32.2759 | 0.010676 | -0.049633 | -0.01068 | 0.038953
10 | YES | 1249.9 | 34.4678 | 0.00031056 | -0.010464 | -0.01138 | -0.00091615
10 | YES | 1000.85 | 34.3835 | 0.00034417 | -0.012489 | -0.01138 | 0.0011094
10 | NO | 5.2344 | 32.0324 | 0.0009797 | -0.015926 | -0.01138 | 0.0045465
11 | YES | 500.327 | 34.112 | 0.00042342 | -0.011234 | -0.01208 | -0.00084527
11 | YES | 400.623 | 34.0592 | 0.00031218 | -0.012924 | -0.01208 | 0.00084463
11 | NO | 3.4949 | 32.1233 | 0.00028832 | -0.015339 | -0.01208 | 0.0032593
12 | NO | 6.3102 | 32.1785 | 0.00071773 | -0.030529 | -0.012779 | 0.01775
13 | NO | 7.5044 | 30.958 | 0.0016764 | 0.014967 | -0.013479 | -0.028446
14 | NO | 80.5472 | 33.2454 | 0.00040485 | -0.00097275 | -0.014179 | -0.013206
14 | NO | 74.3411 | 33.195 | 0.0028395 | 0.0093918 | -0.014179 | -0.02357
14 | NO | 5.3998 | 30.7352 | 0.0019548 | -0.027897 | -0.014179 | 0.013718
15 | NO | 4.8901 | 30.6603 | 0.00074352 | -0.012535 | -0.014878 | -0.0023433
16 | NO | 4.9497 | 31.3028 | 0.002274 | -0.041622 | -0.015578 | 0.026044
17 | NO | 29.7851 | 32.3065 | 0.008574 | -0.0053711 | -0.016278 | -0.010907
17 | NO | 20.3275 | 31.9988 | 0.0027433 | -0.029278 | -0.016278 | 0.013
17 | NO | 5.2687 | 31.5889 | 0.010542 | -0.049675 | -0.016278 | 0.033397
18 | NO | 4.82 | 31.0475 | 0.0060355 | -0.011547 | -0.016978 | -0.0054305
19 | NO | 4.8463 | 29.3161 | 0.60788 | -1.1972 | -0.017677 | 1.1795
YES
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot) (2)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.90853 |  | X | CALC Y
m= | -0.0007899 | 0.00012532 |  | Std Dev of Resid |  | 0.001249 |  | 1 | -0.0051723
b= | -0.0043824 | 0.0010877 |  | Resid Sum of Squares |  | 6.2401e-06 |  | 11 | -0.013071
# of Values Extracted = |  |  | 31
# of Values Used in Fit = |  |  | 6
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 200.961 | 32.1394 | 0.00036537 | -0.0059815 | -0.0051723 | 0.00080916 |  | 1 | -0.0059815
2 | NO | 127.161 | 31.4253 | 0.0083309 | 0.0058632 | -0.0059622 | -0.011825 |  | 3 | -0.0056534
3 | YES | 202.657 | 33.21 | 0.00037855 | -0.0056534 | -0.0067521 | -0.0010987 |  | 10 | -0.011459
4 | NO | 126.017 | 32.8755 | 0.0024147 | -0.0077324 | -0.007542 | 0.00019039 |  | 10 | -0.013802
5 | NO | 89.5647 | 33.4788 | 0.0015161 | -0.00034714 | -0.0083319 | -0.0079848 |  | 11 | -0.012058
5 | NO | 89.8714 | 33.4793 | 0.0019452 | -0.0015831 | -0.0083319 | -0.0067488 |  | 11 | -0.013676
5 | NO | 4.8526 | 31.728 | 0.0003112 | -0.014994 | -0.0083319 | 0.0066618
6 | NO | 5.6411 | 32.1171 | 0.0070525 | -0.021824 | -0.0091218 | 0.012702
7 | NO | 127.299 | 33.9518 | 0.00065894 | -0.0069199 | -0.0099117 | -0.0029918
7 | NO | 100.295 | 33.8377 | 0.0024189 | -0.0030899 | -0.0099117 | -0.0068218
7 | NO | 4.8999 | 32.1123 | 0.046981 | -0.14753 | -0.0099117 | 0.13761
8 | NO | 4.6696 | 32.331 | 0.024566 | 0.014553 | -0.010702 | -0.025255
9 | NO | 4.8683 | 32.2742 | 0.01065 | -0.051258 | -0.011492 | 0.039767
10 | YES | 1249.9 | 34.4668 | 0.00028272 | -0.011459 | -0.012281 | -0.00082201
10 | YES | 1000.85 | 34.3822 | 0.00029702 | -0.013802 | -0.012281 | 0.0015202
10 | NO | 5.2344 | 32.0322 | 0.00062405 | -0.016132 | -0.012281 | 0.003851
11 | YES | 500.327 | 34.1111 | 0.00034372 | -0.012058 | -0.013071 | -0.001013
11 | YES | 400.623 | 34.0584 | 0.00022529 | -0.013676 | -0.013071 | 0.00060439
11 | NO | 3.4949 | 32.123 | 0.00025807 | -0.01564 | -0.013071 | 0.002569
12 | NO | 6.3102 | 32.1768 | 0.00070329 | -0.032154 | -0.013861 | 0.018293
13 | NO | 7.5044 | 30.9591 | 0.0009512 | 0.016069 | -0.014651 | -0.030721
14 | NO | 80.5472 | 33.2477 | 0.00034838 | 0.0012703 | -0.015441 | -0.016711
14 | NO | 74.3411 | 33.197 | 0.0037338 | 0.011425 | -0.015441 | -0.026866
14 | NO | 5.3998 | 30.7353 | 0.0018808 | -0.027769 | -0.015441 | 0.012328
15 | NO | 4.8901 | 30.6614 | 0.00086505 | -0.011368 | -0.016231 | -0.0048631
16 | NO | 4.9497 | 31.304 | 0.0026435 | -0.040445 | -0.017021 | 0.023424
17 | NO | 29.7851 | 32.3089 | 0.0075918 | -0.0030327 | -0.017811 | -0.014778
17 | NO | 20.3275 | 32.0008 | 0.0031679 | -0.027328 | -0.017811 | 0.0095178
17 | NO | 5.2687 | 31.5925 | 0.0074388 | -0.046146 | -0.017811 | 0.028336
18 | NO | 4.82 | 31.052 | 0.0050161 | -0.0070324 | -0.018601 | -0.011568
19 | NO | 4.8463 | 29.5615 | 0.52438 | -0.9518 | -0.019391 | 0.93241
YES
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_Bot) (3)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Sal0
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.020604 |  | X | CALC Y
m= | -0.001379 | 0.002541 |  | Std Dev of Resid |  | 0.008898 |  | 31.4262 | -0.0038413
b= | 0.039495 | 0.084543 |  | Resid Sum of Squares |  | 0.0011084 |  | 34.4678 | -0.0080356
# of Values Extracted = |  |  | 31
# of Values Used in Fit = |  |  | 16
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Sal0
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 200.961 | 32.1396 | 0.00030611 | -0.0057564 | -0.004825 | 0.00093135 |  | 32.1396 | -0.0057564
2 | YES | 127.161 | 31.4262 | 0.0069146 | 0.0068016 | -0.0038413 | -0.010643 |  | 31.4262 | 0.0068016
3 | YES | 202.657 | 33.2101 | 0.00044888 | -0.0056152 | -0.0063013 | -0.00068602 |  | 33.2101 | -0.0056152
4 | YES | 126.017 | 32.8763 | 0.0017751 | -0.0069084 | -0.0058409 | 0.0010675 |  | 32.8763 | -0.0069084
5 | YES | 89.5647 | 33.4767 | 0.001079 | -0.0023956 | -0.0066689 | -0.0042733 |  | 33.4767 | -0.0023956
5 | YES | 89.8714 | 33.4777 | 0.0025705 | -0.0032005 | -0.0066703 | -0.0034697 |  | 33.4777 | -0.0032005
5 | NO | 4.8526 | 31.7295 | 0.00058022 | -0.013544 | -0.0042595 | 0.0092846 |  | 33.9512 | -0.0075264
6 | NO | 5.6411 | 32.1175 | 0.0048779 | -0.021427 | -0.0047946 | 0.016633 |  | 33.8368 | -0.0039825
7 | YES | 127.299 | 33.9512 | 0.00059006 | -0.0075264 | -0.0073232 | 0.00020317 |  | 34.4678 | -0.010464
7 | YES | 100.295 | 33.8368 | 0.0033464 | -0.0039825 | -0.0071655 | -0.0031829 |  | 34.3835 | -0.012489
7 | NO | 4.8999 | 32.1127 | 0.039398 | -0.1471 | -0.0047879 | 0.14231 |  | 34.112 | -0.011234
8 | NO | 4.6696 | 32.3329 | 0.023325 | 0.016506 | -0.0050916 | -0.021598 |  | 34.0592 | -0.012924
9 | NO | 4.8683 | 32.2759 | 0.010676 | -0.049633 | -0.005013 | 0.04462 |  | 33.2454 | -0.00097275
10 | YES | 1249.9 | 34.4678 | 0.00031056 | -0.010464 | -0.0080356 | 0.0024281 |  | 33.195 | 0.0093918
10 | YES | 1000.85 | 34.3835 | 0.00034417 | -0.012489 | -0.0079194 | 0.0045699 |  | 32.3065 | -0.0053711
10 | NO | 5.2344 | 32.0324 | 0.0009797 | -0.015926 | -0.0046772 | 0.011249 |  | 31.9988 | -0.029278
11 | YES | 500.327 | 34.112 | 0.00042342 | -0.011234 | -0.007545 | 0.0036893
11 | YES | 400.623 | 34.0592 | 0.00031218 | -0.012924 | -0.0074722 | 0.005452
11 | NO | 3.4949 | 32.1233 | 0.00028832 | -0.015339 | -0.0048026 | 0.010536
12 | NO | 6.3102 | 32.1785 | 0.00071773 | -0.030529 | -0.0048787 | 0.02565
13 | NO | 7.5044 | 30.958 | 0.0016764 | 0.014967 | -0.0031956 | -0.018163
14 | YES | 80.5472 | 33.2454 | 0.00040485 | -0.00097275 | -0.0063499 | -0.0053772
14 | YES | 74.3411 | 33.195 | 0.0028395 | 0.0093918 | -0.0062804 | -0.015672
14 | NO | 5.3998 | 30.7352 | 0.0019548 | -0.027897 | -0.0028884 | 0.025009
15 | NO | 4.8901 | 30.6603 | 0.00074352 | -0.012535 | -0.0027851 | 0.00975
16 | NO | 4.9497 | 31.3028 | 0.002274 | -0.041622 | -0.0036711 | 0.037951
17 | YES | 29.7851 | 32.3065 | 0.008574 | -0.0053711 | -0.0050552 | 0.0003159
17 | YES | 20.3275 | 31.9988 | 0.0027433 | -0.029278 | -0.0046309 | 0.024647
17 | NO | 5.2687 | 31.5889 | 0.010542 | -0.049675 | -0.0040656 | 0.045609
18 | NO | 4.82 | 31.0475 | 0.0060355 | -0.011547 | -0.003319 | 0.0082281
19 | NO | 4.8463 | 29.3161 | 0.60788 | -1.1972 | -0.00093143 | 1.1962
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
NO
NO
NO
YES
YES
NO
YES
YES
NO
NO
NO
YES
YES
NO
NO
NO
YES
YES
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.3 | Run at 2009/03/17 11:50:22
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 2 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2008-50-0015.mrgcln2 | 2008-50-0015.sam | 241 | 200.961 | 200.961 | 0.077002 | -0.00039673 | 32.1454 | 32.1396 | 0.00030611 | -0.0057564 | 32.1454 | 32.1394 | 0.00036537 | -0.0059815
2008-50-0016.mrgcln2 | 2008-50-0016.sam | 241 | 127.161 | 127.161 | 0.093144 | 0.00035095 | 31.4194 | 31.4262 | 0.0069146 | 0.0068016 | 31.4194 | 31.4253 | 0.0083309 | 0.0058632
2008-50-0017.mrgcln2 | 2008-50-0017.sam | 241 | 202.657 | 202.657 | 0.096712 | -0.00030518 | 33.2157 | 33.2101 | 0.00044888 | -0.0056152 | 33.2157 | 33.21 | 0.00037855 | -0.0056534
2008-50-0018.mrgcln2 | 2008-50-0018.sam | 241 | 126.017 | 126.017 | 0.085177 | 0.00032806 | 32.8832 | 32.8763 | 0.0017751 | -0.0069084 | 32.8832 | 32.8755 | 0.0024147 | -0.0077324
2008-50-0022.mrgcln2 | 2008-50-0022.sam | 235 | 89.313 | 89.5647 | 0.33439 | 0.25165 | 33.4791 | 33.4767 | 0.001079 | -0.0023956 | 33.4791 | 33.4788 | 0.0015161 | -0.00034714
2008-50-0022.mrgcln2 | 2008-50-0022.sam | 321 | 90.048 | 89.8714 | 0.59339 | -0.17661 | 33.4809 | 33.4777 | 0.0025705 | -0.0032005 | 33.4809 | 33.4793 | 0.0019452 | -0.0015831
2008-50-0022.mrgcln2 | 2008-50-0022.sam | 241 | 4.853 | 4.8526 | 0.19894 | -0.00036955 | 31.743 | 31.7295 | 0.00058022 | -0.013544 | 31.743 | 31.728 | 0.0003112 | -0.014994
2008-50-0024.mrgcln2 | 2008-50-0024.sam | 241 | 5.641 | 5.6411 | 0.42953 | 0.00014543 | 32.1389 | 32.1175 | 0.0048779 | -0.021427 | 32.1389 | 32.1171 | 0.0070525 | -0.021824
2008-50-0025.mrgcln2 | 2008-50-0025.sam | 241 | 127.299 | 127.299 | 0.23618 | -6.1035e-05 | 33.9587 | 33.9512 | 0.00059006 | -0.0075264 | 33.9587 | 33.9518 | 0.00065894 | -0.0069199
2008-50-0025.mrgcln2 | 2008-50-0025.sam | 241 | 100.295 | 100.295 | 0.52587 | 0.00039673 | 33.8408 | 33.8368 | 0.0033464 | -0.0039825 | 33.8408 | 33.8377 | 0.0024189 | -0.0030899
2008-50-0025.mrgcln2 | 2008-50-0025.sam | 241 | 4.9 | 4.8999 | 0.081337 | -6.2466e-05 | 32.2598 | 32.1127 | 0.039398 | -0.1471 | 32.2598 | 32.1123 | 0.046981 | -0.14753
2008-50-0027.mrgcln2 | 2008-50-0027.sam | 241 | 4.67 | 4.6696 | 0.20944 | -0.00044012 | 32.3164 | 32.3329 | 0.023325 | 0.016506 | 32.3164 | 32.331 | 0.024566 | 0.014553
2008-50-0028.mrgcln2 | 2008-50-0028.sam | 241 | 4.868 | 4.8683 | 0.21484 | 0.00031948 | 32.3255 | 32.2759 | 0.010676 | -0.049633 | 32.3255 | 32.2742 | 0.01065 | -0.051258
2008-50-0029.mrgcln2 | 2008-50-0029.sam | 241 | 1249.91 | 1249.9 | 0.54509 | -0.00024414 | 34.4783 | 34.4678 | 0.00031056 | -0.010464 | 34.4783 | 34.4668 | 0.00028272 | -0.011459
2008-50-0029.mrgcln2 | 2008-50-0029.sam | 241 | 1000.85 | 1000.85 | 0.36429 | 0.00024414 | 34.396 | 34.3835 | 0.00034417 | -0.012489 | 34.396 | 34.3822 | 0.00029702 | -0.013802
2008-50-0029.mrgcln2 | 2008-50-0029.sam | 241 | 5.234 | 5.2344 | 0.2268 | 0.00041056 | 32.0483 | 32.0324 | 0.0009797 | -0.015926 | 32.0483 | 32.0322 | 0.00062405 | -0.016132
2008-50-0032.mrgcln2 | 2008-50-0032.sam | 241 | 500.327 | 500.327 | 0.35761 | -0.00039673 | 34.1232 | 34.112 | 0.00042342 | -0.011234 | 34.1232 | 34.1111 | 0.00034372 | -0.012058
2008-50-0032.mrgcln2 | 2008-50-0032.sam | 241 | 400.623 | 400.623 | 0.3643 | 0.00024414 | 34.0721 | 34.0592 | 0.00031218 | -0.012924 | 34.0721 | 34.0584 | 0.00022529 | -0.013676
2008-50-0032.mrgcln2 | 2008-50-0032.sam | 241 | 3.495 | 3.4949 | 0.1524 | -0.00011182 | 32.1386 | 32.1233 | 0.00028832 | -0.015339 | 32.1386 | 32.123 | 0.00025807 | -0.01564
2008-50-0033.mrgcln2 | 2008-50-0033.sam | 342 | 6.353 | 6.3102 | 0.21554 | -0.042757 | 32.209 | 32.1785 | 0.00071773 | -0.030529 | 32.209 | 32.1768 | 0.00070329 | -0.032154
2008-50-0034.mrgcln2 | 2008-50-0034.sam | 334 | 7.475 | 7.5044 | 0.12441 | 0.02941 | 30.943 | 30.958 | 0.0016764 | 0.014967 | 30.943 | 30.9591 | 0.0009512 | 0.016069
2008-50-0035.mrgcln2 | 2008-50-0035.sam | 282 | 80.566 | 80.5472 | 0.16549 | -0.018814 | 33.2464 | 33.2454 | 0.00040485 | -0.00097275 | 33.2464 | 33.2477 | 0.00034838 | 0.0012703
2008-50-0035.mrgcln2 | 2008-50-0035.sam | 241 | 74.341 | 74.3411 | 0.14658 | 6.8665e-05 | 33.1856 | 33.195 | 0.0028395 | 0.0093918 | 33.1856 | 33.197 | 0.0037338 | 0.011425
2008-50-0035.mrgcln2 | 2008-50-0035.sam | 241 | 5.4 | 5.3998 | 0.11377 | -0.00019932 | 30.7631 | 30.7352 | 0.0019548 | -0.027897 | 30.7631 | 30.7353 | 0.0018808 | -0.027769
2008-50-0036.mrgcln2 | 2008-50-0036.sam | 281 | 4.841 | 4.8901 | 0.15491 | 0.049082 | 30.6728 | 30.6603 | 0.00074352 | -0.012535 | 30.6728 | 30.6614 | 0.00086505 | -0.011368
2008-50-0038.mrgcln2 | 2008-50-0038.sam | 287 | 4.951 | 4.9497 | 0.21159 | -0.0013347 | 31.3444 | 31.3028 | 0.002274 | -0.041622 | 31.3444 | 31.304 | 0.0026435 | -0.040445
2008-50-0039.mrgcln2 | 2008-50-0039.sam | 241 | 29.785 | 29.7851 | 0.10959 | 5.9128e-05 | 32.3119 | 32.3065 | 0.008574 | -0.0053711 | 32.3119 | 32.3089 | 0.0075918 | -0.0030327
2008-50-0039.mrgcln2 | 2008-50-0039.sam | 241 | 20.327 | 20.3275 | 0.33698 | 0.00048065 | 32.0281 | 31.9988 | 0.0027433 | -0.029278 | 32.0281 | 32.0008 | 0.0031679 | -0.027328
2008-50-0039.mrgcln2 | 2008-50-0039.sam | 241 | 5.269 | 5.2687 | 0.15203 | -0.0002532 | 31.6386 | 31.5889 | 0.010542 | -0.049675 | 31.6386 | 31.5925 | 0.0074388 | -0.046146
2008-50-0041.mrgcln2 | 2008-50-0041.sam | 283 | 4.873 | 4.82 | 0.20261 | -0.052957 | 31.059 | 31.0475 | 0.0060355 | -0.011547 | 31.059 | 31.052 | 0.0050161 | -0.0070324
2008-50-0042.mrgcln2 | 2008-50-0042.sam | 241 | 4.846 | 4.8463 | 0.030426 | 0.00029468 | 30.5133 | 29.3161 | 0.60788 | -1.1972 | 30.5133 | 29.5615 | 0.52438 | -0.9518
Create Fit Sheet