## File List
Number of Files= |  | 21
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2008-51-0001.mrgcln2 | 2008-51-0001.sam | 11 | 13 | 2008-51-0001.mrgcln2 & 2008-51-0001.sam
2 | 2008-51-0003.mrgcln2 | 2008-51-0003.sam | 15 | 17 | 2008-51-0003.mrgcln2 & 2008-51-0003.sam
3 | 2008-51-0007.mrgcln2 | 2008-51-0007.sam | 19 | 21 | 2008-51-0007.mrgcln2 & 2008-51-0007.sam
4 | 2008-51-0010.mrgcln2 | 2008-51-0010.sam | 23 | 25 | 2008-51-0010.mrgcln2 & 2008-51-0010.sam
5 | 2008-51-0013.mrgcln2 | 2008-51-0013.sam | 27 | 29 | 2008-51-0013.mrgcln2 & 2008-51-0013.sam
6 | 2008-51-0016.mrgcln2 | 2008-51-0016.sam | 31 | 33 | 2008-51-0016.mrgcln2 & 2008-51-0016.sam
7 | 2008-51-0019.mrgcln2 | 2008-51-0019.sam | 35 | 37 | 2008-51-0019.mrgcln2 & 2008-51-0019.sam
8 | 2008-51-0023.mrgcln2 | 2008-51-0023.sam | 39 | 41 | 2008-51-0023.mrgcln2 & 2008-51-0023.sam
9 | 2008-51-0026.mrgcln2 | 2008-51-0026.sam | 43 | 45 | 2008-51-0026.mrgcln2 & 2008-51-0026.sam
10 | 2008-51-0031.mrgcln2 | 2008-51-0031.sam | 47 | 49 | 2008-51-0031.mrgcln2 & 2008-51-0031.sam
11 | 2008-51-0039.mrgcln2 | 2008-51-0039.sam | 51 | 53 | 2008-51-0039.mrgcln2 & 2008-51-0039.sam
12 | 2008-51-0041.mrgcln2 | 2008-51-0041.sam | 55 | 57 | 2008-51-0041.mrgcln2 & 2008-51-0041.sam
13 | 2008-51-0045.mrgcln2 | 2008-51-0045.sam | 59 | 61 | 2008-51-0045.mrgcln2 & 2008-51-0045.sam
14 | 2008-51-0048.mrgcln2 | 2008-51-0048.sam | 63 | 65 | 2008-51-0048.mrgcln2 & 2008-51-0048.sam
15 | 2008-51-0052.mrgcln2 | 2008-51-0052.sam | 67 | 69 | 2008-51-0052.mrgcln2 & 2008-51-0052.sam
16 | 2008-51-0055.mrgcln2 | 2008-51-0055.sam | 71 | 73 | 2008-51-0055.mrgcln2 & 2008-51-0055.sam
17 | 2008-51-0057.mrgcln2 | 2008-51-0057.sam | 75 | 77 | 2008-51-0057.mrgcln2 & 2008-51-0057.sam
18 | 2008-51-0060.mrgcln2 | 2008-51-0060.sam | 79 | 81 | 2008-51-0060.mrgcln2 & 2008-51-0060.sam
19 | 2008-51-0063.mrgcln2 | 2008-51-0063.sam | 83 | 85 | 2008-51-0063.mrgcln2 & 2008-51-0063.sam
20 | 2008-51-0065.mrgcln2 | 2008-51-0065.sam | 87 | 89 | 2008-51-0065.mrgcln2 & 2008-51-0065.sam
21 | 2008-51-0068.mrgcln2 | 2008-51-0068.sam | 91 | 93 | 2008-51-0068.mrgcln2 & 2008-51-0068.sam

## (CHL_CTD - CHL_BOT)
Calculation of Linear Least Squares Fit For
(CHL_CTD - CHL_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (CHL_CTD - CHL_BOT), Prop=CHL_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.30862 |  | X | CALC Y
m= | -1.1126 | 0.23318 |  | Std Dev of Resid |  | 1.9699 |  | 0.063295 | 0.5046
b= | 0.57502 | 0.45308 |  | Resid Sum of Squares |  | 197.9116 |  | 4.3193 | -4.2304
# of Values Extracted = |  |  | 63
# of Values Used in Fit = |  |  | 53
File | Use | Pressure | CHL_CTD | CHL_CTD | Diff (CHL_CTD - CHL_BOT) |  |  |  | Fit vs. | CHL_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 20.1214 | 3.5397 | 0.64932 | -2.4503 | -3.3631 | -0.91277 |  | 3.5397 | -2.4503
1 | NO | 10.4741 | 4.94 | 0.0005698 | -14.31 | -4.921 | 9.389 |  | 2.9151 | -1.9649
1 | NO | 1.8642 | 4.9328 | 0.00042486 | -22.1672 | -4.913 | 17.2542 |  | 3.3231 | -1.6769
2 | YES | 20.2692 | 2.9151 | 0.77431 | -1.9649 | -2.6681 | -0.70321 |  | 1.7229 | -3.4271
2 | YES | 9.7296 | 3.3231 | 1.0453 | -1.6769 | -3.1221 | -1.4452 |  | 0.82599 | -0.20401
2 | YES | 2.1293 | 1.7229 | 0.37419 | -3.4271 | -1.3418 | 2.0853 |  | 0.78622 | -0.57378
3 | YES | 21.2554 | 0.82599 | 0.13815 | -0.20401 | -0.34394 | -0.13993 |  | 4.0706 | -3.4194
3 | YES | 11.7642 | 0.78622 | 0.12445 | -0.57378 | -0.29969 | 0.27409 |  | 0.41002 | -0.35998
3 | YES | 2.4006 | 4.0706 | 0.56506 | -3.4194 | -3.9537 | -0.53429 |  | 0.80575 | -1.4443
4 | YES | 21.1697 | 0.41002 | 0.079757 | -0.35998 | 0.11885 | 0.47883 |  | 0.63848 | -0.79152
4 | YES | 11.4055 | 0.80575 | 0.19793 | -1.4443 | -0.32143 | 1.1228 |  | 4.183 | -4.407
4 | NO | 2.3878 | 4.8261 | 0.16987 | -6.2539 | -4.7943 | 1.4597 |  | 1.2007 | -1.1093
5 | YES | 22.2806 | 0.63848 | 0.22905 | -0.79152 | -0.13533 | 0.6562 |  | 2.4533 | -2.1567
5 | YES | 12.1907 | 4.183 | 0.43591 | -4.407 | -4.0788 | 0.32826 |  | 3.2719 | -12.4681
5 | NO | 2.7369 | 4.8983 | 0.089172 | -10.6517 | -4.8746 | 5.7771 |  | 3.6206 | -2.5293
6 | YES | 20.8563 | 1.2007 | 0.37041 | -1.1093 | -0.76086 | 0.34841 |  | 4.2442 | -8.1358
6 | YES | 10.5929 | 2.4533 | 0.6453 | -2.1567 | -2.1544 | 0.002369 |  | 1.1721 | -0.90788
6 | YES | 1.6033 | 3.2719 | 0.33203 | -12.4681 | -3.0651 | 9.403 |  | 4.3193 | -4.5008
7 | YES | 20.4091 | 3.6206 | 0.83266 | -2.5293 | -3.4532 | -0.92381 |  | 0.40259 | -0.23741
7 | NO | 10.3957 | 4.7493 | 0.34761 | -5.4207 | -4.7089 | 0.71184 |  | 1.1411 | -0.48889
7 | YES | 2.1502 | 4.2442 | 1.4503 | -8.1358 | -4.1469 | 3.9889 |  | 1.5542 | -0.79582
8 | YES | 19.4404 | 1.1721 | 0.65726 | -0.90788 | -0.72903 | 0.17885 |  | 0.62886 | -0.071137
8 | NO | 10.6085 | 4.9403 | 0.0035947 | -8.7397 | -4.9214 | 3.8183 |  | 1.2107 | 0.00070953
8 | NO | 2.2116 | 4.9336 | 0.00048874 | -19.5664 | -4.9139 | 14.6525 |  | 0.063295 | -4.6767
9 | YES | 20.2289 | 4.3193 | 0.52927 | -4.5008 | -4.2304 | 0.27036 |  | 0.67678 | 0.086778
9 | NO | 10.4307 | 4.8712 | 0.14277 | -7.0988 | -4.8445 | 2.2543 |  | 0.89936 | 0.13936
9 | NO | 2.4825 | 4.9398 | 0.00063386 | -9.5102 | -4.9208 | 4.5894 |  | 0.14409 | -1.0959
10 | YES | 21.0886 | 0.40259 | 0.069791 | -0.23741 | 0.12712 | 0.36453 |  | 0.63559 | 0.13559
10 | YES | 10.9059 | 1.1411 | 0.20104 | -0.48889 | -0.69453 | -0.20564 |  | 1.6012 | -0.21885
10 | YES | 2.1102 | 1.5542 | 0.20387 | -0.79582 | -1.1541 | -0.35827 |  | 1.7554 | 0.025378
11 | YES | 20.5901 | 0.62886 | 0.095797 | -0.071137 | -0.12463 | -0.053492 |  | 0.25948 | 0.0094772
11 | YES | 10.5136 | 1.2107 | 0.13886 | 0.00070953 | -0.77197 | -0.77268 |  | 2.8755 | 0.7955
11 | YES | 2.058 | 0.063295 | 0.12182 | -4.6767 | 0.5046 | 5.1813 |  | 0.47988 | 0.049876
12 | YES | 20.3234 | 0.67678 | 0.07366 | 0.086778 | -0.17794 | -0.26472 |  | 1.7132 | 0.49322
12 | YES | 10.2615 | 0.89936 | 0.034166 | 0.13936 | -0.42557 | -0.56493 |  | 1.961 | 0.23105
12 | YES | 2.3807 | 0.14409 | 0.27624 | -1.0959 | 0.41471 | 1.5106 |  | 0.41444 | 0.17444
13 | YES | 20.5301 | 0.63559 | 0.062443 | 0.13559 | -0.13212 | -0.26771 |  | 1.1999 | 0.3899
13 | YES | 10.393 | 1.6012 | 0.21695 | -0.21885 | -1.2064 | -0.9875 |  | 1.764 | -0.516
13 | YES | 1.9533 | 1.7554 | 0.16148 | 0.025378 | -1.3779 | -1.4033 |  | 0.35622 | 0.10622
14 | YES | 20.0107 | 0.25948 | 0.033621 | 0.0094772 | 0.28633 | 0.27686 |  | 1.5277 | 0.21766
14 | YES | 10.2308 | 2.8755 | 0.45413 | 0.7955 | -2.6241 | -3.4196 |  | 0.6771 | -0.58291
14 | NO | 1.8799 | 4.9324 | 0.001856 | -20.4876 | -4.9126 | 15.575 |  | 0.39481 | 0.084813
15 | YES | 20.2077 | 0.47988 | 0.059574 | 0.049876 | 0.041127 | -0.0087483 |  | 1.6051 | 0.31514
15 | YES | 10.4301 | 1.7132 | 0.27655 | 0.49322 | -1.331 | -1.8243 |  | 1.1321 | -4.0778
15 | YES | 1.955 | 1.961 | 0.089757 | 0.23105 | -1.6068 | -1.8378 |  | 0.47067 | 0.22067
16 | YES | 20.4541 | 0.41444 | 0.057218 | 0.17444 | 0.11393 | -0.060512 |  | 1.6414 | 0.59141
16 | YES | 10.4263 | 1.1999 | 0.082355 | 0.3899 | -0.75994 | -1.1498 |  | 1.3943 | -0.24571
16 | YES | 2.0523 | 1.764 | 0.24959 | -0.516 | -1.3875 | -0.87153 |  | 1.1765 | 0.27653
17 | YES | 20.0351 | 0.35622 | 0.019131 | 0.10622 | 0.17871 | 0.07249 |  | 1.9909 | 0.31094
17 | YES | 10.0464 | 1.5277 | 0.065993 | 0.21766 | -1.1246 | -1.3423 |  | 1.8533 | -0.63673
17 | YES | 2.305 | 0.6771 | 0.022349 | -0.58291 | -0.17829 | 0.40462 |  | 0.46831 | 0.098311
18 | YES | 20.5376 | 0.39481 | 0.020458 | 0.084813 | 0.13576 | 0.050951 |  | 0.9548 | 0.094801
18 | YES | 10.6943 | 1.6051 | 0.42081 | 0.31514 | -1.2108 | -1.5259 |  | 2.0727 | -0.097274
18 | YES | 2.0367 | 1.1321 | 0.62729 | -4.0778 | -0.68456 | 3.3933
19 | YES | 20.5641 | 0.47067 | 0.031949 | 0.22067 | 0.051367 | -0.1693
19 | YES | 10.5281 | 1.6414 | 0.068734 | 0.59141 | -1.2511 | -1.8426
19 | YES | 2.1835 | 1.3943 | 0.085732 | -0.24571 | -0.97621 | -0.7305
20 | YES | 20.5922 | 1.1765 | 0.20482 | 0.27653 | -0.73394 | -1.0105
20 | YES | 10.2726 | 1.9909 | 0.31217 | 0.31094 | -1.64 | -1.951
20 | YES | 2.0113 | 1.8533 | 0.21418 | -0.63673 | -1.4868 | -0.85012
21 | YES | 19.8541 | 0.46831 | 0.065344 | 0.098311 | 0.053994 | -0.044317
21 | YES | 9.8861 | 0.9548 | 0.074506 | 0.094801 | -0.48725 | -0.58205
21 | YES | 2.0218 | 2.0727 | 0.16109 | -0.097274 | -1.731 | -1.6337
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
YES
YES
YES
YES
NO
YES
YES
NO
NO
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. CHL_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (CHL_CTD - CHL_BOT) (2)
Calculation of Linear Least Squares Fit For
(CHL_CTD - CHL_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (CHL_CTD - CHL_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.1778 |  | X | CALC Y
m= | 0.29175 | 0.080328 |  | Std Dev of Resid |  | 4.7987 |  | 1.6033 | -5.7107
b= | -6.1784 | 1.0758 |  | Resid Sum of Squares |  | 1404.661 |  | 22.2806 | 0.32187
# of Values Extracted = |  |  | 63
# of Values Used in Fit = |  |  | 63 | [12 empty] | minus dark value
File | Use | Pressure | CHL_CTD | CHL_CTD | Diff (CHL_CTD - CHL_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y | CHL_BOT | CHL_CTD | CHL_BOT | CHL_CTD | CHL_BOT | CHL_CTD
1 | YES | 20.1214 | 3.5397 | 0.64932 | -2.4503 | -0.30807 | 2.1422 |  | 20.1214 | -2.4503 | 5.99 | 3.5397 | 0.24 | 0.41444 | 0.24 | 0.33444
1 | YES | 10.4741 | 4.94 | 0.0005698 | -14.31 | -3.1226 | 11.1874 |  | 10.4741 | -14.31 | 19.25 | 4.94 | 0.25 | 0.25948 | 0.25 | 0.17948
1 | YES | 1.8642 | 4.9328 | 0.00042486 | -22.1672 | -5.6346 | 16.5326 |  | 1.8642 | -22.1672 | 27.1 | 4.9328 | 0.25 | 0.35622 | 0.25 | 0.27622
2 | YES | 20.2692 | 2.9151 | 0.77431 | -1.9649 | -0.26495 | 1.7 |  | 20.2692 | -1.9649 | 4.88 | 2.9151 | 0.25 | 0.47067 | 0.25 | 0.39067
2 | YES | 9.7296 | 3.3231 | 1.0453 | -1.6769 | -3.3398 | -1.6629 |  | 9.7296 | -1.6769 | 5 | 3.3231 | 0.31 | 0.39481 | 0.31 | 0.31481
2 | YES | 2.1293 | 1.7229 | 0.37419 | -3.4271 | -5.5572 | -2.1301 |  | 2.1293 | -3.4271 | 5.15 | 1.7229 | 0.37 | 0.46831 | 0.37 | 0.38831
3 | YES | 21.2554 | 0.82599 | 0.13815 | -0.20401 | 0.022773 | 0.22679 |  | 21.2554 | -0.20401 | 1.03 | 0.82599 | 0.43 | 0.47988 | 0.43 | 0.39988
3 | YES | 11.7642 | 0.78622 | 0.12445 | -0.57378 | -2.7463 | -2.1725 |  | 11.7642 | -0.57378 | 1.36 | 0.78622 | 0.5 | 0.63559 | 0.5 | 0.55559
3 | YES | 2.4006 | 4.0706 | 0.56506 | -3.4194 | -5.4781 | -2.0586 |  | 2.4006 | -3.4194 | 7.49 | 4.0706 | 0.59 | 0.67678 | 0.59 | 0.59678
4 | YES | 21.1697 | 0.41002 | 0.079757 | -0.35998 | -0.00223 | 0.35775 |  | 21.1697 | -0.35998 | 0.77 | 0.41002 | 0.64 | 0.40259 | 0.64 | 0.32259
4 | YES | 11.4055 | 0.80575 | 0.19793 | -1.4443 | -2.8509 | -1.4067 |  | 11.4055 | -1.4443 | 2.25 | 0.80575 | 0.7 | 0.62886 | 0.7 | 0.54886
4 | YES | 2.3878 | 4.8261 | 0.16987 | -6.2539 | -5.4818 | 0.77214 |  | 2.3878 | -6.2539 | 11.08 | 4.8261 | 0.76 | 0.89936 | 0.76 | 0.81936
5 | YES | 22.2806 | 0.63848 | 0.22905 | -0.79152 | 0.32187 | 1.1134 |  | 22.2806 | -0.79152 | 1.43 | 0.63848 | 0.77 | 0.41002 | 0.77 | 0.33002
5 | YES | 12.1907 | 4.183 | 0.43591 | -4.407 | -2.6218 | 1.7852 |  | 12.1907 | -4.407 | 8.59 | 4.183 | 0.81 | 1.1999 | 0.81 | 1.1199
5 | YES | 2.7369 | 4.8983 | 0.089172 | -10.6517 | -5.38 | 5.2717 |  | 2.7369 | -10.6517 | 15.55 | 4.8983 | 0.86 | 0.9548 | 0.86 | 0.8748
6 | YES | 20.8563 | 1.2007 | 0.37041 | -1.1093 | -0.093664 | 1.0156 |  | 20.8563 | -1.1093 | 2.31 | 1.2007 | 0.9 | 1.1765 | 0.9 | 1.0965
6 | YES | 10.5929 | 2.4533 | 0.6453 | -2.1567 | -3.088 | -0.93124 |  | 10.5929 | -2.1567 | 4.61 | 2.4533 | 1.03 | 0.82599 | 1.03 | 0.74599
6 | YES | 1.6033 | 3.2719 | 0.33203 | -12.4681 | -5.7107 | 6.7574 |  | 1.6033 | -12.4681 | 15.74 | 3.2719 | 1.05 | 1.6414 | 1.05 | 1.5614
7 | YES | 20.4091 | 3.6206 | 0.83266 | -2.5293 | -0.22413 | 2.3052 |  | 20.4091 | -2.5293 | 6.15 | 3.6206 | 1.21 | 1.2107 | 1.21 | 1.1307
7 | YES | 10.3957 | 4.7493 | 0.34761 | -5.4207 | -3.1455 | 2.2752 |  | 10.3957 | -5.4207 | 10.17 | 4.7493 | 1.22 | 1.7132 | 1.22 | 1.6332
7 | YES | 2.1502 | 4.2442 | 1.4503 | -8.1358 | -5.5511 | 2.5847 |  | 2.1502 | -8.1358 | 12.38 | 4.2442 | 1.24 | 0.14409 | 1.24 | 0.064091
8 | YES | 19.4404 | 1.1721 | 0.65726 | -0.90788 | -0.50675 | 0.40113 |  | 19.4404 | -0.90788 | 2.08 | 1.1721 | 1.26 | 0.6771 | 1.26 | 0.5971
8 | YES | 10.6085 | 4.9403 | 0.0035947 | -8.7397 | -3.0834 | 5.6563 |  | 10.6085 | -8.7397 | 13.68 | 4.9403 | 1.29 | 1.6051 | 1.29 | 1.5251
8 | YES | 2.2116 | 4.9336 | 0.00048874 | -19.5664 | -5.5332 | 14.0332 |  | 2.2116 | -19.5664 | 24.5 | 4.9336 | 1.31 | 1.5277 | 1.31 | 1.4477
9 | YES | 20.2289 | 4.3193 | 0.52927 | -4.5008 | -0.27671 | 4.224 |  | 20.2289 | -4.5008 | 8.82 | 4.3193 | 1.36 | 0.78622 | 1.36 | 0.70622
9 | YES | 10.4307 | 4.8712 | 0.14277 | -7.0988 | -3.1353 | 3.9635 |  | 10.4307 | -7.0988 | 11.97 | 4.8712 | 1.43 | 0.63848 | 1.43 | 0.55848
9 | YES | 2.4825 | 4.9398 | 0.00063386 | -9.5102 | -5.4542 | 4.056 |  | 2.4825 | -9.5102 | 14.45 | 4.9398 | 1.63 | 1.1411 | 1.63 | 1.0611
10 | YES | 21.0886 | 0.40259 | 0.069791 | -0.23741 | -0.025891 | 0.21152 |  | 21.0886 | -0.23741 | 0.64 | 0.40259 | 1.64 | 1.3943 | 1.64 | 1.3143
10 | YES | 10.9059 | 1.1411 | 0.20104 | -0.48889 | -2.9967 | -2.5078 |  | 10.9059 | -0.48889 | 1.63 | 1.1411 | 1.68 | 1.9909 | 1.68 | 1.9109
10 | YES | 2.1102 | 1.5542 | 0.20387 | -0.79582 | -5.5628 | -4.767 |  | 2.1102 | -0.79582 | 2.35 | 1.5542 | 1.73 | 1.961 | 1.73 | 1.8811
11 | YES | 20.5901 | 0.62886 | 0.095797 | -0.071137 | -0.17133 | -0.10019 |  | 20.5901 | -0.071137 | 0.7 | 0.62886 | 1.73 | 1.7554 | 1.73 | 1.6754
11 | YES | 10.5136 | 1.2107 | 0.13886 | 0.00070953 | -3.1111 | -3.1118 |  | 10.5136 | 0.00070953 | 1.21 | 1.2107 | 1.82 | 1.6012 | 1.82 | 1.5212
11 | YES | 2.058 | 0.063295 | 0.12182 | -4.6767 | -5.578 | -0.9013 |  | 2.058 | -4.6767 | 4.74 | 0.063295 | 2.08 | 2.8755 | 2.08 | 2.7955
12 | YES | 20.3234 | 0.67678 | 0.07366 | 0.086778 | -0.24914 | -0.33591 |  | 20.3234 | 0.086778 | 0.59 | 0.67678 | 2.08 | 1.1721 | 2.08 | 1.0921
12 | YES | 10.2615 | 0.89936 | 0.034166 | 0.13936 | -3.1847 | -3.324 |  | 10.2615 | 0.13936 | 0.76 | 0.89936 | 2.17 | 2.0727 | 2.17 | 1.9927
12 | YES | 2.3807 | 0.14409 | 0.27624 | -1.0959 | -5.4839 | -4.388 |  | 2.3807 | -1.0959 | 1.24 | 0.14409 | 2.25 | 0.80575 | 2.25 | 0.72575
13 | YES | 20.5301 | 0.63559 | 0.062443 | 0.13559 | -0.18883 | -0.32442 |  | 20.5301 | 0.13559 | 0.5 | 0.63559 | 2.28 | 1.764 | 2.28 | 1.684
13 | YES | 10.393 | 1.6012 | 0.21695 | -0.21885 | -3.1463 | -2.9275 |  | 10.393 | -0.21885 | 1.82 | 1.6012 | 2.31 | 1.2007 | 2.31 | 1.1207
13 | YES | 1.9533 | 1.7554 | 0.16148 | 0.025378 | -5.6085 | -5.6339 |  | 1.9533 | 0.025378 | 1.73 | 1.7554 | 2.35 | 1.5542 | 2.35 | 1.4742
14 | YES | 20.0107 | 0.25948 | 0.033621 | 0.0094772 | -0.34037 | -0.34984 |  | 20.0107 | 0.0094772 | 0.25 | 0.25948 | 2.49 | 1.8533 | 2.49 | 1.7733
14 | YES | 10.2308 | 2.8755 | 0.45413 | 0.7955 | -3.1936 | -3.9891 |  | 10.2308 | 0.7955 | 2.08 | 2.8755 | 4.61 | 2.4533 | 4.61 | 2.3733
14 | YES | 1.8799 | 4.9324 | 0.001856 | -20.4876 | -5.63 | 14.8576 |  | 1.8799 | -20.4876 | 25.42 | 4.9324 | 4.74 | 0.063295 | 4.74 | -0.016705
15 | YES | 20.2077 | 0.47988 | 0.059574 | 0.049876 | -0.28289 | -0.33277 |  | 20.2077 | 0.049876 | 0.43 | 0.47988 | 4.88 | 2.9151 | 4.88 | 2.8351
15 | YES | 10.4301 | 1.7132 | 0.27655 | 0.49322 | -3.1355 | -3.6287 |  | 10.4301 | 0.49322 | 1.22 | 1.7132 | 5 | 3.3231 | 5 | 3.2431
15 | YES | 1.955 | 1.961 | 0.089757 | 0.23105 | -5.6081 | -5.8391 |  | 1.955 | 0.23105 | 1.73 | 1.961 | 5.15 | 1.7229 | 5.15 | 1.6429
16 | YES | 20.4541 | 0.41444 | 0.057218 | 0.17444 | -0.211 | -0.38544 |  | 20.4541 | 0.17444 | 0.24 | 0.41444 | 5.21 | 1.1321 | 5.21 | 1.0521
16 | YES | 10.4263 | 1.1999 | 0.082355 | 0.3899 | -3.1366 | -3.5265 |  | 10.4263 | 0.3899 | 0.81 | 1.1999 | 5.99 | 3.5397 | 5.99 | 3.4597
16 | YES | 2.0523 | 1.764 | 0.24959 | -0.516 | -5.5797 | -5.0637 |  | 2.0523 | -0.516 | 2.28 | 1.764 | 6.15 | 3.6206 | 6.15 | 3.5406
17 | YES | 20.0351 | 0.35622 | 0.019131 | 0.10622 | -0.33325 | -0.43946 |  | 20.0351 | 0.10622 | 0.25 | 0.35622 | 7.49 | 4.0706 | 7.49 | 3.9906
17 | YES | 10.0464 | 1.5277 | 0.065993 | 0.21766 | -3.2474 | -3.4651 |  | 10.0464 | 0.21766 | 1.31 | 1.5277 | 8.59 | 4.183 | 8.59 | 4.103
17 | YES | 2.305 | 0.6771 | 0.022349 | -0.58291 | -5.506 | -4.9231 |  | 2.305 | -0.58291 | 1.26 | 0.6771 | 8.82 | 4.3193 | 8.82 | 4.2393
18 | YES | 20.5376 | 0.39481 | 0.020458 | 0.084813 | -0.18664 | -0.27146 |  | 20.5376 | 0.084813 | 0.31 | 0.39481 | 10.17 | 4.7493 | 10.17 | 4.6693
18 | YES | 10.6943 | 1.6051 | 0.42081 | 0.31514 | -3.0584 | -3.3735 |  | 10.6943 | 0.31514 | 1.29 | 1.6051 | 11.08 | 4.8261 | 11.08 | 4.7461
18 | YES | 2.0367 | 1.1321 | 0.62729 | -4.0778 | -5.5842 | -1.5064 |  | 2.0367 | -4.0778 | 5.21 | 1.1321 | 11.97 | 4.8712 | 11.97 | 4.7912
19 | YES | 20.5641 | 0.47067 | 0.031949 | 0.22067 | -0.17891 | -0.39958 |  | 20.5641 | 0.22067 | 0.25 | 0.47067 | 12.38 | 4.2442 | 12.38 | 4.1642
19 | YES | 10.5281 | 1.6414 | 0.068734 | 0.59141 | -3.1069 | -3.6983 |  | 10.5281 | 0.59141 | 1.05 | 1.6414 | 13.68 | 4.9403 | 13.68 | 4.8603
19 | YES | 2.1835 | 1.3943 | 0.085732 | -0.24571 | -5.5414 | -5.2957 |  | 2.1835 | -0.24571 | 1.64 | 1.3943 | 14.45 | 4.9398 | 14.45 | 4.8598
20 | YES | 20.5922 | 1.1765 | 0.20482 | 0.27653 | -0.17071 | -0.44724 |  | 20.5922 | 0.27653 | 0.9 | 1.1765 | 15.55 | 4.8983 | 15.55 | 4.8183
20 | YES | 10.2726 | 1.9909 | 0.31217 | 0.31094 | -3.1814 | -3.4924 |  | 10.2726 | 0.31094 | 1.68 | 1.9909 | 15.74 | 3.2719 | 15.74 | 3.1919
20 | YES | 2.0113 | 1.8533 | 0.21418 | -0.63673 | -5.5916 | -4.9549 |  | 2.0113 | -0.63673 | 2.49 | 1.8533 | 19.25 | 4.94 | 19.25 | 4.86
21 | YES | 19.8541 | 0.46831 | 0.065344 | 0.098311 | -0.38605 | -0.48436 |  | 19.8541 | 0.098311 | 0.37 | 0.46831 | 24.5 | 4.9336 | 24.5 | 4.8536
21 | YES | 9.8861 | 0.9548 | 0.074506 | 0.094801 | -3.2942 | -3.389 |  | 9.8861 | 0.094801 | 0.86 | 0.9548 | 25.42 | 4.9324 | 25.42 | 4.8524
21 | YES | 2.0218 | 2.0727 | 0.16109 | -0.097274 | -5.5886 | -5.4913 |  | 2.0218 | -0.097274 | 2.17 | 2.0727 | 27.1 | 4.9328 | 27.1 | 4.8528
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. CHL_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2008/12/02 17:41:26
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | CHL_BOT | CHL_CTD |  | CHL_CTD - CHL_BOT
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | CHL_BOT | CHL_CTD | CHL_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2008-51-0001.mrgcln2 | 2008-51-0001.sam | 241 | 20.121 | 20.1214 | 0.11951 | 0.00044823 | 5.99 | 3.5397 | 0.64932 | -2.4503
2008-51-0001.mrgcln2 | 2008-51-0001.sam | 241 | 10.474 | 10.4741 | 0.11142 | 9.1553e-05 | 19.25 | 4.94 | 0.0005698 | -14.31
2008-51-0001.mrgcln2 | 2008-51-0001.sam | 241 | 1.864 | 1.8642 | 0.025766 | 0.0002116 | 27.1 | 4.9328 | 0.00042486 | -22.1672
2008-51-0003.mrgcln2 | 2008-51-0003.sam | 241 | 20.269 | 20.2692 | 0.025769 | 0.00019646 | 4.88 | 2.9151 | 0.77431 | -1.9649
2008-51-0003.mrgcln2 | 2008-51-0003.sam | 241 | 9.73 | 9.7296 | 0.028889 | -0.00035191 | 5 | 3.3231 | 1.0453 | -1.6769
2008-51-0003.mrgcln2 | 2008-51-0003.sam | 241 | 2.129 | 2.1293 | 0.028339 | 0.00032377 | 5.15 | 1.7229 | 0.37419 | -3.4271
2008-51-0007.mrgcln2 | 2008-51-0007.sam | 235 | 21.247 | 21.2554 | 0.63783 | 0.008358 | 1.03 | 0.82599 | 0.13815 | -0.20401
2008-51-0007.mrgcln2 | 2008-51-0007.sam | 213 | 11.714 | 11.7642 | 0.60007 | 0.050174 | 1.36 | 0.78622 | 0.12445 | -0.57378
2008-51-0007.mrgcln2 | 2008-51-0007.sam | 241 | 2.401 | 2.4006 | 0.50375 | -0.00036526 | 7.49 | 4.0706 | 0.56506 | -3.4194
2008-51-0010.mrgcln2 | 2008-51-0010.sam | 241 | 21.17 | 21.1697 | 0.64878 | -0.00028992 | 0.77 | 0.41002 | 0.079757 | -0.35998
2008-51-0010.mrgcln2 | 2008-51-0010.sam | 241 | 11.406 | 11.4055 | 0.25685 | -0.00049019 | 2.25 | 0.80575 | 0.19793 | -1.4443
2008-51-0010.mrgcln2 | 2008-51-0010.sam | 236 | 2.388 | 2.3878 | 0.41197 | -0.00015259 | 11.08 | 4.8261 | 0.16987 | -6.2539
2008-51-0013.mrgcln2 | 2008-51-0013.sam | 226 | 22.19 | 22.2806 | 0.44575 | 0.090645 | 1.43 | 0.63848 | 0.22905 | -0.79152
2008-51-0013.mrgcln2 | 2008-51-0013.sam | 241 | 12.191 | 12.1907 | 0.32286 | -0.0002985 | 8.59 | 4.183 | 0.43591 | -4.407
2008-51-0013.mrgcln2 | 2008-51-0013.sam | 241 | 2.737 | 2.7369 | 0.23642 | -0.0001204 | 15.55 | 4.8983 | 0.089172 | -10.6517
2008-51-0016.mrgcln2 | 2008-51-0016.sam | 241 | 20.856 | 20.8563 | 0.19414 | 0.00030518 | 2.31 | 1.2007 | 0.37041 | -1.1093
2008-51-0016.mrgcln2 | 2008-51-0016.sam | 241 | 10.593 | 10.5929 | 0.18641 | -0.00010395 | 4.61 | 2.4533 | 0.6453 | -2.1567
2008-51-0016.mrgcln2 | 2008-51-0016.sam | 241 | 1.603 | 1.6033 | 0.06879 | 0.00031531 | 15.74 | 3.2719 | 0.33203 | -12.4681
2008-51-0019.mrgcln2 | 2008-51-0019.sam | 241 | 20.409 | 20.4091 | 0.14495 | 8.2016e-05 | 6.15 | 3.6206 | 0.83266 | -2.5293
2008-51-0019.mrgcln2 | 2008-51-0019.sam | 241 | 10.396 | 10.3957 | 0.11807 | -0.0002985 | 10.17 | 4.7493 | 0.34761 | -5.4207
2008-51-0019.mrgcln2 | 2008-51-0019.sam | 241 | 2.15 | 2.1502 | 0.035922 | 0.00024056 | 12.38 | 4.2442 | 1.4503 | -8.1358
2008-51-0023.mrgcln2 | 2008-51-0023.sam | 241 | 19.44 | 19.4404 | 0.23151 | 0.00039864 | 2.08 | 1.1721 | 0.65726 | -0.90788
2008-51-0023.mrgcln2 | 2008-51-0023.sam | 241 | 10.608 | 10.6085 | 0.15417 | 0.00048542 | 13.68 | 4.9403 | 0.0035947 | -8.7397
2008-51-0023.mrgcln2 | 2008-51-0023.sam | 241 | 2.212 | 2.2116 | 0.084043 | -0.00037336 | 24.5 | 4.9336 | 0.00048874 | -19.5664
2008-51-0026.mrgcln2 | 2008-51-0026.sam | 230 | 20.175 | 20.2289 | 0.28575 | 0.053915 | 8.82 | 4.3193 | 0.52927 | -4.5008
2008-51-0026.mrgcln2 | 2008-51-0026.sam | 241 | 10.431 | 10.4307 | 0.16145 | -0.00026131 | 11.97 | 4.8712 | 0.14277 | -7.0988
2008-51-0026.mrgcln2 | 2008-51-0026.sam | 241 | 2.482 | 2.4825 | 0.045814 | 0.00047708 | 14.45 | 4.9398 | 0.00063386 | -9.5102
2008-51-0031.mrgcln2 | 2008-51-0031.sam | 241 | 21.089 | 21.0886 | 0.026045 | -0.00039482 | 0.64 | 0.40259 | 0.069791 | -0.23741
2008-51-0031.mrgcln2 | 2008-51-0031.sam | 241 | 10.906 | 10.9059 | 0.047714 | -0.00013256 | 1.63 | 1.1411 | 0.20104 | -0.48889
2008-51-0031.mrgcln2 | 2008-51-0031.sam | 241 | 2.11 | 2.1102 | 0.027824 | 0.00016189 | 2.35 | 1.5542 | 0.20387 | -0.79582
2008-51-0039.mrgcln2 | 2008-51-0039.sam | 241 | 20.59 | 20.5901 | 0.072332 | 5.3406e-05 | 0.7 | 0.62886 | 0.095797 | -0.071137
2008-51-0039.mrgcln2 | 2008-51-0039.sam | 241 | 10.514 | 10.5136 | 0.05849 | -0.00035286 | 1.21 | 1.2107 | 0.13886 | 0.00070953
2008-51-0039.mrgcln2 | 2008-51-0039.sam | 241 | 2.058 | 2.058 | 0.033291 | 1.6451e-05 | 4.74 | 0.063295 | 0.12182 | -4.6767
2008-51-0041.mrgcln2 | 2008-51-0041.sam | 239 | 20.315 | 20.3234 | 0.243 | 0.0083637 | 0.59 | 0.67678 | 0.07366 | 0.086778
2008-51-0041.mrgcln2 | 2008-51-0041.sam | 241 | 10.262 | 10.2615 | 0.11078 | -0.00049782 | 0.76 | 0.89936 | 0.034166 | 0.13936
2008-51-0041.mrgcln2 | 2008-51-0041.sam | 241 | 2.381 | 2.3807 | 0.034025 | -0.00033188 | 1.24 | 0.14409 | 0.27624 | -1.0959
2008-51-0045.mrgcln2 | 2008-51-0045.sam | 241 | 20.53 | 20.5301 | 0.028056 | 0.00013161 | 0.5 | 0.63559 | 0.062443 | 0.13559
2008-51-0045.mrgcln2 | 2008-51-0045.sam | 241 | 10.393 | 10.393 | 0.26658 | -4.1008e-05 | 1.82 | 1.6012 | 0.21695 | -0.21885
2008-51-0045.mrgcln2 | 2008-51-0045.sam | 241 | 1.953 | 1.9533 | 0.026315 | 0.00035274 | 1.73 | 1.7554 | 0.16148 | 0.025378
2008-51-0048.mrgcln2 | 2008-51-0048.sam | 241 | 20.011 | 20.0107 | 0.070068 | -0.00028229 | 0.25 | 0.25948 | 0.033621 | 0.0094772
2008-51-0048.mrgcln2 | 2008-51-0048.sam | 241 | 10.231 | 10.2308 | 0.15021 | -0.00021172 | 2.08 | 2.8755 | 0.45413 | 0.7955
2008-51-0048.mrgcln2 | 2008-51-0048.sam | 241 | 1.88 | 1.8799 | 0.040624 | -7.0572e-05 | 25.42 | 4.9324 | 0.001856 | -20.4876
2008-51-0052.mrgcln2 | 2008-51-0052.sam | 241 | 20.208 | 20.2077 | 0.30795 | -0.0003109 | 0.43 | 0.47988 | 0.059574 | 0.049876
2008-51-0052.mrgcln2 | 2008-51-0052.sam | 241 | 10.43 | 10.4301 | 0.26378 | 9.9182e-05 | 1.22 | 1.7132 | 0.27655 | 0.49322
2008-51-0052.mrgcln2 | 2008-51-0052.sam | 241 | 1.955 | 1.955 | 0.059148 | 2.0742e-05 | 1.73 | 1.961 | 0.089757 | 0.23105
2008-51-0055.mrgcln2 | 2008-51-0055.sam | 241 | 20.454 | 20.4541 | 0.19975 | 0.00010681 | 0.24 | 0.41444 | 0.057218 | 0.17444
2008-51-0055.mrgcln2 | 2008-51-0055.sam | 241 | 10.426 | 10.4263 | 0.098322 | 0.00034046 | 0.81 | 1.1999 | 0.082355 | 0.3899
2008-51-0055.mrgcln2 | 2008-51-0055.sam | 234 | 2.052 | 2.0523 | 0.03125 | 0.00027347 | 2.28 | 1.764 | 0.24959 | -0.516
2008-51-0057.mrgcln2 | 2008-51-0057.sam | 241 | 20.035 | 20.0351 | 0.081384 | 5.722e-05 | 0.25 | 0.35622 | 0.019131 | 0.10622
2008-51-0057.mrgcln2 | 2008-51-0057.sam | 241 | 10.046 | 10.0464 | 0.10791 | 0.00035286 | 1.31 | 1.5277 | 0.065993 | 0.21766
2008-51-0057.mrgcln2 | 2008-51-0057.sam | 241 | 2.305 | 2.305 | 0.051705 | -3.314e-05 | 1.26 | 0.6771 | 0.022349 | -0.58291
2008-51-0060.mrgcln2 | 2008-51-0060.sam | 241 | 20.538 | 20.5376 | 0.030326 | -0.00038147 | 0.31 | 0.39481 | 0.020458 | 0.084813
2008-51-0060.mrgcln2 | 2008-51-0060.sam | 241 | 10.694 | 10.6943 | 0.032349 | 0.00031948 | 1.29 | 1.6051 | 0.42081 | 0.31514
2008-51-0060.mrgcln2 | 2008-51-0060.sam | 241 | 2.037 | 2.0367 | 0.03247 | -0.00029445 | 5.21 | 1.1321 | 0.62729 | -4.0778
2008-51-0063.mrgcln2 | 2008-51-0063.sam | 241 | 20.564 | 20.5641 | 0.16176 | 0.00015068 | 0.25 | 0.47067 | 0.031949 | 0.22067
2008-51-0063.mrgcln2 | 2008-51-0063.sam | 241 | 10.528 | 10.5281 | 0.028371 | 0.00013733 | 1.05 | 1.6414 | 0.068734 | 0.59141
2008-51-0063.mrgcln2 | 2008-51-0063.sam | 241 | 2.184 | 2.1835 | 0.031353 | -0.00046468 | 1.64 | 1.3943 | 0.085732 | -0.24571
2008-51-0065.mrgcln2 | 2008-51-0065.sam | 241 | 20.592 | 20.5922 | 0.17143 | 0.00022125 | 0.9 | 1.1765 | 0.20482 | 0.27653
2008-51-0065.mrgcln2 | 2008-51-0065.sam | 230 | 10.219 | 10.2726 | 0.3456 | 0.053553 | 1.68 | 1.9909 | 0.31217 | 0.31094
2008-51-0065.mrgcln2 | 2008-51-0065.sam | 241 | 2.011 | 2.0113 | 0.035316 | 0.00032377 | 2.49 | 1.8533 | 0.21418 | -0.63673
2008-51-0068.mrgcln2 | 2008-51-0068.sam | 241 | 19.854 | 19.8541 | 0.072973 | 0.000103 | 0.37 | 0.46831 | 0.065344 | 0.098311
2008-51-0068.mrgcln2 | 2008-51-0068.sam | 241 | 9.886 | 9.8861 | 0.10417 | 0.00012016 | 0.86 | 0.9548 | 0.074506 | 0.094801
2008-51-0068.mrgcln2 | 2008-51-0068.sam | 241 | 2.022 | 2.0218 | 0.04019 | -0.00018668 | 2.17 | 2.0727 | 0.16109 | -0.097274
Create Fit Sheet