File List for SeaBird Data         Cruise Number: _2008-61____

[osdcommon\cruise_data\2008-61\ARCHIVE]

[osdcommon\cruise_data\2008-61\ARCHIVE\Bottle] *.CHE

[osdcommon\cruise_data\2008-61\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2008-61\ARCHIVE\DOC] all documents from RAW and PROCESSING

[osdcommon\cruise_data\2008-61\ARCHIVE\DOC\HYDRO] COMPARE files and edited versions of    spreadsheets from analysts

[osdcommon\cruise_data\2008-61\PROCESSING]

[osdcommon\cruise_data\2008-61\PROCESSING\Angelica] files for use of A. Peña

[osdcommon\cruise_data\2008-61\PROCESSING\CONVERT]

*.CNV – after conversion

[osdcommon\cruise_data\2008-61\PROCESSING\DERIVE]

*.CNV – after conversion, wildedit, celltm, derive

[osdcommon\cruise_data\2008-61\PROCESSING\DOC]

2008-61-recal1.ccf – calibration control file for recalibration of DO and primary SAL

2008-61-recal2.ccf – calibration control file for 2nd recalibration of DO

2008-61-ctd.con – corrected configuration file

2008-61_file.doc - this document

2008-61_proc.doc - processing notes

2008-61-che-final.rpt – CTD file header check including channel summary

2008-61-ctd-final.rpt – CHE file header check including channel summary

2008-61-altimeter.csv – report on header entries for altimetry before corrections

*hdr.txt – header files with comments for CTD and CHE files

[osdcommon\cruise_data\2008-61\PROCESSING\DOC\hydro]

2008-61chl.csv – extracted chlorophyll bottle data – simplified version

2008-61nuts.csv – edited version of the nutrient spreadsheet

2008-61sal.csv – salinity bottle data – simplified version

2008-61-chl-fluor-comp.csv & xls – comparison of extracted CHL and CTD Fluorescence

2008-61-dox-comp1.csv & .xls – initial comparison of titrated DO and CTD DO

2008-61-dox-comp2.csv & .xls – comparison of titrated DO and CTD DO after 1st recal

2008-61-dox-comp3.csv & .xls – comparison of titrated DO and downcast CTD DO

2008-61-dox-comp4.csv & .xls – comparison of titrated DO and CTD DO after final recal

2008-61-sal-comp1.csv & xls –salinity COMPARE file

2008-61-sal-comp1-3*.xls – studies using different E values for conversion of DO

addsamp.csv – spreadsheet relating bottle numbers to sample numbers

[osdcommon\cruise_data\2008-61\PROCESSING\HYDRO]

*.add – bottle from analyst, converted, edited, with flags

*.bot - *.ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl – bottle data from analyst, converted

*.ed1 and *.log - output files for 1 bottle file from CTDEDIT

*.mrg – after addition of oxygen and salinity bottle data to BOT files

*.nut – nutrient files converted from simplified version of analyst’s spreadsheet

*.ros -  rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from simplified version of analyst’s spreadsheet

*.sam – bottle files with sample numbers added

[osdcommon\cruise_data\2008-61\PROCESSING\DOC\hydro2]

*.che – files created with Reference PAR merged to original CHE files

*.bot2 – new ros files converted to IOS SHELL

*.ros2 – files that include Reference PAR which is missing from original ros files

*.sam2 – new ros files with sample numbers added

[osdcommon\cruise_data\2008-61\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del – after DELETE

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log -  log files created by CTDEDIT.

Delete.log - log from routine DELETE

______________________________________________________________________________

[osdcommon\cruise_data\2008-61\RAW]

[osdcommon\cruise_data\2008-61\RAW\CHEMISTRY\CHL] data from analyst

[osdcommon\cruise_data\2008-61\RAW\CHEMISTRY\NUTRIENTS] data from analyst

[osdcommon\cruise_data\2008-61\RAW\CHEMISTRY\Oxygen Data] data from analyst

[osdcommon\cruise_data\2008-61\RAW\CHEMISTRY\Salinity] data from analyst

[osdcommon\cruise_data\2008-61\RAW\CTD]