## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 18 August 2010 | Transmissivity corrected. See end of report for details. |

## PROCESSING NOTES

Cruise: 2008-63

Agency: OSD

Location: Strait of Georgia

Project: Georgia Basin Ecosystem Initiative

Party Chief: Johansen S.

Platform: Vector

Date: November 19, 2008 – November 20, 2008

Processed by: Germaine Gatien

Date of Processing: 11 December 2008 – 22 June 2009

Number of original CTD casts: 	3	Number of CTD casts processed: 2 (1 file upcast only)

Number of bottle files: 2		Number of bottle casts processed: 2

# INSTRUMENT SUMMARY

A SeaBird Model SBE 911+ CTDs (#0443) was used during this cruise. It was mounted in a rosette and attached were a Wetlabs CSTAR transmissometer (#1005DR), an SBE 43 DO sensor (#1176), a Seapoint Fluorometer (#2228) with a 10X cable, a PAR sensors (#4656) and an altimeter (#1252). The deck unit was a Seabird model 11 (#0424) and the logging computer was PAC02588.

# SUMMARY OF QUALITY AND CONCERNS

Two stations were occupied just before cruise 2008-61. They included the same equipment, so most processing was done following the methods used for 2008-61. A brief report has been prepared for this cruise, but for more detail see the report file 2008-61-proc.doc.

Log Book entries are in the same book as for 2008-61 and the equipment was the same.

There were 3 files, but only 2 events. Because there is no useful data in rosette file 2008-63-0001.ros and there is no downcast data in file #2, it was decided to delete file 2008-63-0001.ros and rename 2008-63-0002.ros as 2008-63-0001.ros, so the CTD and bottle files will match. File 2008-63-0002.CNV was not processed since it contained no downcast data.

Transmissivity and fluorescence are nominal and unedited except that some records were removed in editing temperature and salinity.

The new dissolved oxygen algorithm was used parameter E = 0.0385 based on the studies of 2008-27 when the same sensor was used.

The only dissolved oxygen samples were taken from between 140 and 150db. Only 6 bottles were sampled and there was a lot of scatter, so recalibration was applied based on samples from cruise 2008-61 which immediately followed. If the 2008-63 data are more reliable than those from 2008-61, then the recalibrated values around 150db are too high by from 0.04 to 0.ml/l.

The rosette log sheets were missing so processing was suspended. The sheets were found in June 2009. The oxygen files and rosette sheets were very confusing, though the noting of pressures in both helped resolved assignment of DO samples to particular Niskin bottles. It is important to write sample numbers with the Niskin number – duplicates should be given the same sample number (with an “a” or “b” to distinguish them), and those numbers should be entered beside the relevant Niskin bottle numbers.

Based on the results of 2008-61, the dissolved oxygen data in the CTD files should be considered:

•	±0.5 ml/l from  0– 200db

•	±0.2 ml/l below 200db

# PROCESSING SUMMARY

##### Seasave

This step was completed at sea; the raw data files have extension HEX.

There are 3 casts that were run just before cruise 2008-61, so processing was done with that cruise and much of this report is copied from the report for 2008-61.

##### Preliminary Steps

The Log Book was obtained. The first cast was interrupted to fix the con file which was not set for a rosette. Cast #2 is a continuation of cast #1. All the configuration files are different.

Dissolved oxygen data were found in files that were mislabelled and they do not readily correspond to the bottle files. There were no flag channels or comments. The rosette sheets were missing for many months, and when found were confusing.

The cruise summary sheet was completed.

The histories of the conductivity, DO and pressure sensors were obtained.

The configuration files were checked. Three different configurations apply to the three casts, so they were all checked. The offset was missing for the PAR sensor for cast #3. The dissolved oxygen parameters were correct for the Owens-Millard method, but they had not been entered for the Murphy-Larson method which will be used, so those were added to all the con files. The value of E was set to 0.0385E-2 based on the results of a study during the processing of 2008-27.

The three files were saved as 2008-63-ctd1.con, 2008-63-ctd2.con and 2008-63-ctd3.con

##### Conversion of Raw Data

Data were converted using the 3 con files described above.

Rosette files were converted using a start time of -5s and duration of 10s.

For the 3rd file, conversion would only work when the tick was removed from the box “Surface PAR voltage added”, and Surface PAR could not be converted.

File #1 contains the downcast and part of the upcast. The rosette file contains no useful data.

File #2 contains the rest of the upcast and the rosette file is good.

File #3 contains both downcast and upcast and useful rosette data.

Because there is no useful data in the rosette file 2008-63-0001.ros and there is no downcast data in file #2, it was decided to delete file 2008-63-0001.ros and rename 2008-63-0002.ros as 2008-63-0001.ros, so the CTD and bottle files will match. File 2008-63-0002.cnv will not be processed further.

So from this point on only casts 1 and 3 will be processed.

The two casts were examined and all expected channels are present. The upcast temperature and conductivity traces are much noisier and further apart than in the downcasts. The two downcast temperature and conductivity channels are in good agreement.

The dissolved oxygen voltage shows the usual offset between upcast and downcast.

The descent rate was very steady. The altimetry looks ok near the bottom.

Dates were corrected in both the ROS and CNV files.

The rosette files were converted to IOS HEADER format. Bottom depth was added to the headers.

CLEAN was run to add event numbers and the output files were named *.BOT.

All BOT files were plotted and no significant outliers were found.

##### WILDEDIT

Program WILDEDIT was used to remove spikes from the pressure, conductivity and temperature channels only.

Parameters used were: 	Pass 1    Std Dev = 2 	Pass 2    Std Dev = 5 	Points per block = 50

##### CELLTM

CELLTM was run using (α = 0.03, β = 9) for both the primary and secondary conductivity.

##### DERIVE

Program DERIVE was run to calculate primary and secondary salinity and dissolved oxygen concentration. Dates were fixed in the headers.

##### Conversion to IOS Headers

The IOSSHELL routine was used to convert SEA-Bird 911+ CNV files to IOS Headers. Bottom depth was added to the headers.

CLEAN was run to add event numbers and to replace pad values in the Pressure channel using linear interpolation based on scan number.

##### Checking Headers

The header check and a cross-reference listing were produced. Times and positions look fine.

The cruise track was plotted and no problems found.

The average surface pressure is -.02db but those values come from a time when the pumps were off and the salinity is generally very low, so the CTD might be out of water.

The altimeter header readings look right.

##### BOTTLE FILE PREPARATION

The BOT files were averaged to enable an addsamp file to be created. This file was edited to add sample numbers taken from the rosette sheets.

The ADDSAMP file was converted to CST files to be used as a framework for the bottle files. It was also used to add sample numbers to the BOT files (output: SAM). The BOT files were then bin-averaged (output:SAMAVG).

DISSOLVED OXGYEN

Two dissolved oxygen files (*.oxy) were delivered without flag channel or comments and combining the results from the two casts. The rosette sheets are also confusing, with separate sample numbers assigned to duplicates and entered beside the wrong Niskin bottle numbers. The nominal pressures were written in both the OXY files and the rosette sheets; that was used to make an assignment of the data. It appears that there were duplicate samples from 3 bottles for each station. However, it appears there was an error in the analysis of sample #15.

The OXY file data were exported to a spreadsheet, 2008-61-oxy.csv. There were a number of lines that do not appear to correspond to the entries on the rosette sheets, so those were removed. Columns were added for a quality flag and comments. The duplicates were averaged and flag “f” added.

The file was then converted to ADD files.

The duplicate sample data were copied to file 2008-63-DO_duplicates. The average difference between duplicates was 0.06 and the pooled standard deviation of sample pairs, Sp, was found to be 0.046.

The dissolved oxygen data were merged with the CST files, put through CLEAN to reduce the header to file and comments; that file was then merged with the SAMAVG files to create MRG files.

##### Compare

Dissolved Oxygen

COMPARE was run using the MRG and SAM files. There are only 6 bottles and they all come from between 140 and 150db so the range of values is small. There is a lot of scatter in the fits against pressure and DO. The trendline in the fit against DO is:

CTD-BOT = 1.24 DOX-CTD - 0.36

but it based on so little data that no great weight can be put on it.

During 2009-27 which preceded this cruise the fit was

CTD-BOT = 1.071 DOX-CTD + 0.002

And during 2009-61 which followed it the fit was:

CTD-BOT = 1.140 DOX-CTD - 0.0111

There was a limited range of values for the latter cruise.

A comparison was done of the effect of applying the fits from 2008-27 and 2008-61 to the 2008-63 data. The results show that 2008-61 is better than 2008-27 at matching the 140-150db values. If we assume that the bottles from 2008-63 are more reliable than those from 2008-61, we find the effect of applying the 2008-61 fit would be to produce bottom DO values too high by from 0.04 to 0.2ml/l around 150db.

(See 2008-63-DOX-comp1.xls.)

##### 12. SHIFT

The results of 2008-61 were applied as follows:

Fluorescence

SHIFT was applied to the fluorescence using a setting of +24.

Dissolved Oxygen

SHIFT was run using +70 records for all casts.

Conductivity

All casts were put through two runs of SHIFT using +0.2 for the primary and -0.5 for the secondary. (Output *.SHFC0 and SHFC1).

Plots were made of one cast to check that the settings were appropriate and the results looked fine.

##### 13. DELETE

The following DELETE parameters were used:

Surface Record Removal: Last Press Min   	Maximum Surface Pressure (relative): 10.00

Surface Pressure Tolerance: 1.0                  	Pressure filtered over 15 points

Swells deleted. Warning message if pressure difference of 2.00

Drop rates <   0.30m/s (calculated over 11 points) will be deleted.

Drop rate applies in the range:  10db to 10db less than the maximum pressure

Sample interval = 0.042 seconds. (taken from header)

COMMENTS ON WARNINGS: There were no warnings.

##### DETAILED EDITING

The secondary salinity was selected for archiving based on the results from 2008-61.

Graphical editing was done using program CTDEDIT. On-screen plots of descent rate and pump status were examined to guide the editing.

Both casts required light editing. Note was made of the editing details in the headers of the files.

##### Other Comparisons

Previous experience with these sensors –

1. Salinity: Both sensors were recalibrated just before 2008-61.

2. Dissolved Oxygen –This sensor has been used on many cruises since it was last calibrated in February 2007. There appears to be some drift occurring though some changes in how DO is derived and in the plumbing may complicate the analysis of drift.

3. Pressure – This sensor has been used many times and the pressure offset is gradually increasing.

Historic ranges –All temperature and salinity data fell within the local climatology.

Repeat Casts – There were no repeat casts.

##### Initial Recalibration

File 2008-63-ctd1.ccf was used to add 0.2db to the pressure and to apply the following correction to the CTD Dissolved Oxygen channel in the MRG and EDT files based on the results of cruise 2008-61:

DOX_Corrected = 1.1390 DOX-CTD -0.0111

The output files were MRGCOR1 and COR1, respectively.

File 2008-63-ctd2.ccf was applied to the COR1 files for a final correction of dissolved oxygen data that is only relevant to data collected while the CTD is moving, so is not applied to the bottle files. This correction is also taken from 2008-61:

DO_corrected = DO (after 1st correction) -0.0643 +0.0001 * Pressure

The output files were named COR2.

##### BIN AVERAGE of CTD files

The following Bin Average values were applied to the FIL files (output AVG):

Bin channel = pressure	Averaging interval = 1.000	Minimum bin value =   .000

Average value will be used.	Interpolated values are NOT used for empty bins.

After averaging, page plots were examined on screen and no further editing was deemed necessary.

##### FINAL CTD files steps (REMOVE and HEADEDIT)

T-S plots were examined on-screen and no problems were found.

For all casts REMOVE was run to remove Scan_Number, Temperature:Secondary, Salinity:T1:C1, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, Status:Pump, Descent_Rate, Altimeter and Flag.

A second SBE DO channel was added; REORDER was run to put the two SBE DO channels together.

HEADER EDIT was used to fix formats and channel names and to add the following comments:

These data were processed using the results of cruise 2008-61 which

immediately followed 2008-63 and used the same equipment. The few

bottles from 2008-63 suggest that the DO values from this recalibration

may be too high by from 0.04 to 0.2ml/l between 140 and 150db.

Transmissivity and fluorescence are nominal and unedited except that

some records were removed in editing temperature and salinity.

The dissolved oxygen data in the CTD files should be considered:

•	±0.5 ml/l from  0– 200db

•	±0.2 ml/l below 200 db

On average the CTD salinity looked lower than bottles by about 0.0025

units, but the comparison was too noisy to justify recalibration.

Profile plots and T-S plots were examined on-screen. No problems were found.

The track plot looks ok.  The cross-reference lists turned up no problems.

As a final check of dissolved oxygen data % saturation was calculated and plotted. The values were around 90% and 95%. This is very close to the value during 2008-61-0001 in Saanich Inlet two days later.

##### Final Bottle Files

The MRGCOR1 files were put through SORT to order on increasing pressure.

For all casts the following channels were removed from all casts: Scan_Number, Temperature:Secondary, Salinity:T1:C1, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, Altimeter, Status:Pump, Descent_Rate and Flag.

A second SBE DO channel was added with different units. Then the files were reordered to put the two SBE DO channels together.

HEADER EDIT was run to fix formats and units and to add a comment about quality flags and analysis methods.

Standards check was run on all files and HEADEDIT adjusted until all format problems were resolved. (Output: CHE)

##### Producing final files

A cross-reference listing was produced for CTD and CHE files.

The sensor history was updated.

Particulars from log:

1. Cast interrupted to fix configuration for rosette.

2. Continuation of cast #2. The rosette file was renamed as #1 since it corresponds to the CNV file with that name. There is no downcast data in the CNV file so it will not be processed.

3. PAR and surface PAR in configuration file, but surface PAR could not be converted.

REVISION: August 18, 2010

Transmissometer #1005DR was calibrated in March 2008, and drifted significantly but steadily until July 2009; then a sudden shift occurred, so that maximum values between September 2009 and July 2010 were very low, ~25%/m. In August 2010 a study was made of transmissivity that led to a decision to apply post-processing corrections to all cruises between March 2008 and June 2010.

Transmissivity data from this cruise were corrected by multiplying the original values by correction factor 1.141. This was based on assumptions that deep offshore transmissivity from a June 2009 cruise should be about 62%/m and that drift was linear with time between March 2008 and July 2009. The corrections produced reasonable results for all cruises in that period.

For details on how the correction factor was derived see:

OSD_Data_Archive:\Cruise_Data\DOCUMENTS\Transmissometer 1005DR Corrections.doc

These data should be considered estimates.

Revisions done by: Germaine Gatien

# Institute of Ocean Sciences

# CRUISE SUMMARY

CTD

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 911+ | 0443 | Yes | Yes |

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 2038 | 06May08 | Factory “ |  |  |
| Conductivity | 1729 | 13Jun08 | “ |  |  |
| Secondary Temp. | 2449 | 06May08 | “ |  |  |
| Secondary Cond. | 2424 | 07May08 | “ |  |  |
| Transmissometer | 1005DR | 5Mar08 | IOS |  |  |
| SBE 43 DO sensor | 1176 | 8Feb2008 | Factory |  |  |
| Fluorometer | 2228 | ? | IOS |  |  |
| PAR | 4656 | 11Feb2003 |  |  |  |
| Surface PAR | 16504?? | 2Jan2004 |  |  |  |
| Pressure Sensor | 63507 | 25/10/2004 | Factory |  |  |
| Altimeter | 1252 | ? | ? |  |  |