## Auto Dups
Duplicate Study - 2009-03 - Autosal - CTD1 only
Event_Number | Sample_Number | Sample 1 | Sample 2 | Average | difference | diff^2 | %diff | Date of analysis | comments | ~depth
1 | 4 | 31.2869 | 31.2877 | 31.2873 | -0.00080872 | 6.5402e-07 | -0.0025848 | 11 |  | 150
4 | 16 | 32.8134 | 32.8127 | 32.8131 | 0.00069809 | 4.8733e-07 | 0.0021275 | 12 |  | 75
9 | 59 | 34.4686 | 34.4676 | 34.4681 | 0.00093842 | 8.8062e-07 | 0.0027226 | 12 |  | 1250
18 | 125 | 34.5918 | 34.5916 | 34.5917 | 0.00021362 | 4.5635e-08 | 0.00061756 | 12 |  | 2000
27 | 197 | 34.6254 | 34.6267 | 34.626 | -0.0013123 | 1.722e-06 | -0.0037898 | 12 |  | 2500
35 | 279 | 34.632 | 34.6295 | 34.6307 | 0.0025139 | 6.3196e-06 | 0.0072591 | 12 | outlier - high std dev in first value | 2500
38 | 351 | 34.6333 | 34.6297 | 34.6315 | 0.0035934 | 1.2913e-05 | 0.010376 | 12 | outlier | 2500
40 | 397 | 34.6693 | 34.6688 | 34.6691 | 0.00051117 | 2.6129e-07 | 0.0014744 | 13 |  | 3500
38 | 370 | 32.4712 | 32.47 | 32.4706 | 0.0012 | 1.44e-06 | 0.0036957 | 11/12 | run on different days-5m samples | 5
40 | 418 | 32.5624 | 32.5604 | 32.5614 | 0.002 | 4e-06 | 0.0061422 | 11/13 | run on different days-5m samples | 5
[5 empty] | count | 10
|  |  | all |  | Sp | 0.0011984
|  |  | exclude 2 |  | Sp | 0.00077018
|  |  | exclude 4 |  | Sp | 0.00058101
| excluding 2 |  | average difference |  | 0.0013007
|  |  | standard dev. |  | 0.0010698
| all |  | max |  | 0.0035934
|  |  | min |  | -0.0013123
|  |  | average difference |  | 0.00095477
|  |  | standard dev. |  | 0.001476

## Port Dups
Duplicate Study - Portasal - CTD1 only
Event_Number | Sample_Number | Sample 1 | Sample 2 | Average | difference | diff^2 | %diff | Date of analysis | comments
9 | 59 | 34.4719 | 34.4729 | 34.4724 | -0.00105 | 1.1025e-06 | 0.0030459 | 17
27 | 197 | 34.6365 | 34.6273 | 34.6319 | 0.00925 | 8.5563e-05 | 0.026709 | 17
35 | 279 | 34.6331 | 34.6318 | 34.6324 | 0.0013 | 1.69e-06 | 0.0037537 | 17
38 | 351 | 34.6309 | 34.631 | 34.6309 | -0.0001 | 1e-08 | 0.00028876 | 17
|  |  | all |  | Sp | 0.0033235
|  |  | exclude 1 |  | Sp | 0.00068343
|  |  | average difference all |  |  | 0.00235
|  |  | stdev |  |  | 0.0047002

## Auto-Port-Comparison
Duplicate study - one sample on each salinometer - note at bottom subset with 2 samples on each salinometer
CTD 1 only
Event_Number | Sample_Number | Salinity:Autosal | Flag:Salinity:Auto | Salinity:Portasal | Flag:Salinity:PORT | Comments | Diff | Diff^2
9 | 58 | 34.4882 |  | 34.4936 |  |  | -0.0054 | 2.916e-05
9 | 59 | 34.4681 | f | 34.4724 | f |  | -0.004325 | 1.8706e-05
9 | 60 | 34.468 |  | 34.4717 |  |  | -0.0037 | 1.369e-05
9 | 61 | 34.4 |  | 34.4051 |  |  | -0.0051 | 2.601e-05
9 | 62 | 34.3153 |  | 34.3165 |  |  | -0.00115 | 1.3225e-06
9 | 63 | 34.182 |  | 34.1836 |  |  | -0.0016 | 2.56e-06
9 | 64 | 34.0335 |  | 34.037 |  |  | -0.0035 | 1.225e-05
9 | 65 | 34.0089 |  | 34.0114 |  |  | -0.00245 | 6.0025e-06
9 | 66 | 33.9329 |  | 33.9344 |  |  | -0.00155 | 2.4025e-06
9 | 68 | 33.921 |  | 33.9247 |  |  | -0.0037 | 1.369e-05
9 | 69 | 33.8832 |  | 33.8933 |  |  | -0.01015 | 0.00010302
9 | 70 | 33.8636 |  | 33.8663 |  |  | -0.00275 | 7.5625e-06
9 | 71 | 33.6493 |  | 33.6489 |  |  | 0.00036667 | 1.3445e-07
9 | 72 | 33.4339 |  | 33.4351 |  |  | -0.0012 | 1.44e-06
9 | 73 | 33.0489 |  | 33.05 |  |  | -0.00115 | 1.3225e-06
9 | 76 | 32.4001 |  | 32.4018 |  |  | -0.0017 | 2.89e-06
9 | 78 | 32.2573 |  | 32.2597 |  |  | -0.00245 | 6.0025e-06
9 | 79 | 31.8731 |  | 31.8763 |  |  | -0.0032 | 1.024e-05
9 | 80 | 31.6984 |  | 31.702 |  |  | -0.00355 | 1.2603e-05
27 | 195 | 34.6466 |  | 34.6487 |  |  | -0.00215 | 4.6225e-06
27 | 196 | 34.5707 |  | 34.5721 |  |  | -0.0014 | 1.96e-06
27 | 198 | 34.5844 |  | 34.5848 |  |  | -0.0004 | 1.6e-07
27 | 199 | 34.5048 |  | 34.5056 |  |  | -0.0008 | 6.4e-07
27 | 200 | 34.4465 |  | 34.4477 |  |  | -0.0012 | 1.44e-06
27 | 201 | 34.3605 |  | 34.3668 |  |  | -0.00625 | 3.9063e-05
27 | 202 | 34.2723 |  | 34.2747 |  |  | -0.00235 | 5.5225e-06
27 | 203 | 34.1254 |  | 34.124 |  |  | 0.00135 | 1.8225e-06
27 | 204 | 33.9444 |  | 33.9461 |  |  | -0.0017 | 2.89e-06
27 | 205 | 33.874 |  | 33.8719 |  |  | 0.00205 | 4.2025e-06
27 | 206 | 33.8607 |  | 33.8591 |  |  | 0.00165 | 2.7225e-06
27 | 207 | 33.8415 |  | 33.8426 |  |  | -0.0011333 | 1.2844e-06
27 | 208 | 33.8064 |  | 33.8065 |  |  | -0.0001 | 1e-08
27 | 209 | 33.5531 |  | 33.5551 |  |  | -0.002 | 4e-06
27 | 210 | 33.0627 |  | 33.0627 |  |  | 0 | 0
27 | 211 | 32.7788 |  | 32.7801 |  |  | -0.00135 | 1.8225e-06
27 | 212 | 32.4633 |  | 32.4628 |  |  | 0.0005 | 2.5e-07
27 | 213 | 32.4543 |  | 32.4559 |  |  | -0.0016 | 2.56e-06
27 | 214 | 32.4553 |  | 32.4564 |  |  | -0.00115 | 1.3225e-06
27 | 215 | 32.4546 |  | 32.4556 |  |  | -0.001 | 1e-06
27 | 216 | 32.4552 |  | 32.4545 |  |  | 0.00065 | 4.225e-07
35 | 275 | 34.6675 |  | 34.6707 |  |  | -0.00325 | 1.0563e-05
35 | 277 | 34.653 |  | 34.6576 |  |  | -0.0046 | 2.116e-05
35 | 278 | 34.6347 |  | 34.6327 |  |  | 0.002 | 4e-06
35 | 279 | 34.6307 | f | 34.6324 | f |  | -0.00175 | 3.0625e-06
35 | 280 | 34.5869 |  | 34.5901 |  |  | -0.0032 | 1.024e-05
35 | 281 | 34.502 |  | 34.5098 |  |  | -0.0078 | 6.084e-05
35 | 282 | 34.4341 |  | 34.4364 |  |  | -0.0023 | 5.29e-06
35 | 283 | 34.3739 |  | 34.3777 |  |  | -0.00385 | 1.4822e-05
35 | 285 | 34.1448 |  | 34.1454 |  |  | -0.00055 | 3.025e-07
35 | 286 | 34.001 |  | 34.0031 |  |  | -0.00205 | 4.2025e-06
35 | 287 | 33.8878 |  | 33.8856 |  |  | 0.00225 | 5.0625e-06
35 | 288 | 33.8477 |  | 33.8498 |  |  | -0.0021 | 4.41e-06
35 | 289 | 33.7776 |  | 33.7803 |  |  | -0.00265 | 7.0225e-06
35 | 290 | 33.7115 |  | 33.7141 |  |  | -0.0026 | 6.76e-06
35 | 291 | 33.5034 |  | 33.5085 |  |  | -0.00515 | 2.6523e-05
35 | 292 | 32.9773 |  | 32.9801 |  |  | -0.0028 | 7.84e-06
35 | 293 | 32.6449 |  | 32.6461 |  |  | -0.0012 | 1.44e-06
35 | 294 | 32.4309 |  | 32.4319 |  |  | -0.001 | 1e-06
35 | 295 | 32.4234 |  | 32.4291 |  |  | -0.0057 | 3.249e-05
35 | 296 | 32.4211 |  | 32.425 |  |  | -0.00395 | 1.5602e-05
35 | 297 | 32.4212 |  | 32.4232 |  |  | -0.002 | 4e-06
35 | 298 | 32.421 |  | 32.4242 |  |  | -0.0032 | 1.024e-05
38 | 348 | 34.671 |  | 34.6776 |  |  | -0.0066 | 4.356e-05
38 | 349 | 34.657 |  | 34.6593 |  |  | -0.00225 | 5.0625e-06
38 | 350 | 34.6279 |  | 34.6352 |  |  | -0.00725 | 5.2563e-05
38 | 352 | 34.5886 |  | 34.5923 |  |  | -0.0037 | 1.369e-05
38 | 353 | 34.5031 |  | 34.51 |  |  | -0.00685 | 4.6923e-05
38 | 354 | 34.4429 |  | 34.4455 |  |  | -0.00265 | 7.0225e-06
38 | 355 | 34.3696 |  | 34.3734 |  |  | -0.0038 | 1.444e-05
38 | 356 | 34.2878 |  | 34.2904 |  |  | -0.00265 | 7.0225e-06
38 | 357 | 34.1601 |  | 34.1633 |  |  | -0.0032 | 1.024e-05
38 | 358 | 34.0071 |  | 34.0092 |  |  | -0.0021 | 4.41e-06
38 | 359 | 33.9034 |  | 33.9083 |  |  | -0.00485 | 2.3523e-05
38 | 360 | 33.8331 |  | 33.8353 |  |  | -0.00225 | 5.0625e-06
38 | 361 | 33.7655 |  | 33.7706 |  |  | -0.0051 | 2.601e-05
38 | 362 | 33.6959 |  | 33.6999 |  |  | -0.004 | 1.6e-05
38 | 363 | 32.9384 |  | 32.941 |  |  | -0.00255 | 6.5025e-06
38 | 364 | 32.9436 |  | 32.9501 |  |  | -0.0065 | 4.225e-05
38 | 365 | 32.5017 |  | 32.5052 |  |  | -0.0035 | 1.225e-05
38 | 366 | 32.4883 |  | 32.4913 |  |  | -0.00295 | 8.7025e-06
38 | 367 | 32.4842 |  | 32.488 |  |  | -0.0038 | 1.444e-05
38 | 368 | 32.479 |  | 32.4834 |  |  | -0.00435 | 1.8923e-05
40 | 395 | 34.6815 |  | 34.6891 |  |  | -0.00755 | 5.7003e-05
40 | 396 | 34.6783 |  | 34.6859 |  |  | -0.00765 | 5.8522e-05
40 | 397 | 34.6691 | f | 34.6753 |  |  | -0.0062 | 3.844e-05
40 | 398 | 34.6539 |  | 34.6602 |  |  | -0.0063 | 3.969e-05
40 | 400 | 34.5818 |  | 34.5874 |  |  | -0.00565 | 3.1922e-05
40 | 401 | 34.5084 |  | 34.5125 |  |  | -0.00405 | 1.6402e-05
40 | 402 | 34.4511 |  | 34.4573 |  |  | -0.00615 | 3.7823e-05
40 | 403 | 34.3845 |  | 34.3871 |  |  | -0.00255 | 6.5025e-06
40 | 404 | 34.3007 |  | 34.309 |  |  | -0.0083 | 6.889e-05
40 | 405 | 34.1746 |  | 34.1814 |  |  | -0.00675 | 4.5563e-05
40 | 406 | 34.0106 |  | 34.0159 |  |  | -0.0053 | 2.809e-05
40 | 407 | 33.8791 |  | 33.8829 |  |  | -0.0038 | 1.444e-05
40 | 408 | 33.8221 |  | 33.8287 |  |  | -0.00655 | 4.2903e-05
40 | 409 | 33.7481 |  | 33.7546 |  |  | -0.0065 | 4.225e-05
40 | 410 | 33.6946 |  | 33.7045 |  |  | -0.00985 | 9.7023e-05
40 | 411 | 33.5574 |  | 33.5646 |  |  | -0.0072 | 5.184e-05
40 | 412 | 33.2132 |  | 33.2169 |  |  | -0.00375 | 1.4062e-05
40 | 413 | 32.6509 |  | 32.6596 |  |  | -0.00875 | 7.6562e-05
40 | 414 | 32.5628 |  | 32.5663 |  |  | -0.00355 | 1.2602e-05
40 | 415 | 32.5621 |  | 32.5657 |  |  | -0.0036 | 1.296e-05
40 | 416 | 32.5608 |  | 32.5665 |  |  | -0.00565 | 3.1923e-05
40 | 417 | 32.5586 |  | 32.5652 |  |  | -0.00665 | 4.4223e-05
27 | 197 | 34.626 | f | 34.6319 | fc | Portasal Duplicates differ by 0.009 & autosal dups differ by 0.004 | -0.005925 | 3.5106e-05
38 | 351 | 34.6315 | fc | 34.6341 | fc | Portasal duplicates differ by 0.003 (34.6341/34.6310); Autosal differ by 0.004 | -0.00255 | 6.5025e-06
35 | 284 | 34.2849 |  | 34.147 |  |  | 0.1379 | 0.019016
38 | 369 | 32.4724 |  | 32.4903 |  |  | -0.01795 | 0.0003222
Continuation of Duplicate study - one sample on each salinometer
|  | average |  |  |  |  | -0.0033393 | 1.1151e-05
|  | std dev |  |  |  |  | 0.0025959 | 6.7389e-06
|  | avg excluding 2 |  |  |  |  | -0.0033393
[5 empty] | count | 108
|  |  | all |  | Sp |  |  | 0.0099149
|  |  | excluding 2 outliers |  |  |  |  | 0.0029901
|  |  | excluding 2 outliers and 2 flagged values |  |  |  |  | 0.0029854
Using just the 4 pairs that were duplicates on both salinometers
Duplicate Study - Autosal vs Portasal
|  | Autosal | Portasal avg | diff |  | diff^2
9 | 59 | 34.4681 | 34.4724 | -0.0042947 |  | 1.8444e-05
27 | 197 | 34.626 | 34.6319 | -0.0058662 |  | 3.4413e-05 | noted as outlier in Portasal
35 | 279 | 34.626 | 34.6325 | -0.0065 |  | 4.225e-05 | noted as outlier in Autosal duplicate analysis
38 | 351 | 34.6315 | 34.631 | 0.00049643 |  | 2.4644e-07 | noted as outlier in both Autosal and Portasal duplicate analysis
|  |  | Sp |  |  | 0.0034524

## Multi-firings-Auto
Study of multiple firings at a single depth analyzed on AUTOSAL - both CTDs
Part 1: CTD1 - Cases with just 2 bottles at same depth
Event_Number | Pressure | Sample # | Salinity:Bottle | Flag:Salinity:Bottle |  | Differences
9 | 1250 | 59 | 34.4681 | f
9 | 1250 | 60 | 34.468 |  |  | 0.0001
27 | 2500 | 196 | 34.5707
27 | 2500 | 197 | 34.626 | f |  | -0.0553
35 | 2500 | 278 | 34.6347
35 | 2500 | 279 | 34.6307 | fc |  | 0.004
38 | 2500 | 350 | 34.6279
38 | 2500 | 351 | 34.6315 | fc |  | -0.0036
Part 2: CTD 1-Cases with many bottles at one depth
Event_Number | Pressure | Sample # | Salinity:Bottle | Flag:Salinity:Bottle | Average | Std. Dev. | Range | Comment
18 | 10 | 143 | 32.4469
18 | 10 | 144 | 32.4474
18 | 10 | 146 | 32.451
18 | 10 | 147 | 32.4476
| summary |  |  |  | 32.4482 | 0.0018733 | 0.0041
[5 empty] | 32.4473 | 0.00036056 | 0.0007 | excluding 1 outlier
Part 2: CTD 2-Cases with many bottles at one depth
Event_Number | Pressure | Sample # | Salinity:Bottle | Flag:Salinity:Bottle | Average | Std. Dev. | Range | Comment
46 | 451 | 2017.215 | 34.5855
46 | 452 | 1996.056 | 34.5816
46 | 453 | 1998.818 | 34.5838
46 | 454 | 1997.101 | 34.5815
46 | 455 | 1996.236 | 34.5826
46 | 456 | 1996.922 | 34.5834
46 | 457 | 1997.54 | 34.583
46 | 458 | 1996.022 | 34.5842
46 | 459 | 1997.178 | 34.5844
46 | 460 | 1998.817 | 34.5863
46 | 461 | 1997.439 | 34.5847
|  |  | Summary |  | 34.5837 | 0.0015094 | 0.0048
46 | 462 | 501.638 | 34.103
46 | 463 | 500.345 | 34.1074
46 | 464 | 499.082 | 34.1056
46 | 465 | 500.113 | 34.1072
46 | 466 | 502.098 | 34.1095
46 | 467 | 497.546 | 34.1042
46 | 468 | 500.791 | 34.1051
46 | 469 | 502.093 | 34.1083
46 | 470 | 499.421 | 34.1071
46 | 471 | 498.508 | 34.1076
46 | 472 | 501.255 | 34.1081
46 | 473 | 500.269 | 34.1076
|  |  | Summary |  | 34.1067 | 0.0018728 | 0.0065
49 | 497 | 1003.588 | 34.3831
49 | 498 | 1001.674 | 34.3817
49 | 499 | 1004.191 | 34.3815
49 | 500 | 1000.798 | 34.382
49 | 501 | 1004.304 | 34.3819
49 | 502 | 1002.837 | 34.3823
49 | 503 | 1005.84 | 34.3814
49 | 504 | 1004.241 | 34.3937
49 | 505 | 999.489 | 34.3813
49 | 506 | 1000.273 | 34.3812
49 | 507 | 1000.45 | 34.3815
49 | 508 | 998.983 | 34.3816
|  |  | Summary |  | 34.3828 | 0.0034822 | 0.0125
|  |  | excluding 1 |  | 34.3818 | 0.00054606 |  | excluding 1 outlier
49 | 514 | 11.185 | 32.5742
49 | 515 | 11.01 | 32.5739
49 | 516 | 10.29 | 32.5746
49 | 517 | 10.522 | 32.5747
|  |  | Summary |  | 32.5744 | 0.00036968 | 0.0008
54 | 542 | 2007.839 | 34.5844
54 | 543 | 2006.772 | 34.5838
54 | 544 | 2004.337 | 34.584
54 | 545 | 2002.763 | 34.5845
54 | 546 | 2003.495 | 34.5843
54 | 547 | 2005.701 | 34.5845
54 | 548 | 2007.853 | 34.5843
54 | 549 | 2008.066 | 34.584
54 | 550 | 2006.992 | 34.5826
54 | 551 | 2006.372 | 34.5861
|  |  | Summary |  | 34.5842 | 0.00085797 | 0.0035

## Multi-firings-Port
Portasal - CTD1 only
Comparison of mulitple bottle firings at a single depth
Event_Number | Pressure | Sample_Number | Salinity:Bottle | Flag:Salinity:Bottle | Comments
9 | 1250 | 59 | 34.4724 | f
9 | 1250 | 60 | 34.4717 |  |  | 0.000725
27 | 2500 | 196 | 34.5721
27 | 2500 | 197 | 34.6319 | fc | Duplicates differ by 0.009 (34.6366/34.6273) | -0.059825
35 | 2500 | 278 | 34.6327
35 | 2500 | 279 | 34.6324 | f |  | 0.00025
38 | 2500 | 350 | 34.6352
38 | 2500 | 351 | 34.6341 | fc | duplicates differ by 0.003 (34.6341/34.6310) | 0.0011
differences very low for 3 bottles but high for cast 27, samples 196/197