## File List
Number of Files= |  | 1
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2009-03-0040.thn | 2009-03-0040.thn1 | 11 | 38 | 2009-03-0040.thn & 2009-03-0040.thn1

## (DOX_CTD46 - DOX_CTD40)
Calculation of Linear Least Squares Fit For
(DOX_CTD46 - DOX_CTD40)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD46 - DOX_CTD40), Prop=Press*
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.1567 |  | X | CALC Y
m= | 0.00052693 | 0.00023973 |  | Std Dev of Resid |  | 0.75416 |  | 0 | -0.70451
b= | -0.70451 | 0.20043 |  | Resid Sum of Squares |  | 14.7877 |  | 1999.97 | 0.34933
# of Values Extracted = |  |  | 28
# of Values Used in Fit = |  |  | 28
File | Use | Press* | DOX_CTD46 | DOX_CTD46 | Diff (DOX_CTD46 - DOX_CTD40) |  |  |  | Fit vs. | Press*
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 9.98 | 6.832 | 0 | -0.167 | -0.69925 | -0.53225 |  | 9.98 | -0.167
1 | YES | 20.059 | 6.834 | 0 | -0.185 | -0.69394 | -0.50894 |  | 20.059 | -0.185
1 | YES | 29.988 | 6.829 | 0 | -0.166 | -0.68871 | -0.52271 |  | 29.988 | -0.166
1 | YES | 50.083 | 6.845 | 0 | -0.149 | -0.67812 | -0.52912 |  | 50.083 | -0.149
1 | YES | 74.978 | 6.826 | 0 | -0.173 | -0.665 | -0.492 |  | 74.978 | -0.173
1 | YES | 100.039 | 6.811 | 0 | -0.197 | -0.6518 | -0.4548 |  | 100.039 | -0.197
1 | YES | 124.999 | 6.035 | 0 | -0.25 | -0.63864 | -0.38864 |  | 124.999 | -0.25
1 | YES | 149.874 | 4.477 | 0 | -0.337 | -0.62554 | -0.28854 |  | 149.874 | -0.337
1 | YES | 199.931 | 2.871 | 0 | -0.266 | -0.59916 | -0.33316 |  | 199.931 | -0.266
1 | YES | 249.988 | 2.198 | 0 | -0.172 | -0.57278 | -0.40078 |  | 249.988 | -0.172
1 | YES | 299.988 | 1.619 | 0 | -0.183 | -0.54644 | -0.36344 |  | 299.988 | -0.183
1 | YES | 400.008 | 0.985 | 0 | -0.158 | -0.49373 | -0.33573 |  | 400.008 | -0.158
1 | YES | 500.001 | 0.769 | 0 | -0.105 | -0.44104 | -0.33604 |  | 500.001 | -0.105
1 | YES | 600.116 | 0.494 | 0 | -0.069 | -0.38829 | -0.31929 |  | 600.116 | -0.069
1 | YES | 700.08 | 0.468 | 0 | -0.046 | -0.33562 | -0.28962 |  | 700.08 | -0.046
1 | YES | 799.988 | 0.412 | 0 | -0.046 | -0.28297 | -0.23697 |  | 799.988 | -0.046
1 | YES | 900.006 | 0.369 | 0 | -0.058 | -0.23027 | -0.17227 |  | 900.006 | -0.058
1 | YES | 999.988 | 0.358 | 0 | -0.049 | -0.17759 | -0.12859 |  | 999.988 | -0.049
1 | YES | 1100.03 | 0.353 | 0 | -0.045 | -0.12487 | -0.079872 |  | 1100.03 | -0.045
1 | YES | 1200.03 | 0.32 | 0 | -0.038 | -0.072179 | -0.034179 |  | 1200.03 | -0.038
1 | YES | 1299.97 | 0.383 | 0 | -0.045 | -0.019518 | 0.025482 |  | 1299.97 | -0.045
1 | YES | 1399.98 | 0.45 | 0 | -0.056 | 0.03318 | 0.08918 |  | 1399.98 | -0.056
1 | YES | 1500.01 | 0.547 | 0 | -0.07 | 0.085889 | 0.15589 |  | 1500.01 | -0.07
1 | YES | 1749.97 | 0.886 | 0 | -0.083 | 0.2176 | 0.3006 |  | 1749.97 | -0.083
1 | YES | 1999.97 | 1.229 | 0 | -0.095 | 0.34933 | 0.44433 |  | 1999.97 | -0.095
1 | YES | 0 | 0 | 0 | -2.001 | -0.70451 | 1.2965 |  | 0 | -2.001
1 | YES | 0 | 0 | 0 | -2.57 | -0.70451 | 1.8655 |  | 0 | -2.57
1 | YES | 0 | 0 | 0 | -3.274 | -0.70451 | 2.5695 |  | 0 | -3.274
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Press*
FIT vs. DOX_CTD46
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD46 - DOX_CTD40) (2)
Calculation of Linear Least Squares Fit For
(DOX_CTD46 - DOX_CTD40)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD46 - DOX_CTD40), Prop=DOX_CTD46
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.96032 |  | X | CALC Y
m= | -0.018832 | 0.0010231 |  | Std Dev of Resid |  | 0.01271 |  | 0.32 | -0.050345
b= | -0.044318 | 0.0042924 |  | Resid Sum of Squares |  | 0.0022616 |  | 6.845 | -0.17322
# of Values Extracted = |  |  | 28
# of Values Used in Fit = |  |  | 16
File | Use | Press* | DOX_CTD46 | DOX_CTD46 | Diff (DOX_CTD46 - DOX_CTD40) |  |  |  | Fit vs. | DOX_CTD46
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 9.98 | 6.832 | 0 | -0.167 | -0.17298 | -0.0059784 |  | 6.832 | -0.167
1 | YES | 20.059 | 6.834 | 0 | -0.185 | -0.17302 | 0.011984 |  | 6.834 | -0.185
1 | YES | 29.988 | 6.829 | 0 | -0.166 | -0.17292 | -0.0069219 |  | 6.829 | -0.166
1 | YES | 50.083 | 6.845 | 0 | -0.149 | -0.17322 | -0.024223 |  | 6.845 | -0.149
1 | YES | 74.978 | 6.826 | 0 | -0.173 | -0.17287 | 0.00013458 |  | 6.826 | -0.173 | -0.168
1 | YES | 100.039 | 6.811 | 0 | -0.197 | -0.17258 | 0.024417 |  | 6.811 | -0.197
1 | NO | 124.999 | 6.035 | 0 | -0.25 | -0.15797 | 0.092031 |  | 0.494 | -0.069
1 | NO | 149.874 | 4.477 | 0 | -0.337 | -0.12863 | 0.20837 |  | 0.468 | -0.046
1 | NO | 199.931 | 2.871 | 0 | -0.266 | -0.098385 | 0.16762 |  | 0.412 | -0.046
1 | NO | 249.988 | 2.198 | 0 | -0.172 | -0.085711 | 0.086289 |  | 0.369 | -0.058
1 | NO | 299.988 | 1.619 | 0 | -0.183 | -0.074807 | 0.10819 |  | 0.358 | -0.049
1 | NO | 400.008 | 0.985 | 0 | -0.158 | -0.062868 | 0.095132 |  | 0.353 | -0.045
1 | NO | 500.001 | 0.769 | 0 | -0.105 | -0.0588 | 0.0462 |  | 0.32 | -0.038
1 | YES | 600.116 | 0.494 | 0 | -0.069 | -0.053621 | 0.015379 |  | 0.383 | -0.045
1 | YES | 700.08 | 0.468 | 0 | -0.046 | -0.053132 | -0.0071318 |  | 0.45 | -0.056
1 | YES | 799.988 | 0.412 | 0 | -0.046 | -0.052077 | -0.0060772 |  | 0.547 | -0.07
1 | YES | 900.006 | 0.369 | 0 | -0.058 | -0.051267 | 0.0067326
1 | YES | 999.988 | 0.358 | 0 | -0.049 | -0.05106 | -0.0020602
1 | YES | 1100.03 | 0.353 | 0 | -0.045 | -0.050966 | -0.0059661
1 | YES | 1200.03 | 0.32 | 0 | -0.038 | -0.050345 | -0.012345
1 | YES | 1299.97 | 0.383 | 0 | -0.045 | -0.051531 | -0.006531
1 | YES | 1399.98 | 0.45 | 0 | -0.056 | -0.052793 | 0.0032072
1 | YES | 1500.01 | 0.547 | 0 | -0.07 | -0.054619 | 0.015381
1 | NO | 1749.97 | 0.886 | 0 | -0.083 | -0.061004 | 0.021996
1 | NO | 1999.97 | 1.229 | 0 | -0.095 | -0.067463 | 0.027537
1 | NO | 0 | 0 | 0 | -2.001 | -0.044318 | 1.9567
1 | NO | 0 | 0 | 0 | -2.57 | -0.044318 | 2.5257
1 | NO | 0 | 0 | 0 | -3.274 | -0.044318 | 3.2297
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
FIT vs. Press*
FIT vs. DOX_CTD46
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2009/04/02 17:02:49
| Primary | Secondary |  | Comparison Name
Ref | Press* | Press* |  | Press* - Press*
Comp 1 | DOX_CTD40 | DOX_CTD46 |  | DOX_CTD46 - DOX_CTD40
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Press* | Press* | Press* | (S-P) | DOX_CTD40 | DOX_CTD46 | DOX_CTD46 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2009-03-0040.thn | 2009-03-0040.thn1 | 1 | 9.993 | 9.98 | 0 | -0.013 | 6.999 | 6.832 | 0 | -0.167
2009-03-0040.thn | 2009-03-0040.thn1 | 1 | 20.01 | 20.059 | 0 | 0.049 | 7.019 | 6.834 | 0 | -0.185
2009-03-0040.thn | 2009-03-0040.thn1 | 1 | 30.003 | 29.988 | 0 | -0.014999 | 6.995 | 6.829 | 0 | -0.166
2009-03-0040.thn | 2009-03-0040.thn1 | 1 | 49.968 | 50.083 | 0 | 0.115 | 6.994 | 6.845 | 0 | -0.149
2009-03-0040.thn | 2009-03-0040.thn1 | 1 | 74.975 | 74.978 | 0 | 0.0029983 | 6.999 | 6.826 | 0 | -0.173
2009-03-0040.thn | 2009-03-0040.thn1 | 1 | 100.045 | 100.039 | 0 | -0.0059967 | 7.008 | 6.811 | 0 | -0.197
2009-03-0040.thn | 2009-03-0040.thn1 | 1 | 125.01 | 124.999 | 0 | -0.011002 | 6.285 | 6.035 | 0 | -0.25
2009-03-0040.thn | 2009-03-0040.thn1 | 1 | 150.024 | 149.874 | 0 | -0.15001 | 4.814 | 4.477 | 0 | -0.337
2009-03-0040.thn | 2009-03-0040.thn1 | 1 | 199.984 | 199.931 | 0 | -0.052994 | 3.137 | 2.871 | 0 | -0.266
2009-03-0040.thn | 2009-03-0040.thn1 | 1 | 250.032 | 249.988 | 0 | -0.043991 | 2.37 | 2.198 | 0 | -0.172
2009-03-0040.thn | 2009-03-0040.thn1 | 1 | 300.011 | 299.988 | 0 | -0.02298 | 1.802 | 1.619 | 0 | -0.183
2009-03-0040.thn | 2009-03-0040.thn1 | 1 | 400.038 | 400.008 | 0 | -0.029999 | 1.143 | 0.985 | 0 | -0.158
2009-03-0040.thn | 2009-03-0040.thn1 | 1 | 500.003 | 500.001 | 0 | -0.0019836 | 0.874 | 0.769 | 0 | -0.105
2009-03-0040.thn | 2009-03-0040.thn1 | 1 | 599.997 | 600.116 | 0 | 0.11902 | 0.563 | 0.494 | 0 | -0.069
2009-03-0040.thn | 2009-03-0040.thn1 | 1 | 700.118 | 700.08 | 0 | -0.037964 | 0.514 | 0.468 | 0 | -0.046
2009-03-0040.thn | 2009-03-0040.thn1 | 1 | 800.027 | 799.988 | 0 | -0.039002 | 0.458 | 0.412 | 0 | -0.046
2009-03-0040.thn | 2009-03-0040.thn1 | 1 | 900.013 | 900.006 | 0 | -0.007019 | 0.427 | 0.369 | 0 | -0.058
2009-03-0040.thn | 2009-03-0040.thn1 | 1 | 999.997 | 999.988 | 0 | -0.0090332 | 0.407 | 0.358 | 0 | -0.049
2009-03-0040.thn | 2009-03-0040.thn1 | 1 | 1099.99 | 1100.03 | 0 | 0.032959 | 0.398 | 0.353 | 0 | -0.045
2009-03-0040.thn | 2009-03-0040.thn1 | 1 | 1200.01 | 1200.03 | 0 | 0.019043 | 0.358 | 0.32 | 0 | -0.038
2009-03-0040.thn | 2009-03-0040.thn1 | 1 | 1300.02 | 1299.97 | 0 | -0.054932 | 0.428 | 0.383 | 0 | -0.045
2009-03-0040.thn | 2009-03-0040.thn1 | 1 | 1400.01 | 1399.98 | 0 | -0.025024 | 0.506 | 0.45 | 0 | -0.056
2009-03-0040.thn | 2009-03-0040.thn1 | 1 | 1500.02 | 1500.01 | 0 | -0.0079346 | 0.617 | 0.547 | 0 | -0.07
2009-03-0040.thn | 2009-03-0040.thn1 | 1 | 1749.98 | 1749.97 | 0 | -0.014038 | 0.969 | 0.886 | 0 | -0.083
2009-03-0040.thn | 2009-03-0040.thn1 | 1 | 1999.99 | 1999.97 | 0 | -0.013916 | 1.324 | 1.229 | 0 | -0.095
2009-03-0040.thn | 2009-03-0040.thn1 | 0 | 2499.99 | 0 | 0 | -2499.99 | 2.001 | 0 | 0 | -2.001
2009-03-0040.thn | 2009-03-0040.thn1 | 0 | 3000.02 | 0 | 0 | -3000.02 | 2.57 | 0 | 0 | -2.57
2009-03-0040.thn | 2009-03-0040.thn1 | 0 | 3999.97 | 0 | 0 | -3999.97 | 3.274 | 0 | 0 | -3.274
Create Fit Sheet