## File List
Number of Files= |  | 1
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2009-03-0040.thn | 2009-03-0040.thn2 | 11 | 38 | 2009-03-0040.thn & 2009-03-0040.thn2

## (CTD_DO48 - CTD_DO40)
Calculation of Linear Least Squares Fit For
(CTD_DO48 - CTD_DO40)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (CTD_DO48 - CTD_DO40), Prop=Press*
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.023959 |  | X | CALC Y
m= | 0.00011919 | 0.0001492 |  | Std Dev of Resid |  | 0.6259 |  | 0 | -0.25262
b= | -0.25262 | 0.16638 |  | Resid Sum of Squares |  | 10.1857 |  | 2999.99 | 0.10495
# of Values Extracted = |  |  | 28
# of Values Used in Fit = |  |  | 28
File | Use | Press* | CTD_DO48 | CTD_DO48 | Diff (CTD_DO48 - CTD_DO40) |  |  |  | Fit vs. | Press*
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 10.071 | 6.852 | 0 | -0.147 | -0.25142 | -0.10442 |  | 10.071 | -0.147
1 | YES | 20.031 | 6.851 | 0 | -0.168 | -0.25024 | -0.082236 |  | 20.031 | -0.168
1 | YES | 29.984 | 6.865 | 0 | -0.13 | -0.24905 | -0.11905 |  | 29.984 | -0.13
1 | YES | 49.971 | 6.855 | 0 | -0.139 | -0.24667 | -0.10767 |  | 49.971 | -0.139
1 | YES | 75.01 | 6.849 | 0 | -0.15 | -0.24368 | -0.093683 |  | 75.01 | -0.15
1 | YES | 100.012 | 6.81 | 0 | -0.198 | -0.2407 | -0.042703 |  | 100.012 | -0.198
1 | YES | 125.005 | 6.261 | 0 | -0.024 | -0.23772 | -0.21372 |  | 125.005 | -0.024
1 | YES | 149.98 | 5.123 | 0 | 0.309 | -0.23475 | -0.54375 |  | 149.98 | 0.309
1 | YES | 199.979 | 3.444 | 0 | 0.307 | -0.22879 | -0.53579 |  | 199.979 | 0.307
1 | YES | 249.991 | 2.497 | 0 | 0.127 | -0.22283 | -0.34983 |  | 249.991 | 0.127
1 | YES | 300.013 | 1.823 | 0 | 0.021 | -0.21686 | -0.23786 |  | 300.013 | 0.021
1 | YES | 400.027 | 1.082 | 0 | -0.061 | -0.20494 | -0.14394 |  | 400.027 | -0.061
1 | YES | 499.974 | 0.797 | 0 | -0.077 | -0.19303 | -0.11603 |  | 499.974 | -0.077
1 | YES | 600.02 | 0.516 | 0 | -0.047 | -0.18111 | -0.13411 |  | 600.02 | -0.047
1 | YES | 700.031 | 0.478 | 0 | -0.036 | -0.16919 | -0.13319 |  | 700.031 | -0.036
1 | YES | 799.975 | 0.42 | 0 | -0.038 | -0.15727 | -0.11927 |  | 799.975 | -0.038
1 | YES | 899.969 | 0.37 | 0 | -0.057 | -0.14535 | -0.088354 |  | 899.969 | -0.057
1 | YES | 1000.01 | 0.367 | 0 | -0.04 | -0.13343 | -0.09343 |  | 1000.01 | -0.04
1 | YES | 1100.03 | 0.356 | 0 | -0.042 | -0.12151 | -0.079509 |  | 1100.03 | -0.042
1 | YES | 1199.96 | 0.318 | 0 | -0.04 | -0.1096 | -0.069598 |  | 1199.96 | -0.04
1 | YES | 1300.02 | 0.371 | 0 | -0.057 | -0.097671 | -0.040671 |  | 1300.02 | -0.057
1 | YES | 1400 | 0.454 | 0 | -0.052 | -0.085754 | -0.033754 |  | 1400 | -0.052
1 | YES | 1500.01 | 0.567 | 0 | -0.05 | -0.073834 | -0.023834 |  | 1500.01 | -0.05
1 | YES | 1750.01 | 0.889 | 0 | -0.08 | -0.044036 | 0.035964 |  | 1750.01 | -0.08
1 | YES | 1999.99 | 1.243 | 0 | -0.081 | -0.01424 | 0.06676 |  | 1999.99 | -0.081
1 | YES | 2499.97 | 1.883 | 0 | -0.118 | 0.045354 | 0.16335 |  | 2499.97 | -0.118
1 | YES | 2999.99 | 2.456 | 0 | -0.114 | 0.10495 | 0.21895 |  | 2999.99 | -0.114
1 | YES | 0 | 0 | 0 | -3.274 | -0.25262 | 3.0214 |  | 0 | -3.274
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Press*
FIT vs. CTD_DO48
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (CTD_DO48 - CTD_DO40) (2)
Calculation of Linear Least Squares Fit For
(CTD_DO48 - CTD_DO40)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (CTD_DO48 - CTD_DO40), Prop=CTD_DO48
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.92545 |  | X | CALC Y
m= | -0.017014 | 0.0012906 |  | Std Dev of Resid |  | 0.016061 |  | 0.318 | -0.044179
b= | -0.038768 | 0.0054289 |  | Resid Sum of Squares |  | 0.0036114 |  | 6.865 | -0.15557
# of Values Extracted = |  |  | 28
# of Values Used in Fit = |  |  | 16
File | Use | Press* | CTD_DO48 | CTD_DO48 | Diff (CTD_DO48 - CTD_DO40) |  |  |  | Fit vs. | CTD_DO48
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 10.071 | 6.852 | 0 | -0.147 | -0.15535 | -0.0083466 |  | 6.852 | -0.147
1 | YES | 20.031 | 6.851 | 0 | -0.168 | -0.15533 | 0.01267 |  | 6.851 | -0.168
1 | YES | 29.984 | 6.865 | 0 | -0.13 | -0.15557 | -0.025568 |  | 6.865 | -0.13
1 | YES | 49.971 | 6.855 | 0 | -0.139 | -0.1554 | -0.016398 |  | 6.855 | -0.139
1 | YES | 75.01 | 6.849 | 0 | -0.15 | -0.1553 | -0.0052955 |  | 6.849 | -0.15 | -0.1468
1 | YES | 100.012 | 6.81 | 0 | -0.198 | -0.15463 | 0.043368 |  | 6.81 | -0.198 | -0.15533
1 | NO | 125.005 | 6.261 | 0 | -0.024 | -0.14529 | -0.12129 |  | 0.516 | -0.047
1 | NO | 149.98 | 5.123 | 0 | 0.309 | -0.12593 | -0.43493 |  | 0.478 | -0.036
1 | NO | 199.979 | 3.444 | 0 | 0.307 | -0.097364 | -0.40436 |  | 0.42 | -0.038
1 | NO | 249.991 | 2.497 | 0 | 0.127 | -0.081252 | -0.20825 |  | 0.37 | -0.057
1 | NO | 300.013 | 1.823 | 0 | 0.021 | -0.069784 | -0.090784 |  | 0.367 | -0.04
1 | NO | 400.027 | 1.082 | 0 | -0.061 | -0.057177 | 0.0038227 |  | 0.356 | -0.042
1 | NO | 499.974 | 0.797 | 0 | -0.077 | -0.052328 | 0.024672 |  | 0.318 | -0.04
1 | YES | 600.02 | 0.516 | 0 | -0.047 | -0.047548 | -0.00054741 |  | 0.371 | -0.057
1 | YES | 700.031 | 0.478 | 0 | -0.036 | -0.046901 | -0.010901 |  | 0.454 | -0.052
1 | YES | 799.975 | 0.42 | 0 | -0.038 | -0.045914 | -0.0079142 |  | 0.567 | -0.05
1 | YES | 899.969 | 0.37 | 0 | -0.057 | -0.045064 | 0.011936
1 | YES | 1000.01 | 0.367 | 0 | -0.04 | -0.045012 | -0.0050125
1 | YES | 1100.03 | 0.356 | 0 | -0.042 | -0.044825 | -0.0028253
1 | YES | 1199.96 | 0.318 | 0 | -0.04 | -0.044179 | -0.0041788
1 | YES | 1300.02 | 0.371 | 0 | -0.057 | -0.045081 | 0.011919
1 | YES | 1400 | 0.454 | 0 | -0.052 | -0.046493 | 0.0055073
1 | YES | 1500.01 | 0.567 | 0 | -0.05 | -0.048415 | 0.0015848
1 | NO | 1750.01 | 0.889 | 0 | -0.08 | -0.053894 | 0.026106
1 | NO | 1999.99 | 1.243 | 0 | -0.081 | -0.059916 | 0.021084
1 | NO | 2499.97 | 1.883 | 0 | -0.118 | -0.070805 | 0.047195
1 | NO | 2999.99 | 2.456 | 0 | -0.114 | -0.080554 | 0.033446
1 | NO | 0 | 0 | 0 | -3.274 | -0.038768 | 3.2352
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
FIT vs. Press*
FIT vs. CTD_DO48
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2009/04/02 16:58:23
| Primary | Secondary |  | Comparison Name
Ref | Press* | Press* |  | Press* - Press*
Comp 1 | CTD_DO40 | CTD_DO48 |  | CTD_DO48 - CTD_DO40
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Press* | Press* | Press* | (S-P) | CTD_DO40 | CTD_DO48 | CTD_DO48 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2009-03-0040.thn | 2009-03-0040.thn2 | 1 | 9.993 | 10.071 | 0 | 0.078 | 6.999 | 6.852 | 0 | -0.147
2009-03-0040.thn | 2009-03-0040.thn2 | 1 | 20.01 | 20.031 | 0 | 0.021 | 7.019 | 6.851 | 0 | -0.168
2009-03-0040.thn | 2009-03-0040.thn2 | 1 | 30.003 | 29.984 | 0 | -0.019001 | 6.995 | 6.865 | 0 | -0.13
2009-03-0040.thn | 2009-03-0040.thn2 | 1 | 49.968 | 49.971 | 0 | 0.0030022 | 6.994 | 6.855 | 0 | -0.139
2009-03-0040.thn | 2009-03-0040.thn2 | 1 | 74.975 | 75.01 | 0 | 0.035004 | 6.999 | 6.849 | 0 | -0.15
2009-03-0040.thn | 2009-03-0040.thn2 | 1 | 100.045 | 100.012 | 0 | -0.032997 | 7.008 | 6.81 | 0 | -0.198
2009-03-0040.thn | 2009-03-0040.thn2 | 1 | 125.01 | 125.005 | 0 | -0.0050049 | 6.285 | 6.261 | 0 | -0.024
2009-03-0040.thn | 2009-03-0040.thn2 | 1 | 150.024 | 149.98 | 0 | -0.044006 | 4.814 | 5.123 | 0 | 0.309
2009-03-0040.thn | 2009-03-0040.thn2 | 1 | 199.984 | 199.979 | 0 | -0.0049896 | 3.137 | 3.444 | 0 | 0.307
2009-03-0040.thn | 2009-03-0040.thn2 | 1 | 250.032 | 249.991 | 0 | -0.041 | 2.37 | 2.497 | 0 | 0.127
2009-03-0040.thn | 2009-03-0040.thn2 | 1 | 300.011 | 300.013 | 0 | 0.0020142 | 1.802 | 1.823 | 0 | 0.021
2009-03-0040.thn | 2009-03-0040.thn2 | 1 | 400.038 | 400.027 | 0 | -0.010986 | 1.143 | 1.082 | 0 | -0.061
2009-03-0040.thn | 2009-03-0040.thn2 | 1 | 500.003 | 499.974 | 0 | -0.028992 | 0.874 | 0.797 | 0 | -0.077
2009-03-0040.thn | 2009-03-0040.thn2 | 1 | 599.997 | 600.02 | 0 | 0.02301 | 0.563 | 0.516 | 0 | -0.047
2009-03-0040.thn | 2009-03-0040.thn2 | 1 | 700.118 | 700.031 | 0 | -0.086975 | 0.514 | 0.478 | 0 | -0.036
2009-03-0040.thn | 2009-03-0040.thn2 | 1 | 800.027 | 799.975 | 0 | -0.052002 | 0.458 | 0.42 | 0 | -0.038
2009-03-0040.thn | 2009-03-0040.thn2 | 1 | 900.013 | 899.969 | 0 | -0.044006 | 0.427 | 0.37 | 0 | -0.057
2009-03-0040.thn | 2009-03-0040.thn2 | 1 | 999.997 | 1000.01 | 0 | 0.010986 | 0.407 | 0.367 | 0 | -0.04
2009-03-0040.thn | 2009-03-0040.thn2 | 1 | 1099.99 | 1100.03 | 0 | 0.031982 | 0.398 | 0.356 | 0 | -0.042
2009-03-0040.thn | 2009-03-0040.thn2 | 1 | 1200.01 | 1199.96 | 0 | -0.045898 | 0.358 | 0.318 | 0 | -0.04
2009-03-0040.thn | 2009-03-0040.thn2 | 1 | 1300.02 | 1300.02 | 0 | -0.006958 | 0.428 | 0.371 | 0 | -0.057
2009-03-0040.thn | 2009-03-0040.thn2 | 1 | 1400.01 | 1400 | 0 | -0.01001 | 0.506 | 0.454 | 0 | -0.052
2009-03-0040.thn | 2009-03-0040.thn2 | 1 | 1500.02 | 1500.01 | 0 | -0.010986 | 0.617 | 0.567 | 0 | -0.05
2009-03-0040.thn | 2009-03-0040.thn2 | 1 | 1749.98 | 1750.01 | 0 | 0.026001 | 0.969 | 0.889 | 0 | -0.08
2009-03-0040.thn | 2009-03-0040.thn2 | 1 | 1999.99 | 1999.99 | 0 | 0.0090332 | 1.324 | 1.243 | 0 | -0.081
2009-03-0040.thn | 2009-03-0040.thn2 | 1 | 2499.99 | 2499.97 | 0 | -0.016846 | 2.001 | 1.883 | 0 | -0.118
2009-03-0040.thn | 2009-03-0040.thn2 | 1 | 3000.02 | 2999.99 | 0 | -0.034912 | 2.57 | 2.456 | 0 | -0.114
2009-03-0040.thn | 2009-03-0040.thn2 | 0 | 3999.97 | 0 | 0 | -3999.97 | 3.274 | 0 | 0 | -3.274
Create Fit Sheet