## File List
Number of Files= |  | 1
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2009-03-0040.thn1 | 2009-03-0040.thn2 | 11 | 35 | 2009-03-0040.thn1 & 2009-03-0040.thn2

## (DOX-cast 48 - DOX-cast 46)
Calculation of Linear Least Squares Fit For
(DOX-cast 48 - DOX-cast 46)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX-cast 48 - DOX-cast 46), Prop=Press*
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.14407 |  | X | CALC Y
m= | -0.00011033 | 5.6076e-05 |  | Std Dev of Resid |  | 0.16574 |  | 10.071 | 0.16185
b= | 0.16296 | 0.049617 |  | Resid Sum of Squares |  | 0.63177 |  | 1999.99 | -0.057702
# of Values Extracted = |  |  | 25
# of Values Used in Fit = |  |  | 25
File | Use | Press* | DOX-cast 48 | DOX-cast 48 | Diff (DOX-cast 48 - DOX-cast 46) |  |  |  | Fit vs. | Press*
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 10.071 | 6.852 | 0 | 0.020001 | 0.16185 | 0.14185 |  | 10.071 | 0.020001
1 | YES | 20.031 | 6.851 | 0 | 0.017 | 0.16075 | 0.14375 |  | 20.031 | 0.017
1 | YES | 29.984 | 6.865 | 0 | 0.036 | 0.15966 | 0.12366 |  | 29.984 | 0.036
1 | YES | 49.971 | 6.855 | 0 | 0.01 | 0.15745 | 0.14745 |  | 49.971 | 0.01
1 | YES | 75.01 | 6.849 | 0 | 0.023 | 0.15469 | 0.13169 |  | 75.01 | 0.023
1 | YES | 100.012 | 6.81 | 0 | -0.00099993 | 0.15193 | 0.15293 |  | 100.012 | -0.00099993
1 | YES | 125.005 | 6.261 | 0 | 0.226 | 0.14917 | -0.076828 |  | 125.005 | 0.226
1 | YES | 149.98 | 5.123 | 0 | 0.646 | 0.14642 | -0.49958 |  | 149.98 | 0.646
1 | YES | 199.979 | 3.444 | 0 | 0.573 | 0.1409 | -0.4321 |  | 199.979 | 0.573
1 | YES | 249.991 | 2.497 | 0 | 0.299 | 0.13538 | -0.16362 |  | 249.991 | 0.299
1 | YES | 300.013 | 1.823 | 0 | 0.204 | 0.12986 | -0.074138 |  | 300.013 | 0.204
1 | YES | 400.027 | 1.082 | 0 | 0.097 | 0.11883 | 0.021828 |  | 400.027 | 0.097
1 | YES | 499.974 | 0.797 | 0 | 0.028 | 0.1078 | 0.0798 |  | 499.974 | 0.028
1 | YES | 600.02 | 0.516 | 0 | 0.022 | 0.096762 | 0.074762 |  | 600.02 | 0.022
1 | YES | 700.031 | 0.478 | 0 | 0.01 | 0.085727 | 0.075727 |  | 700.031 | 0.01
1 | YES | 799.975 | 0.42 | 0 | 0.008 | 0.0747 | 0.0667 |  | 799.975 | 0.008
1 | YES | 899.969 | 0.37 | 0 | 0.001 | 0.063667 | 0.062667 |  | 899.969 | 0.001
1 | YES | 1000.01 | 0.367 | 0 | 0.009 | 0.052629 | 0.043629 |  | 1000.01 | 0.009
1 | YES | 1100.03 | 0.356 | 0 | 0.003 | 0.041594 | 0.038594 |  | 1100.03 | 0.003
1 | YES | 1199.96 | 0.318 | 0 | -0.002 | 0.030568 | 0.032568 |  | 1199.96 | -0.002
1 | YES | 1300.02 | 0.371 | 0 | -0.012 | 0.019528 | 0.031528 |  | 1300.02 | -0.012
1 | YES | 1400 | 0.454 | 0 | 0.004 | 0.008497 | 0.0044969 |  | 1400 | 0.004
1 | YES | 1500.01 | 0.567 | 0 | 0.02 | -0.0025375 | -0.022538 |  | 1500.01 | 0.02
1 | YES | 1750.01 | 0.889 | 0 | 0.003 | -0.030121 | -0.033121 |  | 1750.01 | 0.003
1 | YES | 1999.99 | 1.243 | 0 | 0.014 | -0.057702 | -0.071702 |  | 1999.99 | 0.014
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Press*
FIT vs. DOX-cast 48
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2009/04/01 16:27:07
| Primary | Secondary |  | Comparison Name
Ref | Press* | Press* |  | Press* - Press*
Comp 1 | DOX-cast 46 | DOX-cast 48 |  | DOX-cast 48 - DOX-cast 46
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Press* | Pressure [dbars] | Pressure [dbars] | (S-P) | Oxygen_Dissolved_SBE | Oxygen_Dissolved_SBE | Oxygen_Dissolved_SBE | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2009-03-0040.thn1 | 2009-03-0040.thn2 | 1 | 9.98 | 10.071 | 0 | 0.091001 | 6.832 | 6.852 | 0 | 0.020001
2009-03-0040.thn1 | 2009-03-0040.thn2 | 1 | 20.059 | 20.031 | 0 | -0.028 | 6.834 | 6.851 | 0 | 0.017
2009-03-0040.thn1 | 2009-03-0040.thn2 | 1 | 29.988 | 29.984 | 0 | -0.0040016 | 6.829 | 6.865 | 0 | 0.036
2009-03-0040.thn1 | 2009-03-0040.thn2 | 1 | 50.083 | 49.971 | 0 | -0.112 | 6.845 | 6.855 | 0 | 0.01
2009-03-0040.thn1 | 2009-03-0040.thn2 | 1 | 74.978 | 75.01 | 0 | 0.032005 | 6.826 | 6.849 | 0 | 0.023
2009-03-0040.thn1 | 2009-03-0040.thn2 | 1 | 100.039 | 100.012 | 0 | -0.027 | 6.811 | 6.81 | 0 | -0.00099993
2009-03-0040.thn1 | 2009-03-0040.thn2 | 1 | 124.999 | 125.005 | 0 | 0.0059967 | 6.035 | 6.261 | 0 | 0.226
2009-03-0040.thn1 | 2009-03-0040.thn2 | 1 | 149.874 | 149.98 | 0 | 0.106 | 4.477 | 5.123 | 0 | 0.646
2009-03-0040.thn1 | 2009-03-0040.thn2 | 1 | 199.931 | 199.979 | 0 | 0.048004 | 2.871 | 3.444 | 0 | 0.573
2009-03-0040.thn1 | 2009-03-0040.thn2 | 1 | 249.988 | 249.991 | 0 | 0.0029907 | 2.198 | 2.497 | 0 | 0.299
2009-03-0040.thn1 | 2009-03-0040.thn2 | 1 | 299.988 | 300.013 | 0 | 0.024994 | 1.619 | 1.823 | 0 | 0.204
2009-03-0040.thn1 | 2009-03-0040.thn2 | 1 | 400.008 | 400.027 | 0 | 0.019013 | 0.985 | 1.082 | 0 | 0.097
2009-03-0040.thn1 | 2009-03-0040.thn2 | 1 | 500.001 | 499.974 | 0 | -0.027008 | 0.769 | 0.797 | 0 | 0.028
2009-03-0040.thn1 | 2009-03-0040.thn2 | 1 | 600.116 | 600.02 | 0 | -0.096008 | 0.494 | 0.516 | 0 | 0.022
2009-03-0040.thn1 | 2009-03-0040.thn2 | 1 | 700.08 | 700.031 | 0 | -0.049011 | 0.468 | 0.478 | 0 | 0.01
2009-03-0040.thn1 | 2009-03-0040.thn2 | 1 | 799.988 | 799.975 | 0 | -0.013 | 0.412 | 0.42 | 0 | 0.008
2009-03-0040.thn1 | 2009-03-0040.thn2 | 1 | 900.006 | 899.969 | 0 | -0.036987 | 0.369 | 0.37 | 0 | 0.001
2009-03-0040.thn1 | 2009-03-0040.thn2 | 1 | 999.988 | 1000.01 | 0 | 0.020019 | 0.358 | 0.367 | 0 | 0.009
2009-03-0040.thn1 | 2009-03-0040.thn2 | 1 | 1100.03 | 1100.03 | 0 | -0.00097656 | 0.353 | 0.356 | 0 | 0.003
2009-03-0040.thn1 | 2009-03-0040.thn2 | 1 | 1200.03 | 1199.96 | 0 | -0.064941 | 0.32 | 0.318 | 0 | -0.002
2009-03-0040.thn1 | 2009-03-0040.thn2 | 1 | 1299.97 | 1300.02 | 0 | 0.047974 | 0.383 | 0.371 | 0 | -0.012
2009-03-0040.thn1 | 2009-03-0040.thn2 | 1 | 1399.98 | 1400 | 0 | 0.015015 | 0.45 | 0.454 | 0 | 0.004
2009-03-0040.thn1 | 2009-03-0040.thn2 | 1 | 1500.01 | 1500.01 | 0 | -0.0030518 | 0.547 | 0.567 | 0 | 0.02
2009-03-0040.thn1 | 2009-03-0040.thn2 | 1 | 1749.97 | 1750.01 | 0 | 0.040039 | 0.886 | 0.889 | 0 | 0.003
2009-03-0040.thn1 | 2009-03-0040.thn2 | 1 | 1999.97 | 1999.99 | 0 | 0.022949 | 1.229 | 1.243 | 0 | 0.014
Create Fit Sheet