## stns
2009-03 Jan/Feb LineP
Chlorophyll Data analyzed at sea Turner 10AU
Spreadsheet includes casts and 5 m bottles
Precision calculated from pairs of samples
Sp for 7 pairs from the same niskin bottle
Chlorophyll = 0.0230 for the range 0.31 to 1.26 ug/L
Cruise | Cast | Stn | Niskin | S.N. | Depth | Chlorophyll | Flag:CHL | Comments
|  |  | No. |  | db | ug/L
2009-03 | 1 | SI03 | 11 | 11 | 5 | 1.5715
2009-03 | 1 | SI03 | 10 | 10 | 10 | 0.51247
2009-03 | 1 | SI03 | 9 | 9 | 25 | 0.21912
2009-03 | 1 | SI03 | 8 | 8 | 50 | 0.089211 | c | cuvette contaminated with acid - value may be low
2009-03 | 1 | SI03 | 7 | 7 | 75 | 0.036521
2009-03 | 1 | SI03 | 6 | 6 | 100 | 0.055535
2009-03 | 3 | P1 | 1 | 12 | 5 | 1.0812
2009-03 | 4 | P2 | 13 | 25 | 5 | 1.0103
2009-03 | 4 | P2 | 8 | 20 | 10 | 0.93347
2009-03 | 4 | P2 | 7 | 19 | 25 | 0.32 | f
2009-03 | 4 | P2 | 5 | 17 | 50 | 0.27768
2009-03 | 4 | P2 | 4 | 16 | 75 | 0.14314
2009-03 | 4 | P2 | 3 | 15 | 75 | 0.14019
2009-03 | 4 | P2 | 2 | 14 | 100 |  | i | No chlorophyll sample drawn
2009-03 | 6 | P3 | 1 | 27 | 5 | 1.1545
2009-03 | 7 | P4 | 22 | 49 | 0 | 1.4002
2009-03 | 7 | P4 | 21 | 48 | 5 | 1.4416
2009-03 | 7 | P4 | 20 | 47 | 10 | 1.4281
2009-03 | 7 | P4 | 18 | 45 | 15 | 1.23 | f
2009-03 | 7 | P4 | 17 | 44 | 20 | 1.0753
2009-03 | 7 | P4 | 15 | 42 | 25 | 0.82367
2009-03 | 7 | P4 | 14 | 41 | 30 | 0.55535
2009-03 | 7 | P4 | 11 | 38 | 40 | 0.39466
2009-03 | 7 | P4 | 10 | 37 | 50 | 0.32494
2009-03 | 7 | P4 | 8 | 35 | 75 | 0.053331
2009-03 | 7 | P4 | 7 | 34 | 100 | 0.032591
2009-03 | 7 | P4 | 4 | 31 | 175 | 0.01477
2009-03 | 7 | P4 | 3 | 30 | 200 | 0.010666
2009-03 | 8 | P4 | 7 | 57 | 0 | 1.6602
2009-03 | 8 | P4 | 6 | 56 | 3 | 1.6365
2009-03 | 8 | P4 | 4 | 54 | 5 | 1.614
2009-03 | 8 | P4 | 3 | 53 | 12 | 1.4475
2009-03 | 8 | P4 | 1 | 51 | 40 | 0.3663
2009-03 | 15 | P5 | 1 | 122 | 5 | 1.1768
2009-03 | 16 | P6 | 1 | 123 | 5 | 0.93347
2009-03 | 17 | P7 | 1 | 124 | 5 | 0.36039
2009-03 | 18 | P8 | 24 | 148 | 5 | 0.46891
2009-03 | 18 | P8 | 19 | 143 | 10 | 0.43128
2009-03 | 18 | P8 | 18 | 142 | 25 | 0.46 | f
2009-03 | 18 | P8 | 16 | 140 | 50 | 0.46673
2009-03 | 18 | P8 | 15 | 139 | 75 | 0.28333
2009-03 | 18 | P8 | 14 | 138 | 100 | 0.062034
2009-03 | 21 | P9 | 1 | 149 | 5 | 0.45724
2009-03 | 22 | P10 | 1 | 150 | 5 | 0.38402
2009-03 | 23 | P11 | 1 | 151 | 5 | 0.45492
2009-03 | 31 | P12 | 23 | 239 | 0 | 0.38576
2009-03 | 31 | P12 | 22 | 238 | 5 | 0.3465 |  | Some sample spilt>wave
2009-03 | 31 | P12 | 20 | 236 | 10 | 0.39 | f
2009-03 | 31 | P12 | 18 | 234 | 15 | 0.3722
2009-03 | 31 | P12 | 17 | 233 | 20 | 0.38877
2009-03 | 31 | P12 | 15 | 231 | 25 | 0.38402
2009-03 | 31 | P12 | 14 | 230 | 30 | 0.38877 |  | Some sample spilt>wave
2009-03 | 31 | P12 | 11 | 227 | 40 | 0.3911
2009-03 | 31 | P12 | 10 | 226 | 50 | 0.40765
2009-03 | 31 | P12 | 8 | 224 | 75 | 0.40295
2009-03 | 31 | P12 | 7 | 223 | 100 | 0.36647 | c | Mis-trip
2009-03 | 32 | P15 | 3 | 243 | 5 | 0.3468
2009-03 | 33 | P16 | 7 | 250 | 0 | 0.34122
2009-03 | 33 | P16 | 6 | 249 | 5 | 0.31596
2009-03 | 33 | P16 | 5 | 248 | 9 | 0.33321
2009-03 | 33 | P16 | 4 | 247 | 18 | 0.34385
2009-03 | 33 | P16 | 3 | 246 | 32 | 0.34385
2009-03 | 33 | P16 | 2 | 245 | 37 | 0.34798
2009-03 | 33 | P16 | 1 | 244 | 80 | 0.35225
2009-03 | 34 | P16 | 23 | 273 | 0 | 0.44 | f
2009-03 | 34 | P16 | 22 | 272 | 5 | 0.35969
2009-03 | 34 | P16 | 20 | 270 | 10 | 0.38993
2009-03 | 34 | P16 | 18 | 268 | 15 | 0.4431
2009-03 | 34 | P16 | 17 | 267 | 20 | 0.36689
2009-03 | 34 | P16 | 15 | 265 | 25 | 0.3338
2009-03 | 34 | P16 | 14 | 264 | 30 | 0.3533
2009-03 | 34 | P16 | 11 | 261 | 40 | 0.34562
2009-03 | 34 | P16 | 10 | 260 | 50 | 0.33912
2009-03 | 34 | P16 | 8 | 258 | 75 | 0.3111
2009-03 | 34 | P16 | 7 | 257 | 100 | 0.14549
2009-03 | 37 | P20 | 23 | 345 | 0 | 0.56717
2009-03 | 37 | P20 | 22 | 344 | 5 | 0.58489
2009-03 | 37 | P20 | 20 | 342 | 10 | 0.38 | f
2009-03 | 37 | P20 | 18 | 340 | 15 | 0.37398
2009-03 | 37 | P20 | 17 | 339 | 20 | 0.35199
2009-03 | 37 | P20 | 15 | 337 | 25 | 0.39584
2009-03 | 37 | P20 | 14 | 336 | 30 | 0.40174
2009-03 | 37 | P20 | 11 | 333 | 40 | 0.37811
2009-03 | 37 | P20 | 10 | 332 | 50 | 0.37811
2009-03 | 37 | P20 | 8 | 330 | 75 | 0.36748
2009-03 | 37 | P20 | 7 | 329 | 100 | 0.24295
2009-03 | 37 | P20 | 7 | 425 |  |  | i | bottle did not close
2009-03 | 42 | P26 | 6 | 424 | 2.7 | 0.38993
2009-03 | 42 | P26 | 4 | 422 | 5 | 0.37811
2009-03 | 42 | P26 | 3 | 421 | 7 | 0.36706
2009-03 | 42 | P26 | 2 | 420 | 30 | 0.36216
2009-03 | 42 | P26 | 1 | 419 | 50 | 0.3722
2009-03 | 43/44 | P26 | 23 | 448 | 0 | 0.3598
2009-03 | 43/44 | P26 | 22 | 447 | 5 | 0.38517
2009-03 | 43/44 | P26 | 20 | 445 | 10 | 0.38 | f
2009-03 | 43/44 | P26 | 18 | 443 | 15 | 0.35376
2009-03 | 43/44 | P26 | 17 | 442 | 20 | 0.35684
2009-03 | 43/44 | P26 | 15 | 440 | 25 | 0.37575
2009-03 | 43/44 | P26 | 14 | 439 | 30 | 0.37398
2009-03 | 43/44 | P26 | 11 | 436 | 40 | 0.3728
2009-03 | 43/44 | P26 | 9 | 434 | 50 | 0.37811
2009-03 | 54 | P25 | 24 | 565 | 5 | 0.34385
2009-03 | 55 | P24 | 6 | 571 | 5 | 0.38288
2009-03 | 55 | P24 | 4 | 569 | 10 | 0.38813
2009-03 | 56 | P23 | 1 | 572 | 5 | 0.37693
2009-03 | 57 | P22 | 6 | 578 | 5 | 0.40174
2009-03 | 57 | P22 | 4 | 576 | 5 | 0.40644
2009-03 | 58 | P21 | 1 | 579 | 5 | 0.3911
2009-03 | 59 | P18 | 6 | 585 | 5 | 0.3722 |  | filtered 8 hours after sampling
2009-03 | 59 | P18 | 4 | 583 | 10 | 0.38993 |  | filtered 8 hours after sampling
2009-03 | 60 | P14 | 6 | 591 | 5 | 0.36689
2009-03 | 60 | P14 | 4 | 589 | 5 | 0.39702

## loops
Cruise 2009-03 | [7 empty] | "real" loop samples taken from the ship's seawater pump
27 January - 10 February 2009 | [7 empty] | surface samples taken from the Niskin bottle at 5 m
nutrients - Janet Barwell-Clarke
chl a, Doug Moore
CTD data NOT calibrated, Primary sensors used.
cast # | stn | serial # | yy | mo | day | utc | Latitude |  | Longitude |  | d.long | d.Lat | CTD P | CTD T | CTD | Bot | NO3 | Si | PO4 | Chl | QF:CHL | Comments
[6 empty] | hhmm | dd | mm.mm | ddd | mm.mm |  |  |  |  | Sal | Sal | uM | uM | uM | ug/L
2 | SI03 | 11 | 09 | 01 | 28 | 2336 | 48 | 35.46 | 123 | 30.05 | 123.5008 | 48.591 | 4.589 | 7.4425 | 29.3025 |  | 28 | 61.4 | 2.38 | 1.5715
| JF1 | usw | 09 | 01 | 29 | 0441 | 48 | 16.11 | 123 | 30 | 123.5 | 48.2685 |  |  |  |  | 28.2 | 48.8 | 2.21 | 0.34164
| JF2 | usw | 09 | 01 | 29 | 0622 | 48 | 18.05 | 124 | 0 | 124 | 48.3008 |  |  |  |  | 28.1 | 48.8 | 2.22 | 0.48446
| JF3 | usw | 09 | 01 | 29 | 0820 | 48 | 26.9 | 124 | 30.04 | 124.5007 | 48.4483 |  |  |  |  | 27.3 | 47.2 | 2.16 | 0.50218
| JF4 | usw | 09 | 01 | 29 | 1044 | 48 | 32.33 | 125 | 0.15 | 125.0025 | 48.5388 |  |  |  |  | 14.2 | 25.3 | 1.25 | 1.29
3 | P1 | 12 | 09 | 01 | 29 | 1320 | 48 | 34.51 | 125 | 29.93 | 125.4988 | 48.5752 | 5.953 | 7.108 | 31.5476 |  | 17.1 | 27.9 | 1.42 | 1.0812
4 | P2 | 25 | 09 | 01 | 29 | 1602 | 48 | 36.02 | 126 | 0.08 | 126.0013 | 48.6003 | 4.986 | 6.7632 | 29.9083 |  | 16.4 | 30.3 | 1.27 | 1.0103
6 | P3 | 27 | 09 | 01 | 29 | 1840 | 48 | 37.49 | 126 | 19.99 | 126.3332 | 48.6248 | 4.86 | 6.7618 | 29.8291 |  | 16.1 | 30 | 1.28 | 1.1545
| P3 | usw | 09 | 01 | 29 | 1840 | 48 | 37.49 | 126 | 19.99 | 126.3332 | 48.6248 |  |  |  |  | 16.2 | 29.8 | 1.29 | 1.1781
7 | P4 | 48 | 09 | 01 | 29 | 2059 | 48 | 39.04 | 126 | 40.08 | 126.668 | 48.6507 | 3.555 | 7.5533 | 31.7727 |  | 13.1 | 20.5 | 1.19 | 1.4416
9 | P4 | 80 | 09 | 01 | 29 | 2353 | 48 | 39.02 | 126 | 40.02 | 126.667 | 48.6503 | 4.857 | 7.5004 | 31.6935 |  | 13.7 | 21.6 | 1.26 |  | i
15 | P5 | 122 | 09 | 01 | 30 | 0823 | 48 | 41.56 | 127 | 10.02 | 127.167 | 48.6927 | 4.87 | 7.8494 | 32.2377 |  | 8.8 | 10.9 | 0.95 | 1.1768
16 | P6 | 123 | 09 | 01 | 30 | 1153 | 48 | 44.63 | 127 | 39.73 | 127.6622 | 48.7438 | 5.384 | 7.6832 | 32.3043 |  | 8.2 | 9.7 | 0.92 | 0.93347
17 | P7 | 124 | 09 | 01 | 30 | 1522 | 48 | 46.61 | 128 | 9.94 | 128.1657 | 48.7768 | 5.152 | 7.3395 | 32.3779 |  | 9.5 | 13.1 | 1.04 | 0.36039
18 | P8 | 148 | 09 | 01 | 30 | 1934 | 48 | 48.99 | 128 | 39.94 | 128.6657 | 48.8165 | 4.608 | 7.4689 | 32.4432 |  | 9.4 | 10.8 | 0.99 | 0.46891
21 | P9 | 149 | 09 | 01 | 31 | 0219 | 48 | 51.43 | 129 | 09.84 | 129.164 | 48.8572 | 6.638 | 7.7345 | 32.4618 |  | 8.8 | 10.1 | 0.98 | 0.45724
| P9 | usw | 09 | 01 | 31 | 0219 | 48 | 51.43 | 129 | 09.84 | 129.164 | 48.8572 |  |  |  |  | 8.5 | 10.3 | 0.97 | 0.46673
22 | P10 | 150 | 09 | 01 | 31 | 0700 | 48 | 53.63 | 129 | 39.97 | 129.6662 | 48.8938 | 4.466 | 7.5724 | 32.4571 |  | 9.2 | 11 | 1.01 | 0.38402
23 | P11 | 151 | 09 | 01 | 31 | 1122 | 48 | 55.9 | 130 | 10.34 | 130.1723 | 48.9317 | 5.65 | 7.4046 | 32.4463 |  | 9.4 | 11.5 | 1.08 | 0.45492
27 | P12 | 216 | 09 | 01 | 31 | 2005 | 48 | 58.61 | 130 | 39.82 | 130.6637 | 48.9768 | 4.727 | 7.6228 | 32.427 |  | 9 | 10.4 | 1 |  | i
31 | P12 | 238 | 09 | 02 | 01 | 0122 | 48 | 58.55 | 130 | 40.46 | 130.6743 | 48.9758 | 3.906 | 7.6397 | 32.4457 |  | 9.3 | 10.4 | 0.99 | 0.3465
32 | P15 | 243 | 09 | 02 | 01 | 1902 | 49 | 12.05 | 133 | 39.91 | 133.6652 | 49.2008 | 5.55 | 7.0403 | 32.3991 |  | 11.1 | 13.4 | 1.1 | 0.3468
| P15 | [15 empty] | 11.2 | 13.3 | 1.11 | 0.33439
33 | P16 | 249 | 09 | 02 | 01 | 2351 | 49 | 17.07 | 134 | 40.02 | 134.667 | 49.2845 | 5.269 | 6.8997 | 32.4163 |  | 11.6 | 13.8 | 1.12 | 0.31596
34 | P16 | 272 | 09 | 02 | 02 | 0102 | 49 | 17.06 | 134 | 39.82 | 134.6637 | 49.2843 | 5.678 | 6.8978 | 32.4136 |  | 11.4 | 13.9 | 1.12 | 0.35969
35 | P16 | 298 | 09 | 02 | 02 | 0442 | 49 | 17.03 | 134 | 39.78 | 134.663 | 49.2838 | 4.205 | 6.8924 | 32.4156 |  | 11.4 | 13.5 | 1.1 |  | i
37 | P20 | 344 | 09 | 02 | 03 | 0021 | 49 | 33.94 | 138 | 40.13 | 138.6688 | 49.5657 | 4.855 | 6.4004 | 32.4465 |  | 12.7 | 14.9 | 1.19 | 0.58489
38 | P20 | 370 | 09 | 02 | 03 | 0341 | 49 | 33.95 | 138 | 40.02 | 138.667 | 49.5658 | 5.032 | 6.3959 | 32.4658 |  | 12.7 | 14.7 | 1.17 |  | i
| P23 | usw | 09 | 02 | 03 | 1834 | 49 | 46.12 | 141 | 41.45 | 141.6908 | 49.7687 |  |  |  |  | 12.4 | 14.5 | 1.18 | 0.42665
| P24 | usw | 09 | 02 | 03 | 2341 | 49 | 50.23 | 142 | 39.32 | 142.6553 | 49.8372 |  |  |  |  | 12 | 15.5 | 1.14 | 0.78812
40 | P26 | 418 | 09 | 02 | 04 | 1938 | 49 | 59.73 | 145 | 0.49 | 145.0082 | 49.9955 | 5.212 | 5.8787 | 32.7566 |  | 14.8 | 20.5 | 1.34 |  | i
42 | P26 | 422 | 09 | 02 | 05 | 0238 | 49 | 59.89 | 144 | 59.57 | 144.9928 | 49.9982 | 4.531 | 5.988 | 32.5664 |  | 14.5 | 21.3 | 1.32 | 0.37811
44 | P26 | 447 | 09 | 02 | 05 | 0400 | 49 | 59.78 | 144 | 59.53 | 144.9922 | 49.9963 | 3.642 | 6.0496 | 32.5753 |  | 14.4 | 21.4 | 1.32 | 0.38517
54 | P25 | 565 | 09 | 02 | 06 | 0317 | 50 | 0.03 | 143 | 36.37 | 143.6062 | 50.0005 | 7.16 | 6.1874 | 32.5645 |  | 12.8 | 16.9 | 1.24 | 0.34385
55 | P24 | 571 | 09 | 02 | 06 | 0759 | 49 | 50.21 | 142 | 39.95 | 142.6658 | 49.8368 | 6.225 | 6.6629 | 32.5665 |  | 11.6 | 16.1 | 1.17 | 0.38288
56 | P23 | 572 | 09 | 02 | 06 | 1211 | 49 | 46.1 | 141 | 39.94 | 141.6657 | 49.7683 | 5.38 | 6.487 | 32.5223 |  | 12.1 | 14.7 | 1.22 | 0.37693
| P23 | usw | 09 | 02 | 06 | 1211 | 49 | 46.1 | 141 | 39.94 | 141.6657 | 49.7683 |  |  |  |  | 12.2 | 15.1 | 1.26 | 0.38402
57 | P22 | 578 | 09 | 02 | 06 | 1704 | 49 | 42.06 | 140 | 39.87 | 140.6645 | 49.701 | 5.254 | 6.2287 | 32.5236 |  | 12.8 | 15.5 | 1.25 | 0.40174
58 | P21 | 579 | 09 | 02 | 06 | 2140 | 49 | 38.03 | 139 | 39.74 | 139.6623 | 49.6338 | 6.137 | 6.3541 | 32.5116 |  | 12.5 | 15.2 | 1.23 | 0.3911 |  | chl filter dropped on lab bench
| P21 | usw | 09 | 02 | 06 | 2140 | 49 | 38.03 | 139 | 39.74 | 139.6623 | 49.6338 |  |  |  |  | 12.5 | 15 | 1.24 | 0.41947
| P19 | usw | [14 empty] | 12.4 | 14.6 | 1.22 | 0.41356
59 | P18 | 585 | 09 | 02 | 07 | 1049 | 49 | 26.03 | 136 | 40 | 136.6667 | 49.4338 | 5.394 | 6.4982 | 32.4599 |  | 12 | 13.9 | 1.2 | 0.3722
60 | P14 | 591 | 09 | 02 | 08 | 0506 | 49 | 7.41 | 132 | 40.01 | 132.6668 | 49.1235 | 4.807 | 7.0799 | 32.4077 |  | 10.8 | 13.1 | 1.11 | 0.36689

## Precision
Averaging Duplicates
File: Cocc2008-01\nutrients\February 6 Nutrient Summary 2008-01
Date : February 6, 2008
Station | Cast | Sample # | Depth | N | Chl a | Chl a diff sq
P2 | 4 | 19 a | 25 | 7 | 0.33085
P2 | 4 | 19 b | 25 | 7 | 0.30539 | 0.00064797
0.31812
P4 | 7 | 45 a | 15 | 18 | 1.1934
P4 | 7 | 45 b | 15 | 18 | 1.2643 | 0.0050263
1.2289
P8 | 18 | 142 a | 25 | 18 | 0.45492
P8 | 18 | 142 b | 25 | 18 | 0.46673 | 0.00013962
0.46082
P12 | 31 | 236 a | 10 | 20 | 0.39584
P12 | 31 | 236 b | 10 | 20 | 0.38993 | 3.4905e-05
0.39288
P16 | 34 | 273 a | 0 | 23 | 0.42538
P16 | 34 | 273 b | 0 | 23 | 0.45356 | 0.00079446
0.43947
P20 | 37 | 342 a | 10 | 20 | 0.39347
P20 | 37 | 342 b | 10 | 20 | 0.3722 | 0.00045236
0.38284
P26 | 44 | 445a | 10 |  | 0.39702
P26 | 44 | 443b | 10 |  | 0.36815 | 0.00083349
0.38259
[7 empty] | SUM OF (X-Y)SQ | 0.0079291
[7 empty] | COUNT | 7
[7 empty] | SUM/2*COUNT | 0.00056636
[7 empty] | SQRT(SUM/2*COUNT) | 0.023798
[7 empty] | min | 0.30539
[7 empty] | max | 1.2643

## Loops comp
Date | Sample | Station | Sampling | Niskin | Cast | Nominal | Volume | Vol.acet. | Before | After | Chl.a | Phaeo | RATIO | Scale | Comments
(analyzed) | Number |  | Date | Number | no. | Depth | Filtered | (ml) | acid | acid | ug/l |  | Rb/Ra
(local) |  |  | UTC |  |  |  | (ml) |  |  |  |  | ug/L
| Loop | P3 | 2009-01-29 |  |  |  | 336 | 10 | 49.2 | 29.2 | 1.1781 | 0.42152 | 1.6849
| 27 | P3 | 2009-01-29 | 1 | 6 | 5 | 336 | 10 | 47 | 27.4 | 1.1545 | 0.34647 | 1.7153
| Loop | P9 | 2009-01-31 |  |  |  | 335 | 10 | 20.7 | 12.8 | 0.46673 | 0.23656 | 1.6172
| 149 | P9 | 2009-01-31 | 1 | 21 | 5 | 303 | 10 | 19.3 | 12.3 | 0.45724 | 0.28995 | 1.5691
| Loop | P15 | 2009-02-01 |  |  |  | 335 | 10 | 14.5 | 8.84 | 0.33439 | 0.15132 | 1.6403
| 243 | P15 | 2009-02-01 | 1 | 32 | 5 | 335 | 10 | 15 | 9.13 | 0.3468 | 0.15484 | 1.6429
| Loop | P23 | 2009-02-06 |  |  |  | 335 | 10 | 16.8 | 10.3 | 0.38402 | 0.18191 | 1.6311
| 572 | P23 | 2009-02-06 | 1 | 56 | 5 | 335 | 10 | 16.3 | 9.92 | 0.37693 | 0.16812 | 1.6431

## raw chl
Cruise 2009-03 chlorophyll analysis
Analyzed using Water Properties Turner 10 AU calibrated with pure chlorophyll a April 23, 2008
Samples analyzed on cruise 2009-03 by
April 23, 2008: chl (ug/L)= 0.9537*(1.93/(1.93-1)*(Fo-Fa)*(vol ext/vol filtered)
April 23, 2008: phaeo (ug/L)= 0.9537*(1.93/(1.93-1)*((1.93*Fa)-Fo)*1(vol ext/vol filtered)
Date | Sample | Station | Sampling | Niskin | Cast | Nominal | Volume | Vol.acet. | Before | After | Chl.a | Phaeo | RATIO | Scale | Comments
(analyzed) | Number |  | Date | Number | no. | Depth | Filtered | (ml) | acid | acid | ug/l |  | Rb/Ra
(local) |  |  | UTC |  |  |  | (ml) |  |  |  |  | ug/L
| 6 | Si03 | 2009-01-28 | 6 | 1 | 100 | 335 | 10 | 6.47 | 5.53 | 0.055535 | 0.24831 | 1.17
| 7 | Si03 | 2009-01-28 | 7 | 1 | 75 | 336 | 10 | 4.85 | 4.23 | 0.036521 | 0.1952 | 1.1466
| 8 | Si03 | 2009-01-28 | 8 | 1 | 50 | 335 | 10 | 6.75 | 5.24 | 0.089211 | 0.1987 | 1.2882 |  | same cuvette as #7
| 9 | Si03 | 2009-01-28 | 9 | 1 | 25 | 336 | 10 | 12.6 | 8.88 | 0.21912 | 0.26733 | 1.4189
| 10 | Si03 | 2009-01-28 | 10 | 1 | 10 | 336 | 10 | 26.3 | 17.6 | 0.51247 | 0.45168 | 1.4943
| 11 | Si03 | 2009-01-28 | 11 | 1 | 5 | 335 | 10 | 70.6 | 44 | 1.5715 | 0.84603 | 1.6045
| Loop | JF1 | 2009-01-29 |  |  |  | 336 | 10 | 16.5 | 10.7 | 0.34164 | 0.24451 | 1.5421
| Loop | JF2 | 2009-01-29 |  |  |  | 335 | 10 | 22.4 | 14.2 | 0.48446 | 0.29576 | 1.5775
| Loop | JF3 | 2009-01-29 |  |  |  | 335 | 10 | 23.3 | 14.8 | 0.50218 | 0.311 | 1.5743
| Loop | JF4 | 2009-01-29 |  |  |  | 336 | 10 | 54 | 32.1 | 1.29 | 0.46847 | 1.6822
| 12 | P1 | 2009-01-29 | 1 | 3 | 5 | 335 | 10 | 44.3 | 26 | 1.0812 | 0.34739 | 1.7038
| 14 | P2 | 2009-01-29 | 2 | 4 | 100 |  | 10 | [6 empty] | no sample
| 15 | P2 | 2009-01-29 | 3 | 4 | 75 | 336 | 10 | 9.79 | 7.41 | 0.14019 | 0.26573 | 1.3212
| 16 | P2 | 2009-01-29 | 4 | 4 | 75 | 336 | 10 | 9.78 | 7.35 | 0.14314 | 0.2595 | 1.3306
| 17 | P2 | 2009-01-29 | 5 | 4 | 50 | 335 | 10 | 16.1 | 11.4 | 0.27768 | 0.34869 | 1.4123
| 19 a | P2 | 2009-01-29 | 7 | 4 | 25 | 335 | 10 | 17.4 | 11.8 | 0.33085 | 0.3175 | 1.4746
| 19 b | P2 | 2009-01-29 | 7 | 4 | 25 | 337 | 10 | 16 | 10.8 | 0.30539 | 0.28449 | 1.4815
| 20 | P2 | 2009-01-29 | 8 | 4 | 10 | 335 | 10 | 40.5 | 24.7 | 0.93347 | 0.42366 | 1.6397
| 25 | P2 | 2009-01-29 | 13 | 4 | 5 | 335 | 10 | 43.3 | 26.2 | 1.0103 | 0.42928 | 1.6527
| 27 | P3 | 2009-01-29 | 1 | 6 | 5 | 336 | 10 | 47 | 27.4 | 1.1545 | 0.34647 | 1.7153
| Loop | P3 | 2009-01-29 |  |  |  | 336 | 10 | 49.2 | 29.2 | 1.1781 | 0.42152 | 1.6849
| 31 | P4 | 2009-01-29 | 4 | 7 | 175 | 335 | 10 | 1.82 | 1.57 | 0.01477 | 0.071493 | 1.1592 |  | added row=not in table but there was a sample
| 30 | P4 | 2009-01-29 | 3 | 7 | 200 | 334 | 10 | 1.45 | 1.27 | 0.010666 | 0.059322 | 1.1417 |  | added row=not in table but there was a sample
| 34 | P4 | 2009-01-29 | 7 | 7 | 100 | 334 | 10 | 3.34 | 2.79 | 0.032591 | 0.12116 | 1.1971
| 35 | P4 | 2009-01-29 | 8 | 7 | 75 | 334 | 10 | 3.99 | 3.09 | 0.053331 | 0.11696 | 1.2913
| 37 | P4 | 2009-01-29 | 10 | 7 | 50 | 335 | 10 | 16.9 | 11.4 | 0.32494 | 0.30143 | 1.4825
| 38 | P4 | 2009-01-29 | 11 | 7 | 40 | 336 | 10 | 19.2 | 12.5 | 0.39466 | 0.2901 | 1.536
| 41 | P4 | 2009-01-29 | 14 | 7 | 30 | 335 | 10 | 25.7 | 16.3 | 0.55535 | 0.34024 | 1.5767
| 42 | P4 | 2009-01-29 | 15 | 7 | 25 | 334 | 10 | 37.3 | 23.4 | 0.82367 | 0.46588 | 1.594
| 44 | P4 | 2009-01-29 | 17 | 7 | 20 | 335 | 10 | 46 | 27.8 | 1.0753 | 0.4522 | 1.6547
| 45 a | P4 | 2009-01-29 | 18 | 7 | 15 | 335 | 10 | 50.7 | 30.5 | 1.1934 | 0.48239 | 1.6623
| 45 b | P4 | 2009-01-29 | 18 | 7 | 15 | 335 | 10 | 53.2 | 31.8 | 1.2643 | 0.48292 | 1.673
| 47 | P4 | 2009-01-29 | 20 | 7 | 10 | 334 | 10 | 60 | 35.9 | 1.4281 | 0.55032 | 1.6713
| 48 | P4 | 2009-01-29 | 21 | 7 | 5 | 335 | 10 | 61.4 | 37 | 1.4416 | 0.59139 | 1.6595
| 49 | P4 | 2009-01-29 | 22 | 7 | 0 | 335 | 10 | 60.1 | 36.4 | 1.4002 | 0.59978 | 1.6511
| 51 | P4 | 2009-01-29 | 1 | 8 | 47 | 335 | 10 | 18.5 | 12.3 | 0.3663 | 0.30952 | 1.5041
| 53 | P4 | 2009-01-29 | 3 | 8 | 15 | 335 | 10 | 60.1 | 35.6 | 1.4475 | 0.50856 | 1.6882
| 54 | P4 | 2009-01-29 | 4 | 8 | 7 | 336 | 10 | 66 | 38.6 | 1.614 | 0.50057 | 1.7098
| 56 | P4 | 2009-01-29 | 6 | 8 | 3 | 335 | 10 | 67.4 | 39.7 | 1.6365 | 0.54478 | 1.6977
| 57 | P4 | 2009-01-29 | 7 | 8 | 0 | 335 | 10 | 67.5 | 39.4 | 1.6602 | 0.50466 | 1.7132
| 122 | P5 | 2009-01-30 | 1 | 15 | 5 | 333 | 10 | 46.8 | 27 | 1.1768 | 0.3156 | 1.7333 |  | Generic vol.
| 123 | P6 | 2009-01-30 | 1 | 16 | 5 | 335 | 10 | 40 | 24.2 | 0.93347 | 0.39619 | 1.6529
| 124 | P7 | 2009-01-30 | 1 | 17 | 5 | 335 | 10 | 22.5 | 16.4 | 0.36039 | 0.5407 | 1.372
| 138 | P8 | 2009-01-30 | 14 | 18 | 100 | 335 | 10 | 3.82 | 2.77 | 0.062034 | 0.090162 | 1.3791
| 139 | P8 | 2009-01-30 | 15 | 18 | 75 | 336 | 10 | 14 | 9.19 | 0.28333 | 0.22011 | 1.5234
| 140 | P8 | 2009-01-30 | 16 | 18 | 50 | 335 | 10 | 20.8 | 12.9 | 0.46673 | 0.24205 | 1.6124
| 142 a | P8 | 2009-01-30 | 18 | 18 | 25 | 335 | 10 | 20 | 12.3 | 0.45492 | 0.2209 | 1.626
| 142 b | P8 | 2009-01-30 | 18 | 18 | 25 | 335 | 10 | 20.2 | 12.3 | 0.46673 | 0.20908 | 1.6423
| 143 | P8 | 2009-01-30 | 19 | 18 | 10 | 335 | 10 | 19.7 | 12.4 | 0.43128 | 0.25003 | 1.5887
| 148 | P8 | 2009-01-30 | 24 | 18 | 5 | 325 | 10 | 20.5 | 12.8 | 0.46891 | 0.25602 | 1.6016 |  | Lost~10 ml.
| 149 | P9 | 2009-01-31 | 1 | 21 | 5 | 303 | 10 | 19.3 | 12.3 | 0.45724 | 0.28995 | 1.5691 |  | ? Vol.
| Loop | P9 | 2009-01-31 |  |  |  | 335 | 10 | 20.7 | 12.8 | 0.46673 | 0.23656 | 1.6172
| 150 | P10 | 2009-01-31 | 1 | 22 | 5 | 335 | 10 | 17 | 10.5 | 0.38402 | 0.1929 | 1.619 |  | Generic vol.
| 151 | P11 | 2009-01-31 | 1 | 23 | 5 | 335 | 10 | 19.8 | 12.1 | 0.45492 | 0.20991 | 1.6364
| 223 | P12 | 2009-02-01 | 7 | 31 | 100 | 337 | 10 | 16.2 | 9.96 | 0.36647 | 0.17753 | 1.6265
| 224 | P12 | 2009-02-01 | 8 | 31 | 75 | 334 | 10 | 17.7 | 10.9 | 0.40295 | 0.19774 | 1.6239
| 226 | P12 | 2009-02-01 | 10 | 31 | 50 | 335 | 10 | 17.7 | 10.8 | 0.40765 | 0.18575 | 1.6389
| 227 | P12 | 2009-02-01 | 11 | 31 | 40 | 334 | 10 | 16.9 | 10.3 | 0.3911 | 0.17653 | 1.6408
| 230 | P12 | 2009-02-01 | 14 | 31 | 30 | 336 | 10 | 17.2 | 10.6 | 0.38877 | 0.19191 | 1.6226 |  | Some sample spilt>wave
| 231 | P12 | 2009-02-01 | 15 | 31 | 25 | 335 | 10 | 16.7 | 10.2 | 0.38402 | 0.17641 | 1.6373
| 233 | P12 | 2009-02-01 | 17 | 31 | 20 | 336 | 10 | 17 | 10.4 | 0.38877 | 0.18095 | 1.6346
| 234 | P12 | 2009-02-01 | 18 | 31 | 15 | 335 | 10 | 16.4 | 10.1 | 0.3722 | 0.18273 | 1.6238
| 236 a | P12 | 2009-02-01 | 20 | 31 | 10 | 335 | 10 | 17.3 | 10.6 | 0.39584 | 0.18658 | 1.6321
| 236 b | P12 | 2009-02-01 | 20 | 31 | 10 | 335 | 10 | 17.2 | 10.6 | 0.38993 | 0.19248 | 1.6226
| 238 | P12 | 2009-02-01 | 22 | 31 | 5 | 337 | 10 | 20.2 | 14.3 | 0.3465 | 0.43454 | 1.4126 |  | Some sample spilt>wave
| 239 | P12 | 2009-02-01 | 23 | 31 | 0 | 334 | 10 | 16.4 | 9.89 | 0.38576 | 0.15927 | 1.6582
| 243 | P15 | 2009-02-01 | 1 | 32 | 5 | 335 | 10 | 15 | 9.13 | 0.3468 | 0.15484 | 1.6429 |  | Generic vol.
| Loop | P15 | 2009-02-01 |  |  |  | 335 | 10 | 14.5 | 8.84 | 0.33439 | 0.15132 | 1.6403
| 244 | P16 | 2009-02-01 | 1 | 33 | 80 | 336 | 10 | 15.8 | 9.82 | 0.35225 | 0.1857 | 1.609
| 245 | P16 | 2009-02-01 | 2 | 33 | 37 | 335 | 10 | 15.3 | 9.41 | 0.34798 | 0.16905 | 1.6259
| 246 | P16 | 2009-02-01 | 3 | 33 | 32 | 335 | 10 | 15.4 | 9.58 | 0.34385 | 0.18252 | 1.6075
| 247 | P16 | 2009-02-01 | 4 | 33 | 18 | 335 | 10 | 15.3 | 9.48 | 0.34385 | 0.17703 | 1.6139
| 248 | P16 | 2009-02-01 | 5 | 33 | 9 | 335 | 10 | 15 | 9.36 | 0.33321 | 0.18107 | 1.6026
| 249 | P16 | 2009-02-01 | 6 | 33 | 5 | 337 | 10 | 14.9 | 9.52 | 0.31596 | 0.204 | 1.5651
| 250 | P16 | 2009-02-01 | 7 | 33 | 0 | 337 | 10 | 15.4 | 9.59 | 0.34122 | 0.18257 | 1.6058
| 257 | P16 | 2009-02-02 | 7 | 34 | 100 | 336 | 10 | 7.49 | 5.02 | 0.14549 | 0.12951 | 1.492
| 258 | P16 | 2009-02-02 | 8 | 34 | 75 | 334 | 10 | 14.3 | 9.05 | 0.3111 | 0.18764 | 1.5801
| 260 | P16 | 2009-02-02 | 10 | 34 | 50 | 335 | 10 | 15.4 | 9.66 | 0.33912 | 0.19164 | 1.5942
| 261 | P16 | 2009-02-02 | 11 | 34 | 40 | 335 | 10 | 15.3 | 9.45 | 0.34562 | 0.17361 | 1.619
| 264 | P16 | 2009-02-02 | 14 | 34 | 30 | 335 | 10 | 15.9 | 9.92 | 0.3533 | 0.19175 | 1.6028
| 265 | P16 | 2009-02-02 | 15 | 34 | 25 | 335 | 10 | 15.2 | 9.55 | 0.3338 | 0.19092 | 1.5916
| 267 | P16 | 2009-02-02 | 17 | 34 | 20 | 335 | 10 | 16.2 | 9.99 | 0.36689 | 0.18201 | 1.6216
| 268 | P16 | 2009-02-02 | 18 | 34 | 15 | 335 | 10 | 19.2 | 11.7 | 0.4431 | 0.19975 | 1.641
| 270 | P16 | 2009-02-02 | 20 | 34 | 10 | 335 | 10 | 17 | 10.4 | 0.38993 | 0.18149 | 1.6346
| 272 | P16 | 2009-02-02 | 22 | 34 | 5 | 334 | 10 | 15.7 | 9.63 | 0.35969 | 0.17101 | 1.6303
| 273 a | P16 | 2009-02-02 | 23 | 34 | 0 | 335 | 10 | 18.6 | 11.4 | 0.42538 | 0.20099 | 1.6316
| 273 b | P16 | 2009-02-02 | 23 | 34 | 0 | 336 | 10 | 19.3 | 11.6 | 0.45356 | 0.1819 | 1.6638
| 329 | P20 | 2009-02-03 | 7 | 37 | 100 | 334 | 10 | 11.1 | 7 | 0.24295 | 0.14281 | 1.5857
| 330 | P20 | 2009-02-03 | 8 | 37 | 75 | 335 | 10 | 15.9 | 9.68 | 0.36748 | 0.16438 | 1.6426
| 332 | P20 | 2009-02-03 | 10 | 37 | 50 | 335 | 10 | 16.6 | 10.2 | 0.37811 | 0.18232 | 1.6275
| 333 | P20 | 2009-02-03 | 11 | 37 | 40 | 335 | 10 | 16.4 | 10 | 0.37811 | 0.17133 | 1.64
| 336 | P20 | 2009-02-03 | 14 | 37 | 30 | 335 | 10 | 17 | 10.2 | 0.40174 | 0.15869 | 1.6667
| 337 | P20 | 2009-02-03 | 15 | 37 | 25 | 335 | 10 | 17 | 10.3 | 0.39584 | 0.17009 | 1.6505
| 339 | P20 | 2009-02-03 | 17 | 37 | 20 | 334 | 10 | 15.2 | 9.26 | 0.35199 | 0.15832 | 1.6415
| 340 | P20 | 2009-02-03 | 18 | 37 | 15 | 335 | 10 | 16.2 | 9.87 | 0.37398 | 0.16833 | 1.6413
| 342 a | P20 | 2009-02-03 | 20 | 37 | 10 | 335 | 10 | 16.6 | 9.94 | 0.39347 | 0.15267 | 1.67
| 342 b | P20 | 2009-02-03 | 20 | 37 | 10 | 335 | 10 | 16.1 | 9.8 | 0.3722 | 0.16625 | 1.6429
| 344 | P20 | 2009-02-03 | 22 | 37 | 5 | 335 | 10 | 24.2 | 14.3 | 0.58489 | 0.20081 | 1.6923
| 345 | P20 | 2009-02-03 | 23 | 37 | 0 | 335 | 10 | 23.9 | 14.3 | 0.56717 | 0.21854 | 1.6713
| Loop | P23 | 2009-02-03 |  |  |  | 334 | 10 | 18.1 | 10.9 | 0.42665 | 0.17404 | 1.6606
| Loop | P24 | 2009-02-03 |  |  |  | 334 | 10 | 26.6 | 13.3 | 0.78812 | -0.055168 | 2
| 419 | P26 | 2009-02-05 | 1 | 42 | 50 | 335 | 10 | 16.3 | 10 | 0.3722 | 0.17724 | 1.63
| 420 | P26 | 2009-02-05 | 2 | 42 | 30 | 335 | 10 | 15.4 | 9.27 | 0.36216 | 0.14717 | 1.6613
| 421 | P26 | 2009-02-05 | 3 | 42 | 5 | 337 | 10 | 16.1 | 9.85 | 0.36706 | 0.17093 | 1.6345
| 422 | P26 | 2009-02-05 | 4 | 42 | 5 | 335 | 10 | 16.4 | 10 | 0.37811 | 0.17133 | 1.64
| 424 | P26 | 2009-02-05 | 6 | 42 | 0 | 335 | 10 | 16.6 | 10 | 0.38993 | 0.15952 | 1.66
| 434 | P26 | 2009-02-05 | 9 | 44 | 50 | 335 | 10 | 16.2 | 9.8 | 0.37811 | 0.16034 | 1.6531
| 436 | P26 | 2009-02-05 | 11 | 44 | 40 | 335 | 10 | 15.9 | 9.59 | 0.3728 | 0.15412 | 1.658
| 439 | P26 | 2009-02-05 | 14 | 44 | 30 | 335 | 10 | 16 | 9.67 | 0.37398 | 0.15734 | 1.6546
| 440 | P26 | 2009-02-05 | 15 | 44 | 25 | 335 | 10 | 16.3 | 9.94 | 0.37575 | 0.1704 | 1.6398
| 442 | P26 | 2009-02-05 | 17 | 44 | 20 | 335 | 10 | 15.6 | 9.56 | 0.35684 | 0.16843 | 1.6318
| 443 | P26 | 2009-02-05 | 18 | 44 | 15 | 334 | 10 | 15.5 | 9.53 | 0.35376 | 0.17142 | 1.6264
| 445A | P26 | 2009-02-05 | 20 | 44 | 10 | 334 | 10 | 17 | 10.3 | 0.39702 | 0.1706 | 1.6505
| 445B | P26 | 2009-02-05 | 20 | 44 | 10 | 336 | 10 | 16.1 | 9.85 | 0.36815 | 0.17144 | 1.6345
| 447 | P26 | 2009-02-05 | 22 | 44 | 5 | 334 | 10 | 16.4 | 9.9 | 0.38517 | 0.16041 | 1.6566
| 448 | P26 | 2009-02-05 | 23 | 44 | 0 | 335 | 10 | 15.6 | 9.51 | 0.3598 | 0.16272 | 1.6404
| 565 | P25 | 2009-02-06 | 24 | 54 | 5 | 335 | 10 | 14.8 | 8.98 | 0.34385 | 0.14956 | 1.6481
| 569 | P24 | 2009-02-06 | 4 | 55 | 10 | 334 | 10 | 16.3 | 9.75 | 0.38813 | 0.14918 | 1.6718
| 571 | P24 | 2009-02-06 | 6 | 55 | 5 | 336 | 10 | 16.6 | 10.1 | 0.38288 | 0.17041 | 1.6436
| 572 | P23 | 2009-02-06 | 1 | 56 | 5 | 335 | 10 | 16.3 | 9.92 | 0.37693 | 0.16812 | 1.6431
| Loop | P23 | 2009-02-06 |  |  |  | 335 | 10 | 16.8 | 10.3 | 0.38402 | 0.18191 | 1.6311
| 576 | P22 | 2009-02-06 | 4 | 57 | 10 | 336 | 10 | 17.2 | 10.3 | 0.40644 | 0.1578 | 1.6699
| 578 | P22 | 2009-02-06 | 6 | 57 | 5 | 335 | 10 | 17.3 | 10.5 | 0.40174 | 0.17517 | 1.6476
| 579 | P21 | 2009-02-06 | 1 | 58 | 5 | 334 | 10 | 16.9 | 10.3 | 0.3911 | 0.17653 | 1.6408
| Loop | P21 | 2009-02-06 |  |  |  | 335 | 10 | 17.9 | 10.8 | 0.41947 | 0.17393 | 1.6574
| Loop | P-19 |  |  |  |  | 335 | 10 | 17.8 | 10.8 | 0.41356 | 0.17984 | 1.6481
| 583 | P18 | 2009-02-07 | 4 | 59 | 10 | 335 | 10 | 17.7 | 11.1 | 0.38993 | 0.21996 | 1.5946 |  | filtered 8 hours after sampling
| 585 | P18 | 2009-02-07 | 6 | 59 | 5 | 335 | 10 | 16.4 | 10.1 | 0.3722 | 0.18273 | 1.6238 |  | filtered 8 hours after sampling
| 589 | P14 | 2009-02-08 | 4 | 60 | 10 | 335 | 10 | 14 | 7.28 | 0.39702 | 0.0029776 | 1.9231 |  | To be analyzed Feb 13, 2009
| 591 | P14 | 2009-02-08 | 6 | 60 | 5 | 335 | 10 | 13.2 | 6.99 | 0.36689 | 0.017175 | 1.8884