File List for SeaBird Data          Cruise Number: _2009-08____

[osdcommon\cruise_data\2009-08\ARCHIVE]

[osdcommon\cruise_data\2009-08\ARCHIVE\Bottle] *.CHE

[osdcommon\cruise_data\2009-08\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2009-08\ARCHIVE\DOC] all documents from RAW and PROCESSING

[osdcommon\cruise_data\2009-08\ARCHIVE\DOC\HYDRO] COMPARE files and edited versions of    spreadsheets from analysts

[osdcommon\cruise_data\2009-08\ARCHIVE\DOC\TSG] all TSG documents

[osdcommon\cruise_data\2009-08\ARCHIVE\LOOP] loop file

[osdcommon\cruise_data\2009-08\ARCHIVE\TSG] *.TOB

[osdcommon\cruise_data\2009-08\PROCESSING]

[osdcommon\cruise_data\2009-08\PROCESSING\Angelica] files for use of A. Peña

[osdcommon\cruise_data\2009-08\PROCESSING\CONVERT]	*.CNV – after conversion

[osdcommon\cruise_data\2009-08\PROCESSING\DERIVE]*.CNV – after convert/wildedit/celltm/derive

[osdcommon\cruise_data\2009-08\PROCESSING\DOC]

2009-08-Port-recal.ccf – calibration control file for making Portasal bottle samples match Autosal salinity

2009-08-recal1.ccf – calibration control file for recalibration of all casts: DO, SAL, Press

2009-08-ctd*.con – configuration files used in processing

2009-08_oxy_duplicates.xls – study of DO duplicates and multiple bottles at a single depth

2009-08-salinity-duplicates.xls – study of SAL duplicates and multiple bottles at a single depth

2009-08_file.doc - this document

2009-08_proc.doc - processing notes

2009-08-che-final.rpt – CTD file header check including channel summary

2009-08-ctd-final.rpt – CHE file header check including channel summary

*hdr.txt – header files with comments for CTD and CHE files

file_prep_sheet.xls – table to keep track of how files to be combined or deleted

[osdcommon\cruise_data\2009-08\PROCESSING\DOC\hydro]

2009-08-chl.csv – extracted chlorophyll data simplified from analyst’s s/s

2009-08-nuts.csv – nutrients simplified from analyst’s s/s

2009-08-add.csv – dissolved oxygen data converted from s/s derived from analyst data

2009-08-sal.csv – salinity data from Autosal, simplified from analyst’s s/s

2009-08-nh4.csv – ammonium data files converted from simplified version of analyst’s spreadsheet

2009-08-sal.csv – salinity data from Portsal, simplified from analyst’s s/s and recalibrated

2009-08-chl-fluor-comp.csv & .xls – comparison of extracted CHL and CTD Fluorescence

2009-08-dox-comp1.csv & .xls – initial comparison of titrated DO & CTD DO run early

2009-08-dox-comp2.csv & .xls – comparison of titrated DO and CTD DO after 1st recal

2009-08-dox-comp3.csv & .xls – comparison of titrated DO and downcast CTD DO

2009-08-dox-comp4.csv & .xls – comparison of titrated DO and downcast CTD DO after 2nd recal

2009-08-sal-comp1.csv & xls –salinity COMPARE file

2009-08-sal-comp2.csv & xls – salinity COMPARE after recalibration

2009-08-bottles.xls – summary of chemistry in CHE files plus CTD pressure

Ctd-sal-diff vs time.xls – comparison of two CTD salinity channels at time of bottle firings

addsamp.csv – spreadsheet relating bottle numbers to sample numbers

[osdcommon\cruise_data\2009-08\PROCESSING\DOC\tsg]

2009-08-CHL-loop.csv – loop extracted chlorophyll data

2009-08-nuts-loop.csv – loop nutrient data

2009-08-sal-loop.csv – loop salinity data

2009-08-TSG-rosette-loop-comp.xls – comparison of loop samples to CTD and TSG data

2009-08-ctd-TSG-comp.xls – comparison of TSG with CTD salinity at 4.5m

2009-08-tsg-recal*.ccf – recalibration files for TSG

2009-08-tsg.con – configuration file for conversion of TSG HEX files.

[osdcommon\cruise_data\2009-08\PROCESSING\HYDRO]

*.add – bottle from analyst after editing, formats fixed

*.bot  - *.ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl – extracted chlorophyll data converted from simplified version of spreadsheet

*.ed1 – editing output for 4 files

*.log – log files for the editing of 4 files

*.mrg – after addition of oxygen and salinity bottle data to BOT files

*.nh4 – ammonium files converted from simplified version of analyst’s spreadsheet

*.nut – nutrient files converted from simplified version of analyst’s spreadsheet

*.pH – pH files converted from simplified version of analyst’s spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from simplified version of analyst’s spreadsheet

*.sam – bottle files with sample numbers added

[osdcommon\cruise_data\2009-08\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.ctdorg – original files for casts 1-25 before merging with files with shifted pH

*.del – after DELETE

*.delpH – after Shift pH and DELETE – preparation to merge with CTDORG

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT.

Delete.log - log from routine DELETE

[osdcommon\cruise_data\2009-08\PROCESSING\Loop] files used for preparing loop file

[osdcommon\cruise_data\2009-08\PROCESSING\TSG] before conversion to IOS SHELL

*.cnv – files after Sea-Bird conversion

[osdcommon\cruise_data\2009-08\PROCESSING\TSG\IOS] after conversion to IOS SHELL

*.cln – after adding positions and times to headers and time/date channel (full files)

*.edt– after editing using CTDEDIT (thinned files)

*.ios – after conversion to IOS HEADERS (full files)

*.log – log files from editing

*.thn – thinned files to 30s interval

*.tob – final TSG files

*.xls – TSG data at time of CTD casts

______________________________________________________________________________

[osdcommon\cruise_data\2009-08\RAW]

[osdcommon\cruise_data\2009-08\RAW\Chemistry] data from analysts

[osdcommon\cruise_data\2009-08\RAW\Cruise Files] cruise documents

[osdcommon\cruise_data\2009-08\RAW\CTD] raw CTD data

[osdcommon\cruise_data\2009-08\RAW\TSG] TSG raw files