## Station Data Avg Dup
Cruise 2009-09 June Papa | [7 empty] | File: Cocc2009-09\Chlorophyll\QF 2009-09CHL.xls
Chlorophyll data summary with Quality Flags | [7 empty] | Date: July 8, 2009
Line P Station Data Profiles
Analyzed using Water Properties Turner 10 AU calibrated with pure chlorophyll a May 13, 2009
Samples were analysed at sea by Marie Robert
Re-calculated using correct calibration factors - JEBC Sep 09
Quality Flags:
c = Questionable measurement (no problem observed in sampling or analysis,
but value is not trusted, nonetheless; includes outlyers)
d = bad measurement (known problem with sampling or analysis,
but not serious enough to completely discard the value)
e = not reported (lost sample; unredeemably bad measurement)
i = sample not drawn for this measurement from this bottle
f = average of duplicate samples
Cruise | Station | Cast | Nisk | Sample # | Depth | Chlorophyll | Chl | Comments
|  |  | # |  | M | ug/L | QF
2009-09 | SI03 | 1 | 11 | 11 | 5 | 1.4948
2009-09 | SI03 | 1 | 10 | 10 | 10 | 4.9666
2009-09 | SI03 | 1 | 9 | 9 | 25 | 2.4008
2009-09 | SI03 | 1 | 8 | 8 | 50 | 1.1733 | f
2009-09 | SI03 | 1 | 7 | 7 | 75 | 0.99093
2009-09 | SI03 | 1 | 6 | 6 | 100 | 1.5387
2009-09 | P1 | 2 | 1 | 12 | 5 | 3.4142
2009-09 | P2 | 3 | 19 | 31 | 0 | 1.648
2009-09 | P2 | 3 | 18 | 30 | 5 | 1.5512
2009-09 | P2 | 3 | 15 | 27 | 10 | 3.7417
2009-09 | P2 | 3 | 14 | 26 | 15 | 3.9861
2009-09 | P2 | 3 | 13 | 25 | 20 | 3.2633
2009-09 | P2 | 3 | 11 | 23 | 25 | 2.3918
2009-09 | P2 | 3 | 10 | 22 | 30 | 1.514
2009-09 | P2 | 3 | 9 | 21 | 40 | 1.3655 |  | Chl 20B and 21 may have been
2009-09 | P2 | 3 | 8 | 20 | 50 | 0.54313 | f | mixed during filtering
2009-09 | P2 | 3 | 4 | 16 | 75 | 0.20944
2009-09 | P2 | 3 | 3 | 15 | 100 | 0.15335
2009-09 | P3 | 6 | 4 | 35 | 5 | 1.5295
2009-09 | P4 | 7 | 14 | 49 | 1.6 | 0.50946
2009-09 | P4 | 7 | 11 | 46 | 5 | 0.54649
2009-09 | P4 | 7 | 10 | 45 | 8 | 0.5484
2009-09 | P4 | 7 | 7 | 42 | 13 | 0.70658
2009-09 | P4 | 7 | 6 | 41 | 27 | 0.96652
2009-09 | P4 | 10 | 17 | 66 | 0 | 0.44603
2009-09 | P4 | 10 | 15 | 64 | 5 | 0.51312
2009-09 | P4 | 10 | 14 | 63 | 10 | 0.66508
2009-09 | P4 | 10 | 13 | 62 | 15 | 0.983
2009-09 | P4 | 10 | 11 | 60 | 20 | 1.0561
2009-09 | P4 | 10 | 10 | 59 | 25 | 0.95623
2009-09 | P4 | 10 | 9 | 58 | 30 | 0.86205 | f
2009-09 | P4 | 10 | 7 | 56 | 40 | 0.47445
2009-09 | P4 | 10 | 6 | 55 | 50 | 0.19415
2009-09 | P4 | 10 | 4 | 53 | 75 | 0.080285
2009-09 | P4 | 10 | 3 | 52 | 100 | 0.057502
2009-09 | P5 | 16 | 1 | 126 | 5 | 0.55258
2009-09 | P6 | 17 | 1 | 127 | 5 | 0.53255
2009-09 | P7 | 18 | 1 | 128 | 5 | 0.27417
2009-09 | P8 | 20 | 21 | 149 | 5 | 0.51839
2009-09 | P8 | 20 | 20 | 148 | 5 | 0.5125
2009-09 | P8 | 20 | 19 | 147 | 10 | 0.44572 | f
2009-09 | P8 | 20 | 18 | 146 | 25 | 0.53148
2009-09 | P8 | 20 | 17 | 145 | 50 | 0.48865
2009-09 | P8 | 20 | 16 | 144 | 75 | 0.2328
2009-09 | P8 | 20 | 15 | 143 | 100 | 0.059285
2009-09 | P9 | 22 | 1 | 150 | 5 | 0.38291
2009-09 | P10 | 23 | 1 | 151 | 5 | 0.35385
2009-09 | P11 | 24 | 1 | 152 | 5 | 0.31259
2009-09 | P12 | 31 | 22 | 197 | 0 | 0.44107
2009-09 | P12 | 31 | 21 | 196 | 5 | 0.48874
2009-09 | P12 | 31 | 17 | 192 | 10 | 0.44869
2009-09 | P12 | 31 | 15 | 190 | 15 | 0.37462 | f
2009-09 | P12 | 31 | 14 | 189 | 20 | 0.41412
2009-09 | P12 | 31 | 13 | 188 | 25 | 0.44683
2009-09 | P12 | 31 | 11 | 186 | 30 | 0.49949
2009-09 | P12 | 31 | 10 | 185 | 40 | 0.4308
2009-09 | P12 | 31 | 9 | 184 | 50 | 0.38247
2009-09 | P12 | 31 | 7 | 182 | 75 | 0.27294
2009-09 | P12 | 31 | 6 | 181 | 100 | 0.036086
2009-09 | P13 | 36 | 3 | 241 | 5 | 0.22707
2009-09 | P14 | 37 | 1 | 242 | 5 | 0.38489
2009-09 | P15 | 38 | 1 | 243 | 5 | 0.30782
2009-09 | P16 | 39 | 13 | 256 | 0 | 0.30427
2009-09 | P16 | 39 | 12 | 255 | 5 | 0.26635
2009-09 | P16 | 39 | 11 | 254 | 10 | 0.30836
2009-09 | P16 | 39 | 10 | 253 | 15 | 0.3546
2009-09 | P16 | 39 | 9 | 252 | 20 | 0.38016 | f
2009-09 | P16 | 39 | 8 | 251 | 25 | 0.40898
2009-09 | P16 | 39 | 7 | 250 | 30 | 0.4353
2009-09 | P16 | 39 | 6 | 249 | 40 | 0.55295
2009-09 | P16 | 39 | 5 | 248 | 50 | 0.59565
2009-09 | P16 | 39 | 4 | 247 | 75 | 0.36196
2009-09 | P16 | 39 | 3 | 246 | 100 | 0.098436
2009-09 | P16 | 40 | 18 | 274 | 0 | 0.33613
2009-09 | P16 | 40 | 15 | 271 | 6 | 0.33403
2009-09 | P16 | 40 | 12 | 268 | 14 | 0.35106
2009-09 | P16 | 40 | 10 | 266 | 31 | 0.45379
2009-09 | P16 | 40 | 7 | 263 | 61 | 0.53614
2009-09 | P17 | 48 | 1 | 339 | 5 | 0.23763 |  | CHL filtered 5 hours later
2009-09 | P18 | 49 | 1 | 340 | 5 | 0.27242
2009-09 | P19 | 52 | 1 | 341 | 5 | 0.26142
2009-09 | P20 | 56 | 22 | 363 | 0 | 0.48055
2009-09 | P20 | 56 | 21 | 362 | 5 | 0.41945
2009-09 | P20 | 56 | 18 | 359 | 10 | 0.38662
2009-09 | P20 | 56 | 16 | 357 | 15 | 0.53756
2009-09 | P20 | 56 | 15 | 356 | 20 | 0.64471
2009-09 | P20 | 56 | 14 | 355 | 25 | 0.68221 | f
2009-09 | P20 | 56 | 12 | 353 | 30 | 0.97377
2009-09 | P20 | 56 | 11 | 352 | 40 | 0.69165
2009-09 | P20 | 56 | 10 | 351 | 50 | 0.44375
2009-09 | P20 | 56 | 7 | 348 | 75 | 0.1525
2009-09 | P20 | 56 | 6 | 347 | 100 | 0.077978
2009-09 | P26 | 65 | 5 | 433 | 0 | 0.30559
2009-09 | P26 | 65 | 4 | 432 | 5 | 0.30732
2009-09 | P26 | 65 | 3 | 431 | 10 | 0.35594
2009-09 | P26 | 65 | 2 | 430 | 20 | 0.32486
2009-09 | P26 | 65 | 1 | 429 | 30 | 0.36283
2009-09 | P26 | 74 | 19 | 476 | 0 | 0.30404
2009-09 | P26 | 74 | 16 | 473 | 4 | 0.29079
2009-09 | P26 | 74 | 14 | 471 | 8 | 0.33664
2009-09 | P26 | 74 | 12 | 469 | 27 | 0.43203
2009-09 | P26 | 74 | 11 | 468 | 46 | 0.39579
2009-09 | P26 | 75 | 19 | 495 | 0 | 0.31462
2009-09 | P26 | 75 | 17 | 493 | 5 | 0.31581
2009-09 | P26 | 75 | 16 | 492 | 10 | 0.29921
2009-09 | P26 | 75 | 15 | 491 | 15 | 0.36591
2009-09 | P26 | 75 | 14 | 490 | 20 | 0.39176
2009-09 | P26 | 75 | 13 | 489 | 25 | 0.39161
2009-09 | P26 | 75 | 11 | 487 | 30 | 0.41573
2009-09 | P26 | 75 | 10 | 486 | 40 | 0.43711
2009-09 | P26 | 75 | 9 | 485 | 50 | 0.41899 | f
2009-09 | P26 | 75 | 6 | 482 | 75 | 0.23497
2009-09 | P26 | 75 | 5 | 481 | 100 | 0.09125
2009-09 | P35 | 87 | 1 | 571 | 5 | 0.37534
2009-09 | P25 | 88 | 1 | 572 | 5 | 0.3636
2009-09 | P24 | 89 | 1 | 573 | 5 | 0.35805
2009-09 | P23 | 90 | 1 | 574 | 5 | 0.30005
2009-09 | P22 | 91 | 24 | 598 | 5 | 0.2562 | c | CHL filtered 18 hours later
2009-09 | P21 | 93 | 1 | 599 | 5 | 0.54775
2009-09 | P19 | 94 | 3 | 600 | 5 | 0.29438

## Loop data
Cruise 2009-09 June Papa | [6 empty] | File: Cocc2009-09\Chlorophyll\QF 2009-09CHL.xls
Chlorophyll data summary with Quality Flags | [6 empty] | Date: July 8, 2009
Data from loop system
Re-calculated using correct calibration factors - JEBC Sep 09
Analyzed using Water Properties Turner 10 AU calibrated with pure chlorophyll a May 13, 2009
Samples were analysed at sea by Marie Robert
Quality Flags:
c = Questionable measurement (no problem observed in sampling or analysis,
but value is not trusted, nonetheless; includes outlyers)
d = bad measurement (known problem with sampling or analysis,
but not serious enough to completely discard the value)
e = not reported (lost sample; unredeemably bad measurement)
i = sample not drawn for this measurement from this bottle
f = average of duplicate samples
Cruise | Station | Cast | Sample # | Chlorophyll | Chl | Comments
|  | # |  | ug/L | QF
2009-09 | JF1 |  | usw | 4.4364 |  | Generic volume
2009-09 | JF2 |  | usw | 3.8626
2009-09 | JF3 |  | usw | 2.3914
2009-09 | JF4 |  | usw | 16.8083
2009-09 | P1 |  | usw | 3.6172
2009-09 | P7 |  | usw | 0.38814
2009-09 | P13 |  | usw | 0.25182
2009-09 | P18 |  | usw | 0.26202
2009-09 | P23 |  | usw | 0.29469
2009-09 | P21 |  | usw | 0.52891

## Precision Calc
Precision and Averaging Duplicates from same Niskin
Re-calculated using correct calibration factors - JEBC Sep 09
Precision was determined by analyzing replicate samples drawn from one Niskin.
Pooled standard deviation of pairs of samples (Sp) was calucalated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
Averaging Duplicates
Sample # | Station | Niskin # | Cast | Depth | Chl a | Chl a diff sq
8 a | Si03 | 8 | 1 | 50 | 1.2256 |  | 1
8 b | Si03 | 8 | 1 | 50 | 1.121 | 0.010948
1.1733
20 a | P2 | 8 | 3 | 50 | 0.53399 |  | 2
20 b | P2 | 8 | 3 | 50 | 0.55227 | 0.00033397
0.54313
58 a | P4 | 9 | 10 | 30 | 0.89199 |  | 3
58 b | P4 | 9 | 10 | 30 | 0.8321 | 0.0035878
0.86205
147 a | P8 | 19 | 20 | 10 | 0.43904 |  | 4
147 b | P8 | 19 | 20 | 10 | 0.45241 | 0.00017879
0.44572
190 a | P12 | 15 | 31 | 15 | 0.36885 |  | 5
190 b | P12 | 15 | 31 | 15 | 0.38038 | 0.00013291
0.37462
252 a | P16 | 9 | 39 | 20 | 0.38806 |  | 6
252 b | P16 | 9 | 39 | 20 | 0.37225 | 0.00025013
0.38016
355 a | P20 | 14 | 56 | 25 | 0.68522 |  | 7
355 b | P20 | 14 | 56 | 25 | 0.6792 | 3.6189e-05
0.68221
485 a | P26 | 9 | 75 | 50 | 0.40514 |  | 8
485 b | P26 | 9 | 75 | 50 | 0.43283 | 0.00076679
0.41899
[5 empty] | SUM OF (X-Y)SQ | 0.015049
[5 empty] | COUNT | 8
[5 empty] | SUM/2*COUNT | 0.00094053
[5 empty] | SQRT(SUM/2*COUNT) | 0.030668
[5 empty] | min | 0.36885
[5 empty] | max | 1.1733

## Precision Statement
Cruise 2009-09 June Papa
Re-calculated using correct calibration factors - JEBC Sep 09
Analyzed using Water Properties Turner 10 AU calibrated with pure chlorophyll a May 13, 2009
Samples were analysed at sea by Marie Robert
Precision was determined by analyzing replicate samples drawn from one Niskin.
Pooled standard deviation of pairs of samples (Sp) was calucalated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
For replicate samples drawn from the same Niskin bottle:
Sp for Chlorophyll for the range 0.369 to 1.173 ug/L was 0.030, k = 8