File List for SeaBird Data          Cruise Number: _2009-10____

[osdcommon\cruise_data\2009-10\ARCHIVE]

[osdcommon\cruise_data\2009-10\ARCHIVE\Bottle] *.CHE

[osdcommon\cruise_data\2009-10\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2009-10\ARCHIVE\DOC] all documents from RAW and PROCESSING

[osdcommon\cruise_data\2009-10\ARCHIVE\DOC\HYDRO] COMPARE files and edited versions of    spreadsheets from analysts

[osdcommon\cruise_data\2009-10\ARCHIVE\DOC\TSG] all TSG documents

[osdcommon\cruise_data\2009-10\ARCHIVE\LOOP] loop file

[osdcommon\cruise_data\2009-10\ARCHIVE\TSG] *.TOB

[osdcommon\cruise_data\2009-10\PROCESSING]

[osdcommon\cruise_data\2009-10\PROCESSING\Angelica] files for use of A. Peña

[osdcommon\cruise_data\2009-10\PROCESSING\CONVERT]	*.CNV – after conversion

[osdcommon\cruise_data\2009-10\PROCESSING\DERIVE]*.CNV – after convert/wildedit/celltm/derive – error in configuration of DO

[osdcommon\cruise_data\2009-10\PROCESSING\DERIVE2]*.CNV – after convert/wildedit/celltm/derive – with correct configuration for DO

[osdcommon\cruise_data\2009-10\PROCESSING\DOC]

2009-10-recal.ccf - calibration control file for recalibration of DO and primary Salinity

2009-10-recal2.ccf – calibration control file for 2nd recalibration of DO

2009-10-ctd.con – configuration file used in processing

2009-10-oxy-duplicates.xls – study of DO duplicates and multiple bottles at a single depth

2009-10-salinity-duplicates.xls – study of SAL duplicates and multiple bottles at a single depth

2009-10_file.doc - this document

2009-10_proc.doc - processing notes

2009-10-che-final.rpt – CTD file header check including channel summary

2009-10-ctd-final.rpt – CHE file header check including channel summary

2009-10-altimeter.csv – report on header entries for altimetry before corrections

*hdr.txt – header files with comments for CTD and CHE files

[osdcommon\cruise_data\2009-10\PROCESSING\DOC\hydro]

2009-10-chl.csv – extracted chlorophyll data simplified from analyst’s s/s

2009-10-DMS.csv – edited version of DMS spreadsheet

2009-10-Nuts.csv – nutrients simplified from analyst’s s/s

2009-10-oxy.csv – nutrients simplified from analyst’s s/s

2009-10-sal-auto.csv – salinity data from Autosal, simplified from analyst’s s/s

2009-10-sal-port.csv – salinity data from Portsal (at sea), simplified from analyst’s s/s

2009-10-chl-fluor-comp.csv & .xls – comparison of extracted CHL and CTD Fluorescence

2009-10-dox-comp1.csv & .xls – initial comparison of titrated DO & CTD DO run early

2009-10-dox-comp2.csv & .xls – comparison of titrated DO and CTD DO after 1st recal

2009-10-dox-comp3.csv & .xls – comparison of titrated DO and downcast CTD DO

2009-10-dox-comp4.csv & .xls – comparison of titrated DO and downcast CTD DO after recal

2009-10-dox-comp-after-bottle-fix.csv & xls– after bottle DO fixed late in processing

2009-10-dox-comp-final.csv & xls – after bottle DO fixed and final SBE recalibration

2009-10-sal-comp1.csv & xls –salinity COMPARE file using pressure as reference channel.

2009-10-sal-comp1-samp.csv & xls – salinity COMPARE using sample # as reference channel

2009-10-0020.xls – study of chem. Data to check for misfire

2009-10-bottles.csv – summary of bottle files (CTD plus chemistry)

addsamp.csv – spreadsheet relating bottle numbers to sample numbers

[osdcommon\cruise_data\2009-10\PROCESSING\DOC\tsg]

2009-10-CHL-loop.csv – loop extracted chlorophyll data

2009-10nuts-loop.csv – loop nutrient data

2009-10-sal-loop.csv – loop salinity data

2009-10-loop-CTD-TSG-comp.xls – comparison of loop samples to CTD rosette and TSG data

2009-10-CTD-TSG-comp.xls – comparison of TSG with CTD salinity at 4m

2009-10-tsg-recal*.ccf – recalibration files for TSG

2009-10-tsg*.con – configuration files for conversion of TSG HEX files.

2009-10-00**-pos.csv – spreadsheets with SCS data for same times as TSG data

Intake-temp-estimate.xls – study of various fits of TSG Intake Temp vs Lab Temp

[osdcommon\cruise_data\2009-10\PROCESSING\HYDRO]

*.add – bottle from analyst after editing, formats fixed

*.bot  - *.ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl – extracted chlorophyll data converted from simplified version of spreadsheet

*.dms – DMS files converted from simplified version of analyst’s spreadsheet

*.ed1 – editing output for 4 files

*.log – log files for the editing of 4 files

*.mrg – after addition of oxygen and salinity bottle data to BOT files

*.nut – nutrient files converted from simplified version of analyst’s spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from simplified version of analyst’s spreadsheet

*.sam – bottle files with sample numbers added

[osdcommon\cruise_data\2009-10\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.cln - data after conversion to IOS HEADERS and CLEAN

*.ctd - final files

*.del – after DELETE

*.del2 – after DELETE for files containing corrected dissolved oxygen

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.log - log files created by CTDEDIT.

*.new – merge of EDT and DEL2

Delete.log - log from routine DELETE

[osdcommon\cruise_data\2009-10\PROCESSING\TSG] before conversion to IOS SHELL

*.cnv – files after Sea-Bird conversion

[osdcommon\cruise_data\2009-10\PROCESSING\TSG\IOS] after conversion to IOS SHELL

*.atc – after adding time/date channel

*.cln – after adding time/positions to headers to *.ATC and editing

*.ed*– after editing using CTDEDIT

*.ios – after conversion to IOS HEADERS

*.lo* – log files from editing

*.tob – final TSG files

______________________________________________________________________________

[osdcommon\cruise_data\2009-10\RAW]

[osdcommon\cruise_data\2009-10\RAW\Chemistry] data from analysts

[osdcommon\cruise_data\2009-10\RAW\Cruise Files] cruise documents

[osdcommon\cruise_data\2009-10\RAW\CTD] raw CTD data

[osdcommon\cruise_data\2009-10\RAW\TSG] TSG raw files