## File List
Number of Files= |  | 10
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2009-10-0001.mrgcor1 | 2009-10-0001.thn | 11 | 20 | 2009-10-0001.mrgcor1 & 2009-10-0001.thn
2 | 2009-10-0003.mrgcor1 | 2009-10-0003.thn | 22 | 29 | 2009-10-0003.mrgcor1 & 2009-10-0003.thn
3 | 2009-10-0006.mrgcor1 | 2009-10-0006.thn | 31 | 37 | 2009-10-0006.mrgcor1 & 2009-10-0006.thn
4 | 2009-10-0012.mrgcor1 | 2009-10-0012.thn | 39 | 56 | 2009-10-0012.mrgcor1 & 2009-10-0012.thn
5 | 2009-10-0020.mrgcor1 | 2009-10-0020.thn | 58 | 75 | 2009-10-0020.mrgcor1 & 2009-10-0020.thn
6 | 2009-10-0029.mrgcor1 | 2009-10-0029.thn | 77 | 99 | 2009-10-0029.mrgcor1 & 2009-10-0029.thn
7 | 2009-10-0037.mrgcor1 | 2009-10-0037.thn | 101 | 123 | 2009-10-0037.mrgcor1 & 2009-10-0037.thn
8 | 2009-10-0044.mrgcor1 | 2009-10-0044.thn | 125 | 147 | 2009-10-0044.mrgcor1 & 2009-10-0044.thn
9 | 2009-10-0061.mrgcor1 | 2009-10-0061.thn | 149 | 172 | 2009-10-0061.mrgcor1 & 2009-10-0061.thn
10 | 2009-10-0071.mrgcor1 | 2009-10-0071.thn | 174 | 196 | 2009-10-0071.mrgcor1 & 2009-10-0071.thn

## (DOX_CTD - DOX_BOT)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.115 |  | X | CALC Y
m= | 0.01041 | 0.0023983 |  | Std Dev of Resid |  | 0.071803 |  | 0.021 | 0.017105
b= | 0.016887 | 0.0093492 |  | Resid Sum of Squares |  | 0.74757 |  | 7.22 | 0.09205
# of Values Extracted = |  |  | 177
# of Values Used in Fit = |  |  | 147
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 220.011 | 0.023 | 0 | 0.023 | 0.017126 | -0.0058737 |  | 0.023 | 0.023
1 | YES | 201.006 | 0.0255 | 0.0021213 | 0.0255 | 0.017152 | -0.0083477 |  | 0.0255 | 0.0255
1 | YES | 176 | 0.0305 | 0.00070711 | 0.0305 | 0.017204 | -0.013296 |  | 0.0305 | 0.0305
1 | YES | 151.003 | 0.044 | 0.0014142 | 0.044 | 0.017345 | -0.026655 |  | 0.044 | 0.044
1 | YES | 126.007 | 0.2285 | 0.0021213 | 0.0855 | 0.019266 | -0.066234 |  | 0.2285 | 0.0855
1 | YES | 100.991 | 0.535 | 0.079196 | 0.213 | 0.022456 | -0.19054 |  | 0.535 | 0.213
1 | NO | 49.0015 | 2.965 | 0.074953 | 0.294 | 0.047754 | -0.24625 |  | 0.021 | 0.012
1 | NO | 25.002 | 3.8815 | 0.12374 | 0.3695 | 0.057295 | -0.31221 |  | 0.021 | 0.021
1 | NO | 11.995 | 5.689 | 0 | 0.286 | 0.076112 | -0.20989 |  | 0.5765 | 0.0625
1 | NO | 0 | 0 | 0 | -6.591 | 0.016887 | 6.6079 |  | 0.59367 | 0.043667
2 | YES | 201 | 0.021 | 0 | 0.012 | 0.017105 | 0.0051055 |  | 1.643 | 0.092
2 | YES | 201 | 0.021 | 0 | 0.021 | 0.017105 | -0.0038945 |  | 2.285 | 0.092
2 | YES | 98.996 | 0.5765 | 0.036062 | 0.0625 | 0.022888 | -0.039612 |  | 2.285 | 0.092
2 | YES | 98.3307 | 0.59367 | 0.039171 | 0.043667 | 0.023067 | -0.0206 |  | 2.844 | 0.148
2 | NO | 51.0025 | 2.92 | 0.046669 | 0.311 | 0.047285 | -0.26371 |  | 4.83 | 0.209
2 | NO | 51.0025 | 2.92 | 0.046669 | 0.287 | 0.047285 | -0.23971 |  | 5.7745 | -0.0465
2 | NO | 10.9945 | 5.5475 | 0.030405 | -0.3655 | 0.074639 | 0.44014 |  | 0.4435 | -0.0025
2 | NO | 10.9945 | 5.5475 | 0.030405 | -0.1275 | 0.074639 | 0.20214 |  | 0.4435 | 0.0035
3 | YES | 104.992 | 1.643 | 0 | 0.092 | 0.033991 | -0.058009 |  | 0.268 | 0.017
3 | YES | 76.0055 | 2.285 | 0.014142 | 0.092 | 0.040675 | -0.051325 |  | 0.2555 | 0.0185
3 | YES | 76.0055 | 2.285 | 0.014142 | 0.092 | 0.040675 | -0.051325 |  | 0.489 | 0.025
3 | YES | 51.0125 | 2.844 | 0.060811 | 0.148 | 0.046494 | -0.10151 |  | 1.127 | 0.057
3 | YES | 27.003 | 4.83 | 0.20789 | 0.209 | 0.067169 | -0.14183 |  | 1.404 | 0.041
3 | YES | 10.999 | 5.7745 | 0.099702 | -0.0465 | 0.077002 | 0.1235 |  | 1.812 | 0.077
3 | NO | 6.616 | 5.817 | 0 | -0.128 | 0.077444 | 0.20544 |  | 2.0055 | 0.0535
4 | NO | 0 | 0 | 0 | -0.55 | 0.016887 | 0.56689 |  | 2.4275 | 0.0615
4 | YES | 1251 | 0.4435 | 0.0021213 | -0.0025 | 0.021504 | 0.024004 |  | 6.509 | 0.136
4 | YES | 1251 | 0.4435 | 0.0021213 | 0.0035 | 0.021504 | 0.018004 |  | 6.747 | 0.148
4 | YES | 1001.01 | 0.268 | 0.0028284 | 0.017 | 0.019677 | 0.0026768 |  | 6.651 | -0.071
4 | YES | 801.001 | 0.2555 | 0.00070712 | 0.0185 | 0.019547 | 0.0010467 |  | 1.361 | -0.09
4 | YES | 600.992 | 0.489 | 0.0014142 | 0.025 | 0.021978 | -0.0030224 |  | 0.65467 | -0.026333
4 | YES | 400.995 | 1.127 | 0.0084853 | 0.057 | 0.028619 | -0.028381 |  | 0.65467 | -0.027333
4 | YES | 301.001 | 1.404 | 0.0014142 | 0.041 | 0.031503 | -0.0094969 |  | 0.366 | 0.011
4 | YES | 200.996 | 1.812 | 0.0028285 | 0.077 | 0.035751 | -0.041249 |  | 0.25 | 0.013
4 | YES | 173.998 | 2.0055 | 0.026163 | 0.0535 | 0.037765 | -0.015735 |  | 0.4255 | -0.0025
4 | YES | 151.015 | 2.4275 | 0.033234 | 0.0615 | 0.042158 | -0.019342 |  | 1.8505 | -0.0595
4 | NO | 126.001 | 3.2135 | 0.13506 | 0.3235 | 0.050341 | -0.27316 |  | 2.017 | -0.017
4 | NO | 100.999 | 4.0165 | 0.12091 | 0.4825 | 0.0587 | -0.4238 |  | 2.1195 | 0.0725
4 | NO | 75.991 | 5.578 | 0.10182 | 0.676 | 0.074956 | -0.60104 |  | 2.195 | 0.048
4 | YES | 51.0005 | 6.509 | 0.021213 | 0.136 | 0.084648 | -0.051352 |  | 2.334 | 0.0010002
4 | YES | 24.999 | 6.747 | 0.041012 | 0.148 | 0.087126 | -0.060874 |  | 2.901 | 0.054
4 | YES | 10.9895 | 6.651 | 0.15132 | -0.071 | 0.086127 | 0.15713 |  | 4.2025 | -0.0094996
4 | NO | 5.0467 | 6.7253 | 0.0097126 | -0.13467 | 0.086901 | 0.22157 |  | 6.114 | 0.016
5 | YES | 2004.6 | 1.361 | 0 | -0.09 | 0.031055 | 0.12106 |  | 6.6595 | 0.1795
5 | YES | 1501.33 | 0.65467 | 0.0023094 | -0.026333 | 0.023702 | 0.050036 |  | 6.038 | -0.044
5 | YES | 1501.33 | 0.65467 | 0.0023094 | -0.027333 | 0.023702 | 0.051036 |  | 6.016 | 0.045
5 | YES | 1250.98 | 0.366 | 0.0042426 | 0.011 | 0.020697 | 0.0096971 |  | 5.9473 | -0.019667
5 | YES | 1001 | 0.25 | 0 | 0.013 | 0.019489 | 0.0064895 |  | 2.2955 | 0.0044999
5 | YES | 599.225 | 0.4255 | 0.0007071 | -0.0025 | 0.021316 | 0.023816 |  | 1.909 | -0.073
5 | YES | 298.999 | 1.8505 | 0.010607 | -0.0595 | 0.036151 | 0.095651 |  | 1.909 | 0.047
5 | YES | 248.986 | 2.017 | 0.0070711 | -0.017 | 0.037885 | 0.054884 |  | 1.39 | 0.092
5 | YES | 200.999 | 2.1195 | 0.006364 | 0.0725 | 0.038952 | -0.033548 |  | 0.658 | 0.035
5 | YES | 174.003 | 2.195 | 0.0028284 | 0.048 | 0.039738 | -0.0082623 |  | 0.417 | -0.028
5 | YES | 150.992 | 2.334 | 0.0098996 | 0.0010002 | 0.041185 | 0.040185 |  | 0.273 | 0.034
5 | YES | 124.01 | 2.901 | 0.014142 | 0.054 | 0.047088 | -0.0069125 |  | 0.3435 | 0.0325
5 | YES | 101.091 | 4.2025 | 0.064347 | -0.0094996 | 0.060637 | 0.070136 |  | 0.6225 | 0.0385
5 | YES | 76.006 | 6.114 | 0.048083 | 0.016 | 0.080536 | 0.064537 |  | 1.6235 | 0.1415
5 | YES | 48.9855 | 6.6595 | 0.0049497 | 0.1795 | 0.086215 | -0.093285 |  | 7.02 | 0.188
5 | YES | 25 | 6.038 | 0.012728 | -0.044 | 0.079745 | 0.12374 |  | 7.22 | 0.154
5 | YES | 11.01 | 6.016 | 0.012728 | 0.045 | 0.079516 | 0.034516 |  | 5.953 | 0.034
5 | YES | 5.0023 | 5.9473 | 0.020108 | -0.019667 | 0.078801 | 0.098468 |  | 5.9447 | 0.018667
6 | NO | 0 | 0 | 0 | -2.344 | 0.016887 | 2.3609 |  | 2.715 | -0.036
6 | YES | 3001.01 | 2.2955 | 0.0021213 | 0.0044999 | 0.040784 | 0.036284 |  | 2.4395 | -0.0265
6 | YES | 2501 | 1.909 | 0.0056569 | -0.073 | 0.03676 | 0.10976 |  | 1.909 | 0.001
6 | YES | 2501 | 1.909 | 0.0056569 | 0.047 | 0.03676 | -0.01024 |  | 1.909 | 0.0020001
6 | YES | 2000.99 | 1.39 | 0.0028284 | 0.092 | 0.031357 | -0.060643 |  | 1.2425 | 0.0235
6 | YES | 1501.32 | 0.658 | 0.001732 | 0.035 | 0.023737 | -0.011263 |  | 0.48267 | -0.024333
6 | YES | 1250.99 | 0.417 | 0 | -0.028 | 0.021228 | 0.049228 |  | 0.325 | 0.014
6 | YES | 1001.01 | 0.273 | 0.0014142 | 0.034 | 0.019729 | -0.014271 |  | 0.301 | 0.016
6 | YES | 801.012 | 0.3435 | 0.00070712 | 0.0325 | 0.020463 | -0.012037 |  | 0.45 | 0.062
6 | YES | 600.994 | 0.6225 | 0.0049497 | 0.0385 | 0.023367 | -0.015133 |  | 0.672 | 0.053
6 | YES | 401.022 | 1.6235 | 0.020506 | 0.1415 | 0.033788 | -0.10771 |  | 1.6785 | 0.1685
6 | NO | 301.004 | 3.0255 | 0.02192 | 0.2945 | 0.048384 | -0.24612 |  | 2.693 | 0.161
6 | NO | 249.005 | 3.965 | 0.049497 | 0.468 | 0.058164 | -0.40984 |  | 4.71 | 0.189
6 | NO | 201.012 | 4.708 | 0.03677 | 0.417 | 0.065899 | -0.3511 |  | 5.317 | 0.169
6 | NO | 176.003 | 5 | 0.0042423 | 0.356 | 0.068939 | -0.28706 |  | 6.067 | 0.245
6 | NO | 151.01 | 5.4975 | 0.017678 | 0.6095 | 0.074118 | -0.53538 |  | 6.717 | 0.113
6 | NO | 123.986 | 6.0645 | 0.017678 | 0.7185 | 0.080021 | -0.63848 |  | 7.013 | 0.2
6 | NO | 100.997 | 6.53 | 0.084853 | 0.447 | 0.084867 | -0.36213 |  | 7.1325 | 0.1275
6 | YES | 75.991 | 7.02 | 0.0098995 | 0.188 | 0.089968 | -0.098032 |  | 7.1555 | 0.2015
6 | YES | 50.9945 | 7.22 | 0.008485 | 0.154 | 0.09205 | -0.06195 |  | 6.06 | 0.036
6 | NO | 24.9955 | 6.02 | 0.065054 | -0.368 | 0.079558 | 0.44756 |  | 6.0235 | 0.0565
6 | YES | 8.9985 | 5.953 | 0.0014141 | 0.034 | 0.07886 | 0.04486 |  | 6.0163 | 0.03825
6 | YES | 5.042 | 5.9447 | 0.01115 | 0.018667 | 0.078774 | 0.060107 |  | 3.245 | 0.02
7 | YES | 3500.98 | 2.715 | 0.0056569 | -0.036 | 0.045151 | 0.081151 |  | 3.186 | -0.013
7 | YES | 2999 | 2.4395 | 0.00070722 | -0.0265 | 0.042283 | 0.068783 |  | 2.9625 | 0.0075002
7 | YES | 2498.01 | 1.909 | 0 | 0.001 | 0.03676 | 0.03576 |  | 2.5365 | -0.0015001
7 | YES | 2498.01 | 1.909 | 0 | 0.0020001 | 0.03676 | 0.03476 |  | 1.911 | -0.042
7 | YES | 2001.02 | 1.2425 | 0.0063639 | 0.0235 | 0.029822 | 0.0063217 |  | 1.2675 | -0.0355
7 | YES | 1501.31 | 0.48267 | 0.0023094 | -0.024333 | 0.021912 | 0.046245 |  | 0.54367 | 0.044667
7 | YES | 1251 | 0.325 | 0 | 0.014 | 0.02027 | 0.0062702 |  | 0.3705 | 0.0285
7 | YES | 1001 | 0.301 | 0.0014142 | 0.016 | 0.02002 | 0.0040204 |  | 0.3965 | 0.0185
7 | YES | 800.988 | 0.45 | 0.0056568 | 0.062 | 0.021572 | -0.040428 |  | 0.671 | 0.044
7 | YES | 599.006 | 0.672 | 0.0028284 | 0.053 | 0.023883 | -0.029117 |  | 1.217 | 0.041
7 | YES | 398.729 | 1.6785 | 0.0021212 | 0.1685 | 0.034361 | -0.13414 |  | 2.124 | 0.229
7 | YES | 300.996 | 2.693 | 0.0070711 | 0.161 | 0.044922 | -0.11608 |  | 2.894 | 0.137
7 | NO | 250.736 | 3.5125 | 0.10677 | 0.3275 | 0.053454 | -0.27405 |  | 3.796 | 0.057
7 | YES | 201.009 | 4.71 | 0.0056571 | 0.189 | 0.06592 | -0.12308 |  | 4.644 | 0.232
7 | YES | 176.014 | 5.317 | 0.021213 | 0.169 | 0.072239 | -0.096761 |  | 5.6095 | 0.2025
7 | YES | 148.995 | 6.067 | 0.032527 | 0.245 | 0.080047 | -0.16495 |  | 6.665 | 0.138
7 | YES | 126.091 | 6.717 | 0.032527 | 0.113 | 0.086814 | -0.026186 |  | 7.0985 | 0.1705
7 | YES | 100.984 | 7.013 | 0.0056571 | 0.2 | 0.089895 | -0.1101 |  | 7.101 | 0.195
7 | YES | 74.016 | 7.1325 | 0.0091924 | 0.1275 | 0.091139 | -0.036361 |  | 7.106 | 0.193
7 | YES | 48.9915 | 7.1555 | 0.024749 | 0.2015 | 0.091379 | -0.11012 |  | 6.3895 | 0.1485
7 | YES | 25.0025 | 6.06 | 0.011314 | 0.036 | 0.079974 | 0.043974 |  | 6.3115 | 0.0995
7 | YES | 10.9895 | 6.0235 | 0.030406 | 0.0565 | 0.079594 | 0.023094 |  | 6.2853 | -0.089667
7 | YES | 5.8148 | 6.0163 | 0.015521 | 0.03825 | 0.079519 | 0.041269 |  | 2.8455 | -0.0355
8 | YES | 4316.07 | 3.245 | 0 | 0.02 | 0.050669 | 0.030669 |  | 2.8455 | 0.0085001
8 | YES | 3999 | 3.186 | 0.0042425 | -0.013 | 0.050055 | 0.063055 |  | 2.5105 | 0.0265
8 | YES | 3501 | 2.9625 | 0.00070722 | 0.0075002 | 0.047728 | 0.040228 |  | 1.924 | -0.024
8 | YES | 3001 | 2.5365 | 0.0049497 | -0.0015001 | 0.043293 | 0.044793 |  | 1.2875 | 0.0084999
8 | YES | 2501.01 | 1.911 | 0.0098995 | -0.042 | 0.036781 | 0.078781 |  | 0.53333 | -0.010667
8 | YES | 2002.99 | 1.2675 | 0.0049497 | -0.0355 | 0.030082 | 0.065582 |  | 0.3435 | 0.0035
8 | YES | 1501.32 | 0.54367 | 0.0023094 | 0.044667 | 0.022547 | -0.02212 |  | 0.338 | 0.017
8 | YES | 1250.99 | 0.3705 | 0.0021213 | 0.0285 | 0.020744 | -0.0077561 |  | 0.4705 | -0.00049999
8 | YES | 998.974 | 0.3965 | 0.00070712 | 0.0185 | 0.021015 | 0.0025146 |  | 0.654 | 0.054
8 | YES | 598.976 | 0.671 | 0.0028284 | 0.044 | 0.023872 | -0.020128 |  | 1.425 | 0.13
8 | YES | 399.109 | 1.217 | 0.0042427 | 0.041 | 0.029556 | -0.011444 |  | 2.119 | 0.033
8 | YES | 297.99 | 2.124 | 0 | 0.229 | 0.038999 | -0.19 |  | 2.7615 | 0.0955
8 | YES | 247.988 | 2.894 | 0 | 0.137 | 0.047015 | -0.089985 |  | 3.8345 | -0.0865
8 | YES | 201.004 | 3.796 | 0.0084853 | 0.057 | 0.056405 | -0.000595 |  | 4.437 | 0.042
8 | YES | 174.992 | 4.644 | 0 | 0.232 | 0.065233 | -0.16677 |  | 6.867 | 0.14
8 | YES | 148.997 | 5.6095 | 0.023335 | 0.2025 | 0.075284 | -0.12722 |  | 6.956 | 0.113
8 | YES | 124.028 | 6.665 | 0.13011 | 0.138 | 0.086272 | -0.051728 |  | 7.0425 | 0.1065
8 | YES | 100.993 | 7.0985 | 0.00070706 | 0.1705 | 0.090785 | -0.079715 |  | 6.2085 | 0.1005
8 | YES | 74.307 | 7.101 | 0.028284 | 0.195 | 0.090811 | -0.10419 |  | 6.1045 | 0.00049973
8 | YES | 51.0035 | 7.106 | 0.015557 | 0.193 | 0.090863 | -0.10214 |  | 6.115 | 0.0039997
8 | YES | 22.994 | 6.3895 | 0.086974 | 0.1485 | 0.083404 | -0.065096 |  | 1.2745 | -0.0155
8 | YES | 10.981 | 6.3115 | 0.010606 | 0.0995 | 0.082592 | -0.016907 |  | 0.3265 | 0.0155
8 | YES | 5.0303 | 6.2853 | 0.010214 | -0.089667 | 0.08232 | 0.17199 |  | 0.2885 | 0.0345
9 | NO | 0 | 0 | 0 | -3.177 | 0.016887 | 3.1939 |  | 0.377 | -0.011
9 | YES | 3498.99 | 2.8455 | 0.0049497 | -0.0355 | 0.04651 | 0.08201 |  | 0.5845 | 0.0175
9 | YES | 3498.99 | 2.8455 | 0.0049497 | 0.0085001 | 0.04651 | 0.03801 |  | 1.096 | -0.006
9 | YES | 2998.99 | 2.5105 | 0.0021213 | 0.0265 | 0.043022 | 0.016522 |  | 1.519 | -0.028
9 | YES | 2501.01 | 1.924 | 0.0070711 | -0.024 | 0.036917 | 0.060916 |  | 1.809 | -0.012
9 | YES | 1999.01 | 1.2875 | 0.0035355 | 0.0084999 | 0.03029 | 0.02179 |  | 2.2757 | 0.046667
9 | YES | 1501.34 | 0.53333 | 0.0011547 | -0.010667 | 0.022439 | 0.033106 |  | 2.5485 | 0.0935
9 | YES | 1253 | 0.3435 | 0.00070712 | 0.0035 | 0.020463 | 0.016963 |  | 2.83 | 0.063
9 | YES | 1001 | 0.338 | 0 | 0.017 | 0.020406 | 0.0034056 |  | 5.8005 | 0.0855
9 | YES | 800.997 | 0.4705 | 0.0035355 | -0.00049999 | 0.021785 | 0.022285 |  | 6.5205 | -0.0605
9 | YES | 600.995 | 0.654 | 0.0028284 | 0.054 | 0.023695 | -0.030305 |  | 7.097 | 0.151
9 | YES | 399 | 1.425 | 0.0056569 | 0.13 | 0.031722 | -0.098278 |  | 6.054 | -0.026
9 | YES | 300.987 | 2.119 | 0.012728 | 0.033 | 0.038947 | 0.0059466 |  | 6.0545 | -0.0145
9 | YES | 251.003 | 2.7615 | 0.026163 | 0.0955 | 0.045635 | -0.049865 |  | 6.054 | -0.013
9 | YES | 199.07 | 3.8345 | 0.036062 | -0.0865 | 0.056806 | 0.14331 |  | 5.9745 | -0.0355
9 | YES | 175.996 | 4.437 | 0.029699 | 0.042 | 0.063078 | 0.021078 |  | 5.9687 | -0.031333
9 | NO | 151.294 | 4.7945 | 0.08556 | -0.6395 | 0.0668 | 0.7063 |  | 5.958 | -0.07 | 0.04829
9 | NO | 123.997 | 6.173 | 0.10324 | -0.117 | 0.081151 | 0.19815
9 | YES | 99.0295 | 6.867 | 0.039598 | 0.14 | 0.088375 | -0.051625
9 | YES | 74.021 | 6.956 | 0.0014141 | 0.113 | 0.089302 | -0.023698
9 | YES | 48.9935 | 7.0425 | 0.0049497 | 0.1065 | 0.090202 | -0.016298
9 | YES | 24.991 | 6.2085 | 0.010606 | 0.1005 | 0.08152 | -0.01898
9 | YES | 9.0005 | 6.1045 | 0.023335 | 0.00049973 | 0.080437 | 0.079938
9 | YES | 4.933 | 6.115 | 0.0151 | 0.0039997 | 0.080547 | 0.076547
10 | YES | 1999.01 | 1.2745 | 0.0035355 | -0.0155 | 0.030155 | 0.045655
10 | NO | 0 | 0 | 0 | -0.563 | 0.016887 | 0.57989
10 | YES | 1248.98 | 0.3265 | 0.0007071 | 0.0155 | 0.020286 | 0.0047859
10 | YES | 998.988 | 0.2885 | 0.00070712 | 0.0345 | 0.01989 | -0.01461
10 | YES | 798.994 | 0.377 | 0.0014142 | -0.011 | 0.020812 | 0.031812
10 | YES | 598.997 | 0.5845 | 0.0035355 | 0.0175 | 0.022972 | 0.0054717
10 | YES | 403.014 | 1.096 | 0.0042426 | -0.006 | 0.028297 | 0.034297
10 | YES | 301.004 | 1.519 | 0.024042 | -0.028 | 0.0327 | 0.0607
10 | YES | 251.003 | 1.809 | 0.015556 | -0.012 | 0.035719 | 0.047719
10 | YES | 199.995 | 2.2757 | 0.023352 | 0.046667 | 0.040578 | -0.006089
10 | YES | 175.995 | 2.5485 | 0.030406 | 0.0935 | 0.043418 | -0.050082
10 | YES | 150.991 | 2.83 | 0.012728 | 0.063 | 0.046348 | -0.016652
10 | NO | 123.999 | 3.4905 | 0.034648 | -0.6735 | 0.053225 | 0.72672
10 | YES | 99.0115 | 5.8005 | 0.0091924 | 0.0855 | 0.077273 | -0.0082272
10 | YES | 73.995 | 6.5205 | 0.074246 | -0.0605 | 0.084768 | 0.14527
10 | YES | 48.9935 | 7.097 | 0.011314 | 0.151 | 0.09077 | -0.06023
10 | NO | 39.992 | 6.548 | 0.11879 | -0.456 | 0.085054 | 0.54105
10 | YES | 29.0035 | 6.054 | 0.012728 | -0.026 | 0.079912 | 0.10591
10 | YES | 22.9965 | 6.0545 | 0.013435 | -0.0145 | 0.079917 | 0.094417
10 | YES | 21.004 | 6.054 | 0.012728 | -0.013 | 0.079912 | 0.092912
10 | YES | 10.987 | 5.9745 | 0.034648 | -0.0355 | 0.079084 | 0.11458
10 | YES | 5.1547 | 5.9687 | 0.010066 | -0.031333 | 0.079023 | 0.11036
10 | YES | 4.489 | 5.958 | 0 | -0.07 | 0.078912 | 0.14891
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (2)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.14768 |  | X | CALC Y
m= | -2.945e-05 | 5.8755e-06 |  | Std Dev of Resid |  | 0.070465 |  | 4.489 | 0.069724
b= | 0.069856 | 0.0072312 |  | Resid Sum of Squares |  | 0.71997 |  | 4316.07 | -0.057253
# of Values Extracted = |  |  | 177
# of Values Used in Fit = |  |  | 147
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 220.011 | 0.023 | 0 | 0.023 | 0.063377 | 0.040377 |  | 220.011 | 0.023
1 | YES | 201.006 | 0.0255 | 0.0021213 | 0.0255 | 0.063936 | 0.038436 |  | 201.006 | 0.0255
1 | YES | 176 | 0.0305 | 0.00070711 | 0.0305 | 0.064673 | 0.034173 |  | 176 | 0.0305
1 | YES | 151.003 | 0.044 | 0.0014142 | 0.044 | 0.065409 | 0.021409 |  | 151.003 | 0.044
1 | YES | 126.007 | 0.2285 | 0.0021213 | 0.0855 | 0.066145 | -0.019355 |  | 126.007 | 0.0855
1 | YES | 100.991 | 0.535 | 0.079196 | 0.213 | 0.066882 | -0.14612 |  | 100.991 | 0.213
1 | NO | 49.0015 | 2.965 | 0.074953 | 0.294 | 0.068413 | -0.22559 |  | 201 | 0.012
1 | NO | 25.002 | 3.8815 | 0.12374 | 0.3695 | 0.06912 | -0.30038 |  | 201 | 0.021
1 | NO | 11.995 | 5.689 | 0 | 0.286 | 0.069503 | -0.2165 |  | 98.996 | 0.0625
1 | NO | 0 | 0 | 0 | -6.591 | 0.069856 | 6.6609 |  | 98.3307 | 0.043667
2 | YES | 201 | 0.021 | 0 | 0.012 | 0.063936 | 0.051936 |  | 104.992 | 0.092
2 | YES | 201 | 0.021 | 0 | 0.021 | 0.063936 | 0.042936 |  | 76.0055 | 0.092
2 | YES | 98.996 | 0.5765 | 0.036062 | 0.0625 | 0.06694 | 0.0044405 |  | 76.0055 | 0.092
2 | YES | 98.3307 | 0.59367 | 0.039171 | 0.043667 | 0.06696 | 0.023293 |  | 51.0125 | 0.148
2 | NO | 51.0025 | 2.92 | 0.046669 | 0.311 | 0.068354 | -0.24265 |  | 27.003 | 0.209
2 | NO | 51.0025 | 2.92 | 0.046669 | 0.287 | 0.068354 | -0.21865 |  | 10.999 | -0.0465
2 | NO | 10.9945 | 5.5475 | 0.030405 | -0.3655 | 0.069532 | 0.43503 |  | 1251 | -0.0025
2 | NO | 10.9945 | 5.5475 | 0.030405 | -0.1275 | 0.069532 | 0.19703 |  | 1251 | 0.0035
3 | YES | 104.992 | 1.643 | 0 | 0.092 | 0.066764 | -0.025236 |  | 1001.01 | 0.017
3 | YES | 76.0055 | 2.285 | 0.014142 | 0.092 | 0.067618 | -0.024382 |  | 801.001 | 0.0185
3 | YES | 76.0055 | 2.285 | 0.014142 | 0.092 | 0.067618 | -0.024382 |  | 600.992 | 0.025
3 | YES | 51.0125 | 2.844 | 0.060811 | 0.148 | 0.068354 | -0.079646 |  | 400.995 | 0.057
3 | YES | 27.003 | 4.83 | 0.20789 | 0.209 | 0.069061 | -0.13994 |  | 301.001 | 0.041
3 | YES | 10.999 | 5.7745 | 0.099702 | -0.0465 | 0.069532 | 0.11603 |  | 200.996 | 0.077
3 | NO | 6.616 | 5.817 | 0 | -0.128 | 0.069661 | 0.19766 |  | 173.998 | 0.0535
4 | NO | 0 | 0 | 0 | -0.55 | 0.069856 | 0.61986 |  | 151.015 | 0.0615
4 | YES | 1251 | 0.4435 | 0.0021213 | -0.0025 | 0.033014 | 0.035514 |  | 51.0005 | 0.136
4 | YES | 1251 | 0.4435 | 0.0021213 | 0.0035 | 0.033014 | 0.029514 |  | 24.999 | 0.148
4 | YES | 1001.01 | 0.268 | 0.0028284 | 0.017 | 0.040376 | 0.023376 |  | 10.9895 | -0.071
4 | YES | 801.001 | 0.2555 | 0.00070712 | 0.0185 | 0.046266 | 0.027766 |  | 2004.6 | -0.09
4 | YES | 600.992 | 0.489 | 0.0014142 | 0.025 | 0.052157 | 0.027157 |  | 1501.33 | -0.026333
4 | YES | 400.995 | 1.127 | 0.0084853 | 0.057 | 0.058047 | 0.0010466 |  | 1501.33 | -0.027333
4 | YES | 301.001 | 1.404 | 0.0014142 | 0.041 | 0.060991 | 0.019991 |  | 1250.98 | 0.011
4 | YES | 200.996 | 1.812 | 0.0028285 | 0.077 | 0.063937 | -0.013063 |  | 1001 | 0.013
4 | YES | 173.998 | 2.0055 | 0.026163 | 0.0535 | 0.064732 | 0.011232 |  | 599.225 | -0.0025
4 | YES | 151.015 | 2.4275 | 0.033234 | 0.0615 | 0.065409 | 0.0039084 |  | 298.999 | -0.0595
4 | NO | 126.001 | 3.2135 | 0.13506 | 0.3235 | 0.066145 | -0.25735 |  | 248.986 | -0.017
4 | NO | 100.999 | 4.0165 | 0.12091 | 0.4825 | 0.066881 | -0.41562 |  | 200.999 | 0.0725
4 | NO | 75.991 | 5.578 | 0.10182 | 0.676 | 0.067618 | -0.60838 |  | 174.003 | 0.048
4 | YES | 51.0005 | 6.509 | 0.021213 | 0.136 | 0.068354 | -0.067646 |  | 150.992 | 0.0010002
4 | YES | 24.999 | 6.747 | 0.041012 | 0.148 | 0.06912 | -0.07888 |  | 124.01 | 0.054
4 | YES | 10.9895 | 6.651 | 0.15132 | -0.071 | 0.069532 | 0.14053 |  | 101.091 | -0.0094996
4 | NO | 5.0467 | 6.7253 | 0.0097126 | -0.13467 | 0.069707 | 0.20437 |  | 76.006 | 0.016
5 | YES | 2004.6 | 1.361 | 0 | -0.09 | 0.01082 | 0.10082 |  | 48.9855 | 0.1795
5 | YES | 1501.33 | 0.65467 | 0.0023094 | -0.026333 | 0.025642 | 0.051975 |  | 25 | -0.044
5 | YES | 1501.33 | 0.65467 | 0.0023094 | -0.027333 | 0.025642 | 0.052975 |  | 11.01 | 0.045
5 | YES | 1250.98 | 0.366 | 0.0042426 | 0.011 | 0.033014 | 0.022014 |  | 5.0023 | -0.019667
5 | YES | 1001 | 0.25 | 0 | 0.013 | 0.040376 | 0.027376 |  | 3001.01 | 0.0044999
5 | YES | 599.225 | 0.4255 | 0.0007071 | -0.0025 | 0.052209 | 0.054709 |  | 2501 | -0.073
5 | YES | 298.999 | 1.8505 | 0.010607 | -0.0595 | 0.06105 | 0.12055 |  | 2501 | 0.047
5 | YES | 248.986 | 2.017 | 0.0070711 | -0.017 | 0.062523 | 0.079523 |  | 2000.99 | 0.092
5 | YES | 200.999 | 2.1195 | 0.006364 | 0.0725 | 0.063936 | -0.0085637 |  | 1501.32 | 0.035
5 | YES | 174.003 | 2.195 | 0.0028284 | 0.048 | 0.064732 | 0.016731 |  | 1250.99 | -0.028
5 | YES | 150.992 | 2.334 | 0.0098996 | 0.0010002 | 0.065409 | 0.064409 |  | 1001.01 | 0.034
5 | YES | 124.01 | 2.901 | 0.014142 | 0.054 | 0.066204 | 0.012204 |  | 801.012 | 0.0325
5 | YES | 101.091 | 4.2025 | 0.064347 | -0.0094996 | 0.066879 | 0.076378 |  | 600.994 | 0.0385
5 | YES | 76.006 | 6.114 | 0.048083 | 0.016 | 0.067618 | 0.051618 |  | 401.022 | 0.1415
5 | YES | 48.9855 | 6.6595 | 0.0049497 | 0.1795 | 0.068413 | -0.11109 |  | 75.991 | 0.188
5 | YES | 25 | 6.038 | 0.012728 | -0.044 | 0.06912 | 0.11312 |  | 50.9945 | 0.154
5 | YES | 11.01 | 6.016 | 0.012728 | 0.045 | 0.069532 | 0.024532 |  | 8.9985 | 0.034
5 | YES | 5.0023 | 5.9473 | 0.020108 | -0.019667 | 0.069709 | 0.089375 |  | 5.042 | 0.018667
6 | NO | 0 | 0 | 0 | -2.344 | 0.069856 | 2.4139 |  | 3500.98 | -0.036
6 | YES | 3001.01 | 2.2955 | 0.0021213 | 0.0044999 | -0.018524 | -0.023024 |  | 2999 | -0.0265
6 | YES | 2501 | 1.909 | 0.0056569 | -0.073 | -0.0037987 | 0.069201 |  | 2498.01 | 0.001
6 | YES | 2501 | 1.909 | 0.0056569 | 0.047 | -0.0037987 | -0.050799 |  | 2498.01 | 0.0020001
6 | YES | 2000.99 | 1.39 | 0.0028284 | 0.092 | 0.010927 | -0.081073 |  | 2001.02 | 0.0235
6 | YES | 1501.32 | 0.658 | 0.001732 | 0.035 | 0.025642 | -0.009358 |  | 1501.31 | -0.024333
6 | YES | 1250.99 | 0.417 | 0 | -0.028 | 0.033014 | 0.061014 |  | 1251 | 0.014
6 | YES | 1001.01 | 0.273 | 0.0014142 | 0.034 | 0.040376 | 0.0063761 |  | 1001 | 0.016
6 | YES | 801.012 | 0.3435 | 0.00070712 | 0.0325 | 0.046266 | 0.013766 |  | 800.988 | 0.062
6 | YES | 600.994 | 0.6225 | 0.0049497 | 0.0385 | 0.052157 | 0.013657 |  | 599.006 | 0.053
6 | YES | 401.022 | 1.6235 | 0.020506 | 0.1415 | 0.058046 | -0.083454 |  | 398.729 | 0.1685
6 | NO | 301.004 | 3.0255 | 0.02192 | 0.2945 | 0.060991 | -0.23351 |  | 300.996 | 0.161
6 | NO | 249.005 | 3.965 | 0.049497 | 0.468 | 0.062523 | -0.40548 |  | 201.009 | 0.189
6 | NO | 201.012 | 4.708 | 0.03677 | 0.417 | 0.063936 | -0.35306 |  | 176.014 | 0.169
6 | NO | 176.003 | 5 | 0.0042423 | 0.356 | 0.064673 | -0.29133 |  | 148.995 | 0.245
6 | NO | 151.01 | 5.4975 | 0.017678 | 0.6095 | 0.065409 | -0.54409 |  | 126.091 | 0.113
6 | NO | 123.986 | 6.0645 | 0.017678 | 0.7185 | 0.066205 | -0.6523 |  | 100.984 | 0.2
6 | NO | 100.997 | 6.53 | 0.084853 | 0.447 | 0.066882 | -0.38012 |  | 74.016 | 0.1275
6 | YES | 75.991 | 7.02 | 0.0098995 | 0.188 | 0.067618 | -0.12038 |  | 48.9915 | 0.2015
6 | YES | 50.9945 | 7.22 | 0.008485 | 0.154 | 0.068354 | -0.085646 |  | 25.0025 | 0.036
6 | NO | 24.9955 | 6.02 | 0.065054 | -0.368 | 0.06912 | 0.43712 |  | 10.9895 | 0.0565
6 | YES | 8.9985 | 5.953 | 0.0014141 | 0.034 | 0.069591 | 0.035591 |  | 5.8148 | 0.03825
6 | YES | 5.042 | 5.9447 | 0.01115 | 0.018667 | 0.069707 | 0.051041 |  | 4316.07 | 0.02
7 | YES | 3500.98 | 2.715 | 0.0056569 | -0.036 | -0.033248 | 0.0027517 |  | 3999 | -0.013
7 | YES | 2999 | 2.4395 | 0.00070722 | -0.0265 | -0.018465 | 0.0080354 |  | 3501 | 0.0075002
7 | YES | 2498.01 | 1.909 | 0 | 0.001 | -0.0037106 | -0.0047106 |  | 3001 | -0.0015001
7 | YES | 2498.01 | 1.909 | 0 | 0.0020001 | -0.0037106 | -0.0057107 |  | 2501.01 | -0.042
7 | YES | 2001.02 | 1.2425 | 0.0063639 | 0.0235 | 0.010926 | -0.012574 |  | 2002.99 | -0.0355
7 | YES | 1501.31 | 0.48267 | 0.0023094 | -0.024333 | 0.025642 | 0.049976 |  | 1501.32 | 0.044667
7 | YES | 1251 | 0.325 | 0 | 0.014 | 0.033014 | 0.019014 |  | 1250.99 | 0.0285
7 | YES | 1001 | 0.301 | 0.0014142 | 0.016 | 0.040376 | 0.024376 |  | 998.974 | 0.0185
7 | YES | 800.988 | 0.45 | 0.0056568 | 0.062 | 0.046267 | -0.015733 |  | 598.976 | 0.044
7 | YES | 599.006 | 0.672 | 0.0028284 | 0.053 | 0.052215 | -0.00078484 |  | 399.109 | 0.041
7 | YES | 398.729 | 1.6785 | 0.0021212 | 0.1685 | 0.058113 | -0.11039 |  | 297.99 | 0.229
7 | YES | 300.996 | 2.693 | 0.0070711 | 0.161 | 0.060992 | -0.10001 |  | 247.988 | 0.137
7 | NO | 250.736 | 3.5125 | 0.10677 | 0.3275 | 0.062472 | -0.26503 |  | 201.004 | 0.057
7 | YES | 201.009 | 4.71 | 0.0056571 | 0.189 | 0.063936 | -0.12506 |  | 174.992 | 0.232
7 | YES | 176.014 | 5.317 | 0.021213 | 0.169 | 0.064672 | -0.10433 |  | 148.997 | 0.2025
7 | YES | 148.995 | 6.067 | 0.032527 | 0.245 | 0.065468 | -0.17953 |  | 124.028 | 0.138
7 | YES | 126.091 | 6.717 | 0.032527 | 0.113 | 0.066143 | -0.046857 |  | 100.993 | 0.1705
7 | YES | 100.984 | 7.013 | 0.0056571 | 0.2 | 0.066882 | -0.13312 |  | 74.307 | 0.195
7 | YES | 74.016 | 7.1325 | 0.0091924 | 0.1275 | 0.067676 | -0.059824 |  | 51.0035 | 0.193
7 | YES | 48.9915 | 7.1555 | 0.024749 | 0.2015 | 0.068413 | -0.13309 |  | 22.994 | 0.1485
7 | YES | 25.0025 | 6.06 | 0.011314 | 0.036 | 0.06912 | 0.03312 |  | 10.981 | 0.0995
7 | YES | 10.9895 | 6.0235 | 0.030406 | 0.0565 | 0.069532 | 0.013032 |  | 5.0303 | -0.089667
7 | YES | 5.8148 | 6.0163 | 0.015521 | 0.03825 | 0.069685 | 0.031435 |  | 3498.99 | -0.0355
8 | YES | 4316.07 | 3.245 | 0 | 0.02 | -0.057253 | -0.077253 |  | 3498.99 | 0.0085001
8 | YES | 3999 | 3.186 | 0.0042425 | -0.013 | -0.047915 | -0.034915 |  | 2998.99 | 0.0265
8 | YES | 3501 | 2.9625 | 0.00070722 | 0.0075002 | -0.033249 | -0.040749 |  | 2501.01 | -0.024
8 | YES | 3001 | 2.5365 | 0.0049497 | -0.0015001 | -0.018524 | -0.017024 |  | 1999.01 | 0.0084999
8 | YES | 2501.01 | 1.911 | 0.0098995 | -0.042 | -0.0037989 | 0.038201 |  | 1501.34 | -0.010667
8 | YES | 2002.99 | 1.2675 | 0.0049497 | -0.0355 | 0.010868 | 0.046368 |  | 1253 | 0.0035
8 | YES | 1501.32 | 0.54367 | 0.0023094 | 0.044667 | 0.025642 | -0.019025 |  | 1001 | 0.017
8 | YES | 1250.99 | 0.3705 | 0.0021213 | 0.0285 | 0.033014 | 0.0045142 |  | 800.997 | -0.00049999
8 | YES | 998.974 | 0.3965 | 0.00070712 | 0.0185 | 0.040436 | 0.021936 |  | 600.995 | 0.054
8 | YES | 598.976 | 0.671 | 0.0028284 | 0.044 | 0.052216 | 0.008216 |  | 399 | 0.13
8 | YES | 399.109 | 1.217 | 0.0042427 | 0.041 | 0.058102 | 0.017102 |  | 300.987 | 0.033
8 | YES | 297.99 | 2.124 | 0 | 0.229 | 0.06108 | -0.16792 |  | 251.003 | 0.0955
8 | YES | 247.988 | 2.894 | 0 | 0.137 | 0.062553 | -0.074447 |  | 199.07 | -0.0865
8 | YES | 201.004 | 3.796 | 0.0084853 | 0.057 | 0.063936 | 0.0069364 |  | 175.996 | 0.042
8 | YES | 174.992 | 4.644 | 0 | 0.232 | 0.064702 | -0.1673 |  | 99.0295 | 0.14
8 | YES | 148.997 | 5.6095 | 0.023335 | 0.2025 | 0.065468 | -0.13703 |  | 74.021 | 0.113
8 | YES | 124.028 | 6.665 | 0.13011 | 0.138 | 0.066203 | -0.071797 |  | 48.9935 | 0.1065
8 | YES | 100.993 | 7.0985 | 0.00070706 | 0.1705 | 0.066882 | -0.10362 |  | 24.991 | 0.1005
8 | YES | 74.307 | 7.101 | 0.028284 | 0.195 | 0.067668 | -0.12733 |  | 9.0005 | 0.00049973
8 | YES | 51.0035 | 7.106 | 0.015557 | 0.193 | 0.068354 | -0.12465 |  | 4.933 | 0.0039997
8 | YES | 22.994 | 6.3895 | 0.086974 | 0.1485 | 0.069179 | -0.079321 |  | 1999.01 | -0.0155
8 | YES | 10.981 | 6.3115 | 0.010606 | 0.0995 | 0.069533 | -0.029967 |  | 1248.98 | 0.0155
8 | YES | 5.0303 | 6.2853 | 0.010214 | -0.089667 | 0.069708 | 0.15937 |  | 998.988 | 0.0345
9 | NO | 0 | 0 | 0 | -3.177 | 0.069856 | 3.2469 |  | 798.994 | -0.011
9 | YES | 3498.99 | 2.8455 | 0.0049497 | -0.0355 | -0.03319 | 0.0023105 |  | 598.997 | 0.0175
9 | YES | 3498.99 | 2.8455 | 0.0049497 | 0.0085001 | -0.03319 | -0.04169 |  | 403.014 | -0.006
9 | YES | 2998.99 | 2.5105 | 0.0021213 | 0.0265 | -0.018464 | -0.044964 |  | 301.004 | -0.028
9 | YES | 2501.01 | 1.924 | 0.0070711 | -0.024 | -0.0037989 | 0.020201 |  | 251.003 | -0.012
9 | YES | 1999.01 | 1.2875 | 0.0035355 | 0.0084999 | 0.010985 | 0.0024851 |  | 199.995 | 0.046667
9 | YES | 1501.34 | 0.53333 | 0.0011547 | -0.010667 | 0.025641 | 0.036308 |  | 175.995 | 0.0935
9 | YES | 1253 | 0.3435 | 0.00070712 | 0.0035 | 0.032955 | 0.029455 |  | 150.991 | 0.063
9 | YES | 1001 | 0.338 | 0 | 0.017 | 0.040376 | 0.023376 |  | 99.0115 | 0.0855
9 | YES | 800.997 | 0.4705 | 0.0035355 | -0.00049999 | 0.046267 | 0.046767 |  | 73.995 | -0.0605
9 | YES | 600.995 | 0.654 | 0.0028284 | 0.054 | 0.052157 | -0.0018434 |  | 48.9935 | 0.151
9 | YES | 399 | 1.425 | 0.0056569 | 0.13 | 0.058105 | -0.071895 |  | 29.0035 | -0.026
9 | YES | 300.987 | 2.119 | 0.012728 | 0.033 | 0.060992 | 0.027992 |  | 22.9965 | -0.0145
9 | YES | 251.003 | 2.7615 | 0.026163 | 0.0955 | 0.062464 | -0.033036 |  | 21.004 | -0.013
9 | YES | 199.07 | 3.8345 | 0.036062 | -0.0865 | 0.063993 | 0.15049 |  | 10.987 | -0.0355
9 | YES | 175.996 | 4.437 | 0.029699 | 0.042 | 0.064673 | 0.022673 |  | 5.1547 | -0.031333
9 | NO | 151.294 | 4.7945 | 0.08556 | -0.6395 | 0.0654 | 0.7049 |  | 4.489 | -0.07
9 | NO | 123.997 | 6.173 | 0.10324 | -0.117 | 0.066204 | 0.1832
9 | YES | 99.0295 | 6.867 | 0.039598 | 0.14 | 0.066939 | -0.073061
9 | YES | 74.021 | 6.956 | 0.0014141 | 0.113 | 0.067676 | -0.045324
9 | YES | 48.9935 | 7.0425 | 0.0049497 | 0.1065 | 0.068413 | -0.038087
9 | YES | 24.991 | 6.2085 | 0.010606 | 0.1005 | 0.06912 | -0.03138
9 | YES | 9.0005 | 6.1045 | 0.023335 | 0.00049973 | 0.069591 | 0.069091
9 | YES | 4.933 | 6.115 | 0.0151 | 0.0039997 | 0.069711 | 0.065711
10 | YES | 1999.01 | 1.2745 | 0.0035355 | -0.0155 | 0.010985 | 0.026485
10 | NO | 0 | 0 | 0 | -0.563 | 0.069856 | 0.63286
10 | YES | 1248.98 | 0.3265 | 0.0007071 | 0.0155 | 0.033073 | 0.017573
10 | YES | 998.988 | 0.2885 | 0.00070712 | 0.0345 | 0.040436 | 0.0059357
10 | YES | 798.994 | 0.377 | 0.0014142 | -0.011 | 0.046326 | 0.057326
10 | YES | 598.997 | 0.5845 | 0.0035355 | 0.0175 | 0.052215 | 0.034715
10 | YES | 403.014 | 1.096 | 0.0042426 | -0.006 | 0.057987 | 0.063987
10 | YES | 301.004 | 1.519 | 0.024042 | -0.028 | 0.060991 | 0.088991
10 | YES | 251.003 | 1.809 | 0.015556 | -0.012 | 0.062464 | 0.074464
10 | YES | 199.995 | 2.2757 | 0.023352 | 0.046667 | 0.063966 | 0.017299
10 | YES | 175.995 | 2.5485 | 0.030406 | 0.0935 | 0.064673 | -0.028827
10 | YES | 150.991 | 2.83 | 0.012728 | 0.063 | 0.065409 | 0.0024092
10 | NO | 123.999 | 3.4905 | 0.034648 | -0.6735 | 0.066204 | 0.7397
10 | YES | 99.0115 | 5.8005 | 0.0091924 | 0.0855 | 0.06694 | -0.01856
10 | YES | 73.995 | 6.5205 | 0.074246 | -0.0605 | 0.067677 | 0.12818
10 | YES | 48.9935 | 7.097 | 0.011314 | 0.151 | 0.068413 | -0.082587
10 | NO | 39.992 | 6.548 | 0.11879 | -0.456 | 0.068678 | 0.52468
10 | YES | 29.0035 | 6.054 | 0.012728 | -0.026 | 0.069002 | 0.095002
10 | YES | 22.9965 | 6.0545 | 0.013435 | -0.0145 | 0.069179 | 0.083678
10 | YES | 21.004 | 6.054 | 0.012728 | -0.013 | 0.069237 | 0.082237
10 | YES | 10.987 | 5.9745 | 0.034648 | -0.0355 | 0.069532 | 0.10503
10 | YES | 5.1547 | 5.9687 | 0.010066 | -0.031333 | 0.069704 | 0.10104
10 | YES | 4.489 | 5.958 | 0 | -0.07 | 0.069724 | 0.13972
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (4)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0071621 |  | X | CALC Y
m= | -0.002609 | 0.002551 |  | Std Dev of Resid |  | 0.076052 |  | 1 | 0.063163
b= | 0.065771 | 0.018208 |  | Resid Sum of Squares |  | 0.83867 |  | 10 | 0.039682
# of Values Extracted = |  |  | 177
# of Values Used in Fit = |  |  | 147
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 220.011 | 0.023 | 0 | 0.023 | 0.063163 | 0.040163 |  | 1 | 0.023
1 | YES | 201.006 | 0.0255 | 0.0021213 | 0.0255 | 0.063163 | 0.037663 |  | 1 | 0.0255
1 | YES | 176 | 0.0305 | 0.00070711 | 0.0305 | 0.063163 | 0.032663 |  | 1 | 0.0305
1 | YES | 151.003 | 0.044 | 0.0014142 | 0.044 | 0.063163 | 0.019163 |  | 1 | 0.044
1 | YES | 126.007 | 0.2285 | 0.0021213 | 0.0855 | 0.063163 | -0.022337 |  | 1 | 0.0855
1 | YES | 100.991 | 0.535 | 0.079196 | 0.213 | 0.063163 | -0.14984 |  | 1 | 0.213
1 | NO | 49.0015 | 2.965 | 0.074953 | 0.294 | 0.063163 | -0.23084 |  | 2 | 0.012
1 | NO | 25.002 | 3.8815 | 0.12374 | 0.3695 | 0.063163 | -0.30634 |  | 2 | 0.021
1 | NO | 11.995 | 5.689 | 0 | 0.286 | 0.063163 | -0.22284 |  | 2 | 0.0625
1 | NO | 0 | 0 | 0 | -6.591 | 0.063163 | 6.6542 |  | 2 | 0.043667
2 | YES | 201 | 0.021 | 0 | 0.012 | 0.060554 | 0.048554 |  | 3 | 0.092
2 | YES | 201 | 0.021 | 0 | 0.021 | 0.060554 | 0.039554 |  | 3 | 0.092
2 | YES | 98.996 | 0.5765 | 0.036062 | 0.0625 | 0.060554 | -0.0019464 |  | 3 | 0.092
2 | YES | 98.3307 | 0.59367 | 0.039171 | 0.043667 | 0.060554 | 0.016887 |  | 3 | 0.148
2 | NO | 51.0025 | 2.92 | 0.046669 | 0.311 | 0.060554 | -0.25045 |  | 3 | 0.209
2 | NO | 51.0025 | 2.92 | 0.046669 | 0.287 | 0.060554 | -0.22645 |  | 3 | -0.0465
2 | NO | 10.9945 | 5.5475 | 0.030405 | -0.3655 | 0.060554 | 0.42605 |  | 4 | -0.0025
2 | NO | 10.9945 | 5.5475 | 0.030405 | -0.1275 | 0.060554 | 0.18805 |  | 4 | 0.0035
3 | YES | 104.992 | 1.643 | 0 | 0.092 | 0.057945 | -0.034055 |  | 4 | 0.017
3 | YES | 76.0055 | 2.285 | 0.014142 | 0.092 | 0.057945 | -0.034055 |  | 4 | 0.0185
3 | YES | 76.0055 | 2.285 | 0.014142 | 0.092 | 0.057945 | -0.034055 |  | 4 | 0.025
3 | YES | 51.0125 | 2.844 | 0.060811 | 0.148 | 0.057945 | -0.090055 |  | 4 | 0.057
3 | YES | 27.003 | 4.83 | 0.20789 | 0.209 | 0.057945 | -0.15106 |  | 4 | 0.041
3 | YES | 10.999 | 5.7745 | 0.099702 | -0.0465 | 0.057945 | 0.10444 |  | 4 | 0.077
3 | NO | 6.616 | 5.817 | 0 | -0.128 | 0.057945 | 0.18594 |  | 4 | 0.0535
4 | NO | 0 | 0 | 0 | -0.55 | 0.055336 | 0.60534 |  | 4 | 0.0615
4 | YES | 1251 | 0.4435 | 0.0021213 | -0.0025 | 0.055336 | 0.057836 |  | 4 | 0.136
4 | YES | 1251 | 0.4435 | 0.0021213 | 0.0035 | 0.055336 | 0.051836 |  | 4 | 0.148
4 | YES | 1001.01 | 0.268 | 0.0028284 | 0.017 | 0.055336 | 0.038336 |  | 4 | -0.071
4 | YES | 801.001 | 0.2555 | 0.00070712 | 0.0185 | 0.055336 | 0.036836 |  | 5 | -0.09
4 | YES | 600.992 | 0.489 | 0.0014142 | 0.025 | 0.055336 | 0.030336 |  | 5 | -0.026333
4 | YES | 400.995 | 1.127 | 0.0084853 | 0.057 | 0.055336 | -0.0016644 |  | 5 | -0.027333
4 | YES | 301.001 | 1.404 | 0.0014142 | 0.041 | 0.055336 | 0.014336 |  | 5 | 0.011
4 | YES | 200.996 | 1.812 | 0.0028285 | 0.077 | 0.055336 | -0.021664 |  | 5 | 0.013
4 | YES | 173.998 | 2.0055 | 0.026163 | 0.0535 | 0.055336 | 0.0018358 |  | 5 | -0.0025
4 | YES | 151.015 | 2.4275 | 0.033234 | 0.0615 | 0.055336 | -0.0061645 |  | 5 | -0.0595
4 | NO | 126.001 | 3.2135 | 0.13506 | 0.3235 | 0.055336 | -0.26816 |  | 5 | -0.017
4 | NO | 100.999 | 4.0165 | 0.12091 | 0.4825 | 0.055336 | -0.42716 |  | 5 | 0.0725
4 | NO | 75.991 | 5.578 | 0.10182 | 0.676 | 0.055336 | -0.62066 |  | 5 | 0.048
4 | YES | 51.0005 | 6.509 | 0.021213 | 0.136 | 0.055336 | -0.080664 |  | 5 | 0.0010002
4 | YES | 24.999 | 6.747 | 0.041012 | 0.148 | 0.055336 | -0.092664 |  | 5 | 0.054
4 | YES | 10.9895 | 6.651 | 0.15132 | -0.071 | 0.055336 | 0.12634 |  | 5 | -0.0094996
4 | NO | 5.0467 | 6.7253 | 0.0097126 | -0.13467 | 0.055336 | 0.19 |  | 5 | 0.016
5 | YES | 2004.6 | 1.361 | 0 | -0.09 | 0.052727 | 0.14273 |  | 5 | 0.1795
5 | YES | 1501.33 | 0.65467 | 0.0023094 | -0.026333 | 0.052727 | 0.07906 |  | 5 | -0.044
5 | YES | 1501.33 | 0.65467 | 0.0023094 | -0.027333 | 0.052727 | 0.08006 |  | 5 | 0.045
5 | YES | 1250.98 | 0.366 | 0.0042426 | 0.011 | 0.052727 | 0.041727 |  | 5 | -0.019667
5 | YES | 1001 | 0.25 | 0 | 0.013 | 0.052727 | 0.039727 |  | 6 | 0.0044999
5 | YES | 599.225 | 0.4255 | 0.0007071 | -0.0025 | 0.052727 | 0.055227 |  | 6 | -0.073
5 | YES | 298.999 | 1.8505 | 0.010607 | -0.0595 | 0.052727 | 0.11223 |  | 6 | 0.047
5 | YES | 248.986 | 2.017 | 0.0070711 | -0.017 | 0.052727 | 0.069726 |  | 6 | 0.092
5 | YES | 200.999 | 2.1195 | 0.006364 | 0.0725 | 0.052727 | -0.019774 |  | 6 | 0.035
5 | YES | 174.003 | 2.195 | 0.0028284 | 0.048 | 0.052727 | 0.0047266 |  | 6 | -0.028
5 | YES | 150.992 | 2.334 | 0.0098996 | 0.0010002 | 0.052727 | 0.051727 |  | 6 | 0.034
5 | YES | 124.01 | 2.901 | 0.014142 | 0.054 | 0.052727 | -0.0012734 |  | 6 | 0.0325
5 | YES | 101.091 | 4.2025 | 0.064347 | -0.0094996 | 0.052727 | 0.062226 |  | 6 | 0.0385
5 | YES | 76.006 | 6.114 | 0.048083 | 0.016 | 0.052727 | 0.036727 |  | 6 | 0.1415
5 | YES | 48.9855 | 6.6595 | 0.0049497 | 0.1795 | 0.052727 | -0.12677 |  | 6 | 0.188
5 | YES | 25 | 6.038 | 0.012728 | -0.044 | 0.052727 | 0.096726 |  | 6 | 0.154
5 | YES | 11.01 | 6.016 | 0.012728 | 0.045 | 0.052727 | 0.0077271 |  | 6 | 0.034
5 | YES | 5.0023 | 5.9473 | 0.020108 | -0.019667 | 0.052727 | 0.072393 |  | 6 | 0.018667
6 | NO | 0 | 0 | 0 | -2.344 | 0.050118 | 2.3941 |  | 7 | -0.036
6 | YES | 3001.01 | 2.2955 | 0.0021213 | 0.0044999 | 0.050118 | 0.045618 |  | 7 | -0.0265
6 | YES | 2501 | 1.909 | 0.0056569 | -0.073 | 0.050118 | 0.12312 |  | 7 | 0.001
6 | YES | 2501 | 1.909 | 0.0056569 | 0.047 | 0.050118 | 0.0031178 |  | 7 | 0.0020001
6 | YES | 2000.99 | 1.39 | 0.0028284 | 0.092 | 0.050118 | -0.041882 |  | 7 | 0.0235
6 | YES | 1501.32 | 0.658 | 0.001732 | 0.035 | 0.050118 | 0.015118 |  | 7 | -0.024333
6 | YES | 1250.99 | 0.417 | 0 | -0.028 | 0.050118 | 0.078118 |  | 7 | 0.014
6 | YES | 1001.01 | 0.273 | 0.0014142 | 0.034 | 0.050118 | 0.016118 |  | 7 | 0.016
6 | YES | 801.012 | 0.3435 | 0.00070712 | 0.0325 | 0.050118 | 0.017618 |  | 7 | 0.062
6 | YES | 600.994 | 0.6225 | 0.0049497 | 0.0385 | 0.050118 | 0.011618 |  | 7 | 0.053
6 | YES | 401.022 | 1.6235 | 0.020506 | 0.1415 | 0.050118 | -0.091382 |  | 7 | 0.1685
6 | NO | 301.004 | 3.0255 | 0.02192 | 0.2945 | 0.050118 | -0.24438 |  | 7 | 0.161
6 | NO | 249.005 | 3.965 | 0.049497 | 0.468 | 0.050118 | -0.41788 |  | 7 | 0.189
6 | NO | 201.012 | 4.708 | 0.03677 | 0.417 | 0.050118 | -0.36688 |  | 7 | 0.169
6 | NO | 176.003 | 5 | 0.0042423 | 0.356 | 0.050118 | -0.30588 |  | 7 | 0.245
6 | NO | 151.01 | 5.4975 | 0.017678 | 0.6095 | 0.050118 | -0.55938 |  | 7 | 0.113
6 | NO | 123.986 | 6.0645 | 0.017678 | 0.7185 | 0.050118 | -0.66838 |  | 7 | 0.2
6 | NO | 100.997 | 6.53 | 0.084853 | 0.447 | 0.050118 | -0.39688 |  | 7 | 0.1275
6 | YES | 75.991 | 7.02 | 0.0098995 | 0.188 | 0.050118 | -0.13788 |  | 7 | 0.2015
6 | YES | 50.9945 | 7.22 | 0.008485 | 0.154 | 0.050118 | -0.10388 |  | 7 | 0.036
6 | NO | 24.9955 | 6.02 | 0.065054 | -0.368 | 0.050118 | 0.41812 |  | 7 | 0.0565
6 | YES | 8.9985 | 5.953 | 0.0014141 | 0.034 | 0.050118 | 0.016118 |  | 7 | 0.03825
6 | YES | 5.042 | 5.9447 | 0.01115 | 0.018667 | 0.050118 | 0.031451 |  | 8 | 0.02
7 | YES | 3500.98 | 2.715 | 0.0056569 | -0.036 | 0.047509 | 0.083509 |  | 8 | -0.013
7 | YES | 2999 | 2.4395 | 0.00070722 | -0.0265 | 0.047509 | 0.074009 |  | 8 | 0.0075002
7 | YES | 2498.01 | 1.909 | 0 | 0.001 | 0.047509 | 0.046509 |  | 8 | -0.0015001
7 | YES | 2498.01 | 1.909 | 0 | 0.0020001 | 0.047509 | 0.045509 |  | 8 | -0.042
7 | YES | 2001.02 | 1.2425 | 0.0063639 | 0.0235 | 0.047509 | 0.024009 |  | 8 | -0.0355
7 | YES | 1501.31 | 0.48267 | 0.0023094 | -0.024333 | 0.047509 | 0.071842 |  | 8 | 0.044667
7 | YES | 1251 | 0.325 | 0 | 0.014 | 0.047509 | 0.033509 |  | 8 | 0.0285
7 | YES | 1001 | 0.301 | 0.0014142 | 0.016 | 0.047509 | 0.031509 |  | 8 | 0.0185
7 | YES | 800.988 | 0.45 | 0.0056568 | 0.062 | 0.047509 | -0.014491 |  | 8 | 0.044
7 | YES | 599.006 | 0.672 | 0.0028284 | 0.053 | 0.047509 | -0.0054912 |  | 8 | 0.041
7 | YES | 398.729 | 1.6785 | 0.0021212 | 0.1685 | 0.047509 | -0.12099 |  | 8 | 0.229
7 | YES | 300.996 | 2.693 | 0.0070711 | 0.161 | 0.047509 | -0.11349 |  | 8 | 0.137
7 | NO | 250.736 | 3.5125 | 0.10677 | 0.3275 | 0.047509 | -0.27999 |  | 8 | 0.057
7 | YES | 201.009 | 4.71 | 0.0056571 | 0.189 | 0.047509 | -0.14149 |  | 8 | 0.232
7 | YES | 176.014 | 5.317 | 0.021213 | 0.169 | 0.047509 | -0.12149 |  | 8 | 0.2025
7 | YES | 148.995 | 6.067 | 0.032527 | 0.245 | 0.047509 | -0.19749 |  | 8 | 0.138
7 | YES | 126.091 | 6.717 | 0.032527 | 0.113 | 0.047509 | -0.065491 |  | 8 | 0.1705
7 | YES | 100.984 | 7.013 | 0.0056571 | 0.2 | 0.047509 | -0.15249 |  | 8 | 0.195
7 | YES | 74.016 | 7.1325 | 0.0091924 | 0.1275 | 0.047509 | -0.079991 |  | 8 | 0.193
7 | YES | 48.9915 | 7.1555 | 0.024749 | 0.2015 | 0.047509 | -0.15399 |  | 8 | 0.1485
7 | YES | 25.0025 | 6.06 | 0.011314 | 0.036 | 0.047509 | 0.011509 |  | 8 | 0.0995
7 | YES | 10.9895 | 6.0235 | 0.030406 | 0.0565 | 0.047509 | -0.0089912 |  | 8 | -0.089667
7 | YES | 5.8148 | 6.0163 | 0.015521 | 0.03825 | 0.047509 | 0.0092588 |  | 9 | -0.0355
8 | YES | 4316.07 | 3.245 | 0 | 0.02 | 0.0449 | 0.0249 |  | 9 | 0.0085001 | 0.057055
8 | YES | 3999 | 3.186 | 0.0042425 | -0.013 | 0.0449 | 0.0579 |  | 9 | 0.0265
8 | YES | 3501 | 2.9625 | 0.00070722 | 0.0075002 | 0.0449 | 0.0374 |  | 9 | -0.024
8 | YES | 3001 | 2.5365 | 0.0049497 | -0.0015001 | 0.0449 | 0.0464 |  | 9 | 0.0084999
8 | YES | 2501.01 | 1.911 | 0.0098995 | -0.042 | 0.0449 | 0.0869 |  | 9 | -0.010667
8 | YES | 2002.99 | 1.2675 | 0.0049497 | -0.0355 | 0.0449 | 0.0804 |  | 9 | 0.0035
8 | YES | 1501.32 | 0.54367 | 0.0023094 | 0.044667 | 0.0449 | 0.00023321 |  | 9 | 0.017
8 | YES | 1250.99 | 0.3705 | 0.0021213 | 0.0285 | 0.0449 | 0.0164 |  | 9 | -0.00049999
8 | YES | 998.974 | 0.3965 | 0.00070712 | 0.0185 | 0.0449 | 0.0264 |  | 9 | 0.054
8 | YES | 598.976 | 0.671 | 0.0028284 | 0.044 | 0.0449 | 0.00089981 |  | 9 | 0.13
8 | YES | 399.109 | 1.217 | 0.0042427 | 0.041 | 0.0449 | 0.0038998 |  | 9 | 0.033
8 | YES | 297.99 | 2.124 | 0 | 0.229 | 0.0449 | -0.1841 |  | 9 | 0.0955
8 | YES | 247.988 | 2.894 | 0 | 0.137 | 0.0449 | -0.0921 |  | 9 | -0.0865
8 | YES | 201.004 | 3.796 | 0.0084853 | 0.057 | 0.0449 | -0.0121 |  | 9 | 0.042
8 | YES | 174.992 | 4.644 | 0 | 0.232 | 0.0449 | -0.1871 |  | 9 | 0.14
8 | YES | 148.997 | 5.6095 | 0.023335 | 0.2025 | 0.0449 | -0.1576 |  | 9 | 0.113
8 | YES | 124.028 | 6.665 | 0.13011 | 0.138 | 0.0449 | -0.0931 |  | 9 | 0.1065
8 | YES | 100.993 | 7.0985 | 0.00070706 | 0.1705 | 0.0449 | -0.1256 |  | 9 | 0.1005
8 | YES | 74.307 | 7.101 | 0.028284 | 0.195 | 0.0449 | -0.1501 |  | 9 | 0.00049973
8 | YES | 51.0035 | 7.106 | 0.015557 | 0.193 | 0.0449 | -0.1481 |  | 9 | 0.0039997
8 | YES | 22.994 | 6.3895 | 0.086974 | 0.1485 | 0.0449 | -0.1036 |  | 10 | -0.0155
8 | YES | 10.981 | 6.3115 | 0.010606 | 0.0995 | 0.0449 | -0.0546 |  | 10 | 0.0155
8 | YES | 5.0303 | 6.2853 | 0.010214 | -0.089667 | 0.0449 | 0.13457 |  | 10 | 0.0345
9 | NO | 0 | 0 | 0 | -3.177 | 0.042291 | 3.2193 |  | 10 | -0.011
9 | YES | 3498.99 | 2.8455 | 0.0049497 | -0.0355 | 0.042291 | 0.077791 |  | 10 | 0.0175
9 | YES | 3498.99 | 2.8455 | 0.0049497 | 0.0085001 | 0.042291 | 0.033791 |  | 10 | -0.006
9 | YES | 2998.99 | 2.5105 | 0.0021213 | 0.0265 | 0.042291 | 0.015791 |  | 10 | -0.028
9 | YES | 2501.01 | 1.924 | 0.0070711 | -0.024 | 0.042291 | 0.066291 |  | 10 | -0.012
9 | YES | 1999.01 | 1.2875 | 0.0035355 | 0.0084999 | 0.042291 | 0.033791 |  | 10 | 0.046667
9 | YES | 1501.34 | 0.53333 | 0.0011547 | -0.010667 | 0.042291 | 0.052958 |  | 10 | 0.0935
9 | YES | 1253 | 0.3435 | 0.00070712 | 0.0035 | 0.042291 | 0.038791 |  | 10 | 0.063
9 | YES | 1001 | 0.338 | 0 | 0.017 | 0.042291 | 0.025291 |  | 10 | 0.0855
9 | YES | 800.997 | 0.4705 | 0.0035355 | -0.00049999 | 0.042291 | 0.042791 |  | 10 | -0.0605
9 | YES | 600.995 | 0.654 | 0.0028284 | 0.054 | 0.042291 | -0.011709 |  | 10 | 0.151
9 | YES | 399 | 1.425 | 0.0056569 | 0.13 | 0.042291 | -0.087709 |  | 10 | -0.026
9 | YES | 300.987 | 2.119 | 0.012728 | 0.033 | 0.042291 | 0.0092908 |  | 10 | -0.0145
9 | YES | 251.003 | 2.7615 | 0.026163 | 0.0955 | 0.042291 | -0.053209 |  | 10 | -0.013
9 | YES | 199.07 | 3.8345 | 0.036062 | -0.0865 | 0.042291 | 0.12879 |  | 10 | -0.0355
9 | YES | 175.996 | 4.437 | 0.029699 | 0.042 | 0.042291 | 0.00029054 |  | 10 | -0.031333
9 | NO | 151.294 | 4.7945 | 0.08556 | -0.6395 | 0.042291 | 0.68179 |  | 10 | -0.07
9 | NO | 123.997 | 6.173 | 0.10324 | -0.117 | 0.042291 | 0.15929
9 | YES | 99.0295 | 6.867 | 0.039598 | 0.14 | 0.042291 | -0.097709
9 | YES | 74.021 | 6.956 | 0.0014141 | 0.113 | 0.042291 | -0.070709
9 | YES | 48.9935 | 7.0425 | 0.0049497 | 0.1065 | 0.042291 | -0.064209
9 | YES | 24.991 | 6.2085 | 0.010606 | 0.1005 | 0.042291 | -0.058209
9 | YES | 9.0005 | 6.1045 | 0.023335 | 0.00049973 | 0.042291 | 0.041791
9 | YES | 4.933 | 6.115 | 0.0151 | 0.0039997 | 0.042291 | 0.038291
10 | YES | 1999.01 | 1.2745 | 0.0035355 | -0.0155 | 0.039682 | 0.055182
10 | NO | 0 | 0 | 0 | -0.563 | 0.039682 | 0.60268
10 | YES | 1248.98 | 0.3265 | 0.0007071 | 0.0155 | 0.039682 | 0.024182
10 | YES | 998.988 | 0.2885 | 0.00070712 | 0.0345 | 0.039682 | 0.0051819
10 | YES | 798.994 | 0.377 | 0.0014142 | -0.011 | 0.039682 | 0.050682
10 | YES | 598.997 | 0.5845 | 0.0035355 | 0.0175 | 0.039682 | 0.022182
10 | YES | 403.014 | 1.096 | 0.0042426 | -0.006 | 0.039682 | 0.045682
10 | YES | 301.004 | 1.519 | 0.024042 | -0.028 | 0.039682 | 0.067682
10 | YES | 251.003 | 1.809 | 0.015556 | -0.012 | 0.039682 | 0.051682
10 | YES | 199.995 | 2.2757 | 0.023352 | 0.046667 | 0.039682 | -0.0069847
10 | YES | 175.995 | 2.5485 | 0.030406 | 0.0935 | 0.039682 | -0.053818
10 | YES | 150.991 | 2.83 | 0.012728 | 0.063 | 0.039682 | -0.023318
10 | NO | 123.999 | 3.4905 | 0.034648 | -0.6735 | 0.039682 | 0.71318
10 | YES | 99.0115 | 5.8005 | 0.0091924 | 0.0855 | 0.039682 | -0.045818
10 | YES | 73.995 | 6.5205 | 0.074246 | -0.0605 | 0.039682 | 0.10018
10 | YES | 48.9935 | 7.097 | 0.011314 | 0.151 | 0.039682 | -0.11132
10 | NO | 39.992 | 6.548 | 0.11879 | -0.456 | 0.039682 | 0.49568
10 | YES | 29.0035 | 6.054 | 0.012728 | -0.026 | 0.039682 | 0.065682
10 | YES | 22.9965 | 6.0545 | 0.013435 | -0.0145 | 0.039682 | 0.054182
10 | YES | 21.004 | 6.054 | 0.012728 | -0.013 | 0.039682 | 0.052682
10 | YES | 10.987 | 5.9745 | 0.034648 | -0.0355 | 0.039682 | 0.075182
10 | YES | 5.1547 | 5.9687 | 0.010066 | -0.031333 | 0.039682 | 0.071015
10 | YES | 4.489 | 5.958 | 0 | -0.07 | 0.039682 | 0.10968
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2009/10/20 16:52:59
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | DOX_BOT | DOX_CTD |  | DOX_CTD - DOX_BOT
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | DOX_BOT | DOX_CTD | DOX_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2009-10-0001.mrgcor1 | 2009-10-0001.thn | 1 | 220.267 | 220.011 | 0 | -0.256 | 0 | 0.023 | 0 | 0.023
2009-10-0001.mrgcor1 | 2009-10-0001.thn | 2 | 200.729 | 201.006 | 1.4142 | 0.27699 | 0 | 0.0255 | 0.0021213 | 0.0255
2009-10-0001.mrgcor1 | 2009-10-0001.thn | 2 | 176.236 | 176 | 1.41 | -0.23599 | 0 | 0.0305 | 0.00070711 | 0.0305
2009-10-0001.mrgcor1 | 2009-10-0001.thn | 2 | 151.113 | 151.003 | 1.4079 | -0.10951 | 0 | 0.044 | 0.0014142 | 0.044
2009-10-0001.mrgcor1 | 2009-10-0001.thn | 2 | 125.529 | 126.007 | 1.4128 | 0.478 | 0.143 | 0.2285 | 0.0021213 | 0.0855
2009-10-0001.mrgcor1 | 2009-10-0001.thn | 2 | 100.564 | 100.991 | 1.4206 | 0.4265 | 0.322 | 0.535 | 0.079196 | 0.213
2009-10-0001.mrgcor1 | 2009-10-0001.thn | 2 | 49.576 | 49.0015 | 1.4093 | -0.5745 | 2.671 | 2.965 | 0.074953 | 0.294
2009-10-0001.mrgcor1 | 2009-10-0001.thn | 2 | 25.596 | 25.002 | 1.4185 | -0.594 | 3.512 | 3.8815 | 0.12374 | 0.3695
2009-10-0001.mrgcor1 | 2009-10-0001.thn | 1 | 10.637 | 11.995 | 0 | 1.358 | 5.403 | 5.689 | 0 | 0.286
2009-10-0001.mrgcor1 | 2009-10-0001.thn | 0 | 5.969 | 0 | 0 | -5.969 | 6.591 | 0 | 0 | -6.591
2009-10-0003.mrgcor1 | 2009-10-0003.thn | 2 | 200.994 | 201 | 1.4064 | 0.0055084 | 0.009 | 0.021 | 0 | 0.012
2009-10-0003.mrgcor1 | 2009-10-0003.thn | 2 | 200.981 | 201 | 1.4064 | 0.018509 | 0 | 0.021 | 0 | 0.021
2009-10-0003.mrgcor1 | 2009-10-0003.thn | 2 | 99.349 | 98.996 | 1.4156 | -0.353 | 0.514 | 0.5765 | 0.036062 | 0.0625
2009-10-0003.mrgcor1 | 2009-10-0003.thn | 3 | 98.127 | 98.3307 | 1.5264 | 0.20367 | 0.55 | 0.59367 | 0.039171 | 0.043667
2009-10-0003.mrgcor1 | 2009-10-0003.thn | 2 | 51.388 | 51.0025 | 1.422 | -0.3855 | 2.609 | 2.92 | 0.046669 | 0.311
2009-10-0003.mrgcor1 | 2009-10-0003.thn | 2 | 51.383 | 51.0025 | 1.422 | -0.3805 | 2.633 | 2.92 | 0.046669 | 0.287
2009-10-0003.mrgcor1 | 2009-10-0003.thn | 2 | 11.168 | 10.9945 | 1.4206 | -0.1735 | 5.913 | 5.5475 | 0.030405 | -0.3655
2009-10-0003.mrgcor1 | 2009-10-0003.thn | 2 | 11.169 | 10.9945 | 1.4206 | -0.1745 | 5.675 | 5.5475 | 0.030405 | -0.1275
2009-10-0006.mrgcor1 | 2009-10-0006.thn | 1 | 106.372 | 104.992 | 0 | -1.38 | 1.551 | 1.643 | 0 | 0.092
2009-10-0006.mrgcor1 | 2009-10-0006.thn | 2 | 75.968 | 76.0055 | 1.4248 | 0.037498 | 2.193 | 2.285 | 0.014142 | 0.092
2009-10-0006.mrgcor1 | 2009-10-0006.thn | 2 | 76.241 | 76.0055 | 1.4248 | -0.2355 | 2.193 | 2.285 | 0.014142 | 0.092
2009-10-0006.mrgcor1 | 2009-10-0006.thn | 2 | 51.405 | 51.0125 | 1.4079 | -0.3925 | 2.696 | 2.844 | 0.060811 | 0.148
2009-10-0006.mrgcor1 | 2009-10-0006.thn | 2 | 26.303 | 27.003 | 1.393 | 0.7 | 4.621 | 4.83 | 0.20789 | 0.209
2009-10-0006.mrgcor1 | 2009-10-0006.thn | 2 | 11.177 | 10.999 | 1.4156 | -0.178 | 5.821 | 5.7745 | 0.099702 | -0.0465
2009-10-0006.mrgcor1 | 2009-10-0006.thn | 1 | 5.525 | 6.616 | 0 | 1.091 | 5.945 | 5.817 | 0 | -0.128
2009-10-0012.mrgcor1 | 2009-10-0012.thn | 0 | 1300.62 | 0 | 0 | -1300.62 | 0.55 | 0 | 0 | -0.55
2009-10-0012.mrgcor1 | 2009-10-0012.thn | 2 | 1250.13 | 1251 | 1.4127 | 0.86706 | 0.446 | 0.4435 | 0.0021213 | -0.0025
2009-10-0012.mrgcor1 | 2009-10-0012.thn | 2 | 1250.01 | 1251 | 1.4127 | 0.98608 | 0.44 | 0.4435 | 0.0021213 | 0.0035
2009-10-0012.mrgcor1 | 2009-10-0012.thn | 2 | 1000.54 | 1001.01 | 1.4255 | 0.46796 | 0.251 | 0.268 | 0.0028284 | 0.017
2009-10-0012.mrgcor1 | 2009-10-0012.thn | 2 | 801.075 | 801.001 | 1.4128 | -0.074036 | 0.237 | 0.2555 | 0.00070712 | 0.0185
2009-10-0012.mrgcor1 | 2009-10-0012.thn | 2 | 600.918 | 600.992 | 1.4178 | 0.074463 | 0.464 | 0.489 | 0.0014142 | 0.025
2009-10-0012.mrgcor1 | 2009-10-0012.thn | 2 | 400.248 | 400.995 | 1.4269 | 0.74701 | 1.07 | 1.127 | 0.0084853 | 0.057
2009-10-0012.mrgcor1 | 2009-10-0012.thn | 2 | 301.823 | 301.001 | 1.3994 | -0.8215 | 1.363 | 1.404 | 0.0014142 | 0.041
2009-10-0012.mrgcor1 | 2009-10-0012.thn | 2 | 201.201 | 200.996 | 1.4149 | -0.20451 | 1.735 | 1.812 | 0.0028285 | 0.077
2009-10-0012.mrgcor1 | 2009-10-0012.thn | 2 | 174.556 | 173.998 | 1.41 | -0.558 | 1.952 | 2.0055 | 0.026163 | 0.0535
2009-10-0012.mrgcor1 | 2009-10-0012.thn | 2 | 150.455 | 151.015 | 1.4071 | 0.56 | 2.366 | 2.4275 | 0.033234 | 0.0615
2009-10-0012.mrgcor1 | 2009-10-0012.thn | 2 | 125.295 | 126.001 | 1.4192 | 0.70551 | 2.89 | 3.2135 | 0.13506 | 0.3235
2009-10-0012.mrgcor1 | 2009-10-0012.thn | 2 | 100.512 | 100.999 | 1.4241 | 0.48699 | 3.534 | 4.0165 | 0.12091 | 0.4825
2009-10-0012.mrgcor1 | 2009-10-0012.thn | 2 | 75.746 | 75.991 | 1.4114 | 0.24499 | 4.902 | 5.578 | 0.10182 | 0.676
2009-10-0012.mrgcor1 | 2009-10-0012.thn | 2 | 51.446 | 51.0005 | 1.4446 | -0.4455 | 6.373 | 6.509 | 0.021213 | 0.136
2009-10-0012.mrgcor1 | 2009-10-0012.thn | 2 | 24.725 | 24.999 | 1.4128 | 0.274 | 6.599 | 6.747 | 0.041012 | 0.148
2009-10-0012.mrgcor1 | 2009-10-0012.thn | 2 | 10.395 | 10.9895 | 1.422 | 0.5945 | 6.722 | 6.651 | 0.15132 | -0.071
2009-10-0012.mrgcor1 | 2009-10-0012.thn | 3 | 5.239 | 5.0467 | 1.0021 | -0.19233 | 6.86 | 6.7253 | 0.0097126 | -0.13467
2009-10-0020.mrgcor1 | 2009-10-0020.thn | 1 | 2003.65 | 2004.6 | 0 | 0.95007 | 1.451 | 1.361 | 0 | -0.09
2009-10-0020.mrgcor1 | 2009-10-0020.thn | 3 | 1500.45 | 1501.33 | 1.138 | 0.87903 | 0.681 | 0.65467 | 0.0023094 | -0.026333
2009-10-0020.mrgcor1 | 2009-10-0020.thn | 3 | 1500.67 | 1501.33 | 1.138 | 0.65308 | 0.682 | 0.65467 | 0.0023094 | -0.027333
2009-10-0020.mrgcor1 | 2009-10-0020.thn | 2 | 1250.17 | 1250.98 | 1.4014 | 0.81201 | 0.355 | 0.366 | 0.0042426 | 0.011
2009-10-0020.mrgcor1 | 2009-10-0020.thn | 2 | 1001.62 | 1001 | 1.4269 | -0.62195 | 0.237 | 0.25 | 0 | 0.013
2009-10-0020.mrgcor1 | 2009-10-0020.thn | 2 | 599.855 | 599.225 | 1.0466 | -0.63001 | 0.428 | 0.4255 | 0.0007071 | -0.0025
2009-10-0020.mrgcor1 | 2009-10-0020.thn | 2 | 299.827 | 298.999 | 1.4142 | -0.828 | 1.91 | 1.8505 | 0.010607 | -0.0595
2009-10-0020.mrgcor1 | 2009-10-0020.thn | 2 | 249.435 | 248.986 | 1.4291 | -0.44949 | 2.034 | 2.017 | 0.0070711 | -0.017
2009-10-0020.mrgcor1 | 2009-10-0020.thn | 2 | 200.212 | 200.999 | 1.4199 | 0.78699 | 2.047 | 2.1195 | 0.006364 | 0.0725
2009-10-0020.mrgcor1 | 2009-10-0020.thn | 2 | 173.907 | 174.003 | 1.4192 | 0.095505 | 2.147 | 2.195 | 0.0028284 | 0.048
2009-10-0020.mrgcor1 | 2009-10-0020.thn | 2 | 150.707 | 150.992 | 1.4298 | 0.285 | 2.333 | 2.334 | 0.0098996 | 0.0010002
2009-10-0020.mrgcor1 | 2009-10-0020.thn | 2 | 124.044 | 124.01 | 1.4114 | -0.033997 | 2.847 | 2.901 | 0.014142 | 0.054
2009-10-0020.mrgcor1 | 2009-10-0020.thn | 2 | 101.474 | 101.091 | 1.2848 | -0.3825 | 4.212 | 4.2025 | 0.064347 | -0.0094996
2009-10-0020.mrgcor1 | 2009-10-0020.thn | 2 | 75.31 | 76.006 | 1.4397 | 0.696 | 6.098 | 6.114 | 0.048083 | 0.016
2009-10-0020.mrgcor1 | 2009-10-0020.thn | 2 | 49.808 | 48.9855 | 1.4163 | -0.8225 | 6.48 | 6.6595 | 0.0049497 | 0.1795
2009-10-0020.mrgcor1 | 2009-10-0020.thn | 2 | 25.293 | 25 | 1.4241 | -0.293 | 6.082 | 6.038 | 0.012728 | -0.044
2009-10-0020.mrgcor1 | 2009-10-0020.thn | 2 | 10.31 | 11.01 | 1.4185 | 0.7 | 5.971 | 6.016 | 0.012728 | 0.045
2009-10-0020.mrgcor1 | 2009-10-0020.thn | 3 | 5.353 | 5.0023 | 1.023 | -0.35067 | 5.967 | 5.9473 | 0.020108 | -0.019667
2009-10-0029.mrgcor1 | 2009-10-0029.thn | 0 | 3276.19 | 0 | 0 | -3276.19 | 2.344 | 0 | 0 | -2.344
2009-10-0029.mrgcor1 | 2009-10-0029.thn | 2 | 3000.48 | 3001.01 | 1.4263 | 0.52759 | 2.291 | 2.2955 | 0.0021213 | 0.0044999
2009-10-0029.mrgcor1 | 2009-10-0029.thn | 2 | 2501.41 | 2501 | 1.4007 | -0.41064 | 1.982 | 1.909 | 0.0056569 | -0.073
2009-10-0029.mrgcor1 | 2009-10-0029.thn | 2 | 2501.7 | 2501 | 1.4007 | -0.69556 | 1.862 | 1.909 | 0.0056569 | 0.047
2009-10-0029.mrgcor1 | 2009-10-0029.thn | 2 | 2000.27 | 2000.99 | 1.4283 | 0.72595 | 1.298 | 1.39 | 0.0028284 | 0.092
2009-10-0029.mrgcor1 | 2009-10-0029.thn | 3 | 1501.16 | 1501.32 | 1.1513 | 0.16931 | 0.623 | 0.658 | 0.001732 | 0.035
2009-10-0029.mrgcor1 | 2009-10-0029.thn | 2 | 1250.57 | 1250.99 | 1.3987 | 0.41907 | 0.445 | 0.417 | 0 | -0.028
2009-10-0029.mrgcor1 | 2009-10-0029.thn | 2 | 1001.93 | 1001.01 | 1.4305 | -0.92755 | 0.239 | 0.273 | 0.0014142 | 0.034
2009-10-0029.mrgcor1 | 2009-10-0029.thn | 2 | 801.143 | 801.012 | 1.4418 | -0.13055 | 0.311 | 0.3435 | 0.00070712 | 0.0325
2009-10-0029.mrgcor1 | 2009-10-0029.thn | 2 | 600.801 | 600.994 | 1.4022 | 0.19251 | 0.584 | 0.6225 | 0.0049497 | 0.0385
2009-10-0029.mrgcor1 | 2009-10-0029.thn | 2 | 400.283 | 401.022 | 1.4213 | 0.73901 | 1.482 | 1.6235 | 0.020506 | 0.1415
2009-10-0029.mrgcor1 | 2009-10-0029.thn | 2 | 301.716 | 301.004 | 1.3958 | -0.71201 | 2.731 | 3.0255 | 0.02192 | 0.2945
2009-10-0029.mrgcor1 | 2009-10-0029.thn | 2 | 249.814 | 249.005 | 1.4262 | -0.8085 | 3.497 | 3.965 | 0.049497 | 0.468
2009-10-0029.mrgcor1 | 2009-10-0029.thn | 2 | 200.271 | 201.012 | 1.3994 | 0.74051 | 4.291 | 4.708 | 0.03677 | 0.417
2009-10-0029.mrgcor1 | 2009-10-0029.thn | 2 | 176.597 | 176.003 | 1.4149 | -0.5945 | 4.644 | 5 | 0.0042423 | 0.356
2009-10-0029.mrgcor1 | 2009-10-0029.thn | 2 | 150.549 | 151.01 | 1.3958 | 0.461 | 4.888 | 5.4975 | 0.017678 | 0.6095
2009-10-0029.mrgcor1 | 2009-10-0029.thn | 2 | 124.879 | 123.986 | 1.4093 | -0.8925 | 5.346 | 6.0645 | 0.017678 | 0.7185
2009-10-0029.mrgcor1 | 2009-10-0029.thn | 2 | 100.671 | 100.997 | 1.4085 | 0.326 | 6.083 | 6.53 | 0.084853 | 0.447
2009-10-0029.mrgcor1 | 2009-10-0029.thn | 2 | 75.855 | 75.991 | 1.4213 | 0.13599 | 6.832 | 7.02 | 0.0098995 | 0.188
2009-10-0029.mrgcor1 | 2009-10-0029.thn | 2 | 50.956 | 50.9945 | 1.4192 | 0.038498 | 7.066 | 7.22 | 0.008485 | 0.154
2009-10-0029.mrgcor1 | 2009-10-0029.thn | 2 | 25.634 | 24.9955 | 1.4079 | -0.6385 | 6.388 | 6.02 | 0.065054 | -0.368
2009-10-0029.mrgcor1 | 2009-10-0029.thn | 2 | 9.846 | 8.9985 | 1.4093 | -0.8475 | 5.919 | 5.953 | 0.0014141 | 0.034
2009-10-0029.mrgcor1 | 2009-10-0029.thn | 3 | 5.841 | 5.042 | 0.9224 | -0.799 | 5.926 | 5.9447 | 0.01115 | 0.018667
2009-10-0037.mrgcor1 | 2009-10-0037.thn | 2 | 3500.16 | 3500.98 | 1.3957 | 0.8269 | 2.751 | 2.715 | 0.0056569 | -0.036
2009-10-0037.mrgcor1 | 2009-10-0037.thn | 2 | 2999.5 | 2999 | 1.4094 | -0.49854 | 2.466 | 2.4395 | 0.00070722 | -0.0265
2009-10-0037.mrgcor1 | 2009-10-0037.thn | 1 | 2497.47 | 2498.01 | 0 | 0.54785 | 1.908 | 1.909 | 0 | 0.001
2009-10-0037.mrgcor1 | 2009-10-0037.thn | 1 | 2496.93 | 2498.01 | 0 | 1.085 | 1.907 | 1.909 | 0 | 0.0020001
2009-10-0037.mrgcor1 | 2009-10-0037.thn | 2 | 2001.58 | 2001.02 | 1.4107 | -0.56042 | 1.219 | 1.2425 | 0.0063639 | 0.0235
2009-10-0037.mrgcor1 | 2009-10-0037.thn | 3 | 1501.9 | 1501.31 | 1.1437 | -0.59033 | 0.507 | 0.48267 | 0.0023094 | -0.024333
2009-10-0037.mrgcor1 | 2009-10-0037.thn | 2 | 1251.29 | 1251 | 1.4093 | -0.29736 | 0.311 | 0.325 | 0 | 0.014
2009-10-0037.mrgcor1 | 2009-10-0037.thn | 2 | 1000.71 | 1001 | 1.3951 | 0.2995 | 0.285 | 0.301 | 0.0014142 | 0.016
2009-10-0037.mrgcor1 | 2009-10-0037.thn | 2 | 801.449 | 800.988 | 1.4121 | -0.46143 | 0.388 | 0.45 | 0.0056568 | 0.062
2009-10-0037.mrgcor1 | 2009-10-0037.thn | 2 | 599.093 | 599.006 | 1.4071 | -0.087036 | 0.619 | 0.672 | 0.0028284 | 0.053
2009-10-0037.mrgcor1 | 2009-10-0037.thn | 2 | 399.749 | 398.729 | 1.0663 | -1.02 | 1.51 | 1.6785 | 0.0021212 | 0.1685
2009-10-0037.mrgcor1 | 2009-10-0037.thn | 2 | 300.436 | 300.996 | 1.3866 | 0.56049 | 2.532 | 2.693 | 0.0070711 | 0.161
2009-10-0037.mrgcor1 | 2009-10-0037.thn | 2 | 250.34 | 250.736 | 1.8314 | 0.396 | 3.185 | 3.5125 | 0.10677 | 0.3275
2009-10-0037.mrgcor1 | 2009-10-0037.thn | 2 | 200.149 | 201.009 | 1.4177 | 0.86049 | 4.521 | 4.71 | 0.0056571 | 0.189
2009-10-0037.mrgcor1 | 2009-10-0037.thn | 2 | 176.47 | 176.014 | 1.3852 | -0.4555 | 5.148 | 5.317 | 0.021213 | 0.169
2009-10-0037.mrgcor1 | 2009-10-0037.thn | 2 | 149.804 | 148.995 | 1.4163 | -0.80949 | 5.822 | 6.067 | 0.032527 | 0.245
2009-10-0037.mrgcor1 | 2009-10-0037.thn | 2 | 126.487 | 126.091 | 1.2926 | -0.396 | 6.604 | 6.717 | 0.032527 | 0.113
2009-10-0037.mrgcor1 | 2009-10-0037.thn | 2 | 101.691 | 100.984 | 1.3994 | -0.70651 | 6.813 | 7.013 | 0.0056571 | 0.2
2009-10-0037.mrgcor1 | 2009-10-0037.thn | 2 | 74.735 | 74.016 | 1.4128 | -0.719 | 7.005 | 7.1325 | 0.0091924 | 0.1275
2009-10-0037.mrgcor1 | 2009-10-0037.thn | 2 | 49.979 | 48.9915 | 1.3965 | -0.9875 | 6.954 | 7.1555 | 0.024749 | 0.2015
2009-10-0037.mrgcor1 | 2009-10-0037.thn | 2 | 25.418 | 25.0025 | 1.4206 | -0.4155 | 6.024 | 6.06 | 0.011314 | 0.036
2009-10-0037.mrgcor1 | 2009-10-0037.thn | 2 | 10.505 | 10.9895 | 1.4277 | 0.4845 | 5.967 | 6.0235 | 0.030406 | 0.0565
2009-10-0037.mrgcor1 | 2009-10-0037.thn | 4 | 6.182 | 5.8148 | 1.6411 | -0.36725 | 5.978 | 6.0163 | 0.015521 | 0.03825
2009-10-0044.mrgcor1 | 2009-10-0044.thn | 1 | 4315.72 | 4316.07 | 0 | 0.35645 | 3.225 | 3.245 | 0 | 0.02
2009-10-0044.mrgcor1 | 2009-10-0044.thn | 2 | 3998.97 | 3999 | 1.4071 | 0.035889 | 3.199 | 3.186 | 0.0042425 | -0.013
2009-10-0044.mrgcor1 | 2009-10-0044.thn | 2 | 3501.9 | 3501 | 1.3816 | -0.90698 | 2.955 | 2.9625 | 0.00070722 | 0.0075002
2009-10-0044.mrgcor1 | 2009-10-0044.thn | 2 | 3000.3 | 3001 | 1.4313 | 0.70386 | 2.538 | 2.5365 | 0.0049497 | -0.0015001
2009-10-0044.mrgcor1 | 2009-10-0044.thn | 2 | 2500.89 | 2501.01 | 1.4222 | 0.11646 | 1.953 | 1.911 | 0.0098995 | -0.042
2009-10-0044.mrgcor1 | 2009-10-0044.thn | 2 | 2003.43 | 2002.99 | 1.4036 | -0.44153 | 1.303 | 1.2675 | 0.0049497 | -0.0355
2009-10-0044.mrgcor1 | 2009-10-0044.thn | 3 | 1501.95 | 1501.32 | 1.1362 | -0.63196 | 0.499 | 0.54367 | 0.0023094 | 0.044667
2009-10-0044.mrgcor1 | 2009-10-0044.thn | 2 | 1250.92 | 1250.99 | 1.4326 | 0.077881 | 0.342 | 0.3705 | 0.0021213 | 0.0285
2009-10-0044.mrgcor1 | 2009-10-0044.thn | 2 | 999.715 | 998.974 | 1.3739 | -0.74152 | 0.378 | 0.3965 | 0.00070712 | 0.0185
2009-10-0044.mrgcor1 | 2009-10-0044.thn | 2 | 599.257 | 598.976 | 1.4227 | -0.28107 | 0.627 | 0.671 | 0.0028284 | 0.044
2009-10-0044.mrgcor1 | 2009-10-0044.thn | 2 | 399.823 | 399.109 | 1.2332 | -0.71399 | 1.176 | 1.217 | 0.0042427 | 0.041
2009-10-0044.mrgcor1 | 2009-10-0044.thn | 1 | 297.414 | 297.99 | 0 | 0.57599 | 1.895 | 2.124 | 0 | 0.229
2009-10-0044.mrgcor1 | 2009-10-0044.thn | 1 | 247.972 | 247.988 | 0 | 0.016006 | 2.757 | 2.894 | 0 | 0.137
2009-10-0044.mrgcor1 | 2009-10-0044.thn | 2 | 200.803 | 201.004 | 1.4269 | 0.201 | 3.739 | 3.796 | 0.0084853 | 0.057
2009-10-0044.mrgcor1 | 2009-10-0044.thn | 1 | 174.522 | 174.992 | 0 | 0.47 | 4.412 | 4.644 | 0 | 0.232
2009-10-0044.mrgcor1 | 2009-10-0044.thn | 2 | 149.88 | 148.997 | 1.439 | -0.88251 | 5.407 | 5.6095 | 0.023335 | 0.2025
2009-10-0044.mrgcor1 | 2009-10-0044.thn | 2 | 124.694 | 124.028 | 1.417 | -0.666 | 6.527 | 6.665 | 0.13011 | 0.138
2009-10-0044.mrgcor1 | 2009-10-0044.thn | 2 | 100.56 | 100.993 | 1.4248 | 0.4335 | 6.928 | 7.0985 | 0.00070706 | 0.1705
2009-10-0044.mrgcor1 | 2009-10-0044.thn | 2 | 73.802 | 74.307 | 1.8215 | 0.505 | 6.906 | 7.101 | 0.028284 | 0.195
2009-10-0044.mrgcor1 | 2009-10-0044.thn | 2 | 50.696 | 51.0035 | 1.4347 | 0.3075 | 6.913 | 7.106 | 0.015557 | 0.193
2009-10-0044.mrgcor1 | 2009-10-0044.thn | 2 | 23.861 | 22.994 | 1.4029 | -0.867 | 6.241 | 6.3895 | 0.086974 | 0.1485
2009-10-0044.mrgcor1 | 2009-10-0044.thn | 2 | 11.107 | 10.981 | 1.4227 | -0.126 | 6.212 | 6.3115 | 0.010606 | 0.0995
2009-10-0044.mrgcor1 | 2009-10-0044.thn | 3 | 5.502 | 5.0303 | 0.95281 | -0.47167 | 6.375 | 6.2853 | 0.010214 | -0.089667
2009-10-0061.mrgcor1 | 2009-10-0061.thn | 0 | 4024.08 | 0 | 0 | -4024.08 | 3.177 | 0 | 0 | -3.177
2009-10-0061.mrgcor1 | 2009-10-0061.thn | 2 | 3498.44 | 3498.99 | 1.4241 | 0.55005 | 2.881 | 2.8455 | 0.0049497 | -0.0355
2009-10-0061.mrgcor1 | 2009-10-0061.thn | 2 | 3498.95 | 3498.99 | 1.4241 | 0.039062 | 2.837 | 2.8455 | 0.0049497 | 0.0085001
2009-10-0061.mrgcor1 | 2009-10-0061.thn | 2 | 2998.76 | 2998.99 | 1.4256 | 0.23096 | 2.484 | 2.5105 | 0.0021213 | 0.0265
2009-10-0061.mrgcor1 | 2009-10-0061.thn | 2 | 2501.18 | 2501.01 | 1.4341 | -0.17505 | 1.948 | 1.924 | 0.0070711 | -0.024
2009-10-0061.mrgcor1 | 2009-10-0061.thn | 2 | 1999.73 | 1999.01 | 1.4383 | -0.72498 | 1.279 | 1.2875 | 0.0035355 | 0.0084999
2009-10-0061.mrgcor1 | 2009-10-0061.thn | 3 | 1501.12 | 1501.34 | 1.1726 | 0.21997 | 0.544 | 0.53333 | 0.0011547 | -0.010667
2009-10-0061.mrgcor1 | 2009-10-0061.thn | 2 | 1252.42 | 1253 | 1.4354 | 0.57812 | 0.34 | 0.3435 | 0.00070712 | 0.0035
2009-10-0061.mrgcor1 | 2009-10-0061.thn | 2 | 1001.45 | 1001 | 1.4389 | -0.44348 | 0.321 | 0.338 | 0 | 0.017
2009-10-0061.mrgcor1 | 2009-10-0061.thn | 2 | 801.223 | 800.997 | 1.4199 | -0.22607 | 0.471 | 0.4705 | 0.0035355 | -0.00049999
2009-10-0061.mrgcor1 | 2009-10-0061.thn | 2 | 601.026 | 600.995 | 1.4206 | -0.031494 | 0.6 | 0.654 | 0.0028284 | 0.054
2009-10-0061.mrgcor1 | 2009-10-0061.thn | 2 | 399.824 | 399 | 1.4319 | -0.82352 | 1.295 | 1.425 | 0.0056569 | 0.13
2009-10-0061.mrgcor1 | 2009-10-0061.thn | 2 | 300.177 | 300.987 | 1.3831 | 0.81 | 2.086 | 2.119 | 0.012728 | 0.033
2009-10-0061.mrgcor1 | 2009-10-0061.thn | 2 | 250.475 | 251.003 | 1.4199 | 0.52799 | 2.666 | 2.7615 | 0.026163 | 0.0955
2009-10-0061.mrgcor1 | 2009-10-0061.thn | 2 | 198.379 | 199.07 | 1.5033 | 0.69101 | 3.921 | 3.8345 | 0.036062 | -0.0865
2009-10-0061.mrgcor1 | 2009-10-0061.thn | 2 | 175.41 | 175.996 | 1.4319 | 0.58649 | 4.395 | 4.437 | 0.029699 | 0.042
2009-10-0061.mrgcor1 | 2009-10-0061.thn | 2 | 150.732 | 151.294 | 0.96238 | 0.5625 | 5.434 | 4.7945 | 0.08556 | -0.6395
2009-10-0061.mrgcor1 | 2009-10-0061.thn | 2 | 124.125 | 123.997 | 1.4001 | -0.128 | 6.29 | 6.173 | 0.10324 | -0.117
2009-10-0061.mrgcor1 | 2009-10-0061.thn | 2 | 99.492 | 99.0295 | 1.3951 | -0.4625 | 6.727 | 6.867 | 0.039598 | 0.14
2009-10-0061.mrgcor1 | 2009-10-0061.thn | 2 | 74.779 | 74.021 | 1.4326 | -0.758 | 6.843 | 6.956 | 0.0014141 | 0.113
2009-10-0061.mrgcor1 | 2009-10-0061.thn | 2 | 49.306 | 48.9935 | 1.405 | -0.3125 | 6.936 | 7.0425 | 0.0049497 | 0.1065
2009-10-0061.mrgcor1 | 2009-10-0061.thn | 2 | 24.703 | 24.991 | 1.4383 | 0.288 | 6.108 | 6.2085 | 0.010606 | 0.1005
2009-10-0061.mrgcor1 | 2009-10-0061.thn | 2 | 9.733 | 9.0005 | 1.4192 | -0.7325 | 6.104 | 6.1045 | 0.023335 | 0.00049973
2009-10-0061.mrgcor1 | 2009-10-0061.thn | 3 | 5.196 | 4.933 | 0.99717 | -0.263 | 6.111 | 6.115 | 0.0151 | 0.0039997
2009-10-0071.mrgcor1 | 2009-10-0071.thn | 2 | 1998.83 | 1999.01 | 1.4235 | 0.18152 | 1.29 | 1.2745 | 0.0035355 | -0.0155
2009-10-0071.mrgcor1 | 2009-10-0071.thn | 0 | 1517.89 | 0 | 0 | -1517.89 | 0.563 | 0 | 0 | -0.563
2009-10-0071.mrgcor1 | 2009-10-0071.thn | 2 | 1249.68 | 1248.98 | 1.4044 | -0.69104 | 0.311 | 0.3265 | 0.0007071 | 0.0155
2009-10-0071.mrgcor1 | 2009-10-0071.thn | 2 | 999.208 | 998.988 | 1.4213 | -0.22003 | 0.254 | 0.2885 | 0.00070712 | 0.0345
2009-10-0071.mrgcor1 | 2009-10-0071.thn | 2 | 799.271 | 798.994 | 1.4347 | -0.27747 | 0.388 | 0.377 | 0.0014142 | -0.011
2009-10-0071.mrgcor1 | 2009-10-0071.thn | 2 | 599.385 | 598.997 | 1.4029 | -0.388 | 0.567 | 0.5845 | 0.0035355 | 0.0175
2009-10-0071.mrgcor1 | 2009-10-0071.thn | 2 | 402.41 | 403.014 | 1.4234 | 0.60449 | 1.102 | 1.096 | 0.0042426 | -0.006
2009-10-0071.mrgcor1 | 2009-10-0071.thn | 2 | 301.932 | 301.004 | 1.4071 | -0.92801 | 1.547 | 1.519 | 0.024042 | -0.028
2009-10-0071.mrgcor1 | 2009-10-0071.thn | 2 | 250.688 | 251.003 | 1.4326 | 0.315 | 1.821 | 1.809 | 0.015556 | -0.012
2009-10-0071.mrgcor1 | 2009-10-0071.thn | 3 | 199.994 | 199.995 | 1.9891 | 0.0013275 | 2.229 | 2.2757 | 0.023352 | 0.046667
2009-10-0071.mrgcor1 | 2009-10-0071.thn | 2 | 175.483 | 175.995 | 1.4079 | 0.5125 | 2.455 | 2.5485 | 0.030406 | 0.0935
2009-10-0071.mrgcor1 | 2009-10-0071.thn | 2 | 150.246 | 150.991 | 1.417 | 0.74499 | 2.767 | 2.83 | 0.012728 | 0.063
2009-10-0071.mrgcor1 | 2009-10-0071.thn | 2 | 124.167 | 123.999 | 1.4163 | -0.1675 | 4.164 | 3.4905 | 0.034648 | -0.6735
2009-10-0071.mrgcor1 | 2009-10-0071.thn | 2 | 99.525 | 99.0115 | 1.4149 | -0.5135 | 5.715 | 5.8005 | 0.0091924 | 0.0855
2009-10-0071.mrgcor1 | 2009-10-0071.thn | 2 | 74.344 | 73.995 | 1.4368 | -0.34901 | 6.581 | 6.5205 | 0.074246 | -0.0605
2009-10-0071.mrgcor1 | 2009-10-0071.thn | 2 | 49.331 | 48.9935 | 1.4319 | -0.3375 | 6.946 | 7.097 | 0.011314 | 0.151
2009-10-0071.mrgcor1 | 2009-10-0071.thn | 2 | 40.998 | 39.992 | 1.4043 | -1.006 | 7.004 | 6.548 | 0.11879 | -0.456
2009-10-0071.mrgcor1 | 2009-10-0071.thn | 2 | 29.604 | 29.0035 | 1.405 | -0.6005 | 6.08 | 6.054 | 0.012728 | -0.026
2009-10-0071.mrgcor1 | 2009-10-0071.thn | 2 | 22.851 | 22.9965 | 1.4234 | 0.1455 | 6.069 | 6.0545 | 0.013435 | -0.0145
2009-10-0071.mrgcor1 | 2009-10-0071.thn | 2 | 21.371 | 21.004 | 1.3944 | -0.367 | 6.067 | 6.054 | 0.012728 | -0.013
2009-10-0071.mrgcor1 | 2009-10-0071.thn | 2 | 10.624 | 10.987 | 1.4114 | 0.363 | 6.01 | 5.9745 | 0.034648 | -0.0355
2009-10-0071.mrgcor1 | 2009-10-0071.thn | 3 | 4.899 | 5.1547 | 0.76541 | 0.25567 | 6 | 5.9687 | 0.010066 | -0.031333
2009-10-0071.mrgcor1 | 2009-10-0071.thn | 1 | 2.717 | 4.489 | 0 | 1.772 | 6.028 | 5.958 | 0 | -0.07
Create Fit Sheet