## File List
Number of Files= |  | 4
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2009-10-0010.mrg | 2009-10-0010.sam | 13 | 36 | 2009-10-0010.mrg & 2009-10-0010.sam
2 | 2009-10-0046.mrg | 2009-10-0046.sam | 38 | 61 | 2009-10-0046.mrg & 2009-10-0046.sam
3 | 2009-10-0047.mrg | 2009-10-0047.sam | 63 | 82 | 2009-10-0047.mrg & 2009-10-0047.sam
4 | 2009-10-0055.mrg | 2009-10-0055.sam | 84 | 107 | 2009-10-0055.mrg & 2009-10-0055.sam

## (Sal0 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Sam#
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 2.1072e-05 |  | X | CALC Y
m= | -0.0010282 | 0.023611 |  | Std Dev of Resid |  | 37.6828 |  | 41 | 11.7951
b= | 11.8373 | 8.5792 |  | Resid Sum of Squares |  | 127799.5428 |  | 496 | 11.3273
# of Values Extracted = |  |  | 92
# of Values Used in Fit = |  |  | 92
File | Use | Sam# | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Sam#
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y | CTD | bot | bot
1 | YES | 41 | 34.4847 | 0.00046124 | 133.485 | 11.7951 | -121.6899 |  | 41 | 133.485 | stdev |  | stdev
1 | YES | 42 | 34.4849 | 0.00042478 | 133.485 | 11.7941 | -121.6909 |  | 42 | 133.485
1 | YES | 43 | 34.4846 | 0.0002465 | 0.0041275 | 11.7931 | 11.7889 |  | 43 | 0.0041275 |  | 34.4805
1 | YES | 44 | 34.4847 | 0.00021572 | 0.0029221 | 11.792 | 11.7891 |  | 44 | 0.0029221 |  | 34.4818
1 | YES | 45 | 34.4845 | 0.00028556 | 0.001339 | 11.791 | 11.7897 |  | 45 | 0.001339 |  | 34.4832
1 | YES | 46 | 34.4848 | 0.00047586 | 0.0037689 | 11.79 | 11.7862 |  | 46 | 0.0037689 |  | 34.481
1 | YES | 47 | 34.4853 | 0.00050696 | 0.0039864 | 11.7889 | 11.785 |  | 47 | 0.0039864 |  | 34.4813
1 | YES | 48 | 34.4846 | 0.00030082 | 0.0026512 | 11.7879 | 11.7853 |  | 48 | 0.0026512 |  | 34.4819
1 | YES | 49 | 34.4848 | 0.00030439 | 0.0029602 | 11.7869 | 11.7839 |  | 49 | 0.0029602 |  | 34.4818
1 | YES | 50 | 34.4852 | 0.00044781 | 0.0044556 | 11.7859 | 11.7814 |  | 50 | 0.0044556 |  | 34.4807
1 | YES | 51 | 34.4848 | 0.00033264 | 0.0027847 | 11.7848 | 11.782 |  | 51 | 0.0027847 |  | 34.482
1 | YES | 52 | 34.4852 | 0.00032394 | 0.0036774 | 11.7838 | 11.7801 |  | 52 | 0.0036774 | 0.00028382 | 34.4815 | 0.00076245
1 | YES | 53 | 34.1172 | 0.00020399 | 0.0029678 | 11.7828 | 11.7798 |  | 53 | 0.0029678 |  | 34.1142
1 | YES | 54 | 34.1174 | 0.00023847 | 0.0035706 | 11.7817 | 11.7782 |  | 54 | 0.0035706 |  | 34.1138
1 | YES | 55 | 34.1173 | 0.00026743 | 0.0031967 | 11.7807 | 11.7775 |  | 55 | 0.0031967 |  | 34.1141
1 | YES | 56 | 34.1171 | 0.00018968 | 0.0037727 | 11.7797 | 11.7759 |  | 56 | 0.0037727 |  | 34.1133
1 | YES | 57 | 34.1171 | 0.00032334 | 0.0040512 | 11.7787 | 11.7746 |  | 57 | 0.0040512 |  | 34.113
1 | YES | 58 | 34.1173 | 0.00028876 | 0.0015678 | 11.7776 | 11.7761 |  | 58 | 0.0015678 |  | 34.1157
1 | YES | 59 | 34.1172 | 0.00055563 | 0.0026779 | 11.7766 | 11.7739 |  | 59 | 0.0026779 |  | 34.1145
1 | YES | 60 | 34.117 | 0.00022002 | 0.0027199 | 11.7756 | 11.7729 |  | 60 | 0.0027199 |  | 34.1143
1 | YES | 61 | 34.1172 | 0.00025232 | 0.0022278 | 11.7745 | 11.7723 |  | 61 | 0.0022278 |  | 34.115
1 | YES | 62 | 34.1174 | 0.00054096 | 0.003334 | 11.7735 | 11.7702 |  | 62 | 0.003334 |  | 34.1141
1 | YES | 63 | 34.1171 | 0.00026729 | 0.0032196 | 11.7725 | 11.7693 |  | 63 | 0.0032196 |  | 34.1139
1 | YES | 64 | 34.1173 | 0.000234 | 0.0038071 | 11.7715 | 11.7677 |  | 64 | 0.0038071 | 0.00012673 | 34.1135 | 0.00072859
2 | YES | 361 | 34.5843 | 0.00027365 | 0.003418 | 11.4661 | 11.4627 |  | 361 | 0.003418 |  | 34.5809
2 | YES | 362 | 34.584 | 0.00023517 | 0.0041351 | 11.465 | 11.4609 |  | 362 | 0.0041351 |  | 34.5799
2 | YES | 363 | 34.584 | 0.00029589 | 0.0050087 | 11.464 | 11.459 |  | 363 | 0.0050087 |  | 34.579
2 | YES | 364 | 34.5838 | 0.0002406 | 0.0038567 | 11.463 | 11.4591 |  | 364 | 0.0038567 |  | 34.5799
2 | YES | 365 | 34.5842 | 0.00032014 | 0.0046806 | 11.462 | 11.4573 |  | 365 | 0.0046806 |  | 34.5795
2 | YES | 366 | 34.5841 | 0.00028059 | 0.0035706 | 11.4609 | 11.4574 |  | 366 | 0.0035706 |  | 34.5805
2 | YES | 367 | 34.5842 | 0.00021872 | 0.0049515 | 11.4599 | 11.455 |  | 367 | 0.0049515 |  | 34.5792
2 | YES | 368 | 34.5838 | 0.00022259 | 0.0026093 | 11.4589 | 11.4563 |  | 368 | 0.0026093 |  | 34.5812
2 | YES | 369 | 34.584 | 0.00030117 | 0.00317 | 11.4578 | 11.4547 |  | 369 | 0.00317 |  | 34.5808 |  | excluding 1
2 | YES | 370 | 34.5841 | 0.00025792 | 0.0039902 | 11.4568 | 11.4528 |  | 370 | 0.0039902 |  | 34.5801 |  | outlier
2 | YES | 371 | 34.584 | 0.00024166 | 0.004303 | 11.4558 | 11.4515 |  | 371 | 0.004303 |  | 34.5797
2 | YES | 372 | 34.584 | 0.00024607 | -0.0038528 | 11.4548 | 11.4586 |  | 372 | -0.0038528 | 0.0001505 | 34.5879 | 0.0023456 | 0.00073701
2 | YES | 373 | 34.1036 | 0.00051647 | 0.0051117 | 11.4537 | 11.4486 |  | 373 | 0.0051117 |  | 34.0985
2 | YES | 374 | 34.1032 | 0.00026727 | 0.0047798 | 11.4527 | 11.4479 |  | 374 | 0.0047798 |  | 34.0984
2 | YES | 375 | 34.104 | 0.00038388 | 0.0047836 | 11.4517 | 11.4469 |  | 375 | 0.0047836 |  | 34.0992
2 | YES | 376 | 34.1033 | 0.00027902 | 0.003933 | 11.4506 | 11.4467 |  | 376 | 0.003933 |  | 34.0994
2 | YES | 377 | 34.1036 | 0.00034809 | 0.0052261 | 11.4496 | 11.4444 |  | 377 | 0.0052261 |  | 34.0984
2 | YES | 378 | 34.1037 | 0.0003481 | 0.0044441 | 11.4486 | 11.4441 |  | 378 | 0.0044441 |  | 34.0993
2 | YES | 379 | 34.104 | 0.00040056 | 0.0046501 | 11.4476 | 11.4429 |  | 379 | 0.0046501 |  | 34.0993
2 | YES | 380 | 34.1042 | 0.00062968 | 0.0045128 | 11.4465 | 11.442 |  | 380 | 0.0045128 |  | 34.0997
2 | YES | 381 | 34.1039 | 0.00034001 | 0.0050774 | 11.4455 | 11.4404 |  | 381 | 0.0050774 |  | 34.0988
2 | YES | 382 | 34.1038 | 0.00038333 | 0.00064087 | 11.4445 | 11.4438 |  | 382 | 0.00064087 |  | 34.1032
2 | YES | 383 | 34.104 | 0.00026191 | 0.0052299 | 11.4434 | 11.4382 |  | 383 | 0.0052299 |  | 34.0988
2 | YES | 384 | 34.1038 | 0.00049047 | 0.0002594 | 11.4424 | 11.4422 |  | 384 | 0.0002594 | 0.00029683 | 34.1035 | 0.001755
3 | YES | 385 | 34.365 | 0.00022633 | 0.0036507 | 11.4414 | 11.4377 |  | 385 | 0.0036507 |  | 34.3613
3 | YES | 386 | 34.365 | 0.00019198 | 0.0036354 | 11.4404 | 11.4367 |  | 386 | 0.0036354 |  | 34.3614
3 | YES | 387 | 34.3652 | 0.00030494 | 0.0045166 | 11.4393 | 11.4348 |  | 387 | 0.0045166 |  | 34.3607
3 | YES | 388 | 34.3651 | 0.00025337 | 0.0040436 | 11.4383 | 11.4343 |  | 388 | 0.0040436 |  | 34.3611
3 | YES | 389 | 34.3649 | 0.00024178 | 0.003685 | 11.4373 | 11.4336 |  | 389 | 0.003685 |  | 34.3612
3 | YES | 390 | 34.3647 | 0.00028727 | 0.0036087 | 11.4363 | 11.4326 |  | 390 | 0.0036087 |  | 34.3611
3 | YES | 391 | 34.3645 | 0.00024634 | 0.0045738 | 11.4352 | 11.4307 |  | 391 | 0.0045738 |  | 34.3599
3 | YES | 392 | 34.3647 | 0.00026682 | 0.0013504 | 11.4342 | 11.4328 |  | 392 | 0.0013504 |  | 34.3633
3 | YES | 393 | 34.3649 | 0.00025862 | 0.0033455 | 11.4332 | 11.4298 |  | 393 | 0.0033455 |  | 34.3616
3 | YES | 394 | 34.3645 | 0.00026845 | 0.0035172 | 11.4321 | 11.4286 |  | 394 | 0.0035172 |  | 34.361
3 | YES | 395 | 34.3645 | 0.00015905 | 0.0024681 | 11.4311 | 11.4286 |  | 395 | 0.0024681 |  | 34.362
3 | YES | 396 | 34.3645 | 0.00028313 | 0.0032463 | 11.4301 | 11.4268 |  | 396 | 0.0032463 | 0.00025746 | 34.3613 | 0.00081368
3 | YES | 397 | 32.6436 | 0.0017756 | 131.644 | 11.4291 | -120.2149 |  | 397 | 131.644
3 | YES | 398 | 32.592 | 0.0026876 | 131.592 | 11.428 | -120.164 |  | 398 | 131.592
3 | YES | 399 | 32.4702 | 0.00026877 | 131.47 | 11.427 | -120.043 |  | 399 | 131.47
3 | YES | 400 | 32.4705 | 0.00022577 | 131.47 | 11.426 | -120.044 |  | 400 | 131.47
3 | YES | 401 | 32.4646 | 0.00081236 | 131.465 | 11.4249 | -120.0401 |  | 401 | 131.465
3 | YES | 402 | 32.464 | 0.00038553 | 0.0029793 | 11.4239 | 11.4209 |  | 402 | 0.0029793 |  | 32.461
3 | YES | 403 | 32.4644 | 0.00045265 | 0.0014305 | 11.4229 | 11.4215 |  | 403 | 0.0014305 |  | 32.463
3 | YES | 404 | 32.4643 | 0.00043112 | 0.0022583 | 11.4219 | 11.4196 |  | 404 | 0.0022583 |  | 32.462
4 | YES | 473 | 34.5862 | 0.00021958 | 0.0042 | 11.3509 | 11.3467 |  | 473 | 0.0042 |  | 34.582
4 | YES | 474 | 34.5862 | 0.00026659 | 0.0046082 | 11.3499 | 11.3453 |  | 474 | 0.0046082 |  | 34.5816
4 | YES | 475 | 34.5861 | 0.00019403 | 0.0015678 | 11.3489 | 11.3473 |  | 475 | 0.0015678 |  | 34.5845
4 | YES | 476 | 34.5862 | 0.00022716 | 0.0051651 | 11.3478 | 11.3427 |  | 476 | 0.0051651 |  | 34.581
4 | YES | 477 | 34.5861 | 0.00022879 | 0.0041199 | 11.3468 | 11.3427 |  | 477 | 0.0041199 |  | 34.582
4 | YES | 478 | 34.5861 | 0.00020882 | 0.0038757 | 11.3458 | 11.3419 |  | 478 | 0.0038757 |  | 34.5822
4 | YES | 479 | 34.586 | 0.00023542 | 0.0045433 | 11.3447 | 11.3402 |  | 479 | 0.0045433 |  | 34.5815
4 | YES | 480 | 34.5862 | 0.00028833 | 0.0047607 | 11.3437 | 11.339 |  | 480 | 0.0047607 |  | 34.5814
4 | YES | 481 | 34.586 | 0.00022568 | 0.0022278 | 11.3427 | 11.3405 |  | 481 | 0.0022278 |  | 34.5838
4 | YES | 482 | 34.5861 | 0.00023966 | 0.0026093 | 11.3417 | 11.339 |  | 482 | 0.0026093 |  | 34.5835
4 | YES | 483 | 34.5861 | 0.00023231 | 0.002121 | 11.3406 | 11.3385 |  | 483 | 0.002121 |  | 34.584
4 | YES | 484 | 34.5861 | 0.00023538 | 0.0037422 | 11.3396 | 11.3359 |  | 484 | 0.0037422 |  | 34.5824
4 | YES | 485 | 34.5861 | 0.00023954 | 0.0014648 | 11.3386 | 11.3371 |  | 485 | 0.0014648 |  | 34.5846
4 | YES | 486 | 34.5861 | 0.00023137 | 0.0023613 | 11.3375 | 11.3352 |  | 486 | 0.0023613 |  | 34.5837
4 | YES | 487 | 34.586 | 0.00022399 | 0.0028191 | 11.3365 | 11.3337 |  | 487 | 0.0028191 |  | 34.5832
4 | YES | 488 | 34.5861 | 0.00025225 | -0.00065994 | 11.3355 | 11.3361 |  | 488 | -0.00065994 |  | 34.5868
4 | YES | 489 | 34.586 | 0.00023436 | 0.0043602 | 11.3345 | 11.3301 |  | 489 | 0.0043602 |  | 34.5816
4 | YES | 490 | 34.5861 | 0.00022249 | 0.0030861 | 11.3334 | 11.3303 |  | 490 | 0.0030861 |  | 34.583
4 | YES | 491 | 34.5862 | 0.00022978 | 0.0030098 | 11.3324 | 11.3294 |  | 491 | 0.0030098 |  | 34.5832
4 | YES | 492 | 34.586 | 0.00024055 | 133.586 | 11.3314 | -122.2546 |  | 492 | 133.586
4 | YES | 493 | 34.5862 | 0.00024089 | 0.0010605 | 11.3303 | 11.3293 |  | 493 | 0.0010605 |  | 34.5851
4 | YES | 494 | 34.5861 | 0.00026884 | 0.0032692 | 11.3293 | 11.326 |  | 494 | 0.0032692 |  | 34.5828
4 | YES | 495 | 34.5861 | 0.0002962 | 0.0032616 | 11.3283 | 11.325 |  | 495 | 0.0032616 | 6.8376e-05 | 34.5828 | 0.0014098
4 | YES | 496 | 32.4526 | 0.00052339 | 4.9591e-05 | 11.3273 | 11.3272 |  | 496 | 4.9591e-05 |  | 32.4526
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Sam#
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Sam#
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 2.1172e-05 |  | X | CALC Y
m= | -0.0010306 | 0.02361 |  | Std Dev of Resid |  | 37.6819 |  | 41 | 11.7929
b= | 11.8352 | 8.579 |  | Resid Sum of Squares |  | 127793.2106 |  | 496 | 11.324
# of Values Extracted = |  |  | 92
# of Values Used in Fit = |  |  | 92
File | Use | Sam# | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Sam#
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y | CTD | bot | bot
1 | YES | 41 | 34.483 | 0.001235 | 133.483 | 11.7929 | -121.6901 |  | 41 | 133.483 | stdev |  | stdev
1 | YES | 42 | 34.4829 | 0.0010988 | 133.483 | 11.7919 | -121.6911 |  | 42 | 133.483
1 | YES | 43 | 34.4828 | 0.0010861 | 0.0023193 | 11.7909 | 11.7885 |  | 43 | 0.0023193 |  | 34.4805
1 | YES | 44 | 34.4828 | 0.00092022 | 0.001049 | 11.7898 | 11.7888 |  | 44 | 0.001049 |  | 34.4818
1 | YES | 45 | 34.4827 | 0.0010911 | -0.00047302 | 11.7888 | 11.7893 |  | 45 | -0.00047302 |  | 34.4832
1 | YES | 46 | 34.4829 | 0.0011858 | 0.0018959 | 11.7878 | 11.7859 |  | 46 | 0.0018959 |  | 34.481
1 | YES | 47 | 34.483 | 0.0012241 | 0.0016899 | 11.7867 | 11.785 |  | 47 | 0.0016899 |  | 34.4813
1 | YES | 48 | 34.4825 | 0.0012243 | 0.0006218 | 11.7857 | 11.7851 |  | 48 | 0.0006218 |  | 34.4819
1 | YES | 49 | 34.483 | 0.0013236 | 0.001152 | 11.7847 | 11.7835 |  | 49 | 0.001152 |  | 34.4818
1 | YES | 50 | 34.4831 | 0.0012379 | 0.0023918 | 11.7836 | 11.7813 |  | 50 | 0.0023918 |  | 34.4807
1 | YES | 51 | 34.4829 | 0.00091008 | 0.00086975 | 11.7826 | 11.7817 |  | 51 | 0.00086975 |  | 34.482
1 | YES | 52 | 34.4834 | 0.0011793 | 0.0018616 | 11.7816 | 11.7797 |  | 52 | 0.0018616 | 0.00022088 | 34.4815 | 0.00076773
1 | YES | 53 | 34.1149 | 0.0012705 | 0.00074005 | 11.7806 | 11.7798 |  | 53 | 0.00074005 |  | 34.1142
1 | YES | 54 | 34.1152 | 0.0011855 | 0.0014114 | 11.7795 | 11.7781 |  | 54 | 0.0014114 |  | 34.1138
1 | YES | 55 | 34.1148 | 0.0012275 | 0.00074768 | 11.7785 | 11.7777 |  | 55 | 0.00074768 |  | 34.1141
1 | YES | 56 | 34.1148 | 0.0010944 | 0.0014915 | 11.7775 | 11.776 |  | 56 | 0.0014915 |  | 34.1133
1 | YES | 57 | 34.1151 | 0.001283 | 0.0019569 | 11.7764 | 11.7745 |  | 57 | 0.0019569 |  | 34.1131
1 | YES | 58 | 34.1151 | 0.0012448 | -0.0006485 | 11.7754 | 11.776 |  | 58 | -0.0006485 |  | 34.1157
1 | YES | 59 | 34.1147 | 0.0010458 | 0.00020218 | 11.7744 | 11.7742 |  | 59 | 0.00020218 |  | 34.1145
1 | YES | 60 | 34.115 | 0.00095429 | 0.00068665 | 11.7733 | 11.7726 |  | 60 | 0.00068665 |  | 34.1143
1 | YES | 61 | 34.1151 | 0.0011042 | 0.00012207 | 11.7723 | 11.7722 |  | 61 | 0.00012207 |  | 34.115
1 | YES | 62 | 34.1151 | 0.0012316 | 0.00095749 | 11.7713 | 11.7703 |  | 62 | 0.00095749 |  | 34.1141
1 | YES | 63 | 34.115 | 0.0011926 | 0.001091 | 11.7702 | 11.7692 |  | 63 | 0.001091 |  | 34.1139
1 | YES | 64 | 34.1149 | 0.0012334 | 0.0014343 | 11.7692 | 11.7678 |  | 64 | 0.0014343 | 0.00015448 | 34.1135 | 0.00072426
2 | YES | 361 | 34.5816 | 0.00091108 | 0.00073242 | 11.4631 | 11.4624 |  | 361 | 0.00073242 |  | 34.5809
2 | YES | 362 | 34.5813 | 0.0012298 | 0.0013771 | 11.4621 | 11.4607 |  | 362 | 0.0013771 |  | 34.5799
2 | YES | 363 | 34.5813 | 0.0011364 | 0.0023041 | 11.4611 | 11.4587 |  | 363 | 0.0023041 |  | 34.579
2 | YES | 364 | 34.5812 | 0.0012548 | 0.0012703 | 11.46 | 11.4588 |  | 364 | 0.0012703 |  | 34.5799
2 | YES | 365 | 34.5816 | 0.0007459 | 0.0020676 | 11.459 | 11.4569 |  | 365 | 0.0020676 |  | 34.5795
2 | YES | 366 | 34.5813 | 0.0013706 | 0.00083923 | 11.458 | 11.4571 |  | 366 | 0.00083923 |  | 34.5805
2 | YES | 367 | 34.5814 | 0.0010772 | 0.0021591 | 11.4569 | 11.4548 |  | 367 | 0.0021591 |  | 34.5792
2 | YES | 368 | 34.5813 | 0.0012037 | 5.722e-05 | 11.4559 | 11.4558 |  | 368 | 5.722e-05 |  | 34.5812
2 | YES | 369 | 34.5815 | 0.0010202 | 0.00067902 | 11.4549 | 11.4542 |  | 369 | 0.00067902 |  | 34.5808
2 | YES | 370 | 34.5814 | 0.001271 | 0.0012741 | 11.4538 | 11.4526 |  | 370 | 0.0012741 |  | 34.5801 |  | excluding 1
2 | YES | 371 | 34.5813 | 0.001078 | 0.0015564 | 11.4528 | 11.4513 |  | 371 | 0.0015564 |  | 34.5797 |  | bottle
2 | YES | 372 | 34.5814 | 0.0011488 | -0.0064964 | 11.4518 | 11.4583 |  | 372 | -0.0064964 | 0.00012673 | 34.5879 | 0.002355 | 0.00070768
2 | YES | 373 | 34.1006 | 0.0012371 | 0.0020561 | 11.4507 | 11.4487 |  | 373 | 0.0020561 |  | 34.0985
2 | YES | 374 | 34.1004 | 0.0012698 | 0.0020065 | 11.4497 | 11.4477 |  | 374 | 0.0020065 |  | 34.0984
2 | YES | 375 | 34.1011 | 0.001056 | 0.0018692 | 11.4487 | 11.4468 |  | 375 | 0.0018692 |  | 34.0992
2 | YES | 376 | 34.1006 | 0.0012039 | 0.0011902 | 11.4477 | 11.4465 |  | 376 | 0.0011902 |  | 34.0994
2 | YES | 377 | 34.1008 | 0.0012918 | 0.0024338 | 11.4466 | 11.4442 |  | 377 | 0.0024338 |  | 34.0984
2 | YES | 378 | 34.101 | 0.001097 | 0.0016746 | 11.4456 | 11.4439 |  | 378 | 0.0016746 |  | 34.0993
2 | YES | 379 | 34.1011 | 0.0012528 | 0.0017853 | 11.4446 | 11.4428 |  | 379 | 0.0017853 |  | 34.0993
2 | YES | 380 | 34.1014 | 0.0012252 | 0.0016594 | 11.4435 | 11.4419 |  | 380 | 0.0016594 |  | 34.0997
2 | YES | 381 | 34.101 | 0.001106 | 0.0022087 | 11.4425 | 11.4403 |  | 381 | 0.0022087 |  | 34.0988
2 | YES | 382 | 34.1011 | 0.0012546 | -0.0021362 | 11.4415 | 11.4436 |  | 382 | -0.0021362 |  | 34.1032
2 | YES | 383 | 34.101 | 0.0012595 | 0.0022163 | 11.4404 | 11.4382 |  | 383 | 0.0022163 |  | 34.0988
2 | YES | 384 | 34.101 | 0.0011998 | -0.0025482 | 11.4394 | 11.442 |  | 384 | -0.0025482 | 0.00027675 | 34.1035 | 0.0017681
3 | YES | 385 | 34.3625 | 0.001205 | 0.0012245 | 11.4384 | 11.4372 |  | 385 | 0.0012245 |  | 34.3613
3 | YES | 386 | 34.3623 | 0.000913 | 0.0009346 | 11.4373 | 11.4364 |  | 386 | 0.0009346 |  | 34.3614
3 | YES | 387 | 34.3626 | 0.0010849 | 0.0019417 | 11.4363 | 11.4344 |  | 387 | 0.0019417 |  | 34.3607
3 | YES | 388 | 34.3624 | 0.00088921 | 0.0013161 | 11.4353 | 11.434 |  | 388 | 0.0013161 |  | 34.3611
3 | YES | 389 | 34.3621 | 0.0010951 | 0.00091934 | 11.4343 | 11.4333 |  | 389 | 0.00091934 |  | 34.3612
3 | YES | 390 | 34.362 | 0.00090441 | 0.0009079 | 11.4332 | 11.4323 |  | 390 | 0.0009079 |  | 34.3611
3 | YES | 391 | 34.3622 | 0.00089974 | 0.0022697 | 11.4322 | 11.4299 |  | 391 | 0.0022697 |  | 34.3599
3 | YES | 392 | 34.3621 | 0.0010788 | -0.0012474 | 11.4312 | 11.4324 |  | 392 | -0.0012474 |  | 34.3633
3 | YES | 393 | 34.3621 | 0.0011389 | 0.00046158 | 11.4301 | 11.4297 |  | 393 | 0.00046158 |  | 34.3616
3 | YES | 394 | 34.3619 | 0.0011565 | 0.00088882 | 11.4291 | 11.4282 |  | 394 | 0.00088882 |  | 34.361
3 | YES | 395 | 34.362 | 0.0011076 | -3.0518e-05 | 11.4281 | 11.4281 |  | 395 | -3.0518e-05 |  | 34.362
3 | YES | 396 | 34.362 | 0.001104 | 0.0007019 | 11.427 | 11.4263 |  | 396 | 0.0007019 | 0.00022088 | 34.3613 | 0.00081533
3 | YES | 397 | 32.6404 | 0.003758 | 131.64 | 11.426 | -120.214 |  | 397 | 131.64
3 | YES | 398 | 32.588 | 0.0029787 | 131.588 | 11.425 | -120.163 |  | 398 | 131.588
3 | YES | 399 | 32.4667 | 0.001105 | 131.467 | 11.424 | -120.043 |  | 399 | 131.467
3 | YES | 400 | 32.4452 | 0.0011287 | 131.445 | 11.4229 | -120.0221 |  | 400 | 131.445
3 | YES | 401 | 32.4604 | 0.0017267 | 131.46 | 11.4219 | -120.0381 |  | 401 | 131.46
3 | YES | 402 | 32.4602 | 0.0013201 | -0.00079727 | 11.4209 | 11.4217 |  | 402 | -0.00079727 |  | 32.461
3 | YES | 403 | 32.4604 | 0.0012361 | -0.0026207 | 11.4198 | 11.4224 |  | 403 | -0.0026207 |  | 32.463
3 | YES | 404 | 32.4603 | 0.0011415 | -0.0016861 | 11.4188 | 11.4205 |  | 404 | -0.0016861 |  | 32.462
4 | YES | 473 | 34.5836 | 0.0012966 | 0.0016441 | 11.3477 | 11.346 |  | 473 | 0.0016441 |  | 34.582
4 | YES | 474 | 34.5835 | 0.0013406 | 0.0019112 | 11.3467 | 11.3447 |  | 474 | 0.0019112 |  | 34.5816
4 | YES | 475 | 34.5836 | 0.0011898 | -0.00090027 | 11.3456 | 11.3465 |  | 475 | -0.00090027 |  | 34.5845
4 | YES | 476 | 34.5835 | 0.0012899 | 0.0024757 | 11.3446 | 11.3421 |  | 476 | 0.0024757 |  | 34.581
4 | YES | 477 | 34.5835 | 0.0013093 | 0.0014839 | 11.3436 | 11.3421 |  | 477 | 0.0014839 |  | 34.582
4 | YES | 478 | 34.5834 | 0.0012987 | 0.0012245 | 11.3425 | 11.3413 |  | 478 | 0.0012245 |  | 34.5822
4 | YES | 479 | 34.5834 | 0.001362 | 0.0019455 | 11.3415 | 11.3396 |  | 479 | 0.0019455 |  | 34.5815
4 | YES | 480 | 34.5835 | 0.0012364 | 0.0020599 | 11.3405 | 11.3384 |  | 480 | 0.0020599 |  | 34.5814
4 | YES | 481 | 34.5835 | 0.0013055 | -0.00032806 | 11.3394 | 11.3398 |  | 481 | -0.00032806 |  | 34.5838
4 | YES | 482 | 34.5835 | 0.0012527 | 3.8147e-05 | 11.3384 | 11.3384 |  | 482 | 3.8147e-05 |  | 34.5835
4 | YES | 483 | 34.5835 | 0.0013135 | -0.0005455 | 11.3374 | 11.3379 |  | 483 | -0.0005455 |  | 34.584
4 | YES | 484 | 34.5835 | 0.0012564 | 0.0011253 | 11.3363 | 11.3352 |  | 484 | 0.0011253 |  | 34.5824
4 | YES | 485 | 34.5835 | 0.0013069 | -0.0010796 | 11.3353 | 11.3364 |  | 485 | -0.0010796 |  | 34.5846
4 | YES | 486 | 34.5835 | 0.0013442 | -0.00019074 | 11.3343 | 11.3345 |  | 486 | -0.00019074 |  | 34.5837
4 | YES | 487 | 34.5835 | 0.0013208 | 0.00025177 | 11.3333 | 11.333 |  | 487 | 0.00025177 |  | 34.5832
4 | YES | 488 | 34.5835 | 0.0012571 | -0.0033379 | 11.3322 | 11.3356 |  | 488 | -0.0033379 |  | 34.5868
4 | YES | 489 | 34.5834 | 0.00131 | 0.0018349 | 11.3312 | 11.3294 |  | 489 | 0.0018349 |  | 34.5816
4 | YES | 490 | 34.5835 | 0.0012708 | 0.00046539 | 11.3302 | 11.3297 |  | 490 | 0.00046539 |  | 34.583
4 | YES | 491 | 34.5835 | 0.0012476 | 0.00030899 | 11.3291 | 11.3288 |  | 491 | 0.00030899 |  | 34.5832
4 | YES | 492 | 34.5835 | 0.0012401 | 133.584 | 11.3281 | -122.2559 |  | 492 | 133.584
4 | YES | 493 | 34.5835 | 0.0012992 | -0.0016289 | 11.3271 | 11.3287 |  | 493 | -0.0016289 |  | 34.5851
4 | YES | 494 | 34.5834 | 0.0012486 | 0.00061035 | 11.326 | 11.3254 |  | 494 | 0.00061035 |  | 34.5828
4 | YES | 495 | 34.5835 | 0.0012724 | 0.00066757 | 11.325 | 11.3243 |  | 495 | 0.00066757 | 5.2636e-05 | 34.5828 | 0.001423
4 | YES | 496 | 32.4491 | 0.0011731 | -0.0034561 | 11.324 | 11.3274 |  | 496 | -0.0034561 |  | 32.4526
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Sam#
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 4 |  |  |  | COMPARE Version 3.3 | Run at 2009/10/06 11:53:41
| Primary | Secondary |  | Comparison Name
Ref | Sam# | Sam# |  | Sam# - Sam#
Comp 1 | Pressure | Pressure |  | Pressure - Pressure
Comp 2 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 3 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 0.4
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Sal_Bot | Sam# | Sam# | (S-P) | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2009-10-0010.mrg | 2009-10-0010.sam | 117 | 41 | 41 | 0 | 0 | 1299.12 | 1299.12 | 0.21879 | 0.00036621 | -99 | 34.4847 | 0.00046124 | 133.485 | -99 | 34.483 | 0.001235 | 133.483
2009-10-0010.mrg | 2009-10-0010.sam | 81 | 42 | 42 | 0 | 0 | 1299.94 | 1299.94 | 0.12091 | -0.00036621 | -99 | 34.4849 | 0.00042478 | 133.485 | -99 | 34.4829 | 0.0010988 | 133.483
2009-10-0010.mrg | 2009-10-0010.sam | 112 | 43 | 43 | 0 | 0 | 1299.36 | 1299.36 | 0.21295 | 0.00012207 | 34.4805 | 34.4846 | 0.0002465 | 0.0041275 | 34.4805 | 34.4828 | 0.0010861 | 0.0023193
2009-10-0010.mrg | 2009-10-0010.sam | 64 | 44 | 44 | 0 | 0 | 1299.44 | 1299.45 | 0.058911 | 0.00024414 | 34.4818 | 34.4847 | 0.00021572 | 0.0029221 | 34.4818 | 34.4828 | 0.00092022 | 0.001049
2009-10-0010.mrg | 2009-10-0010.sam | 69 | 45 | 45 | 0 | 0 | 1299.48 | 1299.48 | 0.12583 | 0 | 34.4832 | 34.4845 | 0.00028556 | 0.001339 | 34.4832 | 34.4827 | 0.0010911 | -0.00047302
2009-10-0010.mrg | 2009-10-0010.sam | 69 | 46 | 46 | 0 | 0 | 1299.47 | 1299.47 | 0.20992 | -0.00024414 | 34.481 | 34.4848 | 0.00047586 | 0.0037689 | 34.481 | 34.4829 | 0.0011858 | 0.0018959
2009-10-0010.mrg | 2009-10-0010.sam | 69 | 47 | 47 | 0 | 0 | 1299.96 | 1299.97 | 0.052615 | 0.00036621 | 34.4813 | 34.4853 | 0.00050696 | 0.0039864 | 34.4813 | 34.483 | 0.0012241 | 0.0016899
2009-10-0010.mrg | 2009-10-0010.sam | 81 | 48 | 48 | 0 | 0 | 1299.28 | 1299.28 | 0.34703 | -0.00024414 | 34.4819 | 34.4846 | 0.00030082 | 0.0026512 | 34.4819 | 34.4825 | 0.0012243 | 0.0006218
2009-10-0010.mrg | 2009-10-0010.sam | 65 | 49 | 49 | 0 | 0 | 1299.17 | 1299.17 | 0.24808 | 0 | 34.4818 | 34.4848 | 0.00030439 | 0.0029602 | 34.4818 | 34.483 | 0.0013236 | 0.001152
2009-10-0010.mrg | 2009-10-0010.sam | 108 | 50 | 50 | 0 | 0 | 1299.99 | 1299.99 | 0.18025 | 0 | 34.4807 | 34.4852 | 0.00044781 | 0.0044556 | 34.4807 | 34.4831 | 0.0012379 | 0.0023918
2009-10-0010.mrg | 2009-10-0010.sam | 92 | 51 | 51 | 0 | 0 | 1299.03 | 1299.03 | 0.24367 | 0.00024414 | 34.482 | 34.4848 | 0.00033264 | 0.0027847 | 34.482 | 34.4829 | 0.00091008 | 0.00086975
2009-10-0010.mrg | 2009-10-0010.sam | 240 | 52 | 52 | 0 | 0 | 1299.68 | 1299.68 | 0.22925 | -0.00012207 | 34.4815 | 34.4852 | 0.00032394 | 0.0036774 | 34.4815 | 34.4834 | 0.0011793 | 0.0018616
2009-10-0010.mrg | 2009-10-0010.sam | 52 | 53 | 53 | 0 | 0 | 500.895 | 500.895 | 0.12946 | 0 | 34.1142 | 34.1172 | 0.00020399 | 0.0029678 | 34.1142 | 34.1149 | 0.0012705 | 0.00074005
2009-10-0010.mrg | 2009-10-0010.sam | 50 | 54 | 54 | 0 | 0 | 501.472 | 501.472 | 0.17436 | 9.1553e-05 | 34.1138 | 34.1174 | 0.00023847 | 0.0035706 | 34.1138 | 34.1152 | 0.0011855 | 0.0014114
2009-10-0010.mrg | 2009-10-0010.sam | 61 | 55 | 55 | 0 | 0 | 501.646 | 501.646 | 0.10716 | 0 | 34.1141 | 34.1173 | 0.00026743 | 0.0031967 | 34.1141 | 34.1148 | 0.0012275 | 0.00074768
2009-10-0010.mrg | 2009-10-0010.sam | 59 | 56 | 56 | 0 | 0 | 500.98 | 500.98 | 0.23768 | 0.00048828 | 34.1133 | 34.1171 | 0.00018968 | 0.0037727 | 34.1133 | 34.1148 | 0.0010944 | 0.0014915
2009-10-0010.mrg | 2009-10-0010.sam | 59 | 57 | 57 | 0 | 0 | 500.808 | 500.808 | 0.21353 | 0.00036621 | 34.1131 | 34.1171 | 0.00032334 | 0.0040512 | 34.1131 | 34.1151 | 0.001283 | 0.0019569
2009-10-0010.mrg | 2009-10-0010.sam | 48 | 58 | 58 | 0 | 0 | 501.7 | 501.7 | 0.17944 | 0.00018311 | 34.1157 | 34.1173 | 0.00028876 | 0.0015678 | 34.1157 | 34.1151 | 0.0012448 | -0.0006485
2009-10-0010.mrg | 2009-10-0010.sam | 53 | 59 | 59 | 0 | 0 | 501.525 | 501.525 | 0.20112 | -9.1553e-05 | 34.1145 | 34.1172 | 0.00055563 | 0.0026779 | 34.1145 | 34.1147 | 0.0010458 | 0.00020218
2009-10-0010.mrg | 2009-10-0010.sam | 51 | 60 | 60 | 0 | 0 | 500.987 | 500.987 | 0.096413 | -0.00045776 | 34.1143 | 34.117 | 0.00022002 | 0.0027199 | 34.1143 | 34.115 | 0.00095429 | 0.00068665
2009-10-0010.mrg | 2009-10-0010.sam | 55 | 61 | 61 | 0 | 0 | 501.001 | 501.001 | 0.14055 | -3.0518e-05 | 34.115 | 34.1172 | 0.00025232 | 0.0022278 | 34.115 | 34.1151 | 0.0011042 | 0.00012207
2009-10-0010.mrg | 2009-10-0010.sam | 85 | 62 | 62 | 0 | 0 | 501.65 | 501.65 | 0.1573 | 3.0518e-05 | 34.1141 | 34.1174 | 0.00054096 | 0.003334 | 34.1141 | 34.1151 | 0.0012316 | 0.00095749
2009-10-0010.mrg | 2009-10-0010.sam | 95 | 63 | 63 | 0 | 0 | 500.951 | 500.951 | 0.18256 | -9.1553e-05 | 34.1139 | 34.1171 | 0.00026729 | 0.0032196 | 34.1139 | 34.115 | 0.0011926 | 0.001091
2009-10-0010.mrg | 2009-10-0010.sam | 240 | 64 | 64 | 0 | 0 | 501.31 | 501.31 | 0.31057 | 0 | 34.1135 | 34.1173 | 0.000234 | 0.0038071 | 34.1135 | 34.1149 | 0.0012334 | 0.0014343
2009-10-0046.mrg | 2009-10-0046.sam | 53 | 361 | 361 | 0 | 0 | 2002.95 | 2002.96 | 1.223 | 0.00024414 | 34.5809 | 34.5843 | 0.00027365 | 0.003418 | 34.5809 | 34.5816 | 0.00091108 | 0.00073242
2009-10-0046.mrg | 2009-10-0046.sam | 46 | 362 | 362 | 0 | 0 | 2003.88 | 2003.88 | 0.77292 | 0 | 34.5799 | 34.584 | 0.00023517 | 0.0041351 | 34.5799 | 34.5813 | 0.0012298 | 0.0013771
2009-10-0046.mrg | 2009-10-0046.sam | 54 | 363 | 363 | 0 | 0 | 1999.52 | 1999.52 | 1.3652 | 0.00036621 | 34.579 | 34.584 | 0.00029589 | 0.0050087 | 34.579 | 34.5813 | 0.0011364 | 0.0023041
2009-10-0046.mrg | 2009-10-0046.sam | 61 | 364 | 364 | 0 | 0 | 1997.96 | 1997.96 | 0.64438 | 0.00012207 | 34.5799 | 34.5838 | 0.0002406 | 0.0038567 | 34.5799 | 34.5812 | 0.0012548 | 0.0012703
2009-10-0046.mrg | 2009-10-0046.sam | 55 | 365 | 365 | 0 | 0 | 2001.69 | 2001.69 | 1.1727 | 0 | 34.5795 | 34.5842 | 0.00032014 | 0.0046806 | 34.5795 | 34.5816 | 0.0007459 | 0.0020676
2009-10-0046.mrg | 2009-10-0046.sam | 51 | 366 | 366 | 0 | 0 | 2003.6 | 2003.6 | 0.2484 | -0.00036621 | 34.5805 | 34.5841 | 0.00028059 | 0.0035706 | 34.5805 | 34.5813 | 0.0013706 | 0.00083923
2009-10-0046.mrg | 2009-10-0046.sam | 58 | 367 | 367 | 0 | 0 | 2000.97 | 2000.97 | 1.1703 | 0 | 34.5792 | 34.5842 | 0.00021872 | 0.0049515 | 34.5792 | 34.5814 | 0.0010772 | 0.0021591
2009-10-0046.mrg | 2009-10-0046.sam | 57 | 368 | 368 | 0 | 0 | 1998.47 | 1998.47 | 0.23916 | -0.00024414 | 34.5812 | 34.5838 | 0.00022259 | 0.0026093 | 34.5812 | 34.5813 | 0.0012037 | 5.722e-05
2009-10-0046.mrg | 2009-10-0046.sam | 63 | 369 | 369 | 0 | 0 | 2000.94 | 2000.94 | 1.3125 | -0.00036621 | 34.5808 | 34.584 | 0.00030117 | 0.00317 | 34.5808 | 34.5815 | 0.0010202 | 0.00067902
2009-10-0046.mrg | 2009-10-0046.sam | 60 | 370 | 370 | 0 | 0 | 2003.62 | 2003.62 | 0.40408 | 0 | 34.5801 | 34.5841 | 0.00025792 | 0.0039902 | 34.5801 | 34.5814 | 0.001271 | 0.0012741
2009-10-0046.mrg | 2009-10-0046.sam | 59 | 371 | 371 | 0 | 0 | 2000.15 | 2000.15 | 1.2266 | -0.00024414 | 34.5797 | 34.584 | 0.00024166 | 0.004303 | 34.5797 | 34.5813 | 0.001078 | 0.0015564
2009-10-0046.mrg | 2009-10-0046.sam | 240 | 372 | 372 | 0 | 0 | 2000.85 | 2000.85 | 1.3681 | -0.00024414 | 34.5879 | 34.584 | 0.00024607 | -0.0038528 | 34.5879 | 34.5814 | 0.0011488 | -0.0064964
2009-10-0046.mrg | 2009-10-0046.sam | 54 | 373 | 373 | 0 | 0 | 502.078 | 502.078 | 0.46097 | -0.00045776 | 34.0985 | 34.1036 | 0.00051647 | 0.0051117 | 34.0985 | 34.1006 | 0.0012371 | 0.0020561
2009-10-0046.mrg | 2009-10-0046.sam | 84 | 374 | 374 | 0 | 0 | 500.459 | 500.459 | 0.3461 | -6.1035e-05 | 34.0984 | 34.1032 | 0.00026727 | 0.0047798 | 34.0984 | 34.1004 | 0.0012698 | 0.0020065
2009-10-0046.mrg | 2009-10-0046.sam | 77 | 375 | 375 | 0 | 0 | 502.921 | 502.921 | 0.73577 | 0.00039673 | 34.0992 | 34.104 | 0.00038388 | 0.0047836 | 34.0992 | 34.1011 | 0.001056 | 0.0018692
2009-10-0046.mrg | 2009-10-0046.sam | 140 | 376 | 376 | 0 | 0 | 500.645 | 500.645 | 1.0332 | 0.00021362 | 34.0994 | 34.1033 | 0.00027902 | 0.003933 | 34.0994 | 34.1006 | 0.0012039 | 0.0011902
2009-10-0046.mrg | 2009-10-0046.sam | 202 | 377 | 377 | 0 | 0 | 502.288 | 502.288 | 0.72212 | -0.00036621 | 34.0984 | 34.1036 | 0.00034809 | 0.0052261 | 34.0984 | 34.1008 | 0.0012918 | 0.0024338
2009-10-0046.mrg | 2009-10-0046.sam | 240 | 378 | 378 | 0 | 0 | 502.094 | 502.094 | 0.6134 | -0.00030518 | 34.0993 | 34.1037 | 0.0003481 | 0.0044441 | 34.0993 | 34.101 | 0.001097 | 0.0016746
2009-10-0046.mrg | 2009-10-0046.sam | 241 | 379 | 379 | 0 | 0 | 502.742 | 502.742 | 1.0171 | 0.00036621 | 34.0993 | 34.104 | 0.00040056 | 0.0046501 | 34.0993 | 34.1011 | 0.0012528 | 0.0017853
2009-10-0046.mrg | 2009-10-0046.sam | 235 | 380 | 380 | 0 | 0 | 502.339 | 502.339 | 1.6593 | 0 | 34.0997 | 34.1042 | 0.00062968 | 0.0045128 | 34.0997 | 34.1014 | 0.0012252 | 0.0016594
2009-10-0046.mrg | 2009-10-0046.sam | 217 | 381 | 381 | 0 | 0 | 502.05 | 502.05 | 1.7001 | -0.00021362 | 34.0988 | 34.1039 | 0.00034001 | 0.0050774 | 34.0988 | 34.101 | 0.001106 | 0.0022087
2009-10-0046.mrg | 2009-10-0046.sam | 189 | 382 | 382 | 0 | 0 | 502.268 | 502.268 | 1.4228 | -3.0518e-05 | 34.1032 | 34.1038 | 0.00038333 | 0.00064087 | 34.1032 | 34.1011 | 0.0012546 | -0.0021362
2009-10-0046.mrg | 2009-10-0046.sam | 50 | 383 | 383 | 0 | 0 | 504.343 | 504.343 | 0.52936 | 0.00030518 | 34.0988 | 34.104 | 0.00026191 | 0.0052299 | 34.0988 | 34.101 | 0.0012595 | 0.0022163
2009-10-0046.mrg | 2009-10-0046.sam | 240 | 384 | 384 | 0 | 0 | 502.154 | 502.154 | 2.0393 | 0.00027466 | 34.1035 | 34.1038 | 0.00049047 | 0.0002594 | 34.1035 | 34.101 | 0.0011998 | -0.0025482
2009-10-0047.mrg | 2009-10-0047.sam | 45 | 385 | 385 | 0 | 0 | 1000.56 | 1000.56 | 0.088602 | 0.00018311 | 34.3613 | 34.365 | 0.00022633 | 0.0036507 | 34.3613 | 34.3625 | 0.001205 | 0.0012245
2009-10-0047.mrg | 2009-10-0047.sam | 38 | 386 | 386 | 0 | 0 | 1000.8 | 1000.8 | 0.11566 | -0.00018311 | 34.3614 | 34.365 | 0.00019198 | 0.0036354 | 34.3614 | 34.3623 | 0.000913 | 0.0009346
2009-10-0047.mrg | 2009-10-0047.sam | 38 | 387 | 387 | 0 | 0 | 1001.29 | 1001.29 | 0.1489 | 0.00018311 | 34.3607 | 34.3652 | 0.00030494 | 0.0045166 | 34.3607 | 34.3626 | 0.0010849 | 0.0019417
2009-10-0047.mrg | 2009-10-0047.sam | 37 | 388 | 388 | 0 | 0 | 1001.53 | 1001.53 | 0.074475 | -0.00042725 | 34.3611 | 34.3651 | 0.00025337 | 0.0040436 | 34.3611 | 34.3624 | 0.00088921 | 0.0013161
2009-10-0047.mrg | 2009-10-0047.sam | 34 | 389 | 389 | 0 | 0 | 1000.78 | 1000.78 | 0.37095 | 0.00030518 | 34.3612 | 34.3649 | 0.00024178 | 0.003685 | 34.3612 | 34.3621 | 0.0010951 | 0.00091934
2009-10-0047.mrg | 2009-10-0047.sam | 37 | 390 | 390 | 0 | 0 | 999.351 | 999.351 | 0.3967 | 0.00030518 | 34.3611 | 34.3647 | 0.00028727 | 0.0036087 | 34.3611 | 34.362 | 0.00090441 | 0.0009079
2009-10-0047.mrg | 2009-10-0047.sam | 35 | 391 | 391 | 0 | 0 | 998.804 | 998.804 | 0.13735 | 0.00036621 | 34.3599 | 34.3645 | 0.00024634 | 0.0045738 | 34.3599 | 34.3622 | 0.00089974 | 0.0022697
2009-10-0047.mrg | 2009-10-0047.sam | 34 | 392 | 392 | 0 | 0 | 999.778 | 999.778 | 0.36536 | -0.00018311 | 34.3633 | 34.3647 | 0.00026682 | 0.0013504 | 34.3633 | 34.3621 | 0.0010788 | -0.0012474
2009-10-0047.mrg | 2009-10-0047.sam | 34 | 393 | 393 | 0 | 0 | 1000.62 | 1000.62 | 0.10565 | 6.1035e-05 | 34.3616 | 34.3649 | 0.00025862 | 0.0033455 | 34.3616 | 34.3621 | 0.0011389 | 0.00046158
2009-10-0047.mrg | 2009-10-0047.sam | 35 | 394 | 394 | 0 | 0 | 1000.23 | 1000.23 | 0.2698 | 0.00012207 | 34.361 | 34.3645 | 0.00026845 | 0.0035172 | 34.361 | 34.3619 | 0.0011565 | 0.00088882
2009-10-0047.mrg | 2009-10-0047.sam | 47 | 395 | 395 | 0 | 0 | 999.438 | 999.438 | 0.12362 | -0.00036621 | 34.362 | 34.3645 | 0.00015905 | 0.0024681 | 34.362 | 34.362 | 0.0011076 | -3.0518e-05
2009-10-0047.mrg | 2009-10-0047.sam | 240 | 396 | 396 | 0 | 0 | 999.819 | 999.819 | 0.88825 | 0.00036621 | 34.3613 | 34.3645 | 0.00028313 | 0.0032463 | 34.3613 | 34.362 | 0.001104 | 0.0007019
2009-10-0047.mrg | 2009-10-0047.sam | 241 | 397 | 397 | 0 | 0 | 77.606 | 77.6056 | 1.4328 | -0.00041962 | -99 | 32.6436 | 0.0017756 | 131.644 | -99 | 32.6404 | 0.003758 | 131.64
2009-10-0047.mrg | 2009-10-0047.sam | 241 | 398 | 398 | 0 | 0 | 50.008 | 50.0085 | 0.59991 | 0.00046921 | -99 | 32.592 | 0.0026876 | 131.592 | -99 | 32.588 | 0.0029787 | 131.588
2009-10-0047.mrg | 2009-10-0047.sam | 241 | 399 | 399 | 0 | 0 | 30.916 | 30.9158 | 0.68603 | -0.00020027 | -99 | 32.4702 | 0.00026877 | 131.47 | -99 | 32.4667 | 0.001105 | 131.467
2009-10-0047.mrg | 2009-10-0047.sam | 241 | 400 | 400 | 0 | 0 | 21.779 | 21.7785 | 0.76107 | -0.00049782 | -99 | 32.4705 | 0.00022577 | 131.47 | -99 | 32.4452 | 0.0011287 | 131.445
2009-10-0047.mrg | 2009-10-0047.sam | 90 | 401 | 401 | 0 | 0 | 11.675 | 11.6746 | 0.67652 | -0.00040054 | -99 | 32.4646 | 0.00081236 | 131.465 | -99 | 32.4604 | 0.0017267 | 131.46
2009-10-0047.mrg | 2009-10-0047.sam | 93 | 402 | 402 | 0 | 0 | 8.971 | 8.9706 | 0.53968 | -0.00040817 | 32.461 | 32.464 | 0.00038553 | 0.0029793 | 32.461 | 32.4602 | 0.0013201 | -0.00079727
2009-10-0047.mrg | 2009-10-0047.sam | 193 | 403 | 403 | 0 | 0 | 10.341 | 10.3414 | 0.77261 | 0.00043583 | 32.463 | 32.4644 | 0.00045265 | 0.0014305 | 32.463 | 32.4604 | 0.0012361 | -0.0026207
2009-10-0047.mrg | 2009-10-0047.sam | 240 | 404 | 404 | 0 | 0 | 10.164 | 10.1641 | 0.51864 | 0.0001421 | 32.462 | 32.4643 | 0.00043112 | 0.0022583 | 32.462 | 32.4603 | 0.0011415 | -0.0016861
2009-10-0055.mrg | 2009-10-0055.sam | 43 | 473 | 473 | 0 | 0 | 1998.74 | 1998.74 | 0.17449 | -0.00036621 | 34.582 | 34.5862 | 0.00021958 | 0.0042 | 34.582 | 34.5836 | 0.0012966 | 0.0016441
2009-10-0055.mrg | 2009-10-0055.sam | 128 | 474 | 474 | 0 | 0 | 1999.46 | 1999.46 | 0.43891 | -0.00048828 | 34.5816 | 34.5862 | 0.00026659 | 0.0046082 | 34.5816 | 34.5835 | 0.0013406 | 0.0019112
2009-10-0055.mrg | 2009-10-0055.sam | 44 | 475 | 475 | 0 | 0 | 1998.06 | 1998.06 | 0.11129 | 0.00012207 | 34.5845 | 34.5861 | 0.00019403 | 0.0015678 | 34.5845 | 34.5836 | 0.0011898 | -0.00090027
2009-10-0055.mrg | 2009-10-0055.sam | 96 | 476 | 476 | 0 | 0 | 1999.56 | 1999.56 | 0.64966 | -0.00036621 | 34.581 | 34.5862 | 0.00022716 | 0.0051651 | 34.581 | 34.5835 | 0.0012899 | 0.0024757
2009-10-0055.mrg | 2009-10-0055.sam | 141 | 477 | 477 | 0 | 0 | 1999.58 | 1999.58 | 0.25699 | 0.00012207 | 34.582 | 34.5861 | 0.00022879 | 0.0041199 | 34.582 | 34.5835 | 0.0013093 | 0.0014839
2009-10-0055.mrg | 2009-10-0055.sam | 119 | 478 | 478 | 0 | 0 | 1998.76 | 1998.76 | 0.61492 | -0.00024414 | 34.5822 | 34.5861 | 0.00020882 | 0.0038757 | 34.5822 | 34.5834 | 0.0012987 | 0.0012245
2009-10-0055.mrg | 2009-10-0055.sam | 49 | 479 | 479 | 0 | 0 | 1998.55 | 1998.55 | 0.39415 | -0.00012207 | 34.5815 | 34.586 | 0.00023542 | 0.0045433 | 34.5815 | 34.5834 | 0.001362 | 0.0019455
2009-10-0055.mrg | 2009-10-0055.sam | 120 | 480 | 480 | 0 | 0 | 1999.97 | 1999.97 | 0.98751 | 0.00012207 | 34.5814 | 34.5862 | 0.00028833 | 0.0047607 | 34.5814 | 34.5835 | 0.0012364 | 0.0020599
2009-10-0055.mrg | 2009-10-0055.sam | 48 | 481 | 481 | 0 | 0 | 1997.95 | 1997.95 | 0.35186 | -0.00012207 | 34.5838 | 34.586 | 0.00022568 | 0.0022278 | 34.5838 | 34.5835 | 0.0013055 | -0.00032806
2009-10-0055.mrg | 2009-10-0055.sam | 96 | 482 | 482 | 0 | 0 | 1999.02 | 1999.02 | 0.65179 | 0.00024414 | 34.5835 | 34.5861 | 0.00023966 | 0.0026093 | 34.5835 | 34.5835 | 0.0012527 | 3.8147e-05
2009-10-0055.mrg | 2009-10-0055.sam | 118 | 483 | 483 | 0 | 0 | 1998.98 | 1998.98 | 0.62779 | 0.00012207 | 34.584 | 34.5861 | 0.00023231 | 0.002121 | 34.584 | 34.5835 | 0.0013135 | -0.0005455
2009-10-0055.mrg | 2009-10-0055.sam | 157 | 484 | 484 | 0 | 0 | 1998.94 | 1998.94 | 0.65073 | 0 | 34.5824 | 34.5861 | 0.00023538 | 0.0037422 | 34.5824 | 34.5835 | 0.0012564 | 0.0011253
2009-10-0055.mrg | 2009-10-0055.sam | 240 | 485 | 485 | 0 | 0 | 1998.72 | 1998.72 | 0.61459 | -0.00036621 | 34.5846 | 34.5861 | 0.00023954 | 0.0014648 | 34.5846 | 34.5835 | 0.0013069 | -0.0010796
2009-10-0055.mrg | 2009-10-0055.sam | 139 | 486 | 486 | 0 | 0 | 1998.9 | 1998.9 | 0.27205 | -0.00048828 | 34.5837 | 34.5861 | 0.00023137 | 0.0023613 | 34.5837 | 34.5835 | 0.0013442 | -0.00019074
2009-10-0055.mrg | 2009-10-0055.sam | 37 | 487 | 487 | 0 | 0 | 1998.17 | 1998.17 | 0.17241 | -0.00012207 | 34.5832 | 34.586 | 0.00022399 | 0.0028191 | 34.5832 | 34.5835 | 0.0013208 | 0.00025177
2009-10-0055.mrg | 2009-10-0055.sam | 149 | 488 | 488 | 0 | 0 | 1999.33 | 1999.33 | 1.0036 | 0.00024414 | 34.5868 | 34.5861 | 0.00025225 | -0.00065994 | 34.5868 | 34.5835 | 0.0012571 | -0.0033379
2009-10-0055.mrg | 2009-10-0055.sam | 33 | 489 | 489 | 0 | 0 | 1997.23 | 1997.23 | 0.089544 | -0.00036621 | 34.5816 | 34.586 | 0.00023436 | 0.0043602 | 34.5816 | 34.5834 | 0.00131 | 0.0018349
2009-10-0055.mrg | 2009-10-0055.sam | 32 | 490 | 490 | 0 | 0 | 1997.81 | 1997.81 | 0.36165 | 0.00036621 | 34.583 | 34.5861 | 0.00022249 | 0.0030861 | 34.583 | 34.5835 | 0.0012708 | 0.00046539
2009-10-0055.mrg | 2009-10-0055.sam | 128 | 491 | 491 | 0 | 0 | 1999.51 | 1999.51 | 0.96313 | -0.00036621 | 34.5832 | 34.5862 | 0.00022978 | 0.0030098 | 34.5832 | 34.5835 | 0.0012476 | 0.00030899
2009-10-0055.mrg | 2009-10-0055.sam | 74 | 492 | 492 | 0 | 0 | 1997.68 | 1997.68 | 0.69113 | -0.00036621 | -99 | 34.586 | 0.00024055 | 133.586 | -99 | 34.5835 | 0.0012401 | 133.584
2009-10-0055.mrg | 2009-10-0055.sam | 164 | 493 | 493 | 0 | 0 | 1999.21 | 1999.21 | 0.83799 | 0.00036621 | 34.5851 | 34.5862 | 0.00024089 | 0.0010605 | 34.5851 | 34.5835 | 0.0012992 | -0.0016289
2009-10-0055.mrg | 2009-10-0055.sam | 240 | 494 | 494 | 0 | 0 | 1998.2 | 1998.2 | 1.3039 | -0.00024414 | 34.5828 | 34.5861 | 0.00026884 | 0.0032692 | 34.5828 | 34.5834 | 0.0012486 | 0.00061035
2009-10-0055.mrg | 2009-10-0055.sam | 241 | 495 | 495 | 0 | 0 | 1997.41 | 1997.41 | 1.1025 | -0.00024414 | 34.5828 | 34.5861 | 0.0002962 | 0.0032616 | 34.5828 | 34.5835 | 0.0012724 | 0.00066757
2009-10-0055.mrg | 2009-10-0055.sam | 241 | 496 | 496 | 0 | 0 | 5.636 | 5.636 | 0.55067 | -1.2398e-05 | 32.4526 | 32.4526 | 0.00052339 | 4.9591e-05 | 32.4526 | 32.4491 | 0.0011731 | -0.0034561
Create Fit Sheet