- Cruise 2009-11:  LaPerouse Sept 09

- CTD/Rosette:

89 actual ‘casts’, but 91 files, 0001 to 0149.

- 0 stand-alone CTD casts.

- 5 ‘CTD’ casts with no sample taken.

- Casts 1-59 done with deck unit 0619, CTD 0585, casts 60-149 with closet D/U (same CTD) on LARS.

- Seasave version 7.16

- GENERAL NOTES:

- Problem casts:

Cast 0002 with pressure spikes

Cast 0005 has lots of ups and downs

Cast 0027 beep errors on upcast

Cast 0028 SAL funny on downcast

Cast 0029 beep errors, lost comm. 520 down, closed niskins by winch readout(still worked)

Cast 0030 error message (became common until after #0060)

Cast 0031 – 0032 are LB15

Cast 0033 - 0034 are LB16

Cast 0057 – 0058 are LC01

Cast 0068 beep but no error

Cast 0070 funny oxygen trace?

Cast 0071 pressure spike on downcast ~130m

Cast 0075 pause at 50m on up to unwind cable

Cast 0099 computer froze at end of cast

- PAR:

Casts with PAR sensor 4615:  0001- 0025, 0060 - 72, 0103 – 0149.

- Niskins at CTD/Rosette casts:

Niskin 7 often failed to close, no idea if it closed at correct depth when it did.:

Events 22,25,29,56,57/58,70,72,87,125,129 for sure

Niskin 5 failed on #129

Event 57/58:  Niskins 1-4 are Event 57, Niskins 5-8 are Event58 (new file during upcast)

Sample # 452 used twice (Event 137 + 139)

Sample #s 467-473 not used

Event 133 niskins 5 and 7 failed to trip, reran cast with extra niskins at those depths.

Loops:

One loop from hose taken, all CTD stations had 5m sample (except last few stations)

TSG:

3 files, apparently working fine.