## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 1 April 2025 | Updated channel names & formats in TOB files. GG |
| 16-Nov-2018 | Corrections to Nitrate & Phosphate data in file 2009-11-0029.CHE. |
| 29-Sep-2017 | Corrected MISSION metadata field in header. R.H. |
| 28-Nov-2011 | Titrated DO data in mL/L - corrected format from 1 to 3 decimal places |
| 20-Jul-2011 | Changed instrument serial number in the thermosalinograph files from 2487 to 2488. |
| 27-May-2010 | An error was found in the calibration parameters used in processing this cruise. It is estimated that pressure is low by <0.5db, so no correction was applied. For details see file “Report on Calibration Errors for Pressure Sensor #77511, CTD 0585 “ in Osd_Date_Archive\Cruise_Data\DOCUMENTS |
| 8 July 2013 | Corrections to Nitrate and Phosphate data; see headers for details. |

.

## PROCESSING NOTES

Cruise: 2009-11

Agency: OSD

Location: WCVI

Project: La Perouse

Party Chief: Yelland D.

Platform: John P. Tully

Date: September 4, 2009 – September 15, 2009

Processed by: Germaine Gatien

Date of Processing: 23 November 2009 – 30 April 2009

Number of original CTD casts: 87 casts, 91 files	Number of CTD casts processed: 87

Number of bottle casts: 	81 (82 files)		Number of bottle casts processed: 80

Number of original TSG files:  3  		Number of TSG files processed:  3

# INSTRUMENT SUMMARY

A SeaBird Model SBE 911+ CTD (#0585) was used during this cruise. It was mounted in a rosette and attached were a Wetlabs CSTAR transmissometer (#983DR), an SBE 43 DO sensor (#1176 on the primary pump), a Seapoint Fluorometer (#2228) with a 10X cable (believed to be on the secondary pump), a Biospherical QSP-400 PAR sensor (#4615) and an altimeter (#1252). Two deck units were used, both model 911+s: 424 up to cast #58 and #619 from cast #60 onwards. Casts #1-57/58 were done using the aft deck and casts #60 onwards were run with the LARS mid-ship station. Seasave version 7.18c was used. The salinometer used was a model 8400B Autosal, serial # 69086

A thermosalinograph (SeaBird 21 S/N 2248) was mounted with a Wetlab/Wetstar fluorometer (WS3S-713P), remote temperature sensor #4652 and a flow meter.

# SUMMARY OF QUALITY AND CONCERNS

A long-standing error has been found in the calibration of the pressure sensor used for this cruise. Since the effect is believed negligible and processing of the cruise was almost complete when it was discovered, no correction was applied. Details about this may be found in the document:

Osd_data_archive:\Cruise_Data\DOCUMENTS\Corrections For Pressure Sensor 77511 March2010.doc

The CTD and rosette logs were in good order and sampling notes and a cruise report were available which were very helpful.

Temperatures tend to be above the historic maxima just offshore of the shelf break from Brooks Peninsula south. This does not appear to be caused by CTD problems; such excursions were also seen in the June and August Line P cruises again just offshore of the shelf break.

Niskin Bottle #7 frequently failed to close. In one case it appears to have closed late. This is a persistent problem believed to be due to a faulty solenoid.

There were many problems with the CTD during 2009-10 which immediately preceded this cruise. Most of them involved the deployment using the LARS mid-ship station. Some changes were made during this cruise including keeping the descent rate lower and increasing the weight on the rosette. There were many communication problems and many pressure spikes, but the issues were not as serious as during 2009-10. The LARS was used from event # 60 to the end of the cruise.

Both salinity channels differ from the bottles by ~0.02 which is an unusually large offset. Temperature differences are ~0.001 which is higher than usual, but not enough to account for the salinity difference. The CTD salinity data have not been recalibrated because the result of the comparison with bottles is out of line with cruises before and after this one and it seems unlikely that both sensors should have drifted by the same large amount and because of general doubts about sampling/analyses from other recent cruises. When the sensors are next recalibrated this decision should be revisited.

Sea-Bird have a new algorithm for calculating dissolved oxygen with several parameters that need fine-tuning for each instrument to produce the best deep data. Those tests were run on the cruise immediately before this one and the results were applied to these data as well.

The precision of the SBE dissolved oxygen channel is estimated on the basis of a comparison to bottle data to be, roughly:

•	±0.5ml/l from 0- 150db

•	±0.25ml/l from 150-400db

•	±0.06ml/l from 400-15000db

•	low by up to 0.1ml/l below 1500db

For cast #29 the CTD data was badly corrupted by pressure spikes during the upcast making it impossible to produce useful CTD data for the 7 shallowest bottles. The CTD data were replaced with pad values for 7 bottles and nominal depths were entered for all bottles based on the “Target Pressure” entries from the rosette log sheet. Files #57 and 58 were combined to produce a bottle file for #57.

The headers indicate many runs of CTDEDIT for some casts; this is not an indication of particularly heavy editing, but was due to a software problem that resulted in having to save the file frequently.

Problems continue to plague the thermosalinograph on the Tully. The interval problem appears to have been fixed, but the latitude and longitude data got stuck for 12 hours at the end of the first file and for 26 hours at the end of the second file. Once this problem occurs it continues until a new file is started. Ship records of time/position were used to fill the gaps since the time was recorded properly.

The TSG fluorometer has been reading higher than CTD fluorometers and extracted chlorophyll samples from the loop for years, but during this cruise the ratio between TSG and CTD fluorometers and between TSG and rosette samples began to grow ever larger which has not been seen before. The problem could be with the fluorometer which has not been recalibrated since 2001, or perhaps biological material was building up in the loop. There was only 1 loop chlorophyll sample and that was early in the cruise, so it is impossible to distinguish between those two possibilities.

Intake temperature was available for the TSG. TSG Salinity was recalibrated by adding 0.02 which is the same as for the previous cruise suggesting good stability in the conductivity sensor. The flow in the loop was changed partway through the first file. There was no note in the log book about that.

# PROCESSING SUMMARY

##### Seasave

This step was completed at sea; the raw data files have extension HEX.

##### Preliminary Steps

The Log Book and rosette log sheets were obtained as well as a cruise report and a sampling report with a summary of problems and points of interest with reference to processing. There were a number of computer problems. Rosette bottle #7 often failed to close. The descent rate was kept low for the LARS casts.

The PAR sensor was used for casts 1-25, 60-72 and 103-149. That channel will be converted for all casts, but will be removed at the end from casts with no signal.

Extracted chlorophyll, titrated dissolved oxygen, NH4, nutrients and salinity data were obtained in spreadsheet format.

The cruise summary sheet was completed.

The histories of the pressure, oxygen and conductivity sensors were obtained.

The calibration constants were checked for all instruments. A few changes were made:

- The transmissometer offset is wrong – it should be -1.1772, not -1.2737.

- The oxygen calibration data was updated with the new values for parameters E, H1 and H3 found during 2009-10.

##### Conversion of Raw Data

Data were converted using configuration file 2009-11-ctd.con.

A few casts were examined and all expected channels are present.

- The two temperature channels are unusually noisy, but this looks like it is due to noisy descent rates. For a few casts with fairly steady descent rates, the two channels are generally very close during the downcast. The upcast data are much noisier so there are significant differences.

- Conductivity channels are similar in spikiness, but the two channels are further apart than usual even during downcasts. During the upcasts there are some very large differences that appear to be due to primary values being off.

- The fluorescence looks ok with a dark value ~0.11. The offset between Fl and Temperature taking into account the descent rate, suggests a 1 or 2s offset for FL, but the temperature is very noisy during the upcasts.

- Dissolved oxygen voltage has the usual offset between downcast and upcast with what looks roughly like a 4s difference between DO and temperature given the descent rate.

- PAR look fine.

- The transmissivity has no noticeable hysteresis; there are spikes at depth, but mostly small ones.

- The altimetry looks useful even for some casts with very noisy descent rates.

- The descent rate was very high and very noisy for the early casts. After moving the LARS the rate was lower but still mostly very noisy.

Rosette files were converted using a start time of -5s and duration of 10s. The TAU correction was used.

The rosette files were then converted to IOS SHELL files. Two files could not be converted due to spikes in pressure; primary temperature and conductivity are very bad, but the secondary temperature is ok and secondary conductivity has some spikes but not a lot. The following steps were taken:

- Cast #2 – The last 160 records were removed from Bottle #3. The pressures for those records were very spiky and while some values are close to the expected 20db, there is more variability than expected. Bottles #1 and 2 look ok.

- Cast #29 – There are 18 bottles. The first 11 look fine, but then spikes start to appear in pressure. None of the pressure data looks reliable, so all the data were removed from the ROS file to enable conversion. To enable the addition of the chemistry data from bottles 12-18, lines will need to be added to the SAMAVG file. Later nominal depths will be added so there is some idea where these samples come from.

CLEAN was run on all the IOS files to ensure the event number is in every header, output files were named *.BOT.

At this point the IOS files for casts 57 and 58 were combined. File 58 was renamed 2009-11-0057.ios2 and data for the first 4 bottles were removed - those were fired just to line up the bottle numbers. Then the IOS and IOS2 files were put through CLEAN and then JOIN was used to produce 2009-11-0057.bot. File 2009-11-0058.BOT was deleted.

Temperature and salinity were plotted for all BOT files. There were many outliers in the surface and bottom water for primary salinity but these do not look amenable to editing. A few outliers in the secondary salinity were edited in casts 40, 45, 105 and 126 using CTDEDIT. The output files were then copied to *.BOT. Editing details were added to the header comments.

##### WILDEDIT

Program WILDEDIT was run to remove spikes from the pressure, conductivity and temperature channels only.

Parameters used were: 	Pass 1    Std Dev = 2

Pass 2    Std Dev = 5

Points per block = 50

##### CELLTM

Finding casts suitable for testing the CELLTM settings was difficult. Only towards the end of the cruise are there some casts with a steady descent rate and few stops for bottles and some of those had data too noisy to establish the best choice. Tests were run on casts  #137 and 149. The best choice overall proved to be (α = 0.03, β=9) for both the primary and secondary.

The same choice was found appropriate for 2009-10 when the same equipment was used.

CELLTM was run on all casts using that setting.

##### DERIVE

Program DERIVE was run twice:

on all casts to calculate primary and secondary salinity and dissolved oxygen concentration.

on a few casts to calculate the differences between primary and secondary channels for temperature, conductivity and salinity. These were placed in a test directory and will not be archived.

##### Test Plots and Channel Check

A sample of casts was plotted to check for agreement between the pairs of T and C sensors. Most proved too noisy to make an estimate. The useful casts were close together so little could be determined as to temporal changes, so results from 2009-10 are included to provide that information. The differences are often extremely noisy so these are very rough estimates.

| Cast # | Press | T1-T0 | C1-C0 | S1-S0 | Descent Rate |
| --- | --- | --- | --- | --- | --- |
| 2009-10-16 | 1000 2000 | +0.001 VN +0.001 VN | -0.00005 N -0.00005 N | -0.002 XN -0.002 XN | High, V. noisy High, noisy |
| 2009-10-38 | 1000 2000 | +0.001 +0.0009 | -0.0001 XN -0.00015 XN | -0.0025XN -0.0025XN | High, X Noisy High, X Noisy |
| 2009-10-51 | 1000 2000 3000 3900 | +0.0013VN +0.0010N +0.0012N +0.0012XN | -0.00011 N -0.00013 N -0.00012 N -0.00015 VN | -0.003 -0.003 -0.003 -0.003 | High, X Noisy High, X Noisy VHigh, Noisy VHigh, Noisy |
| 2009-10-61 | 1000 2000 3000 3900 | +0.0011 N +0.0010 N +0.0012 N +0.0011 N | -0.00015 VN -0.00015 VN -0.00015 VN -0.00015 VN | -0.003 XN -0.003 XN -0.003 XN -0.003 XN | High, V Noisy High, V Noisy High, V Noisy High, V Noisy |
| 2009-11-37 | 1850 | +0.001 XN | -0.0002 VN | -0.0037 XN | V High, V Noisy |
| 2009-11-75 | 1850 | +0.0009 XN | -0.00022 VN | -0.0039 XN | V High, V Noisy |
| 2009-11-81 | 1850 | +0.0009XN | -0.00024 XN | -0.004 XXN | High, X Noisy |

The conductivity and salinity trend seen during 2009-10 appears to continue through this cruise though the noise level is so high that it is difficult to pick out a number. Temperature differences look quite steady, but larger than usual for this type of sensor. There is no obvious pressure dependence in the conductivity differences.

##### Conversion to IOS Headers

The IOSSHELL routine was used to convert SEA-Bird 911+ CNV files to IOS Headers. Some files could not be converted: 29, 31, 33 and 57. The size of the files does not appear to be the problem since some larger files could be converted, and using STRIP to remove 2 channels did not help. All the affected casts were ones with communication problems noted in the log, though some casts with such notes were convertible.

The following steps were taken:
Cast #29 – The data at the end of the file are full of spikes – pressure looks unreliable and other channels also have problems. This is upcast data so will not matter for the CTD files. Scans 69832 to 72201 were removed and then conversion worked properly.

Cast #31 – This is entirely upcast data, so is really not needed, but when scans #5024 – 6265 were removed conversion was successful.

Cast #33 – Like cast #29, removing data from the end of the file allowed conversion. Scans 55024-55102 were removed – these all came from the upcast section so will not affect the CTD files.

Cast #57 - Removal of scans 9944 – 10070 enabled conversion. All removed data came from the upcast section so will not affect the CTD files.

CLEAN was run to add event numbers and to replace pad values in the Pressure channel using linear interpolation based on scan number.

##### Checking Headers

The header check was run and no problems were found.

The cross-reference check was compared with the log book, and the following problems found and fixed, where possible:

- The file named 2009-11-0018 was renamed as 2009-11-0019 and the event number was changed in the header.

- The station name for cast #85 had a zero removed to keep it to 4 digits and be consistent with other stations in the LBP line.

- There is a discrepancy in station name for cast 146 with the log giving SS7 and the header SS5. The chief scientist confirms that the header is correct.

The cruise track was plotted and added to the end of this report. No problems were found.

The surface values program was run. The average surface pressure was 3.4db which is fairly typical for the Tully.

The altimeter readings from the headers of the CLN files were exported to a spreadsheet and many casts with readings were checked. Plots were made and the algorithm appears to have worked well where the CTD got close to the bottom, and no header was entered where it did not.

The water depths were also checked against log records. In several cases the value in the header is less than the maximum sampling depth – in some cases the log records look reliable so those were entered. In some other cases the log reading has a question mark beside it or is also less than the maximum sampling depth and there is no altimetry signal to assist in an estimate, so the water depth line was removed from the header. These corrections were made later to the DEL files and to the SAMAVG files.

##### BOTTLE FILE PREPARATION

The BOT files were averaged to enable an addsamp file to be created. This file was edited to add sample numbers taken from the rosette sheets. A few problems were encountered:

- It was discovered that file #18 should have been named #19. That was fixed and the event number changed in the header of 2009-11-0019.BOT.

- File #34 was renamed as #33 since this is the upcast corresponding to #33.

- Sample numbers were not assigned for cast #133 so those were removed from the ADDSAMP file and from the list of hydro files.

- Sample # 452 was used for both event #137 and 139. The number for event #137 was changed to 9452 in both the ADDSAMP file and the CHL, NUT and SAL records.

After those corrections were made to the addsamp.csv file, it was converted to CST files to be used as a framework for the bottle files. It was also used to add sample numbers to the BOT files. The SAM files were then bin-averaged. The SAMAVG files were checked to ensure that the altimetry header makes sense – where there was no bottom sampling it gives the wrong impression to know that the CTD was within 15m of the bottom when the deepest sample was no where near the bottom. So the header entry was removed from casts with no sampling at the bottom of the cast.

SALINITY

Salinity analysis was done at IOS using a Guildline salinometer model 8400b, serial # 69086. The IOS Autosal generally used was at the factory for repairs. The data were in delivered in file 2009-11.xls which was renamed 2009-11-salinity.xls. There was one sample with label “LBP4” but no sample number; there was only 1 salinity sample taken at that site according to the log, so #312 was assigned to it. The file was edited so there were separate channels for sample numbers and station names a few unnecessary channels were removed and headers were changed to standard names. The file was reordered on sample number and saved as 2009-11-sals.csv and then converted into individual SAL files.

The  only duplicates were for one bottle of cast #101; the bottle values differed by 0.0052.

DISSOLVED OXGYEN

Dissolved oxygen files (*.add) were provided, but there many problems with them.

- There were no flags or comments entered although the rosette sheet indicates some problems.

- Duplicates were not averaged.

- Some samples are missing that are found in the OXY files.

Nina Nemcek decided to revisit all the DO analyses of 2009 because of a software problem that led to values being a little low. New data were delivered in spreadsheet 2009-11oxy.xls in April 2010. This included a duplicate analysis, averaged values for duplicates and appropriate flags and comments.

The spreadsheet was edited to change headers to standard format and to add the prefix “DO:” to the comments. It was then converted to individual ADD files.

NUTRIENTS

The nutrient data were obtained in spreadsheet QF2009-11nuts.xls which included a report on precisions. The file was simplified and saved as 2009-11-nuts.csv. Extraneous columns were removed and header names were changed to standard format. Data were sorted on sample number. File 2009-11-nuts.csv was then converted to individual NUT files. There was only 1 Loop sample listed, but there is a file with that 1 sample plus near-surface rosette bottles for each CTD cast. That file was saved as 2009-11-surface.csv to be used for comparison with the TSG.

EXTRACTED CHLOROPHYLL

Extracted chlorophyll data were obtained in file QF2009-11CHL.xls which included flags and comments and a report on precision; the duplicates had been averaged. The file was edited to remove extraneous lines and columns, header names were changed to standard format, the file was sorted on sample number, and saved as 2009-11chl.csv. The file was then converted to individual CHL files. There was one loop CHL value. That was added to the file mentioned above, 2009-11-surface.csv.

NH4

NH4 data were obtained in file 2009-11_NH4.xls. The file was saved as 2009-11-NH4.csv and edited. There were flag and comment columns. Headers were changed to standard format and unnecessary columns were removed. The file was then converted to individual NH4 files.

The SAL, CHL, ADD, NUT and NH4 files were merged with CST files in five steps. After the 5th step the files were put through CLEAN to reduce the headers to File and Comment sections only. That file was then merged with SAMAVG files (Output: MRG).

##### Compare

Salinity

Compare was run and has a lot of scatter. Many of the outliers are at 5db where the standard deviation in the CTD data tends to be high, but the surface bottle for cast #129 looks bade. The following significant outliers were found:

- Cast #27 – sample #62 –There is no note of problems with analysis or sampling. There is no evidence in the nutrient data of a misfire, and since the salinity sample has salinity higher by 0.15 than any found in the CTD record, a misfire would not explain the difference. The other bottle from this cast looks ok. Flagged “d”.

- Cast #77 – sample #261 – CTD data is very noisy for this cast, so sample was not flagged.

- Cast #77 – Samples 249-252 are all outliers for both CTD salinity channels. Not severe but in opposite direction to most outliers. Looks like bottle values too low. The CTD data are not particularly noisy for these samples. These were the first samples run for the cruise, so maybe Autosal took time to stabilize? They were flagged “d”.

- Cast #101 sample #340 – bottle high by 0.13 no obvious explanation unless bottle closed early. Flagged “d”.

- Cast #101, sample #342 – there were two bottles at 200db. One sample looks ok, but this sample is lower than the CTD by 0.25 and is very close to the sample at 125db. It came from Niskin #7 which frequently failed to close during this cruise, so likely it closed late maybe when #11 was fired. The sample was flagged “d”.

- Cast #129- sample #435 – Though a sample from the surface, this is a severe outlier that cannot be explained by local CTD gradients and the CTD data is not particularly noisy here. The rosette log book does not indicate any salinity sample taken there, so may be some confusion in labelling. Flag “d”.

There is a lot of scatter in the differences even below 1000db. After exclusion of outliers, the primary CTD salinity is lower than the bottles by an average of 0.0199, but anything between 0.015 and 0.025 could be picked depending on the choice of outliers. The secondary is lower by 0.0246 with a similar level of uncertainty as for the primary. The difference between the two channels is ~0.0047. This is slightly higher than the observations made in section 7, though those differences came from much deeper. Excluding data from the top 200db decreased the differences to 0.0045. There is a lot of noise in the CTD salinity channels, but it only explains a few outliers. This looks more like a problem with sampling or analysis.

There is a hint of salinity-dependence but it is very slight and easily explained due to larger errors in the near-surface area where lower salinity occurs. There is little time-dependence or pressure-dependence but generally the primary seems slightly flatter than the secondary. However the scatter does not lend confidence to these observations.

The salinity bottles were not analyzed in sample # order, which enables us to test whether there was some drift in the Autosal calibration, or if there were some days with stability problems. Plots were made of differences between the bottles and CTD against order of analysis, order of collection and salinity values. Samples above 200db were excluded to minimize noise. The plots against CTD salinity and bottle salinity do not show any trends, so this does not look like a linearity problem in the Autosal. The plot against order of processing has some grouping:

- There are poor results for the first 5 samples analyzed, which are all from the mid-depths of cast #77, so could be a salinometer problem. Considered in order of analysis they got gradually worse and then better. In order of sampling, the worst is at 1500db and then they get better above that. While the standard deviations in the CTD data are quite low, there could still be a problem with the CTD. But the most likely explanation is that there was a problem with the Autosal just at the beginning of the analysis.

- The only other grouping is 3 samples from cast #101. For one of those the nutrients were flagged “d” because they looked like they were from 125db rather than 200db. This is a complex area with mid-depth reversals in DO and temperature, so this is not completely clear, but the salinity bottle should be flagged “d” as well. For the other 2, the differences are not as far out of line, and given the complexity of the profile, the bottles and CTD may both be right.

There is no evidence of salinometer problems except possibly that the first few samples run may have been low. This does not mean there may not be an offset in values from the Autosal, but there is no sign of drift or non-linearity or day-to-day variations. (See 2009-11-salinity-study.xls.)

Dissolved Oxygen –

COMPARE was run for Dissolved Oxygen. There were 4 clear outliers. Removing more outliers based on residuals produces a tighter fit (R2 = 0.92 as opposed to R2=0.83) but has very slight effect on the slope and almost none on the offset. The fit is:

DOX_BOT = 1.0751 * DOX_CTD – 0.0107

Plots of some of the early casts show a higher slope, but those casts had no values close to 0. Plots of differences against time are, as usual, pretty messy, but when data are selected in a particular range of DO values (2-3mL/L and 3-4mL/L) no temporal variation stands out.

Looking only at data with DO<1mL/L and excluding points that were excluded in the first fit, the fit found has a similar slope (1.0738), but the offset is ~0. This is very encouraging. In recent years larger offsets have been seen, suggesting either the sensor or the analyses are not reliable near 0. For these data some fine-tuning was done by Nina Nemcek to correct a long-standing software problem that led to endpoints being misjudged so DO concentration is slightly low. The effect of these errors is unnoticeable at higher values of DO, but near 0 they are more significant and may adversely affect the fits.

A polynomial fit was done and there was only a slight difference in the R2 value. Linear fits have generally been applied to previous cruise, so this is comforting. Nonetheless, these data look very good, and using a polynomial allows a slightly better fit at both the extreme ends of the DO range:

DOX_BOT = 0.0024*(DOX_CTD)2 -+1.0588*DOX_CTD - 0.0072

(See 2009-11-dox-comp1.xls.)

Flags were attached to the following DO bottles in the MRG files after consultation with the analyst:

Cast #1, Sample #11 (Flag d)

Cast #45, Sample #152 (Flag d)

Cast #77, Sample #263 (Flag c)

Cast #125, Sample #396 (Flag d)

A few other flags were changed from “b” to “d”: samples #62, 153 and 280.

And some “b” flags were removed: Samples #78, 134, 136, 182, 201, 204, 300, 311, 341

Fluorescence

COMPARE was run using the CTD Fluorescence and the Titrated Chlorophyll from bottles. Plots were prepared of titrated CHLa versus SBE FL, the FL/CHL ratio versus event #. The plots both show great variability with distinct grouping into near-shore casts with ratio near 1 and offshore casts with higher ratios   (See 2009-11-chl-fluor-comp.xls.)

Data were exported to spreadsheet 2009-11-bottles.xls and compared to the rosette sheets to ensure all expected data are present and to look for cases where all samples for a particular bottle look bad. In particular, bottle #7 was checked. A few problems were found:

- The Extracted CHL and Ammonium samples had not been flagged “i” where sampling was planned but the bottle didn’t trip. Flags were added for bottle #7, casts 56 and 70.

- Cast #29 was missing bottles. There was a problem in the ADDSAMP file due to the CTD data being bad. File #29 was rebuilt correctly.

- Cast 57/58 – There were no nutrient, CHL or NH4 data in the file because some samples were filed under 58 and some under 57.  The CTD was created by combining the two and was named 57. The nutrient data had not been converted because they were named 57/58 so the conversion failed. The file was rebuilt.

- Cast #129 was missing CHL data. The event number had been entered as 128 on the analyst’s spreadsheet, but that was a net cast. This was corrected and then the file was rebuilt.

- Cast #135 – There was a salinity sample not shown on the rosette sheet; the value looks ok, so presumed to be labelled correctly.

- Cast #139 – The salinity sample noted on the sheet is missing. It had been mislabelled as from #138. This was fixed and the file rebuilt.

It appears that Niskin #7 either failed to close or worked ok, except for during cast #101 when all samples suggest it closed late.

All MRG files were put through CLEAN to remove Sea-Bird headers and comments from the secondary files.

Plots of DO versus salinity turned up only 1 major outlier and it had already been flagged.

##### 13. Shift

Fluorescence

The usual method to find what shift is needed for the fluorescence is to examine upcast and downcast profiles for a few casts to determine the vertical offset of the temperature and fluorescence traces. The differences between these two offsets are treated as a measure of how much the fluorescence needs to be shifted. The “excess” offset for the fluorescence was divided by the sum of the descent and ascent rates to find the shift (in seconds) to remove that offset. The usual shift of 1s looks reasonable though the noisy descent rate and noisy upcast temperature make the judgment a very rough one.

SHIFT was run on all casts to advance the fluorescence channel by +24 records. (Output: SHFFL)

Dissolved Oxygen

An initial estimate of about a 4s offset between fluorescence and oxygen gave a starting point of about +100 records for the oxygen shift. Tests were run on a few casts for each sensor to determine the best SHIFT value to apply to the Dissolved Oxygen channel. This was judged by how the vertical offset between downcast and upcast traces compares with that of the temperature. Because there is an offset in values between upcast and downcast due to the time response, alignment will not produce traces that overlie each other exactly. Distinctive features aid this judgment. A value of +90 seemed best as was found during 2009-10.

SHIFT was run using +90 records for all casts.

Conductivity

Tests were run on each conductivity channel for 2 casts using a variety of shift parameters and a setting of +0.7 records looks best for the primary and +1.1 records for the secondary conductivity..

SHIFT was run on the primary conductivity using +0.7 records.

SHIFT was run on the secondary conductivity using +1.1 records.

##### 14. DELETE

The following DELETE parameters were used:

Surface Record Removal: Last Press Min

Maximum Surface Pressure (relative): 10.00

Surface Pressure Tolerance: 1.0                  Pressure filtered over 15 points

Swells deleted. Warning message if pressure difference of 2.00

Drop rates <   0.30m/s (calculated over 11 points) will be deleted.

Drop rate applies in the range:  10db to 10db less than the maximum pressure

Sample interval = 0.042 seconds. (taken from header)

COMMENTS ON WARNINGS: There were many warnings. Four of them were for casts that only contain upcast data and the others pertain to the upcast portion of casts. Casts #31, 32, 34 and 58 will not be processed further.

##### DETAILED EDITING

The primary sensors are slightly closer to the bottles than the primary. There is a lot of fine-scale noise in the secondary salinity. There is at least one very bad section of secondary data in cast #28. The secondary were chosen for most casts of 2009-10 which immediately preceded this cruise, but that was because of many problems with the primary pump that led to large differences between the two channels of an intermittent nature. There were also problems with the secondary pump, but those did not seem to affect upcasts. But for this cruise the primary sensors seem a better choice.

Graphical editing was done using program CTDEDIT. On-screen plots of descent rate and pump status were also used. Editing was used to remove spikes where they are systematic in direction and/or likely to affect the metre-averaged results. Records were removed that were corrupted by shed wakes or near the surface before the pumps were turned on. For most casts the descent rate was extremely noisy so many records were removed. The CTD was frequently seen to go upwards.

All casts required some editing.

##### Initial Recalibration

The salinity was found to be lower than bottles for both channels whereas during 2009-10, when these sensors were last used, they were found to be high. The salinometers used were different, and the fact that the one used for 2009-10 was sent back to the factory and showed more variability than the Portasal used for the same cruise, suggests that the 2009-10 results are not reliable. However, these results are also questionable because there was a lot of noise in the comparison and because it seems unlikely that both sensor pairs should have drifted by ~0.02. The salinity samples waited 6 months to be analysed, so a possible explanation is that there was some evaporation due to imperfect seals. Or the salinometer may be at fault. Cruise 2009-43 showed similar problems though the average differences were ~0.005; in that case samples sat for 8 months before being analyzed, and the same salinometer was used as for this cruise.

There are too many questions to justify recalibration of salinity. This should be revisited when either the sensors are tested at the factory or they are used on another cruise that provides a good comparison with bottles. File 2009-11-recal2.ccf was prepared to apply the following correction to the Oxygen:Dissolved:SBE channel:

DOX (corrected) = 0.0024*(DOX_CTD)2 +1.0588*DOX_CTD + 0.0072

The SAM and MRGCLN2 files were recalibrated first. COMPARE was run using the recalibrated dissolved oxygen data and showed the recalibration was applied properly. The two values from 2000db look a little off in a plot against pressure which may be due to poor performance at those depths, but there was also a lot of CTD motion at the bottom for those casts and the local DO gradient is fairly high. (See 2009-11-dox-comp2.xls.)

The EDT files then recalibrated.

##### Final Calibration of DO

The first recalibration of dissolved oxygen corrects for calibration drift. Shift corrects for transit time errors. Those 2 steps may partly correct for response time errors, but a further correction can be applied to further correct for response time by comparing downcast CTD data to bottle data from the same pressure.

Downcast files were bin-averaged to 0.5m bins for the casts with DO bottle samples. Those files were then thinned to the usual levels for bottles and compared to the bottle values in the MRG files. COMPARE was used to study the differences between the downcast CTD DO data and the upcast bottles. When a few bottles for which there were no CTD values and a few outliers based on residuals are excluded, the average difference is +0.06ml/l. The trendline for those bottles does not look right for the lowest DO values where the average difference is +0.007 but the trendline would produce a correction of -0.05. Because there is so much more data for some parts of the range than for others, there is a limit to how well this approach can work. If the offset is forced to be +0.007, then a fit is produced that looks satisfactory.

DO corrected = 0.9904*DO (after 1st recal) – 0.007

File 2009-11-recal2.ccf was prepared to apply that correction to see how well it performs. First, the thinned files were recalibrated and COMPARE was run again. The results are not perfect but the overall differences are closer to zero. For DO<0.5mL/L the average difference goes from 0.007 to 0.003mL/L and the average goes from 0.055 to 0.015mL/L. The one part of the profile that gets worse is ~2000db where the two bottles start low by an average of 0.07mL/L and end up low by 0.085mL/L. Since we do not really expect the sensor to behave well at that depth, it seems unwise to spend too much time trying to make a recalibration suit those 2 bottles. The area that is often a concern is the mid-depth DO minimum and that now looks much better. So this recalibration will be applied to the profile files, COR1. It is not applicable to the bottle files as it deals with the consequences of data gathered while moving.   (See 2009-11-dox-comp3.xls and 2009-11-dox-comp4.xls.)

##### Special Fluorometer Processing

An examination of the fluorescence channel shows a dark value of ~0.125mg/m3 . The data were checked for off-scale values and none were found. However, in the course of that check it was found that there were some bad data in files #2 and 30 which had eluded DELETE and CTDEDIT; these were records from the end of the cast that were full of pressure spikes. The bad data were removed.

The COR1 files were clipped to 100db and processed separately for A. Peña. The clipped files were bin-averaged (0.25db bins), put through REMOVE and HEADEDIT and named as *.FCTD1 and saved. A second set, *.FCTD2, were created by filtering before bin-averaging. The SAMCOR1 files were put through REMOVE and named *.BOF and saved. A readme.doc file was prepared with some notes on the preparation of those files.

A median filter, fixed size=11, was applied to the fluorescence channel in the COR2 files to reduce spikiness. A few casts were examined before and after this step and showed that the filter was effective.

##### BIN AVERAGE of CTD files

The following Bin Average values were applied to the FIL files (output AVG):

Bin channel = pressure	Averaging interval = 1.000	Minimum bin value =   .000

Average value will be used.	Interpolated values are NOT used for empty bins.

After averaging, page plots were examined on screen and no the only unstable features noted are very small-scale, so no further editing appeared to be necessary.

Profile plots were then examined. Cast #30 was examined in some detail because the SBE Dissolved Oxygen looked a little odd – there was a sharp feature with a local minimum at 25db and local maximum at 35db. The bottle samples from 20 and 30db suggest that the feature was even sharper than it appears; unfortunately the 50db bottle did not fire. The salinity profile also has a reversal with a local maximum around 30db. The temperature does not reverse but the gradient is lower through this zone. The DO feature appears to be real.

A few isolated spikes are seen in transmissivity but the only zero values are at the surface of cast #120.

##### Other Comparisons

Previous experience with these sensors –

1. Salinity:

The conductivity sensors were used for a cruise in July that has not been processed yet. During 2009-10 which preceded this cruise the primary salinity was found to be low by 0.0035 and the secondary high by 0.001. During 2009-46 which followed this cruise, the primary was found to be within 0.001 and the secondary low by 0.006, but those results were based on surface samples only.

2. Dissolved Oxygen – The sensor was used for 2009-53 which has not been processed yet. It was also used for 2009-10 when temporal variations were noted.

3. Pressure – The sensor is an older one but the calibration is not drifting. An offset of +0.4db has been used since mid-2004.

Historic ranges – Profile plots were made with historic ranges of T and S superimposed. The salinity data occasionally looked a little high near the surface. Salinity was consistently too low at the bottom of casts from stations M3 to M6 and in Rivers Inlet, possibly because those areas are not well represented in the climatology. Temperatures were above the historic maxima at depths of 600 to 700db just seaward of the 200m contour from Brooks Peninsula southwards (LC10, LBP4, LBP5, LBP7, LBP8) and is close to the maximum for LG006 at 900db. This looks geographic rather than instrumental. During the June Line P cruise a similar feature was noted between 800 and 1100 at P3, P4 and LD8 to LD11. At that time this was presumed to be because of limitations in the climatology, but that has been updated now and these data still are outliers. Again during the August Line P cruise temperatures were above the historic maxima around 900 - 1100db for the 3 deep casts at P4. Deep temperatures were very close to the historic maximum for stations P3 and P5 – P7. Because there were problems with the CTD in many casts for the August and September cruises, there might be doubt about whether such features are real, but the consistency of location from all 3 cruises offers confirmation that they are real.

Quality Checks – There were no repeat casts. Plots were made of casts along lines. There is a lot of variability but none that seems unlikely.

##### FINAL CTD files steps (REMOVE and HEADEDIT)

The following channels were removed from all casts except cast #27-58 and 74-101: Scan_Number, Temperature:Secondary, Salinity:T1:C1, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, Altimeter, Status:Pump, Descent_Rate and Flag.

The following channels were removed from casts #27-58 and 74-101: Scan_Number, Temperature:Secondary, Salinity:T1:C1, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, Altimeter, PAR, Status:Pump, Descent_Rate and Flag.

A second SBE DO channel (with umol/kg units) was added.

REORDER was run to get the two DO channels together.

HEADER EDIT was used to fix formats and channel names, to add the location of the winch (changing from Aft Deck to Mid-Ship at cast 360) and to add the following comments:

Transmissivity and fluorescence are nominal and unedited except that

some records were removed in editing temperature and salinity.

The precision of the SBE dissolved oxygen channel is estimated on the basis of

a comparison to bottle data to be, roughly:

•	±0.5  ml/l  from         0- 150db

•	±0.25ml/l  from      150-400db

•	±0.06ml/l  from  400-15000db

•	low by up to ±0.1ml/l below 1500db

For details on the processing see processing report: 2009-11-proc.doc

The track plot looks ok.

As a final check of dissolved oxygen data, % saturation was calculated and plotted. The near-surface values were mostly between 95% and 105% but many of the near-shore casts were <90%. Cast #129 at ~120% was the only one with saturation >110%; that was in the Rivers Inlet area. For a few of the casts with highest and lowest saturations, the SBE DO was checked against bottle DO and the SBE data look ok.

##### Final Bottle Files

The MRGCOR1 files were put through SORT to order on increasing pressure.

The following channels were removed from all casts except cast #27-58 and 74-101: Scan_Number, Temperature:Secondary, Salinity:T1:C1, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, Altimeter, Status:Pump, Descent_Rate and Flag.

The following channels were removed from casts #27-58 and 74-101: Scan_Number, Temperature:Secondary, Salinity:T1:C1, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, Altimeter, PAR, Status:Pump, Descent_Rate and Flag.

A second SBE DO channel was added with different units and REORDER to get the 2 SBE DO channels together.

For cast #29 only, ADD CHANNEL was used to add DEPTH:NOMINAL. That channel was filled with data from the “Target Pressure” entries on the rosette log sheet.

HEADER EDIT was run to fix formats and units and to add a comment about quality flags and analysis methods and to add the winch location to the instrument section.

Standards check was run on all files and HEADEDIT adjusted until all format problems were resolved.

A cross-reference list was produced and turned up no errors.

##### 24. Thermosalinograph Data

Data were provided in 3 hex files. There was only 1 loop sample for CHL and the nutrients – no salinity sample was found. There are many 5m rosette samples.

a.) Checking calibrations

The calibrations were checked and the only problems were for the fluorometer which had the wrong date and an error in the scale factor. Those were fixed and the file was saved as 2009-11-tsg.con.

b.) The files were converted to CNV files using the configuration files mentioned above. They were then converted to IOS HEADER format.

CLEAN was run to add End times and Longitude and Latitude minima and maxima to the headers.

ADD TIME CHANNEL was run to add the date and time to all records.

Because there have been problems during recent uses of the TSG on the Tully, the resulting files were examined carefully. TSG positions were noted at times when there were log entries to see if the two positions match. For each of the files there was good agreement for the earliest event that could be checked, but for the first 2 files, the positions were far apart by the end of the files. For the 3rd file the positions look good at the end. There are two sources of trouble to be checked based on recent experience:

- The interval is entered as 30s in all the headers, but the TSG entry in the log book indicates that it was 6s. However, in other cases when the wrong interval was entered, the end time of one file would be after the beginning of the next, and that is not happening in this case.

- Another problem seen with this equipment is the latitude and/or longitude getting stuck and that is the case here. Even when on station small changes are usually seen, and these “stuck” values don’t vary at all. So it appears that the time is fine, but not the positions. Plots of latitude and longitude confirm that the 3rd file is ok.

The problem areas in the other two files are as follows:

- For the first file there is a section at the beginning that looks odd. There are no log events at that time so positions can’t be checked that way, but it is noteworthy that nothing is varying much and the flow is ~0, so this data will be removed anyway. At the first point that could be confirmed the positions looks fine. Both latitude and longitude do not vary at all between 07:40 and 17:30 on September 7th.

- For the second file there is one section with very little variation but it corresponds to the time the ship was in Barkley Sound doing filming. The section with no variation is from 07:41 September 9th to 09:54 September 10th.

Data were obtained with ship positions versus time for the sections of the cruise with bad longitude. The data were in EXCEL spreadsheets. The latitude and longitude were converted to decimal format. There were samples every 10 seconds, so by deriving the seconds portion of the times and ordering on that value it was easy to thin to the times closest to the TSG sampling. The data were then reordered by time.

Next the ATC files were opened in EXCEL. The faulty data were replaced using the data in the file prepared from the ship positions. Keeping just the scan number, latitude and longitude, these files were saved as 2009-11-0001.csv and 2009-11-0002.csv. Those were converted to IOS HEADER files with extension ATC2. The ATC and ATC2 files were then merged choosing positions from the ATC2 files and everything else from the ATC files. The output files were named ATC3. File 2009-11-0003.ATC was renamed ATC3. There were 30 records in the “stuck” section of the 2nd file for which no positions could be found in the ship’s record, so pad values were entered for those.

A track plot was produced showed this approach worked well. The plot was added to the end of this report.

c.) Editing

Time-series plots were produced and the only editing needed was the removal of the first 300 records from file #1 (before flow started) and light cleaning of salinity for the first 2 files. The unedited ATC3 files were copied to EDT so there is a complete set.

d.)  Checking Time Channel

The CTD data, after editing, but before metre-averaging, were thinned to reduce the files to a single point at or within 0.3db of 4.5db and exported to a spreadsheet which was saved as 2009-11-ctd-tsg-comp.xls.

The 3 TSG files were opened in EXCEL, median and standard deviations (over 5 records) were calculated for temperature and salinity and fluorescence, and the file was then reduced to the times when CTDs were run.

Those files were added to the CTD data in file 2009-11-ctd-tsg-comp.xls. There were 73 matches. The positions were compared. There is more noise in this comparison than usual, but the average differences are within 0.0005°. The largest differences are 0.0009 for latitude and 0.0007 for longitude. It is interesting that the 1st TSG file has the largest differences but least noise in differences, but perhaps that is related to the patching done to create the file. Later the average is closer to zero but noisier. Perhaps there was a slight adjustment to the TSG clock while in Barkley Sound or perhaps it is just random. In any case the differences are not large enough to suggest a serious clock problem.

This spreadsheet will also be used in step (e) to compare temperature, salinity and fluorescence.

e.) Comparison of T, S and Fl from TSG and CTD data

- T1 vs T2

The differences between the intake and lab temperature decreases at scan #5076 when the flow rate was increased. This occurred during cast #33/34. There is no note of the change in the log or sampling notes, and given the CTD problems occurring at the time, it is unexpected that anyone would have been adjusting the TSG flow then. The average flow rate went from 0.88 to 1.1 and the median difference went from -0.2887 to -0.1872. A plot of differences against flow rate shows a clear separation. A plot of differences against intake temperature shows a similar separation but it is slightly reduced because the intake temperatures were higher when the flow rate was lower. Since we have intake temperature there is no need to recalibrate the lab temperature, but it is noted that the heating is higher by about ~ 0.1C° when the flow is low. For future reference (in case external temperature is unavailable for another Tully cruise), the relation when the flow rate was 1.1 and standard deviations in the TSG intake temperature are <0.009 was:

Intake temperature = 1.023 * Lab Temp -0.494 (range of temperature was 10 to 17)

Extrapolation of these data is dangerous, but as a rough estimate, this would imply zero heating at        ~21.5 ºC, which gives a crude estimate of the average ambient temperature of the loop.

- TSG vs CTD The spreadsheets comparing CTD and TSG files were then examined to find the differences between the salinity, fluorescence and temperature channels for the CTD and the TSG. There were 51 casts that could be used. The TSG intake temperature was higher than the CTD by an average of 0.05 Cº; the median difference was 0.01 Cº and when only the 12 casts with the lowest standard deviation in the TSG data are used, the TSG intake temperature is high by only 0.004 Cº. Using a few more or a few less points did not make much difference, so this looks like a reasonable number to use. There is no obvious trend in a plot of differences against temperature except that there is a lot more noise for lower temperatures. When only the 10 casts with the best-mixed surface layer are used and 1 record excluded (because of noisy TSG temperature) the TSG temperature is higher than the CTD by an average of 0.006 with a median of +0.0015.

The TSG salinity is low by an average of 0.088 and a median of 0.024. The average of points with the lowest standard deviation does not settle down in as stable a pattern as temperature does, but a value of -0.024 looks reasonable and that matches the median of all the points. When the 10 casts with the best mixed surface waters were used and one record excluded (due to noisy TSG data) the TSG salinity was found to be low by an average of 0.018 and a median of -0.019.

The ratio of TSG fluorescence to CTD fluorescence ranges from 3 to 133, with a median of 8.2. This is higher than has been seen in the past with the same sensors. When only the 10 well-mixed casts are used and 2 records excluded (because of very noisy TSG standard deviation) the average ratio was 8.1 and the median 6.9. (See 2009-11-ctd-tsg-comp.xls.)

- Loop Bottle - TSG Comparisons There were no salinity loop samples; nutrients and extracted chlorophyll were taken just once. The extracted CHL value was 2.75 compared to the TSG fluorescence of 5.99, so the TSG is higher than the sample by a factor of 2.2.

- Loop Bottle - Rosette Comparisons There were no points of comparison for the loop and rosette samples. A plot was made of Rosette CHL samples and the CTD Fluorescence and TSG Fluorescence. This shows good correspondence between the rosette samples and the CTD fluorescence, but the TSG fluorescence is much higher than both and as time passes it grows ever bigger. Either the fluorometer needs attention or there might have been biological activity in the loop itself. (See 2009-11-loop-CTD-TSG-comp.xls.)

- Calibration History

The TSG primary temperature and conductivity were recalibrated in April 2009 and were used once since then during 2009-10. At that time salinity was found to be low by 0.20 and the relationship between TSG intake and TSG lab temperatures was found to be:

Temp Intake = 1.0119 * Temp Lab – 0.3038

The fluorescence from the TSG was higher than that from the CTD by a factor of from 2 to 6, and higher than loop samples by 9 to 11 times.

Conclusions

1. The TSG clock appears to be working well.

2. Latitude and Longitude got stuck on several occasions.

3. The intake temperature was very close to the CTD temperature from 4.5m.

4. Salinity is lower than the CTD by ~0.20. The conductivity sensors appear to be quite stable.

5. The fluorescence is much higher than the CTD fluorescence and that ratio is increasing through the cruise. It is also much higher than the extracted CHL samples from the rosette.

6. More loop samples would have been helpful to determine if the fluorometer is malfunctioning or the loop needs cleaning.

f.) Recalibration

File 2009-11-recal1.ccf was used to subtract 0.020 from the salinity.

g.) Preparing Final Files

REMOVE was used to remove the following channels from all casts: Scan Number, Temperature:Difference, Conductivity:Primary, Uploy0 and Flag.

REORDER was used to put the secondary temperature ahead of the primary and the names were changed to Temperature:Intake and Temperature:Lab.

HEADER EDIT was used to add a comment, change the DATA TYPE to THERMOSALINOGRAPH and add the depth of sampling to the header. The name Temperature:Primary was changed to Temperature:Lab and Temperature:Secondary to Temperature:Intake. Those files were saved as TOB files.

The TSG sensor history was updated.

As a final check plots were made of the cruise track and data; no problems were noted.

##### Producing final files

A cross-reference listing was produced for CTD and CHE files.

The sensor history was updated.

Particulars – including notes from log, rosette sheets:

2. Pressure spikes

5. Lot of up and down motion

18. Misnamed – should be 19

27. Beep errors on upcast

28. Secondary salinity odd on downcast – temperature odd too.

29. Beep errors, lost communications at 520db downcast, Niskins closed by winch readout.

30-59. Error message common

30/31/32. LB15 – 1st cast has all the downcast data and part of upcast; 2nd and 3rd have rest of upcast – many pressure spikes at end of 3rd. Only bottle is in cast 32.

33/34. LB16 – 1st has all of downcast and some upcast; 2nd has most of upcast. Only bottle is in cast 34.

57/58 – LC01 – 2nd cast to close 4 bottles.

60. Move to LARS – deck unit change but all other equipment the same

70. Funny DO trace

71. Pressure spike on downcast ~130m

75. Pause at 50m on upcast to unwind cable

96. Computer froze at end of cast

99. After reboot com port 1 not working, signal less smooth. Problem with LARS?

133. 2 bottles didn’t close. No sampling from this cast, no sample #s.

135. 17 bottles tripped but 2 not sampled

# Institute of Ocean Sciences

# CRUISE SUMMARY

CTD

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 911+ | 0585 | Yes | Yes |

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 4054 | 24Dec08 | Factory “ |  |  |
| Conductivity | 3321 | 16Jan09 | “ |  |  |
| Secondary Temp. | 4700 | 24Dec08 | “ |  |  |
| Secondary Cond. | 1766 | 16Jan09 | “ |  |  |
| Transmissometer | 983DR | 27June06 | IOS |  |  |
| SBE 43 DO sensor | 1176 | 10Mar2009 | Factory |  |  |
| PAR | 4615 | 15Dec2000 | IOS |  |  |
| Fluorometer | 2228 | ? | IOS |  |  |
| Pressure Sensor | 77511 | 13/Mar/2000 | Factory |  |  |
| Altimeter | 1252 | ? | ? |  |  |

# TSG

Make/Model/Serial#:	SEABIRD/21/3312       Cruise ID#:	2009-11

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 2488 | 24/04/09 | Factory |  |  |
| Conductivity | 2488 | 24/04/09 | “ |  |  |
| Temperature:Intake | 2416 | 26/12/06 | “ |  |  |
| Wetlab/Wetstar FL | WS3S-713P | 18/01/01 | “ |  |  |