## Station Data Avg Dup
Cruise 2009-11 Sept WCVI | [7 empty] | File: Cocc2009-11\Chlorophyll\QF 2009-11CHL.xls
Chlorophyll data summary with Quality Flags | [7 empty] | Date: October 28, 2009
Analyzed using Water Properties Turner 10 AU calibrated with pure chlorophyll a May 13, 2009
Samples were analysed at sea by Marie Robert
Quality Flags:
c = Questionable measurement (no problem observed in sampling or analysis,
but value is not trusted, nonetheless; includes outlyers)
d = bad measurement (known problem with sampling or analysis,
but not serious enough to completely discard the value)
e = not reported (lost sample; unredeemably bad measurement)
i = sample not drawn for this measurement from this bottle
f = average of duplicate samples
Cruise | Station | Cast | Nisk | Sample # | Depth | Chlorophyll | Chl | Comments
|  |  | # |  | M | ug/L | QF
2009-11 | LB01 | 1 | 1 | 1 | 25 | 1.092 | f
2009-11 | LB01 | 1 | 2 | 2 | 10 | 2.218 | f
2009-11 | LB01 | 1 | 3 | 3 | 5 | 2.397 | f
2009-11 | LB02 | 2 | 3 | 6 | 20 | 0.369 | f
2009-11 | LB04 | 4 | 5 | 13 | 20 | 1.658 | f
2009-11 | LB04 | 4 | 6 | 14 | 10 | 1.731 | f
2009-11 | LB04 | 4 | 7 | 15 | 5 | 1.605 | f
2009-11 | E1 | 5 | 1 | 16 | 5 | 2.1509
2009-11 | LB05 | 7 | 1 | 17 | 5 | 1.7179
2009-11 | LB06 | 8 | 6 | 23 | 20 | 1.373 | f
2009-11 | LB06 | 8 | 7 | 24 | 10 | 1.628 | f
2009-11 | LB06 | 8 | 8 | 25 | 5 | 1.613 | f
2009-11 | C1 | 9 | 1 | 26 | 5 | 1.5803
2009-11 | C2 | 12 | 1 | 27 | 5 | 2.0452
2009-11 | C3 | 13 | 1 | 28 | 5 | 1.9249
2009-11 | LB07 | 16 | 1 | 29 | 5 | 1.6458
2009-11 | B8 | 17 | 1 | 30 | 5 | 1.865
2009-11 | B7 | 19 | 1 | 31 | 5 | 2.3041
2009-11 | LB08 | 22 | 6 | 37 | 20 | 1.783 | f
2009-11 | LB08 | 22 | 8 | 39 | 5 | 2.048 | f
2009-11 | LB09 | 23 | 6 | 45 | 20 | 1.081 | f
2009-11 | LB09 | 23 | 7 | 46 | 10 | 2.753 | f
2009-11 | LB09 | 23 | 8 | 47 | 5 | 3.755 | f
2009-11 | LB10 | 24 | 1 | 48 | 5 | 1.7654
2009-11 | LB11 | 25 | 9 | 57 | 20 | 1.198 | f
2009-11 | LB11 | 25 | 10 | 58 | 10 | 1.779 | f
2009-11 | LB11 | 25 | 11 | 59 | 5 | 2.084 | f
2009-11 | LB12 | 27 | 13 | 72 | 20 | 0.906 | f
2009-11 | LB12 | 27 | 14 | 73 | 10 | 1.752 | f
2009-11 | LB12 | 27 | 15 | 74 | 5 | 1.628 | f
2009-11 | LB13 | 28 | 1 | 75 | 5 | 1.5412
2009-11 | LB14 | 29 | 16 | 91 | 20 | 0.632 | f
2009-11 | LB14 | 29 | 17 | 92 | 10 | 1.297 | f
2009-11 | LB14 | 29 | 18 | 93 | 5 | 1.263 | f
2009-11 | LB15 | 32 | 1 | 94 | 5 | 1.0631
2009-11 | LB16 | 34 | 1 | 95 | 5 | 0.58388
2009-11 | LC12 | 37 | 2 | 97 | 5 | 1.4033
2009-11 | LC11 | 38 | 17 | 114 | 20 | 1.041 | f
2009-11 | LC11 | 38 | 18 | 115 | 10 | 0.68 | f
2009-11 | LC11 | 38 | 19 | 116 | 5 | 0.683 | f
2009-11 | LC10 | 39 | 1 | 117 | 5 | 0.64515
2009-11 | LC09 | 40 | 19 | 136 | 20 | 0.47769 | f
2009-11 | LC09 | 40 | 21 | 138 | 10 | 1.02 | f
2009-11 | LC09 | 40 | 23 | 140 | 5 | 1.03 | f
2009-11 | A2 | 44 | 2 | 142 | 5 | 1.4262
2009-11 | LC08 | 45 | 9 | 151 | 20 | 1.112 | f
2009-11 | LC08 | 45 | 10 | 152 | 10 | 0.812 | f
2009-11 | LC08 | 45 | 11 | 153 | 5 | 0.811 | f
2009-11 | LC07 | 47 | 1 | 154 | 5 | 3.5395 | f
2009-11 | LC06 | 48 | 5 | 159 | 20 | 1.037 | f
2009-11 | LC06 | 48 | 6 | 160 | 10 | 3.676 | f
2009-11 | LC06 | 48 | 7 | 161 | 5 | 3.699 | f
2009-11 | LC05 | 51 | 1 | 163 | 5 | 3.439 | f
2009-11 | LC04 | 52 | 11 | 174 | 20 | 1.941 | f
2009-11 | LC04 | 52 | 13 | 176 | 10 | 2.049 | f
2009-11 | LC04 | 52 | 14 | 177 | 5 | 1.865 | f
2009-11 | LC03 | 55 | 1 | 179 | 5 | 2.2695 | f
2009-11 | LC02 | 56 | 5 | 184 | 20 | 1.057 | f
2009-11 | LC02 | 56 | 6 | 185 | 10 | 2.34 | f
2009-11 | LC01 | 58 | 5 | 191 | 20 | 1.609 | f
2009-11 | LC01 | 58 | 6 | 192 | 10 | 1.691 | f
2009-11 | LC01 | 58 | 8 | 194 | 5 | 2.096 | f
2009-11 | LD02 | 60 | 3 | 197 | 20 | 3.483 | f
2009-11 | LD02 | 60 | 4 | 198 | 10 | 2.671 | f
2009-11 | LD02 | 60 | 5 | 199 | 5 | 2.3781 | f
2009-11 | LD04 | 64 | 3 | 202 | 20 | 2.557 | f
2009-11 | LD04 | 64 | 4 | 203 | 10 | 1.92 | f
2009-11 | LD04 | 64 | 5 | 204 | 5 | 2.405 | f
2009-11 | LG01 | 65 | 3 | 207 | 20 | 3.262 | fc | poor duplicates
2009-11 | LG01 | 65 | 4 | 208 | 10 | 5.287 | f
2009-11 | LG01 | 65 | 5 | 209 | 5 | 11.564 | fc | poor duplicates
2009-11 | LG02 | 67 | 5 | 214 | 20 | 5.73 | fc | poor duplicates
2009-11 | LG02 | 67 | 6 | 215 | 10 | 5.238 | f
2009-11 | LG02 | 67 | 7 | 216 | 5 | 5.692 | fc | poor duplicates
2009-11 | LG03 | 68 | 1 | 217 | 5 | 8.0534
2009-11 | LG04 | 70 | 8 | 225 | 10 | 4.182 | f
2009-11 | LG04 | 70 | 9 | 226 | 5 | 8.238 | fc | poor duplicates
2009-11 | LG05 | 71 | 1 | 227 | 5 | 2.1865
2009-11 | LG06 | 72 | 15 | 242 | 20 | 0.781 | f
2009-11 | LG06 | 72 | 16 | 243 | 10 | 2.573 | f
2009-11 | LG06 | 72 | 17 | 244 | 5 | 2.753 | f
2009-11 | LG07 | 74 | 1 | 245 | 5 | 0.70333
2009-11 | LG08 | 75 | 1 | 246 | 5 | 0.39524
2009-11 | LG09 | 77 | 20 | 266 | 20 | 0.318 | f
2009-11 | LG09 | 77 | 21 | 267 | 10 | 0.316 | f
2009-11 | LG09 | 77 | 22 | 268 | 5 | 0.319 | f
2009-11 | LBP8 | 78 | 2 | 270 | 5 | 0.88281
2009-11 | LBP7 | 81 | 20 | 290 | 20 | 1.365 | f
2009-11 | LBP7 | 81 | 21 | 291 | 10 | 1.276 | f
2009-11 | LBP7 | 81 | 22 | 292 | 5 | 1.396 | f
2009-11 | LBP6 | 82 | 1 | 293 | 5 | 2.2644
2009-11 | LBP5 | 84 | 16 | 309 | 20 | 0.705 | f
2009-11 | LBP5 | 84 | 17 | 310 | 10 | 0.629 | f
2009-11 | LBP5 | 84 | 18 | 311 | 5 | 0.601 | f
2009-11 | LBP4 | 85 | 1 | 312 | 5 | 0.92987
2009-11 | LBP3 | 87 | 8 | 320 | 20 | 2.015 | f
2009-11 | LBP3 | 87 | 9 | 321 | 10 | 2.213 | f
2009-11 | LBP3 | 87 | 10 | 322 | 5 | 2.937 | f
2009-11 | LBP2 | 89 | 2 | 324 | 5 | 1.9961
2009-11 | LBP1 | 90 | 1 | 325 | 5 | 1.5902
2009-11 | CPE2 | 92 | 1 | 326 | 5 | 1.7227
2009-11 | LQ03 | 94 | 1 | 327 | 5 | 0.53047
2009-11 | JI22 | 96 | 1 | 328 | 5 | 0.36158
2009-11 | CS01 | 99 | 7 | 335 | 5 | 1.3048
2009-11 | CS02 | 101 | 16 | 351 | 20 | 0.3 | f
2009-11 | CS02 | 101 | 17 | 352 | 10 | 1.119 | f
2009-11 | CS02 | 101 | 18 | 353 | 5 | 1.09 | f
2009-11 | CS03 | 103 | 1 | 354 | 5 | 0.39399
2009-11 | CS04 | 105 | 5 | 359 | 20 | 1.134 | f
2009-11 | CS04 | 105 | 6 | 360 | 10 | 1.046 | f
2009-11 | CS04 | 105 | 7 | 361 | 5 | 0.999 | f
2009-11 | CS3B | 107 | 1 | 362 | 5 | 0.87493 |  | Generic volume
2009-11 | CS05 | 109 | 1 | 363 | 5 | 1.6702
2009-11 | CS1B | 111 | 1 | 364 | 5 | 1.5642
2009-11 | CS06 | 113 | 3 | 367 | 20 | 1.024 | f
2009-11 | CS06 | 113 | 4 | 368 | 10 | 1.015 | f
2009-11 | CS06 | 113 | 5 | 369 | 5 | 0.984 | f
2009-11 | CS07 | 116 | 5 | 374 | 5 | 1.482
2009-11 | CS09 | 120 | 9 | 383 | 20 | 0.796 | f
2009-11 | CS09 | 120 | 10 | 384 | 10 | 0.802 | f
2009-11 | CS09 | 120 | 11 | 385 | 5 | 0.803 | f
2009-11 | M6 | 123 | 1 | 386 | 5 | 3.2442
2009-11 | M5 | 124 | 1 | 387 | 5 | 2.3693
2009-11 | M4 | 125 | 8 | 395 | 100 | 0.2154
2009-11 | M4 | 125 | 9 | 396 | 75 | 0.23759
2009-11 | M4 | 125 | 10 | 397 | 50 | 0.336 | f
2009-11 | M4 | 125 | 11 | 398 | 30 | 0.37355
2009-11 | M4 | 125 | 12 | 399 | 20 | 0.61264
2009-11 | M4 | 125 | 13 | 400 | 10 | 3.1603
2009-11 | M4 | 125 | 14 | 401 | 5 | 3.9108
2009-11 | M3 | 126 | 8 | 409 | 100 | 0.18135
2009-11 | M3 | 126 | 9 | 410 | 75 | 0.25979
2009-11 | M3 | 126 | 10 | 411 | 50 | 0.25566
2009-11 | M3 | 126 | 11 | 412 | 30 | 0.43411
2009-11 | M3 | 126 | 12 | 413 | 20 | 0.549 | f
2009-11 | M3 | 126 | 13 | 414 | 10 | 1.5315
2009-11 | M3 | 126 | 14 | 415 | 5 | 2.4054
2009-11 | M2 | 127 | 5 | 420 | 75 | 0.24796
2009-11 | M2 | 127 | 6 | 421 | 50 | 0.24953
2009-11 | M2 | 127 | 7 | 422 | 30 | 0.42762
2009-11 | M2 | 127 | 8 | 423 | 20 | 0.63716
2009-11 | M2 | 127 | 9 | 424 | 10 | 2.0718
2009-11 | M2 | 127 | 10 | 425 | 5 | 3.167 | f
2009-11 | UBC7 | 128 | 4 | 429 | 75 | 0.15634
2009-11 | UBC7 | 128 | 6 | 431 | 30 | 0.70315
2009-11 | UBC7 | 128 | 8 | 433 | 10 | 2.2022
2009-11 | UBC7 | 128 | 9 | 434 | 5 | 6.169 | fc | poor duplicates
2009-11 | Ri 1 | 131 | 1 | 436 | 5 | 1.1581
2009-11 | Ri 2 | 135 | 9 | 443 | 100 | 0.06276
2009-11 | Ri 2 | 135 | 8 | 442 | 125 | 0.048298
2009-11 | Ri 2 | 135 | 11 | 445 | 50 | 0.17283
2009-11 | Ri 2 | 135 | 12 | 446 | 30 | 0.26872
2009-11 | Ri 2 | 135 | 14 | 448 | 20 | 0.40625
2009-11 | Ri 2 | 135 | 16 | 450 | 10 | 0.579 | f
2009-11 | Ri 2 | 135 | 17 | 451 | 5 | 1.1703
2009-11 | Ri 3 | 137 | 1 | 452 | 5 | 1.0639
2009-11 | Ri 4 | 139 | 9 | 460 | 50 | 0.19904
2009-11 | Ri 4 | 139 | 10 | 461 | 30 | 0.29141
2009-11 | Ri 4 | 139 | 11 | 462 | 20 | 0.43481
2009-11 | Ri 4 | 139 | 12 | 463 | 10 | 0.57124
2009-11 | Ri 4 | 139 | 13 | 464 | 5 | 1.12 | f
2009-11 | Ri 5 | 141 | 1 | 465 | 5 | 1.0052
2009-11 | Ri 6 | 143 | 1 | 466 | 5 | 0.79087
2009-11 | SS7 | 144 | 4 | 477 | 50 | 0.37853
2009-11 | SS7 | 144 | 5 | 478 | 30 | 0.41406
2009-11 | SS7 | 144 | 6 | 479 | 20 | 0.518 | f
2009-11 | SS7 | 144 | 7 | 480 | 10 | 0.68883
2009-11 | SS7 | 144 | 8 | 481 | 5 | 1.8793
2009-11 | SS6 | 145 | 1 | 482 | 5 | 2.5733

## Loop data
Cruise 2009-11 Sept WCVI | [6 empty] | File: Cocc2009-11\Chlorophyll\QF 2009-11CHL.xls
Chlorophyll data summary with Quality Flags | [6 empty] | Date: October 28, 2009
Data from loop system
Analyzed using Water Properties Turner 10 AU calibrated with pure chlorophyll a May 13, 2009
Samples were analysed at sea by Marie Robert
Quality Flags:
c = Questionable measurement (no problem observed in sampling or analysis,
but value is not trusted, nonetheless; includes outlyers)
d = bad measurement (known problem with sampling or analysis,
but not serious enough to completely discard the value)
e = not reported (lost sample; unredeemably bad measurement)
i = sample not drawn for this measurement from this bottle
f = average of duplicate samples
Cruise | Station | Cast | Sample # | Chlorophyll | Chl | Comments
|  | # |  | ug/L | QF
2009-11 | loop 1 |  | usw | 2.7547 |  | Filtered 10 hours after sampling

## Precision Calc
Precision and Averaging Duplicates from same Niskin
File: Cocc2009-11\Chlorophyll\QF 2009-11CHL.xls
Date: October 28, 2009
Precision was determined by analyzing replicate samples drawn from one Niskin.
Pooled standard deviation of pairs of samples (Sp) was calucalated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
For replicate samples drawn from the same Niskin bottle:
Sp for Chlorophyll for the range 0.063 to 11.779 ug/L was 0.097, k = 92
Averaging Duplicates
Sample # | Station | Niskin # | Cast | Depth | Chl a | Chl a diff sq
1a | LB01 | 1 | 1 | 25 | 1.0973 |  | 1
1b | LB01 | 1 | 1 | 25 | 1.0869 | 0.00010815
1.0921
2a | LB01 | 2 | 1 | 10 | 2.2509 |  | 2
2b | LB01 | 2 | 1 | 10 | 2.1853 | 0.0042938
2.2181
3a | LB01 | 3 | 1 | 5 | 2.4661 |  | 3
3b | LB01 | 3 | 1 | 5 | 2.328 | 0.019077
2.3971
6a | LB02 | 3 | 2 | 20 | 0.36131 |  | 4
6b | LB02 | 3 | 2 | 20 | 0.37741 | 0.00025924
0.36936
13a | LB04 | 5 | 4 | 20 | 1.7085 |  | 5
13b | LB04 | 5 | 4 | 20 | 1.6071 | 0.010281
1.6578
14a | LB04 | 6 | 4 | 10 | 1.7838 |  | 6
14b | LB04 | 6 | 4 | 10 | 1.6789 | 0.011007
1.7313
15a | LB04 | 7 | 4 | 5 | 1.6342 |  | 7
15b | LB04 | 7 | 4 | 5 | 1.5762 | 0.0033637
1.6052
23a | LB06 | 6 | 8 | 20 | 1.3377 |  | 8
23b | LB06 | 6 | 8 | 20 | 1.408 | 0.0049459
1.3728
24a | LB06 | 7 | 8 | 10 | 1.616 |  | 9
24b | LB06 | 7 | 8 | 10 | 1.6403 | 0.00059113
1.6281
25a | LB06 | 8 | 8 | 5 | 1.6059 |  | 10
25b | LB06 | 8 | 8 | 5 | 1.6196 | 0.0001886
1.6127
37a | LB08 | 6 | 22 | 20 | 1.7664 |  | 11
37b | LB08 | 6 | 22 | 20 | 1.8005 | 0.0011575
1.7834
39a | LB08 | 8 | 22 | 5 | 1.9749 |  | 12
39b | LB08 | 8 | 22 | 5 | 2.1212 | 0.021391
2.0481
45a | LB09 | 6 | 23 | 20 | 1.0898 |  | 13
45b | LB09 | 6 | 23 | 20 | 1.072 | 0.00031883
1.0809
46a | LB09 | 7 | 23 | 10 | 2.7563 |  | 14
46b | LB09 | 7 | 23 | 10 | 2.7506 | 3.2225e-05
2.7534
47a | LB09 | 8 | 23 | 5 | 3.7413 |  | 15
47b | LB09 | 8 | 23 | 5 | 3.7693 | 0.00078201
3.7553
57a | LB11 | 9 | 25 | 20 | 1.1818 |  | 16
57b | LB11 | 9 | 25 | 20 | 1.2134 | 0.00099855
1.1976
58a | LB11 | 10 | 25 | 10 | 1.8427 |  | 17
58b | LB11 | 10 | 25 | 10 | 1.7154 | 0.016195
1.7791
59a | LB11 | 11 | 25 | 5 | 2.0519 |  | 18
59b | LB11 | 11 | 25 | 5 | 2.1163 | 0.0041533
2.0841
72a | LB12 | 13 | 27 | 20 | 0.925 |  | 19
72b | LB12 | 13 | 27 | 20 | 0.88765 | 0.0013947
0.90632
73a | LB12 | 14 | 27 | 10 | 1.7781 |  | 20
73b | LB12 | 14 | 27 | 10 | 1.7269 | 0.0026248
1.7525
74a | LB12 | 15 | 27 | 5 | 1.6227 |  | 21
74b | LB12 | 15 | 27 | 5 | 1.6339 | 0.00012558
1.6283
91a | LB14 | 16 | 29 | 20 | 0.62108 |  | 22
91b | LB14 | 16 | 29 | 20 | 0.64384 | 0.00051777
0.63246
92a | LB14 | 17 | 29 | 10 | 1.3094 |  | 23
92b | LB14 | 17 | 29 | 10 | 1.2843 | 0.00063276
1.2969
93a | LB14 | 18 | 29 | 5 | 1.2933 |  | 24
93b | LB14 | 18 | 29 | 5 | 1.2327 | 0.0036736
1.263
114a | LC11 | 17 | 38 | 20 | 1.0565 |  | 25
114b | LC11 | 17 | 38 | 20 | 1.0263 | 0.00091564
1.0414
115a | LC11 | 18 | 38 | 10 | 0.68459 |  | 26
115b | LC11 | 18 | 38 | 10 | 0.67634 | 6.8055e-05
0.68046
116a | LC11 | 19 | 38 | 5 | 0.68151 |  | 27
116b | LC11 | 19 | 38 | 5 | 0.68509 | 1.2849e-05
0.6833
136a | LC09 | 19 | 40 | 20 | 0.47769 |  | 28
136b | LC09 | 19 | 40 | 20 | 0.47901 | 1.7441e-06
0.47835
138a | LC09 | 21 | 40 | 10 | 1.0157 |  | 29
138b | LC09 | 21 | 40 | 10 | 1.0245 | 7.8569e-05
1.0201
140a | LC09 | 23 | 40 | 5 | 1.0427 |  | 30
140b | LC09 | 23 | 40 | 5 | 1.0171 | 0.00065516
1.0299
151a | LC08 | 9 | 45 | 20 | 1.1001 |  | 31
151b | LC08 | 9 | 45 | 20 | 1.1237 | 0.00055916
1.1119
152a | LC08 | 10 | 45 | 10 | 0.8486 |  | 32
152b | LC08 | 10 | 45 | 10 | 0.77558 | 0.0053307
0.81209
153a | LC08 | 11 | 45 | 5 | 0.80473 |  | 33
153b | LC08 | 11 | 45 | 5 | 0.81648 | 0.00013814
0.81061
159a | LC06 | 5 | 48 | 20 | 0.98261 |  | 34
159b | LC06 | 5 | 48 | 20 | 1.0912 | 0.011794
1.0369
160a | LC06 | 6 | 48 | 10 | 3.6837 |  | 35
160b | LC06 | 6 | 48 | 10 | 3.6684 | 0.00023448
3.676
161a | LC06 | 7 | 48 | 5 | 3.6297 |  | 36
161b | LC06 | 7 | 48 | 5 | 3.7692 | 0.019465
3.6995
174a | LC04 | 11 | 52 | 20 | 1.9058 |  | 37
174b | LC04 | 11 | 52 | 20 | 1.9772 | 0.0050917
1.9415
176a | LC04 | 13 | 52 | 10 | 2.0821 |  | 38
176b | LC04 | 13 | 52 | 10 | 2.0156 | 0.004416
2.0489
177a | LC04 | 14 | 52 | 5 | 1.8962 |  | 39
177b | LC04 | 14 | 52 | 5 | 1.8347 | 0.0037847
1.8654
184a | LC02 | 5 | 56 | 20 | 1.0685 |  | 40
184b | LC02 | 5 | 56 | 20 | 1.0447 | 0.0005632
1.0566
185a | LC02 | 6 | 56 | 10 | 2.36 |  | 41
185b | LC02 | 6 | 56 | 10 | 2.3197 | 0.0016176
2.3398
191a | LC01 | 5 | 58 | 20 | 1.7063 |  | 42
191b | LC01 | 5 | 58 | 20 | 1.5111 | 0.038123
1.6087
192a | LC01 | 6 | 58 | 10 | 1.7074 |  | 43
192b | LC01 | 6 | 58 | 10 | 1.6751 | 0.0010456
1.6912
194a | LC01 | 8 | 58 | 5 | 2.0714 |  | 44
194b | LC01 | 8 | 58 | 5 | 2.1203 | 0.0023882
2.0958
197a | LD02 | 3 | 60 | 20 | 3.5241 |  | 45
197b | LD02 | 3 | 60 | 20 | 3.4425 | 0.0066515
3.4833
198a | LD02 | 4 | 60 | 10 | 2.7343 |  | 46
198b | LD02 | 4 | 60 | 10 | 2.6081 | 0.015927
2.6712
199a | LD02 | 5 | 60 | 5 | 2.3781 |  | 47
199b | LD02 | 5 | 60 | 5 | 2.3769 | 1.6163e-06
2.3775
202a | LD04 | 3 | 64 | 20 | 2.5533 |  | 48
202b | LD04 | 3 | 64 | 20 | 2.5617 | 7.1082e-05
2.5575
203a | LD04 | 4 | 64 | 10 | 1.8877 |  | 49
203b | LD04 | 4 | 64 | 10 | 1.9526 | 0.004211
1.9201
204a | LD04 | 5 | 64 | 5 | 2.4074 |  | 50
204b | LD04 | 5 | 64 | 5 | 2.4027 | 2.2113e-05
2.405
207a | LG01 | 3 | 65 | 20 | 3.4907 |  | 51
207b | LG01 | 3 | 65 | 20 | 3.0333 | 0.20923
3.262
208a | LG01 | 4 | 65 | 10 | 5.3842 |  | 52
208b | LG01 | 4 | 65 | 10 | 5.1896 | 0.03785
5.2869
209a | LG01 | 5 | 65 | 5 | 11.7794 |  | 53
209b | LG01 | 5 | 65 | 5 | 11.3492 | 0.1851
11.5643
214a | LG02 | 5 | 67 | 20 | 5.9037 |  | 54
214b | LG02 | 5 | 67 | 20 | 5.5558 | 0.12103
5.7298
215a | LG02 | 6 | 67 | 10 | 5.3472 |  | 55
215b | LG02 | 6 | 67 | 10 | 5.1279 | 0.048105
5.2375
216a | LG02 | 7 | 67 | 5 | 5.9022 |  | 56
216b | LG02 | 7 | 67 | 5 | 5.4818 | 0.17672
5.692
225a | LG04 | 8 | 70 | 10 | 4.2039 |  | 57
225b | LG04 | 8 | 70 | 10 | 4.1593 | 0.0019896
4.1816
226a | LG04 | 9 | 70 | 5 | 8.5878 |  | 58
226b | LG04 | 9 | 70 | 5 | 7.8878 | 0.48987
8.2378
242a | LG06 | 15 | 72 | 20 | 0.75161 |  | 59
242b | LG06 | 15 | 72 | 20 | 0.81054 | 0.0034729
0.78108
243a | LG06 | 16 | 72 | 10 | 2.5947 |  | 60
243b | LG06 | 16 | 72 | 10 | 2.5506 | 0.0019429
2.5727
244a | LG06 | 17 | 72 | 5 | 2.7909 |  | 61
244b | LG06 | 17 | 72 | 5 | 2.7143 | 0.005867
2.7526
266a | LG09 | 20 | 77 | 20 | 0.32808 |  | 62
266b | LG09 | 20 | 77 | 20 | 0.30892 | 0.00036734
0.3185
267a | LG09 | 21 | 77 | 10 | 0.32525 |  | 63
267b | LG09 | 21 | 77 | 10 | 0.30772 | 0.00030742
0.31648
268a | LG09 | 22 | 77 | 5 | 0.32373 |  | 64
268b | LG09 | 22 | 77 | 5 | 0.3345 | 0.00011591
0.32911
290a | LBP7 | 20 | 81 | 20 | 1.4147 |  | 65
290b | LBP7 | 20 | 81 | 20 | 1.3153 | 0.0098809
1.365
291a | LBP7 | 21 | 81 | 10 | 1.3516 |  | 66
291b | LBP7 | 21 | 81 | 10 | 1.2002 | 0.022921
1.2759
292a | LBP7 | 22 | 81 | 5 | 1.3788 |  | 67
292b | LBP7 | 22 | 81 | 5 | 1.4131 | 0.001179
1.396
309a | LBP5 | 16 | 84 | 20 | 0.69257 |  | 68
309b | LBP5 | 16 | 84 | 20 | 0.71741 | 0.00061661
0.70499
310a | LBP5 | 17 | 84 | 10 | 0.63054 |  | 69
310b | LBP5 | 17 | 84 | 10 | 0.6283 | 5.0167e-06
0.62942
311a | LBP5 | 18 | 84 | 5 | 0.5951 |  | 70
311b | LBP5 | 18 | 84 | 5 | 0.60698 | 0.00014131
0.60104
320a | LBP3 | 8 | 87 | 20 | 2.0473 |  | 71
320b | LBP3 | 8 | 87 | 20 | 1.9834 | 0.0040904
2.0154
321a | LBP3 | 9 | 87 | 10 | 2.1539 |  | 72
321b | LBP3 | 9 | 87 | 10 | 2.2727 | 0.014112
2.2133
322a | LBP3 | 10 | 87 | 5 | 2.9656 |  | 73
322b | LBP3 | 10 | 87 | 5 | 2.9089 | 0.0032134
2.9372
351a | CS02 | 16 | 101 | 20 | 0.30984 |  | 74
351b | CS02 | 16 | 101 | 20 | 0.29098 | 0.00035576
0.30041
352a | CS02 | 17 | 101 | 10 | 1.127 |  | 75
352b | CS02 | 17 | 101 | 10 | 1.112 | 0.00022752
1.1195
353a | CS02 | 18 | 101 | 5 | 1.1291 |  | 76
353b | CS02 | 18 | 101 | 5 | 1.0515 | 0.0060104
1.0903
359a | CS04 | 5 | 105 | 20 | 1.1414 |  | 77
359b | CS04 | 5 | 105 | 20 | 1.1273 | 0.000199
1.1343
360a | CS04 | 6 | 105 | 10 | 1.0632 |  | 78
360b | CS04 | 6 | 105 | 10 | 1.0283 | 0.0012236
1.0458
361a | CS04 | 7 | 105 | 5 | 1.0394 |  | 79
361b | CS04 | 7 | 105 | 5 | 0.95783 | 0.0066603
0.99864
367a | CS06 | 3 | 113 | 20 | 1.0404 |  | 80
367b | CS06 | 3 | 113 | 20 | 1.0078 | 0.0010642
1.0241
368b | CS06 | 4 | 113 | 10 | 1.0006 |  | 81
368b | CS06 | 4 | 113 | 10 | 1.0297 | 0.00084352
1.0152
369a | CS06 | 5 | 113 | 5 | 0.99868 |  | 82
369b | CS06 | 5 | 113 | 5 | 0.96884 | 0.00089091
0.98376
383a | CS09 | 9 | 120 | 20 | 0.79863 |  | 83
383b | CS09 | 9 | 120 | 20 | 0.79263 | 3.6056e-05
0.79563
384a | CS09 | 10 | 120 | 10 | 0.79312 |  | 84
384b | CS09 | 10 | 120 | 10 | 0.81086 | 0.00031466
0.80199
385a | CS09 | 11 | 120 | 5 | 0.83478 |  | 85
385b | CS09 | 11 | 120 | 5 | 0.7703 | 0.0041576
0.80254
397a | M4 | 10 | 125 | 50 | 0.33217 |  | 86
397b | M4 | 10 | 125 | 50 | 0.33946 | 5.3232e-05
0.33582
413a | M3 | 12 | 126 | 20 | 0.53683 |  | 87
413b | M3 | 12 | 126 | 20 | 0.56163 | 0.00061521
0.54923
425a | M2 | 10 | 127 | 5 | 3.1745 |  | 88
425b | M2 | 10 | 127 | 5 | 3.16 | 0.00020898
3.1672
434a | UBC7 | 9 | 128 | 5 | 5.9864 |  | 89
434b | UBC7 | 9 | 128 | 5 | 6.352 | 0.13364
6.1692
450a | Ri 2 | 16 | 135 | 10 | 0.57732 |  | 90
450b | Ri 2 | 16 | 135 | 10 | 0.58089 | 1.2687e-05
0.57911
464a | Ri 4 | 13 | 139 | 5 | 1.0985 |  | 91
464b | Ri 4 | 13 | 139 | 5 | 1.1408 | 0.001791
1.1197
479a | SS7 | 6 | 144 | 20 | 0.52673 |  | 92
479b | SS7 | 6 | 144 | 20 | 0.50966 | 0.00029158
0.51819
[5 empty] | SUM OF (X-Y)SQ | 1.728
[5 empty] | COUNT | 92
[5 empty] | SUM/2*COUNT | 0.0093913
[5 empty] | SQRT(SUM/2*COUNT) | 0.096909

## Precision Statement
Cruise 2009-11 Sept WCVI |  | File: Cocc2009-11\Chlorophyll\QF 2009-11CHL.xls
Date: October 28, 2009
Analyzed using Water Properties Turner 10 AU calibrated with pure chlorophyll a May 13, 2009
Samples were analysed at sea by Marie Robert
Precision was determined by analyzing replicate samples drawn from one Niskin.
Pooled standard deviation of pairs of samples (Sp) was calucalated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
For replicate samples drawn from the same Niskin bottle:
Sp for Chlorophyll for the range 0.063 to 11.779 ug/L was 0.097, k = 92