## NH4 QF averaged data
Cruise 2009-11 WCVI Ammonia Data
File: QF 2009-11_NH4.xls
Ammonia Data Summary | [7 empty] | Date: October 29, 2009
Precision
Precision was determined by analyzing replicate samples drawn from one Niskin.
Pooled standard deviation of pairs of samples (Sp) was calucalated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
Sp for ammonium for the range 0.01 to 1.89 uM was 0.050
Interlab Comparison
Our ammonia standard was compared to the Ammonia stock standard supplied by Damian Grundle from U. Vic.
The U. Vic. Standard was made up in our low NH4 seawater to the concentrations of our standards and
analyzed against these standards. The standards were in agreement.
Cruise # | Sample | Station | Cast | Depth | Conc | NH4 | Comments
|  |  |  | (m) | uM | QF
2009-11 | 1 | LB01 | 1 | 25 | 0.49596 | f
2009-11 | 2 | LB01 | 1 | 10 | 0.67643 | f
2009-11 | 3 | LB01 | 1 | 5 | 0.68472 | f
2009-11 | 6 | LB02 | 2 | 20 | 0.4614
2009-11 | 13 | LB04 | 4 | 20 | 0.28692 | f
2009-11 | 14 | LB04 | 4 | 10 | 0.3095 | f
2009-11 | 15 | LB04 | 4 | 5 | 0.38507 | f
2009-11 | 23 | LB06 | 8 | 20 | 0.20613 | fc | Poor duplicates
2009-11 | 24 | LB06 | 8 | 10 | 0.24223 | f
2009-11 | 25 | LB06 | 8 | 5 | 0.26511 | f
2009-11 | 37 | LB08 | 22 | 20 | 0.10999 | f
2009-11 | 39 | LB08 | 22 | 5 | 0.040717 | f
2009-11 | 45 | LB09 | 23 | 20 | 0.23009 | f
2009-11 | 46 | LB09 | 23 | 10 | 0.090634 | f
2009-11 | 47 | LB09 | 23 | 5 | 0.19738 | f
2009-11 | 57 | LB11 | 25 | 20 | 0.47415 | f
2009-11 | 58 | LB11 | 25 | 10 | 0.21074 | f
2009-11 | 59 | LB11 | 25 | 5 | 0.13825 | fc | Poor duplicates
2009-11 | 72 | LB12 | 27 | 20 | 0.093245 | f
2009-11 | 73 | LB12 | 27 | 10 | 0.046553 | f
2009-11 | 74 | LB12 | 27 | 5 | 0.037645 | f
2009-11 | 91 | LB14 | 29 | 20 | 0.16451 | f
2009-11 | 92 | LB14 | 29 | 10 | 0.074814 | f
2009-11 | 93 | LB14 | 29 | 5 | 0.036263 | f
2009-11 | 114 | LC11 | 38 | 20 | 0.5127 | f
2009-11 | 115 | LC11 | 38 | 10 | 0.23255 | f
2009-11 | 116 | LC11 | 38 | 5 | 0.2132 | f
2009-11 | 136 | LC09 | 40 | 20 | 0.78302 | f
2009-11 | 138 | LC09 | 40 | 10 | 0.29307 | fc | Poor duplicates
2009-11 | 140 | LC09 | 40 | 5 | 0.065445 | f
2009-11 | 151 | LC08 | 45 | 20 | 0.47093 | f
2009-11 | 152 | LC08 | 45 | 10 | 0.63588 | f
2009-11 | 153 | LC08 | 45 | 5 | 0.69701 | f
2009-11 | 159 | LC06 | 48 | 20 | 0.052543 | f
2009-11 | 160 | LC06 | 48 | 10 | 0.069438 | f
2009-11 | 161 | LC06 | 48 | 5 | 0.077579 | f
2009-11 | 174 | LC04 | 52 | 20 | 0.33285 | f
2009-11 | 176 | LC04 | 52 | 10 | 0.18002 | f
2009-11 | 177 | LC04 | 52 | 5 | 0.15207 | f
2009-11 | 184 | LC02 | 56 | 20 | 0.84646 | f
2009-11 | 185 | LC02 | 56 | 10 | 0.2817 | f
2009-11 | 191 | LC01 | 58 | 20 | 0.66737 | f
2009-11 | 192 | LC01 | 58 | 10 | 0.63312 | f
2009-11 | 194 | LC01 | 58 | 5 | 0.55248 | fc | Poor duplicates
2009-11 | 197 | LD02 | 60 | 20 | 0.4051 | f
2009-11 | 198 | LD02 | 60 | 10 | 0.42029 | f
2009-11 | 199 | LD02 | 60 | 5 | 0.16314 | f
2009-11 | 202 | LD04 | 64 | 20 | 0.068669 | f
2009-11 | 203 | LD04 | 64 | 10 | 0.29544 | f
2009-11 | 204 | LD04 | 64 | 5 | 0.26339 | f
2009-11 | 207 | LG01 | 65 | 20 | 0.81656 | f
2009-11 | 208 | LG01 | 65 | 10 | 0.6987 | fc | Poor duplicates
2009-11 | 209 | LG01 | 65 | 5 | 0.341 | f
2009-11 | 214 | LG02 | 67 | 20 | 0.13292 | fc | Poor duplicates
2009-11 | 215 | LG02 | 67 | 10 | 0.11834 | f
2009-11 | 216 | LG02 | 67 | 5 | 0.06077 | f
2009-11 | 225 | LG04 | 70 | 10 | 1.2402 | f
2009-11 | 226 | LG04 | 70 | 5 | 1.4999 | f
2009-11 | 242 | LG06 | 72 | 20 | 1.6311 | f
2009-11 | 243 | LG06 | 72 | 10 | 0.37107 | f
2009-11 | 244 | LG06 | 72 | 5 | 0.28488 | f
2009-11 | 266 | LG09 | 77 | 20 | 0.033338 | f
2009-11 | 267 | LG09 | 77 | 10 | 0.076818 | f
2009-11 | 268 | LG09 | 77 | 5 | 0.08432 | f
2009-11 | 290 | LBP7 | 81 | 20 | 0.38806 | fc | Poor duplicates
2009-11 | 291 | LBP7 | 81 | 10 | 0.34458 | f
2009-11 | 292 | LBP7 | 81 | 5 | 0.34887 | f
2009-11 | 309 | LBP5 | 84 | 20 | 0.18766 | f
2009-11 | 310 | LBP5 | 84 | 10 | 0.15918 | f
2009-11 | 311 | LBP5 | 84 | 5 | 0.19715 | f
2009-11 | 320 | LBP3 | 87 | 20 | 1.7004 | fc | Poor duplicates
2009-11 | 321 | LBP3 | 87 | 10 | 1.8489 | f
2009-11 | 322 | LBP3 | 87 | 5 | 1.4666 | f
2009-11 | 351 | CS02 | 101 | 20 | 0.67236 | f
2009-11 | 352 | CS02 | 101 | 10 | 0.12075 | f
2009-11 | 353 | CS02 | 101 | 5 | 0.10922 | f
2009-11 | 359 | CS04 | 105 | 20 | 0.75272 | f
2009-11 | 360 | CS04 | 105 | 10 | 0.4378 | f
2009-11 | 361 | CS04 | 105 | 5 | 0.40095 | f
2009-11 | 367 | CS06 | 113 | 20 | 0.1858 | f
2009-11 | 368 | CS06 | 113 | 10 | 0.1444 | f
2009-11 | 369 | CS06 | 113 | 5 | 0.14759 | f
2009-11 | 383 | CS09 | 120 | 20 | 0.36274 | f
2009-11 | 384 | CS09 | 120 | 10 | 0.39819 | fc | Poor duplicates
2009-11 | 385 | CS09 | 120 | 5 | 0.3817 | fc | Poor duplicates

## Data Summary
Cruise 2009-11 WCVI Ammonia Data
File: QF 2009-11_NH4.xls
Date: October 26, 2009
Ammonia Data Summary
Precision was determined by analyzing replicate samples drawn from one Niskin.
Pooled standard deviation of pairs of samples (Sp) was calucalated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
Sp for ammonium for the range 0.01 to 1.89 uM was 0.050
Cruise # | Sample | Station | Cast | Depth | Conc | Comments
|  |  |  | (m) | uM
2009-11 | 1 | LB01 | 1 | 25 | 0.47645
2009-11 | 1 | LB01 | 1 | 25 | 0.51547
2009-11 | 2 | LB01 | 1 | 10 | 0.701
2009-11 | 2 | LB01 | 1 | 10 | 0.65186
2009-11 | 3 | LB01 | 1 | 5 | 0.65462
2009-11 | 3 | LB01 | 1 | 5 | 0.71483
2009-11 | 6 | LB02 | 2 | 20 | 0.4614
2009-11 | 13 | LB04 | 4 | 20 | 0.27095
2009-11 | 13 | LB04 | 4 | 20 | 0.3029
2009-11 | 14 | LB04 | 4 | 10 | 0.30198
2009-11 | 14 | LB04 | 4 | 10 | 0.31703
2009-11 | 15 | LB04 | 4 | 5 | 0.38491
2009-11 | 15 | LB04 | 4 | 5 | 0.38522
2009-11 | 23 | LB06 | 8 | 20 | 0.13487
2009-11 | 23 | LB06 | 8 | 20 | 0.2774
2009-11 | 24 | LB06 | 8 | 10 | 0.2519
2009-11 | 24 | LB06 | 8 | 10 | 0.23255
2009-11 | 25 | LB06 | 8 | 5 | 0.29
2009-11 | 25 | LB06 | 8 | 5 | 0.24023
2009-11 | 37 | LB08 | 22 | 20 | 0.10476
2009-11 | 37 | LB08 | 22 | 20 | 0.11521
2009-11 | 39 | LB08 | 22 | 5 | 0.011381
2009-11 | 39 | LB08 | 22 | 5 | 0.070053
2009-11 | 45 | LB09 | 23 | 20 | 0.25098
2009-11 | 45 | LB09 | 23 | 20 | 0.20921
2009-11 | 46 | LB09 | 23 | 10 | 0.063602
2009-11 | 46 | LB09 | 23 | 10 | 0.11767
2009-11 | 47 | LB09 | 23 | 5 | 0.18002
2009-11 | 47 | LB09 | 23 | 5 | 0.21474
2009-11 | 57 | LB11 | 25 | 20 | 0.46755
2009-11 | 57 | LB11 | 25 | 20 | 0.48076
2009-11 | 58 | LB11 | 25 | 10 | 0.23132
2009-11 | 58 | LB11 | 25 | 10 | 0.19016
2009-11 | 59 | LB11 | 25 | 5 | 0.19354
2009-11 | 59 | LB11 | 25 | 5 | 0.082954
2009-11 | 72 | LB12 | 27 | 20 | 0.075582
2009-11 | 72 | LB12 | 27 | 20 | 0.11091
2009-11 | 73 | LB12 | 27 | 10 | 0.067595
2009-11 | 73 | LB12 | 27 | 10 | 0.025511
2009-11 | 74 | LB12 | 27 | 5 | 0.053465
2009-11 | 74 | LB12 | 27 | 5 | 0.021825
2009-11 | 91 | LB14 | 29 | 20 | 0.16682
2009-11 | 91 | LB14 | 29 | 20 | 0.16221
2009-11 | 92 | LB14 | 29 | 10 | 0.080804
2009-11 | 92 | LB14 | 29 | 10 | 0.068824
2009-11 | 93 | LB14 | 29 | 5 | 0.035034
2009-11 | 93 | LB14 | 29 | 5 | 0.037492
2009-11 | 114 | LC11 | 38 | 20 | 0.5167
2009-11 | 114 | LC11 | 38 | 20 | 0.50871
2009-11 | 115 | LC11 | 38 | 10 | 0.23962
2009-11 | 115 | LC11 | 38 | 10 | 0.22549
2009-11 | 116 | LC11 | 38 | 5 | 0.20583
2009-11 | 116 | LC11 | 38 | 5 | 0.22057
2009-11 | 136 | LC09 | 40 | 20 | 0.80606
2009-11 | 136 | LC09 | 40 | 20 | 0.75998
2009-11 | 138 | LC09 | 40 | 10 | 0.21136
2009-11 | 138 | LC09 | 40 | 10 | 0.37478
2009-11 | 140 | LC09 | 40 | 5 | 0.079268
2009-11 | 140 | LC09 | 40 | 5 | 0.051622
2009-11 | 151 | LC08 | 45 | 20 | 0.48352
2009-11 | 151 | LC08 | 45 | 20 | 0.45833
2009-11 | 152 | LC08 | 45 | 10 | 0.63557
2009-11 | 152 | LC08 | 45 | 10 | 0.63619
2009-11 | 153 | LC08 | 45 | 5 | 0.68442
2009-11 | 153 | LC08 | 45 | 5 | 0.70961
2009-11 | 159 | LC06 | 48 | 20 | 0.07804
2009-11 | 159 | LC06 | 48 | 20 | 0.027047
2009-11 | 160 | LC06 | 48 | 10 | 0.055615
2009-11 | 160 | LC06 | 48 | 10 | 0.083262
2009-11 | 161 | LC06 | 48 | 5 | 0.058994
2009-11 | 161 | LC06 | 48 | 5 | 0.096163
2009-11 | 174 | LC04 | 52 | 20 | 0.32716
2009-11 | 174 | LC04 | 52 | 20 | 0.33853
2009-11 | 176 | LC04 | 52 | 10 | 0.19538
2009-11 | 176 | LC04 | 52 | 10 | 0.16466
2009-11 | 177 | LC04 | 52 | 5 | 0.12135
2009-11 | 177 | LC04 | 52 | 5 | 0.18279
2009-11 | 184 | LC02 | 56 | 20 | 0.86504
2009-11 | 184 | LC02 | 56 | 20 | 0.82787
2009-11 | 185 | LC02 | 56 | 10 | 0.32471
2009-11 | 185 | LC02 | 56 | 10 | 0.2387
2009-11 | 191 | LC01 | 58 | 20 | 0.701
2009-11 | 191 | LC01 | 58 | 20 | 0.63373
2009-11 | 192 | LC01 | 58 | 10 | 0.61346
2009-11 | 192 | LC01 | 58 | 10 | 0.65278
2009-11 | 194 | LC01 | 58 | 5 | 0.47093
2009-11 | 194 | LC01 | 58 | 5 | 0.63404
2009-11 | 197 | LD02 | 60 | 20 | 0.40571
2009-11 | 197 | LD02 | 60 | 20 | 0.40449
2009-11 | 198 | LD02 | 60 | 10 | 0.44034
2009-11 | 198 | LD02 | 60 | 10 | 0.40024
2009-11 | 199 | LD02 | 60 | 5 | 0.14628
2009-11 | 199 | LD02 | 60 | 5 | 0.18
2009-11 | 202 | LD04 | 64 | 20 | 0.083705
2009-11 | 202 | LD04 | 64 | 20 | 0.053632
2009-11 | 203 | LD04 | 64 | 10 | 0.29422
2009-11 | 203 | LD04 | 64 | 10 | 0.29665
2009-11 | 204 | LD04 | 64 | 5 | 0.26172
2009-11 | 204 | LD04 | 64 | 5 | 0.26506
2009-11 | 207 | LG01 | 65 | 20 | 0.78118
2009-11 | 207 | LG01 | 65 | 20 | 0.85195
2009-11 | 208 | LG01 | 65 | 10 | 0.8477
2009-11 | 208 | LG01 | 65 | 10 | 0.5497
2009-11 | 209 | LG01 | 65 | 5 | 0.33311
2009-11 | 209 | LG01 | 65 | 5 | 0.3489
2009-11 | 214 | LG02 | 67 | 20 | 0.08249
2009-11 | 214 | LG02 | 67 | 20 | 0.18334
2009-11 | 215 | LG02 | 67 | 10 | 0.13352
2009-11 | 215 | LG02 | 67 | 10 | 0.10315
2009-11 | 216 | LG02 | 67 | 5 | 0.062441
2009-11 | 216 | LG02 | 67 | 5 | 0.0591
2009-11 | 225 | LG04 | 70 | 10 | 1.2669
2009-11 | 225 | LG04 | 70 | 10 | 1.2134
2009-11 | 226 | LG04 | 70 | 5 | 1.4826
2009-11 | 226 | LG04 | 70 | 5 | 1.5172
2009-11 | 242 | LG06 | 72 | 20 | 1.6089
2009-11 | 242 | LG06 | 72 | 20 | 1.6533
2009-11 | 243 | LG06 | 72 | 10 | 0.39419
2009-11 | 243 | LG06 | 72 | 10 | 0.34795
2009-11 | 244 | LG06 | 72 | 5 | 0.25242
2009-11 | 244 | LG06 | 72 | 5 | 0.31733
2009-11 | 266 | LG09 | 77 | 20 | 0.024306
2009-11 | 266 | LG09 | 77 | 20 | 0.042371
2009-11 | 267 | LG09 | 77 | 10 | 0.047883
2009-11 | 267 | LG09 | 77 | 10 | 0.10575
2009-11 | 268 | LG09 | 77 | 5 | 0.050945
2009-11 | 268 | LG09 | 77 | 5 | 0.11769
2009-11 | 290 | LBP7 | 81 | 20 | 0.306
2009-11 | 290 | LBP7 | 81 | 20 | 0.47012
2009-11 | 291 | LBP7 | 81 | 10 | 0.32009
2009-11 | 291 | LBP7 | 81 | 10 | 0.36908
2009-11 | 292 | LBP7 | 81 | 5 | 0.33509
2009-11 | 292 | LBP7 | 81 | 5 | 0.36265
2009-11 | 309 | LBP5 | 84 | 20 | 0.17557
2009-11 | 309 | LBP5 | 84 | 20 | 0.19976
2009-11 | 310 | LBP5 | 84 | 10 | 0.1722
2009-11 | 310 | LBP5 | 84 | 10 | 0.14617
2009-11 | 311 | LBP5 | 84 | 5 | 0.2466
2009-11 | 311 | LBP5 | 84 | 5 | 0.1477
2009-11 | 320 | LBP3 | 87 | 20 | 1.6052
2009-11 | 320 | LBP3 | 87 | 20 | 1.7956
2009-11 | 321 | LBP3 | 87 | 10 | 1.8899
2009-11 | 321 | LBP3 | 87 | 10 | 1.8079
2009-11 | 322 | LBP3 | 87 | 5 | 1.4732
2009-11 | 322 | LBP3 | 87 | 5 | 1.4601
2009-11 | 351 | CS02 | 101 | 20 | 0.67009
2009-11 | 351 | CS02 | 101 | 20 | 0.67464
2009-11 | 352 | CS02 | 101 | 10 | 0.10574
2009-11 | 352 | CS02 | 101 | 10 | 0.13576
2009-11 | 353 | CS02 | 101 | 5 | 0.10058
2009-11 | 353 | CS02 | 101 | 5 | 0.11787
2009-11 | 359 | CS04 | 105 | 20 | 0.78654
2009-11 | 359 | CS04 | 105 | 20 | 0.71891
2009-11 | 360 | CS04 | 105 | 10 | 0.3917
2009-11 | 360 | CS04 | 105 | 10 | 0.48389
2009-11 | 361 | CS04 | 105 | 5 | 0.39928
2009-11 | 361 | CS04 | 105 | 5 | 0.40262
2009-11 | 367 | CS06 | 113 | 20 | 0.19307
2009-11 | 367 | CS06 | 113 | 20 | 0.17852
2009-11 | 368 | CS06 | 113 | 10 | 0.1582
2009-11 | 368 | CS06 | 113 | 10 | 0.1306
2009-11 | 369 | CS06 | 113 | 5 | 0.15365
2009-11 | 369 | CS06 | 113 | 5 | 0.14152
2009-11 | 383 | CS09 | 120 | 20 | 0.37533
2009-11 | 383 | CS09 | 120 | 20 | 0.35016
2009-11 | 384 | CS09 | 120 | 10 | 0.32014
2009-11 | 384 | CS09 | 120 | 10 | 0.47625
2009-11 | 385 | CS09 | 120 | 5 | 0.30983
2009-11 | 385 | CS09 | 120 | 5 | 0.45357

## Precision statement
Cruise 2009-11 WCVI Ammonia Data
File: QF 2009-11_NH4.xls
Precision Statement |  | Date: October 29, 2009
Precision
Precision was determined by analyzing replicate samples drawn from one Niskin.
Pooled standard deviation of pairs of samples (Sp) was calucalated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
Sp for ammonium for the range 0.01 to 1.89 uM was 0.050
Interlab Comparison
Our ammonia standard was compared to the Ammonia stock standard supplied by Damian Grundle from U. Vic.
The U. Vic. Standard was made up in our low NH4 seawater to the concentrations of our standards and
analyzed against these standards. The standards were in agreement.

## Precision Calc
Cruise 2009-11 WCVI Ammonia Data
File: QF 2009-11_NH4.xls
Date: October 26, 2009
Calculation of Precision
Precision was determined by analyzing replicate samples drawn from one Niskin.
Pooled standard deviation of pairs of samples (Sp) was calucalated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
Sp for ammonium for the range 0.01 to 1.89 uM was 0.050
If second decimal of difference squared greater than zero, flagged 'c' and commented 'poor duplicates"
Cruise # | Sample | Station | Cast | Depth | Conc | Average | Comments | (X-Y)SQ
|  |  |  | (m) | uM
2009-11 | 1 | LB01 | 1 | 25 | 0.47645 | 0.49596 |  | 0.0015219
2009-11 | 1 | LB01 | 1 | 25 | 0.51547
2009-11 | 2 | LB01 | 1 | 10 | 0.701 | 0.67643 |  | 0.0024156
2009-11 | 2 | LB01 | 1 | 10 | 0.65186
2009-11 | 3 | LB01 | 1 | 5 | 0.65462 | 0.68472 |  | 0.003625
2009-11 | 3 | LB01 | 1 | 5 | 0.71483
2009-11 | 13 | LB04 | 4 | 20 | 0.27095 | 0.28692 |  | 0.0010206
2009-11 | 13 | LB04 | 4 | 20 | 0.3029
2009-11 | 14 | LB04 | 4 | 10 | 0.30198 | 0.3095 |  | 0.00022656
2009-11 | 14 | LB04 | 4 | 10 | 0.31703
2009-11 | 15 | LB04 | 4 | 5 | 0.38491 | 0.38507 |  | 9.4361e-08
2009-11 | 15 | LB04 | 4 | 5 | 0.38522
2009-11 | 23 | LB06 | 8 | 20 | 0.13487 | 0.20613 |  | 0.020315
2009-11 | 23 | LB06 | 8 | 20 | 0.2774
2009-11 | 24 | LB06 | 8 | 10 | 0.2519 | 0.24223 |  | 0.00037452
2009-11 | 24 | LB06 | 8 | 10 | 0.23255
2009-11 | 25 | LB06 | 8 | 5 | 0.29 | 0.26511 |  | 0.0024764
2009-11 | 25 | LB06 | 8 | 5 | 0.24023
2009-11 | 37 | LB08 | 22 | 20 | 0.10476 | 0.10999 |  | 0.00010908
2009-11 | 37 | LB08 | 22 | 20 | 0.11521
2009-11 | 39 | LB08 | 22 | 5 | 0.011381 | 0.040717 |  | 0.0034424
2009-11 | 39 | LB08 | 22 | 5 | 0.070053
2009-11 | 45 | LB09 | 23 | 20 | 0.25098 | 0.23009 |  | 0.0017453
2009-11 | 45 | LB09 | 23 | 20 | 0.20921
2009-11 | 46 | LB09 | 23 | 10 | 0.063602 | 0.090634 |  | 0.0029229
2009-11 | 46 | LB09 | 23 | 10 | 0.11767
2009-11 | 47 | LB09 | 23 | 5 | 0.18002 | 0.19738 |  | 0.0012049
2009-11 | 47 | LB09 | 23 | 5 | 0.21474
2009-11 | 57 | LB11 | 25 | 20 | 0.46755 | 0.47415 |  | 0.00017447
2009-11 | 57 | LB11 | 25 | 20 | 0.48076
2009-11 | 58 | LB11 | 25 | 10 | 0.23132 | 0.21074 |  | 0.0016943
2009-11 | 58 | LB11 | 25 | 10 | 0.19016
2009-11 | 59 | LB11 | 25 | 5 | 0.19354 | 0.13825 |  | 0.012229
2009-11 | 59 | LB11 | 25 | 5 | 0.082954
2009-11 | 72 | LB12 | 27 | 20 | 0.075582 | 0.093245 |  | 0.0012479
2009-11 | 72 | LB12 | 27 | 20 | 0.11091
2009-11 | 73 | LB12 | 27 | 10 | 0.067595 | 0.046553 |  | 0.0017711
2009-11 | 73 | LB12 | 27 | 10 | 0.025511
2009-11 | 74 | LB12 | 27 | 5 | 0.053465 | 0.037645 |  | 0.0010011
2009-11 | 74 | LB12 | 27 | 5 | 0.021825
2009-11 | 91 | LB14 | 29 | 20 | 0.16682 | 0.16451 |  | 2.1231e-05
2009-11 | 91 | LB14 | 29 | 20 | 0.16221
2009-11 | 92 | LB14 | 29 | 10 | 0.080804 | 0.074814 |  | 0.00014352
2009-11 | 92 | LB14 | 29 | 10 | 0.068824
2009-11 | 93 | LB14 | 29 | 5 | 0.035034 | 0.036263 |  | 6.0391e-06
2009-11 | 93 | LB14 | 29 | 5 | 0.037492
2009-11 | 114 | LC11 | 38 | 20 | 0.5167 | 0.5127 |  | 6.3788e-05
2009-11 | 114 | LC11 | 38 | 20 | 0.50871
2009-11 | 115 | LC11 | 38 | 10 | 0.23962 | 0.23255 |  | 0.00019967
2009-11 | 115 | LC11 | 38 | 10 | 0.22549
2009-11 | 116 | LC11 | 38 | 5 | 0.20583 | 0.2132 |  | 0.00021741
2009-11 | 116 | LC11 | 38 | 5 | 0.22057
2009-11 | 136 | LC09 | 40 | 20 | 0.80606 | 0.78302 |  | 0.0021231
2009-11 | 136 | LC09 | 40 | 20 | 0.75998
2009-11 | 138 | LC09 | 40 | 10 | 0.21136 | 0.29307 |  | 0.026706
2009-11 | 138 | LC09 | 40 | 10 | 0.37478
2009-11 | 140 | LC09 | 40 | 5 | 0.079268 | 0.065445 |  | 0.00076432
2009-11 | 140 | LC09 | 40 | 5 | 0.051622
2009-11 | 151 | LC08 | 45 | 20 | 0.48352 | 0.47093 |  | 0.00063448
2009-11 | 151 | LC08 | 45 | 20 | 0.45833
2009-11 | 152 | LC08 | 45 | 10 | 0.63557 | 0.63588 |  | 3.7744e-07
2009-11 | 152 | LC08 | 45 | 10 | 0.63619
2009-11 | 153 | LC08 | 45 | 5 | 0.68442 | 0.69701 |  | 0.00063448
2009-11 | 153 | LC08 | 45 | 5 | 0.70961
2009-11 | 159 | LC06 | 48 | 20 | 0.07804 | 0.052543 |  | 0.0026002
2009-11 | 159 | LC06 | 48 | 20 | 0.027047
2009-11 | 160 | LC06 | 48 | 10 | 0.055615 | 0.069438 |  | 0.00076432
2009-11 | 160 | LC06 | 48 | 10 | 0.083262
2009-11 | 161 | LC06 | 48 | 5 | 0.058994 | 0.077579 |  | 0.0013815
2009-11 | 161 | LC06 | 48 | 5 | 0.096163
2009-11 | 174 | LC04 | 52 | 20 | 0.32716 | 0.33285 |  | 0.00012918
2009-11 | 174 | LC04 | 52 | 20 | 0.33853
2009-11 | 176 | LC04 | 52 | 10 | 0.19538 | 0.18002 |  | 0.00094361
2009-11 | 176 | LC04 | 52 | 10 | 0.16466
2009-11 | 177 | LC04 | 52 | 5 | 0.12135 | 0.15207 |  | 0.0037744
2009-11 | 177 | LC04 | 52 | 5 | 0.18279
2009-11 | 184 | LC02 | 56 | 20 | 0.86504 | 0.84646 |  | 0.0013815
2009-11 | 184 | LC02 | 56 | 20 | 0.82787
2009-11 | 185 | LC02 | 56 | 10 | 0.32471 | 0.2817 |  | 0.0073979
2009-11 | 185 | LC02 | 56 | 10 | 0.2387
2009-11 | 191 | LC01 | 58 | 20 | 0.701 | 0.66737 |  | 0.0045256
2009-11 | 191 | LC01 | 58 | 20 | 0.63373
2009-11 | 192 | LC01 | 58 | 10 | 0.61346 | 0.63312 |  | 0.001546
2009-11 | 192 | LC01 | 58 | 10 | 0.65278
2009-11 | 194 | LC01 | 58 | 5 | 0.47093 | 0.55248 |  | 0.026606
2009-11 | 194 | LC01 | 58 | 5 | 0.63404
2009-11 | 197 | LD02 | 60 | 20 | 0.40571 | 0.4051 |  | 1.4765e-06
2009-11 | 197 | LD02 | 60 | 20 | 0.40449
2009-11 | 198 | LD02 | 60 | 10 | 0.44034 | 0.42029 |  | 0.0016079
2009-11 | 198 | LD02 | 60 | 10 | 0.40024
2009-11 | 199 | LD02 | 60 | 5 | 0.14628 | 0.16314 |  | 0.001137
2009-11 | 199 | LD02 | 60 | 5 | 0.18
2009-11 | 202 | LD04 | 64 | 20 | 0.083705 | 0.068669 |  | 0.00090443
2009-11 | 202 | LD04 | 64 | 20 | 0.053632
2009-11 | 203 | LD04 | 64 | 10 | 0.29422 | 0.29544 |  | 5.9059e-06
2009-11 | 203 | LD04 | 64 | 10 | 0.29665
2009-11 | 204 | LD04 | 64 | 5 | 0.26172 | 0.26339 |  | 1.1166e-05
2009-11 | 204 | LD04 | 64 | 5 | 0.26506
2009-11 | 207 | LG01 | 65 | 20 | 0.78118 | 0.81656 |  | 0.0050098
2009-11 | 207 | LG01 | 65 | 20 | 0.85195
2009-11 | 208 | LG01 | 65 | 10 | 0.8477 | 0.6987 |  | 0.088806
2009-11 | 208 | LG01 | 65 | 10 | 0.5497
2009-11 | 209 | LG01 | 65 | 5 | 0.33311 | 0.341 |  | 0.00024952
2009-11 | 209 | LG01 | 65 | 5 | 0.3489
2009-11 | 214 | LG02 | 67 | 20 | 0.08249 | 0.13292 |  | 0.010171
2009-11 | 214 | LG02 | 67 | 20 | 0.18334
2009-11 | 215 | LG02 | 67 | 10 | 0.13352 | 0.11834 |  | 0.0009228
2009-11 | 215 | LG02 | 67 | 10 | 0.10315
2009-11 | 216 | LG02 | 67 | 5 | 0.062441 | 0.06077 |  | 1.1166e-05
2009-11 | 216 | LG02 | 67 | 5 | 0.0591
2009-11 | 225 | LG04 | 70 | 10 | 1.2669 | 1.2402 |  | 0.0028585
2009-11 | 225 | LG04 | 70 | 10 | 1.2134
2009-11 | 226 | LG04 | 70 | 5 | 1.4826 | 1.4999 |  | 0.0011993
2009-11 | 226 | LG04 | 70 | 5 | 1.5172
2009-11 | 242 | LG06 | 72 | 20 | 1.6089 | 1.6311 |  | 0.0019712
2009-11 | 242 | LG06 | 72 | 20 | 1.6533
2009-11 | 243 | LG06 | 72 | 10 | 0.39419 | 0.37107 |  | 0.0021377
2009-11 | 243 | LG06 | 72 | 10 | 0.34795
2009-11 | 244 | LG06 | 72 | 5 | 0.25242 | 0.28488 |  | 0.0042137
2009-11 | 244 | LG06 | 72 | 5 | 0.31733
2009-11 | 266 | LG09 | 77 | 20 | 0.024306 | 0.033338 |  | 0.00032636
2009-11 | 266 | LG09 | 77 | 20 | 0.042371
2009-11 | 267 | LG09 | 77 | 10 | 0.047883 | 0.076818 |  | 0.003349
2009-11 | 267 | LG09 | 77 | 10 | 0.10575
2009-11 | 268 | LG09 | 77 | 5 | 0.050945 | 0.08432 |  | 0.0044556
2009-11 | 268 | LG09 | 77 | 5 | 0.11769
2009-11 | 290 | LBP7 | 81 | 20 | 0.306 | 0.38806 |  | 0.026935
2009-11 | 290 | LBP7 | 81 | 20 | 0.47012
2009-11 | 291 | LBP7 | 81 | 10 | 0.32009 | 0.34458 |  | 0.0024001
2009-11 | 291 | LBP7 | 81 | 10 | 0.36908
2009-11 | 292 | LBP7 | 81 | 5 | 0.33509 | 0.34887 |  | 0.00075942
2009-11 | 292 | LBP7 | 81 | 5 | 0.36265
2009-11 | 309 | LBP5 | 84 | 20 | 0.17557 | 0.18766 |  | 0.00058512
2009-11 | 309 | LBP5 | 84 | 20 | 0.19976
2009-11 | 310 | LBP5 | 84 | 10 | 0.1722 | 0.15918 |  | 0.00067738
2009-11 | 310 | LBP5 | 84 | 10 | 0.14617
2009-11 | 311 | LBP5 | 84 | 5 | 0.2466 | 0.19715 |  | 0.0097814
2009-11 | 311 | LBP5 | 84 | 5 | 0.1477
2009-11 | 320 | LBP3 | 87 | 20 | 1.6052 | 1.7004 |  | 0.036272
2009-11 | 320 | LBP3 | 87 | 20 | 1.7956
2009-11 | 321 | LBP3 | 87 | 10 | 1.8899 | 1.8489 |  | 0.0067339
2009-11 | 321 | LBP3 | 87 | 10 | 1.8079
2009-11 | 322 | LBP3 | 87 | 5 | 1.4732 | 1.4666 |  | 0.00017335
2009-11 | 322 | LBP3 | 87 | 5 | 1.4601
2009-11 | 351 | CS02 | 101 | 20 | 0.67009 | 0.67236 |  | 2.0691e-05
2009-11 | 351 | CS02 | 101 | 20 | 0.67464
2009-11 | 352 | CS02 | 101 | 10 | 0.10574 | 0.12075 |  | 0.00090131
2009-11 | 352 | CS02 | 101 | 10 | 0.13576
2009-11 | 353 | CS02 | 101 | 5 | 0.10058 | 0.10922 |  | 0.00029878
2009-11 | 353 | CS02 | 101 | 5 | 0.11787
2009-11 | 359 | CS04 | 105 | 20 | 0.78654 | 0.75272 |  | 0.0045731
2009-11 | 359 | CS04 | 105 | 20 | 0.71891
2009-11 | 360 | CS04 | 105 | 10 | 0.3917 | 0.4378 |  | 0.0084987
2009-11 | 360 | CS04 | 105 | 10 | 0.48389
2009-11 | 361 | CS04 | 105 | 5 | 0.39928 | 0.40095 |  | 1.1127e-05
2009-11 | 361 | CS04 | 105 | 5 | 0.40262
2009-11 | 367 | CS06 | 113 | 20 | 0.19307 | 0.1858 |  | 0.00021188
2009-11 | 367 | CS06 | 113 | 20 | 0.17852
2009-11 | 368 | CS06 | 113 | 10 | 0.1582 | 0.1444 |  | 0.00076153
2009-11 | 368 | CS06 | 113 | 10 | 0.1306
2009-11 | 369 | CS06 | 113 | 5 | 0.15365 | 0.14759 |  | 0.00014714
2009-11 | 369 | CS06 | 113 | 5 | 0.14152
2009-11 | 383 | CS09 | 120 | 20 | 0.37533 | 0.36274 |  | 0.00063352
2009-11 | 383 | CS09 | 120 | 20 | 0.35016
2009-11 | 384 | CS09 | 120 | 10 | 0.32014 | 0.39819 |  | 0.024371
2009-11 | 384 | CS09 | 120 | 10 | 0.47625
2009-11 | 385 | CS09 | 120 | 5 | 0.30983 | 0.3817 |  | 0.020661
2009-11 | 385 | CS09 | 120 | 5 | 0.45357
[5 empty] | SUM OF (X-Y)SQ |  |  | 0.41684
[5 empty] | COUNT |  |  | 84
[5 empty] | SUM/2*COUNT |  |  | 0.0024812
[5 empty] | SQRT(SUM/2*COUNT) |  |  | 0.049812
[5 empty] | min |  |  | 0.011381
[5 empty] | max |  |  | 1.8899

## Sept 5 std water check
Cruise 2009-11 WCVI Ammonia Calculations
(all times and dates are local)
Saturday Sept 5 |  | Standard water check |  |  | Conc uM | Raw Fluor | Omit
Start time of reaction |  | 04/09 1611 | Standards | Zero | 0 | 101.3
End time of reaction |  | 05/09 0750 |  | Zero | 0 | 106.3
|  |  |  | S1 | 0.5 | 239.7
Sensitivity Factor | 26 |  |  | S1 | 0.5 |  | 304.6
S3 mid-range | 497 |  |  | S2 | 1 | 364.5
|  |  |  | S2 | 1 | 376.5
Seawater for standards from 2009-10 Papa Stn P04 400m (? sample #) |  |  |  | S3 | 1.5 | 492.3
Working Reagent Batch 2 |  |  |  | S3 | 1.5 | 493.3

## Sept 6
Cruise 2009-11 WCVI Ammonia Calculations
(all times and dates are local)
Sunday Sept 6 |  |  | Poor Standard Water, see recalc |  |  |  |  | Conc uM | Raw Fluor
Start time of reaction |  |  | 06/09 0845 |  |  | Standards | Zero | 0 | 152
End time of reaction | [6 empty] | Zero | 0 | 154.7
[7 empty] | S1 | 0.5 | 276.5
Sensitivity Factor |  | 26 |  |  |  |  | S1 | 0.5 | 278.6
S3 mid-range |  | 501 |  |  |  |  | S2 | 1 | 383.2
[7 empty] | S2 | 1 | 389.9
Seawater for standards from Stn LB12 mix of 200, 250, & 300m | [6 empty] | S3 | 1.5 | 499.1
Working Reagent Batch 2 | [6 empty] | S3 | 1.5 | 494.2
Sample | Station | Cast | Depth | Raw Fluor | Conc | Comments
1 | LB01 | 1 | 25 | 171.1 | 0.058873
1 | LB01 | 1 | 25 | 183.8 | 0.11463
2 | LB01 | 1 | 10 | 244.2 | 0.3798
2 | LB01 | 1 | 10 | 228.2 | 0.30955
3 | LB01 | 1 | 5 | 229.1 | 0.3135
3 | LB01 | 1 | 5 | 248.7 | 0.39955
6 | LB02 | 2 | 20 | 166.2 | 0.037361
13 | LB04 | 4 | 20 | 104.2 | -0.23483
13 | LB04 | 4 | 20 | 114.6 | -0.18917
14 | LB04 | 4 | 10 | 114.3 | -0.19049
14 | LB04 | 4 | 10 | 119.2 | -0.16898
15 | LB04 | 4 | 5 | 141.3 | -0.071955
15 | LB04 | 4 | 5 | 141.4 | -0.071516
23 | LB06 | 8 | 20 | 59.9 | -0.42932
23 | LB06 | 8 | 20 | 106.3 | -0.22561
24 | LB06 | 8 | 10 | 98 | -0.26205
24 | LB06 | 8 | 10 | 91.7 | -0.28971
25 | LB06 | 8 | 5 | 110.4 | -0.20761
25 | LB06 | 8 | 5 | 94.2 | -0.27873
37 | LB08 | 22 | 20 | 50.1 | -0.47234
37 | LB08 | 22 | 20 | 53.5 | -0.45742
39 | LB08 | 22 | 5 | 19.7 | -0.6058
39 | LB08 | 22 | 5 | 38.8 | -0.52195
45 | LB09 | 23 | 20 | 97.7 | -0.26337
45 | LB09 | 23 | 20 | 84.1 | -0.32307
46 | LB09 | 23 | 10 | 36.7 | -0.53117
46 | LB09 | 23 | 10 | 54.3 | -0.4539
47 | LB09 | 23 | 5 | 74.6 | -0.36478
47 | LB09 | 23 | 5 | 85.9 | -0.31517
57 | LB11 | 25 | 20 | 168.2 | 0.046141
57 | LB11 | 25 | 20 | 172.5 | 0.065019
58 | LB11 | 25 | 10 | 91.3 | -0.29147
58 | LB11 | 25 | 10 | 77.9 | -0.35029
59 | LB11 | 25 | 5 | 79 | -0.34546
59 | LB11 | 25 | 5 | 43 | -0.50351
72 | LB12 | 27 | 20 | 40.6 | -0.51405
72 | LB12 | 27 | 20 | 52.1 | -0.46356
73 | LB12 | 27 | 10 | 38 | -0.52546
73 | LB12 | 27 | 10 | 24.3 | -0.58561
74 | LB12 | 27 | 5 | 33.4 | -0.54566
74 | LB12 | 27 | 5 | 23.1 | -0.59088
91 | LB14 | 29 | 20 | 70.3 | -0.38366
91 | LB14 | 29 | 20 | 68.8 | -0.39024
92 | LB14 | 29 | 10 | 42.3 | -0.50659
92 | LB14 | 29 | 10 | 38.4 | -0.52371
93 | LB14 | 29 | 5 | 27.4 | -0.572
93 | LB14 | 29 | 5 | 28.2 | -0.56849

## Sept 6 recalc
Cruise 2009-11 WCVI Ammonia Calculations
(all times and dates are local) | [7 empty] | Sept 7 PM standards
Sunday Sept 6 realc using Sept 7 PM standards | [7 empty] | Conc uM | Raw Fluor
Start time of reaction |  |  | 06/09 0845 |  |  | Standards | Zero | 0 | 9.4
End time of reaction | [6 empty] | Zero | 0 | 9.7
[7 empty] | S1 | 0.5 | 182.3
Sensitivity Factor |  | 26 |  |  |  |  | S1 | 0.5 | 187
S3 mid-range |  | 501 |  |  |  |  | S2 | 1 | 338.4
[7 empty] | S2 | 1 | 359.8
Seawater for standards from Stn LB12 mix of 200, 250, & 300m | [6 empty] | S3 | 1.5 | 497.1
Working Reagent Batch 2 | [6 empty] | S3 | 1.5 | 497.5
Sample | Station | Cast | Depth | Raw Fluor | Conc | Comments
1 | LB01 | 1 | 25 | 171.1 | 0.47645
1 | LB01 | 1 | 25 | 183.8 | 0.51547
2 | LB01 | 1 | 10 | 244.2 | 0.701
2 | LB01 | 1 | 10 | 228.2 | 0.65186
3 | LB01 | 1 | 5 | 229.1 | 0.65462
3 | LB01 | 1 | 5 | 248.7 | 0.71483
6 | LB02 | 2 | 20 | 166.2 | 0.4614
13 | LB04 | 4 | 20 | 104.2 | 0.27095
13 | LB04 | 4 | 20 | 114.6 | 0.3029
14 | LB04 | 4 | 10 | 114.3 | 0.30198
14 | LB04 | 4 | 10 | 119.2 | 0.31703
15 | LB04 | 4 | 5 | 141.3 | 0.38491
15 | LB04 | 4 | 5 | 141.4 | 0.38522
23 | LB06 | 8 | 20 | 59.9 | 0.13487
23 | LB06 | 8 | 20 | 106.3 | 0.2774
24 | LB06 | 8 | 10 | 98 | 0.2519
24 | LB06 | 8 | 10 | 91.7 | 0.23255
25 | LB06 | 8 | 5 | 110.4 | 0.29
25 | LB06 | 8 | 5 | 94.2 | 0.24023
37 | LB08 | 22 | 20 | 50.1 | 0.10476
37 | LB08 | 22 | 20 | 53.5 | 0.11521
39 | LB08 | 22 | 5 | 19.7 | 0.011381
39 | LB08 | 22 | 5 | 38.8 | 0.070053
45 | LB09 | 23 | 20 | 97.7 | 0.25098
45 | LB09 | 23 | 20 | 84.1 | 0.20921
46 | LB09 | 23 | 10 | 36.7 | 0.063602
46 | LB09 | 23 | 10 | 54.3 | 0.11767
47 | LB09 | 23 | 5 | 74.6 | 0.18002
47 | LB09 | 23 | 5 | 85.9 | 0.21474
57 | LB11 | 25 | 20 | 168.2 | 0.46755
57 | LB11 | 25 | 20 | 172.5 | 0.48076
58 | LB11 | 25 | 10 | 91.3 | 0.23132
58 | LB11 | 25 | 10 | 77.9 | 0.19016
59 | LB11 | 25 | 5 | 79 | 0.19354
59 | LB11 | 25 | 5 | 43 | 0.082954
72 | LB12 | 27 | 20 | 40.6 | 0.075582
72 | LB12 | 27 | 20 | 52.1 | 0.11091
73 | LB12 | 27 | 10 | 38 | 0.067595
73 | LB12 | 27 | 10 | 24.3 | 0.025511
74 | LB12 | 27 | 5 | 33.4 | 0.053465
74 | LB12 | 27 | 5 | 23.1 | 0.021825
91 | LB14 | 29 | 20 | 70.3 | 0.16682
91 | LB14 | 29 | 20 | 68.8 | 0.16221
92 | LB14 | 29 | 10 | 42.3 | 0.080804
92 | LB14 | 29 | 10 | 38.4 | 0.068824
93 | LB14 | 29 | 5 | 27.4 | 0.035034
93 | LB14 | 29 | 5 | 28.2 | 0.037492

## Sept 7 std water check
Cruise 2009-11 WCVI Ammonia Calculations
(all times and dates are local)
Monday Sept 7 AM |  | Standard water check |  |  |  | Conc uM | Raw Fluor | Omit
Start time of reaction |  | Sept 6 | 2110 | Standards | Zero | 0 | 11.9
End time of reaction |  | Sept 7 | 0745 |  | Zero | 0 | 10.9
[5 empty] | S1 | 0.5 | 155.2
Sensitivity Factor | 26 |  |  |  | S1 | 0.5 | 188.9
S3 mid-range | 500 |  |  |  | S2 | 1 | 347
[5 empty] | S2 | 1 | 354.4
Seawater for standards from Stn A2 (LC Line) 250m Sample # 141 |  |  |  |  | S3 | 1.5 | 499.4 |  | 1
Working Reagent Batch 1 |  |  |  |  | S3 | 1.5 | 501

## Sept 7 PM
Cruise 2009-11 WCVI Ammonia Calculations
(all times and dates are local)
Monday Sept 7 PM | [7 empty] | Conc uM | Raw Fluor | Omit
Start time of reaction |  |  | Sept 7 | 0910 |  | Standards | Zero | 0 | 9.4
End time of reaction |  |  | Sept 7 | 2020 |  |  | Zero | 0 | 9.7
[7 empty] | S1 | 0.5 | 182.3
Sensitivity Factor |  | 27 |  |  |  |  | S1 | 0.5 | 187
S3 mid-range |  | 500 |  |  |  |  | S2 | 1 | 338.4
[7 empty] | S2 | 1 | 359.8
Seawater for standards from Stn A2 (LC Line) 250m Sample # 141 | [6 empty] | S3 | 1.5 | 497.1
Working Reagent Batch 1 | [6 empty] | S3 | 1.5 | 497.5
Sample | Station | Cast | Depth | Raw Fluor | Conc | Comments
114 | LC11 | 38 | 20 | 184.2 | 0.5167
114 | LC11 | 38 | 20 | 181.6 | 0.50871
115 | LC11 | 38 | 10 | 94 | 0.23962
115 | LC11 | 38 | 10 | 89.4 | 0.22549
116 | LC11 | 38 | 5 | 83 | 0.20583
116 | LC11 | 38 | 5 | 87.8 | 0.22057
136 | LC09 | 40 | 20 | 278.4 | 0.80606
136 | LC09 | 40 | 20 | 263.4 | 0.75998
138 | LC09 | 40 | 10 | 84.8 | 0.21136
138 | LC09 | 40 | 10 | 138 | 0.37478
140 | LC09 | 40 | 5 | 41.8 | 0.079268
140 | LC09 | 40 | 5 | 32.8 | 0.051622
151 | LC08 | 45 | 20 | 173.4 | 0.48352
151 | LC08 | 45 | 20 | 165.2 | 0.45833
152 | LC08 | 45 | 10 | 222.9 | 0.63557
152 | LC08 | 45 | 10 | 223.1 | 0.63619
153 | LC08 | 45 | 5 | 238.8 | 0.68442
153 | LC08 | 45 | 5 | 247 | 0.70961
159 | LC06 | 48 | 20 | 41.4 | 0.07804
159 | LC06 | 48 | 20 | 24.8 | 0.027047
160 | LC06 | 48 | 10 | 34.1 | 0.055615
160 | LC06 | 48 | 10 | 43.1 | 0.083262
161 | LC06 | 48 | 5 | 35.2 | 0.058994
161 | LC06 | 48 | 5 | 47.3 | 0.096163
174 | LC04 | 52 | 20 | 122.5 | 0.32716
174 | LC04 | 52 | 20 | 126.2 | 0.33853
176 | LC04 | 52 | 10 | 79.6 | 0.19538
176 | LC04 | 52 | 10 | 69.6 | 0.16466
177 | LC04 | 52 | 5 | 55.5 | 0.12135
177 | LC04 | 52 | 5 | 75.5 | 0.18279
184 | LC02 | 56 | 20 | 297.6 | 0.86504
184 | LC02 | 56 | 20 | 285.5 | 0.82787
185 | LC02 | 56 | 10 | 121.7 | 0.32471
185 | LC02 | 56 | 10 | 93.7 | 0.2387
191 | LC01 | 58 | 20 | 244.2 | 0.701
191 | LC01 | 58 | 20 | 222.3 | 0.63373
192 | LC01 | 58 | 10 | 215.7 | 0.61346
192 | LC01 | 58 | 10 | 228.5 | 0.65278
194 | LC01 | 58 | 5 | 169.3 | 0.47093
194 | LC01 | 58 | 5 | 222.4 | 0.63404

## Sept 8 PM
Cruise 2009-11 WCVI Ammonia Calculations
(all times and dates are local)
Tuesday Sept 8 PM | [7 empty] | Conc uM | Raw Fluor | Omit
Start time of reaction |  |  | Sept 8 | 0940 |  | Standards | Zero | 0 | 10.3
End time of reaction |  |  | Sept 8 | 2150 |  |  | Zero | 0 | 10.4
[7 empty] | S1 | 0.5 | 184.7
Sensitivity Factor |  | 27 |  |  |  |  | S1 | 0.5 | 188.2
S3 mid-range |  | 500 |  |  |  |  | S2 | 1 | 350.4
[7 empty] | S2 | 1 | 340.2
Seawater for standards from Stn A2 (LC Line) 250m Sample # 141 | [6 empty] | S3 | 1.5 | 504.5
Working Reagent Batch 1 | [6 empty] | S3 | 1.5 | 507.6
Sample | Station | Cast | Depth | Raw Fluor | Conc | Comments
207 | LG01 | 65 | 20 | 272.3 | 0.78118
207 | LG01 | 65 | 20 | 295.6 | 0.85195
208 | LG01 | 65 | 10 | 294.2 | 0.8477
208 | LG01 | 65 | 10 | 196.1 | 0.5497
209 | LG01 | 65 | 5 | 124.8 | 0.33311
209 | LG01 | 65 | 5 | 130 | 0.3489
214 | LG02 | 67 | 20 | 42.3 | 0.08249
214 | LG02 | 67 | 20 | 75.5 | 0.18334
215 | LG02 | 67 | 10 | 59.1 | 0.13352
215 | LG02 | 67 | 10 | 49.1 | 0.10315
216 | LG02 | 67 | 5 | 35.7 | 0.062441
216 | LG02 | 67 | 5 | 34.6 | 0.0591
202 | LD04 | 64 | 20 | 42.7 | 0.083705
202 | LD04 | 64 | 20 | 32.8 | 0.053632
203 | LD04 | 64 | 10 | 112 | 0.29422
203 | LD04 | 64 | 10 | 112.8 | 0.29665
204 | LD04 | 64 | 5 | 101.3 | 0.26172
204 | LD04 | 64 | 5 | 102.4 | 0.26506
197 | LD02 | 60 | 20 | 148.7 | 0.40571
197 | LD02 | 60 | 20 | 148.3 | 0.40449
198 | LD02 | 60 | 10 | 160.1 | 0.44034
198 | LD02 | 60 | 10 | 146.9 | 0.40024
199 | LD02 | 60 | 5 | 63.3 | 0.14628
199 | LD02 | 60 | 5 | 74.4 | 0.18
225 | LG04 | 70 | 10 | 432.2 | 1.2669
225 | LG04 | 70 | 10 | 414.6 | 1.2134
226 | LG04 | 70 | 5 | 503.2 | 1.4826
226 | LG04 | 70 | 5 | 514.6 | 1.5172

## Sept 10 AM
Cruise 2009-11 WCVI Ammonia Calculations
(all times and dates are local)
Thursday Sept 10 AM | [7 empty] | Conc uM | Raw Fluor | Omit
Start time of reaction |  |  | Sept 9 | 2030 |  | Standards | Zero | 0 | 9.9
End time of reaction |  |  | Sept 10 | 0845 |  |  | Zero | 0 | 10.3
[7 empty] | S1 | 0.5 | 184.5
Sensitivity Factor |  | 27 |  |  |  |  | S1 | 0.5 |  | 207.3
S3 mid-range |  | 500 |  |  |  |  | S2 | 1 | 338.4
[7 empty] | S2 | 1 | 346.4
Seawater for standards from Stn A2 (LC Line) 250m Sample # 141 | [6 empty] | S3 | 1.5 | 500
Working Reagent Batch 2 | [6 empty] | S3 | 1.5 | 501
Sample | Station | Cast | Depth | Raw Fluor | Conc | Comments
242 | LG06 | 72 | 20 | 538.9 | 1.6089
242 | LG06 | 72 | 20 | 553.4 | 1.6533
243 | LG06 | 72 | 10 | 142.2 | 0.39419
243 | LG06 | 72 | 10 | 127.1 | 0.34795
244 | LG06 | 72 | 5 | 95.9 | 0.25242
244 | LG06 | 72 | 5 | 117.1 | 0.31733
266 | LG09 | 77 | 20 | 21.4 | 0.024306
266 | LG09 | 77 | 20 | 27.3 | 0.042371
267 | LG09 | 77 | 10 | 29.1 | 0.047883
267 | LG09 | 77 | 10 | 48 | 0.10575
268 | LG09 | 77 | 5 | 30.1 | 0.050945
268 | LG09 | 77 | 5 | 51.9 | 0.11769
290 | LBP7 | 81 | 20 | 113.4 | 0.306
290 | LBP7 | 81 | 20 | 167 | 0.47012
291 | LBP7 | 81 | 10 | 118 | 0.32009
291 | LBP7 | 81 | 10 | 134 | 0.36908
292 | LBP7 | 81 | 5 | 122.9 | 0.33509
292 | LBP7 | 81 | 5 | 131.9 | 0.36265
309 | LBP5 | 84 | 20 | 70.8 | 0.17557
309 | LBP5 | 84 | 20 | 78.7 | 0.19976
310 | LBP5 | 84 | 10 | 69.7 | 0.1722
310 | LBP5 | 84 | 10 | 61.2 | 0.14617
311 | LBP5 | 84 | 5 | 94 | 0.2466
311 | LBP5 | 84 | 5 | 61.7 | 0.1477
320 | LBP3 | 87 | 20 | 537.7 | 1.6052
320 | LBP3 | 87 | 20 | 599.9 | 1.7956
321 | LBP3 | 87 | 10 | 630.7 | 1.8899
321 | LBP3 | 87 | 10 | 603.9 | 1.8079
322 | LBP3 | 87 | 5 | 494.6 | 1.4732
322 | LBP3 | 87 | 5 | 490.3 | 1.4601

## Sept 11 PM
Cruise 2009-11 WCVI Ammonia Calculations
(all times and dates are local)
Friday Sept 11 PM | [7 empty] | Conc uM | Raw Fluor | Omit
Start time of reaction |  |  | Sept 11 | 1005 |  | Standards | Zero | 0 | 13.3
End time of reaction |  |  | Sept 11 | 2230 |  |  | Zero | 0 | 11.8
[7 empty] | S1 | 0.5 | 164.5
Sensitivity Factor |  | 27 |  |  |  |  | S1 | 0.5 |  | 196.9
S3 mid-range |  | 500 |  |  |  |  | S2 | 1 | 344.4
[7 empty] | S2 | 1 | 353.9
Seawater for standards from Stn A2 (LC Line) 250m Sample # 141 | [6 empty] | S3 | 1.5 | 498.3
Working Reagent Batch 2 | [6 empty] | S3 | 1.5 | 506.8
Sample | Station | Cast | Depth | Raw Fluor | Conc | Comments
Unk 0 | Damian |  |  | 33.9 | 0.068438
Unk 0 | Damian |  |  | 44.7 | 0.10119
Unk .5 | Damian |  |  | 206.1 | 0.59064
Unk .5 | Damian |  |  | 208.4 | 0.59761
Unk 1.0 | Damian |  |  | 373.7 | 1.0989
Unk 1.0 | Damian |  |  | 361.9 | 1.0631
Unk 1.5 | Damian |  |  | 518.3 | 1.5374
Unk 1.5 | Damian |  |  | 517.4 | 1.5347
351 | CS02 | 101 | 20 | 232.3 | 0.67009
351 | CS02 | 101 | 20 | 233.8 | 0.67464
352 | CS02 | 101 | 10 | 46.2 | 0.10574
352 | CS02 | 101 | 10 | 56.1 | 0.13576
353 | CS02 | 101 | 5 | 44.5 | 0.10058
353 | CS02 | 101 | 5 | 50.2 | 0.11787
359 | CS04 | 105 | 20 | 270.7 | 0.78654
359 | CS04 | 105 | 20 | 248.4 | 0.71891
360 | CS04 | 105 | 10 | 140.5 | 0.3917
360 | CS04 | 105 | 10 | 170.9 | 0.48389
361 | CS04 | 105 | 5 | 143 | 0.39928
361 | CS04 | 105 | 5 | 144.1 | 0.40262
367 | CS06 | 113 | 20 | 75 | 0.19307
367 | CS06 | 113 | 20 | 70.2 | 0.17852
368 | CS06 | 113 | 10 | 63.5 | 0.1582
368 | CS06 | 113 | 10 | 54.4 | 0.1306
369 | CS06 | 113 | 5 | 62 | 0.15365
369 | CS06 | 113 | 5 | 58 | 0.14152
383 | CS09 | 120 | 20 | 135.1 | 0.37533
383 | CS09 | 120 | 20 | 126.8 | 0.35016
384 | CS09 | 120 | 10 | 116.9 | 0.32014
384 | CS09 | 120 | 10 | 168.38 | 0.47625
385 | CS09 | 120 | 5 | 113.5 | 0.30983
385 | CS09 | 120 | 5 | 160.9 | 0.45357