2009 CTD Data Files

IOS Cruise Number 2009-20

Update 2010-08-09 – CTD fluorescence and oxygen were calibrated.  ISUS data, incorrectly listed as Rinko Oxygen for Casts 41,48 and 53, were copied to their correct column.  Down and upcast profile data have been updated as well as the CTD data inside the chemistry file.

Update 2011-06-19 – Wetlabs fluorescence CDOM sensor units were changed from mg/m3 to volts.  CDOM data in casts 1, 2 and 8 was actually ISUS data (perhaps due to cable issue?).  Data were reassigned to ISUS and CDOM was set to 0.

Cruise

There were 53 CTD casts performed aboard the CCGS Louis S. St-Laurent  between 17 September and 16 October 20090 in the Canada Basin using a SBE911+ CTD system with 24 10-L Niskins.   XCTDs, vertical net tows for zooplankton, moorings and ice-tethered profilers were also conducted, deployed and/or recovered during this trip.

Data Summary

The CTD data for down and upcasts are provided in 1-db averaged files (*.cnv),  in Seabird’s text format with one file per cast and separate files for down and up direction.  The files contain both processed and unprocessed variables, described below.  The downcast files are the primary data set however the upcast files are provided because of their usefulness for confirming unusual features seen in the downcast.

CTD Oxygen have been held back waiting for further corrections.

Downcast

Filename:  d200920_xxx.cnv where xxx is cast number

Standard seabird processing steps were used.

Pressure, primary and secondary temperature, primary and secondary 	conductivity, oxygen and fluorescence have been calibrated.

Spikes in primary temperature and primary conductivity have been interpolated over and where needed secondary values (when available) have replaced the primary values.

Derived variables, salinity, potential temperature, sigma-theta and sound velocity, 	were recalculated.

Transmission, CDOM fluorescence, altimetry, RINKO oxygen and temperature, and ISUS  have not been calibrated.

Upcast

Filename:  u200920_xxx.cnv  where xxx is cast number

Upcast is supplied only as it provides a reference for unusual features seen in the 	downcast.

Standard seabird processing steps were used.

No spikes have been removed.

Pressure, primary and secondary temperature,  and primary and secondary conductivity have been calibrated.  Calibration coefficients and correction values from the oxygen downcast data were applied to the upcast profile.

Derived variables, salinity, potential temperature, sigma-theta and sound velocity, 	were recalculated.

Transmission, fluorescence, CDOM fluorescence, altimetry, RINKO oxygen and temperature, and ISUS  have not been calibrated.