Data Collection Report for LSSL 2008-29 and LSSL 2008-30 (July –Aug 2008)

2Mar2009

In conjunction with the CTD/Rosette Casts, an acoustic doppler current profiler (ADCP) measuring currents of the upper 60m lowered was over the side.   The package was lowered by crane from the boat deck to approximately 5m beneath the surface and left in place until the completion of the CTD cast.

The two backscatter transducers that were to be configured with the ADCP and used to look for layers of zooplankton did not work and were never used.  Due to….

Table 1.  ADCP Deployment List for 2008-30 JOIS

| File Name (ADCP###_00000.LOG) | DATE + TIME (UTC) | STATION | Lat Deg N | Lat Min N | Lon Deg W | Lon Min W | Approx BOTTOM DEPTH | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 18 | 2008/07/21 05:55 | AG5 | 69 | 30.500 | 117 | 40.900 | 378 |  |
| 19 | 2008/07/22 10:48 | CABOS | 71 | 49.650 | 131 | 45.580 | 1100 |  |
| 20 | 2008/07/23 07:07 | MK6 | 71 | 35.150 | 140 | 0.540 | 2447 |  |
| 22 | 2008/07/23 15:12 | MK4 | 70 | 48.730 | 140 | 0.883 | 1484 |  |
| 23 | 2008/07/23 19:10 | MK-3 | 70 | 34.440 | 140 | 0.180 | 1484 |  |
| 24 | 2008/07/23 22:43 | MK-1 | 70 | 13.778 | 140 | 0.130 | 230 |  |
| 25 | 2008/07/24 01:09 | CB28-aa | 69 | 59.986 | 140 | 0.078 | 50 |  |
| 26 | 2008/07/24 14:44 | STN-A | 72 | 41.250 | 144 | 41.432 | 3410 |  |
| 27 | 2008/07/25 07:09 | BL-08 | 71 | 57.886 | 150 | 13.595 | 2980 |  |
| No Data Found | 2008/07/25 13:56 | BL-04 | 71 | 30.072 | 151 | 39.451 | 1007 |  |
| 28 | 2008/07/25 17:01 | BL-02 | 71 | 23.738 | 152 | 2.215 | 149 |  |
| 29 | 2008/07/25 19:04 | BL-03 (near) | 71 | 27.334 | 151 | 49.284 | 412 |  |
| 30 | 2008/07/25 20:00 | BL-03 | 71 | 28.174 | 151 | 46.649 | 640 |  |
| 31 | 2008/07/25 23:57 | BL-05 | 71 | 35.596 | 151 | 21.570 | 1557 |  |
| 32 | 2008/07/26 02:03 | BL-06 | 71 | 39.509 | 151 | 13.930 | 1993 | .LOG file incomplete |
| 33 | 2008/07/26 09:46 | CB-2 | 73 | 0.000 | 150 | 0.010 | 3680 |  |
| 34 | 2008/07/26 17:02 | CB-3 | 73 | 59.981 | 150 | 0.262 | 3749 |  |
| 35 | 2008/07/26 23:41 | CB-6 | 74 | 29.975 | 147 | 44.113 | 3709 |  |
| 36 | 2008/07/27 21:44 | CB-4 | 74 | 59.519 | 150 | 3.377 | 3819 |  |
| 38 | 2008/07/29 04:35 | CB-5 | 75 | 19.160 | 153 | 16.822 | 3838 |  |
| 39 | 2008/07/29 11:19 | RS-06 | 75 | 30.790 | 155 | 16.135 | 3840 |  |
| 40 | 2008/07/29 18:08 | RS-01 | 75 | 44.593 | 157 | 5.600 | 1000 |  |
| 41 | 2008/07/29 21:18 | RS-02 | 75 | 39.626 | 156 | 15.565 | 1593 |  |
| 42 | 2008/07/30 08:10 | CB-7 | 75 | 59.790 | 149 | 58.618 | 3825 |  |
| 43 | 2008/07/30 16:18 | CB-8 | 76 | 59.866 | 150 | 2.576 | 3826 |  |
| 44 | 2008/07/31 03:20 | CB-12 | 77 | 40.697 | 146 | 44.723 | 3805 |  |
| 46 | 2008/08/01 00:52 | CB-9 | 78 | 0.176 | 150 | 10.510 | 3818 |  |
| 47 | 2008/08/02 06:54 | CB-10 | 78 | 19.753 | 153 | 1.256 | 3197 |  |
| 48 | 2008/08/02 10:44 | CB-10a2 | 78 | 20.170 | 153 | 21.571 | 2281 |  |
| 49 | 2008/08/03 04:41 | CB-11 | 79 | 1.046 | 149 | 53.396 | 3819 |  |
| 50 | 2008/08/04 07:04 | NW-1 | 81 | 1.714 | 149 | 50.994 | 3796 |  |
| 52 | 2008/08/05 04:07 | NW-2 | 82 | 0.280 | 149 | 57.738 | 3169 |  |
| 53 | 2008/08/05 15:33 | NW-3 | 83 | 1.788 | 149 | 59.498 | 2918 |  |
| 54 | 2008/08/07 06:50 | NE-2 | 81 | 1.222 | 140 | 6.316 | 3753 |  |
| 55 | 2008/08/08 06:56 | CB-16N | 79 | 0.359 | 139 | 55.973 | 3764 |  |
| 56 | 2008/08/10 03:45 | CB-15 | 76 | 59.534 | 140 | 0.763 | 3721 |  |
| 57 | 2008/08/11 02:45 | PP-06 | 76 | 15.955 | 132 | 31.816 | 3059 |  |
| 58 | 2008/08/11 08:15 | PP-05 | 76 | 15.955 | 132 | 31.816 | 2476 | .LOG file incomplete |
| 59 | 2008/08/12 02:22 | CB-17 | 75 | 57.034 | 140 | 4.934 | 3703 |  |
| 62 | 2008/08/13 00:09 | CB-18 | 75 | 0.024 | 140 | 0.010 | 3620 |  |
| 68 | 2008/08/13 07:32 | CB-19 | 74 | 17.958 | 143 | 18.364 | 3693 | numerous files (63-67) created soon before but contain seemingly no data |
| 69 | 2008/08/14 03:49 | CB-21 | 74 | 1.944 | 140 | 0.150 | 3519 |  |
| 70 | 2008/08/14 11:24 | CB-21 | 74 | 0.600 | 139 | 56.942 | 3506 |  |
| 71 | 2008/08/14 23:11 | CB-22 | 73 | 27.001 | 137 | 59.990 | 3127 |  |
| 72 | 2008/08/15 05:13 | CB-27 | 73 | 0.037 | 139 | 59.878 | 3221 |  |
| 73 | 2008/08/15 14:06 | STN-A | 72 | 36.048 | 144 | 41.795 | 3428 |  |