## File List
Number of Files= |  | 4
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2009-38-0005.mrg | 2009-38-0005.sam | 11 | 32 | 2009-38-0005.mrg & 2009-38-0005.sam
2 | 2009-38-0009.mrg | 2009-38-0009.sam | 34 | 38 | 2009-38-0009.mrg & 2009-38-0009.sam
3 | 2009-38-0010.mrg | 2009-38-0010.sam | 40 | 44 | 2009-38-0010.mrg & 2009-38-0010.sam
4 | 2009-38-0014.mrg | 2009-38-0014.sam | 46 | 63 | 2009-38-0014.mrg & 2009-38-0014.sam

## (DOX_CTD - DOX_BOT)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.66422 |  | X | CALC Y
m= | -0.070009 | 0.0077737 |  | Std Dev of Resid |  | 0.11988 |  | 0.040631 | 0.085813
b= | 0.088657 | 0.029964 |  | Resid Sum of Squares |  | 0.58924 |  | 7.3316 | -0.42462
# of Values Extracted = |  |  | 50
# of Values Used in Fit = |  |  | 43
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 178.978 | 0.049103 | 0.0021703 | 0.023103 | 0.08522 | 0.062117 |  | 0.049103 | 0.023103
1 | YES | 178.978 | 0.049103 | 0.0021703 | 0.00010257 | 0.08522 | 0.085117 |  | 0.049103 | 0.00010257
1 | YES | 150.476 | 0.056865 | 0.0024088 | 0.019865 | 0.084676 | 0.064811 |  | 0.056865 | 0.019865
1 | YES | 150.476 | 0.056865 | 0.0024088 | 0.028865 | 0.084676 | 0.055811 |  | 0.056865 | 0.028865
1 | YES | 125.151 | 0.7906 | 0.0028399 | 0.1796 | 0.033308 | -0.1463 |  | 0.7906 | 0.1796
1 | YES | 125.151 | 0.7906 | 0.0028399 | 0.1996 | 0.033308 | -0.1663 |  | 0.7906 | 0.1996
1 | YES | 100.215 | 1.8507 | 0.0057634 | -0.0093163 | -0.040906 | -0.03159 |  | 1.8507 | -0.0093163
1 | YES | 100.215 | 1.8507 | 0.0057634 | -0.11632 | -0.040906 | 0.07541 |  | 1.8507 | -0.11632
1 | YES | 75.3233 | 3.1747 | 0.016748 | -0.0052662 | -0.1336 | -0.12833 |  | 3.1747 | -0.0052662
1 | YES | 75.3233 | 3.1747 | 0.016748 | -0.004266 | -0.1336 | -0.12934 |  | 3.1747 | -0.004266
1 | YES | 50.0713 | 4.6246 | 0.0099869 | -0.33139 | -0.23511 | 0.096285 |  | 4.6246 | -0.33139
1 | YES | 50.0713 | 4.6246 | 0.0099869 | -0.31139 | -0.23511 | 0.076285 |  | 4.6246 | -0.31139
1 | YES | 30.3986 | 5.3381 | 0.0071011 | -0.33485 | -0.28506 | 0.049795 |  | 5.3381 | -0.33485
1 | YES | 30.3986 | 5.3381 | 0.0071011 | -0.29285 | -0.28506 | 0.007795 |  | 5.3381 | -0.29285
1 | YES | 20.1849 | 5.5724 | 0.0085427 | -0.29261 | -0.30146 | -0.0088438 |  | 5.5724 | -0.29261
1 | YES | 20.1849 | 5.5724 | 0.0085427 | -0.23061 | -0.30146 | -0.070844 |  | 5.5724 | -0.23061
1 | YES | 10.3003 | 7.3316 | 0.22792 | -0.53938 | -0.42462 | 0.11476 |  | 7.3316 | -0.53938
1 | YES | 10.3003 | 7.3316 | 0.22792 | -0.36438 | -0.42462 | -0.06024 |  | 7.3316 | -0.36438
1 | NO | 5.3844 | 8.6859 | 0.019054 | 8.3659 | -0.51943 | -8.8853 |  | 0.045552 | 0.041552
1 | NO | 5.3844 | 8.6859 | 0.019054 | 8.2269 | -0.51943 | -8.7463 |  | 0.042639 | 0.045639
1 | NO | 1.2288 | 8.6462 | 0.021924 | 8.5612 | -0.51665 | -9.0779 |  | 0.041506 | -0.0044938
1 | NO | 1.2288 | 8.6462 | 0.021924 | 8.0852 | -0.51665 | -8.6019 |  | 0.040631 | -0.021369
2 | YES | 181.364 | 0.045552 | 0.0020449 | 0.041552 | 0.085468 | 0.043916 |  | 0.35917 | -0.079826
2 | YES | 175.397 | 0.042639 | 0.00228 | 0.045639 | 0.085672 | 0.040033 |  | 1.7431 | -0.34487
2 | YES | 164.225 | 0.041506 | 0.0022232 | -0.0044938 | 0.085751 | 0.090245 |  | 2.5475 | -0.070523
2 | YES | 151.28 | 0.040631 | 0.0019172 | -0.021369 | 0.085813 | 0.10718 |  | 5.5577 | -0.15031
2 | YES | 131.008 | 0.35917 | 0.0041737 | -0.079826 | 0.063512 | 0.14334 |  | 5.7233 | -0.37873
3 | YES | 110.706 | 1.7431 | 0.0028765 | -0.34487 | -0.033377 | 0.31149 |  | 6.1472 | -0.38876
3 | YES | 90.4779 | 2.5475 | 0.0051349 | -0.070523 | -0.089688 | -0.019165 |  | 0.64628 | 0.10328
3 | YES | 30.3405 | 5.5577 | 0.0047389 | -0.15031 | -0.30043 | -0.15012 |  | 0.64628 | 0.069275
3 | YES | 10.6066 | 5.7233 | 0.012603 | -0.37873 | -0.31202 | 0.066714 |  | 0.64628 | 0.048275
3 | YES | 5.2728 | 6.1472 | 0.0096412 | -0.38876 | -0.3417 | 0.047053 |  | 0.64628 | 0.14028
4 | NO | 124.748 | 0.64628 | 0.005078 | 0.024275 | 0.043412 | 0.019137 |  | 3.5334 | 0.076433
4 | YES | 124.748 | 0.64628 | 0.005078 | 0.10328 | 0.043412 | -0.059863 |  | 3.5334 | 0.011433
4 | YES | 124.748 | 0.64628 | 0.005078 | 0.069275 | 0.043412 | -0.025863 |  | 3.5334 | 0.037433
4 | YES | 124.748 | 0.64628 | 0.005078 | 0.048275 | 0.043412 | -0.0048631 |  | 3.5334 | 0.028433
4 | NO | 124.748 | 0.64628 | 0.005078 | 0.074275 | 0.043412 | -0.030863 |  | 3.5334 | -0.019567
4 | YES | 124.748 | 0.64628 | 0.005078 | 0.14028 | 0.043412 | -0.096863 |  | 3.5334 | -0.054567
4 | YES | 75.17 | 3.5334 | 0.011782 | 0.076433 | -0.15871 | -0.23515 |  | 5.5415 | -0.42954
4 | YES | 75.17 | 3.5334 | 0.011782 | 0.011433 | -0.15871 | -0.17015 |  | 5.5415 | -0.42254
4 | YES | 75.17 | 3.5334 | 0.011782 | 0.037433 | -0.15871 | -0.19615 |  | 5.5415 | -0.41654
4 | YES | 75.17 | 3.5334 | 0.011782 | 0.028433 | -0.15871 | -0.18715 |  | 5.5415 | -0.41254
4 | YES | 75.17 | 3.5334 | 0.011782 | -0.019567 | -0.15871 | -0.13915 |  | 5.5415 | -0.40754
4 | YES | 75.17 | 3.5334 | 0.011782 | -0.054567 | -0.15871 | -0.10415
4 | YES | 10.3345 | 5.5415 | 0.0090329 | -0.42954 | -0.29929 | 0.13025
4 | YES | 10.3345 | 5.5415 | 0.0090329 | -0.42254 | -0.29929 | 0.12325
4 | NO | 10.3345 | 5.5415 | 0.0090329 | -0.13754 | -0.29929 | -0.16175
4 | YES | 10.3345 | 5.5415 | 0.0090329 | -0.41654 | -0.29929 | 0.11725
4 | YES | 10.3345 | 5.5415 | 0.0090329 | -0.41254 | -0.29929 | 0.11325
4 | YES | 10.3345 | 5.5415 | 0.0090329 | -0.40754 | -0.29929 | 0.10825
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (2)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.86933 |  | X | CALC Y
m= | -0.065532 | 0.0049826 |  | Std Dev of Resid |  | 0.069724 |  | 0.040631 | 0.017561
b= | 0.020224 | 0.021837 |  | Resid Sum of Squares |  | 0.1264 |  | 7.3316 | -0.46023
# of Values Extracted = |  |  | 50
# of Values Used in Fit = |  |  | 28
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 178.978 | 0.049103 | 0.0021703 | 0.023103 | 0.017006 | -0.0060966 |  | 0.049103 | 0.023103
1 | YES | 178.978 | 0.049103 | 0.0021703 | 0.00010257 | 0.017006 | 0.016903 |  | 0.049103 | 0.00010257
1 | YES | 150.476 | 0.056865 | 0.0024088 | 0.019865 | 0.016497 | -0.0033677 |  | 0.056865 | 0.019865
1 | YES | 150.476 | 0.056865 | 0.0024088 | 0.028865 | 0.016497 | -0.012368 |  | 0.056865 | 0.028865
1 | NO | 125.151 | 0.7906 | 0.0028399 | 0.1796 | -0.031586 | -0.21119 |  | 1.8507 | -0.0093163
1 | NO | 125.151 | 0.7906 | 0.0028399 | 0.1996 | -0.031586 | -0.23119 |  | 1.8507 | -0.11632
1 | YES | 100.215 | 1.8507 | 0.0057634 | -0.0093163 | -0.10106 | -0.091739 |  | 4.6246 | -0.33139
1 | YES | 100.215 | 1.8507 | 0.0057634 | -0.11632 | -0.10106 | 0.01526 |  | 4.6246 | -0.31139
1 | NO | 75.3233 | 3.1747 | 0.016748 | -0.0052662 | -0.18782 | -0.18256 |  | 5.3381 | -0.33485
1 | NO | 75.3233 | 3.1747 | 0.016748 | -0.004266 | -0.18782 | -0.18356 |  | 5.3381 | -0.29285
1 | YES | 50.0713 | 4.6246 | 0.0099869 | -0.33139 | -0.28284 | 0.048552 |  | 5.5724 | -0.29261
1 | YES | 50.0713 | 4.6246 | 0.0099869 | -0.31139 | -0.28284 | 0.028552 |  | 5.5724 | -0.23061
1 | YES | 30.3986 | 5.3381 | 0.0071011 | -0.33485 | -0.3296 | 0.0052561 |  | 7.3316 | -0.53938
1 | YES | 30.3986 | 5.3381 | 0.0071011 | -0.29285 | -0.3296 | -0.036744 |  | 7.3316 | -0.36438
1 | YES | 20.1849 | 5.5724 | 0.0085427 | -0.29261 | -0.34495 | -0.052334 |  | 0.045552 | 0.041552
1 | YES | 20.1849 | 5.5724 | 0.0085427 | -0.23061 | -0.34495 | -0.11433 |  | 0.042639 | 0.045639
1 | YES | 10.3003 | 7.3316 | 0.22792 | -0.53938 | -0.46023 | 0.079144 |  | 0.041506 | -0.0044938
1 | YES | 10.3003 | 7.3316 | 0.22792 | -0.36438 | -0.46023 | -0.095856 |  | 0.040631 | -0.021369
1 | NO | 5.3844 | 8.6859 | 0.019054 | 8.3659 | -0.54898 | -8.9149 |  | 0.35917 | -0.079826
1 | NO | 5.3844 | 8.6859 | 0.019054 | 8.2269 | -0.54898 | -8.7759 |  | 2.5475 | -0.070523
1 | NO | 1.2288 | 8.6462 | 0.021924 | 8.5612 | -0.54638 | -9.1076 |  | 5.5577 | -0.15031
1 | NO | 1.2288 | 8.6462 | 0.021924 | 8.0852 | -0.54638 | -8.6316 |  | 5.7233 | -0.37873
2 | YES | 181.364 | 0.045552 | 0.0020449 | 0.041552 | 0.017239 | -0.024313 |  | 6.1472 | -0.38876
2 | YES | 175.397 | 0.042639 | 0.00228 | 0.045639 | 0.01743 | -0.028209 |  | 5.5415 | -0.42954
2 | YES | 164.225 | 0.041506 | 0.0022232 | -0.0044938 | 0.017504 | 0.021998 |  | 5.5415 | -0.42254
2 | YES | 151.28 | 0.040631 | 0.0019172 | -0.021369 | 0.017561 | 0.03893 |  | 5.5415 | -0.41654
2 | YES | 131.008 | 0.35917 | 0.0041737 | -0.079826 | -0.0033137 | 0.076512 |  | 5.5415 | -0.41254
3 | NO | 110.706 | 1.7431 | 0.0028765 | -0.34487 | -0.094008 | 0.25086 |  | 5.5415 | -0.40754
3 | YES | 90.4779 | 2.5475 | 0.0051349 | -0.070523 | -0.14672 | -0.076196
3 | YES | 30.3405 | 5.5577 | 0.0047389 | -0.15031 | -0.34398 | -0.19367
3 | YES | 10.6066 | 5.7233 | 0.012603 | -0.37873 | -0.35484 | 0.023899
3 | YES | 5.2728 | 6.1472 | 0.0096412 | -0.38876 | -0.38262 | 0.0061355
4 | NO | 124.748 | 0.64628 | 0.005078 | 0.024275 | -0.022128 | -0.046404
4 | NO | 124.748 | 0.64628 | 0.005078 | 0.10328 | -0.022128 | -0.1254
4 | NO | 124.748 | 0.64628 | 0.005078 | 0.069275 | -0.022128 | -0.091404
4 | NO | 124.748 | 0.64628 | 0.005078 | 0.048275 | -0.022128 | -0.070404
4 | NO | 124.748 | 0.64628 | 0.005078 | 0.074275 | -0.022128 | -0.096404
4 | NO | 124.748 | 0.64628 | 0.005078 | 0.14028 | -0.022128 | -0.1624
4 | NO | 75.17 | 3.5334 | 0.011782 | 0.076433 | -0.21133 | -0.28776
4 | NO | 75.17 | 3.5334 | 0.011782 | 0.011433 | -0.21133 | -0.22276
4 | NO | 75.17 | 3.5334 | 0.011782 | 0.037433 | -0.21133 | -0.24876
4 | NO | 75.17 | 3.5334 | 0.011782 | 0.028433 | -0.21133 | -0.23976
4 | NO | 75.17 | 3.5334 | 0.011782 | -0.019567 | -0.21133 | -0.19176
4 | NO | 75.17 | 3.5334 | 0.011782 | -0.054567 | -0.21133 | -0.15676
4 | YES | 10.3345 | 5.5415 | 0.0090329 | -0.42954 | -0.34292 | 0.086618
4 | YES | 10.3345 | 5.5415 | 0.0090329 | -0.42254 | -0.34292 | 0.079618
4 | NO | 10.3345 | 5.5415 | 0.0090329 | -0.13754 | -0.34292 | -0.20538
4 | YES | 10.3345 | 5.5415 | 0.0090329 | -0.41654 | -0.34292 | 0.073618
4 | YES | 10.3345 | 5.5415 | 0.0090329 | -0.41254 | -0.34292 | 0.069618
4 | YES | 10.3345 | 5.5415 | 0.0090329 | -0.40754 | -0.34292 | 0.064618
YES
YES
YES
YES
NO
NO
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (3)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.00010801 |  | X | CALC Y
m= | -0.0015764 | 0.023687 |  | Std Dev of Resid |  | 0.20687 |  | 1 | -0.12294
b= | -0.12137 | 0.064919 |  | Resid Sum of Squares |  | 1.7547 |  | 4 | -0.12767
# of Values Extracted = |  |  | 50
# of Values Used in Fit = |  |  | 43
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 178.978 | 0.049103 | 0.0021703 | 0.023103 | -0.12294 | -0.14605 |  | 1 | 0.023103
1 | YES | 178.978 | 0.049103 | 0.0021703 | 0.00010257 | -0.12294 | -0.12305 |  | 1 | 0.00010257
1 | YES | 150.476 | 0.056865 | 0.0024088 | 0.019865 | -0.12294 | -0.14281 |  | 1 | 0.019865
1 | YES | 150.476 | 0.056865 | 0.0024088 | 0.028865 | -0.12294 | -0.15181 |  | 1 | 0.028865
1 | YES | 125.151 | 0.7906 | 0.0028399 | 0.1796 | -0.12294 | -0.30255 |  | 1 | 0.1796
1 | YES | 125.151 | 0.7906 | 0.0028399 | 0.1996 | -0.12294 | -0.32255 |  | 1 | 0.1996
1 | YES | 100.215 | 1.8507 | 0.0057634 | -0.0093163 | -0.12294 | -0.11363 |  | 1 | -0.0093163
1 | YES | 100.215 | 1.8507 | 0.0057634 | -0.11632 | -0.12294 | -0.0066281 |  | 1 | -0.11632
1 | YES | 75.3233 | 3.1747 | 0.016748 | -0.0052662 | -0.12294 | -0.11768 |  | 1 | -0.0052662
1 | YES | 75.3233 | 3.1747 | 0.016748 | -0.004266 | -0.12294 | -0.11868 |  | 1 | -0.004266
1 | YES | 50.0713 | 4.6246 | 0.0099869 | -0.33139 | -0.12294 | 0.20845 |  | 1 | -0.33139
1 | YES | 50.0713 | 4.6246 | 0.0099869 | -0.31139 | -0.12294 | 0.18845 |  | 1 | -0.31139
1 | YES | 30.3986 | 5.3381 | 0.0071011 | -0.33485 | -0.12294 | 0.21191 |  | 1 | -0.33485
1 | YES | 30.3986 | 5.3381 | 0.0071011 | -0.29285 | -0.12294 | 0.16991 |  | 1 | -0.29285
1 | YES | 20.1849 | 5.5724 | 0.0085427 | -0.29261 | -0.12294 | 0.16967 |  | 1 | -0.29261
1 | YES | 20.1849 | 5.5724 | 0.0085427 | -0.23061 | -0.12294 | 0.10767 |  | 1 | -0.23061
1 | YES | 10.3003 | 7.3316 | 0.22792 | -0.53938 | -0.12294 | 0.41643 |  | 1 | -0.53938
1 | YES | 10.3003 | 7.3316 | 0.22792 | -0.36438 | -0.12294 | 0.24143 |  | 1 | -0.36438
1 | NO | 5.3844 | 8.6859 | 0.019054 | 8.3659 | -0.12294 | -8.4888 |  | 2 | 0.041552
1 | NO | 5.3844 | 8.6859 | 0.019054 | 8.2269 | -0.12294 | -8.3498 |  | 2 | 0.045639
1 | NO | 1.2288 | 8.6462 | 0.021924 | 8.5612 | -0.12294 | -8.6842 |  | 2 | -0.0044938
1 | NO | 1.2288 | 8.6462 | 0.021924 | 8.0852 | -0.12294 | -8.2082 |  | 2 | -0.021369
2 | YES | 181.364 | 0.045552 | 0.0020449 | 0.041552 | -0.12452 | -0.16607 |  | 2 | -0.079826
2 | YES | 175.397 | 0.042639 | 0.00228 | 0.045639 | -0.12452 | -0.17016 |  | 3 | -0.34487
2 | YES | 164.225 | 0.041506 | 0.0022232 | -0.0044938 | -0.12452 | -0.12003 |  | 3 | -0.070523
2 | YES | 151.28 | 0.040631 | 0.0019172 | -0.021369 | -0.12452 | -0.10315 |  | 3 | -0.15031
2 | YES | 131.008 | 0.35917 | 0.0041737 | -0.079826 | -0.12452 | -0.044695 |  | 3 | -0.37873
3 | YES | 110.706 | 1.7431 | 0.0028765 | -0.34487 | -0.1261 | 0.21877 |  | 3 | -0.38876
3 | YES | 90.4779 | 2.5475 | 0.0051349 | -0.070523 | -0.1261 | -0.055574 |  | 4 | 0.10328
3 | YES | 30.3405 | 5.5577 | 0.0047389 | -0.15031 | -0.1261 | 0.024214 |  | 4 | 0.069275
3 | YES | 10.6066 | 5.7233 | 0.012603 | -0.37873 | -0.1261 | 0.25264 |  | 4 | 0.048275
3 | YES | 5.2728 | 6.1472 | 0.0096412 | -0.38876 | -0.1261 | 0.26266 |  | 4 | 0.14028
4 | NO | 124.748 | 0.64628 | 0.005078 | 0.024275 | -0.12767 | -0.15195 |  | 4 | 0.076433
4 | YES | 124.748 | 0.64628 | 0.005078 | 0.10328 | -0.12767 | -0.23095 |  | 4 | 0.011433
4 | YES | 124.748 | 0.64628 | 0.005078 | 0.069275 | -0.12767 | -0.19695 |  | 4 | 0.037433
4 | YES | 124.748 | 0.64628 | 0.005078 | 0.048275 | -0.12767 | -0.17595 |  | 4 | 0.028433
4 | NO | 124.748 | 0.64628 | 0.005078 | 0.074275 | -0.12767 | -0.20195 |  | 4 | -0.019567
4 | YES | 124.748 | 0.64628 | 0.005078 | 0.14028 | -0.12767 | -0.26795 |  | 4 | -0.054567
4 | YES | 75.17 | 3.5334 | 0.011782 | 0.076433 | -0.12767 | -0.20411 |  | 4 | -0.42954
4 | YES | 75.17 | 3.5334 | 0.011782 | 0.011433 | -0.12767 | -0.13911 |  | 4 | -0.42254
4 | YES | 75.17 | 3.5334 | 0.011782 | 0.037433 | -0.12767 | -0.16511 |  | 4 | -0.41654
4 | YES | 75.17 | 3.5334 | 0.011782 | 0.028433 | -0.12767 | -0.15611 |  | 4 | -0.41254
4 | YES | 75.17 | 3.5334 | 0.011782 | -0.019567 | -0.12767 | -0.10811 |  | 4 | -0.40754
4 | YES | 75.17 | 3.5334 | 0.011782 | -0.054567 | -0.12767 | -0.073106
4 | YES | 10.3345 | 5.5415 | 0.0090329 | -0.42954 | -0.12767 | 0.30187
4 | YES | 10.3345 | 5.5415 | 0.0090329 | -0.42254 | -0.12767 | 0.29487
4 | NO | 10.3345 | 5.5415 | 0.0090329 | -0.13754 | -0.12767 | 0.0098658
4 | YES | 10.3345 | 5.5415 | 0.0090329 | -0.41654 | -0.12767 | 0.28887
4 | YES | 10.3345 | 5.5415 | 0.0090329 | -0.41254 | -0.12767 | 0.28487
4 | YES | 10.3345 | 5.5415 | 0.0090329 | -0.40754 | -0.12767 | 0.27987
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (4)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.1052 |  | X | CALC Y
m= | 0.026528 | 0.027354 |  | Std Dev of Resid |  | 0.10088 |  | 1 | -0.44811
b= | -0.47464 | 0.093163 |  | Resid Sum of Squares |  | 0.081406 |  | 4 | -0.36853
# of Values Extracted = |  |  | 50
# of Values Used in Fit = |  |  | 10
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 178.978 | 0.049103 | 0.0021703 | 0.023103 | -0.44811 | -0.47121 |  | 1 | -0.53938
1 | NO | 178.978 | 0.049103 | 0.0021703 | 0.00010257 | -0.44811 | -0.44821 |  | 1 | -0.36438
1 | NO | 150.476 | 0.056865 | 0.0024088 | 0.019865 | -0.44811 | -0.46797 |  | 3 | -0.37873
1 | NO | 150.476 | 0.056865 | 0.0024088 | 0.028865 | -0.44811 | -0.47697 |  | 3 | -0.38876
1 | NO | 125.151 | 0.7906 | 0.0028399 | 0.1796 | -0.44811 | -0.62771 |  | 4 | -0.42954
1 | NO | 125.151 | 0.7906 | 0.0028399 | 0.1996 | -0.44811 | -0.64771 |  | 4 | -0.42254
1 | NO | 100.215 | 1.8507 | 0.0057634 | -0.0093163 | -0.44811 | -0.43879 |  | 4 | -0.13754
1 | NO | 100.215 | 1.8507 | 0.0057634 | -0.11632 | -0.44811 | -0.33179 |  | 4 | -0.41654 | -0.38975
1 | NO | 75.3233 | 3.1747 | 0.016748 | -0.0052662 | -0.44811 | -0.44284 |  | 4 | -0.41254
1 | NO | 75.3233 | 3.1747 | 0.016748 | -0.004266 | -0.44811 | -0.44384 |  | 4 | -0.40754
1 | NO | 50.0713 | 4.6246 | 0.0099869 | -0.33139 | -0.44811 | -0.11672
1 | NO | 50.0713 | 4.6246 | 0.0099869 | -0.31139 | -0.44811 | -0.13672
1 | NO | 30.3986 | 5.3381 | 0.0071011 | -0.33485 | -0.44811 | -0.11326
1 | NO | 30.3986 | 5.3381 | 0.0071011 | -0.29285 | -0.44811 | -0.15526
1 | NO | 20.1849 | 5.5724 | 0.0085427 | -0.29261 | -0.44811 | -0.1555
1 | NO | 20.1849 | 5.5724 | 0.0085427 | -0.23061 | -0.44811 | -0.2175
1 | YES | 10.3003 | 7.3316 | 0.22792 | -0.53938 | -0.44811 | 0.09127
1 | YES | 10.3003 | 7.3316 | 0.22792 | -0.36438 | -0.44811 | -0.08373
1 | NO | 5.3844 | 8.6859 | 0.019054 | 8.3659 | -0.44811 | -8.814
1 | NO | 5.3844 | 8.6859 | 0.019054 | 8.2269 | -0.44811 | -8.675
1 | NO | 1.2288 | 8.6462 | 0.021924 | 8.5612 | -0.44811 | -9.0093
1 | NO | 1.2288 | 8.6462 | 0.021924 | 8.0852 | -0.44811 | -8.5333
2 | NO | 181.364 | 0.045552 | 0.0020449 | 0.041552 | -0.42158 | -0.46313
2 | NO | 175.397 | 0.042639 | 0.00228 | 0.045639 | -0.42158 | -0.46722
2 | NO | 164.225 | 0.041506 | 0.0022232 | -0.0044938 | -0.42158 | -0.41709
2 | NO | 151.28 | 0.040631 | 0.0019172 | -0.021369 | -0.42158 | -0.40021
2 | NO | 131.008 | 0.35917 | 0.0041737 | -0.079826 | -0.42158 | -0.34176
3 | NO | 110.706 | 1.7431 | 0.0028765 | -0.34487 | -0.39505 | -0.050187
3 | NO | 90.4779 | 2.5475 | 0.0051349 | -0.070523 | -0.39505 | -0.32453
3 | NO | 30.3405 | 5.5577 | 0.0047389 | -0.15031 | -0.39505 | -0.24474
3 | YES | 10.6066 | 5.7233 | 0.012603 | -0.37873 | -0.39505 | -0.016319
3 | YES | 5.2728 | 6.1472 | 0.0096412 | -0.38876 | -0.39505 | -0.0062988
4 | NO | 124.748 | 0.64628 | 0.005078 | 0.024275 | -0.36853 | -0.3928
4 | NO | 124.748 | 0.64628 | 0.005078 | 0.10328 | -0.36853 | -0.4718
4 | NO | 124.748 | 0.64628 | 0.005078 | 0.069275 | -0.36853 | -0.4378
4 | NO | 124.748 | 0.64628 | 0.005078 | 0.048275 | -0.36853 | -0.4168
4 | NO | 124.748 | 0.64628 | 0.005078 | 0.074275 | -0.36853 | -0.4428
4 | NO | 124.748 | 0.64628 | 0.005078 | 0.14028 | -0.36853 | -0.5088
4 | NO | 75.17 | 3.5334 | 0.011782 | 0.076433 | -0.36853 | -0.44496
4 | NO | 75.17 | 3.5334 | 0.011782 | 0.011433 | -0.36853 | -0.37996
4 | NO | 75.17 | 3.5334 | 0.011782 | 0.037433 | -0.36853 | -0.40596
4 | NO | 75.17 | 3.5334 | 0.011782 | 0.028433 | -0.36853 | -0.39696
4 | NO | 75.17 | 3.5334 | 0.011782 | -0.019567 | -0.36853 | -0.34896
4 | NO | 75.17 | 3.5334 | 0.011782 | -0.054567 | -0.36853 | -0.31396
4 | YES | 10.3345 | 5.5415 | 0.0090329 | -0.42954 | -0.36853 | 0.061013
4 | YES | 10.3345 | 5.5415 | 0.0090329 | -0.42254 | -0.36853 | 0.054013
4 | YES | 10.3345 | 5.5415 | 0.0090329 | -0.13754 | -0.36853 | -0.23099
4 | YES | 10.3345 | 5.5415 | 0.0090329 | -0.41654 | -0.36853 | 0.048013
4 | YES | 10.3345 | 5.5415 | 0.0090329 | -0.41254 | -0.36853 | 0.044013
4 | YES | 10.3345 | 5.5415 | 0.0090329 | -0.40754 | -0.36853 | 0.039013
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2009/06/20 14:26:38
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | DOX_BOT | DOX_CTD |  | DOX_CTD - DOX_BOT
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | DOX_BOT | DOX_CTD | DOX_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2009-38-0005.mrg | 2009-38-0005.sam | 273 | 178.981 | 178.978 | 0.022262 | -0.0033417 | 0.026 | 0.049103 | 0.0021703 | 0.023103
2009-38-0005.mrg | 2009-38-0005.sam | 273 | 178.977 | 178.978 | 0.022262 | 0.00065613 | 0.049 | 0.049103 | 0.0021703 | 0.00010257
2009-38-0005.mrg | 2009-38-0005.sam | 274 | 150.48 | 150.476 | 0.024584 | -0.003952 | 0.037 | 0.056865 | 0.0024088 | 0.019865
2009-38-0005.mrg | 2009-38-0005.sam | 274 | 150.475 | 150.476 | 0.024584 | 0.0010376 | 0.028 | 0.056865 | 0.0024088 | 0.028865
2009-38-0005.mrg | 2009-38-0005.sam | 275 | 125.154 | 125.151 | 0.023156 | -0.0031204 | 0.611 | 0.7906 | 0.0028399 | 0.1796
2009-38-0005.mrg | 2009-38-0005.sam | 275 | 125.15 | 125.151 | 0.023156 | 0.00087738 | 0.591 | 0.7906 | 0.0028399 | 0.1996
2009-38-0005.mrg | 2009-38-0005.sam | 275 | 100.219 | 100.215 | 0.025568 | -0.0037918 | 1.86 | 1.8507 | 0.0057634 | -0.0093163
2009-38-0005.mrg | 2009-38-0005.sam | 275 | 100.215 | 100.215 | 0.025568 | 0.00021362 | 1.967 | 1.8507 | 0.0057634 | -0.11632
2009-38-0005.mrg | 2009-38-0005.sam | 278 | 75.324 | 75.3233 | 0.021997 | -0.00068665 | 3.18 | 3.1747 | 0.016748 | -0.0052662
2009-38-0005.mrg | 2009-38-0005.sam | 278 | 75.323 | 75.3233 | 0.021997 | 0.0003128 | 3.179 | 3.1747 | 0.016748 | -0.004266
2009-38-0005.mrg | 2009-38-0005.sam | 277 | 50.072 | 50.0713 | 0.025731 | -0.00072098 | 4.956 | 4.6246 | 0.0099869 | -0.33139
2009-38-0005.mrg | 2009-38-0005.sam | 277 | 50.071 | 50.0713 | 0.025731 | 0.00027847 | 4.936 | 4.6246 | 0.0099869 | -0.31139
2009-38-0005.mrg | 2009-38-0005.sam | 274 | 30.401 | 30.3986 | 0.021378 | -0.0023727 | 5.673 | 5.3381 | 0.0071011 | -0.33485
2009-38-0005.mrg | 2009-38-0005.sam | 274 | 30.398 | 30.3986 | 0.021378 | 0.00062561 | 5.631 | 5.3381 | 0.0071011 | -0.29285
2009-38-0005.mrg | 2009-38-0005.sam | 277 | 20.186 | 20.1849 | 0.027794 | -0.0011406 | 5.865 | 5.5724 | 0.0085427 | -0.29261
2009-38-0005.mrg | 2009-38-0005.sam | 277 | 20.185 | 20.1849 | 0.027794 | -0.00013924 | 5.803 | 5.5724 | 0.0085427 | -0.23061
2009-38-0005.mrg | 2009-38-0005.sam | 277 | 10.302 | 10.3003 | 0.025174 | -0.0017185 | 7.871 | 7.3316 | 0.22792 | -0.53938
2009-38-0005.mrg | 2009-38-0005.sam | 277 | 10.3 | 10.3003 | 0.025174 | 0.00028133 | 7.696 | 7.3316 | 0.22792 | -0.36438
2009-38-0005.mrg | 2009-38-0005.sam | 272 | 5.388 | 5.3844 | 0.030354 | -0.0035992 | 0.32 | 8.6859 | 0.019054 | 8.3659
2009-38-0005.mrg | 2009-38-0005.sam | 272 | 5.384 | 5.3844 | 0.030354 | 0.00040102 | 0.459 | 8.6859 | 0.019054 | 8.2269
2009-38-0005.mrg | 2009-38-0005.sam | 286 | 1.214 | 1.2288 | 0.032821 | 0.014755 | 0.085 | 8.6462 | 0.021924 | 8.5612
2009-38-0005.mrg | 2009-38-0005.sam | 286 | 1.232 | 1.2288 | 0.032821 | -0.0032448 | 0.561 | 8.6462 | 0.021924 | 8.0852
2009-38-0009.mrg | 2009-38-0009.sam | 241 | 181.364 | 181.364 | 0.042933 | -0.00013733 | 0.004 | 0.045552 | 0.0020449 | 0.041552
2009-38-0009.mrg | 2009-38-0009.sam | 241 | 175.397 | 175.397 | 0.050776 | 0.00015259 | -0.003 | 0.042639 | 0.00228 | 0.045639
2009-38-0009.mrg | 2009-38-0009.sam | 241 | 164.225 | 164.225 | 0.14943 | 0.00019836 | 0.046 | 0.041506 | 0.0022232 | -0.0044938
2009-38-0009.mrg | 2009-38-0009.sam | 241 | 151.28 | 151.28 | 0.10892 | -6.1035e-05 | 0.062 | 0.040631 | 0.0019172 | -0.021369
2009-38-0009.mrg | 2009-38-0009.sam | 241 | 131.008 | 131.008 | 0.05294 | 0.00028992 | 0.439 | 0.35917 | 0.0041737 | -0.079826
2009-38-0010.mrg | 2009-38-0010.sam | 241 | 110.706 | 110.706 | 0.022632 | 0.00042725 | 2.088 | 1.7431 | 0.0028765 | -0.34487
2009-38-0010.mrg | 2009-38-0010.sam | 241 | 90.478 | 90.4779 | 0.018881 | -9.1553e-05 | 2.618 | 2.5475 | 0.0051349 | -0.070523
2009-38-0010.mrg | 2009-38-0010.sam | 241 | 30.34 | 30.3405 | 0.019787 | 0.00046539 | 5.708 | 5.5577 | 0.0047389 | -0.15031
2009-38-0010.mrg | 2009-38-0010.sam | 241 | 10.607 | 10.6066 | 0.023945 | -0.00039005 | 6.102 | 5.7233 | 0.012603 | -0.37873
2009-38-0010.mrg | 2009-38-0010.sam | 241 | 5.273 | 5.2728 | 0.028784 | -0.00022793 | 6.536 | 6.1472 | 0.0096412 | -0.38876
2009-38-0014.mrg | 2009-38-0014.sam | 697 | 124.749 | 124.748 | 0.028266 | -0.0010834 | 0.622 | 0.64628 | 0.005078 | 0.024275
2009-38-0014.mrg | 2009-38-0014.sam | 697 | 124.75 | 124.748 | 0.028266 | -0.0020828 | 0.543 | 0.64628 | 0.005078 | 0.10328
2009-38-0014.mrg | 2009-38-0014.sam | 697 | 124.749 | 124.748 | 0.028266 | -0.0010834 | 0.577 | 0.64628 | 0.005078 | 0.069275
2009-38-0014.mrg | 2009-38-0014.sam | 697 | 124.75 | 124.748 | 0.028266 | -0.0020828 | 0.598 | 0.64628 | 0.005078 | 0.048275
2009-38-0014.mrg | 2009-38-0014.sam | 697 | 124.748 | 124.748 | 0.028266 | -8.3923e-05 | 0.572 | 0.64628 | 0.005078 | 0.074275
2009-38-0014.mrg | 2009-38-0014.sam | 697 | 124.745 | 124.748 | 0.028266 | 0.0029144 | 0.506 | 0.64628 | 0.005078 | 0.14028
2009-38-0014.mrg | 2009-38-0014.sam | 434 | 75.167 | 75.17 | 0.028449 | 0.0030441 | 3.457 | 3.5334 | 0.011782 | 0.076433
2009-38-0014.mrg | 2009-38-0014.sam | 434 | 75.166 | 75.17 | 0.028449 | 0.0040436 | 3.522 | 3.5334 | 0.011782 | 0.011433
2009-38-0014.mrg | 2009-38-0014.sam | 434 | 75.166 | 75.17 | 0.028449 | 0.0040436 | 3.496 | 3.5334 | 0.011782 | 0.037433
2009-38-0014.mrg | 2009-38-0014.sam | 434 | 75.168 | 75.17 | 0.028449 | 0.0020447 | 3.505 | 3.5334 | 0.011782 | 0.028433
2009-38-0014.mrg | 2009-38-0014.sam | 434 | 75.169 | 75.17 | 0.028449 | 0.0010452 | 3.553 | 3.5334 | 0.011782 | -0.019567
2009-38-0014.mrg | 2009-38-0014.sam | 434 | 75.172 | 75.17 | 0.028449 | -0.0019531 | 3.588 | 3.5334 | 0.011782 | -0.054567
2009-38-0014.mrg | 2009-38-0014.sam | 425 | 10.335 | 10.3345 | 0.024014 | -0.00048733 | 5.971 | 5.5415 | 0.0090329 | -0.42954
2009-38-0014.mrg | 2009-38-0014.sam | 425 | 10.335 | 10.3345 | 0.024014 | -0.00048733 | 5.964 | 5.5415 | 0.0090329 | -0.42254
2009-38-0014.mrg | 2009-38-0014.sam | 425 | 10.334 | 10.3345 | 0.024014 | 0.00051308 | 5.679 | 5.5415 | 0.0090329 | -0.13754
2009-38-0014.mrg | 2009-38-0014.sam | 425 | 10.335 | 10.3345 | 0.024014 | -0.00048733 | 5.958 | 5.5415 | 0.0090329 | -0.41654
2009-38-0014.mrg | 2009-38-0014.sam | 425 | 10.333 | 10.3345 | 0.024014 | 0.0015125 | 5.954 | 5.5415 | 0.0090329 | -0.41254
2009-38-0014.mrg | 2009-38-0014.sam | 425 | 10.335 | 10.3345 | 0.024014 | -0.00048733 | 5.949 | 5.5415 | 0.0090329 | -0.40754
Create Fit Sheet