## Dups
2009-40 | Nitrate | Silicate | Phosphate | NO3 | Si | PO4
Identifier | uM | uM | uM | Average | Average | Average
302 | 26.2 | 44.4 | 2.17 | 26.05 | 44.55 | 2.175
302 | 25.9 | 44.7 | 2.18
303 | 25.8 | 44 | 2.34 | 25.8 | 44.3 | 2.32
303 | 25.8 | 44.6 | 2.3
304 | 20 | 30.1 | 1.71 | 19.75 | 30.15 | 1.535
304 | 19.5 | 30.2 | 1.36
305 | 15.3 | 21.6 | 1.52 | 15.35 | 21.7 | 1.59
305 | 15.4 | 21.8 | 1.66
306 | 10.8 | 13.3 | 1.15 | 10.95 | 13.5 | 1.205
306 | 11.1 | 13.7 | 1.26
307 | 0.5 | 1.1 | 0.2 | 0.65 | 1.2 | 0.21
307 | 0.8 | 1.3 | 0.22

## NO3 data
Cruise 2009-40 nutrient samples
Nutrient samples had been analyzed for silicate and phosphate earlier by Valerie Forsland
and were then re-frozen.
These samples were thawed and analyzed for Nitrate value using the Astoria system on Aug. 20, 2009 during cruise 2009-10.
Do not use the silicate or Phosphate values from the rethawed samples - use first data set.
Cruise | S.N. | NO3 | SIL | PO4
|  | uM | uM | uM
2009-40 | 301 | 1.5 | 11.5 | 0.37
2009-40 | 300 | 1 | 4 | 0.56
2009-40 | 299 | 4.4 | 11 | 0.99
2009-40 | 298 | 11.3 | 24.7 | 1.67
2009-40 | 297 | 20.8 | 57.3 | 2.83
2009-40 | 296 | 20.7 | 56.7 | 2.84
2009-40 | 307 | 0.8 | 3 | 0.32
2009-40 | 307 dup | 0.5 | 2.9 | 0.37
2009-40 | 306 | 11.1 | 15.7 | 1.49
2009-40 | 306 dup | 10.8 | 15.2 | 1.5
2009-40 | 305 | 15.4 | 23 | 1.72
2009-40 | 305 dup | 15.3 | 22.8 | 1.72
2009-40 | 304 | 19.5 | 31.2 | 1.87
2009-40 | 304 dup | 20 | 31.5 | 1.82
2009-40 | 303 | 25.8 | 45.4 | 2.4
2009-40 | 303 dup | 25.8 | 46.3 | 2.39
2009-40 | 302 | 25.9 | 45.8 | 2.4
2009-40 | 302 dup | 26.2 | 45.8 | 2.42

## Effingham Inlet Data
Nutrients for Dr.Richard Thomson - Effingham Inlet 2009 - Cruise # 2009-40
Analyzed using Astoria Pacific Nutrient Analyzer with FASPAC II software.
Analyzed July 9, 2009 V.A. Forsland - Data input July 17, 2009
Nitrate data added September 10, 2009 V.A. Forsland
|  | Nitrate | Silicate | Phosphate | PO4*10
Cruise | Sample # | uM | uM | uM | (for graphing only) | Stn | # | Comments
2009-40
1 | 290 EFF03 | − | 110.3 | 5.79 | 57.9 | EFF03 | 43 | √ - anoxic - no NO3
2 | 291 | − | 115.2 | 5.93 | 59.3 | EFF03 | 43 | √ - anoxic - no NO3
3 | 292 | − | 112.4 | 5.65 | 56.5 | EFF03 | 43 | √ - anoxic - no NO3
4 | 293 | − | 112.9 | 6 | 60 | EFF03 | 43 | √ - anoxic - no NO3
5 | 294 | − | 103.4 | 4.1 | 41 | EFF03 | 43 | √ - anoxic - no NO3
6 | 295 | − | 88.4 | 4.45 | 44.5 | EFF03 | 43 | √ - anoxic - no NO3
7 | 296 | 20.7 | 55.9 | 2.74 | 27.4 | EFF03 | 43
8 | 297 | 20.8 | 55.7 | 2.76 | 27.6 | EFF03 | 43
9 | 298 | 11.3 | 24.1 | 1.66 | 16.6 | EFF03 | 43
10 | 299 | 4.4 | 10.5 | 0.97 | 9.7 | EFF03 | 43
11 | 300 | 1 | 3.4 | 0.53 | 9.7 | EFF03 | 43
12 | 301 | 1.5 | 10.9 | 0.25 | 5.3 | EFF03 | 43
13 | 302 EFF15 | 26.1 | 44.6 | 2.18 | 21.8 | EFF15 | 47
14 | 303 | 25.8 | 44.3 | 2.32 | 23.2 | EFF15 | 47
15 | 304 | 19.8 | 30.2 | 1.54 | 15.4 | EFF15 | 47
16 | 305 | 15.4 | 21.7 | 1.59 | 15.9 | EFF15 | 47
17 | 306 | 11 | 13.5 | 1.21 | 12.1 | EFF15 | 47
18 | 307 | 0.7 | 1.2 | 0.21 | 2.1 | EFF15 | 47