File List for SeaBird Data          Cruise Number: _2009-43____

[osdcommon\cruise_data\2009-43\ARCHIVE]

[osdcommon\cruise_data\2009-43\ARCHIVE\Bottle] *.CHE

[osdcommon\cruise_data\2009-43\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2009-43\ARCHIVE\DOC] all documents from RAW and PROCESSING

[osdcommon\cruise_data\2009-43\ARCHIVE\DOC\HYDRO] COMPARE files and edited versions of    spreadsheets from analysts

[osdcommon\cruise_data\2009-43\PROCESSING]

[osdcommon\cruise_data\2009-43\PROCESSING\Angelica] files for use of A. Peña

[osdcommon\cruise_data\2009-43\PROCESSING\CONVERT]	*.CNV – after conversion

[osdcommon\cruise_data\2009-43\PROCESSING\DERIVE]*.CNV – after convert/wildedit/celltm/derive

[osdcommon\cruise_data\2009-43\PROCESSING\DOC]

2009-43-recal1.ccf – calibration control file for 1st recalibration of DO

2009-43-recal2.ccf – calibration control file for 2nd recalibration of DO

2009-43-ctd*.con – configuration files used in processing

2009-43_file.doc - this document

2009-43_proc.doc - processing notes

2009-43-DO-duplicates.xls – study of dissolved oxygen duplicates

2009-43-che-final.rpt – CTD file header check including channel summary

2009-43-ctd-final.rpt – CHE file header check including channel summary

2009-43-altimeter.csv – report on header entries for altimetry before corrections

*hdr.txt – header files with comments for CTD and CHE files

[osdcommon\cruise_data\2009-43\PROCESSING\DOC\hydro]

2009-43-sal.csv – salinity data simplified from analyst’s s/s

2009-43-chl.csv – extracted chlorophyll data simplified from analyst’s s/s

2009-43-nuts.csv – nutrients simplified from analyst’s s/s

2009-43-oxy.csv – dissolved oxygen data simplified from analyst’s s/s

2009-43-chl-fluor-comp.csv & .xls – comparison of extracted CHL and CTD Fluorescence

2009-43-dox-comp1.csv & .xls – initial comparison of titrated DO & CTD DO run early

2009-43-dox-comp2.csv & .xls – comparison of titrated DO and CTD DO after 1st recal

2009-43-dox-comp3.csv & .xls – comparison of titrated DO and downcast CTD DO

2009-43-dox-comp4.csv & .xls – comparison of titrated DO and CTD DO after final recal

2009-43-sal-comp1.csv & xls –salinity COMPARE file combining Autosal data and Portasal data

2009-43-sal-comp2.csv & xls – salinity COMPARE after recalibrating Autosal data

addsamp.csv – spreadsheet relating bottle numbers to sample numbers

[osdcommon\cruise_data\2009-43\PROCESSING\HYDRO]

*.add – bottle from analyst after editing, formats fixed

*.bot  - *.ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl – extracted chlorophyll data converted from simplified version of spreadsheet

*.ed1 – editing output for 4 files

*.log – log files for the editing of 4 files

*.mrg – after addition of oxygen and salinity bottle data to BOT files

*.nut – nutrient files converted from simplified version of analyst’s spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from simplified version of analyst’s spreadsheet

*.sam – bottle files with sample numbers added

[osdcommon\cruise_data\2009-43\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del – after DELETE

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT.

Delete.log - log from routine DELETE ______________________________________________________________________________

[osdcommon\cruise_data\2009-43\RAW]

[osdcommon\cruise_data\2009-43\RAW\Chemistry] data from analysts

[osdcommon\cruise_data\2009-43\RAW\CTD] raw CTD data