## 2009-43
Sample ID | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Bottles arranged in order of analysis
Calibration#1 | P149 | 2010-02-08 14:47 | 24C | 0.99983 | 3.541e-06 | 9.8944e-06 | 0.99984 |  |  | salbot | sample | salctd | diff | event | Rosette entry?
2009-43#1 | StnSI-2 | 2010-02-08 14:50 | 24C | 0.89214 | 3.3316e-06 | 9.954e-06 | 0.89215 | 30.7961 | 0.00012945 | 30.7961 | 2 | 30.788 | -0.0081464 | 1 | ros ok
2009-43#2 | Stn12-38 | 2010-02-08 14:52 | 24C | 0.89183 | 6.0931e-06 | 9.8944e-06 | 0.89184 | 30.7843 | 0.00023678 | 30.7843 | 38 | 30.7793 | -0.004977 | 14 | ros ok
2009-43#3 | Stn3-80 | 2010-02-08 14:54 | 24C | 0.89467 | 2.8901e-06 | 1.0073e-05 | 0.89468 | 30.8938 | 0.0001136 | 30.8938 | 80 | 30.8908 | -0.0029683 | 21 | ros ok
2009-43#4 | Stn39-126 | 2010-02-08 14:56 | 24C | 0.89579 | 3.6117e-06 | 1.0014e-05 | 0.8958 | 30.9372 | 0.00013942 | 30.9372 | 126 | 30.9307 | -0.006491 | 30 | ros ok
2009-43#5 | Stn56-171 | 2010-02-08 14:59 | 24C | 0.92693 | 4.8368e-06 | 1.0014e-05 | 0.92694 | 32.1433 | 0.00018818 | 32.1433 | 171 | 32.1251 | -0.018165 | 43 | ros ok
2009-43#6 | Stn65-210 | 2010-02-08 15:01 | 24C | 0.95094 | 3.1414e-06 | 1.0014e-05 | 0.95095 | 33.0781 | 0.00012103 | 33.0781 | 210 | 33.1095 | 0.031447 | 57 | ros ok
2009-43#7 | Stn72-243 | 2010-02-08 15:03 | 24C | 0.97132 | 2.2267e-06 | 1.0014e-05 | 0.97133 | 33.8743 | 8.7058e-05 | 33.8743 | 243 | 33.859 | -0.015252 | 67 | close to bottom, no ros entry
2009-43#8 | Stn16-11 | 2010-02-08 15:06 | 24C | 0.88952 | 2.2391e-06 | 1.0014e-05 | 0.88953 | 30.6952 | 8.7432e-05 | 30.6952 | 11 | 30.6863 | -0.0089286 | 7 | ros ok
2009-43#9 | Stn9-55 | 2010-02-08 15:08 | 24C | 0.89312 | 3.4659e-06 | 1.0014e-05 | 0.89313 | 30.834 | 0.00013549 | 30.834 | 55 | 30.7744 | -0.059588 | 16 | ros ok
2009-43#10 | Stn2-96 | 2010-02-08 15:11 | 24C | 0.89256 | 5.4533e-06 | 1.0073e-05 | 0.89257 | 30.8126 | 0.000211 | 30.8126 | 96 | 30.8078 | -0.004845 | 23 | ros ok
2009-43#11 | Stn42-143 | 2010-02-08 15:13 | 24C | 0.89564 | 6.2131e-06 | 1.0014e-05 | 0.89565 | 30.9313 | 0.00024037 | 30.9313 | 143 | 30.9138 | -0.017501 | 34 | could be bottom but ros ok
2009-43#12 | Stn59-198 | 2010-02-08 15:15 | 24C | 0.93293 | 3.6105e-06 | 1.0014e-05 | 0.93294 | 32.3763 | 0.00013946 | 32.3763 | 198 | 32.3557 | -0.020559 | 46
2009-43#13 | StnADCP-219 | 2010-02-08 15:18 | 24C | 0.96107 | 1.7702e-06 | 1.0014e-05 | 0.96108 | 33.4735 | 6.9487e-05 | 33.4735 | 219 | 33.4733 | -0.00016497 | 61 | ros ok
2009-43#14 | Stn75-257 | 2010-02-08 15:20 | 24C | 0.97078 | 3.8748e-06 | 9.954e-06 | 0.97079 | 33.8533 | 0.00015162 | 33.8533 | 257 | 33.8546 | 0.0013285 | 70
2009-43#15 | Stn14-22 | 2010-02-08 15:22 | 24C | 0.89119 | 3.6105e-06 | 1.0014e-05 | 0.8912 | 30.7594 | 0.00014202 | 30.7594 | 22 | 30.759 | -0.00042612 | 10 | ros ok
2009-43#16 | Stn6-67 | 2010-02-08 15:24 | 24C | 0.8907 | 4.179e-06 | 1.0014e-05 | 0.89071 | 30.7406 | 0.00015867 | 30.7406 | 67 | 30.7398 | -0.00081584 | 18 | ros ok
2009-43#17 | Stn27-110 | 2010-02-08 15:26 | 24C | 0.89516 | 3.8749e-06 | 1.0014e-05 | 0.89517 | 30.9128 | 0.0001497 | 30.9128 | 110 | 30.9059 | -0.0069036 | 27 | ros ok
2009-43#18 | Stn46-159 | 2010-02-08 15:28 | 24C | 0.89954 | 6.0358e-06 | 9.954e-06 | 0.89955 | 31.0821 | 0.00023315 | 31.0821 | 159 | 31.0816 | -0.00046749 | 36 | ros ok
2009-43#19 | Stn62-199 | 2010-02-08 15:30 | 24C | 0.94846 | 3.5991e-06 | 1.0014e-05 | 0.94847 | 32.9811 | 0.00013903 | 32.9811 | 199 | 32.9729 | -0.0081562 | 49
2009-43#20 | Stn69-230 | 2010-02-08 15:33 | 24C | 0.97056 | 2.4912e-06 | 9.954e-06 | 0.97057 | 33.8449 | 9.9745e-05 | 33.8449 | 230 | 33.8107 | -0.034172 | 64 | ros ok
2009-43#21 | Stn102-269 | 2010-02-08 15:35 | 24C | 0.9725 | 6.9502e-06 | 1.0014e-05 | 0.97251 | 33.9205 | 0.00027183 | 33.9205 | 269 | 33.907 | -0.013506 | 73
even allowing for CTD salinity being slightly low
much saltier than CTD sal at bottom
[9 empty] | CTD high or | bottle way too low |  |  | saltier than any CTD sal during cruise
[9 empty] | CTD low or | bottle way too high
[10 empty] | CTD very noisy |  |  | slightly saltier than bottom
CTD slightly noisy