## File List
Number of Files= |  | 2
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2009-51-0001.mrg | 2009-51-0001.sam | 11 | 16 | 2009-51-0001.mrg & 2009-51-0001.sam
2 | 2009-51-0003.mrg | 2009-51-0003.sam | 18 | 23 | 2009-51-0003.mrg & 2009-51-0003.sam

## (FL_CTD - CHL_BOT)
Calculation of Linear Least Squares Fit For
(FL_CTD - CHL_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (FL_CTD - CHL_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0082011 |  | X | CALC Y
m= | 0.0026979 | 0.0093821 |  | Std Dev of Resid |  | 0.52807 |  | 0.89225 | -0.40483
b= | -0.40724 | 0.2266 |  | Resid Sum of Squares |  | 2.7886 |  | 50.0351 | -0.27225
# of Values Extracted = |  |  | 12
# of Values Used in Fit = |  |  | 12
File | Use | Pressure | FL_CTD | FL_CTD | Diff (FL_CTD - CHL_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y | Pressure | CHL | FL | CHL | FL/CHL | Pressure
1 | YES | 50.0351 | 0.35329 | 0.026921 | -0.12671 | -0.27225 | -0.14553 |  | 50.0351 | -0.12671 | 50.0351 | 0.48 | 0.35329 | 0.48 | 0.73601 | 50.0351
1 | YES | 25.2456 | 0.89445 | 0.062549 | -1.3856 | -0.33913 | 1.0464 |  | 25.2456 | -1.3856 | 25.2456 | 2.28 | 0.89445 | 2.28 | 0.3923 | 25.2456
1 | YES | 15.2813 | 1.2241 | 0.055554 | -0.84593 | -0.36601 | 0.47993 |  | 15.2813 | -0.84593 | 15.2813 | 2.07 | 1.2241 | 2.07 | 0.59134 | 15.2813
1 | YES | 10.0242 | 1.7927 | 0.058045 | -0.8573 | -0.38019 | 0.4771 |  | 10.0242 | -0.8573 | 10.0242 | 2.65 | 1.7927 | 2.65 | 0.67649 | 10.0242
1 | YES | 5.3443 | 1.7804 | 0.020143 | 0.33039 | -0.39282 | -0.72321 |  | 5.3443 | 0.33039 | 5.3443 | 1.45 | 1.7804 | 1.45 | 1.2279 | 5.3443
1 | YES | 1.2076 | 1.447 | 0.065162 | -0.18301 | -0.40398 | -0.22097 |  | 1.2076 | -0.18301 | 1.2076 | 1.63 | 1.447 | 1.63 | 0.88772 | 1.2076
2 | YES | 49.8254 | 0.19414 | 0.0053838 | 0.094137 | -0.27281 | -0.36695 |  | 49.8254 | 0.094137 | 49.8254 | 0.1 | 0.19414 | 0.1 | 1.9414 | 49.8254
2 | YES | 25.1669 | 0.39331 | 0.0096457 | 0.013311 | -0.33934 | -0.35265 |  | 25.1669 | 0.013311 | 25.1669 | 0.38 | 0.39331 | 0.38 | 1.035 | 25.1669
2 | YES | 15.442 | 1.5271 | 0.020343 | -0.67294 | -0.36558 | 0.30737 |  | 15.442 | -0.67294 | 15.442 | 2.2 | 1.5271 | 2.2 | 0.69412 | 15.442
2 | YES | 10.4812 | 2.2177 | 0.013877 | 0.12772 | -0.37896 | -0.50668 |  | 10.4812 | 0.12772 | 10.4812 | 2.09 | 2.2177 | 2.09 | 1.0611 | 10.4812
2 | YES | 5.4976 | 2.2478 | 0.014647 | -0.52219 | -0.3924 | 0.12978 |  | 5.4976 | -0.52219 | 5.4976 | 2.77 | 2.2478 | 2.77 | 0.81148 | 5.4976
2 | YES | 0.89225 | 1.7598 | 0.18447 | -0.28022 | -0.40483 | -0.12461 |  | 0.89225 | -0.28022 | 0.89225 | 2.04 | 1.7598 | 2.04 | 0.86264 | 0.89225
0.90979
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. FL_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2009/12/11 14:24:51
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | CHL_BOT | FL_CTD |  | FL_CTD - CHL_BOT
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | CHL_BOT | FL_CTD | FL_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2009-51-0001.mrg | 2009-51-0001.sam | 241 | 50.035 | 50.0351 | 0.03521 | 5.3406e-05 | 0.48 | 0.35329 | 0.026921 | -0.12671
2009-51-0001.mrg | 2009-51-0001.sam | 241 | 25.246 | 25.2456 | 0.033169 | -0.00040627 | 2.28 | 0.89445 | 0.062549 | -1.3856
2009-51-0001.mrg | 2009-51-0001.sam | 241 | 15.281 | 15.2813 | 0.035773 | 0.0002985 | 2.07 | 1.2241 | 0.055554 | -0.84593
2009-51-0001.mrg | 2009-51-0001.sam | 241 | 10.024 | 10.0242 | 0.037932 | 0.00016212 | 2.65 | 1.7927 | 0.058045 | -0.8573
2009-51-0001.mrg | 2009-51-0001.sam | 241 | 5.344 | 5.3443 | 0.03118 | 0.00028229 | 1.45 | 1.7804 | 0.020143 | 0.33039
2009-51-0001.mrg | 2009-51-0001.sam | 236 | 1.208 | 1.2076 | 0.035821 | -0.00041103 | 1.63 | 1.447 | 0.065162 | -0.18301
2009-51-0003.mrg | 2009-51-0003.sam | 241 | 49.825 | 49.8254 | 0.032711 | 0.00039291 | 0.1 | 0.19414 | 0.0053838 | 0.094137
2009-51-0003.mrg | 2009-51-0003.sam | 241 | 25.167 | 25.1669 | 0.052133 | -0.00012016 | 0.38 | 0.39331 | 0.0096457 | 0.013311
2009-51-0003.mrg | 2009-51-0003.sam | 241 | 15.442 | 15.442 | 0.15443 | 2.4796e-05 | 2.2 | 1.5271 | 0.020343 | -0.67294
2009-51-0003.mrg | 2009-51-0003.sam | 241 | 10.481 | 10.4812 | 0.033721 | 0.00022411 | 2.09 | 2.2177 | 0.013877 | 0.12772
2009-51-0003.mrg | 2009-51-0003.sam | 241 | 5.498 | 5.4976 | 0.054063 | -0.00037766 | 2.77 | 2.2478 | 0.014647 | -0.52219
2009-51-0003.mrg | 2009-51-0003.sam | 241 | 0.892 | 0.89225 | 0.030811 | 0.00025308 | 2.04 | 1.7598 | 0.18447 | -0.28022
Create Fit Sheet